Appendix 9: Description of Facilities

Description of Facilities at Ballymount

The following sections give a brief outline on the nature and extent of the facilities provided. The description should be read in conjunction with the drawings and other information provided. Whereas every effort has been made to provide the tenderer with all necessary information, South Dublin County Council shall not be responsible for any omissions or inaccuracies, and it is incumbent upon the Tenderers to familiarise themselves fully with the site operations and requests for site visits or further information will be facilitated by South Dublin County Council.

Civic Amenity – General Description

The Civic Amenity and Recycling Centre is located at Ballymount Avenue, Ballymount Industrial Estate, Walkinstown, Dublin 12. The facility is located in an area zoned for industrial use. The site is divided up into two functional areas, the Baling Station approx 17,290.18 sq m and the Civic Amenity approx 5,631.65 sq m. The site has ready access to the M50 motorway. The construction of the site was completed in 1996.

The civic amenity waste facility is a recycling and disposal location for the general public. Non-Recyclable waste received in these areas will be disposed of or sent on for further recovery to an approved off site permitted or licensed facility or to landfill.  Recyclables, in conjunction with approved recycling organisations, will be transported for further processing to appropriate end users.  The management and operation of this tender is that of the Civic Amenity facility only. The responsibility of the baling station will fall under the remit of a separate contracted operator. Miscellaneous structures including the weighbridge, weighbridge kiosk, workshop, truck wash and fuel storage area will be the responsibility of the Baling Station operator. Access to storage areas within the Baling Station will be permitted for the Civic Amenity operator.  The Baling Station operator will be required to provide free access to these areas to the Civic Amenity operator.

The weighbridge operated by the Baling Station operator. The access and weighing of Civic Amenity waste is described in Appendix 1 of this tender.

Administration Building

One office will be available to the operator of the Civic Amenity facility which is located within the administration building. The administration building is a single storey building plan area 170m2. It is fully contained and provides reception, office, canteen, toilet, showers, visitor centre and conference room facilities, all of which will be available to the operator.

Equipment provided includes:

  - site intruder alarm control panel (managed by the Baling Station operator)

  - site fire alarm control panel (managed by the Baling Station operator)

  - site telephone system (GPT Master line with 8 incoming lines) and 9 no. key stations

  - site monitoring and site telemetry

  - Kitchen equipment, cooker, fridge

  - Scale models of Baling Station and landfill site

Civic Amenity Kiosk

The Civic Amenity area is a separate entity from the main works area, it is fully enclosed by fencing and has a separate entrance.  The Civic Amenity kiosk is located at the entrance and is fully contained with office, canteen and separate ladies and gents’ toilet/showers.

Equipment provided includes:

  - Fire alarm panel

  - Stop barriers and controls

  - CCTV camera monitor

  - Electronic cash register

  - Telephone

  - Safe

  - Kitchen equipment, cooker, fridge

Civic Amenity and Recycling Area

Access to this area is via a 6m wide roadway from the kiosk to civic amenity and recycling areas. The disposal area is split level and fully concreted with 15 disposal bays.  Equipment provided includes:

  - 1 No. Welfare hut

  - 5 No. 30 cubic metre skips

  - 1 No. 24.5 cubic metre skip

  - 1 No. 120 litre drum compactor

  - Separate recycling bays

  - Hazardous waste container.

  - Information signage

  - Guard railing

Site Service:

The site (Civic Amenity Recycling Centre) is fully serviced with water supply, main drainage and three phase power supply.

Services provided include:

  - 150mm diameter ring water main

  - 150mm diameter water main to fire water supply

  - Council water meter on 150mm diameter main

  - 1 no. fire hydrants

  - Separate foul sewerage system

  - Separate storm sewerage system

  - Site lighting

  - CCTV cameras (controlled by current Baling Station Operator)

Charges

The successful Tenderer shall be liable for all charges associated with the facility including any water charges or other utilities (all electricity, internet, telephone, heating and similar charges), security costs, equipment maintenance and any other cost as may be incurred in the proper management of the facility from time to time.