## Comparisons
Phase 2a - Curtain Walling
MAIN BUILDING | [8 empty] | Cost €
No | Size (W xH) | Type | Spandrel panels | Clear Glass | Obscure glass | Casement Opening | Handles | Comments | exc VAT | inc/ VAT
W1 | 1.15x5.5m | A | YES | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W2 | 1.15x5.5m | A1 | YES | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W3 | 1.15x5.5m | A1 | YES | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W4 | 2.65 x 5.50m | B | YES | YES | No | SLIDING DOOR | NONE | Automatic sliding door(1.155w by 2190 high) with external senser and key lock to match existing masterkey etc.
W5 | 1.15x5.5m | A1 | YES | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W6 | 1.15x5.5m | A1 | YES | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W7 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W8 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W9 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W10 | 1.15x5.5m | C | NO | YES | YES | SIDE OPENING DOOR | KEY OUTSIDE PUSH BAR INSIDE | ESCAPE DOOR WITH SPANDREL/CLEAR PANEL and window above with obscure glass
W11 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W12 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W13 | 1.15x5.5m | C | NO | YES | YES | SIDE OPENING DOOR | KEY OUTSIDE PUSH BAR INSIDE | ESCAPE DOOR WITH SPANDREL/CLEAR PANEL and window above with obscure glass
W14 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W15 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W16 | 1.15x5.5m | C | NO | YES | YES | SIDE OPENING DOOR | KEY OUTSIDE PUSH BAR INSIDE | ESCAPE DOOR WITH SPANDREL/CLEAR PANEL and window above with obscure glass
W17 | 1.15x5.5m | C | NO | YES | YES | SIDE OPENING DOOR | KEY OUTSIDE PUSH BAR INSIDE | ESCAPE DOOR WITH SPANDREL/CLEAR PANEL and window above with obscure glass
W18 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W19 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W20 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W21 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W22 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W23 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W24 | 1.15x5.5m | C | NO | YES | YES | SIDE OPENING DOOR | KEY OUTSIDE PUSH BAR INSIDE | ESCAPE DOOR WITH SPANDREL/CLEAR PANEL and window above with obscure glass
W25 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W26 | 3.94 x 5.50m high | D | YES | YES | YES | 3 nr Top hung casements | Lockable- 2 nr each | New metal pressed cill piece to match frame
W27 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W28 | 3.94 x 5.50m high | D | YES | YES | YES | 3 nr Top hung casements | Lockable- 2 nr each | New metal pressed cill piece to match frame
W29 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W30 | 3.94 x 5.50m high | E | NO | YES | YES | 3 nr Top hung casements | Lockable- 2 nr each | New metal pressed cill piece to match frame
W31 | 1.15x5.5m | C | NO | YES | YES | SIDE OPENING DOOR | KEY OUTSIDE PUSH BAR INSIDE | ESCAPE DOOR WITH SPANDREL/CLEAR PANEL and window above with obscure glass
W32 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W33 | 2.60 x5.5m high | F | NO | YES | YES | Double doors | Push bar inside + slave door | New metal pressed cill piece to match frame
W34 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W35 | 1.15x5.5m | A2 | NO | YES | YES | Top hung | Lockable- 2 nr. | New metal pressed cill piece to match frame. Made in 2 sections and sealed together
W36 | 1.15x5.5m | C | NO | YES | YES | SIDE OPENING DOOR | KEY OUTSIDE PUSH BAR INSIDE | ESCAPE DOOR WITH SPANDREL/CLEAR PANEL and window above with obscure glass
[9 empty] | EXCL VAT | INCL VAT
[8 empty] | TOTAL COST | 0 | 0