Request for Tenders

Planned Preventative Maintenance and repair Services for of Air Conditioning & Refridgeration Equipment

For

HSE IHA Region

Dublin North & North East

Tender Deadline 26/08/2026 13:00

# Contents

Part 1:		 	Introduction

Part 2:			Instructions to Tenderers

Part 3: 			Scope of Service

Part 4:			Governing standards and Legislation

Part 5:			Safety, Health and Welfare

Appendix 1: 		Requirements and Specifications

Appendix 2: 		Pricing Schedule

Appendix 3: 		Tenderer’s Statement

Appendix 4: 		Declaration as to Personal Circumstances of Tenderer

Appendix 5: 		Locations for mandatory site visits

# Part 1: Introduction

| 1.1 | HSE Capital and Estates Directorate are responsible for the management of HSE healthcare and mental healthcare properties and facilities, to ensure that appropriate infrastructure is in place when and where required in order to enhance patient, client and staff wellbeing. The Capital and Estates Directorate now comprises six new regional Areas with Capital and Estates Offices based in Swords. As part of the Sláintecare programme, the HSE is organising National service delivery into six health regions from March 1 2024. This tender is for sites managed via HSE Engineering Department, based in Swords for selected sites in the new heath region “Dublin North and North East. This tender consists of 1 Lot – Dublin North County & Dublin North City & West. Please note - The successful vendor(s) will be required to adopt and implement the NEIS (National Estates Information System) IBM Tririga IWMS (Integrated Workplace Management System) for all maintenance activities, including, but not limited to, Reactive and Planned Maintenance works, report delivery and work task specifics that the Engineering Officer and or his delegated supervisor/manager deem as appropriate. All information applicable to work tasks will be generated, issued, tracked, and managed via digital workflows on the NEIS solution. The NEIS team will set up the successful vendor(s) on the NEIS system and provide full training and license access. This is a total requirement and non-negotiable for all maintenance contracts moving forward, allowing the HSE maintenance division to move to a digital solution. The vendor(s) are responsible for providing their own digital devices (smartphones, tablets, etc.) to their staff to fulfil this requirement. Capital & Estates, Engineering Department are now sourcing maintenance of Air Conditioning & Refrigeration for their properties. The appointed Contractor is required to have an appointed Contracts Manager to manage all services covered within the Contract and act as a single point of contact for the HSE Maintenance Managers and for each site’s allocated Maintenance Manager. After the award of the Contract, the Client may at his/her discretion enter into negotiations with the appointed Contractor to add additional buildings or remove buildings as required. Any such negotiations will be based on the Contractors tendered rates as provided in the Pricing Document. By entering into such negotiations and regardless of the outcome of such negotiations the client does not warrant that such negotiations will lead to the award of additional business. |
| --- | --- |
| 1.2 | In summary, the Services comprise: Maintenance of Air Conditioning and Refrigeration for Dublin North County and Dublin North City & West A 3 year Planned Preventative Maintenance Contract. This contract will be for a term of 3 years and the Contracting Authority reserves the right to extend the Term for a period or periods of up to 12 months with a maximum of 2 such extensions with a total contract possible of 60 months. |
| 1.3 | Variety of HSE Healthcare and HSE managed Administrative locations in Dublin North City & West and Dublin North County. The variety of functions of the buildings are located, including but not limited to: - Acute Hospitals; - General Hospitals; - Mental Health Facilities; - Day Care Centres; - Community Dwellings - Administrative Buildings When significant additional assets be identified or installed on site and require maintenance, a cost will be agreed between the contracting body and the Contractor on the basis of the closest comparable asset included on the asset register. |

# Part 2: Instructions to Tenderers

## 2.1	Important Notices

| 2.1.1 | While every effort has been made to provide comprehensive and accurate information in all notices and documents prepared for the purposes of this Competition, the Contracting Authority does not accept any liability or provide any express or implied warranty in respect of any such information. Tenderers must form their own conclusions about the solution needed to meet the requirements set out in this RFT and may wish to consult their legal advisers. |
| --- | --- |
| 2.1.2 | The Contracting Authority does not bind itself to accept the lowest priced or any Tender. This RFT does not constitute an offer or commitment to enter into a Services Contract. No contractual rights in relation to the Contracting Authority will exist unless and until a formal written Services Contract has been executed by or on behalf of the Contracting Authority. Any notification of preferred bidder status by the Contracting Authority shall not give rise to any enforceable rights by the Tenderer. The Contracting Authority may cancel this Competition at any time prior to a formal written Services Contract being executed by or on behalf of the Contracting Authority. The award of a Services Contract does not confer exclusivity on the successful Tenderer. |
| 2.1.3 | This RFT supersedes and replaces any and all previous documentation, communications and correspondence between the Contracting Authority and Tenderers, and Tenderers should place no reliance on such previous documentation and correspondence. |
| 2.1.4 | In this clause 2.1.4, “Data Protection Laws” means all applicable national and EU data protection laws, regulations and guidelines including but not limited to Regulation (EU) 2016/679 on the protection of natural persons with regard to the processing of personal data and on the free movement of such data, and repealing Directive 95/46/EC (the “General Data Protection Regulation”), and any guidelines and codes of practice issued by the Office of the Data Protection Commission or other supervisory authority for data protection in Ireland from time to time. The Contracting Authority will be a Data Controller (where Data Controller has the meaning given under the Data Protection Laws) in respect of any Personal Data (where Personal Data has the meaning given under the Data Protection Laws) required to be provided by the Tenderer in response to this RFT. The Tenderer, as Data Controller in respect of any Personal Data provided by it in its Tender, is required to confirm in the statement required under paragraph 2.4 below that all Data Subjects (where Data Subject has the meaning given under the Data Protection Laws) whose Personal Data is provided by the Tenderer have consented to the processing of such Personal Data by the Tenderer, the Contracting Authority, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of the participation of the Tenderer in this Competition or that the Tenderer otherwise has a legal basis for providing such Personal Data to the Contracting Authority for the purposes of its participation in this Competition . |

## 2.2	Compliant Tenders

| 2.2.1 | If a Tenderer fails to comply in any respect with the requirements of this paragraph 2.2.1, the Contracting Authority reserves the right to reject the Tenderer’s Tender as non-compliant or, without prejudice to this right and subject to its obligations at law, to take any other action it considers appropriate including but not limited to: - seeking written clarification from the Tenderer; - seeking further information from the Tenderer; or - waiving a requirement, which in the Contracting Authority’s view, is non-material or procedural. Tenderers are required: |  |
| --- | --- | --- |
|  | (a) | To complete and submit online the electronic European Single Procurement Document (“eESPD”). Alternatively, Tenderers may submit an ESPD document file or eESPD file which has already been used in a previous procurement procedure PROVIDED THAT they confirm that: - the information contained in it continues to be correct; and - that they satisfy the Selection Criteria for this Competition as set out at part 3.2 below. |
|  | (b). | To submit all documentation which this RFT requires to be submitted with their Tender; |
|  | (c) | To follow the format of this RFT and respond to each element in the order as set out in this RFT; |
|  | (d) | To conform to and comply with all instructions and requirements set out in this RFT; |
|  | (e) | To submit the statement required under paragraph 2.4 below; and |
|  | (f) | Not to alter or edit this RFT in any way. |
| 2.2.2 | Without prejudice to the generality of paragraphs 2.2.1, failure to comply with paragraph 2.6.1, 2.6.2 or 2.6.3 below will render the Tender non-compliant and it will be rejected. |  |

## 2.3	Services Contract

| 2.3.1 | Tenderers should note the terms and conditions of the Services Contract. |
| --- | --- |
| 2.3.2 | Tenderers are required to confirm their acceptance of the terms and conditions of the Services Contract by signing the Tenderer’s Statement. Tenderers may not amend the Services Contract. |

## 2.4	Acceptance of RFT Requirements

Each Tenderer is required to accept the provisions of this RFT. ALL TENDERERS MUST RETURN, with their Tender, a scanned signed copy of the Tenderer’s Statement, printed on the Tenderer’s letterhead. The Contracting Authority must be able to read the scanned signature of the Tenderer. If possible, please sign documents using blue ink. If the Contracting Authority cannot read the scanned signature, Tenderers may be requested to re-submit. Tenderers may not amend the Tenderer’s Statement text.

## 2.5	Consortia and Prime / Subcontractors

Where a group of undertakings (in whatever form and regardless of the legal relationship between them) come together to submit a Tender in response to this RFT, the Contracting Authority will deal with all matters relating to this Competition through a single nominated entity authorised to represent all members of the group of undertakings. The Tenderer must provide details of all members of the group of undertakings and their role in the Tender and clearly set out the contact details including name, title, telephone number, postal address, facsimile number and e-mail address of the nominated entity authorised to represent the Tenderer and to whom all communications shall be directed and accepted until this Competition has been completed or terminated. Correspondence from any other person will NOT be accepted, acknowledged or responded to.

Prior to and as a condition of award of any Services Contract, the successful Tenderer shall be required to designate a single entity who will carry overall responsibility for the Services Contract (the “Prime Contractor”), irrespective of whether or not tasks are to be performed by a subcontractor or other consortium member (the “Subcontractor”).

## 2.6	Tender Submission Requirements

| 2.6.1 | Tenders must be submitted via the electronic postbox available on www.etenders.gov.ie. Only Tenders submitted to the electronic postbox will be accepted. Tenders submitted by any other means (including but not limited to by email, fax, post or hand delivery) will NOT be accepted. Please note, before submission, visits to the selected sites must be arranged. This is mandatory – Please see Appendix for locations. Tenderers must ensure that they give themselves sufficient time to upload and submit all required tender documentation before the Tender Deadline. |  |
| --- | --- | --- |

| 2.6.2 | Tenders must be received not later than on the stated date on eTenders (the “Tender Deadline”). Tenders that are received late WILL NOT be considered in this Competition. |
| --- | --- |
| 2.6.3 | Tenders must be submitted in English, except where the law specifies other languages. |
| 2.6.4 | Subject to paragraph 2.14 and 2.18, each Tenderer is limited to submitting one Tender in its own capacity and one Tender as part of a consortium/group of undertakings under this RFT for each Lot. |
| 2.6.5 | All Tenders submitted in soft copy must be compiled such that they can be read immediately using MS Word, Excel or .pdf format (pricing must be on Excel). The Contracting Authority is not responsible for corruption in electronic documents. Tenderers must ensure electronic documents are not corrupt. |

## 2.7	Queries and Clarifications

| 2.7.1 | All queries relating to any aspect of this Competition or of this RFT must be directed to the messaging facility on www.etenders.gov.ie. Queries will be accepted no later than 13:00 on 21st August 2026, unless otherwise published by the Contracting Authority. For the avoidance of doubt, Tenderers may not contact the Contracting Authority directly regarding any aspect of this Competition. |
| --- | --- |
| 2.7.2 | All responses to queries will be issued by the Contracting Authority via the messaging facility on www.etenders.gov.ie. Where appropriate, queries may be amalgamated. Tenderers should note that the Contracting Authority will not respond to individual Tenderers privately. |
| 2.7.3 | The Contracting Authority reserves the right to issue or seek written clarifications. |
| 2.7.4 | The Contracting Authority reserves the right at any time before the Tender Deadline, to update or amend the information contained in this document and/or to extend the Tender Deadline. Participating Tenderers will be informed of any such amendment or extension through the eTenders website. |
| 2.7.5 | Tenderers should ensure that they register their interest in this Competition, by clicking on the “Accept” button on www.etenders.gov.ie, in order to receive all responses to queries and other updates in relation to this Competition. |

## 2.8	Tendering Costs

| 2.8.1 | All costs and expenses incurred by Tenderers relating to their participation in this Competition including, but not being limited to, site visits, field trials, demonstrations and/or presentations shall be borne by and are a matter for discharge by the Tenderers exclusively. |
| --- | --- |

## 2.9	Confidentiality

| 2.9.1 | All documentation, data, statistics, drawings, information, patterns, samples or material disclosed or furnished by the Contracting Authority to Tenderers during the course of this Competition: |  |
| --- | --- | --- |
|  | (a) | are furnished for the sole purpose of replying to this RFT only; |
|  | (b) | may not be used, communicated, reproduced or published for any other purpose without the prior written permission of the Contracting Authority; |
|  | (c) | shall be treated as confidential by the Tenderer and by any third parties (including subcontractors) engaged or consulted by the Tenderer; and |
|  | (d) | must be returned immediately to the Contracting Authority upon cancellation or completion of this Competition if so requested by the Contracting Authority. |

## 2.10	Pricing

| 2.10.1 | All Tenderers must complete the Cost Schedule, supplied with this RFT. |
| --- | --- |
| 2.10.2 | All prices quoted must be all-inclusive (i.e. including but not being limited to travel, shipping, packaging, delivery, taxes and duties, ancillary costs and all other costs/expenses), be expressed in Euro only and exclusive of VAT. The VAT rate(s) where applicable should be indicated separately. |
| 2.10.3 | Tenderers must confirm that all prices quoted in the Tender will remain valid for 90 days commencing from the Tender Deadline for all Lots. |
| 2.10.4 | Any currency variations occurring over the term of the Services Contract shall be borne by the Tenderer. |
| 2.10.5 | Payments for Services provided pursuant to this RFT shall be subject to and made in accordance with the Services Contract. |
| 2.10.6 | All tendered prices (excluding taxes) are fixed for the duration of the Contract and any / all extensions. |

## 2.11	Environmental, Social and Labour Law

| 2.11.1 | In the performance of any Services Contract awarded, the successful Tenderers and their Subcontractors (if any), shall be required to comply with all applicable obligations in the field of environmental, social and labour law that apply at the place where the services are provided, that have been established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Schedule 7 of the Regulations. |  |
| --- | --- | --- |
| 2.11.2 | Tenderers shall be required to include an undertaking to comply fully with the provisions of Council Directive 2001/23/EC of 12 March 2001 on the approximation of the laws of the Member States relating to the safeguarding of employees’ rights in the event of transfers of undertakings, business or parts of undertakings or business and as implemented in Irish law by Statutory Instrument No. 131 of 2003, the European Communities (Protection of Employees on Transfer of Undertakings) Regulations 2003 and to indemnify the Contracting Authority for any claim arising or loss or costs incurred as a result of its failure or incapacity to fulfil its obligations under the said Directive and Statutory Instrument. |
| 2.11.3 | The Protection of Employees (Temporary Agency Work) Act 2012 (the “2012 Act”) provides that an Agency Worker (as defined in the 2012 Act) is entitled to the same basic working and employment conditions as those which apply to employees recruited directly by the Hirer (as defined in the 2012 Act) to do the same or a similar job. Where the provision of the Services will involve the provision to the Contracting Authority of Agency Workers (within the meaning of the 2012 Act), Tenderers should ensure that they consider their obligations under the 2012 Act when pricing their Tender. The Contracting Authority shall have no liability for any increase in salaries that may be payable as a result of the application of the 2012 Act to the provision of the Services. |

## 2.12	Publicity

No publicity regarding this Competition or any Services Contract pursuant to this Competition is permitted unless and until the Contracting Authority has given its prior written consent to the relevant communication.

## 2.13	Registrable Interest

Any Registrable Interest involving any Tenderer or Subcontractor and the Contracting Authority, members of the Government, members of the Oireachtas, or employees and officers of the Contracting Authority and their relatives must be fully disclosed in the Tender or, in the event of this information only coming to the notice of the Tenderer or Subcontractor after the submission of a Tender, must be communicated to the Contracting Authority immediately upon such information becoming known to the Tenderer or Subcontractor.

The terms “Registrable Interest” and “Relative” shall be interpreted as per Section 2 of the Ethics in Public Office Acts 1995 and 2001, copies of which are available at www.irishstatutebook.ie.  The Contracting Authority will, at its absolute discretion, decide on the appropriate course of action, which may in appropriate circumstances include eliminating a Tenderer from this Competition or terminating any Services Contract entered into by a Tenderer.

## 2.14	Anti-Competitive Conduct

Tenderers’ attention is drawn to the Competition Act 2002 (as amended, the “2002 Act”).  The 2002 Act makes it a criminal offence for Tenderers to collude on prices or terms in a public procurement competition.

## 2.15	Industry Terms Used in this RFT

Where reference is made to a particular item, source, process, trademark, or type in this RFT then all such references are to be given the meaning generally understood in the relevant industry and operational environment.

## 2.16	Freedom of Information

| 2.16.1 | Tenderers should be aware that, under the Freedom of Information Act 2014 and the European Communities (Access to Information on the Environment) Regulations 2007 to 2014, information provided by them during this Competition may be liable to be disclosed. |
| --- | --- |
| 2.16.2 | Tenderers are asked to consider if any of the information supplied by them in their Tender should not be disclosed because of its confidentiality or commercial sensitivity. If Tenderers consider that certain information is not to be disclosed because of its confidentiality or commercial sensitivity, Tenderers must, when providing such information, clearly identify the specific sections of their Tender containing such information and specify the reasons for its confidentiality or commercial sensitivity. For the avoidance of doubt Tenderers may not assert confidentiality or commercial sensitivity over the entire Tender but must clearly identify the specific section containing such information. If Tenderers do not identify information as confidential or commercially sensitive, it is liable to be released in response to a request under the above legislation without further notice to or consultation with the Tenderer. The Contracting Authority will, where possible, consult with Tenderers about confidential or commercially sensitive information so identified before making its decision on a request received. The Contracting Authority accepts no liability whatsoever in respect of any information provided which is subsequently released (irrespective of notification) or in respect of any consequential damage suffered as a result of such obligations. |

## 2.17	Tax Clearance

It will be a condition of any Services Contract pursuant to this Competition that the successful Tenderer(s) shall, for the term of such contract(s), comply with all applicable EU and domestic tax laws. Tenderers are referred to www.revenue.ie for further information. Prior to the award of any Services Contract arising out of this Competition the successful Tenderer shall be required to supply its Tax Clearance Access Number and Tax Reference Number to facilitate online verification of their tax status by the Contracting Authority. By supplying these numbers the successful Tenderer acknowledges and agrees that the Contracting Authority has the permission of the successful Tenderer to verify its tax cleared position online.

## 2.18	Conflicts of Interest

Any conflict of interest or potential conflict of interest on the part of a Tenderer, Subcontractor or individual employee(s) or agent(s) of a Tenderer or Subcontractor(s) must be fully disclosed to the Contracting Authority as soon as the conflict or potential conflict is or becomes apparent.

In the event of any actual or potential conflict of interest, the Contracting Authority may invite Tenderers to propose means by which the conflict of interest might be removed. The Contracting Authority will, at its absolute discretion, decide on the appropriate course of action, which may in appropriate circumstances include eliminating a Tenderer from this Competition or terminating any Services Contract entered into by a Tenderer.

## 2.19	Withdrawal from this Competition

Tenderers are required to notify the Contracting Authority immediately via the e-tenders website, if at any stage they decide to withdraw from this Competition.

## 2.20	Site Visit

| 2.20.1 | The Contracting Authority will facilitate Tenderers by permitting an inspection of the Contracting Authority’s premises. A site visit to view the Contracting Authority’s premises and listed Assets is recommended. Tenderers wishing to make an appointment to avail of this opportunity must confirm their attendance by contacting the relevant Maintenance Manager with e-mail address listed on the Asset Register. Attendance at the Contracting Authority’s premises will be subject to compliance with local security and health and safety arrangements. No costs will be reimbursed by the HSE for site visits. Mandatory site visits are required before submitting a tender and must be completed by the tender deadline: These sites are compulsory to visit by contacting the relevant Maintenance Manager before the tender deadline. Site 1 & 2 Gary Dowd gary.dowd@hse.ie 087 1800990 Site 3 Mark Deegan markdeegan@hse.ie 087 1330168 Site 4 – 9 Stephen Phoenix stephen.phoenix@hse.ie 087 1882062 1. St Marys, Phoenix Park 2. Phoenix Care Centre, Grangegorman 3. Ashlinn Centre, Beaumont Hospital 4. Kilbarrack Health Centre 5. St Itas Portrane 6. Unit 15 & 16 Bayside Shopping Centre 7. Seatown Rd, (formally Hertz Building) Swords 8. Surgical Hub, Swords Business Campus 9. Unit 7 & 8 Swords Business Campus |
| --- | --- |

## 2.21		Insurance

| 2.21.1 | The successful Tenderer shall be required to hold for the term of the Services Contract the following insurances: Type of Insurance; Indemnity Limit. Employer’s Liability; €13m. Public Liability; €6.5m. Product Liability; €6.5m. Professional Indemnity; €6.5m. |
| --- | --- |
| 2.21.2 | By signing the Tenderer’s Statement, Tenderers confirm that, if awarded a Services Contract under this Competition, (i) they will, from the Effective Date of the Services Contract (as defined in the Services Contract), obtain and hold the types and levels of insurance as specified at paragraph 2.21.1, (ii) the territorial limits and jurisdiction of its insurance policies include the Republic of Ireland and (iii) they are not aware of any exclusions, restrictions, conditions or warranties or, in the case of policies with an aggregate limit of indemnity, any outstanding claims, which could have a material adverse impact on the level of coverage specified above. A formal confirmation from the Tenderer's insurance company or broker to this effect will be requested from the successful Tenderer(s) prior to the award of (and shall be a condition of) any Services Contract. |  |
| 2.21.3 | The successful Tenderer will, during the term of the Services Contract, be required to: |  |
|  | (a) | immediately advise the Contracting Authority of any material change to its insured status; |
|  | (b) | produce proof of current premiums paid upon request; |
|  | (c) | Produce valid certificates of insurance upon request. |

# Part 3: Scope Of services

## 3.1	Scope of services

- Please see attached Appendix 1 – Mechanical Specification Maintenance and Repair of Air Conditioning & Refrigeration.

## 4.0	governing standards and legislation

All work carried out on behalf of the Client must be delivered in accordance with all relevant legislation, regulations and codes of practice, including but not limited to:

- Safety, Health & Welfare at Work (Chemical Agents) Regulations (S.I No. 619 of 2001);

- Safety, Health & Welfare at Work 2005 (S.I. No. 10 of 2005);

- Safety, Health and Welfare at Work (General Applications) Regulations, (S.I. No.299 and 732 of 2007);

- Safety, Health and Welfare at Work 2007 (General Applications) Regulations Part 2, Chapter 2 Use of Work Equipment;

- Safety, Health and Welfare at Work (Construction) Regulations 2013 (S.I. No. 291 of 2013);

- Safety, Health and Welfare at Work (Exposure to Asbestos) Regulations, 2010 (S.I. 589 of 2010);

- Safety, Health and Welfare at Work (General Applications) Regulations 2007, Part 2 Workplace and Work Equipment, Chapter 4 – Manual Handling of Loads and Amendments Regulations 2007;

- Safety, Health and Welfare at Work (General Applications) Regulations 2007, Part 4 Work at Height and Amendment Regulations 2007;

- Safety, Health and Welfare at Work (General Applications) Regulations 2007, Part 5 Physical Agents, Chapter 1 – Control of Noise at Work and Amendment Regulations  2007;

- Safety, Health and Welfare at Work (General Application) (Amendment) Regulations 2012, Part 10 Pressure Systems;

- Safety, Health and Welfare at Work (General Applications) (Amendment)(No.3) Regulations 2016, Part 14 (Reporting of Accidents and Dangerous Occurrences);

- Safety, Health and Welfare at Work (Confined Spaces) Regulations 2001;

- European Union (EU) Energy Performance of Buildings Directive 2002/91/EC amended by Directive 2010/31/EU;

- Energy (Miscellaneous Provisions) Act 2006;

- IS 3216:2010 – Code of Practice – Bulk Storage of Liquefied Petroleum Gas (LPG) (2nd Edition), or equivalent in every respect;

- European Union (EU) Energy Performance of Buildings Directive 2002/91/EC amended by Directive 2010/31/EU;

- Energy (Miscellaneous Provisions) Act 2006;

- Building Regulations 2011, Part L – Conservation of Fuel and Energy;

- Environmental Protection Agency Act, 1992;

- Protection of the Environment Act 2003;

The above governing standards and legislation includes all of the updates, amendments and revisions thereof.

All scheduled and unscheduled work carried out under a Services Contract for the Client must as a minimum be carried out in accordance with the legislation and codes of practice referred to above. These shall be the standards that all work must be carried to without exception. Any other requirements set out in this document do apply and may be over and above what is set in the standards.

The Contractor shall comply with National and European legislation, regulations, requirements and byelaws.

Original manufacturer maintenance instructions must also be complied with. SFG20 must be used to supplement the maintenance service as required. No action or inaction on the part of the Contractor shall cause pre-existing warranty periods to be invalidated.

All tenderers must have access to licenced copies of all relevant standards and legislation referred to in this Specification (including having an SFG 20 access license at the time of the Tender deadline) and the successful Contractor will be required to maintain and necessary licences throughout the contract duration.

## 5.0 Safety, health and welfare

The Contractor shall comply with all applicable health, safety and welfare measures required under or by virtue of provisions of any EU and Irish legislation enactment or regulation.

The Contractor shall comply and secure compliance by his workers, sub-contractors, agents and servants, with all health and safety law including but not limited to the Safety, Health and Welfare at Work Act 2005, (General Application) Regulations 2007, the (Construction) Regulations 2013 including any amendment, all regulations and orders made and any subsequent legislation.

The Contractor shall comply with all safety requirements and procedures, which apply to the location at which service is to be provided or those that may be required of the contractor by the Client. It is the responsibility of the contractor to familiarise himself with such requirements and procedures and ensure that all his workmen, subcontractors, agents and servants comply with them.

Where applicable the contractor’s workers, sub-contractors, agents and servants shall have a valid safe pass card with SOLAS accreditation (or equivalent) and where applicable shall also have the appropriate construction skills certification scheme (CSCS) card (or equivalent).

The Contractor shall comply with any health, safety and environmental standards and guidelines detailed by the Client and detailed in the Contractors own health, safety and environmental policies.

## 5.1	Recording of Inspections

The successful vendor(s) will be required to adopt and implement the NEIS (National Estates Information System) IBM Tririga IWMS (Integrated Workplace Management System) for all maintenance activities, including, but not limited to, Reactive and Planned Maintenance works, report delivery and work task specifics that the Engineering Officer and or his delegated supervisor/manager deem as appropriate. All information applicable to work tasks will be generated, issued, tracked, and managed via digital workflows on the NEIS solution. The NEIS team will set up the successful vendor(s) on the NEIS system and provide full training and license access.

This is a total requirement and non-negotiable for all maintenance contracts moving forward, allowing the HSE maintenance division to move to a digital solution. The vendor(s) are responsible for providing their own digital devices (smartphones, tablets, etc.) to their staff to fulfil this requirement.

## 5.2 Maintenance and Inspection reports

All maintenance reports must include the following;

    - Details of the work/inspection carried out on each item of plant.

    - The plant item must be clearly identified using existing asset details where possible.

    - Details of any replacement parts used.

    - All readings taken must be accompanied by an interpretation for example;

- Temperatures taken during thermographic surveys must be accompanied by a description of what that temperature signifies. Is it within limits or above limits? Is action required?

- If an RCD trip time is recorded it must be accompanied by a description of what that time signifies. Is it within limits or above limits? Is action required?

- If a running current is recorded on a fan motor or a pump, it should be noted what that running current signifies. Is it within limits or above limits? Is action required?

    - All faults detected must be accompanied by a note detailing the actions taken or the actions/recommended actions.

    - Where	practical	and	beneficial,	photographs	must be	included in all maintenance/inspection reports.

Note: Any Tenderer that does not meet the minimum requirements contained in this section will not qualify to have its tender evaluated.

# Part 4: Minimum Requirements

## 4.1 Financial standing

- The Minimum Requirement is that the Applicant must demonstrate an average annual turnover, in the last 3 Years or pro-rata for a company established within the last 3 years of at least €300,000. The Contracting Entity reserves the right to request further information to demonstrate the turnover of the Applicant.  In the event of a Joint Venture/Consortium, the lead Applicant must demonstrate 70% of the required turnover.

## 4.2 Qualifications

- Please provide the qualifications and certification which enables you to carry out such inspections as mentioned above along with CV for personnel qualified to carry out the inspections. Please see Appendix 4 for the CV.

## 4.3 relevant experience

- The Tenderer shall submit reference projects that demonstrate that they have successfully delivered two (2) projects of a similar scope, scale and complexity to this project (one of which must be an Acute Hospital Campus), the scope of which is outlined at Section 3.

- All reference projects shall be within the last five (5) years. The format to be used is that of the “Project Reference Data Sheet” set out in Appendix 3 to this document. In the case of a joint venture/consortium, different members may provide the evidence to meet the minimum requirements. If relevant, this shall also apply to subcontractors or other team members on which the Tenderer will rely to provide such evidence.  The entity that performed the work/services in question must be the entity that is relied upon by the Tenderer in its answer.

## 4.4 health & safety

- The Tenderer shall provide an up-to-date copy of its Safety Statement (if registered in the Republic of Ireland) or a copy of its Health & Safety Policy document or equivalent (if registered elsewhere).

- RAMS documents will be requested for approval in advance of all works.

## 4.5 declaration of compliance

- The Tenderer shall complete and return the declaration of compliance contained below listed under Appendix 2.

# 5. EVALUATION CRITERIA AND EVALUATION

The Contracting Entity will evaluate tenders from those Tenderers that meet any minimum requirements specified in Section 4 against the evaluation criteria contained in this Section 5 in order to ascertain the most economically advantageous tender having regard to quality and price.

Responses will be scored 0-100% for each of the scored elements described in Section 5.2 below, based on the level of detail provided, the criteria set out below and relative to the other Tenders submitted.

| Score | Indicator |
| --- | --- |
| 90-100% | Excellent |
| 70-89% | Above Average |
| 50-69% | Average |
| 30-49% | Below Average |
| 11-29% | A poor response |
| 0-10% | Failed to address the question |

Unless the question sets out a different evaluation methodology, for each question in Section 5.2, the response will be evaluated to establish how specific the response is to the proposed services/supplies/works, the extent to which the response meets the Contracting Entity’s requirements, the level of detail provided and the extent to which the response demonstrates the Tenderer’s understanding of the services/supplies/works.  In addition, if relevant, the response will be evaluated to establish the extent to which the project team members have experience of contracts of a similar nature, complexity and size of the proposed services/supplies/works.

## 5.1 TECHNICAL / QUALITY EVALUATION

## TECHNICAL / QUALITY EVALUATION – (500 Marks)

As appropriate, for each sub-section in this Section 5.1 (other than 5.1.2), the response will be evaluated to establish how specific the response is to the proposed works/supplies/services, the level of detail provided and the extent to which the response demonstrates the Tenderer’s understanding of the works/supplies/services.

The response to section 5.1.2 will be evaluated to establish the extent to which the project team members has experience of contracts of a similar nature, complexity and size to the proposed works/supplies/services.

## 5.1.1 METHODOLOGY for undertaking these WORKS (Total 400 marks. Maximum number of A4 pages is 20)

Tenderers Mobilisation Proposal (100 Marks)

Tenderers must submit a clear and comprehensive mobilisation methodology which demonstrates the continued delivery of a high-quality service during the period of transition from the incumbent contractor. Responses must include but not limited to the following;-

- Provide a detailed mobilisation plan from the date of the award of the contract by the HSE to the commencement of the delivery of service (20 Marks)

- The mobilisation plan must clearly outline what steps, measures and processes shall be adopted to achieve effective knowledge transfer and to accelerate the familiarisation process to ensure continuity of existing practices and level of service. (20 Marks)

- The mobilisation plan must clearly outline the phases involved, sequencing, and the durations of each phase, the activities involved and activity owners. (20 Marks)

- The mobilisation plan must clearly outline what would be required from the HSE Capital & Estates Dept. and any incumbent contractor for each of the phases:-highlighting key milestones and the interactions required. (20 Marks)

- The response must address mobilising in HSE live Health Care facilities. (20 Marks)

Maintenance Scenarios (300 Marks)

- Planned Maintenance (100 marks)

Demonstrate in detail (end/end process) the steps involved in the replacement of a Heat Recovery Unit within a residential Mental Health care facility, taking into consideration the environment, workings with other 3rd party specialists and infection control issues.

Maximum number of A4 pages in total [2]

- Reactive Maintenance (100 marks)

Demonstrate in detail (end/end process) the steps involved in how you would plan to deal with a reactive maintenance call-out to address a gas leak in an Air Conditioning System within a live acute setting

Maximum number of A4 pages in total [2]

- Minor Works Project (100 marks)

Demonstrate in detail (end/end process) the steps involved in undertaking the installation of a new AC unit in a non- acute environment.

Maximum number of A4 pages in total [2]

- Non-Conforming Product (50 marks available, page limit 2 no. A4 pages)

The Tenderer shall outline the management processes to ensure that the works are delivered in accordance with HSE standard details. In the response the Tenderer should deal with the issues in the following scenario:

At construction stage, due to congestion of existing utilities or lack of sufficient working space, an asset cannot be installed in accordance with the HSE design standards. What steps would you take to progress the works?

Quality Assurance

PSCS –50 marks

• PROVIDE DETAILS OF EXPERIENCE & QUALIFICATIONS OF STAFF PROPOSED FOR THIS PROJECT.

• PROVIDE EVIDENCE OF MEMBERSHIP OF RELEVENT TRADE ASSOCIATIONS.

• DETAIL HOW SAFETY IS COMMUNICATED AND COORDINATED.

• PROVIDE AN EXAMPLE OF PREVIOUS SAFETY & HEALTH PLANS FOR THE CONSTRUCTION STAGE.

• DESCRIBE HOW YOU COORDINATE OF OTHER TRADES OF IMPLEMENTATION OF SAFE WORKING PROCEDURES.

• DETAIL ANY ACCIDENTS/INCIDENTS ASSOCIATED WITH YOUR PROJECTS.

## 5.1.2 sustainability (Total 100 marks)

- Tenderers must outline the manner in which materials will be selected, to include a description of the conformity of materials used with current existing equipment and future industry best practice. (20 Marks)

- The Contracting Entity is committed to zero recoverable waste to landfill. The Tenderer shall confirm their commitment to reduce the volume of waste to landfill and shall detail the actions they will take on any work arising from the project to prevent waste generation, use materials at the highest utility and value and minimise consumption of resources in accordance with the Waste Action Plan for a Circular Economy (2020 – 2025). (30 Marks)

- The Tenderer should detail how they would manage the replacement of a large chiller in a fully operational Health Care setting. (50 Marks)

## A failure to address any of the foregoing points, either at all or in sufficient detail, will result in a failure to attain the minimum required score associated with this criterion and the consequent elimination of the tender submission in question from further consideration. Scores in excess of the minimum required score shall be apportioned based upon the overall relative merit of responses.

## 5.2 Cost Evaluation (400 marks)

- The scoring of the commercial part of the tender is based on the following:

- The tender totals from each Tenderer (the Form of Tender total cost) shall be compared with one another and marks will be allocated as follows:

- % Score = lowest tender total submitted to the Contracting Entitytender total offered by the Tenderer  x weighting

# Appendix 1 Requirements and specifications

Please refer to Appendix 1 attached to Tender Documents.

# Appendix 2: Pricing Document

Having examined the RFT and accompanying Appendices we offer to provide the whole of the works for the sum/s outlined in the table below:-

| Description | Total |
| --- | --- |
| Pricing Document (Attached Appendix 2 cost schedule, Column F19) | € |
| Variable Costs Estimate | € |
| Total Cost Of Tender | € |

- I/We the undersigned hereby tender for the above Contract in accordance with the tender attached and the RFT (and all Appendices) at the lump sum price quoted above and for the prices specified in the tender forming part of my/our tender response.

- In the event of acceptance of this offer we will accept a Contract in accordance with the terms of this offer and in accordance with the conditions of contract appended, which we have examined and understand.

- I/We understand that the Contracting Entity reserves the right to discontinue the award procedure.

- I/We warrant that I/we have all the requisite corporate authority to sign this tender.

- In consideration of the issue to us of the RFT, I/we agree that this Tender shall remain open for acceptance for the period stated in Particular 2.1(g) of the RFT, or such extended date as we may agree with the Contracting Entity.

Signed on behalf of the Tenderer………………………………..

Position……………………………………………………………..

Company...……………………………………………………….

Registered Address……………………………………………….

Dated this ………………… day of……………………20……

# Appendix 3: Tenderer’s Statement

Tenderers shall complete and return the following form of Tenderers’ Statement printed on the Tenderers’ headed notepaper and signed by the Tenderer.]

TO:  HSE Capital & Estates - Engineering Department (the “Contracting Authority”)

RE: Request for Tenders for Air Conditioning & Refrigeration Maintenance Contract

Having examined your Request for Tenders (the “RFT”) including the Instructions to Tenderers, the Selection and Award Criteria, the Requirements and Specifications, and the Terms and Conditions of the Services Contract, we hereby agree and declare the following:

- We understand the nature and extent of the Services required to be delivered as described in Requirements and Specifications at Appendix 1 to the RFT.

- We accept all of the Terms and Conditions of the RFT, the Services Contract and the Confidentiality Agreement and agree if awarded a Services Contract to execute the Services Contract.

- We accept all the Selection and Award Criteria as set out in the RFT.

- We agree to provide the Contracting Authority with the Services in accordance with the RFT and our Tender.

- We agree that, if awarded any Services Contract, we shall, in the performance of such contract, comply with all applicable obligations in the field of environmental, social and labour law.

- We confirm that we have complied with all requirements as set out in the RFT.

- We confirm that all prices quoted in our Tender will remain valid for the period of time commencing from the Tender Deadline, as specified at paragraph 2.10.3 of the RFT.

- We shall, if awarded any Services Contract under the RFT, have in place on the Effective Date of the Services Contract all insurances (if any) as required by paragraph 2.21.1 of the RFT.

- We confirm that all Data Subjects whose Personal Data is provided in our Tender have consented to the processing of such Personal Data by us, the Contracting Authority, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of our participation in this Competition or that we otherwise have a legal basis for providing  such Personal Data to the Contracting Authority for the purposes of our participation in this Competition and that we will provide evidence of such consent and / or legal basis to the Contracting Authority upon request.

SIGNED 	Company

(Authorised Signatory)

Print name 	Address 	 			Date

# Appendix 4: Declaration as to personal circumstances

Re: Request for Tenders for Air Conditioning & Refrigeration Maintenance Contract for HSE Capital & Estates - Engineering Department

NAME:    	[Click here and insert name]

ADDRESS:  	[Click here and insert address]

I, [Click here and insert name of Declarant], having been duly authorised by [Click here and insert name of entity] sincerely declare that [Click here and insert name of entity] itself or any person who has is a member of the administrative, management or supervisory body of [Click here and insert name of entity] or has powers of representation, decision or control in [Click here and insert name of entity]:

- Has never been the subject of a conviction for participation in a criminal organisation, as defined in Article 2 of Council Framework Decision 2008/841/JHA.

- Has never been the subject of a conviction for corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in the national law of the Contracting Authority.

- Has never been the subject of a conviction for fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests.

- Has never been the subject of a conviction for terrorist offences or offences linked to terrorist activities, as defined in Articles 1 and 3 of Council Framework Decision 2002/475/JHA respectively, or for inciting or aiding or abetting or attempting to commit an offence, as referred to in Article 4 of that Framework Decision.

- Has never been the subject of a conviction for money laundering or terrorist financing, as defined in Article 1 of Directive 2005/60/EC of the European Parliament and of the Council.

- Has never been the subject of a conviction for child labour and other forms of trafficking in human beings as defined in Article 2 of Directive 2011/36/EU of the European Parliament and of the Council.

- Is not in breach and has not breached its obligations relating to the payment of taxes or social security contributions.

- Has, in the performance of all public contracts, complied with applicable obligations in the field of environmental, social and labour law that apply at the place where the works are carried out or the services provided, that have been established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Schedule 7 of the European Union (Award of Public Authority Contracts) Regulations 2016 (Statutory Instrument 284 of 2016).

- Is not bankrupt or the subject of insolvency or winding-up proceedings, its assets are not being administered by a liquidator or by the court, it is not in an arrangement with creditors, its business activities are not suspended nor is it in any analogous situation arising from a similar procedure under national laws and regulations.

- Is not guilty of grave professional misconduct.

- Has not entered into agreements with other economic operators aimed at distorting competition.

- Is not aware of any conflict of interest due to its participation in the Competition;

- That the preparation of the Tender was carried out independently;

- Has not had any prior involvement in the preparation of the Competition;

- Has not shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions.

- Is not guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the Selection Criteria for this Competition and did not withhold such information and did not fail or is not able to submit supporting documents in respect of this Competition as required under Regulation 59 of the European Union (Award of Public Authority Contracts) Regulations 2016 (Statutory Instrument 284 of 2016) .

- Has not undertaken to unduly influence the decision-making process of the Contracting Authority in respect of the Competition, or obtain confidential information that may confer upon it undue advantages in respect of the Competition; or negligently provided misleading information that may have a material influence on decisions concerning exclusion, selection or award.

I understand and acknowledge that the provision of inaccurate or misleading information in this declaration may lead to my business/firm/company/partnership being excluded from participation in this or future tenders, and I make this solemn declaration conscientiously believing the same to be true and by virtue of the Statutory Declarations Act, 1938. This declaration is made for the benefit of the Contracting Authority.

| ________________________ | ________________________ |
| --- | --- |

Signature of Declarant 	Name of Declarant in print or block capitals

Declared before me by ___________________________________ who is personally known to me

(or who is identified to me by ______________________________who is personally known to me) at ____________________________  this ___________ day of _______________ 20__

________________________________

(Signed)

Practising Solicitor/Commissioner for Oaths

# Appendix 5: Locations

Mandatory site visits are required before submitting a tender and must be completed by the tender deadline:

These sites are compulsory to visit by contacting the relevant Maintenance Manager before the tender deadline.

Site 1 & 2 Gary Dowd gary.dowd@hse.ie 087 1800990

Site 3 Mark Deegan markdeegan@hse.ie 087 1330168

Site 4 – 9 Stephen Phoenix stephen.phoenix@hse.ie 087 1882062

1.  St Marys, Phoenix Park

2. Phoenix Care Centre, Grangegorman

3. Ashlinn Centre, Beaumont Hospital

4. Kilbarrack Health Centre

5. St Itas Portrane

6. Unit 15 & 16 Bayside Shopping Centre

7. Seatown Rd, (formally Hertz Building) Swords

8. Surgical Hub, Swords Business Campus

9. Unit 7 & 8 Swords Business Campus

End of Document