# eTenders Procurement Bulletin Template

Project/Competition:  Energy Upgrade Works at Áras an Chontae, Castlebar and Westport Leisure Park, Westport.
Contract Notice Reference:  8487461
Bulletin Number:  4
Issue Date: 17/07/2026

## Clarifications and Responses/Tender Updates:

1. Please provide the dimensions of the kids pool (L x W)

- The children's pool dimensions are 7,350mm (L) x 5,800mm (W).

2. BoQ notes to include for motorised reel system. Do the covers need to be wall or column mounted?

- The existing column-fixed motorised reel system is to remain in place. The mechanism is operating satisfactorily and has recently been fitted with a new motor.

- Tenderers should note that the pool cover replacement only is to be included within the BoQ.

- No allowance is required for replacement of the reel mechanism, motor, or support structure.

3. Are the existing lights that will remain Casambi compatible

- No. Our advice would be to allow for a Bluetooth node for each luminaire and then install remote Bluetooth sensors for occupancy detection Existing lights to remain as is as indicated on the drawings.

4. Site Tour Question: Are AHU in Scope in Annex Building

- The AHU Units for the Annex are not out of scope and are to be included within the works.

5. We request a 2-3 week extension of time on the tender return date due to current backlogs with various specialist subbies tendering for the works

- Extension of time to be given until August 7th 2026

6. The BoQ description for the rooflights notes laminated timber frame and sash, while the rooflight schedule and specification notes extruded aluminium profile. Can you confirm which system is required?

- Aluminium frames to rooflights, as per the schedule,  are to be priced throughout the project.

## Important Reminder

All communications relating to this procurement competition must be submitted through the eTenders messaging facility. Information provided outside the official procurement process shall not be considered.

Prepared by: Joe Browne

Organisation: Mayo County Council