## CostX
Catalyst HQ , O’Brien Road , Carlow
Tender Addendum
Code | Description | Quantity | UOM | Rate | Total
Tender addendum 17.07.2027
BUILDING A
(59) BUILDING SERVICES (MAINLY PIPED AND DUCTED)
GENERALLY
The Contractor should note the following
Notes
| 1. Refer to Architect's / Civil & Structural / Building Service Engineer's Drawings & Specifications for full details. |  | note
| 2. Notwithstanding that this Pricing Document is measured in accordance with the Agreed Rules of Measurement 5, the following element is not measured in accordance with ARM5. Tenderers shall refer to agreed Rules of Measurement 4 supplement 2 for guidance on the below measurements; The Mechanical design packages are to be priced in accordance with the Contract Specifications and drawings as prepared by the Building Services Engineer (RMCE). All relevant services co-ordination should be included. |  | note
WATER INSTALLATION
HOT & COLD WATER
PRIMARY EQUIPMENT
Primary Equipment; Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Storage Tank
| 5000L Cold water storage Tank with lid -2650mm x 1150mm x 2000mm; ricel or equal and approved; Cold water tank to be insulated to format 30 and fitted with drip trays piped to outside or to foul drain via tundish | 1 | nr
Water Heater
| under-sink heater shall have a minimum of 10 litres capacity. The electrical circuit serving the under-sink heaters shall be controlled by relay operated by a 7-day, 24-hour time clock located in an agreed location. | 9 | nr
Pumps
| Booster as per specification | 1 | nr
Water Treatment
| Water Treatment | 1 | nr
ACCESSORIES ASSOCIATED WITH PRIMARY EQUIPMENT
Accessories associated with Primary Equipment; Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Ballofix Isolation valve | 78 | nr
| Thermostatic mixing Valve | 16 | nr
| Safety Relief valve | 16 | nr
| Pleasure reducing valve | 6 | nr
| Isolating gate valve | 20 | nr
| Drain Cock | 4 | nr
DISTRIBUTION SYSTEM
Distribution System including all joints, brackets, and supports, etc. in running lengths of pipes and ducts; Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| pipework; complete | 1 | Item
| connection; cold water storage tank | 1 | nr
| connection; sink (Mains Supply) | 1 | nr
| connection; WC | 10 | nr
| connection; WHB | 16 | nr
| Connection shower | 2 | nr
| Connection to appliances | 2 | nr
INSULATION
Insulation; Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| insulation; complete | 1 | Item
GENERAL
Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinated drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortice's and chases | 1 | Item
| identification plates and labels | 1 | Item
VENTILATION / HVAC INSTALLATION
PRIMARY EQUIPMENT
Primary Equipment; Extract Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Outdoor; PURYEP350YNWA2 OU 01 & OU 03 | 2 | nr
| Outdoor; MUZAP25VG OU02 | 1 | nr
| Indoor; PLFY-M40VEM6-E | 2 | nr
| Indoor; PLFY-M63VEM6-E | 1 | nr
| Indoor; PLFY-M32VEM6-E | 1 | nr
| Indoor; PLFY-P20VFM-E | 4 | nr
| Indoor; PLFY-P15VFM-E | 18 | nr
| Indoor; MSZ-AY25VGK | 1 | nr
| Indoor; PLFY-P25VFM-E | 7 | nr
| Indoor ; Heat recovery unit ; LGH-65RVX3-E | 2 | nr
| Indoor ; Heat recovery unit ; LGH-35RVX3-E | 2 | nr
| Indoor ; Heat recovery unit ; LGH-25RVX3-E | 15 | nr
| Indoor ; Heat recovery unit ; LGH-15RVX3-E | 11 | nr
| Indoor ; Heat recovery unit ; LGH-50RVX3-E | 2 | nr
| Indoor ; Heat recovery unit ; SYSTEMAIR K 100 EC Sileo | 1 | nr
ACCESSORIES ASSOCIATED WITH PRIMARY EQUIPMENT
Accessories associated with Primary Equipment; Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Supply Grilles: 125mm diameter; SX125 | 1 | nr
| Supply Grilles: 300mm x 300mm; DG4 | 17 | nr
| Supply Grilles: 225m x 225mm; DG4 | 11 | nr
| Supply Grilles: 375mm x 375mm; DG4 | 2 | nr
| Supply Grilles: 450mm x 450mm; DG4 | 1 | nr
| Extract Grilles; 100mm diameter ; GX100 | 1 | nr
| Extract Grilles; 300mm x 300mm series GE | 19 | nr
| Extract Grilles; 225mm x 225mm series GE | 11 | nr
| Extract Grilles: 450mm x 450mm; series GE | 1
DISTRIBUTION SYSTEM
Distribution System including all joints, brackets, and supports, etc. in running lengths of pipes and ducts; Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| ductwork; complete | 1 | Item
INSULATION
Insulation; Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| insulation; complete | 1 | Item
GENERAL
Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinated drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortice's and chases | 1 | Item
| identification plates and labels | 1 | Item
DRAINAGE INSTALLATION
SOILS AND WASTES
TERMINAL EQUIPMENT AND FITTINGS
Terminal Equipment and Fittings; Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
| connection; WC | 10 | nr
| connection; WHB | 16 | nr
| Connection shower | 2 | nr
| Connection to appliances | 2 | nr
ACCESSORIES ASSOCIATED WITH TERMINAL EQUIPMENT AND FITTINGS
Accessories associated with Terminal Equipment and Fittings; Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
Wavin or Equivalent; Internal Downpipes rainwater disposal system; standard fittings, clips & fixings; to selected colour; supplied & fitted in strict accordance with the manufacturers instructions
| 110mm diameter | 16 | m
| extra; Roof Terminal | 2 | nr
| final connections & associated traps; WC | 10 | nr
| final connections & associated traps; WHB | 16 | nr
| final connections & associated traps; shower | 2 | nr
| final connections & associated traps; Appliances | 2 | nr
DISTRIBUTION SYSTEM
Distribution System including all joints, brackets, and supports, etc. in running lengths of pipes and ducts; Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
| pipework; complete | 1 | Item
| connection; WC | 10 | nr
| connection; WHB | 16 | nr
| Connection shower | 2 | nr
| Connection to appliances | 2 | nr
INSULATION
Insulation; Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
| insulation; complete | 1 | Item
GENERAL
Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinated drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortice's and chases | 1 | Item
| identification plates and labels | 1 | Item
| TOTAL (59) BUILDING SERVICES (MAINLY PIPED AND DUCTED) |  |  |  |  | 0
(66) TRANSPORT SERVICES
GENERALLY
The Contractor should note the following
Notes
| Refer to Architect's / Civil & Structural / Building Service Engineer's Drawings & Specifications for full details. |  | Note
| The Contractor is deemed to have visited the site and familiarise themselves with all existing site conditions / features to ascertain the nature and extent of the work required for pricing purposes |  | Note
| The Contractor shall include for Preliminaries associated with the Project under the relevant Preliminaries Section included within Volume C. Unless provided for elsewhere, Sub-contractors & Suppliers Preliminaries / On-Costs are deemed to be included within the rates for the relevant item of work. Where an “Any Other Items” section is included within an element, Contractors may include for such costs under this item if they consider it is more appropriate. A full breakdown of any costs included under “Any Other Items” will be required in Quantity-Unit-Rate format |  | Note
| Notwithstanding that this Pricing Document is measured in accordance with the Agreed Rules of Measurement 5, the following element is not measured in accordance with ARM5. Tenderers shall refer to agreed Rules of Measurement 4 supplement 2 for guidance on the below measurements; The Mechanical design packages are to be priced in accordance with the Contract Specifications and drawings as prepared by the Building Services Engineer (RMCE). All relevant services co-ordination should be included. |  | Note
ELECTRICAL INSTALLATIONS
GENERALLY
Transport Services Installations; Lift installations complete; MRL lift type for Transportation of passengers; 1,630kg load wit a speed of 1.0m/s; 2 nr stops with 2 nr entrances central opening doors 900mm; Simplex Full Collective control 240motor starts per hour; Walls to be Brushed stainless steel 304; Non slip Rubber flooring ; brushed stainless steel ceiling with LED lighting; Brushed stainless steel handrail on ONE wall with rounded ends; Half Height to side wall above handrail fixed with Stainless Steel fixing; Digital Dot matrix with direction Indicators; guarantee of material and workmanship must be provided;,including lift Supplier to allow for supply of GSM unit and 24 month prepaid SIM all as detailed & described in the Building Services Engineer's Drawings & Specification's;
Transport Installations
| Lift to suit 1,800mm x 1,800mm lift shaft | 1 | nr
| Lift pit ladder | 1 | nr
EQUIPMENT, CONTROL GEAR AND SUPPLY
Fittings
Lift Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Modular Light | 1 | item
| Emergency Call Point (Disabled Call) | 1 | item
| Telephone Point | 1 | item
| Fire Alarm Recall | 1 | item
| Remote Monitoring | 1 | item
| CCTV Outlet (Power + CAT. 6) | 1 | item
| Emergency Lighting to IS3217:2013 (Inc.Testing Facility) | 1 | item
| PA Speaker | 1 | item
| Data Point for Message Relay Point (CAT. 6) | 1 | item
| Voice annunciation | 1 | item
| Deaf Aid loop | 1 | item
CABLES AND CABLE COMPARTMENTS
Sub Mains; Lift
Cables including all associated terminations; Lift Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | item
Mains; 3 Phase
Cables including all associated terminations; Lift Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | item
Cable Tray including all associated fittings, tees, bends, grounds, etc.; complete in strict accordance with the Service Engineer's Drawings and Specifications
Sub Mains Tray
| Cable Tray with Fittings: Channel Cable Tray | 1 | item
FINAL SUB-CIRCUITS
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Lift Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Modular Light | 1 | item
| Emergency Call Point (Disabled Call) | 1 | item
| Telephone Point | 1 | item
| Fire Alarm Recall | 1 | item
| Remote Monitoring | 1 | item
| CCTV Outlet (Power + CAT. 6) | 1 | item
| Emergency Lighting to IS3217:2013 (Inc.Testing Facility) | 1 | item
| PA Speaker | 1 | item
| Data Point for Message Relay Point (CAT. 6) | 1 | item
| Voice annunciation | 1 | item
| Deaf Aid loop | 1 | item
SUNDRIES & BUILDERS WORK
General
| Testing and commissioning | 1 | item
| Operating and maintenance manuals | 1 | item
| Drawings including working drawings, co-ordinated drawings, as built drawings | 1 | item
| Marking the positions of holes, mortices and chases | 1 | item
| Identification plates and labels | 1 | item
Lifting and Hoisting
Lifting, hoisting and moving into position
| Pipework, Structural supports and Accessories | 1 | item
Fireproofing
Fireproofing services; same standard and integrity as fire rating of structure
| generally | 1 | item
Supporting Structures
Grounds & Supports
| Call System | 1 | item
| Name plates | 1 | item
| TOTAL (66) TRANSPORT SERVICES |  |  |  |  | 0
(69) BUILDING SERVICES (MAINLY ELECTRICAL)
GENERALLY
The Contractor should note the following
Notes
| 1. Refer to Architect's / Civil & Structural / Building Service Engineer's Drawings & Specifications for full details. |  | note
| 2. Notwithstanding that this Pricing Document is measured in accordance with the Agreed Rules of Measurement 5, the following element is not measured in accordance with ARM5. Tenderers shall refer to agreed Rules of Measurement 4 supplement 2 for guidance on the below measurements; The Electrical design packages are to be priced in accordance with the Contract Specifications and drawings as prepared by the Building Services Engineer (RMCE). All relevant services co-ordination should be included. |  | note
(61) ELECTRICAL SUPPLY AND MAIN DISTRIBUTION
LV INSTALLATIONS
System; supply, install and commission of LV Electrical Centre and Main distribution installations in accordance with Electrical Engineer's Drawings and Specifications
LV installations
| System | 1 | Item
Equipment
Equipment including all associated bus switchgear, enclosures, breakers, fuses, glands, switches, meters, transformers, indicators, supports, fixings, hangers, grounds, loops, casings, plating, isolators, contractors and surge protection; to include all associated bracketing, supports, secondary steelwork, earthing, tags, accessories, etc.; LV Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Mains-distribution board | 1 | nr
| Sub-distribution board | 27 | nr
Mains and sub-mains cables
Sub Mains cables including all associated terminations; LV Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
General
LV Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
CABLE LADDER / TRAY / TRUNKING INSTALLATION
System; Galvanised steel cable ladder / tray / trunking. conduits, baskets, 2 compartment trunking, wiring; including all associated fittings, tees, bends, brackets, supports, fixings, hangers, bends, headers, grounds, casing, covers, plating and mounting etc.; complete in strict accordance with the Service Engineer's Drawings and Specifications
Cable ladder / tray / trunking installations
| System | 1 | Item
Cable Tray including all associated fittings, tees, bends, grounds, etc.; complete in strict accordance with the Service Engineer's Drawings and Specifications
ELV Tray; Fire Alarm (2 Hour Fire Rated)
| 50mm x 50mm | 106 | m
ELV, Data, General Services
| Cable Tray with Fittings: Channel Cable Tray 100 mm x 50 mm | 106 | m
| Cable Tray with Fittings: Channel Cable Tray 100 mm x 50 mm (lights) | 38 | m
| Cable Tray with Fittings: Channel Cable Tray 300 mm x 50 mm | 107 | m
Cable Trunking including all associated fittings, tees, bends, grounds, etc.; complete in strict accordance with the Service Engineer's Drawings and Specifications
Floor Trunking
| Twin Compartment floor trunking | 70 | m
Final circuits (including wiring, trunking and concealed conduits and points terminations)
| Galvanised steel conduits | 1 | Item
General
Cable Ladder / Tray / Trunking Installation; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
(62) POWER
GENERAL SERVICES AND SMALL POWER INSTALLATIONS
GENERAL SERVICES OUTLETS
System; supply, install and commission of Power installation in accordance with Electrical Engineer's Drawings and Specifications
Power installations
| System | 1 | Item
FITTINGS
Fittings; General Services & Small Power Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Dado Trunking
| Dado Trunking; 3 Compartment including internal, external corners, ends, junctions and intersections | 527 | m
Wall Mounted
| sockets; Single Switched | 69 | nr
| sockets; Double Switched | 330 | nr
| Floor Box | 27 | nr
| Spur | 22 | nr
| Isolator 32A 400V | 1 | nr
| Isolator 16A 250V | 1 | nr
| Isolator 50A 400V | 1 | nr
| Isolator | 2 | nr
| Switch (Kitchen) | 6 | nr
| Isolator For PV | 1 | nr
| AC controller | 40 | nr
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; General Services & Small Power Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| sockets; Single Switched | 69 | nr
| sockets; Double Switched | 330 | nr
| Floor Box | 27 | nr
| Spur | 22 | nr
| Isolator 32A 400V | 1 | nr
| Isolator 16A 250V | 1 | nr
| Isolator 50A 400V | 1 | nr
| Isolator | 2 | nr
| One way switch (Kitchen) | 6 | nr
| Isolator For PV | 1 | nr
| AC controller | 40 | nr
General
General Services & Small Power Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
EARTHING & BONDING INSTALLATION
LIGHTNING PROTECTION
System; supply, install and commission of Earthing and Bonding installations in accordance with Electrical Engineer's Drawings and Specifications
Earthing and bonding installations
| System | 1 | Item
Earthing & Bonding including all associated testing and commissioning, etc. as required; complete in strict accordance with E.T.C.I regulations and the Service Engineer's Drawings and Specifications
Fittings; supply and install all as per Engineer's drawings and the Electrical Specification.
| earthing & bonding; complete | 1 | Item
FITTINGS
Fittings; Earthing & Bonding; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Horizontal; - PVC covered earth tape (25x3mm) | 126 | m
| Vertical PVC covered earth tape (25x3mm) | 64 | m
| Earth Electrode Inspection Pit Assembly | 8 | nr
| Connecting to rails & PV panels | 1 | item
EARTHING & BONDING
Earthing & Bonding including all associated testing and commissioning, etc. as required; complete in strict accordance with the Service Engineer's Drawings and Specifications
| earthing & bonding; complete | 1 | Item
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinated drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortices and chases | 1 | Item
| identification plates and labels | 1 | Item
(63) LIGHTING
LIGHTING INSTALLATIONS
System; lighting installations; supply, install and commission of Lighting installations in accordance with Electrical Engineer's Drawings and Specifications
Lighting installations
| System | 1 | Item
Fittings; Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Luminaries; Internal
| Light1 600mm x 600mm LED panel | 165 | nr
| Light 2 - Circular Recessed LED | 56 | nr
| Light 3 - Surface LED fitting | 31 | nr
| Light 4 - Moisture proof LED fitting | 6 | nr
| Light 5 - Circular Recessed LED | 4 | nr
| Light 7 - Surface mounted LED | 14 | nr
LIGHTING SWITCHES
Switches; Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Switches; Internal
Light Switches
| One Gang; One way Switch | 40 | nr
LIGHTING CONTROL SYSTEM
Fittings; Lighting Control Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
PIR Daylight Sensors; Internal
| PIR | 65 | nr
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| lighting point; internal | 276 | nr
| One Gang; One way Switch; internal | 40 | nr
| Sensors; Internal | 65 | nr
General
Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
EMERGENCY LIGHTING INSTALLATIONS
System; Emergency Lighting Installations; complete; to provide safe exit from the building in event of fire and the Service Engineer's Drawings and Specifications
Emergency lighting installations
| System | 1 | item
Fittings; Emergency Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Luminaries; Internal
| Light E1 - Recessed LED Emergency Light | 104 | nr
| Light E2 - Surface Direction Exit Light | 43 | nr
| Light E4 - Industrial Emergency Light | 1 | nr
Luminaries; External
| Light E3 - External Emergency Bulkhead | 7 | nr
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Emergency Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| emergency lighting point; internal | 148 | nr
| emergency lighting point; External | 7
General
Emergency Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
(64) COMMUNICATIONS
COMMS CABINET
Equipment
Equipment; comms cabinet Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Main Comms cabinet | 1 | nr
| Room comms cabinet | 27 | nr
| cabling; complete | 1 | Item
General
Comms Cabinet Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
DATA / I.T. INSTALLATION
System; supply, install and commission of DATA/ I.T. installations; in strict accordance with the Service Engineer's drawings and specifications
Data / IT installations
| System | 1 | Item
Fittings; Data / I.T. Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Data; Wall Mounted
| data outlet; 2 Gang | 142 | nr
| WI-Fi point | 37 | nr
| HDMI | 1 | nr
Mains and Sub-mains cables
Sub Mains
Cables including all associated terminations; Data / I.T. Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Data / I.T. Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| data outlet; 2 Gang | 142 | nr
| WI-Fi point | 37 | nr
| HDMI | 1 | nr
General
Data / I.T. Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
(65) SECURITY AND PROTECTION
FIRE ALARM
System; supply, install and commission of Fire Alarm Installation; in strict accordance with the Service Engineer's drawings and specifications
Fire Alarm
| System | 1 | Item
Equipment
Equipment including all associated bus bars, switchgear, etc.; Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| fire alarm control panel | 1 | nr
| fire alarm interface panel | 0 | nr
| disabled refuge alarm panel | 1 | nr
| Disabled Alarm Call point | 2 | nr
Fittings
Fittings; Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| smoke detector / sounder | 62 | nr
| smoke detector Ceiling Void | 15 | nr
| smoke detector / sounder / Flashing Beacon | 2 | nr
| Fire Alarm / sounder external | 1 | nr
| heat detector / sounder | 1 | nr
| Input/output module | 12 | nr
| Pull Cord: Pull Cord | 4 | nr
| Disabled alarm reset - Pull cord | 2 | nr
| Door Hold | 8 | nr
| Manual Call Point (Break Glass Unit) | 13 | nr
| Input/output module - A | 12 | nr
| aspirating smoke detector | 1 | nr
MAINS AND SUB-MAINS CABLES
Sub Mains; Fire
Cables including all associated terminations; Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
FINAL CIRCUITS (INCLUDING POINTS TERMINATIONS)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| smoke detector / sounder | 62 | nr
| smoke detector Ceiling Void | 15 | nr
| smoke detector / sounder / Flashing Beacon | 2 | nr
| Fire Alarm / sounder external | 1 | nr
| heat detector / sounder | 1 | nr
| Input/output module | 12 | nr
| Pull Cord: Pull Cord | 4 | nr
| Disabled alarm reset - Pull cord | 2 | nr
| Door Hold | 8 | nr
| Manual Call Point (Break Glass Unit) | 13 | nr
| Input/output module - A | 12 | nr
| aspirating smoke detector | 1 | nr
General
Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
PROTECTIVE SERVICES / INTRUDER ALARM
System; supply, install and commission of Protective Services / Intruder Alarm Installations; in strict accordance with the Service Engineer's drawings and specifications
Protective Services / Intruder Alarm
| System | 1 | Item
Equipment
Equipment including all associated bus bars, switchgear, etc.; Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Intruder Alarm Panel | 1 | nr
Fittings
Fittings; Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Security Motion Detector | 30 | nr
| Door Contact: Door Contact | 12 | nr
| Internal CCTV | 8 | nr
| External CCTV | 8 | nr
| Mortised electrical abloy lock | 5 | nr
| Door access control module | 8 | nr
| security alarm sounder | 1 | nr
| intercom display (with door release) | 1 | nr
Mains and Sub-mains cables
Sub Mains; Protective Services / Intruder Alarm
Cables including all associated terminations; Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Security Motion Detector | 30 | nr
| Door Contact: Door Contact | 12 | nr
| Internal CCTV | 8 | nr
| External CCTV | 8 | nr
| Mortised electrical abloy lock | 5 | nr
| Door access control module | 8 | nr
| security alarm sounder | 1 | nr
| intercom display (with door release) | 1 | nr
General
Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
ELECTRICAL INSTALLATIONS: Generally
Electrical Services Installations; all as detailed & described in the Building Services Engineer's Drawings & Specifications; total brought forward from the Electrical Services Installations Tender Breakdown as included within the Building Services Engineer's Tender Documents and appended to this Pricing Document (Appendix B); complete
Electrical Installations
| total for Electrical Installations; Brought Forward from Appendix B | 1 | item
BUILDERS WORK
ELECTRICAL INSTALLATIONS: Sundries and Builders Work
Notes
| Filling and sealing voids around pipework, ductwork etc. shall achieve a decibel rating equivalent to the structure in which the ope is formed. The filling and sealing shall finish neatly flush with the structure and finishes on both face. |  | Note
| Fire seal opes shall include for all works included in Architect's Specification; intumescent compound for sealing around service members on both faces to provide a 1 hour period of fire resistance. The fire seal is to finish neatly flush with the structure and finishes on both faces. This specification applies to all sections of the Bill of Quantities. |  | Note
| Rates are to allow for making good in all trades complete. |  | Note
Holes, mortices, chases and the like; Forming or cutting holes; making good structure and finishes, sealing around ope including fire-stopping, flashings, temporary protection works, weathering, disposal of segregated material off site, etc. as required; complete
Forming Opes; blockwork structure complete including flashings airtight seals; fire stopping etc
| 25mm diameter | 100 | nr
| 100mm Diameter | 20 | nr
| 150mm Diameter | 10 | nr
| 150mm x 150mm | 20 | nr
| 150mm x 75mm | 20 | nr
Forming Opes; Precast floor complete including flashings airtight seals; fire stopping etc
| 100mm Diameter | 6 | nr
Forming Opes; metal and insulation roof complete including flashings airtight seals; fire stopping etc
| 100mm diameter | 6 | nr
Forming Opes; Architectural finishes internal plasterboard wall 12.5mm; complete including forming ope; fire sealing; Making good as per Engineers drawings
| Lights | 120 | nr
Chases; Blockwork Walls; marking and cutting
| 25mm x 25mm chase | 200 | m
Fireproofing
Fireproofing; intumescent pillow and Fire batt and mastic to cable containment; to same standard and integrity as fire rating of respective fire compartment / structure; all as detailed on Architects drawing;
| 25mm diameter | 100 | nr
| 100mm Diameter | 20 | nr
| 150mm Diameter | 10 | nr
| 150mm x 150mm | 20 | nr
| 150mm x 75mm | 20 | nr
Supporting Structures
Grounds & Supports
| Main Distribution Board | 1 | nr
| Fire alarm | 1 | nr
| Intruder alarm | 1 | nr
| Lights 200mm x 200mm m | 100 | nr
Attendances
Special Attendances to Mechanical Contractor
| Offloading and moving heavy electrical equipment | 1 | item
| safe, permanent, or temporary stairs/ladders to roof | 1 | item
distribution boards and solar panels
Fireproofing services; same standard and integrity as fire rating of structure
| generally | 1 | item
Supporting Structures
Grounds & Supports
| Electrical Distribution board 200kg | 1 | nr
| Lights | 120 | mr
| Fire Panel | 1 | nr
| Alar panel | 1 | nr
| Radiators | 15 | nr
| PV panels (25KG each 2,00mm x 1,000mm) | 132 | nr
Painting
One coat primer; two coats undercoat; one coat enamel high gloss paint
| not exceeding 300mm girth;surface mounted conduit including wire brushing priming and paint | 20 | m
ANY OTHER ITEMS
Appendix to Bill of Quantities
| The contractor should include for the total cost including all on-costs required within the Electrical Consultants Pricing Document |  | note
(12) OTHER INSTALLATIONS; HEATING
FITTINGS
Fittings; Heating; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Electric Heaters - PLSTi150SSE; 1,500 watts | 12 | nr
| Electric Heaters - PLSTi050SSE; 500 watts | 6 | nr
| Electric Heaters - PLSTi100SSE; 1,000 watts | 4 | nr
MAINS AND SUB-MAINS CABLES
Sub Mains; Heating
Cables including all associated terminations; Heating Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
FINAL CIRCUITS (INCLUDING POINTS TERMINATIONS)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc; Heating Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Electric Heaters - PLSTi150SSE; 1,500 watts | 12 | nr
| Electric Heaters - PLSTi050SSE; 500 watts | 6 | nr
| Electric Heaters - PLSTi100SSE; 1,000 watts | 4 | nr
GENERAL
Heating Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinates drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortices and chases | 1 | Item
| identification plates and labels | 1 | Item
| TOTAL (69) BUILDING SERVICES (MAINLY ELECTRICAL) |  |  |  |  | 0
BUILDING B
(59) BUILDING SERVICES (MAINLY PIPED AND DUCTED)
GENERALLY
The Contractor should note the following
Notes
| 1. Refer to Architect's / Civil & Structural / Building Service Engineer's Drawings & Specifications for full details. |  | note
| 2. Notwithstanding that this Pricing Document is measured in accordance with the Agreed Rules of Measurement 5, the following element is not measured in accordance with ARM5. Tenderers shall refer to agreed Rules of Measurement 4 supplement 2 for guidance on the below measurements; The Mechanical design packages are to be priced in accordance with the Contract Specifications and drawings as prepared by the Building Services Engineer (RMCE). All relevant services co-ordination should be included. |  | note
WATER INSTALLATION
HOT & COLD WATER
PRIMARY EQUIPMENT
Primary Equipment; Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Storage Tank
| 340L Cold water storage Tank with lid - 565mm x 565mm x 1410mm; ricel or equal and approved; Cold water tank to be insulated to format 30 and fitted with drip trays piped to outside or to foul drain via tundish | 2 | nr
Water Heater
| under-sink heater shall have a minimum of 10 litres capacity. The electrical circuit serving the under-sink heaters shall be controlled by relay operated by a 7-day, 24-hour time clock located in an agreed location. | 3 | nr
Pumps
| Booster as per specification | 2 | nr
ACCESSORIES ASSOCIATED WITH PRIMARY EQUIPMENT
Accessories associated with Primary Equipment; Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Ballofix Isolation valve | 30 | nr
| Thermostatic mixing Valve | 6 | nr
| Safety Relief valve | 6 | nr
| Pleasure reducing valve | 4 | nr
| Isolating gate valve | 32 | nr
| Drain Cock | 8 | nr
DISTRIBUTION SYSTEM
Distribution System including all joints, brackets, and supports, etc. in running lengths of pipes and ducts; Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| pipework; complete | 1 | Item
| connection; cold water storage tank | 2 | nr
| connection; sink (Mains Supply) | 2 | nr
| connection; WC | 4 | nr
| connection; WHB | 6 | nr
| Connection shower | 2 | nr
| Connection to appliances | 2 | nr
INSULATION
Insulation; Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| insulation; complete | 1 | Item
GENERAL
Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinated drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortice's and chases | 1 | Item
| identification plates and labels | 1 | Item
VENTILATION / HVAC INSTALLATION
PRIMARY EQUIPMENT
Primary Equipment; Extract Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Outdoor; MXZ- 3F54VF4; OU-01 & OU-02 | 2 | nr
| Indoor; MSZ-HR25VF | 3 | nr
| Indoor; SLZ-M25FA2 | 3 | nr
| Indoor ; Heat recovery unit ; Lo-Carbon Tempra SELV P | 12 | nr
| Indoor; Vent Axia LC Centra | 3 | nr
ACCESSORIES ASSOCIATED WITH PRIMARY EQUIPMENT
Accessories associated with Primary Equipment; Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Supply Grilles: 125mm diameter; SX125 | 3 | nr
| Extract Grilles; 100mm diameter ; GX100 | 3 | nr
DISTRIBUTION SYSTEM
Distribution System including all joints, brackets, and supports, etc. in running lengths of pipes and ducts; Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| ductwork; complete | 1 | Item
INSULATION
Insulation; Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| insulation; complete | 1 | Item
GENERAL
Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinated drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortice's and chases | 1 | Item
| identification plates and labels | 1 | Item
DRAINAGE INSTALLATION
SOILS AND WASTES
TERMINAL EQUIPMENT AND FITTINGS
Terminal Equipment and Fittings; Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
| connection; WC | 4 | nr
| connection; WHB | 6 | nr
| Connection shower | 2 | nr
| Connection to appliances | 2 | nr
ACCESSORIES ASSOCIATED WITH TERMINAL EQUIPMENT AND FITTINGS
Accessories associated with Terminal Equipment and Fittings; Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
Wavin or Equivalent; Internal Downpipes rainwater disposal system; standard fittings, clips & fixings; to selected colour; supplied & fitted in strict accordance with the manufacturers instructions
| 110mm diameter | 12 | m
| extra; Roof Terminal | 3 | nr
| final connections & associated traps; WC | 4 | nr
| final connections & associated traps; WHB | 6 | nr
| final connections & associated traps; shower | 2 | nr
| final connections & associated traps; Appliances | 2 | nr
DISTRIBUTION SYSTEM
Distribution System including all joints, brackets, and supports, etc. in running lengths of pipes and ducts; Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
| pipework; complete | 1 | Item
| connection; WC | 4 | nr
| connection; WHB | 6 | nr
| Connection shower | 2 | nr
| Connection to appliances | 2 | nr
INSULATION
Insulation; Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
| insulation; complete | 1 | Item
GENERAL
Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinated drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortice's and chases | 1 | Item
| identification plates and labels | 1 | Item
TOTAL (59) BUILDING SERVICES (MAINLY PIPED AND DUCTED)
0
(69) BUILDING SERVICES (MAINLY ELECTRICAL)
GENERALLY
The Contractor should note the following
Notes
| 1. Refer to Architect's / Civil & Structural / Building Service Engineer's Drawings & Specifications for full details. |  | note
| 2. Notwithstanding that this Pricing Document is measured in accordance with the Agreed Rules of Measurement 5, the following element is not measured in accordance with ARM5. Tenderers shall refer to agreed Rules of Measurement 4 supplement 2 for guidance on the below measurements; The Electrical design packages are to be priced in accordance with the Contract Specifications and drawings as prepared by the Building Services Engineer (RMCE). All relevant services co-ordination should be included. |  | note
(61) ELECTRICAL SUPPLY AND MAIN DISTRIBUTION
LV INSTALLATIONS
System; supply, install and commission of LV Electrical Centre and Main distribution installations in accordance with Electrical Engineer's Drawings and Specifications
LV installations
| System | 1 | Item
Equipment
Equipment including all associated bus switchgear, enclosures, breakers, fuses, glands, switches, meters, transformers, indicators, supports, fixings, hangers, grounds, loops, casings, plating, isolators, contractors and surge protection; to include all associated bracketing, supports, secondary steelwork, earthing, tags, accessories, etc.; LV Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Mains-distribution board | 1 | nr
| Sub-distribution board | 2 | nr
Mains and sub-mains cables
Sub Mains cables including all associated terminations; LV Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
General
LV Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
CABLE LADDER / TRAY / TRUNKING INSTALLATION
System; Galvanised steel cable ladder / tray / trunking. conduits, baskets, 2 compartment trunking, wiring; including all associated fittings, tees, bends, brackets, supports, fixings, hangers, bends, headers, grounds, casing, covers, plating and mounting etc.; complete in strict accordance with the Service Engineer's Drawings and Specifications
Cable ladder / tray / trunking installations
| System | 1 | Item
Cable Tray including all associated fittings, tees, bends, grounds, etc.; complete in strict accordance with the Service Engineer's Drawings and Specifications
ELV Tray; Fire Alarm (2 Hour Fire Rated)
| 50mm x 50mm | 170 | m
ELV, Data, General Services
| Cable Tray with Fittings: Channel Cable Tray 100 mm x 50 mm | 84 | m
| Cable Tray with Fittings: Channel Cable Tray 200 mm x 50 mm | 158 | m
Final circuits (including wiring, trunking and concealed conduits and points terminations)
| Galvanised steel conduits | 1 | Item
General
Cable Ladder / Tray / Trunking Installation; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
(62) POWER
GENERAL SERVICES AND SMALL POWER INSTALLATIONS
GENERAL SERVICES OUTLETS
System; supply, install and commission of Power installation in accordance with Electrical Engineer's Drawings and Specifications
Power installations
| System | 1 | Item
FITTINGS
Fittings; General Services & Small Power Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Dado Trunking
| Dado Trunking; 3 Compartment including internal, external corners, ends, junctions and intersections | 64 | m
Wall Mounted
| sockets; Single Switched | 14 | nr
| sockets; Double Switched | 86 | nr
| Spur | 32 | nr
| Isolator | 2 | nr
| Switch (Kitchen) | 6 | nr
| Isolator For PV | 1 | nr
| Thermostat | 8 | nr
| AC controller | 6 | nr
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; General Services & Small Power Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| sockets; Single Switched | 14 | nr
| sockets; Double Switched | 86 | nr
| Spur | 32 | nr
| Isolator | 2 | nr
| Switch (Kitchen) | 6 | nr
| Isolator For PV | 1 | nr
| Thermostat | 8 | nr
| AC controller | 6 | nr
General
General Services & Small Power Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
EARTHING & BONDING INSTALLATION
LIGHTNING PROTECTION
System; supply, install and commission of Earthing and Bonding installations in accordance with Electrical Engineer's Drawings and Specifications
Earthing and bonding installations
| System | 1 | Item
Earthing & Bonding including all associated testing and commissioning, etc. as required; complete in strict accordance with E.T.C.I regulations and the Service Engineer's Drawings and Specifications
Fittings; supply and install all as per Engineer's drawings and the Electrical Specification.
| earthing & bonding; complete | 1 | Item
FITTINGS
Fittings; Earthing & Bonding; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Horizontal; - PVC covered earth tape (25x3mm) | 105 | m
| Vertical PVC covered earth tape (25x3mm) | 32 | m
| Earth Electrode Inspection Pit Assembly | 4 | nr
| Connecting to rails & PV panels | 1 | item
EARTHING & BONDING
Earthing & Bonding including all associated testing and commissioning, etc. as required; complete in strict accordance with the Service Engineer's Drawings and Specifications
| earthing & bonding; complete | 1 | Item
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinated drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortices and chases | 1 | Item
| identification plates and labels | 1 | Item
(63) LIGHTING
LIGHTING INSTALLATIONS
System; lighting installations; supply, install and commission of Lighting installations in accordance with Electrical Engineer's Drawings and Specifications
Lighting installations
| System | 1 | Item
Fittings; Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Luminaries; Internal
| Light 4 - Moisture proof LED fitting | 2 | nr
| Light 5 - Circular Recessed LED | 65 | nr
| Light 6 - Industrial LED high-bay luminaire | 12 | nr
LIGHTING SWITCHES
Switches; Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Switches; Internal
Light Switches
| One Gang; One way Switch |  | nr
LIGHTING CONTROL SYSTEM
Fittings; Lighting Control Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
PIR Daylight Sensors; Internal
| PIR | 26 | nr
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| lighting point; internal | 79 | nr
| One Gang; One way Switch; internal |  | nr
| Sensors; Internal | 26 | nr
General
Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
EMERGENCY LIGHTING INSTALLATIONS
System; Emergency Lighting Installations; complete; to provide safe exit from the building in event of fire and the Service Engineer's Drawings and Specifications
Emergency lighting installations
| System | 1 | item
Fittings; Emergency Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Luminaries; Internal
| Light E1 - Recessed LED Emergency Light | 32 | nr
| Light E2 - Surface Direction Exit Light | 13 | nr
| Light E4 - Industrial Emergency Light | 10 | nr
Luminaries; External
| Light E3 - External Emergency Bulkhead | 19 | nr
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Emergency Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| emergency lighting point; internal | 55 | nr
| emergency lighting point; External | 7 | nr
General
Emergency Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
(64) COMMUNICATIONS
COMMS CABINET
Equipment
Equipment; comms cabinet Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Main Comms cabinet | 2 | nr
| cabling; complete | 1 | Item
General
Comms Cabinet Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
DATA / I.T. INSTALLATION
System; supply, install and commission of DATA/ I.T. installations; in strict accordance with the Service Engineer's drawings and specifications
Data / IT installations
| System | 1 | Item
Fittings; Data / I.T. Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Data; Wall Mounted
| data outlet; 2 Gang | 31 | nr
| WI-Fi point | 9 | nr
Mains and Sub-mains cables
Sub Mains
Cables including all associated terminations; Data / I.T. Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Data / I.T. Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| data outlet; 2 Gang | 31 | nr
| WI-Fi point | 9 | nr
General
Data / I.T. Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
(65) SECURITY AND PROTECTION
FIRE ALARM
System; supply, install and commission of Fire Alarm Installation; in strict accordance with the Service Engineer's drawings and specifications
Fire Alarm
| System | 1 | Item
Equipment
Equipment including all associated bus bars, switchgear, etc.; Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| fire alarm control panel | 2 | nr
Fittings
Fittings; Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| smoke detector / sounder | 19 | nr
| smoke detector Ceiling Void | 5 | nr
| smoke detector / sounder / Flashing Beacon | 2 | nr
| heat detector / sounder | 2 | nr
| Pull Cord: Pull Cord | 3 | nr
| Disabled alarm reset - Pull cord | 2 | nr
| Manual Call Point (Break Glass Unit) | 10 | nr
| Input/output module - A | 2 | nr
MAINS AND SUB-MAINS CABLES
Sub Mains; Fire
Cables including all associated terminations; Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
FINAL CIRCUITS (INCLUDING POINTS TERMINATIONS)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| smoke detector / sounder | 19 | nr
| smoke detector Ceiling Void | 5 | nr
| smoke detector / sounder / Flashing Beacon | 2 | nr
| heat detector / sounder | 2 | nr
| Pull Cord: Pull Cord | 3 | nr
| Disabled alarm reset - Pull cord | 2 | nr
| Manual Call Point (Break Glass Unit) | 10 | nr
| Input/output module - A | 2 | nr
General
Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
PROTECTIVE SERVICES / INTRUDER ALARM
System; supply, install and commission of Protective Services / Intruder Alarm Installations; in strict accordance with the Service Engineer's drawings and specifications
Protective Services / Intruder Alarm
| System | 1 | Item
Equipment
Equipment including all associated bus bars, switchgear, etc.; Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Intruder Alarm Panel | 2 | nr
Fittings
Fittings; Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Security Motion Detector | 10 | nr
| Door Contact: Door Contact | 14 | nr
| intercom display (with door release) | 3 | nr
| Indication LED | 2 | nr
Mains and Sub-mains cables
Sub Mains; Protective Services / Intruder Alarm
Cables including all associated terminations; Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Security Motion Detector | 10 | nr
| Door Contact: Door Contact | 14 | nr
| intercom display (with door release) | 3 | nr
| Indication LED | 2 | nr
General
Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
(12) OTHER INSTALLATIONS; HEATING
FITTINGS
Fittings; Heating; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Electric Heaters - PH-01; AW600u; ATC 600 watts | 14 | nr
MAINS AND SUB-MAINS CABLES
Sub Mains; Heating
Cables including all associated terminations; Heating Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
FINAL CIRCUITS (INCLUDING POINTS TERMINATIONS)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc; Heating Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Electric Heaters - PH-01; AW600u; ATC 600 watts | 14 | nr
GENERAL
Heating Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinates drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortices and chases | 1 | Item
| identification plates and labels | 1 | Item
| TOTAL (69) BUILDING SERVICES (MAINLY ELECTRICAL) |  |  |  |  | 0
BUILDING C
(59) BUILDING SERVICES (MAINLY PIPED AND DUCTED)
GENERALLY
The Contractor should note the following
Notes
| 1. Refer to Architect's / Civil & Structural / Building Service Engineer's Drawings & Specifications for full details. |  | note
| 2. Notwithstanding that this Pricing Document is measured in accordance with the Agreed Rules of Measurement 5, the following element is not measured in accordance with ARM5. Tenderers shall refer to agreed Rules of Measurement 4 supplement 2 for guidance on the below measurements; The Mechanical design packages are to be priced in accordance with the Contract Specifications and drawings as prepared by the Building Services Engineer (RMCE). All relevant services co-ordination should be included. |  | note
WATER INSTALLATION
HOT & COLD WATER
PRIMARY EQUIPMENT
Primary Equipment; Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Storage Tank
| 340L Cold water storage Tank with lid - 565mm x 565mm x 1410mm; ricel or equal and approved; Cold water tank to be insulated to format 30 and fitted with drip trays piped to outside or to foul drain via tundish | 1 | nr
Water Heater
| under-sink heater shall have a minimum of 10 litres capacity. The electrical circuit serving the under-sink heaters shall be controlled by relay operated by a 7-day, 24-hour time clock located in an agreed location. | 2 | nr
Pumps
| Booster as per specification | 1 | nr
ACCESSORIES ASSOCIATED WITH PRIMARY EQUIPMENT
Accessories associated with Primary Equipment; Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Ballofix Isolation valve | 12 | nr
| Thermostatic mixing Valve | 2 | nr
| Safety Relief valve | 2 | nr
| Pleasure reducing valve | 2 | nr
| Isolating gate valve | 16 | nr
| Drain Cock | 4 | nr
DISTRIBUTION SYSTEM
Distribution System including all joints, brackets, and supports, etc. in running lengths of pipes and ducts; Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| pipework; complete | 1 | Item
| connection; cold water storage tank | 1 | nr
| connection; sink (Mains Supply) | 1 | nr
| connection; WC | 2 | nr
| connection; WHB | 2 | nr
| Connection shower | 1 | nr
INSULATION
Insulation; Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| insulation; complete | 1 | Item
GENERAL
Hot & Cold Water Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinated drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortice's and chases | 1 | Item
| identification plates and labels | 1 | Item
VENTILATION / HVAC INSTALLATION
PRIMARY EQUIPMENT
Primary Equipment; Extract Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Outdoor; MXZ- 3F33VF4; OU-02 | 1 | nr
| Indoor; SLZ-M25FA2 | 1 | nr
| Indoor ; Heat recovery unit ; Lo-Carbon Tempra SELV P | 3 | nr
| Indoor; Vent Axia LC Centra | 1 | nr
ACCESSORIES ASSOCIATED WITH PRIMARY EQUIPMENT
Accessories associated with Primary Equipment; Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Supply Grilles: 125mm diameter; SX125 | 1 | nr
| Extract Grilles; 100mm diameter ; GX100 | 1 | nr
DISTRIBUTION SYSTEM
Distribution System including all joints, brackets, and supports, etc. in running lengths of pipes and ducts; Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| ductwork; complete | 1 | Item
INSULATION
Insulation; Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| insulation; complete | 1 | Item
GENERAL
Ventilation Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinated drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortice's and chases | 1 | Item
| identification plates and labels | 1 | Item
DRAINAGE INSTALLATION
SOILS AND WASTES
TERMINAL EQUIPMENT AND FITTINGS
Terminal Equipment and Fittings; Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
| connection; WC | 2 | nr
| connection; WHB | 2 | nr
| Connection shower | 1 | nr
ACCESSORIES ASSOCIATED WITH TERMINAL EQUIPMENT AND FITTINGS
Accessories associated with Terminal Equipment and Fittings; Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
Wavin or Equivalent; Internal Downpipes rainwater disposal system; standard fittings, clips & fixings; to selected colour; supplied & fitted in strict accordance with the manufacturers instructions
| 110mm diameter | 8 | m
| extra; Roof Terminal | 2 | nr
| final connections & associated traps; WC | 2 | nr
| final connections & associated traps; WHB | 2 | nr
| final connections & associated traps; shower | 1 | nr
DISTRIBUTION SYSTEM
Distribution System including all joints, brackets, and supports, etc. in running lengths of pipes and ducts; Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
| pipework; complete | 1 | Item
| connection; WC | 2 | nr
| connection; WHB | 2 | nr
| Connection shower | 1 | nr
INSULATION
Insulation; Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
| insulation; complete | 1 | Item
GENERAL
Drainage Installations - Soils & Wastes; complete in strict accordance with the Service Engineer's Drawings and Specifications
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinated drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortice's and chases | 1 | Item
| identification plates and labels | 1 | Item
TOTAL (59) BUILDING SERVICES (MAINLY PIPED AND DUCTED)
0
(69) BUILDING SERVICES (MAINLY ELECTRICAL)
GENERALLY
The Contractor should note the following
Notes
| 1. Refer to Architect's / Civil & Structural / Building Service Engineer's Drawings & Specifications for full details. |  | note
| 2. Notwithstanding that this Pricing Document is measured in accordance with the Agreed Rules of Measurement 5, the following element is not measured in accordance with ARM5. Tenderers shall refer to agreed Rules of Measurement 4 supplement 2 for guidance on the below measurements; The Electrical design packages are to be priced in accordance with the Contract Specifications and drawings as prepared by the Building Services Engineer (RMCE). All relevant services co-ordination should be included. |  | note
(61) ELECTRICAL SUPPLY AND MAIN DISTRIBUTION
LV INSTALLATIONS
System; supply, install and commission of LV Electrical Centre and Main distribution installations in accordance with Electrical Engineer's Drawings and Specifications
LV installations
| System | 1 | Item
Equipment
Equipment including all associated bus switchgear, enclosures, breakers, fuses, glands, switches, meters, transformers, indicators, supports, fixings, hangers, grounds, loops, casings, plating, isolators, contractors and surge protection; to include all associated bracketing, supports, secondary steelwork, earthing, tags, accessories, etc.; LV Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Mains-distribution board | 1 | nr
| Sub-distribution board | 1 | nr
Mains and sub-mains cables
Sub Mains cables including all associated terminations; LV Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
General
LV Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
CABLE LADDER / TRAY / TRUNKING INSTALLATION
System; Galvanised steel cable ladder / tray / trunking. conduits, baskets, 2 compartment trunking, wiring; including all associated fittings, tees, bends, brackets, supports, fixings, hangers, bends, headers, grounds, casing, covers, plating and mounting etc.; complete in strict accordance with the Service Engineer's Drawings and Specifications
Cable ladder / tray / trunking installations
| System | 1 | Item
Cable Tray including all associated fittings, tees, bends, grounds, etc.; complete in strict accordance with the Service Engineer's Drawings and Specifications
ELV Tray; Fire Alarm (2 Hour Fire Rated)
| 50mm x 50mm | 42 | m
ELV, Data, General Services
| Cable Tray with Fittings: Channel Cable Tray 100 mm x 50 mm | 30 | m
| Cable Tray with Fittings: Channel Cable Tray 200 mm x 50 mm | 62 | m
Final circuits (including wiring, trunking and concealed conduits and points terminations)
| Galvanised steel conduits | 1 | Item
General
Cable Ladder / Tray / Trunking Installation; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
(62) POWER
GENERAL SERVICES AND SMALL POWER INSTALLATIONS
GENERAL SERVICES OUTLETS
System; supply, install and commission of Power installation in accordance with Electrical Engineer's Drawings and Specifications
Power installations
| System | 1 | Item
FITTINGS
Fittings; General Services & Small Power Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Dado Trunking
| Dado Trunking; 3 Compartment including internal, external corners, ends, junctions and intersections | 17 | m
Wall Mounted
| sockets; Single Switched | 5 | nr
| sockets; Double Switched | 14 | nr
| Spur | 8 | nr
| Isolator | 1 | nr
| Isolator For PV | 1 | nr
| Thermostat | 4 | nr
| AC controller | 2 | nr
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; General Services & Small Power Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| sockets; Single Switched | 5 | nr
| sockets; Double Switched | 14 | nr
| Spur | 8 | nr
| Isolator | 1 | nr
| Isolator For PV | 1 | nr
| Thermostat | 4 | nr
| AC controller | 2 | nr
General
General Services & Small Power Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
EARTHING & BONDING INSTALLATION
LIGHTNING PROTECTION
System; supply, install and commission of Earthing and Bonding installations in accordance with Electrical Engineer's Drawings and Specifications
Earthing and bonding installations
| System | 1 | Item
Earthing & Bonding including all associated testing and commissioning, etc. as required; complete in strict accordance with E.T.C.I regulations and the Service Engineer's Drawings and Specifications
Fittings; supply and install all as per Engineer's drawings and the Electrical Specification.
| earthing & bonding; complete | 1 | Item
FITTINGS
Fittings; Earthing & Bonding; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Horizontal; - PVC covered earth tape (25x3mm) | 51 | m
| Vertical PVC covered earth tape (25x3mm) | 32 | m
| Earth Electrode Inspection Pit Assembly | 4 | nr
| Connecting to rails & PV panels | 1 | item
EARTHING & BONDING
Earthing & Bonding including all associated testing and commissioning, etc. as required; complete in strict accordance with the Service Engineer's Drawings and Specifications
| earthing & bonding; complete | 1 | Item
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinated drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortices and chases | 1 | Item
| identification plates and labels | 1 | Item
(63) LIGHTING
LIGHTING INSTALLATIONS
System; lighting installations; supply, install and commission of Lighting installations in accordance with Electrical Engineer's Drawings and Specifications
Lighting installations
| System | 1 | Item
Fittings; Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Luminaries; Internal
| Light 4 - Moisture proof LED fitting |  | nr
| Light 5 - Circular Recessed LED | 13 | nr
| Light 6 - Industrial LED high-bay luminaire | 4 | nr
LIGHTING CONTROL SYSTEM
Fittings; Lighting Control Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
PIR Daylight Sensors; Internal
| PIR | 8 | nr
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| lighting point; internal | 17 | nr
| Sensors; Internal | 8 | nr
General
Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
EMERGENCY LIGHTING INSTALLATIONS
System; Emergency Lighting Installations; complete; to provide safe exit from the building in event of fire and the Service Engineer's Drawings and Specifications
Emergency lighting installations
| System | 1 | item
Fittings; Emergency Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Luminaries; Internal
| Light E1 - Recessed LED Emergency Light | 9 | nr
| Light E2 - Surface Direction Exit Light | 6 | nr
| Light E4 - Industrial Emergency Light | 4 | nr
Luminaries; External
| Light E3 - External Emergency Bulkhead | 5 | nr
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Emergency Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| emergency lighting point; internal | 19 | nr
| emergency lighting point; External | 5 | nr
General
Emergency Lighting Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
(64) COMMUNICATIONS
COMMS CABINET
Equipment
Equipment; comms cabinet Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Main Comms cabinet | 1 | nr
| cabling; complete | 1 | Item
General
Comms Cabinet Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
DATA / I.T. INSTALLATION
System; supply, install and commission of DATA/ I.T. installations; in strict accordance with the Service Engineer's drawings and specifications
Data / IT installations
| System | 1 | Item
Fittings; Data / I.T. Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
Data; Wall Mounted
| data outlet; 2 Gang | 5 | nr
| WI-Fi point | 3 | nr
Mains and Sub-mains cables
Sub Mains
Cables including all associated terminations; Data / I.T. Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Data / I.T. Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| data outlet; 2 Gang | 5 | nr
| WI-Fi point | 3 | nr
General
Data / I.T. Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
(65) SECURITY AND PROTECTION
FIRE ALARM
System; supply, install and commission of Fire Alarm Installation; in strict accordance with the Service Engineer's drawings and specifications
Fire Alarm
| System | 1 | Item
Equipment
Equipment including all associated bus bars, switchgear, etc.; Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| fire alarm control panel | 1 | nr
Fittings
Fittings; Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| smoke detector / sounder | 6 | nr
| smoke detector Ceiling Void | 2 | nr
| smoke detector / sounder / Flashing Beacon | 1 | nr
| Pull Cord: Pull Cord | 2 | nr
| Disabled alarm reset - Pull cord | 1 | nr
| Manual Call Point (Break Glass Unit) | 4 | nr
MAINS AND SUB-MAINS CABLES
Sub Mains; Fire
Cables including all associated terminations; Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
FINAL CIRCUITS (INCLUDING POINTS TERMINATIONS)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| smoke detector / sounder | 6 | nr
| smoke detector Ceiling Void | 2 | nr
| smoke detector / sounder / Flashing Beacon | 1 | nr
| Pull Cord: Pull Cord | 2 | nr
| Disabled alarm reset - Pull cord | 1 | nr
| Manual Call Point (Break Glass Unit) | 4 | nr
General
Fire Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
PROTECTIVE SERVICES / INTRUDER ALARM
System; supply, install and commission of Protective Services / Intruder Alarm Installations; in strict accordance with the Service Engineer's drawings and specifications
Protective Services / Intruder Alarm
| System | 1 | Item
Equipment
Equipment including all associated bus bars, switchgear, etc.; Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Intruder Alarm Panel | 1 | nr
Fittings
Fittings; Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Security Motion Detector | 2 | nr
| Door Contact: Door Contact | 5 | nr
| intercom display (with door release) | 1 | nr
| Indication LED | 1 | nr
Mains and Sub-mains cables
Sub Mains; Protective Services / Intruder Alarm
Cables including all associated terminations; Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
Final Circuits (including points terminations)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc.; Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Security Motion Detector | 2 | nr
| Door Contact: Door Contact | 5 | nr
| intercom display (with door release) | 1 | nr
| Indication LED | 1 | nr
General
Protective Services / Intruder Alarm Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Testing and commissioning | 1 | Item
| Warranty requirements | 1 | Item
| Operating and maintenance manuals | 1 | Item
| Working drawings | 1 | Item
| Co-ordinated drawings | 1 | Item
| As built drawings | 1 | Item
| Marking the positions of holes, mortices and chases | 1 | Item
| Identification plates and labels | 1 | Item
| provide for earthing in accordance with ETCI and IEE Wiring Regulations | 1 | Item
(12) OTHER INSTALLATIONS; HEATING
FITTINGS
Fittings; Heating; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Electric Heaters - PH-01; AW600u; ATC 600 watts | 5 | nr
MAINS AND SUB-MAINS CABLES
Sub Mains; Heating
Cables including all associated terminations; Heating Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| cabling; complete | 1 | Item
FINAL CIRCUITS (INCLUDING POINTS TERMINATIONS)
Final Circuit Wiring including all associated conduit, cabling and terminations, etc; Heating Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| Electric Heaters - PH-01; AW600u; ATC 600 watts | 5 | nr
GENERAL
Heating Installations; complete in strict accordance with the Service Engineer's Drawings and Specifications
| testing and commissioning | 1 | Item
| operating and maintenance manuals | 1 | Item
| working drawings | 1 | Item
| co-ordinates drawings | 1 | Item
| as built drawings | 1 | Item
| marking the positions of holes, mortices and chases | 1 | Item
| identification plates and labels | 1 | Item
| TOTAL (69) BUILDING SERVICES (MAINLY ELECTRICAL) |  |  |  |  | 0
BUILDING A
(42) WALL FINISHES INTERNALLY
Floor, Wall and Ceiling Finishings: Finishings
IN SITU FINISHES
Plaster, to concrete block base; 2nr coats; scud, render; spatter dash first coat using ready-mix mortar; second coat 1:4-5 masonry cement:sand 8-12mm thick; ; to include Expamet mesh or equivalent where breathable air tightness membrane is jointed; All in accordance with the Architects drawings and specifications
Walls
| exceeding 300mm wide | 2787 | m2
Reveals
| Skim coat; not exceeding 300mm wide | 425 | m
| TOTAL (42) WALL FINISHES INTERNALLY |  |  |  |  | 0
BUILDING B
(42) WALL FINISHES INTERNALLY
Floor, Wall and Ceiling Finishings: Finishings
IN SITU FINISHES
Plaster, to concrete block base; 2nr coats; scud, render; spatter dash first coat using ready-mix mortar; second coat 1:4-5 masonry cement:sand 8-12mm thick; ; to include Expamet mesh or equivalent where breathable air tightness membrane is jointed; All in accordance with the Architects drawings and specifications
Walls
| Skim coat; exceeding 300mm wide | 781 | m2
Reveals
| Skim coat; not exceeding 300mm wide | 83 | m
| TOTAL (42) WALL FINISHES INTERNALLY |  |  |  |  | 0
BUILDING C
(42) WALL FINISHES INTERNALLY
Floor, Wall and Ceiling Finishings: Finishings
IN SITU FINISHES
Plaster, to concrete block base; 2nr coats; scud, render; spatter dash first coat using ready-mix mortar; second coat 1:4-5 masonry cement:sand 8-12mm thick; ; to include Expamet mesh or equivalent where breathable air tightness membrane is jointed; All in accordance with the Architects drawings and specifications
Walls
| exceeding 300mm wide | 209 | m2
Reveals
| Skim coat; not exceeding 300mm wide | 29 | m
| TOTAL (42) WALL FINISHES INTERNALLY |  |  |  |  | 0
TOTAL FOR BUILDING