## FIT-OUT SCHEDULE
Client | [6 empty] | Dublin City Council
Project Name | [6 empty] | Red Stables Interpretation
Project Number | [6 empty] | 1904
Project Status | [6 empty] | Tender
Initial Issue Date | [6 empty] | 2026-05-07
Revision | [6 empty] | B
Revision Date | [6 empty] | 09.07.2026
Issue By | [6 empty] | EH
APPENDIX B - FIT OUT SCHEDULE
MAIN ENTRANCE & GARDEN LOBBY
Item Ref | Item Name | Location | DWG ref | AV Ref | Graphic Ref | Description | Size (mm) WxHxD | Qty | Unit Cost (€) | Total Cost (€) | Notes
S1.1 | Bench seats | Main Entrance |  |  |  | TBC - loose furniture possibly procured separate from fit out contract
S1.2 | Room labels | Main Entrance | 100, 301 |  | G1.2 | Black powder coated aluminium tray sign with graphics printed direct to substrate, with hidden fixings to mortar joints only. graphics fixed to wall using 10mm spacers. | 250 x 250 | 3 |  | 0 | Sample print to be supplied to Bright for approval
S1.3 | Orientation panel | Main Entrance | 100, 301 |  | G1.3 | Digitally printed dibond (or equivalent and approved) panel, with hidden fixings to mortar joints only. graphics fixed to wall using 10mm spacers. | 1600 x 800 x 4 | 1 |  | 0
S1.4 | Framed prints | Garden Room | 100, 301 |  | G1.5 | Photographic prints mounted and framed, fixed to walls for security using security t screws and wall anchor or similar | 300 x 500 | 10 |  | 0 | Spec for frames to be supplied to Bright for approval
S1.5 | Interpetation panels | Garden Room | 100, 301 |  | G1.6 | Digitally printed dibond (or equivalent and approved) panel, with hidden fixings. graphics fixed to wall using 10mm spacers. | 300 x 500 | 2 |  | 0
S1.6 | Decorative Window Manifestation | Main Entrance | 100, 306 |  | G1.1 | Frosted vinyl manifestation to glazed panels at entrance doors, applied internally | 3600 x 3400 | 1 |  | 0 | Sample print to be supplied to Bright for approval
S1.7 | Decorative Window Manifestation | Garden Room | 100, 306 |  | G1.4 | Frosted vinyl manifestation to glazed panels at entrance doors, applied internally | 2200 x 3000 | 1 |  | 0 | Sample print to be supplied to Bright for approval
EXHIBITION ROOM
S2.1 | Timeline panel 1 | Exhibition Room | 100, 302 |  | G2.1 | Digitally printed dibond (or equivalent and approved) panel, with hidden fixings. graphics fixed to wall using 10mm spacers. | 800 x 1500 x 4 | 1 |  | 0 | Site measure required
S2.2 | Timeline panel 2 | Exhibition Room | 100, 302 |  | G2.2 | Digitally printed dibond (or equivalent and approved) panel, with hidden fixings. graphics fixed to wall using 10mm spacers. | 3780 x 800 x 4 | 1 |  | 0 | Site measure required
S2.3 | Timeline panel 3 | Exhibition Room | 100, 302 |  | G2.3 | Digitally printed dibond (or equivalent and approved) panel, with hidden fixings and panel joints. graphics fixed to wall using 10mm spacers. | 9500 x 800 x 4 | 1 |  | 0 | Site measure required
S2.4 | central freestanding table and graphic panel | Exhibition Room | 100, 401 |  | G2.4/5 | Digitally printed HPL panel, bonded onto 15mm ply backing. Table to have dark oak finish (jacobean) and 2no. Drawers | 2440 x 2100 x 1100 | 1 |  | 0 | Sample of timber to be supplied to Bright for approval. Assume uneven ground surface, allow for shims/on site adjustment.
SINGLE STALL STABLES
S3.1 | Freestanding cut-out silhouette figure 1 - Stable Boy | Single Stall Stable | 100, 303, 400 |  | G3.1 | Digitally printed dibond (or equivalent and approved) panel, bonded to front face of 22mm black valchromat (or equivalent and approved). Levelling swivel castors. Plinth to be weighted if required for additional security. Refer to drawing for full details. | 500 x 2000 x 2 | 1 |  | 0 | Refer to Steve Doogan Illustrations. Assume uneven ground surface.
S3.2 | Freestanding cut-out silhouette figure 2 - Head Groomsman | Single Stall Stable | 100, 303, 400 |  | G3.2 | See S3.1 notes | 500 x 2000 x 2 | 1 |  | 0 | Refer to Steve Doogan Illustrations. Assume uneven ground surface.
S3.3 | Freestanding cut-out silhouette figure 3 - Coachman | Single Stall Stable | 100, 303, 400 |  | G3.3 | See S3.1 notes | 500 x 2000 x 2 | 1 |  | 0 | Refer to Steve Doogan Illustrations. Assume uneven ground surface.
S3.4 | Freestanding cut-out silhouette figure 4 - Huntsman | Single Stall Stable | 100, 303, 400 |  | G3.4 | See S3.1 notes | 500 x 2000 x 2 | 1 |  | 0 | Refer to Steve Doogan Illustrations. Assume uneven ground surface.
S3.5 | Freestanding cut-out silhouette figure 5 - Whipper In | Single Stall Stable | 100, 303, 400 |  | G3.5 | See S3.1 notes | 500 x 2000 x 2 | 1 |  | 0 | Refer to Steve Doogan Illustrations. Assume uneven ground surface.
S3.6 | Freestanding cut-out silhouette figure 6 - Estate Steward | Single Stall Stable | 100, 303, 400 |  | G3.6 | See S3.1 notes | 500 x 2000 x 2 | 1 |  | 0 | Refer to Steve Doogan Illustrations. Assume uneven ground surface.
S3.7 | Horse blankets | Single Stall Stable | 100, 303, 402 |  | G3.7 | Embroidered and printed fabric with structured core and piping. Secure fixing method. Refer to drawing for full details. | embroidered areas text 450 x 200 logo 100 x 100 | 3 |  | 0 | Sample of fabric with embroidery and print to be supplied to Bright for approval
S3.8 | Wall stencil | Single Stall Stable | 100, 303 |  | G3.8 | stencilled lettering to painted wall finish | 1500 x 1000 | 1 |  | 0
DOUBLE STALL STABLES
S4.1 | Vintage style wall charts | Double Stall Stable | 100, 304 |  | G4.1 | see graphic schedule | 1500 x 700 x 4 | n/a |  | #VALUE! | Refer to drawing 304 for custom fixing detail
S4.2 | Leather 'luggage tags' | Double Stall Stable | 100 |  | G4.2 | see graphic schedule | 100 x 200 | n/a |  | #VALUE! | Quantity to be confirmed but allow for max.of 8
S4.3 | Realistic artificial hay bale enclosure suitable for housing a floor-based Ultra Short Throw (UST) projector. | Double Stall Stable | 100, 304 |  |  | Painted wooden box structure with straw or raffia glued to exterior to mimic rectangular hay bale. The enclosure shall: • Visually replicate the appearance of a traditional rectangular hay bale • Conceal the projector from audience view • Allow correct projection alignment from floor level • Provide adequate ventilation and thermal management • Allow access for installation, maintenance, and removal • Be lightweight, durable, and suitable for repeated handling • Be suitable for indoor event or exhibition environments The structure shall be hollow, with internal space sufficient for Projector placement, Ventilation airflow, Cable routing, Maintenance access. The aperture shall: Be positioned to suit UST projection geometry; Be sized to prevent vignetting or projection clipping; Be visually concealed within the hay bale finish; Prevent internal light reflection | ~900 x 450 x 450 | 8 |  | 0 | The structure shall: • Be rigid and self-supporting • Maintain dimensional stability • Resist warping or deformation • Allow safe lifting and repositioning • Include reinforced internal corners where necessary Weight shall be minimized while maintaining durability. exact arrangement to be agreed on site with AV contractor
S4.4 | Set Dressing: Hay | Double Stall Stable | 100, 304 |  |  | straw or raffia, filling hay feeders and spread across floor near hay bales |  | 2 |  | 0
S4.5 | SD6: Horse Saddle, horse brasses + Stand | Double Stall Stable | 100, 304, 403 |  |  | Saddle, brasses and stand to be Supplied by others. Include for installation. Include for leather strap fixing to horse brasses. |  | 1 |  | 0
S4.6 | SD5: Bridle/Halter | Double Stall Stable | 100, 304 |  |  | to be Supplied by others. Include for mounting bracket and installation |  | 1 |  | 0
S4.7 | SD1: vintage style hay pitchfork | Double Stall Stable | 100, 304 |  |  | to be Supplied by others. Include for installation |  | 1 |  | 0
S4.8 | SD3: vintage style wheelbarrow | Double Stall Stable | 100, 304 |  |  | to be Supplied by others. Include for installation |  | 1 |  | 0
S4.9 | SD1: vintage style brush | Double Stall Stable | 100, 304 |  |  | to be Supplied by others. Include for installation |  | 1 |  | 0
S4.10 | Set Dressing: Scent | Double Stall Stable | 100, 304 |  |  | Aroma Prime Vortex Pro with their stable and horses aroma oil | 300 x 114 x 273 | 1 |  | 0 | requires ongoing refilling
S4.11 | SD4: horse shoes | Double Stall Stable | 100, 304 |  |  | to be Supplied by others. Include for installation |  | 4 |  | 0
S4.12 | SD2: metal water bucket | Double Stall Stable | 100, 304 |  |  | to be Supplied by others. Include for installation |  | 1 |  | 0
S4.13 | SD7: veterinary items | Double Stall Stable | 100, 304 |  |  | to be Supplied by others. Include for installation |  | 1 |  | 0
TACK ROOM
S5.1 | Large park plan panel | Tack Room | 100, 305 |  | G5.1 | Digital print wrapped to MDF panel, with hidden fixings | 3000 x 1800 | 1 |  | 0 | Site measure required
S5.2 | Large monitor surround panel | Tack Room | 100, 305 | AV5 | G5.2 | Digital print wrapped to MDF panel, with hidden fixings | 3000 x 1800 | 1 |  | 0 | Allow for access to concealled storage of media player. Site measure required.
S5.3 | Wall mounted interpretation panels | Tack Room | 100, 305 |  | G5.3 | Digitally printed dibond (or equivalent and approved) panels, with hidden fixings | 700 x 1000 | 5 |  | 0
WINTER GARDEN ROOM
S6.1 | Room label | Winter Garden Room | 100 |  | G6.1 | Black powder coated aluminium tray sign with graphics printed direct to substrate, with hidden fixings to mortar joints only | 250 x 500 | 1 |  | 0
S6.2 | Tiles interpretation panel | Winter Garden Room | 100 |  | G6.2 | Digitally printed dibond (or equivalent and approved) panel (400 x 400), bonded to black valchromet panel, mounted to wall with hidden fixings | 500 x 500 | 1 |  | 0 | Size to be confirmed on site
TOTAL
+ VAT
INSTALLATION TOTAL
TOTAL PRODUCTION & INSTALLATION COST