Appendix B.	TEMPERATURE CAPABILITY MATRIX

The tenderer MUST complete Appendix B. Temperature Capability Matrix for every sample environment (e.g., cryo-stages, thermal chucks, or bulk holders) included in their proposal. This matrix will be used to evaluate the system’s performance range across the mandatory temperature and voltage specifications.

| Sample Environment Name | Supported Sample Type (Bulk/Thin Film/Wafer) | Temperature Range (°C) | Compatible Measurement Types (e.g., Hysteresis, C-V, PUND) | Max Voltage Range (±V) | Optical Displacement Support? (Yes/No) | Simultaneous Elec. & Disp. Acquisition? (Yes/No) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |

Note: Tenderers MUST ensure that the data provided in this matrix aligns with the detailed technical descriptions provided in their tender response  Appendix 1.