## Instructions
Appendix 2- Pricing Schedule -LA3673C
General Information
Project Title | LA3673C -Supply, Delivery, Installation, Commissioning & Calibration of a Fully Integrated Precision Ferroelectric and Piezoelectric Analysis Platform, for Tyndall National Institute, University College Cork (UCC)
Equipment | Fully Integrated Precision Ferroelectric and Piezoelectric Analysis Platform
Required Date | 12.00pm Monday 24th August 2026
EPS Category Specialist | Grainne Quinn
EPS Category Manager | Glenn Coyle
Instructions and Notes
A | The purpose of this Pricing Schedule is to evaluate the Ultimate Cost criterion and therefore the final amount evaluated may not match the final value of the contract signed with the successful tender.
B | Tenderers are required to complete the appropriate pricing scheduled tab
C | All prices must be quoted in € (euro) and exclusive of VAT.
D | Please ensure the signature box at the bottom of this worksheet are completed.
E | Failure to complete and return this Pricing Schedule document as part of the Tender submission will result in the tender being rejected as non compliant.
F | Tenderers Must only complete the fields shaded in YELLOW. Tenders should not edit this document beyond what is required, as this may render the tender submission non-compliant as set in Clause 2.2.1 of the RFT document.
G | Optional or Desirable included as part of the Ultimate Cost evaluation are subject to budget limits and therefore might not be purchased or included in the final agreed contract amount. The Contracting Authority will engage with the successful tenderer regarding these items at contract finalisation stage.
H | Where a Zero cost is submitted for Optional or Desirable items included as part of the Ultimate Cost evaluation, the supplier MUST note FOC (free of charge), should this not be included, for the sake of a like for like comparison, the highest submitted price from all the submitted suppliers will be substituted.
Signed: |  | Position:
Print Name: |  | Phone No:
Company Name: |  | Date:
Address:
Email:

## Pricing
Fully Integrated Precision Ferroelectric and Piezoelectric Analysis Platform
Tender Award Criteria - Ultimate Cost - Total Weighting 400 Marks
Tender prices MUST be submitted in Euro only. Prices must be exclusive of VAT.
Tenderers must include all associated costs. Please use the Notes field where required.
Tenderers MUST only populate the cells highlighted in Yellow. Please refer to the Instructions tab for details.
Appendix 2 - Cost Proposal -400 Marks
| Supplier Name: | Supplier Name
| Please state Date of Manufacture: | Date of Manufacture
| Vat Rate : | %
| Device Name | Confirm Inclusion | Model No
| Central electrical tester and control electronics for ferroelectric/piezoelectric/leakage tasks | Y/N | Model No
| Sub-picometre displacement sensor | Y/N | Model No
| Automated heating/cooling stages and controllers for bulk and thin films | Y/N | Model No
| High-voltage amplifiers (up to ±10 kV) and safety/protection interfaces | Y/N | Model No
| Automated wafer stages, bulk sample holders, and precision probe positioners | Y/N | Model No
| Pre-configured PC, high-resolution monitor(s), and full software suite | Y/N | Model No
| Vibration isolation (e.g., optical table) and environmental shielding (acoustic/light) | Y/N | Model No
Equipment Core Package
As per specification requirements set out in Tender Response Document - Appendix 1-Technical Specification
|  | Total Amount ex VAT (€) | Notes
| Current Advertised List Price/Unit Cost for Fully Integrated Precision Ferroelectric and Piezoelectric Analysis Platform (ex. Vat) See specification A1 | 0
| % Saving offered to UCC through Tender | 0%
A | Sub Total after discount | 0
Delivery, Installation, Commissioning & Validation
As per specification requirements set out in Tender Response Document - Appendix 1-Technical Specification
|  | Total Amount ex VAT (€) | Notes
| Training- for a minimum of two (2) staff- See specification C25 | 0
| Delivery Cost - to include all shipping charges, insurance, customs duties and all aspects as outlined in Delivered Duty Paid (DAP) incoterms. See specification D2 | 0
| Installation, Commissioning & Calibration of Equipment . See specification D8 | 0
| Validation of the system and verify full functionality see Specification D10 | 0
B | Sub Total | 0
Additional Items
As per specification requirements set out in Tender Response Document - Appendix 1-Technical Specification
|  | Total Amount ex VAT (€) | Notes
| Control and analysis software updates (including bug fixes and security patches) during the warranty period see Specification A47 | 0
| PC/Workstation see Specification A50 | 0
| Relevant testing or compliance certificates for the Goods see Specification B7 | 0
| Warranty for Year 1 - to include all hardware, software, spare parts, labour, call outs (24 hour), visit, travel and parts See Specification C1 | 0
| Warranty for Year 2 - to include all hardware, software, spare parts, labour, call outs (24 hour), visit, travel and parts See Specification C1 | 0
| Sufficient consumable parts for the initial installation, commissioning and training andone (1) year of consumable parts to be supplied post commissioning. See Specification C22 | 0
C | Sub Total | 0
| Total Amount for Ultimate Cost Evaluation (A+B+C) | 0
Optional to Purchase The following will NOT form part of the Cost Evaluation and is not included in the stated budget - for the Contracting Authorities information only Should any of the items listed below be included in the core package above please note FOC
As per specification requirements set out in Tender Response Document - Appendix 1-Technical Specification
|  | Total Amount ex VAT (€) | Notes
| Simultaneous acquisition of small-signal displacement coefficient during C-V measurement see Specification A25 | 0
| Extended drive voltage input of up to ±10 kV see Specification A28 | 0
| Processing of a compensation method to differentiate parasitic switching from material switching currents during imprint measurements see Specification A30 | 0
| Support pyroelectric current measurements on bulk samples under temperature ramp conditions (from -100°C to 600°C), where compatible sample holders and software are provided see Specification A34 | 0
| Additional user accounts or offline installations. See Specification A46 | 0
| Software updates to the system for a minimum period of five (5) years after the warranty expiry. See Specification A48 | 0
| Different levels of access including administrator, user, and maintenance, supporting multiple unique user profiles across these three distinct functional levels see Speciation A49 | 0
| Warranty Year 3. See Specification C2 | 0
| Warranty Year 4. See Specification C2 | 0
| Warranty Year 5. See Specification C2 | 0
| Servicing and Repairs (including travel, subsistence and price per-day) Outside of Warranty Period. See Specification C7 | 0
| Service Level Agreements Year 3. See Specification C8 | 0
| Service Level Agreements Year 4. See Specification C8 | 0
| Service Level Agreements Year 5. See Specification C8 | 0
| Customer Support Proposal. See Specification C10 | 0
| Additional Information Requested | Notes
HS Code (Harmonized System Code) Please include in notes field.
Equipment Country of Origin. Please include in notes field.
| Pricing Score = | Lowest Tendered Price x Max Points
Price of bid being evaluated
Note: Please include all relevant information for your Quotation in the table provided. Should alternative options be available please copy the table and provide the additional information.
Briefly outline discounts offered (e.g. public sector discount); if no discount is offered please state “n/a”.
Signed:
Print Name:
Company Name:
Address:
Email:
Position:
Phone No:
Date:

## Consumables Parts
Fully Integrated Precision Ferroelectric and Piezoelectric Analysis Platform
N.B. Instruction to Tenderer: Please provide information and pricing of Additional Capability Function Options, Spare Parts & Consumables, outside of warranty costs (please note that this pricing will not be included in cost evaluation)
Additional Capability Function Options, Spare Parts & Consumables | Description | Routinely Stocked (Y/N) | Lead ¦Time | List Price, € (ex. VAT) | VAT Rate (0%, 13.5% or 23%) | Total € (incl. VAT)
Total |  |  |  | 0 |  | 0

## Payment Milestones
Please update table below:
Fully Integrated Precision Ferroelectric and Piezoelectric Analysis Platform
Payment Milestone | Please complete
On receipt of PO | ____ %
On Delivery | ____ %
On Final Acceptance | ____ %