QUOTE REQUEST DOCUMENT

### Seán Ó Domhnaill (Café Inis Meáin) [referred to as the Promoter] is looking for a competent supplier to supply bathroom/commercial sanitary equipment for café and for delivery to Lasta Mara Teo., New Docks, Galway- Specification as below:

PROVIDE A DETAILED SPECIFICATION

Supply only of commercial-grade sanitaryware and bathroom accessories for café/public toilet facilities.

Installation, plumbing works, builders works, electrical works, and fitting are excluded from this lot.

All equipment shall be suitable for high-frequency commercial hospitality use.

QUANTITIES REQUIRED:

Sanitaryware:

- 4 no. standard floor-mounted toilets.

- 1 no. accessible / wheelchair compliant toilet.

- 3 no. standard wash hand basins.

- 1 no. accessible / wheelchair compliant wash hand basin.

- 2 no. wall-mounted urinals.

Bathroom Accessories:

- 1 no. toilet cubicle system including doors (double).

- 1 no. toilet cubicle system including door (single).

- 3 no. sanitary towel disposal bins.

- 4 no. toilet paper dispensers.

- 1 no. baby changing unit.

- 4 no. mirrors.

GENERAL SANITARYWARE REQUIREMENTS:

- Heavy-duty commercial specification sanitaryware.

- High-grade vitreous china construction.

- Suitable for hospitality, public use and high-frequency cleaning environments.

- White finish unless otherwise specified.

- Easy-clean hygienic surfaces.

- Resistant to staining, chemicals and repeated cleaning.

- Products shall be from recognised commercial sanitaryware manufacturers.

- Domestic-grade products will not be accepted.

TOILET SPECIFICATION:

Quantity:

- 4 no. standard toilets.

Type:

- Floor-mounted WC design: traditional floor-fixed pan with exposed cistern.

- Heavy-duty vitreous china pan.

- Colour: white.

Flush System:

- Dual flush mechanism.

- Flush volumes:

  - Full flush approximately 6 litres.

  - Reduced flush approximately 3 litres.

- Push-button flush operation.

Toilet Seat:

- Heavy-duty commercial seat.

- Wrap-over thermoset plastic construction.

- Stainless steel hinges.

- Quick-release seat mechanism for improved hygiene and cleaning.

- Suitable for intensive daily use.

ACCESSIBLE/WHEELCHAIR TOILET SPECIFICATION:

Quantity:

- 1 no.

Compliance:

- Suitable for accessible toilet requirements.

- Compliant with Part M Building Regulations requirements.

- Suitable for wheelchair user facilities.

WC:

- Accessible height toilet pan.

- Heavy-duty vitreous china construction.

- Compatible with dual flush 3L/6L push-button flush system.

Support and Grab Rails:

- Commercial-grade support and grab rails.

- Compliant with Part M Building Regulations requirements.

STANDARD WASH HAND BASIN SPECIFICATION:

Quantity:

- 3 no.

Construction:

- Heavy-duty vitreous china.

- Commercial specification basin.

- White finish.

- 40-50cm x 30-40cm with a basin depth of at least 15cm.

- Wall mounted.

Taps:

- Push-button / press-operated taps.

- Commercial duty construction.

- Water-saving operation preferred.

- Suitable for high-frequency public use.

ACCESSIBLE WASH HAND BASIN SPECIFICATION:

Quantity:

- 1 no.

Construction:

- Low-level wheelchair accessible basin.

- Heavy-duty vitreous china.

- Compliant with Part M accessibility requirements.

Tap:

- Lever-operated tap.

- Suitable for wheelchair users.

- Commercial-grade construction.

URINAL SPECIFICATION:

Quantity:

- 2 no.

Requirements:

- Commercial wall-mounted urinals.

- High-grade vitreous china.

- Suitable for high-frequency public use.

- Water-efficient flush system.

- Compatible with commercial flush controls.

- Easy-clean hygienic design.

TOILET CUBICLE SYSTEM (WOMEN’S BATHROOM) SPECIFICATION:

Quantity:

- 2 no. cubicles side-by-side

Requirements:

- Dimensions: 181cm across (composed of two privacy-height doors and surround) with one partition wall measuring 166cm long.

- Commercial-grade toilet cubicle system.

- Moisture-resistant construction.

- Suitable for public café washrooms.

- Durable hinges, locks and hardware.

- Easy-clean surfaces.

- Privacy-height doors and partitions.

- Heavy-duty fittings suitable for frequent use.

Preferred materials:

- Compact laminate, solid grade laminate (SGL), or equivalent commercial washroom panel system.

TOILET CUBICLE SYSTEM (MEN’S BATHROOM) SPECIFICATION:

Quantity:

- 1 no. cubicle

Requirements:

- Dimensions: 166cm long, 90cm across (door in 90cm panel).

- Commercial-grade toilet cubicle system.

- Moisture-resistant construction.

- Suitable for public café washrooms.

- Durable hinges, locks and hardware.

- Easy-clean surfaces.

- Privacy-height door and surround.

- Heavy-duty fittings suitable for frequent use.

Preferred materials:

- Compact laminate, solid grade laminate (SGL), or equivalent commercial washroom panel system.

SANITARY TOWEL BIN SPECIFICATION:

Quantity:

- 3 no.

Requirements:

- Pedal-operated sanitary disposal units.

- Capacity: 15-20L. Maximum width 200mm.

- Hygienic easy-clean finish.

- Suitable for public/customer toilets.

- Supplied with all required fittings.

TOILET PAPER DISPENSER SPECIFICATION:

Quantity:

- 4 no.

Requirements:

- Wall-mounted toilet paper dispenser.

- Holds one large-diameter roll.

- Dispenses from underneath and not middle.

- Hygienic easy-clean finish.

- Suitable for public/customer toilets.

- Supplied with all required fittings.

BABY CHANGING UNIT SPECIFICATION:

Quantity:

- 1 no.

Requirements:

- Wall-mounted fold-down baby changing unit.

- Commercial/public washroom specification.

- Safety restraint included.

- Easy-clean hygienic surface.

- Suitable for frequent use.

- Compliant with relevant safety standards.

MIRROR SPECIFICATION:

Quantity:

- 4 no.

Requirements:

- Commercial washroom mirrors.

- Safety-backed mirror glass.

- Moisture-resistant construction.

- Suitable for public toilet environment.

- Durable edge finish.

- Wall mounting fixings included.

- 3 no. high-speed hand dryers.

Type:

- Automatic sensor-operated hand dryer.

- Wall-mounted design.

- Suitable for commercial hospitality environments.

- Suitable for frequent daily use.

Performance:

- High-speed drying system.

- Drying time approximately 10–20 seconds preferred.

- HEPA filtration system or equivalent air purification technology.

- Low energy consumption operation.

- Automatic sensor activation.

Construction:

- Durable commercial-grade casing.

- Stainless steel, aluminium, or equivalent robust finish.

- Resistant to corrosion and suitable for humid washroom environments.

- Easy-clean hygienic surfaces.

- Vandal-resistant design preferred.

Noise:

- Low noise operation suitable for café/public customer environment.

Electrical Requirements:

- Suitable for standard commercial electrical supply.

- Hardwired installation by qualified electrician.

- All required fixings and accessories included.

- Electrical certification provided on completion.

PLEASE NOTE: Quotes for other specifications will not be considered and may render submissions invalid

[PLEASE NOTE ANY BRAND NAMES REFERENCED ARE FOR ILLUSTRATIVE PURPOSES ONLY AND TO DEMONSTRATE THE EQUIPMENT REQUIRED]:

- INSTRUCTION TO TENDERERS

- Quote must be a FIXED TOTAL PRICE

- Please complete Appendix 1 Form of Tender in FULL. All quotes must remain valid for 6 months from the date of submission and VAT rate and value must be clearly noted.

- Delivery – quotes need to include delivery to Lasta Mara Teo, Galway Docks, H91 YTK2

- Specification of items – please provide details of specification with visuals as relevant– this forms part of the award criteria and this information is essential

- AWARD PROCESS

The contract will be awarded to the most economically advantageous proposal the Contracting Authority considers having most closely met the requirements for the contract assessed on the basis of the following Award Criteria:

| Criteria | % |
| --- | --- |
| - Cost: assessed based on Fixed EX VAT Price in the completed Form of Tender | 40% |
| - Product Specification match /Suitability: assessed based on meeting the specification of requirements as outlined above | 60% |
| Total | 100% |

Quotes must demonstrate how they meet all of the above criteria in their quote submission in order to enable the awarding authority to assess fully the extent of their offers. Tenderers should note they must address each of the award criteria detailed, not just the appendices contained here

For full transparency and clarity, please note the below scoring mechanism and rationale that will be applied for non-cost criteria:

| Score | Interpretation |
| --- | --- |
| 81% - 100% of the marks | Excellent response that fully meets or exceeds specification and provides comprehensive and convincing assurance that the Tenderer will deliver to an excellent standard. |
| 61% - 80% of the marks | A very good response that demonstrates real understanding of the specification and provides convincing assurance that the Tenderer will deliver to a very good or high standard. |
| 51% - 60% of the marks | A satisfactory response which demonstrates a reasonable understanding of the specification and gives reasonable assurance of delivery to an adequate standard but does not provide sufficiently convincing assurance to award a higher mark. |
| 31% - 50% of the marks | A response where reservations exist. Lacks detail and does not provide confidence to the Contracting Authority that the required services will be successfully delivered. |
| 30% of the marks | A response where serious reservations exist. This may be because, for example, insufficient detail is provided, or the response has fundamental flaws, or is seriously inadequate or seriously lacks detail with a high risk of non-delivery. |
| 0 | No response or partial response only and poor evidence provided in support of it, failure to meet the specification. |

Evaluation of Qualitative Criteria

Tenderers must achieve a minimum score of 60% of the total marks available for the qualitative criteria 2. Any quote which does not meet this minimum threshold shall be excluded from further consideration.

- ADDITIONAL INFORMATION

- The Contracting Authority reserves the right to terminate contracts with providers who are underperforming or in breach of the terms and conditions of their Contract Agreement

- If for any reason it is not possible to award the contract to the designated successful tenderer emerging from this competitive process, or if having awarded the contract the contracting authority considers that the successful tenderer has not met its obligations, the contracting authority reserves the right to award the contract to the next highest scoring quote on the basis of the terms advertised. This shall be without prejudice to the right of the contracting authority to cancel this competitive process and/or initiate a new contract award procedure as its sole discretion.

- Any conflicts-of-interest involving a tenderer must be fully disclosed to The Contracting Authority. Failure to disclose a conflict-of-interest may disqualify a bidder or invalidate an award of contract, depending on when the conflict-of-interest comes to light

- Detailed pricing of all quotes will be examined for arithmetical errors and the following approach to the correction of such errors will apply:

- Where there is a discrepancy between amounts in figures and words, the amount in words shall apply.

- Where there is a discrepancy between the unit price and the total amount derived from the multiplication of the unit price and the quantity, the unit price as quoted will normally govern unless, in the opinion of The Contracting Authority there is a gross mathematical error in the unit price, in which event the total amount as quoted will govern

- The Contracting Authority reserves the right (but shall not be obliged) to request Tenderers to attend interviews. These interviews will be for the purpose of clarification only. If this proves necessary, Tenderers will be informed as soon as possible with regard to the proposed date for interviews.

- If a quote fails to comply in any respect with the requirements set out in this Invitation to Quote or is ambiguous, The Contracting Authority shall be entitled at its absolute discretion, (but shall not be obliged):

- To reject the quote as non-compliant;

- Without prejudice to the Contracting Authority’s right to reject the quote to meet with, raise issues and/or seek clarification from the Tenderer in respect of the relevant quote;

- Without prejudice to the Contracting Authority’s right to reject the quote, to request the Tenderer to provide the Contracting Authority with information or items which have not been provided or have been provided in an incorrect form; and/or

- Without prejudice to the Contracting Authority’s right to reject the quote, to waive a requirement which, in the opinion of the Contracting Authority, is not material and/or is procedural.

4.  TIMETABLE

Submission Deadline; Your etender lot submission must be submitted NO LATER than 21/08/2026

Query Deadline: Queries will be dealt with through the etender platform and are to be submitted NO LATER than 12/08/2026

PLEASE NOTE: SUBMISSIONS AFTER THIS DATE AND TIME WILL NOT BE ACCEPTED

Please ensure you have included all required documents with your submission in order for The Contracting Authority to evaluate it fully against the award criteria as noted at Section 2, failure to do so may disqualify quotes from the competition.

PLEASE NOTE: this contract is subject to funding

APPENDIX 1 - FORM OF TENDER

THIS FORM OF TENDER MUST BE COMPLETED AND RETURNED BY ALL TENDERERS.

Failure to complete fully & sign this Form of Tender may invalidate the offer.

| To: | Seán Ó Domhnaill (Café Inis Meáin) |
| --- | --- |
| From: |  |
| Re: | Sanitary Ware |

I/We have examined the quotation documentation and thereby offer to provide the services in accordance with the details and specification contained within this document and at Appendix 1.

I/We undertake to perform and complete the Services in accordance with the terms and conditions of the quotation specification.

I/We confirm this quote will remain valid for up to 6 months from date of submission and for the duration of the contract.

| ITEM[S] |  |  | € |  |
| --- | --- | --- | --- | --- |
| List of Items / Services |  |  |  |  |
| TOTAL COST EX VAT [FOR EVALUATION] |  |  |  |  |
| VAT Rate % & Value € |  |  |  |  |
| TOTAL COST INCL VAT |  |  |  |  |
| Signed: |  |  |  |  |
| Name (in Capitall Letters): |  |  |  |  |
| On behalf of: |  |  |  |  |
| Address: |  |  |  |  |
| Email: |  |  |  |  |
| Telephone: |  |  | Date: |  |

PLEASE NOTE: PLEASE PROVIDE DETAILS OF SPECIFICATION WITH VISUALS AS RELEVANT– THIS FORMS PART OF THE AWARD CRITERIA