Tender Response Document

| Title: | Provision of a Virtual Reality Bicycle Simulation Suite for research purposes |
| --- | --- |
| Contracting Authority | Atlantic Technological University |
| eTenders/OJEU Ref: | CFT 8722910 |
| Closing Date for Submissions: | Friday 28th August 2026 @ 14:00 |
| Organisation Name: |  |
| Contact Name: |  |
| Contact Email: |  |

- Contents

1	Instruction for Completion	1

2	Response to the Selection Criteria	2

2.1	General Contact Information	2

2.2	Tenderer’s Statement	3

2.3	Financial Information – Pass/Fail Criteria	4

2.4	Declaration Bona Fides & Statutory Obligations – Pass/Fail Criteria	5

2.5	Technical Equipment & Resources – Pass/Fail Criteria	8

2.6	Previous Experience - Pass/Fail Criteria	8

2.7	Health & Safety Pass/Fail Criteria	9

2.8	Quality Assurance – Pass/Fail Criteria	9

3	Response to the Award Criteria	11

3.1	Response to Qualitative Award Criteria	11

4	Confirmation Check	22

# Instruction for Completion

This document MUST be used for the submission of tenders.

Tenderers should ensure they have read the Request for Tender before they attempt to complete this Tender Response Document.

If you consider that the Tender Response Document is missing any sections which would prevent you from preparing a comprehensive response, please contact the Contracting Authority as soon as possible.

Where there is a discrepancy between the contents / instructions in this document and the Request for Tender, the Request for Tender will take precedence.

Tenderers must follow the instructions contained in this document in relation to attachments, format for submission, etc.

Where tenderers are relying on other parties to meet the selection criteria, those parties must be available to deliver elements of the contract.

# Response to the Selection Criteria

## General Contact Information

| Tenderer Summary |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass Requirement: Tenderers must complete this Section |  |  |  |  |  |  |
| Organisation Name: |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |
| Telephone (Office): |  |  |  |  |  |  |
| Telephone (Mobile): |  |  |  |  |  |  |
| Email: |  |  |  |  |  |  |
| Website: |  |  |  |  |  |  |
| VAT Registration Number: |  |  |  |  |  |  |
| Date of Establishment: |  |  |  |  |  |  |
| Legal Status (Company, Sole Trader, etc.): |  |  |  |  |  |  |
| Is the Tenderer a Small and Medium Enterprise (SME)? | Yes |  |  |  | No |  |
| SMEs are enterprises which employ fewer than 250 persons and which have an annual turnover not exceeding €50 million, and/or an annual balance sheet total not exceeding €43 million |  |  |  |  |  |  |
| Is the tenderer a consortium / group of Economic Operators? | Yes |  |  |  | No |  |
| If yes, please provide the following information |  |  |  |  |  |  |
| Name |  | Legal Status |  | Element to be Delivered |  |  |
| Each member must submit a separate Tender Response Document |  |  |  |  |  |  |

## Tenderer’s Statement

Tenderers shall complete and return the following form of Tenderers’ Statement printed on the Tenderers’ headed notepaper and signed by the Tenderer.  Tenderers are asked to scan the signed document and return it with their tender submission via the electronic postbox.

TENDERERS’ STATEMENT

TO:  Atlantic Technological University (the “Contracting Authority”)

RE: CFT 8722910 Provision of a Virtual Reality Bicycle Simulation Suite for research purposes

Having examined your Request for Tenders (the “RFT”) including the Instructions to Tenderers, the Selection and Award Criteria, the Requirements and Specifications, and the Terms and Conditions of the Services Contract, we hereby agree and declare the following:

| 1. |  | We understand the nature and extent of the Services to be delivered as described at Section 2 of the RFT Document. |  |
| --- | --- | --- | --- |
| 2. |  | We accept all of the Terms and Conditions of the RFT, the Goods Contract and the Confidentiality Agreement and agree if awarded a Contract to execute the Goods Contract at Appendix 3 and the Confidentiality Agreement at Appendix 1 to the Goods Contract. |  |
| 3. |  | We accept all the Selection and Award Criteria as set out in Sections 4 and 5 of the RFT. |  |
| 4. |  | We agree to provide the Contracting Authority with the services in accordance with the RFT and our Tender. |  |
| 5. |  | We agree that, if awarded any Contract, we shall, in the performance of such Contract, comply with all applicable obligations in the field of environmental, social and labour law. |  |
| 6. |  | We confirm that we have complied with all requirements as set out in the RFT. |  |
| 7. |  | We confirm that the prices quoted in our Tender will be the maximum prices allowed during the term of the contract. |  |
| 8. |  | We shall, if awarded any Contract under the RFT, have in place on the Effective Date of the Contract all insurances as required by section 4.3 of the RFT. |  |
| 9. |  | We confirm that all Data Subjects whose Personal Data is provided in our Tender have consented to the processing of such Personal Data by us, the Contracting Authority, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of our participation in this Competition or that we otherwise have a legal basis for providing such Personal Data to the Contracting Authority for the purposes of our participation in this Competition and that we will provide evidence of such consent and / or legal basis to the Contracting Authority upon request. |  |
|  | SIGNED (Authorised Signatory) |  | Company |
|  | Print name |  | Address |

## Financial Information – Pass/Fail Criteria

| Tax Compliance |  |  |  |  |
| --- | --- | --- | --- | --- |
| Option 1: I confirm and declare being tax compliant. The Contracting Authority can verify your tax clearance status through Revenue’s online facility at http://www.revenue.ie/en/online/tax-clearance.html To this end, please confirm: |  |  | Yes |  |
|  |  |  | No |  |
| Tenderer Name: |  |  |  |  |
| Tax Reference Number (PPSN): |  |  |  |  |
| Access Number: |  |  |  |  |
| Option 2: I confirm that I hold a current valid Tax Clearance Certificate (generally relates to non-residents) To this end, please confirm: |  |  | Yes |  |
|  |  |  | No |  |
| Registration Number: |  |  |  |  |
| Certificate Number: |  |  |  |  |
| Option 3: I confirm that I have applied for Tax Clearance status or a Tax Clearance Certificate which will be made available on request |  |  | Yes |  |
|  |  |  | No |  |
| Financial Capacity |  |  |  |  |
| I confirm that our turnover exceeded €70,000.00 per annum in each of the last three financial years. |  |  |  |  |
| Financial Year |  | 2025 | 2024 | 2023 |
| Turnover |  | € | € | € |
| Month of financial year end |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the tender list being finalised: (evidence of turnover for the past three financial years) |  |  | Yes |  |
|  |  |  | No |  |
| I confirm that I will supply evidence of financial standing, by way of auditor’s letter, ensuring the tenderer party has the financial capacity to pay its debts identified on the current statement of assets and liabilities as being the debts as they fall due. |  |  | Yes |  |
|  |  |  | No |  |
| Insurances |  |  |  |  |
| I confirm that we have the following insurances in place: |  |  |  |  |
| Insurance Type |  | Level in place | Details of Excess | Expiry Date |
| Employer Liability |  | € |  |  |
| Public Liability |  | € |  |  |
| Product Liability |  | € |  |  |
| Other relevant Industry insurance if applicable |  | € |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the award decision being made: Evidence of insurances in place or Letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  | Yes |  |
|  |  |  | No |  |
| I confirm that if successful, where the levels required under the contract or framework are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place promptly. |  |  | Yes |  |
|  |  |  | No |  |
| Please note that the Contracting Authority will seek to verify self-declarations regarding financial capacity prior to next stage of the competition. |  |  |  |  |
| Signed: |  |  |  |  |
| Position: |  |  |  |  |
| Date: |  |  |  |  |

## Declaration Bona Fides & Statutory Obligations – Pass/Fail Criteria

| Declaration of Bona Fides & Statutory Obligations (Under Public Sector Directive 2014/24/EU - Article 57) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass requirement: Tenderers must complete, sign and date this Declaration. The Contracting Authority reserves the right at its discretion to exclude a non-compliant tenderer under each heading. This must be completed by each group member. |  |  |  |  |
| Economic Operators will be excluded from the procurement process if, within the past five (5) years, there is evidence of a conviction relating to a specific criminal offence listed below (see 1.1) or if they have been the subject of a binding legal decision which found a breach of legal obligations to pay tax or social security contributions (see 1.2) (except where this is disproportionate e.g. where only minor amounts are involved). |  |  |  |  |
| 1.1 | Has the Economic Operator or a member of their proposed consortium, (if applicable), Director, or Partner or any other person who has powers of representation, decision or control, been convicted of any of the following offences? |  | Yes | No |
|  |  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
| 1.1a | participation in a criminal organisation, as defined in Article 2 of Council Framework decision 2008/841/JHA; |  |  |  |
| 1.1b | corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in Irish Law or the jurisdiction in which the Economic Operator is established; |  |  |  |
| 1.1c | fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests; |  |  |  |
| 1.1d | the subject of a conviction for terrorist offences or offences linked to terrorist activities or for inciting or aiding or abetting or attempting to commit an offence; |  |  |  |
| 1.1e | the subject of a conviction for money laundering or terrorist financing; |  |  |  |
| 1.1f | the subject of a conviction of child labour and other forms of trafficking in human beings; |  |  |  |
| 1.2 | Non-payment of taxes or social security obligations Has it been established by a judicial or administrative decision having final and binding effect in accordance with Irish law or the legal provisions of the country in which the Economic Operator is established (if outside Ireland), that the Economic Operator is in breach of obligations related to the payment of tax and social security contributions? If the response to 1.2 above is in the affirmative, please provide further information on the decision and the amounts involved. |  |  |  |
| An Economic Operator who answers ‘Yes’ in any of the situations set out in paragraphs 2.1.a to 2.1.i will be excluded. |  |  |  |  |
| 2.1 | Please indicate if any of the following situations have applied, within the past three (3) years, or currently apply, to your organisation. The Economic Operator: |  | Yes | No |
|  |  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
| 2.1a | has, in the performance of any public contract, failed to comply with applicable obligations in the field of environmental, social and labour law applying at the place where the works were carried out or the services provided, as established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Annex X of Directive 2014/24/EU; |  |  |  |
| 2.1b | is bankrupt or the subject of insolvency or winding-up proceedings, its assets are being administered by a liquidator or by the court, or has entered into an arrangement with creditors, suspended its business activities or is in any analogous situation arising from a similar procedure under national laws and regulations; |  |  |  |
| 2.1c | is guilty of grave professional misconduct which renders its integrity questionable; |  |  |  |
| 2.1d | has entered into agreements with other Economic Operators aimed at distorting competition; |  |  |  |
| 2.1e | has a conflict of interest within the meaning of Article 24 of 2014/24/EU that cannot be effectively remedied by other, less intrusive, measures; |  |  |  |
| 2.1f | confirms that it has had prior involvement in the preparation of the procurement procedure which has resulted in a distortion of competition, as referred to in Article 41 of 2014/24/EU, that cannot be remedied by other, less intrusive, measures; |  |  |  |
| 2.1g | has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions. |  |  |  |
| 2.1h | - is guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria; or - has withheld such information or is not able to submit supporting documents required under Article 59 of Directive 2014/24/EU; or |  |  |  |
| 2.1i | has undertaken to: - unduly influence the decision-making process of the contracting entity, or - obtain confidential information that may confer upon the tenderer undue advantages in the procurement procedure; or - negligently provide misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  |  |  |
| Declaration re Statutory Obligations |  |  |  |  |
| We confirm that we are fully compliant with the following legislation, or equivalent legislation in our country of establishment / operation: |  |  | Yes | No |
| (i) | Employment Equality Acts 1998-2011 |  |  |  |
| (ii) | Equal Status Acts 2000-2011 |  |  |  |
| (iii) | National Minimum Wage Act 2000 as amended |  |  |  |
| (iv) | Organisation of Working Time Act 1997 as amended |  |  |  |
| (v) | Safety, Health and Welfare at Work Act 2005 and Safety, Health and Welfare at Work (General Application) Regulations 2007 |  |  |  |
| (vi) | Disability Act 2005 |  |  |  |
| (vii) | General Data Protection Regulation 2016/679 |  |  |  |
| (viii) | We have procedures in place to ensure that our subcontractors, if any are used for this contract, apply the same standards. |  |  |  |
| This Declaration is made for the benefit of the Contracting Authority I certify that the information provided in this declaration is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in this Declaration will lead to my organisation being excluded from participation in this and future tenders and I am signing on behalf of: |  |  |  |  |
| Name of Economic Operator: |  |  |  |  |
| Authorised Signatory: |  |  |  |  |
| Name in Block Capitals: |  |  |  |  |
| Position: |  |  |  |  |

## Technical Equipment & Resources – Pass/Fail Criteria

| Technical Equipment & Resources |  |
| --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should demonstrate that they have at their disposal effective and efficient technical resources/systems to deliver services as specified by the Contracting Authority in Section 4.4 of Request for tender. |  |
| Contracting Authority Requirement | Tenderer Response |
| Engineer and/or Technical support for installation, calibration and training. (Minimum requirement 1 No.) |  |

## Previous Experience - Pass/Fail Criteria

| Previous Experience |  |  |  |  |
| --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should refer to instances within the last five years which demonstrate that they have successfully delivered a contract of a comparable nature and scale on two (2) occasions. The contracts referenced for consideration should provide comprehensive information to enable the Contracting Authority to determine their comparability to the requirements of this contract. |  |  |  |  |
| The contracts listed should be chosen to demonstrate your firm’s skills, efficiency, experience and reliability in the relevant areas of expertise. All fields should be completed in full. In the event that the information requested on the value of contracts or identity of clients is considered confidential, tenderers must ensure that they provide sufficient information to allow the Contracting Authority to judge the similarity of these contracts to the services required. |  |  |  |  |
| Reference Contract #1 |  |  |  |  |
| Client Name: |  |  |  |  |
| Contact Name: |  |  |  |  |
| Contact email: |  |  |  |  |
| Delivery Date | From |  | To |  |
| Contract Value: | € |  |  |  |
| Description of Equipment Supplied |  |  |  |  |
| Taking account of the requirements and specifications of the contract, please provide information demonstrating comparability with the contract being awarded under this procurement. Mere affirmation will not be sufficient. |  |  |  |  |
| Any other relevant information: |  |  |  |  |
| Reference Contract #2 |  |  |  |  |
| Client Name: |  |  |  |  |
| Contact Name: |  |  |  |  |
| Contact email: |  |  |  |  |
| Delivery Date: | From |  | To |  |
| Contract Value: | € |  |  |  |
| Detailed Description of Equipment supplied: |  |  |  |  |
| Taking account of the requirements and specifications of the contract please provide information demonstrating comparability with the contract being awarded under this procurement. Mere affirmation will not be sufficient. |  |  |  |  |
| Any other relevant information: |  |  |  |  |

## Health & Safety Pass/Fail Criteria

| Health & Safety |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must demonstrate compliance with all the relevant Health & Safety legislation. The Contracting Authority reserves the right to seek further information to verify compliance. |  |  |  |  |  |  |  |  |
| Do you comply with the Safety Health & Welfare at Work Act 2005? |  | Yes |  |  |  | No |  |  |
| Manager responsible for Health & Safety: |  |  |  |  |  |  |  |  |
| Health & Safety management |  | Externally Certified |  |  |  | In-house |  |  |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |
| I confirm that evidence of compliance will be provided promptly on request. | Yes |  |  |  | No |  |  |  |

## Quality Assurance – Pass/Fail Criteria

| Quality Assurance |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should provide information on the measures in place to ensure the delivery of a quality service, for example by way of an externally certified system, or an equivalent in-house quality control process or system. |  |  |  |  |  |  |  |  |
| Do you operate a Quality Management System? |  | Yes |  |  |  | No |  |  |
| Manager responsible for Quality: |  |  |  |  |  |  |  |  |
| Quality management |  | Externally Certified |  |  |  | In-house |  |  |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |
| I confirm that evidence of compliance will be provided promptly on request. | Yes |  |  |  | No |  |  |  |

# Response to the Award Criteria

## Response to Qualitative Award Criteria

| Criterion A | Weighting | Maximum Marks | Minimum Marks 60% |
| --- | --- | --- | --- |
|  | 40% | 4000 | 2400 |
| Title | Quality, Technical Merit and suitability of the proposed solution |  |  |
| Description | This criterion refers to the totality of general technical/functionality, features and characteristics, suitability and durability of the proposed solution. |  |  |
| Criterion B | Weighting | Maximum Marks | Minimum Marks 60% |
|  | 15% | 1500 | 900 |
| Title | Proposed Methodology, delivery, installation and staff training |  |  |
| Description | This criterion refers to the proposed methodology, and programme for delivery, installation and staff training available with the proposed solution. |  |  |
| Criterion C | Weighting | Maximum Marks | Minimum Marks 60% |
|  | 10% | 1000 | 600 |
| Title | After sales service, technical support and warranty |  |  |
| Description | This criterion refers to the totality of after sales service, technical support and warranty of the proposed solution |  |  |
| Criterion D | Weighting | Maximum Marks | Minimum Marks 60% |
|  | 5% | 500 | 300 |
| Title | Environmental, sustainability and added value services offered |  |  |
| Description | Tenderers are asked to provide information on how they will support and implement environmental and sustainable efficiencies in its practices and in the delivery of this contract. Proposals for added value services available to ATU will be welcomed. |  |  |
| Criterion E | Weighting | Maximum Marks | Minimum Marks n/a |
|  | 30% | 3000 | n/a |
| Title | Ultimate Cost |  |  |
| Description | Total cost of equipment. Please complete Appendix 2 Pricing Schedule |  |  |

| CRITERION A: Quality, Technical Merit and suitability of the proposed solution This criterion refers to the totality of general technical/functionality, features and characteristics, suitability and durability of the proposed solution. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Weighting |  | Maximum Marks |  |  | Minimum Marks 60% |
| 40% |  | 4000 |  |  | 2400 |
| REF. | REQUIREMENT |  | COMPLIANT (YES/NO) | RESPONSE |  |

| A1 | Immersive Visualisation & Eye-Tracking System - The equipment must be compatible with Windows 11 Pro Operating System. The equipment should meet the following specifications: - Standalone or PC-linked VR headset suitable for research applications. - Integrated binocular eye-tracking capability (minimum 90 Hz sampling rate) - High-resolution display (minimum 4K per eye equivalent) - Field of view ≥ 120° - Sub-millimetre gaze accuracy suitable for behavioural research - Software Development Kit (SDK)/ Application Programming Interface (API) access for behavioural data extraction - Compatible with Unity or equivalent research-grade simulation engine - Academic licensing model permitting research use | (Yes / No) | Insert Response |
| --- | --- | --- | --- |
| A2 | Cycling Dynamics & Motion System The equipment should meet the following specifications - Direct-drive smart indoor trainer with integrated power (±2% accuracy), cadence, and speed measurement - ANT+ and Bluetooth connectivity for real-time data transmission - Motion-enabled platform with multi-axis movement (minimum 2 degrees of freedom: fore-aft and lateral sway) - Maximum rider load capacity ≥120 kg, suitable for adult participants - Real-time data output with low-latency synchronisation (<100 ms) to the simulation environment - Compatibility with VR simulation platforms (e.g., Unity, Vizard or equivalent) via standard data interfaces - Stable mounting and safety features suitable for repeated experimental use |  |  |
| A3 | Environmental Simulation The equipment should meet the following specifications - Controlled wind simulation system with automatic speed modulation based on cycling speed input - Real-time responsiveness with low-latency adjustment (<200 ms) - Adjustable airflow range suitable for indoor cycling simulation (e.g., variable intensity levels) - Integration capability with cycling trainer and/or simulation software (e.g., via ANT+, Bluetooth, or API) - Stable and safe operation for repeated experimental use |  |  |
| A4 | Physiological Data Acquisition (Behavioural Analytics Module) The equipment should meet the following specifications - Multi-channel data acquisition system with a minimum 4-channel capability (expandable) - Capability to record electrodermal activity (EDA) and heart rate using research-grade sensors - Sampling rate suitable for behavioural research (≥1000 Hz preferred) - Synchronisation interface enabling time-locked integration (<10 ms precision) with VR simulation and cycling data - Real-time data acquisition and monitoring capability - Research-grade analysis software licence for data visualisation, processing, and export - Data export in standard formats (e.g., CSV, MATLAB-compatible, or equivalent) - Compatibility with external platforms (e.g., Unity, Vizard or equivalent) via SDK/API - Equivalent to research-grade systems (e.g., BIOPAC MP-series or similar) |  |  |
| A5 | Direct-Drive Smart Bike Trainer (Outdoor / Independent Use) The equipment should meet the following specifications - . Direct-drive smart bike trainer for independent/field-based research use, with integrated power (±2% accuracy), cadence, and speed measurement - Power measurement range suitable for adult cycling performance (minimum up to ~2000 W) - ANT+ and Bluetooth connectivity for real-time data transmission and device compatibility - Compatible with standard road and hybrid bicycles (multi-speed drivetrain support) - Stable and robust frame suitable for repeated use in varied environments - Low noise operation (<65 dB typical) - Power supply compatible with standard mains (230V AC) - Portable design suitable for temporary setups (e.g., demonstrations, field trials) - Compatible with common cycling and data platforms (e.g., training apps, data logging tools) - Equivalent to high-quality direct-drive trainers (e.g., Saris H3, Wahoo KICKR or similar) |  |  |
| A6 | System Integration & Interoperability All components must be fully interoperable and delivered as a single, turnkey integrated research system, capable of real-time, synchronised data acquisition across VR, eye-tracking, cycling dynamics, and physiological inputs. The supplier will be responsible for ensuring compatibility across all hardware and software components. |  |  |
| A7 | Integration Responsibility & Demonstration The supplier must demonstrate by their response, full system integration, including synchronisation of all data streams (VR, eye-tracking, cycling, and physiological), and must demonstrate end-to-end functionality at commissioning using a representative simulation environment agreed with the client. Video demonstrations/simulations are welcome to support this response. |  |  |
| A8 | Acceptance Criteria (Performance-Based) System acceptance will be contingent on successful demonstration of: - Stable VR rendering at ≥90 FPS - Accurate eye-tracking data capture and export - Real-time synchronisation of all data streams - Execution of a complete experimental scenario (cycling + VR + data logging) - Export of data in standard research formats (e.g., CSV or equivalent) Video demonstrations/simulations are welcome to support this response. |  |  |
| A9 | Data Access & Ownership All systems must provide unrestricted access to raw and processed data, including gaze, behavioural, and physiological data. No proprietary restrictions preventing data export, storage, or analysis will be accepted. |  |  |
| A10 | Software Licensing & Compatibility All software must include academic research licences and be compatible with standard research environments (e.g., Unity, Vizard or equivalent). Required SDK/API access must be included to support experimental development and data extraction. |  |  |
| A11 | Future Expandability The system should support modular upgrades and extensions (e.g., additional sensors, scenarios, or software modules) without requiring full system replacement. |  |  |
| A12 | Quality Control and compliance Tenderers should confirm, where applicable, that all equipment supplied under the resulting contract complies with all applicable EU Directives and Regulations and, where required by law, carry a valid CE Marking or equivalent certification. |  |  |
| A13 | The installation of all electrical items MUST be in accordance with European standards/regulations and all relevant amendments. Power connection MUST be 3 Pin type G UK standard 230V AC with a frequency of 50hz |  |  |

| CRITERION B: Proposed Methodology, delivery, installation and staff training This criterion refers to the proposed methodology, and programme for delivery, installation and staff training available with the proposed solution. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Weighting |  | Maximum Marks |  |  | Minimum Marks 60% |
| 15% |  | 1500 |  |  | 900 |
| REF. | REQUIREMENT |  | COMPLIANT (YES/NO) | RESPONSE |  |

| B1 | Installation and Training - On-site installation, full system setup, and commissioning must be completed by an appropriately qualified person. - Complete system integration across VR, eye-tracking, cycling dynamics, and physiological components - Calibration of all sensors and verification of data synchronisation across systems - Demonstration of a fully operational test scenario at commissioning - Minimum one full day of on-site technical training for research staff, covering operation, calibration, data acquisition, and troubleshooting - Provision of comprehensive user documentation (setup, operation, maintenance, troubleshooting) | (Yes / No) | Insert Response |
| --- | --- | --- | --- |
| B2 | Project completion plan Please give full details of the project completion plan with lead time (in weeks) for delivery, installation, commissioning, acceptance, and training. It is DESIRABLE that the instrument will be delivered and installed within 6 weeks from receipt of Purchase Order |  |  |
| B3 | Installation equipment required Please indicate if special handling equipment is required to move the equipment from the delivery vehicle into its final location within ATU Building |  |  |
| B4 | Delivery and Customs charges Delivery MUST include all Shipping Charges, insurance, customs duties and all aspects as outlined in DDP (Delivery Duty Paid) incoterms. Please Complete Appendix 2 Pricing Schedule. Delivery location is Atlantic Technological University, (ATU) Sligo Campus, Ash Lane, Sligo F91YW50 |  |  |

| CRITERION C: After sales service, technical support and warranty This criterion refers to the totality of after sales service, technical support and warranty of the proposed solution |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Weighting |  | Maximum Marks |  |  | Minimum Marks 60% |
| 10% |  | 1000 |  |  | 600 |
| REF. | REQUIREMENT |  | COMPLIANT (YES/NO) | RESPONSE |  |

| C1 | - Minimum 36-month warranty is desirable. Please list items included in warranty offered. - Please describe the after sales service offered with the equipment including the scope of technical support, and remote assistance available. - Confirm the frequency of software updates. Cost of software updates must be included in Appendix 2 pricing schedule. | (Yes / No) | Insert Response |
| --- | --- | --- | --- |

| Criterion D Environmental, sustainability and added value services offered Tenderers are required to provide information on how they support and implement environmental and sustainable efficiencies in their business and in the delivery of this contract. Proposals for added value services available to ATU will be welcomed. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Weighting |  | Maximum Marks |  |  | Minimum Marks 60% |
| 5% |  | 500 |  |  | 300 |
| REF. | REQUIREMENT |  | COMPLIANT (YES/NO) | RESPONSE |  |

| D1 | Tenderers should indicate the actions their business has taken to reduce impact on the envionment. | (Yes / No) | Insert Response |
| --- | --- | --- | --- |
| D2 | Tenderers should make all reasonable efforts to minimise environmental impact in the methods of goods delivery and in materials used. |  |  |
| D3 | Tenderers must remove packaging and dispose of same at no extra cost. |  |  |
| D4 | Please indicate any proposals for added value services. |  |  |

| Criterion E Ultimate Cost Requirement: Tenderers are required to complete Appendix 2 pricing schedule |  |  |
| --- | --- | --- |
| Weighting | Maximum Marks | Minimum Marks n/a |
| 30% | 3000 | n/a |

# Confirmation Check

| Relevant Documents Completed |  |  |  |  |
| --- | --- | --- | --- | --- |
| I confirm that I have completed the relevant elements of this Tender Response Document | Yes |  | No |  |
| I confirm that I have completed the Art. 57 declaration contained in this Tender Response Document, and I acknowledge that any changes in the circumstances confirmed in this declaration will be notified immediately to the Contracting Authority. | Yes |  | No |  |
| I confirm that I have read and accept the terms of the Goods Contract. | Yes |  | No |  |
| I confirm that I have opted to provide a completed European Single Procurement Document in place of Selection Criteria / Art. 57 | Yes |  | No |  |