## Pricing Schedule
Pricing Schedule - CCSD HVAC System
Tenderers are required to complete the pricing table below. All costs must be presented in Euro (€) and must exclude VAT.
Description | Cost ex VAT. | VAT Rate Applicable | Cost inc. VAT
De-commission of existing System Supply AHU, Extract Fan & DX Unit
Crane Hire and lifting Logistics
Equipment Supply AHU, Extract AHU & Heat Pump Supply and installation
LPHW Piping Alterations and recommissioning
New Heat recovery Piping and commissioning.
Electrical wiring Alterations and recommissioning
Ducting Ventilation Alterations and recommissioning
Refrigerant piping Alterations and recommissioning
BMS supply and installation commissioning
Builders works, Equip and system structural supports
Removal and reinstating of bird netting
Site set up preliminaries
One year Maintenance and operational required spares (Fully Comp)
Year Two Preventative Maintenance Fee*
Year Three Preventative Maintenance Fee*
Total Cost | 0 |  | 0
Call out charges** | Cost ex VAT. | VAT Rate Applicable | Cost inc. VAT
Hourly fee (normal hours, 8am-6pm))
Hourly fee (outside of normal hours)
Travel charge (if applicable)
*Paid annually, two visits per annum
** ad hoc call outs, outside of commissioning and planned preventative maintenance