## Cover
Community Development & Planning Services
Barrack Hill Daisy Building Enhancement
Carndonagh, Co Donegal
VOLUME C
PRICING DOCUMENT
July 2026
The Contractor should be satisfied that the rates and prices submitted in this document includes for all elements required to complete the Works to the expected standards and finishes, this includes, but is not limited too; (i) The removal off site all unsuitable material (were required) (ii) The supply and delivery to site of the necessary quantities of all materials required to complete the works (refer to Section 1.3 Site Restrictions & Considerations, Volume A: Works Requirements). (iii) Completion of all works in accordance with Volume A: Works Requirements & drawings (iv) A site by the contractor is strongly advised prior to submission of completed tender documents

## Pricing
Proposed Construction Works
Ref | Description | Qty | Unit | Rate | Amount
SERIES 100 PRELIMINARIES
Temporary Accommodation
Note. A compound area for storage and accommodation for the Contractor and Engineer has NOT
been identified. Allow for all costs and charges associated with arranging a suitable compound
1 | Erection, servicing and dismantling of offices,
| stores and messes for the contractor |  | Item |  | € ____________
Information Board
2 | Corriboard Information boards erected on site
| advising of project etc (min 1.2 x 1.2m signs) | 1 | Nr |  | € ____________
Traffic / Pedestrian Safety & Management
3 | Traffic / pedestrian safety and management,
| including all necessary guardrails and signage |  | Item |  | € ____________
Road Sweeping and Cleaning
4 | All roads to be kept free from dirt & debris and
| vehicles to be washed down on each trip |  | Item |  | € ____________
Testing to be carried out by the Contractor
5 | Laboratory sampling & testing in accordance
| with Appendix 1/5 & elsewhere in the contract |  | Item |  | € ____________
Health and Safety Requirements
6 | Comply with all obligations pursuant to the
Safety, Health and Welfare at work
(Construction) Regulations 2013 in respect of
the successful tenderer being appointed by the
Employer as Project Supervisor for
| Construction Stage |  | Item |  | € ____________
7 | Acceptance of the position of Project
| Supervisor for the Construction Stage (PSCS) |  | Item |  | € ____________
8 | Preparation of Safety File Information |  | Item |  | € ____________
Insurances
9 | Provision of Insurances in accordance with the
| contract conditions |  | Item |  | € ____________
€ ____________
Page Total
Proposed Construction Works
Ref | Description | Qty | Unit | Rate | Amount
SERIES 100 PRELIMINARIES SUMMARY
| Page : 1 |  |  |  | € ____________
€ ____________
Series 100 Total
Proposed Construction Works
Ref | Description | Qty | Unit | Rate | Amount
SERIES 200 SITE CLEARANCE
Site Clearance
1 | General site clearance to include, removal of
of grass and soil to a depth of 300mm materials
to be removed off site to a licenced landfill or as
otherwise directed by the Engineer, the excavation
will be filled with stone compacted and concreted
for the installation of the proposed new storage
area/container at the closed end of the building
seen in Drawing No. 07-2026004-01-007
| proposed storage Front view | 6 | M³ | € ________ | € ____________
NOTE:
The area for the proposed Storage/Container
area has buried services Water & ESB the
location of the services are not detailed on
any drawings. Before excavation works start
the location of the services need to be
determined before commencement
NOTE:
Donegal County Council reserves first refusal
to keep any items (topsoil etc) removed from the
area.
€ ____________
Page Total
Proposed Construction Works
Ref | Description | Qty | Unit | Rate | Amount
SERIES 200 SITE CLEARANCE SUMMARY
| Page : 3 |  |  |  | € ____________
€ ____________
Series 200 Total
Proposed Construction Works
Ref | Description | Qty | Unit | Rate | Amount
SERIES 300 FENCING & GATES
Fencing, and Gates
1 | Supply and install a hot dipped galvanised steel
supported fence and gates that will surround the
storage area with timber cladding the detail of the
posts for the fence will be 127mm x 76mm x 2.6m
high RSJ the base plate is 200mm long x 200mm
widex10mm thick base plate with 16mm mounting
holes see Detail A. Posts for the fencing will be
surface mounted using M16 125mm Rawl bolts or
similar approved by the engineer. The posts will
be 1.8m centres with timber infill. The timber
panels will match the existing timber on the
building (Douglas fir).Steel posts to be covered
with matching timber also. (125mm x 20mm
louvered) The design is described in Drawing No.
06-2026004-01-006 and in attached pictures.
| see page 10 below for reference | 11.5 | M | € ________ | € ____________
Gates
The gates will be made of 40mm x 40mm box iron
with 20mm angle iron welded along the inside
edge of the frame and hot dipped galvanised to
hold timber in place.The timber panels will match
the existing timber on the building (Douglas fir)
will be attached with stainless steel screws with
antitheft head. The gates will be attached to the
posts using heavy duty galvanised hinges and
lock bolts for security.
| See Drawing 07-2026004-01-007 Gate Details | 1 | No. | € ________ | € ____________
Page Total
Proposed Construction Works
Ref | Description | Qty | Unit | Rate | Amount
SERIES 300 FENCING & GATES SUMMARY
| Page : 5 |  |  |  | € ____________
€ ____________
Series 300 Total
Proposed Construction Works
Ref | Description | Qty | Unit | Rate | Amount
SERIES 1100 KERBS, FOOTWAYS & PAVED AREAS FOR STORAGE AREA
1 | Installation of a concrete base brushed finished
with A252 mesh steel for new storage area the
concrete is to be 150mm thickness to laid on
150mm compacted 804 granular material for
details, locations of the proposed concrete area
is in Drawing No. 08-2026004-01-008 Top View
| of Container | 20 | M2 | € ________ | € ____________
2 | The finished edge of the concrete must be sloped
to tie into the existing ground level and grass
seed sown to return the area to a manageable
state for the local group to maintain and cut the
| grass | 20 | M2 | € ________ | € ____________
€ ____________
Page Total
Ref | Description | Qty | Unit | Rate | Amount
SERIES 1100 KERBS FOOTWAYS & PAVED AREAS FOR STORAGE AREA SUMMARY
| Page : 7 |  |  |  | € ____________
€ ____________
Series 1100 Total
Proposed Construction Works
Ref | Description | Qty | Unit | Rate | Amount
SERIES 2600 MISCELLANEOUS
Stone Walls
1 | Supply and install stone masonry faced blockwork
wall within the daisy building between each timber
pillars up to a height of 1m as described in
Drawing No. 05-2026004-01-005 End View.
The wall will be 300mm wide in total and a height
of 1m the finish on the stone is to match the
(Sandstone) walls that are existing the Barack
Hill Public Park. The top of the wall will be finished
with a flat stonewith S/S wall ties used to tie stone
work and blockwork together. Full adhesion of
block work and stonework to mortar at all
interfaces. the walls between the wooden post
ends at the posts the open end of the building has
2 wall jambs and are finished with a stone face all
detailed of wall ties and copings all details are in
Drawing No. 05-2026004-01-005 End view wall
| details pictures available on Page 10 below. | 27 | M | € ________ | € ____________
2 | Supply and install a storage unit 6.1m x 2.4m x
2.44m the storage unit/container needs to be built
in situdue to the restricted access to the site with
over head wires and thin access paths to the park
See NOTE below for description the final design
| and spec will be approved by the Engineer | 1 | No. | € ________ | € ____________
Planter Boxes
3 | Supply and install 27m of wooden planter boxes
for the top of the wall matching existing timber
on the building.
The planters will need to be secured to the wall
and fitted with a hard plastic insert for longevity
from rot the planters will be 300mm x 300mm
x 3.6m or alternatively the planters could be in 3
parts to make up the 3.6m in total. Other planter
| ideas will need to be pre-approved by engineer. | 27 | M | € ________ | € ____________
4 | The existing water tap will be moved using the
same size and grade of pipe and positioned
inside the storage area at the front of the container
described in drawing07-2026004-01-007 Top
| view of storage | 1 | No. | € ________ | € ____________
NOTE
Regarding the storage container, due to access
constraints the storage container may need
to be a flat packed sectional unit like those
supplied by eg. shed.ie or similar approved by the
Engineer
https://shed.ie/product/heavy-duty-flat-pack-steel-sheds-2m-x-3m/
these designs are not set, anything similar must
be pre-approved by the Engineer please provide
the proposed unit pre installation.
€ ____________
Page Total
Proposed Construction Works
Ref | Description | Qty | Unit | Rate | Amount
Proposed fencing design
Existing sand stone walls in the park
Planter Ideas
€ ____________
Page Total
Ref | Description | Qty | Unit | Rate | Amount
SERIES 2600 MISCELLANEOUS SUMMARY
| Page : 9 & 10 |  |  |  | € ____________
€ ____________
Series 2600 Total
Proposed Construction Works
Ref | Description |  |  |  | Amount
€ ____________
SERIES 100 PRELIMINARIES
€ ____________
SERIES 200 SITE CLEARANCE
€ ____________
SERIES 300 FENCING & GATES
€ ____________
SERIES 1100 KERBS FOOTWAYS & PAVED AREAS FOR STORAGE AREA
€ ____________
SERIES 2600 MISCELLANEOUS
€ ____________
TOTAL TO BILL SUMMARY

## Summary
Bill Summary
Amount
€
Sub Bill Summary Total (exclusive of VAT)
€
Adjustment Item (optional)
€
Total excluding VAT (Transfer to Price Summary Document)
€
Add VAT @ 13.5%
€
Total including VAT
Contractor Details:
Contractor Name:
Contractor Address:
Contact Details:
Phone:
Fax:
Mobile:
E-Mail:
Contractors Signature: