## PartP1
Part 1 - Preliminaries
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 100 - Preliminaries
Temporary Accommodation
A | Erection of stores and workshops for the Contractor | 1 | item |  |  | 1/1/A | 666
B | Erection of offices and messes for the Contractor | 1 | item |  |  | 1/1/B | 667
C | Servicing of stores and workshops for the Contractor | 1 | item |  |  | 1/1/C | 668
D | Servicing of offices and messes for the Contractor | 1 | item |  |  | 1/1/D | 669
E | Dismantling of stores and workshops for the contractor | 1 | item |  |  | 1/1/E | 670
F | Dismantling of offices and messes for the Contractor | 1 | item |  |  | 1/1/F | 671
Operatives for the Employer's Representative
G | Operatives for the Employer's Representative until | 3 | day |  |  | 1/1/G | 673
completion of the Works in accordance with Appendix
1/8
Traffic Safety and Management
H | Traffic safety and management | 1 | item |  |  | 1/1/H | 674
I | Taking measures for or construction, maintenance, | 1 | item |  |  | 1/1/I | 675
removal of contraflow arrangements in accordance with
Appendix 1/17
J | Removing from store and installing temporary vertical | 1 | item |  |  | 1/1/J | 676
safety barriers in accordance with Appendix 1/17
K | Taking up or down and removing from site temporary | 1 | item |  |  | 1/1/K | 677
vertical safety barriers in accordance with Appendix
1/17
Temporary Diversion for Traffic
L | Taking measures for or construction of temporary | 1 | item |  |  | 1/1/L | 679
diversion for traffic as required to facilitate the Works
Requirements at locations listed in Appendix 1/18
M | Taking measures for or construction of temporary | 1 | item |  |  | 1/1/M | 680
diversion for traffic as required to facilitate the Works
Requirements at locations listed in Appendix 1/18 but
not measured individually
N | Taking measures for or construction of temporary | 1 | item |  |  | 1/1/N | 681
diversion for traffic at locations proposed by the
contractor as required to facilitate the Works
Requirements
O | Maintenance of measures for or construction of | 1 | item |  |  | 1/1/O | 682
temporary diversion for traffic as required to facilitate
the Works Requirements at locations listed in Appendix
1/18
P | Maintenance of measures for or construction of | 1 | item |  |  | 1/1/P | 683
temporary diversion for traffic as required to facilitate
the Works Requirements at locations listed in Appendix
1/18 but not measured individually
C1177 |  | Page: 1 / 1 |  | To Collection | 0
Part 1 - Preliminaries
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Temporary Diversion for Traffic (Cont'd)
A | Maintenance of measures for or construction of | 1 | item |  |  | 1/2/A | 684
temporary diversion for traffic at locations proposed by
the contractor as required to facilitate the Works
Requirements
B | Removal of measures for or construction of temporary | 1 | item |  |  | 1/2/B | 685
diversion for traffic as required to facilitate the Works
Requirements at locations listed in Appendix 1/18
C | Removal of measures for or construction of temporary | 1 | item |  |  | 1/2/C | 686
diversion for traffic as required to facilitate the Works
Requirements at locations listed in Appendix 1/18 but
not measured individually
D | Removal of measures for or construction of temporary | 1 | item |  |  | 1/2/D | 687
diversion for traffic at locations proposed by the
contractor as required to facilitate the Works
Requirements
Progress Photographs
E | Set of progress photographs taken monthly for the | 5 | nr |  |  | 1/2/E | 689
duration of the works, at project start and at project
completion, to be provided in digital format to
Employers Representative within five working days after
being carried out on the first working day of each
month, in accordance with Appendix 1/22 of the Works
Requirements
Road Sweeping and Cleaning
F | Road sweeping and cleaning, to provided for the | 1 | item |  |  | 1/2/F | 691
duration of the works until Substantial Completion
Emergency Services
G | Provide for Emergency Services | 1 | item |  |  | 1/2/G | 692
Facilities for Local Authority, Public or Private
Utility Undertakers and Other Contractors
H | Facilities for Local Authority, Public or Private Utility | 1 | item |  |  | 1/2/H | 694
Undertakers and other Contractor, ESB
I | Facilities for Local Authority, Public or Private Utility | 1 | item |  |  | 1/2/I | 696
Undertakers and other Contractor, Irish Water
J | Facilities for Local Authority, Public or Private Utility | 1 | item |  |  | 1/2/J | 697
Undertakers and other Contractor, Eir
K | Facilities for all other Local Authority, Public or Private | 1 | item |  |  | 1/2/K | 698
Utility Undertakers and other Contractors not listed
L | Facilities for Local Authority, Public or Private Utility | 1 | item |  |  | 1/2/L | 693
Undertakers and other Contractor, Carlow County
Council
C1177 |  | Page: 1 / 2 |  | To Collection | 0
Part 1 - Preliminaries
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Property Condition Surveys
A | Property condition surveys at locations indicated by red | 1 | item |  |  | 1/3/A | 699
boundary line in accordance with drawings C1177-
OCSC-Z2-XX-DR-C-0200 and Appendix 1/7
Project Supervisor for the Construction Stage
B | Acceptance of the appointment as Project Supervisor | 1 | item |  |  | 1/3/B | 700
for the Construction Stage
Safety File
C | Safety File | 1 | item |  |  | 1/3/C | 701
As Built Records
D | As Built Records | 1 | item |  |  | 1/3/D | 702
C1177 |  | Page: 1 / 3 |  | To Collection | 0
Part 1 - Preliminaries
| Description |  |  |  | Amount | BQIndex | InputNo
| Series 100 - Preliminaries |  |  |  | 0
C1177 |  | Page: 1 / 4 |  | To Summary | 0

## PartP2
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 200 Site Clearance
Site Clearance
A | General site clearance | 0.65 | ha |  |  | 2/1/A | 108
B | Partial demolition of existing stone wall 1.45m long | 1 | item |  |  | 2/1/B | 662
0.45m wide x 1.00m high, as shown on drawings
C1177-OCSC-Z2-XX-DR-C-2401
Take Up or Down and Set Aside for Reuse or
Remove to Store or Tip off Site
C | Take up or down and set aside for reuse public lighting | 1 | nr |  |  | 2/1/C | 498
head
D | Take up or down and set aside for reuse gate | 1 | nr |  |  | 2/1/D | 499
C1177 |  | Page: 2 / 1 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 300 Fencing and Environmental Noise
Barriers
Remove from Store and Re-erect Fencing, Gates
and Stiles
A | Remove from store and re-erect gate 1.45m long x | 1 | nr |  |  | 2/2/A | 566
1.20m high, as shown on drawings C1177-OCSC-Z2-
XX-DR-C-0301
C1177 |  | Page: 2 / 2 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 500 Drainage and Service Ducts
Drains, Sewers, Piped Culverts and Service Ducts
(Excluding Filter Drains, Narrow Filter Drains & Fin
Drains)
A | S0 - S1 Line S1.001 225mm Concrete Pipe laid in | 24 | m |  |  | 2/3/A | 620
trench in accordance with IS EN 13476. Trench,
bedding and geotextile details per drawing C1177-
OCSC-Z2-XX-DR-C-0504 Type S with the back fill
materials to be clause 601 material in the Works
Requirement. Depth to invert exceeding 1m not
exceeding 2m, average depth metres 0 .90m
B | S1 - S2 Line S1.002 225mm Concrete Pipe laid in | 44 | m |  |  | 2/3/B | 621
trench in accordance with IS EN 13476. Trench,
bedding and geotextile details per drawing C1177-
OCSC-Z2-XX-DR-C-0504 Type S with the back fill
materials to be clause 601 material in the Works
Requirement. Depth to invert exceeding 1m not
exceeding 2m, average depth metres 0 .90m
C | S3 - S4 Line S2.001 225mm Concrete Pipe laid in | 17 | m |  |  | 2/3/C | 622
trench in accordance with IS EN 13476. Trench,
bedding and geotextile details per drawing C1177-
OCSC-Z2-XX-DR-C-0504 Type S with the back fill
materials to be clause 601 material in the Works
Requirement. Depth to invert exceeding 1m not
exceeding 2m, average depth metres 0 .42m
D | S4 - S5 Line S2.002 225mm Concrete Pipe laid in | 9 | m |  |  | 2/3/D | 623
trench in accordance with IS EN 13476. Trench,
bedding and geotextile details per drawing C1177-
OCSC-Z2-XX-DR-C-0504 Type S with the back fill
materials to be clause 601 material in the Works
Requirement. Depth to invert exceeding 1m not
exceeding 2m, average depth metres 0 .42m
E | 150mm internal diameter uPVc road gully connection | 58 | m |  |  | 2/3/E | 629
pipe. Trench and bedding details as per CC-SCD-
00521-02 Type Z. Depth to invert exceeding 1 metre
not exceeding 2 metres
F | 1 way internal diameter service ducts ,110mm internal | 10 | m |  |  | 2/3/F | 642
diameter, depths to invert not exceeding 2 metres
average, depth to invert 1 metre in trench under
Trafficked Areas (CC-SCD-00561-02) Type A in side
slopes of cuttings or side slopes of embankments
G | 1 way internal diameter service ducts ,110mm internal | 8 | m |  |  | 2/3/G | 639
diameter, depths to invert not exceeding 2 metres
average, depth to invert 1 metre in trench under Non-
Trafficked Areas (CC-SCD-00562) Type C in side
slopes of cuttings or side slopes of embankments
H | 2 way internal diameter service ducts,110mm internal | 31 | m |  |  | 2/3/H | 640
diameter, depths to invert not exceeding 2 metres
average, depth to invert 1 metre under in trench under
Non-Trafficked Areas CC-SCD-00562) Type C side
slopes of cuttings or side slopes of embankments
C1177 |  | Page: 2 / 3 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Drains, Sewers, Piped Culverts and Service Ducts
(Excluding Filter Drains, Narrow Filter Drains & Fin
Drains) (Cont'd)
A | 1 way internal diameter power supply duct, 110mm | 32 | m |  |  | 2/4/A | 638
internal diameter, depths to invert not exceeding 2
metres average, depth to invert 1 metre in trench under
Non-Trafficked Areas (CC-SCD-00562) Type C in side
slopes of cuttings or side slopes of embankments
Connections
B | Connection, existing storm pipe 225mm internal | 1 | nr |  |  | 2/4/B | 628
diameter to new manhole S5, depth to invert exceeding
1 metre, not exceeding 2 metres
C | Connection, new 225mm internal diameter storm pipe | 1 | nr |  |  | 2/4/C | 645
to existing manhole S0, depth to invert exceeding 1
metre, not exceeding 2 metres
Chambers and Gullies
D | Chamber, Manhole Type CC-SCD-00502, internal size | 5 | nr |  |  | 2/4/D | 626
1350mm x 975mm, depth to invert exceeding 1 metre,
not exceeding 2 metres, in accordance with drawing
C1177-OCSC-Z2-XX-DR-C-0505
E | Precast Concrete Gully - (CC-SCD-00510) Depth not | 8 | nr |  |  | 2/4/E | 625
exceeding 1 metre, D400 cover and grating as per
drawing C1177-OCSC-Z2-XX-DR-C-0505
F | Service Chamber, Type JB2, 820mm x 350mm internal | 2 | nr |  |  | 2/4/F | 637
diameter, depth exceeding 1 metre, but not exceeding 2
metres, D400 Chamber Cover and Frame, in
accordance with the drawing C1177-OCSC-Z2-XX-DR-
C-0515
G | Chamber precast ESB VC1 Chamber with cover and | 1 | nr |  |  | 2/4/G | 721
frame (EJ X Zebra VC1) or similar approved , depths to
invert exceeding 1 metre but not exceeding 2 metres, in
accordance with the drawing C1177-OCSC-Z2-XX-DR-
C-0515
H | Service Chamber, Type JB4, 915mm x 445mm internal | 3 | nr |  |  | 2/4/H | 636
diameter, depth exceeding 1 metre, but not exceeding 2
metres, D400 Chamber Cover and Frame, in
accordance with the drawing C1177-OCSC-Z2-XX-DR-
C-0514
C1177 |  | Page: 2 / 4 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 600 Earthworks
Excavation
A | Excavation of non-compliant material in cutting and | 370 | m3 |  |  | 2/5/A | 120
other excavations 0 metres to 3 metres in depth. non-
compliant material is classified as Category C (Soils
suitable for disposal to a Non Hazardous Licenced
Landfill) in accordance with Waste Acceptance Criteria
(WAC) set out in Directive 1999/31/EC (The Landfill
Directive) and the Council Decision of 19 December
2002, or such legislation as is current at award of
Contract.
Excavation in Hard Material
B | Extra over excavation for excavation in hard material in | 254 | m3 |  |  | 2/5/B | 128
cutting and other excavation
Disposal of Material
C | Disposal of non-compliant material | 370 | m3 |  |  | 2/5/C | 124
Imported Fill
D | Imported acceptable material Class 6F in fill on sub- | 45 | m3 |  |  | 2/5/D | 131
base material base and capping.
E | Imported topsoil Class 5B | 12 | m3 |  |  | 2/5/E | 605
Compaction of Fill
F | Compaction of acceptable material Class 6F | 45 | m3 |  |  | 2/5/F | 133
Geotextiles
G | Geotextile, Terram T1000 or similar approved | 126 | m2 |  |  | 2/5/G | 648
Topsoiling and Storage of Topsoil
H | Topsoil 150mm deep to surfaces sloping at more | 80 | m2 |  |  | 2/5/H | 607
than10 degrees to the horizontal
Grass Seeding and Turfing
I | Grass seeding to surfaces sloping at 10º or less to the | 80 | m2 |  |  | 2/5/I | 609
horizontal
Landscaping
J | Flowering Shrub Mix, Hypericum 'Hidcote', plant size | 4 | nr |  |  | 2/5/J | 706
0.30-0.40m
K | Flowering Shrub Mix, Perovskia atriplicifolia 'Blue | 4 | nr |  |  | 2/5/K | 707
Spire', plant size 0.30-0.40m
C1177 |  | Page: 2 / 5 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 700 Pavements
Sub-base
A | Sub-base material 150mm thick in carriageway, hard | 19 | m3 |  |  | 2/6/A | 144
shoulder and hard strip in accordance with UGM Ac
Pavement
B | AC32 DENSE BIN 40/60 DES TO IS EN 13108-1 dense | 126 | m2 |  |  | 2/6/B | 357
base course 100mm thick (Full Road Construction) in
accordance with Work Requirements CC-SPW-00900
CL 3.1.1
C | AC32 DENSE BIN 40/60 DES TO IS EN 13108-1 dense | 392 | m2 |  |  | 2/6/C | 490
base course 100mm thick (Road Reinstatement) in
accordance with Work Requirements CC-SPW-00900
CL 3.1.1
D | AC20 DENSE BIN 40/60 DES binder course 60mm | 517 | m2 |  |  | 2/6/D | 359
thick, in accordance with Work Requirements TII-CC-
SPW-00900 CL 3.1.4
E | AC20 DENSE BIN 40/60 DES binder course 60- | 28 | m2 |  |  | 2/6/E | 590
135mm thick, (Speed Cushion) in accordance with
Work Requirements TII-CC-SPW-00900 CL 3.1.4
F | AC20 DENSE BIN 70/100 DES binder course 60- | 60 | m2 |  |  | 2/6/F | 708
135mm thick (Raised Pedestrian Crossing), in
accordance with Work Requirements TII-CC-SPW-
00900 CL 3.1.4
G | PMSMA SURF 10 65/105-60 DES surface course | 985 | m2 |  |  | 2/6/G | 146
45mm thick in carriageway, hard shoulder and hard
strip in accordance with Works Requirements TII-CC-
SPW-00900 CL. 5.1.1
H | PMSMA SURF 14 65/105-60 DES surface course | 95 | m2 |  |  | 2/6/H | 711
35mm thick in carriageway, hard shoulder and hard
strip in accordance with Works Requirements TII-CC-
SPW-00900 CL. 5.1.4
Regulating Course
I | AC20 DENSE BIN 40/60 DES TO IS EN regulating | 66 | t |  |  | 2/6/I | 356
course 25mm-40mm thick in carriageway, hard
shoulder and hard strip
Bond Coat
J | Tack Coat | 1640 | m2 |  |  | 2/6/J | 150
Cold Milling
K | Cold milling (Planing) of existing carriageway surface to | 1080 | m2 |  |  | 2/6/K | 521
a depth exceeding 50mm but not exceeding 100mm
C1177 |  | Page: 2 / 6 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 1100 Kerbs, Footways and Paved Areas
Kerbs, Channels, Edgings, Combined Drainage and
Kerb Blocks and Linear Drainage Channel Systems
A | Insitu concrete kerb 125mm upstand laid straight or | 355 | m |  |  | 2/7/A | 266
curved exceeding 12 meter radius in accordance with
Works Requirements CC-SCD-01102
B | Insitu concrete kerb 125mm upstand curved not | 40 | m |  |  | 2/7/B | 265
exceeding 12 meter radius in accordance with Works
Requirements CC-SCD-01102
C | Insitu concrete kerb 25mm upstand laid straight or | 98 | m |  |  | 2/7/C | 267
curved exceeding 12 meter radius in accordance with
Works Requirements CC-SCD-01102
D | Insitu concrete transition kerb laid straight or curved | 23 | m |  |  | 2/7/D | 263
exceeding 12 meter radius in accordance with Works
Requirements CC-SCD-01102
E | Insitu concrete kerb 0-6mm upstand laid straight or | 19 | m |  |  | 2/7/E | 516
curved exceeding 12 meter radius in accordance with
Works Requirements CC-SCD-01102
F | Precast concrete edging kerb 100mm upstand laid | 16 | m |  |  | 2/7/F | 630
straight or curved exceeding 12 meters radius with work
Requiremnet CC-SCD-01101
Additional Concrete for Kerbs, Channels, Edgings,
Combined Drainage and Kerb Blocks and Linear
Drainage Channel Systems
G | Additional ST4 concrete to kerbs | 33 | m3 |  |  | 2/7/G | 269
Footways and Paved Areas
H | Footway 1 (Concrete Footway) as per CC-SCD-01105, | 560 | m2 |  |  | 2/7/H | 274
200mm thick, comprising 100mm concrete to TII-CC-
SPW-0100 CL 1106 and CC-SCD-01105, on 100mm
thick Sub-base to UGM Ac in accordance with TII-CC-
00800 CL 2.1.2, surface sloping at 10 degrees or less
to the horizontal with brush finish
I | Footway 2 (Concrete Footway at Vehicular Access) as | 195 | m2 |  |  | 2/7/I | 275
per CC-SCD-01104, 300mm thick, comprising 150mm
concrete to TII-CC-SPW-0100 CL 1106 with A393 steel
mesh and CC-SCD-01104, on 150mm thick Sub-base
to UGM Ac in accordance with TII-CC-00800 CL 2.1.2,
surface sloping at 10 degrees or less to the horizontal
with brush finish
J | Footway 3 (Concrete Footway at junction) as per CC- | 195 | m2 |  |  | 2/7/J | 716
SCD-01104, 285mm thick, comprising 150mm concrete
to TII-CC-SPW-0100 CL 1106 with A393 steel mesh
and CC-SCD-01104, on 60-135mm thick binder course
in accordance with Work Requirements TII-CC-SPW-
00900 CL 3.1.4
C1177 |  | Page: 2 / 7 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Footways and Paved Areas (Cont'd)
A | Tactile paving, 180mm thick, comprising 400mm x | 9 | m2 |  |  | 2/8/A | 276
400mm x 50mm thick tactile paving slab to BS 7263-
1:2001, buff in colour, on 30mm laying course
30N/MM2 to Table 3 of BS 7533-12:2006, jointing
material 40N/MM2 jointing material in accordance with
table 2 of BS EN 7533-12:2006, on 100mm thick
C32/40 concrete to table 2 of BS 7533-12:2006
B | Tactile paving, 180mm thick, comprising 400mm x | 20 | m2 |  |  | 2/8/B | 455
400mm x 50mm thick tactile paving slab to BS 7263-
1:2001, red in colour, on 30mm laying course 30N/MM2
to Table 3 of BS 7533-12:2006, jointing material
40N/MM2 jointing material in accordance with table 2
of BS EN 7533-12:2006, on 100mm thick C32/40
concrete to table 2 of BS 7533-12:2006
Street Furniture
C | Bench 1.2m long, 450mm high x 390mm wide, frame | 2 | nr |  |  | 2/8/C | 584
made of 30mm x 50mm steel tubing with zinc primer
treatment, 3 x 36mm French oak seating slats fixed with
tamper-proof bolts, treated with water based stain
preserver, mounted to surface with chemical anchor
bolts and base plates
D | Planter 1250mm x 1250mm 1150mm material timber | 4 | nr |  |  | 2/8/D | 583
oak with liner fixed with tamper-proof bolts, treated with
water based stain preserver, mounted to surface with
chemical anchor bolts and base plates
C1177 |  | Page: 2 / 8 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 1200 Traffic Signs and Road Markings
Traffic Signs
A | Permanent retroreflective traffic sign as RUS027 size | 2 | nr |  |  | 2/9/A | 306
750mm of Traffic Signs Manual and 1200 series
drawings on one 2.5 m x 76.1mm high galvanised
tubular steel pole
B | Permanent retroreflective traffic sign as W140A size | 3 | nr |  |  | 2/9/B | 307
600mm of Traffic Signs Manual and 1200 series
drawings on one 2.5 m x 76.1mm high galvanised
tubular steel pole
C | Permanent retroreflective traffic sign as W130 and | 2 | nr |  |  | 2/9/C | 308
P080 size 12220 X 900mm of Traffic Signs Manual and
1200 series drawings on one 4.67m x 76.1mm high
galvanised tubular steel pole
D | Permanent retroreflective traffic sign as W141, S102 | 3 | nr |  |  | 2/9/D | 309
and RUS045 size 1850mm X 900mm of Traffic Signs
Manual and 1200 series drawings on two 5.50m x
114.3mm high galvanised tubular steel pole
E | Permanent retroreflective traffic sign as W141, S102 | 1 | nr |  |  | 2/9/E | 715
and RUS045 size 1850mm X 900mm of Traffic Signs
Manual and 1200 series drawings on one 5.50m x
139.7mm high galvanised tubular steel pole
F | New Midustar ( or similar approved) belisha beacon, to | 2 | nr |  |  | 2/9/F | 719
be fitted to existing pole, in accordance with drawings
C1177-OCSC-Z2-XX-DR-C-1206
Road Markings
G | Ancillary zig zag crossing line 100mm with 150mm | 175 | m |  |  | 2/9/G | 318
spacing at 2m lengths, in white thermoplastic screed
with applied glass beads 100mm as per RPC 002 of
Traffic Signs Manual and 1200 series drawings
H | Continuous centre Stop Line Marking 100mm in white | 30 | m |  |  | 2/9/H | 314
thermoplastic screed with applied solid glass beads
100mm as per RRM 017 of Traffic Signs Manual and
1200 series drawings
I | Continuous centre Line Marking 100mm in white | 480 | m |  |  | 2/9/I | 316
thermoplastic screed to road with applied solid glass
beads 100mm as per RRM 001 of Traffic Signs Manual
and 1200 series drawings
J | Road Line 100mm in white thermoplastic screed with | 35 | m |  |  | 2/9/J | 570
applied solid glass beads 100mm as per RRM011 of
Traffic Signs Manual and 1200 Series drawings
K | Road Line 100mm in white thermoplastic screed with | 240 | m |  |  | 2/9/K | 571
applied solid glass beads 100mm as per RRM013 of
Traffic Signs Manual and 1200 Series drawings
L | Intermittent edge of carriageway line 100mm in yellow | 830 | m |  |  | 2/9/L | 317
thermplastic screed with 2m gaps with applied solid
beads as per RRM 025 of Traffic Signs Manual and
1200 series drawings
C1177 |  | Page: 2 / 9 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Road Markings (Cont'd)
A | Centre Warning Broken Line 100mm in white | 10 | m |  |  | 2/10/A | 462
thermoplastic screed with applied solid glass beads
100mm as per RRM002D of Traffic Signs Manual and
1200 Series drawings
B | Removal of symbols in yellow thermoplastic screed with | 20 | nr |  |  | 2/10/B | 718
applied solid beads " BAR Marking " line .6m x as per
M 113 of Traffic Signs Manual and 1200 series
drawings
C | Zebra Pedestrian Crossing in white thermoplastic | 2 | nr |  |  | 2/10/C | 319
screed as per RPC001 of Traffic signs Manual and
1200 series drawings
D | Symbols in white thermoplastic screed with applied | 12 | nr |  |  | 2/10/D | 579
solid beads "STOP " wording 1.2m x 0.75m as per M
114 of Traffic Signs Manual and 1200 series drawings
E | Symbols in white thermoplastic screed with applied | 12 | nr |  |  | 2/10/E | 509
solid beads "SLOW " wording 1.2m x 0.75m as per M
106 of Traffic Signs Manual and 1200 series drawings
F | Symbols in white thermoplastic screed with applied | 5 | nr |  |  | 2/10/F | 322
solid beads "AHEAD " wording 1.2m x 0.75m of Traffic
Signs Manual and 1200 series drawings
G | Symbols in white thermoplastic screed with applied | 7 | nr |  |  | 2/10/G | 567
solid beads "CAUTION " wording 1.2m x 0.75m of
Traffic Signs Manual and 1200 series drawings
H | Symbols in white thermoplastic screed with applied | 6 | nr |  |  | 2/10/H | 323
solid beads " School " wording 1.2m x 0.75m as per of
Traffic Signs Manual and 1200 series drawings
I | Symbols in white thermoplastic screed with applied | 22 | nr |  |  | 2/10/I | 650
solid beads "Scoil/School " wording 1.2m x 0.75m as
per of Traffic Signs Manual and 1200 series drawings
with red antiskid area colour RAL3027 in accordance
with drawing C1177-OCSC-Z2-XX-DR-C-1201 and
C1177-OCSC-Z2-XX-DR-C-1203
J | Symbols in white thermoplastic screed with applied | 12 | nr |  |  | 2/10/J | 464
solid beads ''Traffic Calming Triangle'' as per M 112 of
Traffic Signs Manual and 1200 series drawings
K | Symbols in white thermoplastic screed with applied | 1 | nr |  |  | 2/10/K | 465
solid beads, Lane Indication Arrow Left as per RRM 005
of Traffic Signs Manual and 1200 series drawing
L | Symbols in white thermoplastic screed with applied | 1 | nr |  |  | 2/10/L | 466
solid beads, Lane Indication Arrow Left as per RRM 004
of Traffic Signs Manual and 1200 series drawing
M | Symbols in white thermoplastic screed with applied | 3 | nr |  |  | 2/10/M | 572
solid beads ‘Disabled person's parking bay Symbol’ as
per RRM 015 of Traffic Signs Manual and 1200 Series
drawings
N | Symbols in red Thermoplastic screed, 2.0m Diameter | 15 | nr |  |  | 2/10/N | 574
Circle as per RAL3027 of Traffic sign Manual, TII-SPW-
01200 and 1200 series drawing
C1177 |  | Page: 2 / 10 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Road Markings (Cont'd)
A | Symbols in yellow Thermoplastic screed, 1.5m | 15 | nr |  |  | 2/11/A | 573
Diameter Circle as per RAL1023 of Traffic sign Manual,
TII-SPW- 01200 and 1200 series drawing
B | Symbols in orange Thermoplastic screed, 1.0m | 15 | nr |  |  | 2/11/B | 575
Diameter Circle as per RAL1034 of Traffic sign Manual,
TII-SPW-01200 and 1200 series drawing
C | Symbols in green Thermoplastic screed, 1.0m Diameter | 15 | nr |  |  | 2/11/C | 717
Circle as per RAL6017 of Traffic sign Manual, TII-SPW-
01200 and 1200 series drawing
Permanent Bollards
D | IPL X Last Pencil Bollards with Bolt Down Flange Base, | 56 | nr |  |  | 2/11/D | 569
or similar approved yellow in colour RAL1018, in
accordance with drawing C1177-OCSC-Z2-XX-DR-C-
1205
C1177 |  | Page: 2 / 11 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 1300 Road Lighting Columns and Brackets
Road Lighting Columns, Brackets and Wall
Mountings
A | Luminaire Type A, with Lighting AXIA 3.3 5280 64 | 2 | nr |  |  | 2/12/A | 586
OSLON Square Giant @ 300mA to new road lighting
column 6m high with 0.4m outreach, to includ belish
beacon IPL Midustar or similar approved, in accordance
with CC-SCD-05138 standard detail and drawing
C1177-OCSC-Z2-XX-DR-C-1302
B | New 9m mid hinged flange mounted octagonal lighting | 1 | nr |  |  | 2/12/B | 704
column galvanised pole
Remove from Store and Re-erect Road Lighting
Columns, Brackets and Wall Mountings
C | Remove from store and re-erection public lighting head | 1 | nr |  |  | 2/12/C | 577
C1177 |  | Page: 2 / 12 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 1400 Electrical Work for Road Lighting
Traffic Signs
Cabling
A | Cable, public lighting cable, 6SQ 3 core PVC/SWA/PVC | 112 | m |  |  | 2/13/A | 633
in carriageways, footways and bridge decks and paved
areas
Cable Joints and Terminations
B | Cable Joint, 6SQ, 3 core PVC/SWA/PVC | 3 | nr |  |  | 2/13/B | 652
C | Cable terminations, 6SQ , 3 core PVC/SWA/PVC | 2 | nr |  |  | 2/13/C | 653
Feeder Pillars
D | Micro-Pillar to 420mm to fit VC1 chamber Piltown Eng | 1 | nr |  |  | 2/13/D | 635
UP3-1P lift out or similar approved, in accordance with
drawings C1177-OCSC-Z2-XX-DR-C-0515
Earth Electrodes
E | Earth Electrodes | 1 | nr |  |  | 2/13/E | 655
C1177 |  | Page: 2 / 13 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 1700 Structural Concrete
In Situ Concrete
A | In situ concrete, C25/30 for wall foundation | 1 | m3 |  |  | 2/14/A | 595
B | In situ concrete Blinding concrete type ST1, 75mm or | 1 | m3 |  |  | 2/14/B | 596
less in thickness
Surface Finish of Concrete - Formwork
C | Formwork Vertical more than 300mm wide F2 | 2 | m2 |  |  | 2/14/C | 598
Steel Reinforcement for Structures
D | Mesh reinforcing element A393 | 2 | m2 |  |  | 2/14/D | 600
C1177 |  | Page: 2 / 14 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 2400 Brickwork, Blockwork and Stonework
Blockwork and Stonework
A | Blockwork, individual blocks, solid concrete rising wall | 1 | m3 |  |  | 2/15/A | 603
to foundations in class (II) mortar to match exsisting
B | Stonework, stone wall 0.45m wide x 1.00m high, | 1 | m3 |  |  | 2/15/B | 658
stonework in cement mortar designation (iii) to match
exsisting
C | Copings, string courses and the like coping 0.45m wide | 2 | m |  |  | 2/15/C | 657
x 0.25m high, stonework in cement mortar designation
(iii) to match exsisting
C1177 |  | Page: 2 / 15 |  | To Collection | 0
Part 2 - Roadworks General
| Description |  |  |  | Amount | BQIndex | InputNo
| Series 200 Site Clearance |  |  |  | 0
| Series 300 Fencing and Environmental Noise Barriers |  |  |  | 0
| Series 500 Drainage and Service Ducts |  |  |  | 0
| Series 600 Earthworks |  |  |  | 0
| Series 700 Pavements |  |  |  | 0
| Series 1100 Kerbs, Footways and Paved Areas |  |  |  | 0
| Series 1200 Traffic Signs and Road Markings |  |  |  | 0
| Series 1300 Road Lighting Columns and Brackets |  |  |  | 0
| Series 1400 Electrical Work for Road Lighting Traffic Signs |  |  |  | 0
| Series 1700 Structural Concrete |  |  |  | 0
| Series 2400 Brickwork, Blockwork and Stonework |  |  |  | 0
C1177 |  | Page: 2 / 16 |  | To Summary | 0

## Summary
Bill | Description |  | Amount | BQIndex | InputNo
1 | Part 1 - Preliminaries |  | 0
2 | Part 2 - Roadworks General |  | 0
C1177 |  | Page: S/1 | 0