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eTenders Procurement Bulletin Template


Project/Competition:  Energy Upgrade Works at Áras an Chontae, Castlebar and Westport Leisure Park, Westport.
Contract Notice Reference:  8487461
Bulletin Number:  6
Issue Date: 28/07/2026
Clarifications and Responses/Tender Updates:

1. Lighting Clarification

Query: “Each ER (Existing to Remain) luminaire is fitted with a Bluetooth node and remote Bluetooth sensors for occupancy detection.” 

Response: No. Existing lighting to remain (ER) will remain as is. No controls or alterations are required for lighting shown with ER.

Query: “Every ﬁfth luminaire has been allocated as an emergency luminaire, complete with a Bluetooth emergency node and sensor as on this ﬂoor there were not any emergency lighting marked on the drawing.”

Response: Where lighting is noted as (ER), lighting will remain as is in its current state. No changes or alterations are required.  

Query: “Can you please specify the existing light fixture highlighted on the attached plan?” 

Response: Not available. Existing lighting (ER) to remain as is.

2. Westport Roof Clarification
Query: “What radius is the curvature of the roof?”
Response: Allow for a radius of 27m.
Query: “What centres are the Trusses at?”
Response: Allow for 5.8m c/c.
Query: “What centres are the purlins above the trusses at?”
Response: Allow for 1.4m c/c.
Query: “What colour is the soffit of the new aluminium perforated deck?”
Response: No colour has been specified at this time.
3. Clarification Period

The clarification period will close on the 31st of July @ 17:00. Any queries passed this deadline will not be considered.
Important Reminder
All communications relating to this procurement competition must be submitted through the eTenders messaging facility. Information provided outside the official procurement process shall not be considered.

Prepared by: Joe Browne
Organisation: Mayo County Council
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