# eTenders Procurement Bulletin Template

Project/Competition:  Energy Upgrade Works at Áras an Chontae, Castlebar and Westport Leisure Park, Westport.
Contract Notice Reference:  8487461
Bulletin Number:  6
Issue Date: 28/07/2026

## Clarifications and Responses/Tender Updates:

1. Lighting Clarification

Query: “Each ER (Existing to Remain) luminaire is fitted with a Bluetooth node and remote Bluetooth sensors for occupancy detection.”

Response: No. Existing lighting to remain (ER) will remain as is. No controls or alterations are required for lighting shown with ER.

Query: “Every ﬁfth luminaire has been allocated as an emergency luminaire, complete with a Bluetooth emergency node and sensor as on this ﬂoor there were not any emergency lighting marked on the drawing.”

Response: Where lighting is noted as (ER), lighting will remain as is in its current state. No changes or alterations are required.

Query: “Can you please specify the existing light fixture highlighted on the attached plan?”

Response: Not available. Existing lighting (ER) to remain as is.

2. Westport Roof Clarification

Query: “What radius is the curvature of the roof?”

Response: Allow for a radius of 27m.

Query: “What centres are the Trusses at?”

Response: Allow for 5.8m c/c.

Query: “What centres are the purlins above the trusses at?”

Response: Allow for 1.4m c/c.

Query: “What colour is the soffit of the new aluminium perforated deck?”

Response: No colour has been specified at this time.

- Clarification Period

The clarification period will close on the 31st of July @ 17:00. Any queries passed this deadline will not be considered.

## Important Reminder

All communications relating to this procurement competition must be submitted through the eTenders messaging facility. Information provided outside the official procurement process shall not be considered.

Prepared by: Joe Browne

Organisation: Mayo County Council