Vol A :Works Requirements Description,Term Maintenance Contract DkIT 2026.

Building Contract.

The Dundalk Institute of Technology is a third level, non-residential educational establishment, which in Academic Year 2025/2026 had approximately 4000 full-time students and 1500 part-time students.  Staff numbers are approximately 500 . There is a business incubation centre on site that leases units to private companies.  Student numbers are expected to increase as the Institute continues to develop and expand.

There are 9 Building in total, built between 1972 and 2022 and they occupy an area of approx. 70,000m2.The Institute is situated on a total footprint of 75 Acres with 1300 car parking spaces. One of the 9 building is located approx. 1.2km away on a site beside the inner relief road.The buildings host a wide range of activities including science laboratories, research laboratories, engineering workshops, classrooms, computer labs, server rooms, restaurant facilities ,multi media labs, sports facilities including a swimming pool ,theatres ,recoding studios and offices.

Term maintenance and Refurbishment Contracts may be used to address urgent maintenance requirements or where certain types of planned maintenance and refurbishment are envisaged, in a way that is cost effective provides value for money and does not involve a new procurement process each time unscheduled or certain types of planned maintenance and refurbishment works have to be carried out. Also, the type of planned maintenance and refurbishment work that this contract may be used for are those where the work cannot be accurately defined in advance and for which one of the other fixed price lump sum contracts is not suitable.

In DkIT the works that typically would fall under the term maintenance are response maintenance, emergency maintenance and repetitive/intermittent maintenance. Also included in this work is fault diagnosis. This is not an exhaustive list.The works requirements include an ability for the contractor to respond to task orders within 4 hours.

The  disiplines that this  term maintenance contract will cover are general Building Works. The works description is to cover all general building works that require a building contractor, including but not limited to the  tasks of

- Small concreting works,eg manhole covers,footpaths,sign posts

- Block laying , Carpentry, Roofing, Tiling, Floor Levelling, Leak repairs, Window and door installation, guttering, macadam,Plastering, Steel Fixing, Demolition, Barrier Installation,Sweeping, Excavation,Material Carting.