## BoQ Pricing Schedule
CUMH CRC POD Medical Air Plant Replacement - Bill of Quantities
Item | Description | Qty | Unit | Rate (€) | Amount (€) | Notes
1. PRELIMINARIES
1.1 | Site establishment, supervision, programme, RAMS | 1 | Item
1.2 | Site meetings & coordination | 1 | Item
1.3 | Temporary protection & housekeeping | 1 | Item
A Subtotal
2. MEDICAL AIR PLANT
2.1 | Supply triplex oil-free medical air plant | 1 | Item
2.2 | Delivery, offloading & positioning | 1 | Item
2.3 | Ancillary equipment, controls & accessories | 1 | Item
B Subtotal
3. PIPEWORK INSTALLATION
3.1 | Degreased copper pipework | 1 | Item
3.2 | Valves, fittings & supports | 1 | Item
3.3 | Identification & labelling | 1 | Item
C Subtotal
4. REMOVAL OF EXISTING PLANT
4.1 | Isolation & strip-out | 1 | Item
4.2 | Removal & licensed disposal | 1 | Item
D Subtotal
5. INSTALLATION
5.1 | Installation of plant | 1 | Item
5.2 | Mechanical connections & modifications | 1 | Item
5.3 | Lifting equipment & temporary works | 1 | Item
E Subtotal
6. TESTING & COMMISSIONING
6.1 | Pressure testing | 1 | Item
6.2 | Commissioning to HTM 02-01 | 1 | Item
6.3 | Performance verification & witness testing | 1 | Item
F Subtotal
7. HANDOVER
7.1 | Training | 1 | Item
7.2 | O&M Manuals | 1 | Item
7.3 | As-installed drawings & certification | 1 | Item
G Subtotal
8. PROVISIONAL SUMS
8.1 | Provisional Sum (if instructed) | 1 | PS
H Subtotal
9. SCHEDULE OF RATES
9.1 | Skilled labour (€/hr) |  | Hr
9.2 | Apprentice labour (€/hr) |  | Hr
9.3 | Project Manager (€/hr) |  | Hr
9.4 | Pipefitter (€/hr) |  | Hr
I Subtotal
Tender Sum Excl. VAT
|  |  |  | VAT (%) | 13.5
Tender Sum Incl. VAT

## Tender Return
Tenderer
Address
Contact
Email
Plant Manufacturer
Model Offered
Programme (Weeks)
Lead Time
Warranty
Qualifications / Clarifications