REQUEST FOR TENDERS (RFT)

CUMH Med Air Plant Replacement Works
HSE Capital & Estates – South Region

Table of Contents

1. Introduction	2

2. PARTICULARS, DEFININTIONS & INSTRUCTIONS	3

3. Scope of requirements	13

4. Minimum Requirements	13

5. EVALUATION CRITERIA AND EVALUATION	15

6. Appendix 1 form of tender	18

7. Award Process	19

FORM OF TENDER	20

SCHEDULE A – SERVICES & FEES	21

SCHEDULE B – PROGRAMME	22

SCHEDULE A – SERVICES & FEES (COE1 FORMAT)	23

# 1. Introduction

The information provided in this Request for Tenders (which together with its accompanying documents is referred to herein as the “Request for Tenders” or ‘RFT’) is offered in good faith for the guidance of Tenderers, but no warranty or representation is given as to the accuracy or completeness of any of it and the Contracting Authority and its advisers shall not be under any liability for any error, misstatement, or omission. This RFT is the proprietary and exclusive property of the Contracting Authority. The content of this document is for information purposes only and may not be used for any purpose save for this process. No part of this document, in whole or in part, may be reproduced, stored, transmitted, or used for design purposes without the prior written permission of the Contracting Authority.

This RFT is a summary of available information and no reliance shall be placed on any information or statements contained herein, and no representation or warranty, express or implied, is or shall be made in relation to the completeness, accuracy or functioning of the information contained in this RFT, nor as to the reasonableness of any assumption made in preparing this information.  Without prejudice to the foregoing, neither the Contracting Authority nor its advisers, consultants, contractors, servants and/or agents shall have any liability or responsibility in relation to the accuracy, adequacy or completeness of such information or any statements made.  For the avoidance of doubt, Tenderers should not assume that any such information or statements shall remain unchanged.

The Contracting Authority is not bound by any anomalies, errors, or omissions in this RFT. Tenderers shall immediately notify the Contracting Authority should they become aware of any ambiguity, discrepancy, error, or omission in the RFT. The Contracting Authority shall, following receipt of such notification, notify all Tenderers of its ruling in respect of any such ambiguity, discrepancy, error, or omission. Such ruling shall be issued in writing and shall form part of the Contract. Nothing in this RFT is, nor shall be relied on as, a promise or representation as to the Contracting Authority’s ultimate decision in relation to the award of any Contract the subject of this competition or as a representation of fact or promise as to the future. None of the information shall constitute the basis of a Contract or part of a Contract between the Contracting Authority and any Tenderer.  The Contracting Authority shall not be obliged to enter into a Contract with any Tenderer. No legal relationship or other obligation shall arise between any Tenderer and the Contracting Authority unless and until the Contract for the services has been formally executed in writing by the Contracting Authority and the successful Tenderer in this competition and any conditions precedent to the effectiveness of such Contract has been fulfilled.

The Contracting Authority reserves the right at any time:

- to change the basis of, or the procedures (including the timetable) relating to, the tender process or to procure the services, or any of them, by alternative means:

- to make any change to the tender documentation.

- to reject any, or all, of the tenders.

- not to invite a Tenderer to proceed further.

- not to furnish a Tenderer with additional information.

- not to otherwise negotiate with a Tenderer in respect of the award of the Contract at any time; or

- to abandon the competition.

The Contracting Authority reserves the right to amend this document, its requirements and any information contained herein at any time by notice, in writing, to Tenderers. Reference to this RFT includes any other information (whether written or oral or in machine-readable form) or opinions made available at any time during the competition by or on behalf of the Contracting Authority, its advisers, contractors, servants, agents, or consultants in connection with this competition or the services which are the subject of this competition.

Irish law is applicable to this document. The Irish courts shall have exclusive jurisdiction in relation to any disputes arising from this document.

All correspondence in relation to the tenders (including, for the avoidance of doubt, the tenders themselves), and the Contract, shall be in the English language. Delivery of a tender in response to this RFT will constitute acceptance by the person submitting such tender of the terms set out in this RFT, as same may be amended in accordance with its terms.

Data Protection Notice

In this clause  “Data Protection Laws” means all applicable national and EU data protection laws, regulations and guidelines including but not limited to Regulation (EU) 2016/679 on the protection of natural persons with regard to the processing of personal data and on the free movement of such data, and repealing  Directive 95/46/EC (the “General Data Protection Regulation”), and any guidelines and codes of practice issued by the Office of the Data Protection Commission or other supervisory authority for data protection in Ireland from time to time.

The Contracting Authority will be a Data Controller (where Data Controller has the meaning given under the Data Protection Laws) in respect of any Personal Data (where Personal Data has the meaning given under the Data Protection Laws) required to be provided by the Tenderer in response to this RFT.

The Tenderer, as Data Controller in respect of any Personal Data provided by it in its Tender, is required to confirm in the statement required under paragraph 2.4 below that all Data Subjects (where Data Subject has the meaning given under the Data Protection Laws) whose Personal Data is provided by the Tenderer have consented to the processing of such Personal Data by the Tenderer, the Contracting Authority, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of the participation of the Tenderer in this Competition or that the Tenderer otherwise has a legal basis for providing such Personal Data to the Contracting Authority for the purposes of its participation in this Competition .

# 2. PARTICULARS, DEFININTIONS & INSTRUCTIONS

|  | Contracting Authority | The HSE Maintenance Department- |
| --- | --- | --- |
|  | Purpose and Scope of RFT | Cork University Maternity Hospital (CUMH) invites tenders for the supply, installation, testing and commissioning of a replacement Medical Air Plant serving the CRC POD Plant Room. The works comprise the replacement of the existing medical air plant with a new triplex oil-free medical air system, together with all associated medical gas pipework, fittings and ancillary equipment. The successful Contractor shall be responsible for the complete installation, removal and disposal of the existing plant, testing, commissioning, provision of all certification and handover documentation, and delivery of a fully operational installation in accordance with HTM 02-01 and IS EN ISO 7396-1. The Contractor shall plan and execute the works to minimise disruption to hospital operations and maintain continuity of medical air supply throughout the project. Tenderers should refer to Section 3 – Scope of Works for the full technical requirements and extent of the works. |
|  | Duration of Contract | The Contract will be established for a short term period until the listed works have been completed. |
|  | Minimum Requirements | Any Tenderer that does not meet the minimum requirements contained in Section 4 will not qualify to have its Tender evaluated against the evaluation criteria set out in Section 5. |
|  | Evaluation Criteria | Tenders that meet the minimum requirements (if any) will be evaluated using the following evaluation criteria: Cost. Quality; 600 marks; 60%; Section 5.1. Cost; 400 marks; 40%; Section 5.2. Total; 1,000 marks; 100%. |
|  | Tender Submission and Anticipated Timeline | No submissions will be possible after the deadline. All submissions are electronic, as such NO paper copies will be accepted or read. The Tender must be submitted through the eTenders system before the deadline (i.e., Tenderers must press the submit button). Tenderers should ensure all attachments have been added before submitting. Tenderers should allow sufficient time to upload document(s). Tenderers are advised that, depending on the size of the documentation, the submission/upload process may take some time. Any technical problems with the eTenders system or questions of the functionality in the eTenders system should be directed to the eTenders helpdesk. Applicants should contact eTenders helpdesk either via email etenders@eu-supply.com or by phone +353 (0)21 243 92 77 during office hours (09:00am – 17:30pm Irish time). |
|  | Validity Period | Quotations shall constitute an irrevocable offer valid for acceptance by the Contracting Authority for a period of 180 days from the date of submission of the Tender (or best and final offer) and the expiry of at least 21 days' written notice to terminate the Tender (which cannot issue prior to the expiration of the 180-day period). |
|  | Format of Tender | The onus is on Tenderers to ensure that their completed tender is submitted on time and in accordance with the requirements of this document. Each Tenderer shall be required to state the company’s registration number as it appears in the Companies Registration Office. Tenderers are asked to ensure that the tender submission is comprehensive and clear. The Contracting Authority reserves the right not to evaluate information provided unless clear and specific reference has been made to the award criterion or sub-criterion to which the information relates. |
|  | Form of Contract | FTS-6-v1.5-07-01-2022 |
|  | Date & Time for Delivery of Marked up Contract | Not applicable – while the Contract will be subject to amendment to reflect the winning proposals, the Contracting Authority expects that the final form of agreement which will be entered into with the successful Tenderer will not differ substantially from the form of Contract appended hereto and Tenderers should submit their bids on that basis. The Contract should not be marked up, nor should it be returned with tenders marked subject to further legal or tax review, as all such reviews should have been carried out in full prior to submitting the tender. |
|  | Mandatory Insurances Levels | If a Tenderer is appointed the levels of insurances detailed below will be required. - Public Liability Insurance with a limit of indemnity of €6.5m per claim and unlimited in the aggregate. - Employers Liability Insurance with a limit of indemnity of €13.0m per claim and unlimited in the aggregate. - Professional Indemnity Insurance with a limit of indemnity of not less than €750,000 per annum and limited to in the aggregate. (From the date of this contract until 5 years after the final defects certificate is issued). |
|  | Conditions precedent to the award of the Contract | - Evidence of compliance with the insurance requirements - Production of tax clearance certificate - Production of sub-contracts / sub-consultancy appointments for review (if applicable) - Contractual commitment from any parent company or other Authority upon whom the Tenderer relied in relation to financial standing and /or technical requirements (if applicable) - Collateral Warranties from sub-contractors / sub-consultants (if applicable) |
|  | Will Contract be subject to RCT? | Yes |

All communications shall be via eTenders.

Tenderers should read these instructions carefully before completing their response. Failure to comply with the requirements for completion and submission may result in the rejection of a tender.

    - Guidelines for Completion

Responses to this RFT should be concise and solutions should be based on the information supplied. The cover page of the tender should contain the name of the organisation responding to the RFT and the name, telephone number, and e-mail address of a designated contact person therein.

In order to assist the Contracting Authority in evaluating tenders, Tenderers are required to provide all of the information requested in the RFT. Evaluation may be based solely on written submissions without any call to interview. However, the Contracting Authority retains the right at its discretion (i) to call all, some only or none of the Tenderers to make a presentation for the purpose of clarifying its or their submissions and (ii) to require, all, some only or none of the Tenderers to facilitate a site visit and / or system audit to provide further clarification in support of their respective tenders.

All information requested in Sections 4 and 5 should be supplied and the relevant section of the RFT should be referenced in response. If subjects have already been covered in earlier explanations, the tenderer should cross-refer to the section containing the appropriate information. If the Tenderer is unable or unwilling to provide the requested information, the section should contain an appropriate explanation. The Contracting Authority will determine if sufficient information is present to make a judgement on the merits of the tender. If insufficient information is provided, the Contracting Authority may, at its discretion, request clarification or reject the tender.

Supplementary information may be provided by the Tenderer in appendices to the main document, but this approach should be kept to a minimum and clear cross references should be used contextualising any information in appendices. The Contracting Authority will not be in a position to consider very detailed documentation.

    - Completeness and Compliance

The Contracting Authority reserves the right, but shall not be obliged, to reject any tenders which it deems not to have fully complied with the requirements set out in this RFT. If a response fails to comply in any respect with the requirements set out in this RFT, the Contracting Authority shall be entitled (but shall not be obliged) to take such steps as it considers appropriate at its discretion including (but not limited to):

- to reject the relevant tender as non-compliant.

- without prejudice to the Contracting Authority’s right to reject the tender.

- to meet with, raise issues and/or seek clarification from the Tenderer in respect of the tender.

- to request the Tenderer to provide the Contracting Authority with information or items which have not been provided or have been provided in an incorrect form.

- to waive a requirement which, in the opinion of the Contracting Authority, is minor or procedural; and/or

- to amend the requirements of this document and invite Tenderers to adjust their tender on the basis of such revised requirement(s).

Tenders should not be qualified in any way but should be submitted in accordance with this RFT. Tenders should not include or be accompanied by any statement that could be construed as rendering the tender equivocal and/or placing it on a different footing from other tenders.

    - Validity Period of tenders

In consideration of the supply of the RFT by to the Tenderer, the Tenderer agrees that the tender shall remain open for acceptance by the Contracting Authority for the period stated in Particular 2.1(g) and may be accepted by the Contracting Authority at any time during such period and no claim will be entertained of any description from any Tenderer on the grounds that a tender is accepted prior to the expiry of that period.

    - Rights of the Contracting Authority

•	The Contracting Authority reserves the right to cancel the Request for Tenders, for any reason without giving any explanation to the Tenderer.

•	The Contracting Authority will not be responsible for or pay for any expenses or losses which may be incurred by any Tenderer in preparation of their tender.

•	The Contracting Authority does not bind itself to accept the lowest or any tender.

•	The Contracting Authority accepts no responsibility for the successful delivery of e-mail or postal service. Aside from with the contact person(s) specified, no other communication may be entered into with any employee of The HSE in relation to this RFT.

•	Written acceptance of this tender by or on behalf of the Contracting Authority shall not constitute a binding contract until either (1) the Contract is executed or (2) where the Contract does not have an execution block, the Contracting Authority issues the final form Contract with a purchase order.

•	Where a panel of Tenderers is established, the Contracting Authority may award activities within a project to more than one member of the panel.

    - Confidentiality

All details of this Request for Tenders and the accompanying documents shall be treated by the Tenderer as confidential. Tenderers shall not release details of the documents other than on a confidential basis to those who have a legitimate need to know or whom they need to consult, for the purpose of preparing their tender. Tenderers shall not at any time release information concerning this competition for publication in the press or on radio, television, screen or any other medium. In the event of a tender not being submitted, or being unsuccessful, the whole of the RFT documents, with associated drawings, shall be returned to the Contracting Authority at the Contracting Authority's request. The Contracting Authority shall have the right to publicise, or otherwise disclose, to any third party, information regarding the competition, the Contract, the idAuthority of Tenderers (including details of their respective members, representatives, advisers, consultants, contractors, servants and/or agents), shortlisted or preferred Tenderers, the tender process or the award of the Contract (including, without limitation, details of the contract price) at any time.

- Unless it is the HSE, the Contracting Authority is subject to the Freedom of Information Act 2014 together with other legislation governing access to information. The provisions of any such legislation will supersede the stated position of the parties. Subject to the following, all documents submitted by a Tenderer will be treated as confidential by the Contracting Authority:

- the requirement on the Contracting Authority to disclose information under any applicable legal requirements, including obligations under Freedom of Information legislation.

- the right of the Contracting Authority, at any time, to publicise, or otherwise disclose, to any third party, information regarding the competition, the contract, the idAuthority of Tenderers (including details of their respective members, representatives, advisers, consultants, contractors, servants and/or agents), shortlisted or preferred Tenderers, the tender process or the award of the contract (including, without limitation, details of the contract price);

- notwithstanding the generality of the foregoing, the right to disclose information to:

- referees as part of the reference verification process; and

- other state/semi-state entities (including other The HSE group entities) for the purpose of disclosing details of the contract performance of the successful tenderer.

Documents will not be returned to the Tenderer.

    - Enquiries

All enquiries in connection with this RFT shall be made via the etender platform in accordance with item (f) of the Particulars. Any clarification or further instructions which may be required to be made as a result of any enquiry will be issued in writing to all Tenderers and must be acknowledged in writing.

    - Health and Safety Requirements

The cost proposal shall include all costs which may be incurred by the successful Tenderer in complying with its obligations pursuant to the Safety, Health, and Welfare at Work Act 2005 and, if relevant, the Safety, Health, and Welfare at Work (Construction) Regulations 2013 and Safety Health & Welfare at Work (General Application) Regulations, including any amendments to the foregoing.

    - Insurances

The Tenderer shall include for the insurances specified in Particular (k) and it shall be a condition of the award of the Contract that the successful Tenderer shall have those insurances in place.

    - Tax clearance

It shall be a condition of the award of the Contract that the successful Tenderer (if the successful Tenderer is a group, each member of the group), produces promptly a Tax Clearance Certificate, or in the case of a non-resident, a statement from the Revenue Commissioners in Ireland confirming suitability on tax grounds.

Tenderers are advised that the Contract to be put in place on foot of this tender may contain conditions to the following effects:

•	The Contracting Authority may withhold payments pursuant to the Contract, if the contractor does not produce a valid Tax Clearance Certificate as defined in Section 1095 of the Taxes Consolidation Act 1997, as amended, or whose Tax Clearance Certificate has expired at the time payment is to be made to it or is due to it.

•	If in the view of the Contracting Authority the Contract or any part thereof is a contract for the supply by the Tenderer of professional services as defined in Section 520 Taxes Consolidation Act 1997, as amended, or in accordance with Revenue guidance, then the Contracting Authority shall be permitted to withhold and deduct 20% Professional Services Withholding Tax from all payments (VAT exclusive) made in respect of such services supplied under the Contract.

If in the view of the Contracting Authority the Contract is a relevant contract as defined in Section 530, Taxes Consolidation Act 1997, as amended, then the Contracting Authority is obliged to register the Contract with Revenue using ROS (Revenue On-line System). The particulars include details of the sub-contractor, the nature of the works/services, location of the works/services, duration of the Contract, an estimate of the Contract value and confirmation that the Contract is not a labour only contract. Once registered, the Contracting Authority notifies the Revenue Commissioners in advance, through ROS, all payments it plans to process under such contracts. Revenue will then advise the Contracting Authority on the rate of RCT to withhold from the payments. It will be one of three rates, 0, 20% or 35%. The rate will depend on the tax compliance position of the sub-contractor.

For all relevant contracts, the Preferred Tenderer should undertake to obtain a tax reference number for all sub-contractors employed on the contract to whom payments of €650 or more are made in a year and to obtain a Tax Clearance Certificate for all sub-contractors employed on the contract to whom payments of €2,600 or more are made in a year.

    - Transfer of Undertakings

Tenderers should consider the applicability or otherwise of the European Communities (Protection of Employees on Transfer of Undertakings) Regulations 2003 and the manner in which they may affect the award of the Contract.

    - Groups of Service Providers

Tenders may be submitted by single entities or by groups of service providers. A group will not be required to convert into a specific legal form in order to submit a tender but may be required to do so prior to award of the Contract. The Contracting Authority reserves the right, amongst other solutions, to require that the Contract be entered into with each member of the group on the basis of joint and several liability or to contract with one member of the group as prime contractor to whom the other members will be sub-contractors. The composition of the group may only be changed with the consent of the Contracting Authority.

    - Resources of other entities

In order to demonstrate the Tenderer’s economic and financial standing, resources and/or technical and/or professional experience and abilities, the Tenderer or a member of a joint venture Tenderer may rely on the resources of other entities, whatever the legal nature of the link between the Tenderer and those other entities (including, for example, but not limited to, reliance on a parent company’s resources).  If the Tenderer is so relying on the resources of such other Authority, it should prove to the Contracting Authority in the Tender that those resources will be available to the Tenderer for the performance of the Contract, for example by delivering an undertaking by those entities to make the necessary resources available to the Tenderer if successful for the performance of the Contract.  If sufficient evidence is not provided the Tenderer or a member of a joint venture Tenderer will be assessed based on its own financial and economic standing and/or resources and/or technical and/or professional experience and abilities. A contractual commitment in the form of a guarantee or in such other form as the Contracting Authority may specify may be required at contract stage in favour of the Contracting Authority from any such supporting Authority.

    - Conflict of Interest

Any conflict of interest or potential conflict of interest involving a Tenderer (including any parent, subsidiary or associated company of the Tenderer or any director, partner, or person in an equivalent position in the Tenderer) should be fully disclosed to the Contracting Authority on submission of the Tenderer's tender. In the event of any conflict or potential conflict of interest, the Contracting Authority shall, in its absolute discretion, decide on the appropriate course of action, which may without limitation, include exclusion of the Tenderer from the competition. Any registerable interest involving the Tenderer or any of its sub-contractors and any of the members of the Board of the Contracting Authority or (where applicable) its subsidiaries or its parent company or other subsidiaries of the parent company, members of the Government, members of the Oireachtas, or employees of the Contracting Authority, its subsidiaries, its parent company or other subsidiaries of the parent company or relatives of those employees should be fully disclosed in the response to this RFT. In the event of such information only coming to their notice after the submission of tender and prior to the award of the Contract, it should be communicated to the Contracting Authority immediately upon it becoming known to the Tenderer. The terms 'registerable interest' and 'relative' shall be interpreted as per Section 2 and Schedule 2 of the Ethics in Public Office Act 1995 (as amended).

    - Changes to Information

A Tenderer may not make any changes to the information in its tender without the prior written consent of the Contracting Authority. Such consent must be sought from the Contracting Authority in writing and the Contracting Authority may decide, at its absolute discretion, whether to accept or reject the change.

    - Amendments, Clarifications and Queries

If the Contracting Authority is of the opinion that a clarification and/or amendment is required to be made to this document, and/or additional information is required to be issued, then the Contracting Authority shall be entitled to make any such clarification and/or amendment and/or issue such additional information, at any time prior to the date for submission of the tender.

Verbal queries or requests for clarification will not be considered by the Contracting Authority. A written response will be sent to enquiries received on or before the final date for receipt of queries noted in the Particulars. The Contracting Authority may at its absolute discretion, but shall not be obliged to, reply to queries received after that time and date. All such queries received, together with replies and clarifications on the points raised, may be circulated to all Tenderers. If a Tenderer believes a query/request and/or its response relates to a confidential or commercially sensitive aspect of its tender, that Tenderer must mark the query/request as “confidential” or “commercially sensitive.” If the Contracting Authority, at its discretion, is satisfied that the query/request and/or its response should be properly regarded as confidential or commercially sensitive, the nature of the query/request and its response shall be kept confidential (subject to any applicable legal requirements). If the Contracting Authority is of the opinion that it would be inappropriate to answer the query/request on a confidential basis, it will notify the Tenderer and require the Tenderer to either withdraw the query or to raise any objection within 3 working days (being a day on which banks are normally open for business in Ireland) of such notification and state the grounds for its objection. If the Tenderer does not withdraw the query/request or raise any objection within the specified period, or the Contracting Authority is of the opinion that, notwithstanding the objection of the Tenderer, the query/request is not confidential or commercially sensitive, the Contracting Authority may issue the query/request and its response to all of the Tenderers.

    - Ambiguities

Tenderers shall immediately notify the Contracting Authority should they become aware of any ambiguity, discrepancy, error, or omission in this RFT and any accompanying documents.  The Contracting Authority shall, upon receipt of such notification, notify all Tenderers of its ruling in respect of any such ambiguity, discrepancy, error, or omission. Such ruling shall be issued in writing, shall form part of the competition documents and may in the Contracting Authority’s sole discretion form part of the Contract to be entered into in respect of the competition.

    - Negotiations and Letter of Intent

Following assessment of the tenders in accordance with the evaluation criteria set out in Section 5, the Contracting Authority reserves the right to enter into discussions with the Tenderer or Tenderers identified as having submitted the most economically advantageous tender (the “Preferred Tenderer”). Discussions may relate to aspects of the Preferred Tenderer’s tender including price. The Contracting Authority reserves the right, if it is not satisfied with the progress or outcome of the discussions, to withdraw Preferred Tenderer status from the Preferred Tenderer and enter into discussions with the next-ranked Tenderer. The Contracting Authority also reserves the right to invite the highest-ranking Tenderer(s) to participate in a best and final offer (BAFO) phase and to provide detailed price proposals during this best and final offer phase.

The Contracting Authority may issue to the Tenderer to whom it intends to award the Contract a preferred bidder letter requiring that Tenderer to submit to the Contracting Authority any or all of the items listed in the Particulars together with any other items that the Contracting Authority deems appropriate.

If the Tenderer to whom such letter of intent is addressed does not submit the documents as required within the time allowed, the Contracting Authority may take such steps as it considers appropriate, including (but not limited to) proceeding to initiate award to the Tenderer who submitted the next most economically advantageous tender, allowing the Tenderer to whom the letter of intent was addressed additional time to provide the documents or proceeding to enter into the Contract with the Tenderer to whom the letter of intent was addressed (even though the documents have not yet been provided).

    - Form of Tender

Each Tenderer should sign and deliver the Form of Tender using the Tenderer’s full correct legal name.

If the party who will enter into the Contract is one or more human or legal persons (such as a partnership, joint venture, or consortium), each of them should sign the Form of Tender.

Where a Tenderer comprises a lead contractor or consultant who will execute the Contract, collateral warranties may be required from any sub-contractor or sub-consultant in the form notified to the Tenderer by the Contracting Authority and entry into a Contract shall be conditional upon the provision of such warranties. The Contracting Authority reserves the right to approve the sub-contract or sub-consultancy appointment to be entered into between the lead contractor or consultant and any such sub-contractor or sub-consultant.

The Contracting Authority's decision as to whether or not a tender has complied with its requirements shall be binding.

    - Limitations on Font Size, Format and Amount of Information

Where applicable to ensure equality of treatment in the assessment of tenders, limits are placed on the size, format, and the amount of information Tenderers may submit in respect of the technical/quality criteria. Additional information submitted by the Tenderer in excess of any stated limit shall not be considered by the Contracting Authority nor shall it be included in the quotation evaluation/ assessment process, e.g. where a maximum of 10 pages are specified the Contracting Authority shall only consider the information presented in pages 1 to 10 inclusive and additional pages shall not be read or assessed.  Similarly, where three examples of projects are requested only the first three projects listed/provided shall be considered as part of the assessment.

A minimum font size of 10-point Arial or equivalent shall be used in submission text. References to an A4 page are to one side of an A4 page (i.e., a double-sided page counts as 2 A4 Pages).  For readability purposes, spreadsheets, drawings, and diagrams only, (e.g., programmes, flow-charts), may be presented on A3 pages. Each A3 page shall count as 2 A4 pages, however the previous restriction on font size shall not apply to A3 pages.

    - Equivalent Products / Approved Alternatives Clause

Where materials, equipment, systems, or products are specified by reference to a particular manufacturer, brand name, model, or catalogue number, such references are intended to establish a standard of quality, performance, and functionality only.

Tenderers may propose alternative products or systems of equivalent or superior standard, provided that such alternatives fully meet or exceed the specified requirements in terms of performance, durability, compatibility, and design intent.

Any proposed alternative must be clearly identified in the tender submission and accompanied by comprehensive supporting documentation, including technical data sheets, performance specifications, certifications, and details of any deviations from the specified item.

The Contracting Authority reserves the right, at its sole discretion, to determine whether a proposed alternative is deemed equivalent and acceptable. No alternative shall be deemed accepted unless formally approved in writing.

# 3. Scope of requirements

CUMH CRC POD Plant Room – Medical Air Plant Replacement

The works comprise the replacement of the existing medical air plant serving the CRC POD Plant Room at Cork University Maternity Hospital.

The Contractor shall provide all labour, supervision, materials, plant, equipment and services necessary for the complete supply, installation, testing and commissioning of a new medical air plant, including all associated pipework, fittings and ancillary equipment required to provide a fully operational installation.

The existing medical air system shall remain operational until the agreed shutdown period. The Contractor shall develop a detailed methodology for the changeover works to minimise disruption to hospital operations and shall coordinate all shutdown activities with the Employer and the Authorised Person (Medical Gases).

The works shall include, but not be limited to, the following:

- Supply of one (1) triplex oil-free medical air plant, equivalent to the Beacon Medaes C-AIR-TZF7-1722 or approved equal.

- Supply and installation of all associated degreased medical gas copper pipework, fittings, valves, supports, brackets and ancillary components necessary for the complete installation.

- Removal from site and environmentally compliant disposal of the existing medical air plant and all redundant equipment associated with the works.

- Installation, positioning and connection of the new medical air plant, including all mechanical pipework connections and ancillary equipment.

- Modification and connection of the existing medical air distribution pipework as required to facilitate the replacement works.

- Provision of all pipework identification, valve labels, flow direction arrows and equipment identification in accordance with HTM 02-01.

- Supply of all temporary materials, consumables and ancillary items necessary to complete the installation.

- Provision of all lifting equipment, access equipment and temporary works required to complete the installation.

- Pressure testing, strength testing, tightness testing, purging and system verification in accordance with HTM 02-01 and ISO 7396-1.

- Full commissioning of the medical air plant, including compressor sequencing, dryer operation, alarm testing, duty/standby operation and verification of all control functions.

- Demonstration of the completed installation to the Employer's representatives and attendance during witness testing where required.

- Provision of all operating and maintenance manuals, commissioning records, test certificates, equipment warranties and as-installed drawings.

The Contractor shall submit detailed Risk Assessments, Method Statements and a programme of works for approval prior to commencing on site. All works shall be carried out by competent personnel experienced in the installation of Medical Gas Pipeline Systems.

The Contractor shall allow for all labour, materials, plant, access equipment, lifting operations, temporary works, consumables, supervision and ancillary items necessary to complete the installation as a fully operational medical air plant, whether specifically described herein or reasonably inferred from the scope of works.

All works shall be carried out in accordance with the latest editions of:

- HTM 02-01 – Medical Gas Pipeline Systems.

- IS EN ISO 7396-1.

- Relevant Irish Health and Safety legislation.

- Manufacturer's installation recommendations.

- All other applicable standards and regulations governing Medical Gas Pipeline Systems.

# 4. Minimum Requirements

Note: Any Tenderer that does not meet the minimum requirements contained in this section will not qualify to have its tender evaluated.

- FINANCIAL STANDING

## The Minimum Requirement is that the Applicant must demonstrate an average annual turnover, in the last 3 years or pro-rata for a company established within the last 3 years of at least:

## •	€400,000.00

## The Contracting Authority reserves the right to request further information to demonstrate the turnover of the Applicant.

## In the event of a Joint Venture / Consortium, the Lead applicant must demonstrate 70% of the required turnover.

- RELEVANT EXPERIENCE

The Tenderer shall submit reference projects that demonstrate that they have successfully delivered two (2) projects of a similar scope, scale and complexity to this project, the scope of which is outlined at Section 3.  All reference projects shall be within the last five (5) years. The format to be used is that of the “Project Reference Data Sheet” set out in Appendix 3 to this document. In the case of a joint venture/consortium, different members may provide the evidence to meet the minimum requirements. If relevant, this shall also apply to subcontractors or other team members on which the Tenderer will rely to provide such evidence.  The Authority that performed the work/services in question must be the Authority that is relied upon by the Tenderer in its answer.

Tenderers should submit a clear and concise proposal in respect of this RFT.

The examples should cover the following with more information in section 5.1

Example 1 - Project Execution in Live Healthcare Environments

Example 2 - Quality Assurance, Compliance & Performance Verification

Tenderers should note that, if the tender passes the minimum requirements, these reference projects are to be evaluated and scored under Section 5.1.1 of this RFT.

- HEALTH & SAFETY

The Tenderer shall provide an up-to-date copy of its Safety Statement (if registered in the Republic of Ireland) or a copy of its Health & Safety Policy document or equivalent (if registered elsewhere).

- DECLARATION OF COMPLIANCE

## The Tenderer shall complete and return the declaration of compliance contained in Appendix 2.

- GARDA VETTING

The successful Tenderer shall ensure that all personnel, including employees, agents, and subcontractors, who are assigned to carry out works under this Contract are subject to and have successfully completed Garda Vetting in accordance with the requirements of the National Vetting Bureau prior to commencing any works on site.

Evidence of completed Garda Vetting shall be provided to the Contracting Authority upon request and in advance of personnel accessing the site.

No individual shall be permitted to commence work or access the site until satisfactory vetting clearance has been confirmed.

# 5. EVALUATION CRITERIA AND EVALUATION

The Contracting Authority will evaluate tenders from those Tenderers that meet any minimum requirements specified in Section 4 against the evaluation criteria contained in this Section 5 in order to ascertain the most economically advantageous tender having regard to quality and price.

Responses will be scored 0-100% for each of the scored elements described in Section 5.2 below, based on the level of detail provided, the criteria set out below and relative to the other Tenders submitted.

| Score | Indicator |
| --- | --- |
| 90-100% | Excellent |
| 70-89% | Above Average |
| 50-69% | Average |
| 30-49% | Below Average |
| 11-29% | A poor response |
| 0-10% | Failed to address the question |

Unless the question sets out a different evaluation methodology, for each question in Section 5.2, the response will be evaluated to establish how specific the response is to the proposed services/supplies/works, the extent to which the response meets the Contracting Authority’s requirements, the level of detail provided and the extent to which the response demonstrates the Tenderer’s understanding of the services/supplies/works.  In addition, if relevant, the response will be evaluated to establish the extent to which the project team members have experience of contracts of a similar nature, complexity, and size of the proposed services/supplies/works.

## 5.1 Relevant Experience (Total [500] marks

Question 1 (2000 marks) - Provide a detailed methodology describing how you propose to undertake these works within a live acute hospital environment. Your submission should include your approach to project planning, stakeholder coordination, medical gas shutdown management, infection prevention measures, site logistics, communication with the Employer, contingency planning and maintaining patient safety throughout the duration of the works.

Question 2 (150 marks) - Provide details of your Quality Assurance and Quality Control processes for the delivery of this project. Your submission should demonstrate how compliance with HTM 02-01, IS EN ISO 7396-1 and other relevant standards will be achieved and verified throughout the works. Include details of inspection and test plans (ITPs), commissioning procedures, performance verification, documentation, certification, management of non-conformances and the measures you will implement to ensure the completed installation is fully compliant at handover.

Relevant Experience & Key Personnel (100 Marks)

Describe your organisation's experience in delivering Medical Gas Pipeline System (MGPS) installations of a similar scale and complexity within live acute healthcare environments.

Your response should include:

Details of up to three comparable projects completed within the last five years.

The scope and value of each project.

Your role as Principal Contractor or Specialist Contractor.

Details of the proposed Project Manager and Site Supervisor, including relevant qualifications and experience.

Details of the personnel responsible for testing and commissioning the MGPS installation.

References from healthcare clients may be included where available.

Programme, Risk Management & Continuity of Service (50 Marks)

Describe how you will programme and manage the works to minimise disruption to hospital operations while maintaining continuity of the medical air supply throughout the project.

Your response should include:

Proposed programme and sequencing of the works.

Shutdown and changeover strategy.

Coordination with the Employer, Authorised Person (Medical Gases) and other stakeholders.

Risk identification and mitigation measures.

Contingency arrangements in the event of equipment failure, programme delays or unforeseen circumstances.

Proposed communication arrangements throughout the project

## 5.1.2	Environmental Total [100] marks

Cork University Maternity Hospital is undertaking the replacement of the existing Medical Air Plant serving the CRC POD Plant Room. Please describe, with reference to a similar project, how your organisation will deliver these works in a sustainable and environmentally responsible manner.

In your response, outline your approach to:

- The safe removal, segregation and environmentally responsible disposal or recycling of the existing medical air plant, pipework and associated materials.

- Minimising waste generation during the installation and maximising the reuse or recycling of packaging, metals, copper pipework and other construction materials.

- Reducing carbon emissions associated with the transportation, delivery, installation and commissioning of plant and equipment.

- Procuring equipment and materials with recognised environmental credentials, energy-efficient operation and sustainable manufacturing where reasonably practicable.

- Minimising noise, dust, emissions and other environmental impacts while carrying out works within a live healthcare environment.

- Measures to reduce energy consumption during commissioning and testing activities, where practicable.

Tenderers should provide evidence of previous project experience, together with measurable outcomes where available (e.g. recycling rates, waste diverted from landfill, carbon reduction initiatives, or environmental accreditations). Responses should also demonstrate compliance with all relevant environmental legislation and best practice

## COST EVALUATION   (400 Marks)

The scoring of the commercial part of the tender is based on the following:

The tender totals from each Tenderer (the Section 5.2.1 total cost) shall be compared with one another and marks will be allocated as follows:

% Score = lowest tender total submitted to the Contracting Authoritytender total offered by the Tenderer  x weighting Marks

# Appendix 1 form of tender

Having examined the RFT and accompanying Appendices we offer to provide the whole of the works for the sum/s outlined in the table below:-

| Description | Total |
| --- | --- |
| The rates and prices specified in Section 5.2 of the RFT (Services and Support | € |

- I/We the undersigned hereby tender for the above Contract in accordance with the tender attached and the RFT (and all Appendices) at the lump sum price quoted above and for the prices specified in the tender forming part of my/our tender response.

- In the event of acceptance of this offer we will accept a Contract in accordance with the terms of this offer and in accordance with the conditions of contract appended as Appendix 5, which we have examined and understand.

- I/We understand that the Contracting Authority reserves the right to discontinue the award procedure.

- I/We warrant that I/we have all the requisite corporate authority to sign this tender.

- In consideration of the issue to us of the RFT, I/we agree that this Tender shall remain open for acceptance for the period stated in Particular 2.1(g) of the RFT, or such extended date as we may agree with the Contracting Authority.

Signed on behalf of the Tenderer………………………………..	Position……………………………………………………………..

Company..……………………………………………………….	Registered Address:……………………………………………….

Dated this ………………… day of……………………20…….

# appendix 2 - declaration of compliance

I / We the undersigned, hereby confirm that we comply with the following legally binding requirements and subsequent amendments (and any equivalent legislation in the country in which the works/supply/services are to be carried out or in which we, the undersigned, are incorporated or have a place of business):

I / We the undersigned hereby confirm that:.

| Description | Check |
| --- | --- |
| we comply with all applicable obligations in the fields of environmental, social and labour law that apply at the place where the works are carried out or the services provided that have been established by European Union law, national law, collective agreements or by international, environmental, social and labour law listed in Schedule 7 of the European Union (Award of Public Authority Contracts) Regulations 2016 |  |

| Description | Check |
| --- | --- |
| none of the exclusion grounds listed in Regulation 57(1) to 57(3) of the European Union (Award of Public Authority Contracts) Regulations 2016, apply. |  |

Signed on behalf of the Tenderer:…………………………….………………..

Position:…………………………………………………….………………………

Company:..………………………………………………………………………….

Registered Address:………………………………………………………………

Dated this ………………… day of……………………20…

# Appendix 3 - project data reference sheet

Max 2 pages per project

| Reference Projects Data Sheet for | (name of Tenderer) |  |  |  |
| --- | --- | --- | --- | --- |
|  | Reference Project 1 (Repeat as necessary) |  |  |  |
| Company involved in the project |  |  |  |  |
| Reference project title |  |  |  |  |
| Year of Completion |  |  |  |  |
| Overall Project Value (incl. VAT) |  |  |  |  |
| Main Duties and Responsibilities of the company |  |  |  |  |
| Other relevant information |  |  |  |  |

# Appendix 4 - Locations

CUH Campus

# Appendix 5 – Contract  information

PW-CF6 Contract Award Information Pack

To be completed by the Successful Tenderer following notification of award. The information provided will be used by Cork University Hospital to prepare the Public Works Contract PW-CF6 and confirm that all pre-contract requirements have been satisfied.

1. Contractor Details

| Legal Name of Contractor |  |
| --- | --- |
| Registered Company Number |  |
| VAT Registration Number |  |
| Registered Office |  |
| Trading Address (if different) |  |
| Telephone |  |
| General Email |  |
| Website |  |

2. Authorised Signatories

| Authorised Signatory 1 |  |
| --- | --- |
| Position |  |
| Email |  |
| Authorised Signatory 2 (if applicable) |  |
| Position |  |
| Execution Method (Seal / Signature) |  |

3. Key Contract Personnel

| Project Director |  |
| --- | --- |
| Project Manager |  |
| Site Manager |  |
| Commercial Manager |  |
| Health & Safety Manager |  |
| Emergency Contact |  |

4. Insurance Details

| Employers Liability (Insurer/Policy/Expiry) |  |
| --- | --- |
| Public Liability (Insurer/Policy/Expiry) |  |
| Professional Indemnity (if applicable) |  |
| Contractors All Risks (if applicable) |  |
| Insurance Broker Contact |  |

5. Tax & Statutory Compliance

| Tax Clearance Access Number (TCAN) |  |
| --- | --- |
| Tax Reference Number |  |
| CRO Number |  |
| PSCS Appointment Accepted (Yes/No) |  |
| Safety Statement Available (Yes/No) |  |

6. Proposed Key Subcontractors

| Mechanical Services |  |
| --- | --- |
| Electrical Services |  |
| Commissioning Specialist |  |
| Other |  |

7. Documents to be Submitted Prior to Contract Execution

☐ Current Tax Clearance confirmation

☐ Insurance certificates

☐ Programme of Works

☐ Construction Stage RAMS

☐ Quality Plan

☐ Environmental Management Plan (where applicable)

☐ Performance Bond (if required by Contract)

☐ Parent Company Guarantee (if applicable)

☐ Health & Safety documentation

☐ Schedule of Key Personnel

☐ Manufacturers' warranties (where available pre-contract)