Section A – Pitch No. 1 Floodlighting Upgrade

The Pricing Schedule shall be fully completed and shall represent the Tenderer's total fixed price for the complete Works. No Prime Cost (PC) Sums, Provisional Sums, budget allowances, contingencies or unpriced items shall be included. The inclusion of such allowances shall render the Tender non-compliant and the Employer reserves the right to exclude the Tender from evaluation.

| Item No. | Description | Pricing (€ Ex VAT) |
| --- | --- | --- |
| 1 | Site establishment and preliminaries | €________ |
| 2 | Removal and disposal of existing floodlights and control gear | €________ |
| 3 | Supply of 24 No. LED floodlights | €________ |
| 4 | Supply of 24 No. LED drivers | €________ |
| 5 | Supply and installation of floodlight mounting hardware | €________ |
| 6 | Supply and installation of 8 No. galvanised equipment pillars | €________ |
| 7 | Supply and installation of 8 No. IP55 distribution boards complete with isolators, MCBs and surge protection | €________ |
| 8 | Cabling, terminations and ancillary materials | €________ |
| 9 | Upgrade of existing switchgear and controls | €________ |
| 10 | Bluetooth mesh-based control system | €________ |
| 11 | Floodlight aiming and commissioning | €________ |
| 12 | Lux testing and verification report | €________ |
| 13 | Safe Electric testing and certification | €________ |
| 14 | O&M Manuals and As-Built Documentation | €________ |
| 15 | Preliminary and General Costs | €________ |
| Total Section A Ex VAT |  | €________ |

Section B – Pitch No. 2 New Floodlighting Installation

| Item No. | Description | Pricing (€ Ex VAT) |
| --- | --- | --- |
| 1 | Site establishment and preliminaries | €________ |
| 2 | Civil works, trenching and reinstatement | €________ |
| 3 | Supply and erection of 8 No. 18m galvanised lighting columns | €________ |
| 4 | Column foundations | €________ |
| 5 | Supply and erection of headframes | €________ |
| 6 | Supply of 24 No. LED floodlights | €________ |
| 7 | Supply of 24 No. LED drivers | €________ |
| 8 | Supply and installation of underground power cabling | €________ |
| 9 | Supply and installation of 8 No. galvanised equipment pillars | €________ |
| 10 | Supply and installation of 8 No. IP55 distribution boards | €________ |
| 11 | New floodlighting control panel | €________ |
| 12 | New ESB approved metering cabinet | €________ |
| 13 | 50m 5C x 35mm² XLPE/SWA/PVC cable | €________ |
| 14 | Bluetooth mesh-based control system | €________ |
| 15 | Floodlight aiming and commissioning | €________ |
| 16 | Lux testing and verification report | €________ |
| 17 | Safe Electric testing and certification | €________ |
| 18 | O&M Manuals and As-Built Documentation | €________ |
| 19 | Preliminary and General Costs | €________ |
| Total Section B Ex VAT |  | €________ |

| Description | Amount |
| --- | --- |
| Total Tender Excluding VAT | €______________ |
| VAT | €______________ |
| Total Tender Including VAT | €_______________ |