## Instructions
DEPAUL IRELAND — M&E MAINTENANCE SERVICES
Pricing Schedule ¦ Republic of Ireland ¦ All prices in Euro (€)
IMPORTANT BEFORE ISSUE: Depaul must complete every yellow ‘Indicative Annual Quantity’ cell on the Lot sheets. The tender documents do not currently contain sufficient asset quantities or a notional evaluation basket. The quantities are used only to compare tenders and are not a guarantee of work or expenditure.
A. Tenderer Details
Legal name of Tenderer
Trading name (if different)
Pricing contact name
Email / telephone
Tender reference
Date of price submission
B. Pricing Rules and Completion Instructions
| 1 | Select Yes or No for each sub-lot on the Summary sheet. Complete only those sub-lots for which you are tendering.
| 2 | Enter numeric rates only in the green Tenderer Input cells. Enter 0.00 where an item is included at no additional charge; do not type ‘included’ or ‘N/A’ in a rate cell.
| 3 | Prices must be all-inclusive, in Euro, exclusive of VAT. State VAT separately for each line. Include delivery, travel, administration, certification, reporting, consumables and ancillary costs unless expressly disclosed.
| 4 | A separate, complete price is required for each sub-lot. Each sub-lot will be evaluated independently.
| 5 | Evaluated Tender Price (exclusive of VAT) = Indicative Annual Quantity × Unit Rate, summed for the relevant sub-lot. Depaul’s stated quantities are for evaluation only and do not guarantee demand or expenditure.
| 6 | Price score for each sub-lot = Lowest Compliant Evaluated Tender Price ÷ Tenderer’s Evaluated Tender Price × 20.
| 7 | Identify every exclusion, assumption, minimum charge, dependency and subcontracted pricing element in the Notes / Assumptions column. Undisclosed charges may not be accepted.
| 8 | Rates must remain fixed for the first 12 months from contract commencement. The tender and prices must remain valid for 100 calendar days from the Tender Deadline.
| 9 | The anticipated contract term is 24 months, with two optional extensions of 12 months each. No value, volume or extension is guaranteed.
| 10 | Where travel is included in another rate, enter 0.00 on the travel line and state ‘Included’ in Notes. Material/equipment mark-up must be entered as a percentage of the supplier’s net invoice cost.
C. Tenderer Pricing Declarations
| Rates fixed for first 12 months |  | Select | Authorised signatory
| Tender/prices valid for 100 calendar days from Tender Deadline |  | Select | Position
| Prices are all-inclusive, Euro and exclusive of VAT |  | Select | Signature
| All exclusions and assumptions are disclosed |  | Select | Date
| I am authorised to submit this Pricing Schedule |  | Select
Note on B17: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Source: Call for Tender M&E — pricing, contract term and tender validity provisions; Tender Response Document — Section 9 Price Submission and Section 11 Evaluation.

## Locations
PROPERTY PORTFOLIO REFERENCE
High-level locations stated in the CFT; exact addresses and asset quantities are not included in this schedule
The CFT states approximately 19 Dublin buildings and 7 regional properties, while the listed site references below identify 15 Dublin services and 6 regional entries (with two Cork services and two Longford houses noted). Depaul should reconcile the site/asset register before issue.
| Region | Site / Service Reference | Tender Document Note | Pricing Use
| Dublin | Back Lane | Listed in CFT | Relevant Dublin sub-lots
| Dublin | Birch Haven Service | Listed in CFT | Relevant Dublin sub-lots
| Dublin | Ceim Aistir | Listed in CFT | Relevant Dublin sub-lots
| Dublin | Cherry House | Listed in CFT | Relevant Dublin sub-lots
| Dublin | NCR / Isolation Unit | Listed in CFT | Relevant Dublin sub-lots
| Dublin | LBS | Listed in CFT | Relevant Dublin sub-lots
| Dublin | Moore Haven | Listed in CFT | Relevant Dublin sub-lots
| Dublin | Mount Brown | Listed in CFT | Relevant Dublin sub-lots
| Dublin | Orchid House | Listed in CFT | Relevant Dublin sub-lots
| Dublin | Peter's Place | Listed in CFT | Relevant Dublin sub-lots
| Dublin | Spire Hostel | Listed in CFT | Relevant Dublin sub-lots
| Dublin | Sundial House | Listed in CFT | Relevant Dublin sub-lots
| Dublin | Suaimhneas | Listed in CFT | Relevant Dublin sub-lots
| Dublin | Teach Rua | Listed in CFT | Relevant Dublin sub-lots
| Dublin | Tus Nua | Listed in CFT | Relevant Dublin sub-lots
| Waterford | Waterford service(s) | No exact address/quantity | Waterford & Wexford sub-lots
| Wexford | Wexford service(s) | No exact address/quantity | Waterford & Wexford sub-lots
| Carlow | Carlow service(s) | No exact address/quantity | Lot 5E and Lot 6
| Cork | 2 separate services | Stated in CFT | Cork sub-lots
| Longford | 2 houses side by side | Stated in CFT | Longford sub-lots
| Mayo | Mayo service(s) | No exact address/quantity | Lot 1B and Lot 6

## Lot 1
LOT 1 — WATER HYGIENE SERVICES
Complete only the sub-lot(s) selected on the Summary sheet. Yellow cells are Depaul inputs; green cells are Tenderer inputs.
Evaluation quantities are indicative only and do not guarantee expenditure. Enter 0.00 where a charge is included elsewhere. Every exclusion, minimum charge and assumption must be stated in Column J.
SUB-LOT 1A — Water tank cleaning, disinfection and water treatment management ¦ Dublin
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM / Statutory | Tank cleaning and disinfection | Complete clean, disinfect, inspect and certify each tank, including associated access points and visible pipework | per tank
PPM / Statutory | Tank condition inspection | Interior, insulation, lid, vents, overflow and associated components; report and risk recommendations | per tank
PPM / Statutory | Water treatment management | Planned annual management, monitoring, records and compliance reporting | per site / year
Testing | Post-disinfection sampling | Sample collection, laboratory testing and certificate/report | per sample
Testing | Legionella sample/test | Collection, accredited analysis and report | per sample
Reactive | Water hygiene specialist labour — standard hours | Qualified specialist labour | per hour
Call-out | Standard call-out | Attendance/call-out charge; labour charged separately only if stated | per visit
Call-out | Emergency call-out | Attendance within 2 hours | per visit
Call-out | Out-of-hours / night uplift | Additional labour uplift or rate outside standard hours | per hour
Call-out | Weekend uplift | Additional labour uplift or rate | per hour
Call-out | Public holiday uplift | Additional labour uplift or rate | per hour
Other | Travel / mileage | Enter zero if included in other rates | per visit
Other | Materials / consumables mark-up | Percentage applied to supplier net invoice cost | %
Other | Retest / return visit | Follow-up sampling, inspection and updated report | per visit
SUB-LOT 1A EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 1B — Water sampling ¦ National: Dublin, Cork, Wexford, Waterford, Longford and Mayo
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
Testing | Sampling visit | Site attendance, sample collection and chain-of-custody administration | per visit
Testing | Microbiological water-quality test | Accredited laboratory analysis and report | per sample
Testing | Legionella analysis | Accredited laboratory analysis and report | per sample
Testing | Chemical water-quality suite | State suite/analytes included in Notes | per sample
Testing | Temperature monitoring | Hot/cold outlet testing and record | per outlet
PPM / Statutory | Legionella monitoring and control programme | Planned monitoring, risk tracking and annual compliance summary | per site / year
Reporting | Compliance report / certificate | Electronic report after visit; enter zero if included | per report
Reactive | Water hygiene specialist labour — standard hours | Qualified specialist labour | per hour
Call-out | Standard call-out | Attendance/call-out charge | per visit
Call-out | Emergency water-contamination call-out | Attendance within 2 hours | per visit
Other | Resampling / retest | Repeat collection, analysis and updated report | per sample
Other | Travel / mileage | Enter zero if included | per visit
Other | Additional laboratory analyte | Specify analyte/rate basis in Notes | per analyte
SUB-LOT 1B EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE

## Lot 2
LOT 2 — BOILER SERVICING AND MAINTENANCE
Complete only the sub-lot(s) selected on the Summary sheet. Yellow cells are Depaul inputs; green cells are Tenderer inputs.
Evaluation quantities are indicative only and do not guarantee expenditure. Enter 0.00 where a charge is included elsewhere. Every exclusion, minimum charge and assumption must be stated in Column J.
SUB-LOT 2A — Boiler servicing and maintenance ¦ Dublin
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM / Statutory | Annual service — gas boiler | Full service, safety inspection, combustion testing and certificate | per boiler
PPM / Statutory | Annual service — oil-fired boiler | Full service, safety inspection, combustion testing and certificate | per boiler
PPM / Statutory | Associated plant inspection | Pumps, controls, expansion vessels, valves and related plant | per plant / site
Testing | Combustion-efficiency test | Test and recorded results; enter zero if included in service | per boiler
Reactive | Qualified boiler/gas engineer — standard hours | Fault diagnosis, repair and minor remedial work | per hour
Reactive | Second operative / assistant | Where required and pre-authorised | per hour
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency breakdown call-out | Attendance within 2 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Parts / materials mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
Other | Return visit / retest | Follow-up inspection and updated certification | per visit
SUB-LOT 2A EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 2B — Boiler servicing and maintenance ¦ Waterford & Wexford
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM / Statutory | Annual service — gas boiler | Full service, safety inspection, combustion testing and certificate | per boiler
PPM / Statutory | Annual service — oil-fired boiler | Full service, safety inspection, combustion testing and certificate | per boiler
PPM / Statutory | Associated plant inspection | Pumps, controls, expansion vessels, valves and related plant | per plant / site
Testing | Combustion-efficiency test | Test and recorded results; enter zero if included in service | per boiler
Reactive | Qualified boiler/gas engineer — standard hours | Fault diagnosis, repair and minor remedial work | per hour
Reactive | Second operative / assistant | Where required and pre-authorised | per hour
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency breakdown call-out | Attendance within 2 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Parts / materials mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
Other | Return visit / retest | Follow-up inspection and updated certification | per visit
SUB-LOT 2B EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 2C — Boiler servicing and maintenance ¦ Cork
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM / Statutory | Annual service — gas boiler | Full service, safety inspection, combustion testing and certificate | per boiler
PPM / Statutory | Annual service — oil-fired boiler | Full service, safety inspection, combustion testing and certificate | per boiler
PPM / Statutory | Associated plant inspection | Pumps, controls, expansion vessels, valves and related plant | per plant / site
Testing | Combustion-efficiency test | Test and recorded results; enter zero if included in service | per boiler
Reactive | Qualified boiler/gas engineer — standard hours | Fault diagnosis, repair and minor remedial work | per hour
Reactive | Second operative / assistant | Where required and pre-authorised | per hour
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency breakdown call-out | Attendance within 2 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Parts / materials mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
Other | Return visit / retest | Follow-up inspection and updated certification | per visit
SUB-LOT 2C EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 2D — Boiler servicing and maintenance ¦ Longford
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM / Statutory | Annual service — gas boiler | Full service, safety inspection, combustion testing and certificate | per boiler
PPM / Statutory | Annual service — oil-fired boiler | Full service, safety inspection, combustion testing and certificate | per boiler
PPM / Statutory | Associated plant inspection | Pumps, controls, expansion vessels, valves and related plant | per plant / site
Testing | Combustion-efficiency test | Test and recorded results; enter zero if included in service | per boiler
Reactive | Qualified boiler/gas engineer — standard hours | Fault diagnosis, repair and minor remedial work | per hour
Reactive | Second operative / assistant | Where required and pre-authorised | per hour
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency breakdown call-out | Attendance within 2 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Parts / materials mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
Other | Return visit / retest | Follow-up inspection and updated certification | per visit
SUB-LOT 2D EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE

## Lot 3
LOT 3 — MECHANICAL MAINTENANCE SERVICES
Complete only the sub-lot(s) selected on the Summary sheet. Yellow cells are Depaul inputs; green cells are Tenderer inputs.
Evaluation quantities are indicative only and do not guarantee expenditure. Enter 0.00 where a charge is included elsewhere. Every exclusion, minimum charge and assumption must be stated in Column J.
SUB-LOT 3A — Mechanical maintenance services ¦ Dublin
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM | Heating-system planned inspection | Inspection of system, pipework, pumps, valves and controls with report | per site / visit
Reactive | Qualified plumber — standard hours | Plumbing repairs, sanitary ware and pipework | per hour
Reactive | Mechanical engineer — standard hours | Mechanical fault diagnosis and repair | per hour
Reactive | Second operative / assistant | Where required and pre-authorised | per hour
Reactive | Leak detection / investigation | Investigation and findings report; state included time | per visit
Reactive | Drainage investigation / unblocking | Standard attendance and unblocking; state exclusions | per visit
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency call-out | Major leak/flooding/loss of heat or hot water; within 2 hours | per visit
Call-out | Urgent call-out | Attendance within 6 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Materials / components mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
Other | Minor works supervision / certification | Where applicable and pre-authorised | per job
SUB-LOT 3A EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 3B — Mechanical maintenance services ¦ Waterford & Wexford
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM | Heating-system planned inspection | Inspection of system, pipework, pumps, valves and controls with report | per site / visit
Reactive | Qualified plumber — standard hours | Plumbing repairs, sanitary ware and pipework | per hour
Reactive | Mechanical engineer — standard hours | Mechanical fault diagnosis and repair | per hour
Reactive | Second operative / assistant | Where required and pre-authorised | per hour
Reactive | Leak detection / investigation | Investigation and findings report; state included time | per visit
Reactive | Drainage investigation / unblocking | Standard attendance and unblocking; state exclusions | per visit
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency call-out | Major leak/flooding/loss of heat or hot water; within 2 hours | per visit
Call-out | Urgent call-out | Attendance within 6 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Materials / components mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
Other | Minor works supervision / certification | Where applicable and pre-authorised | per job
SUB-LOT 3B EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 3C — Mechanical maintenance services ¦ Cork
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM | Heating-system planned inspection | Inspection of system, pipework, pumps, valves and controls with report | per site / visit
Reactive | Qualified plumber — standard hours | Plumbing repairs, sanitary ware and pipework | per hour
Reactive | Mechanical engineer — standard hours | Mechanical fault diagnosis and repair | per hour
Reactive | Second operative / assistant | Where required and pre-authorised | per hour
Reactive | Leak detection / investigation | Investigation and findings report; state included time | per visit
Reactive | Drainage investigation / unblocking | Standard attendance and unblocking; state exclusions | per visit
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency call-out | Major leak/flooding/loss of heat or hot water; within 2 hours | per visit
Call-out | Urgent call-out | Attendance within 6 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Materials / components mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
Other | Minor works supervision / certification | Where applicable and pre-authorised | per job
SUB-LOT 3C EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 3D — Mechanical maintenance services ¦ Longford
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM | Heating-system planned inspection | Inspection of system, pipework, pumps, valves and controls with report | per site / visit
Reactive | Qualified plumber — standard hours | Plumbing repairs, sanitary ware and pipework | per hour
Reactive | Mechanical engineer — standard hours | Mechanical fault diagnosis and repair | per hour
Reactive | Second operative / assistant | Where required and pre-authorised | per hour
Reactive | Leak detection / investigation | Investigation and findings report; state included time | per visit
Reactive | Drainage investigation / unblocking | Standard attendance and unblocking; state exclusions | per visit
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency call-out | Major leak/flooding/loss of heat or hot water; within 2 hours | per visit
Call-out | Urgent call-out | Attendance within 6 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Materials / components mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
Other | Minor works supervision / certification | Where applicable and pre-authorised | per job
SUB-LOT 3D EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE

## Lot 4
LOT 4 — ELECTRICAL SERVICES
Complete only the sub-lot(s) selected on the Summary sheet. Yellow cells are Depaul inputs; green cells are Tenderer inputs.
Evaluation quantities are indicative only and do not guarantee expenditure. Enter 0.00 where a charge is included elsewhere. Every exclusion, minimum charge and assumption must be stated in Column J.
SUB-LOT 4A — Electrical services ¦ Dublin
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
Statutory | EICR/PIR — base inspection and report | Site setup, inspection, electronic report and certification | per site
Statutory | EICR/PIR testing | Testing of boards/circuits, protective devices, earthing and bonding | per circuit
Statutory | Additional distribution board | Inspection/testing beyond base allowance stated in Notes | per board
Testing | Post-remedial retest / certificate | Retest and updated electronic certification | per visit
Reactive | Qualified electrician — standard hours | Fault finding, repairs, lighting/accessories and minor works | per hour
Reactive | Second operative / apprentice | Where required and pre-authorised | per hour
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency electrical call-out | Attendance within 2 hours | per visit
Call-out | Urgent call-out | Attendance within 6 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Materials / components mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
Other | Minor works certification | Completion certificate/report where applicable | per job
SUB-LOT 4A EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 4B — Electrical services ¦ Waterford & Wexford
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
Statutory | EICR/PIR — base inspection and report | Site setup, inspection, electronic report and certification | per site
Statutory | EICR/PIR testing | Testing of boards/circuits, protective devices, earthing and bonding | per circuit
Statutory | Additional distribution board | Inspection/testing beyond base allowance stated in Notes | per board
Testing | Post-remedial retest / certificate | Retest and updated electronic certification | per visit
Reactive | Qualified electrician — standard hours | Fault finding, repairs, lighting/accessories and minor works | per hour
Reactive | Second operative / apprentice | Where required and pre-authorised | per hour
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency electrical call-out | Attendance within 2 hours | per visit
Call-out | Urgent call-out | Attendance within 6 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Materials / components mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
Other | Minor works certification | Completion certificate/report where applicable | per job
SUB-LOT 4B EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 4C — Electrical services ¦ Cork
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
Statutory | EICR/PIR — base inspection and report | Site setup, inspection, electronic report and certification | per site
Statutory | EICR/PIR testing | Testing of boards/circuits, protective devices, earthing and bonding | per circuit
Statutory | Additional distribution board | Inspection/testing beyond base allowance stated in Notes | per board
Testing | Post-remedial retest / certificate | Retest and updated electronic certification | per visit
Reactive | Qualified electrician — standard hours | Fault finding, repairs, lighting/accessories and minor works | per hour
Reactive | Second operative / apprentice | Where required and pre-authorised | per hour
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency electrical call-out | Attendance within 2 hours | per visit
Call-out | Urgent call-out | Attendance within 6 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Materials / components mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
Other | Minor works certification | Completion certificate/report where applicable | per job
SUB-LOT 4C EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 4D — Electrical services ¦ Longford
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
Statutory | EICR/PIR — base inspection and report | Site setup, inspection, electronic report and certification | per site
Statutory | EICR/PIR testing | Testing of boards/circuits, protective devices, earthing and bonding | per circuit
Statutory | Additional distribution board | Inspection/testing beyond base allowance stated in Notes | per board
Testing | Post-remedial retest / certificate | Retest and updated electronic certification | per visit
Reactive | Qualified electrician — standard hours | Fault finding, repairs, lighting/accessories and minor works | per hour
Reactive | Second operative / apprentice | Where required and pre-authorised | per hour
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency electrical call-out | Attendance within 2 hours | per visit
Call-out | Urgent call-out | Attendance within 6 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Materials / components mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
Other | Minor works certification | Completion certificate/report where applicable | per job
SUB-LOT 4D EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE

## Lot 5
LOT 5 — SECURITY SYSTEMS AND LOW-VOLTAGE SERVICES
Complete only the sub-lot(s) selected on the Summary sheet. Yellow cells are Depaul inputs; green cells are Tenderer inputs.
Evaluation quantities are indicative only and do not guarantee expenditure. Enter 0.00 where a charge is included elsewhere. Every exclusion, minimum charge and assumption must be stated in Column J.
SUB-LOT 5A — Security systems and low-voltage services ¦ Dublin
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM | CCTV planned service | Inspection, functional testing, records and report | per system / visit
PPM | Access-control / door-entry planned service | Inspection, functional testing, records and report | per system / visit
PPM | Intruder-alarm planned service | Inspection, functional testing, records and report | per system / visit
Monitoring | Remote monitoring | State service and response inclusions in Notes | per system / year
Reactive | Security systems engineer — standard hours | Fault diagnosis, configuration and repair | per hour
Reactive | Low-voltage technician — standard hours | Cabling, termination and minor installation | per hour
Installation | Low-voltage data/security cable | Supply, install, terminate and test; state cable category | per metre
Installation | IP camera configuration / commissioning | Configuration, integration, testing and handover | per camera
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency call-out | Attendance within 2 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Equipment / materials mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
SUB-LOT 5A EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 5B — Security systems and low-voltage services ¦ Waterford & Wexford
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM | CCTV planned service | Inspection, functional testing, records and report | per system / visit
PPM | Access-control / door-entry planned service | Inspection, functional testing, records and report | per system / visit
PPM | Intruder-alarm planned service | Inspection, functional testing, records and report | per system / visit
Monitoring | Remote monitoring | State service and response inclusions in Notes | per system / year
Reactive | Security systems engineer — standard hours | Fault diagnosis, configuration and repair | per hour
Reactive | Low-voltage technician — standard hours | Cabling, termination and minor installation | per hour
Installation | Low-voltage data/security cable | Supply, install, terminate and test; state cable category | per metre
Installation | IP camera configuration / commissioning | Configuration, integration, testing and handover | per camera
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency call-out | Attendance within 2 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Equipment / materials mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
SUB-LOT 5B EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 5C — Security systems and low-voltage services ¦ Cork
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM | CCTV planned service | Inspection, functional testing, records and report | per system / visit
PPM | Access-control / door-entry planned service | Inspection, functional testing, records and report | per system / visit
PPM | Intruder-alarm planned service | Inspection, functional testing, records and report | per system / visit
Monitoring | Remote monitoring | State service and response inclusions in Notes | per system / year
Reactive | Security systems engineer — standard hours | Fault diagnosis, configuration and repair | per hour
Reactive | Low-voltage technician — standard hours | Cabling, termination and minor installation | per hour
Installation | Low-voltage data/security cable | Supply, install, terminate and test; state cable category | per metre
Installation | IP camera configuration / commissioning | Configuration, integration, testing and handover | per camera
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency call-out | Attendance within 2 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Equipment / materials mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
SUB-LOT 5C EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 5D — Security systems and low-voltage services ¦ Longford
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM | CCTV planned service | Inspection, functional testing, records and report | per system / visit
PPM | Access-control / door-entry planned service | Inspection, functional testing, records and report | per system / visit
PPM | Intruder-alarm planned service | Inspection, functional testing, records and report | per system / visit
Monitoring | Remote monitoring | State service and response inclusions in Notes | per system / year
Reactive | Security systems engineer — standard hours | Fault diagnosis, configuration and repair | per hour
Reactive | Low-voltage technician — standard hours | Cabling, termination and minor installation | per hour
Installation | Low-voltage data/security cable | Supply, install, terminate and test; state cable category | per metre
Installation | IP camera configuration / commissioning | Configuration, integration, testing and handover | per camera
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency call-out | Attendance within 2 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Equipment / materials mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
SUB-LOT 5D EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE
SUB-LOT 5E — Security systems and low-voltage services ¦ Carlow
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
PPM | CCTV planned service | Inspection, functional testing, records and report | per system / visit
PPM | Access-control / door-entry planned service | Inspection, functional testing, records and report | per system / visit
PPM | Intruder-alarm planned service | Inspection, functional testing, records and report | per system / visit
Monitoring | Remote monitoring | State service and response inclusions in Notes | per system / year
Reactive | Security systems engineer — standard hours | Fault diagnosis, configuration and repair | per hour
Reactive | Low-voltage technician — standard hours | Cabling, termination and minor installation | per hour
Installation | Low-voltage data/security cable | Supply, install, terminate and test; state cable category | per metre
Installation | IP camera configuration / commissioning | Configuration, integration, testing and handover | per camera
Call-out | Standard call-out | Attendance charge | per visit
Call-out | Emergency call-out | Attendance within 2 hours | per visit
Call-out | Out-of-hours / night rate | Evening/night labour rate | per hour
Call-out | Weekend rate | Weekend labour rate | per hour
Call-out | Public holiday rate | Public-holiday labour rate | per hour
Other | Equipment / materials mark-up | Percentage applied to supplier net invoice cost | %
Other | Travel / mileage | Enter zero if included | per visit
SUB-LOT 5E EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE

## Lot 6
LOT 6 — PORTABLE APPLIANCE TESTING (PAT)
Complete only the sub-lot(s) selected on the Summary sheet. Yellow cells are Depaul inputs; green cells are Tenderer inputs.
Evaluation quantities are indicative only and do not guarantee expenditure. Enter 0.00 where a charge is included elsewhere. Every exclusion, minimum charge and assumption must be stated in Column J.
SUB-LOT 6 — Portable Appliance Testing (PAT) ¦ Dublin, Cork, Wexford, Waterford, Carlow, Longford and Mayo
Pricing Category | Rate Item | Scope / Pricing Basis | Unit | Indicative Annual Quantity | Unit Rate excl. VAT | Evaluated Line Total excl. VAT | VAT Rate | Evaluated Line Total incl. VAT | Notes / Assumptions / Exclusions
Statutory | PAT — standard appliance | Room-by-room visual inspection, test, asset label and electronic record | per appliance
Statutory | PAT — specialist / high-load appliance | Identify applicable appliance types in Notes | per appliance
Statutory | PAT — extension lead / multiway adaptor | Visual inspection, test, asset label and record | per item
Reporting | Site report and compliance certificate | Electronic asset/test record and certificate; enter zero if included | per site
Reactive | PAT technician — standard hours | Additional authorised attendance/work | per hour
Call-out | Minimum site / attendance charge | State minimum appliance quantity or included time | per visit
Other | Retest after repair | Retest, label and updated electronic record | per appliance
Other | Replacement label / asset record update | Enter zero if included | per appliance
Other | Travel / mileage | Enter zero if included | per visit
Other | Out-of-hours / weekend uplift | Where access requires work outside standard hours | per hour
SUB-LOT 6 EVALUATED TENDER PRICE — EXCL. VAT | [5 empty] | 0 | INCL. VAT | 0
Completion check |  |  |  | DEPAUL QUANTITIES INCOMPLETE

## Summary
PRICING SUMMARY BY SUB-LOT
Each sub-lot is evaluated independently. Prices shown below are calculated from the relevant Lot sheet.
Tenderer: select Yes or No in Column A. A sub-lot marked Yes must have all rates, VAT rates, notes and the corresponding technical response completed. The combined selected total is for administration only and is not an award comparison across different sub-lots.
Apply? | Sub-Lot | Service | Coverage | Evaluated Price excl. VAT | VAT Amount | Evaluated Price incl. VAT | Completion Status | Summary Exclusions / Cross-reference
| 1A | Water tank cleaning, disinfection and water treatment management | Dublin |  |  |  | NOT SELECTED
| 1B | Water sampling | National: Dublin, Cork, Wexford, Waterford, Longford and Mayo |  |  |  | NOT SELECTED
| 2A | Boiler servicing and maintenance | Dublin |  |  |  | NOT SELECTED
| 2B | Boiler servicing and maintenance | Waterford & Wexford |  |  |  | NOT SELECTED
| 2C | Boiler servicing and maintenance | Cork |  |  |  | NOT SELECTED
| 2D | Boiler servicing and maintenance | Longford |  |  |  | NOT SELECTED
| 3A | Mechanical maintenance services | Dublin |  |  |  | NOT SELECTED
| 3B | Mechanical maintenance services | Waterford & Wexford |  |  |  | NOT SELECTED
| 3C | Mechanical maintenance services | Cork |  |  |  | NOT SELECTED
| 3D | Mechanical maintenance services | Longford |  |  |  | NOT SELECTED
| 4A | Electrical services | Dublin |  |  |  | NOT SELECTED
| 4B | Electrical services | Waterford & Wexford |  |  |  | NOT SELECTED
| 4C | Electrical services | Cork |  |  |  | NOT SELECTED
| 4D | Electrical services | Longford |  |  |  | NOT SELECTED
| 5A | Security systems and low-voltage services | Dublin |  |  |  | NOT SELECTED
| 5B | Security systems and low-voltage services | Waterford & Wexford |  |  |  | NOT SELECTED
| 5C | Security systems and low-voltage services | Cork |  |  |  | NOT SELECTED
| 5D | Security systems and low-voltage services | Longford |  |  |  | NOT SELECTED
| 5E | Security systems and low-voltage services | Carlow |  |  |  | NOT SELECTED
| 6 | Portable Appliance Testing (PAT) | Dublin, Cork, Wexford, Waterford, Carlow, Longford and Mayo |  |  |  | NOT SELECTED
COMBINED TOTAL OF SELECTED SUB-LOTS — ADMINISTRATION ONLY |  |  |  | 0 | 0 | 0 | Do not use this combined total to compare different sub-lots
Note on E7: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Price scoring stated in the tender response document: Lowest Compliant Tender Price / Tenderer's Price × 20, calculated independently for each Lot/sub-Lot.