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Requirements & Response Document

	
Request for Tender for the:

	Supply and Delivery of Eddy Covariance compatible Carbon Dioxide Analysers, Eddy Covariance compatible Methane Analyser and Automated Soil Flux Chambers

	Procedure
	Open

	eTenders RFT ID
	8801398

	Issue Date
	06/08/2026

	Closing Date for Queries
	27/08/2026 at 2pm

	Contact for Queries
	Via eTenders messaging facility

	Closing Date / Time for receipt of Completed Questionnaires
	08/09/2026 at 2pm
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	SECTION A: REQUIREMENTS



1. Introduction 
Teagasc is seeking tenders for the design, supply, installation, commissioning and support of an Eddy Covariance (EC) system for continuous measurement of greenhouse gas fluxes at the Teagasc Research Centre.
The proposed system will support long-term agricultural and environmental research programmes, including greenhouse gas monitoring, climate research and ecosystem studies. The equipment will be installed within an existing research infrastructure and should integrate, where appropriate, with existing Teagasc monitoring systems.
The Contracting Authority is seeking a robust, research-grade solution capable of providing reliable long-term operation with minimal maintenance and high-quality scientific data.

2. Summary of Requirements
This competition is for the supply, installation and commissioning of a complete Eddy Covariance system including all instrumentation, mounting hardware, communications equipment, software, training and documentation necessary to provide a fully operational system.
The successful Tenderer shall also provide warranty, commissioning, technical support, user training and after-sales service.

3. General Requirements
The proposed solution should:
· be suitable for continuous unattended outdoor operation under Irish climatic conditions.
· comprise proven, research-grade equipment; 
· provide high reliability with low maintenance requirements; 
· integrate with existing Teagasc monitoring infrastructure where specified; 
· comply with all relevant EU Directives and CE requirements; 
· include all equipment necessary for complete installation and operation; 
· include user training and technical documentation.
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Tenderers shall complete Appendix B in full and provide sufficient supporting information to enable the evaluation panel to assess compliance with each requirement.
Please ensure all cost submissions are kept separate and included in the Excel file entitled:
Appendix 2 – Pricing Schedule.







Key requirements for all equipment

1	Reliable equipment underpinned by proven technology.
2	Low maintenance costs.
3	Minimal calibrations including no need for product specific calibrations.
4	Robust equipment.
5	User-friendly and easy to operate.
6	Good user-friendly system for storing and managing results.
7	Good future-proofing capability i.e., ability to extend functionality by adding other units.
8	Agreed Program for Service and Maintenance
Technical Specification
This is the minimum specification required. All tenderers MUST meet or exceed this minimum specification to progress through the award criteria to cost evaluation. 
Additional functionality should be identified in the comments section to facilitate scoring under the award criteria.
It is acknowledged that each Tender’s product line may differ from these specifications. As such, each seller is free to propose variances from these specifications. Alternative proposals favourable to the Contracting Authority may be suggested. It is required, however, that, whenever a variance from these specifications occurs, the proposed item MUST meet or exceed the specified characteristics or level of performance.

4. Programme Requirements

Contractors are responsible for security of their own equipment, materials, etc. 
Prior to any deliveries, the successful tenderer(s) (and/or relevant sub-contractors, etc.) will be required to meet the representatives from Teagasc to clarify the requirements for Health & Safety, site access, services, etc. to ensure compliance with standard operating procedures, and other regulatory/ statutory requirements as appropriate.

Teagasc working hours are Monday to Friday from 9.00am to 5.00pm (Business Hours). Access to the site outside the Business Hours shall always be arranged through the appointed representative from the Teagasc. The delivery location will be: TEAGASC, Johnstown Castle, Wexford, Ireland, Y35 TC97., Ireland

Note: Working outside Business Hours may be required to comply with work programmes. Where this becomes necessary as a result of changes to the start dates set out above, all reasonable efforts will be made to accommodate same. 



	SECTION B: RESPONSE DOCUMENT



	REF
	PASS/FAIL CRITERIA
	PASS REQUIREMENT

	A1
	Applicant Summary
	Applicants must complete this section. If the Applicant is a grouping, then a separate questionnaire must be completed for each group member.

	A2
	Financial
	Applicants are required to self-declare compliance with the requirements.  

	A3
	Tax Compliance
	

	A4
	Insurance
	

	A5
	Manufacturer Accreditation
	A certificate confirming an accreditation (e.g. accredited partnership) exists between the Instrument source manufacturer and the Tenderer for the proposed solution, confirming the Tenderer’s ability as authorised provider of the solution to the Contracting Authority.

	A6
	Health & Safety
	Confirmation of Industrial Health and Safety Act requirements shall be provided for each item of proposed equipment.

	A7
	Previous Experience / References
	Applicants MUST provide acceptable evidence of having successfully carried out 2 previous contracts of a similar nature and scale. Teagasc reserves the right to contact the contract contacts provided for references.

	


Award Criteria:
	Ref
	Criterion
	Weighting
	Maximum Marks
	Minimum Marks

	B1
	Quality/Technical Merit
	35%
	3,500
	2,100

	
	· General/Functional Technical Requirements
	
	
	

	[bookmark: _Hlk214031168]B2
	Warranty, After sales support Technical Support & Training
	20%
	2,000
	1,200

	
	· Replacement & Spare Parts Availability
· Technical Support/Guaranteed Response Times 
· Warranty & After Sales Service
	
	
	

	B3
	Method Statement
	10%
	1,000
	600

	
	· Lead Time, Delivery & Installation
· Training & Documentation
	
	
	

	B4
	Sustainability & Environmental
	5%
	500
	N/A

	
	· Energy Efficiency
· Environmental & Waste Management
· Greener Supply Chain
	
	
	

	B5
	Ultimate Cost 
	30%
	3,000
	N/A

	
	· As per Appendix 2 Pricing Schedule

	
	
	

	TOTAL
	100%
	10,000
	



PLEASE NOTE
In the first instance, all submissions will be checked to ensure they meet the mandatory pass/fail requirements in Section A to determine compliancy and responsiveness. All submissions that meet the mandatory pass/fail criteria will be deemed to be compliant and responsive and will be assessed under the weighted criteria set out in Section B. Any submission that does not meet the mandatory pass/fail requirements will be deemed to be non-compliant and non-responsive and will be eliminated.
In relation to minimum score required - Tenderers should note that they must achieve a minimum rating set out for each of the individual qualitative criteria to avoid elimination from the competition.
Below is the Marking Scheme to be used in the Award Criteria.
	Score
	Classification

	0
	No response (complete non-compliance)

	1-19
	Poor response (Response is partially relevant and poor. Unacceptable.)

	20-39
	Unsatisfactory response (potential for some compliance but very major areas of weakness)

	40-59
	Less than Satisfactory response (one or more areas of major weakness)

	60-74
	Satisfactory and acceptable response (substantial compliance with no major concerns)

	75-89
	Fully satisfactory /very good response (fully compliant with requirements).

	90-100
	Outstanding response (fully compliant, with some areas exceeding requirements)



Formula for cost criteria:
Lowest price divided by price being evaluated multiplied by mark allocated for cost.
Suppliers please note:
· This specification document is designed to assist the contracting authority in its evaluation of your tender and to enable suppliers provide structured responses to key deliverables. It is structured to reflect the award criteria as set out in the RFT.
· Please note responses to individual questions will NOT be scored separately but collectively they will provide a basis for assessing the merits of the tenderer’s overall response to each award criterion and sub-criterion.
· Where specifications include reference to manufacturer or brand names this is a result of difficulties in specifying the product required. In these instances, the phrase “or equivalent” is inferred. 
· Compliance with all the standards as regards health and safety, quality assurance and analytical protocols is expected.
· It is acknowledged that each Tender’s product line may differ from these specifications. As such, each seller is free to propose variances from these specifications. Alternative proposals favourable to the Contracting Authority may be suggested. It is required, however, that, whenever a variance from these specifications occurs, the proposed item must meet or exceed the specified characteristics or level of performance.
· The award of any contract is subject to the successful tenderer meeting the required specification and standards as set out in this RFT and Appendix 1. Should the required specification and standards not be met, the EPS reserves the right, in consultation with the Contracting Authority, to award any contract to the next highest-ranked Tenderer.
· If the evaluation outcome results in a tie between two or more Tenders, then the Tender with the highest score for the highest weighted criterion shall be deemed the most economically advantageous tender. If the score remains in a tie, the remaining criterion will be assessed by the highest weighted until there is no longer a tie. If the score remains a tie after all criterion are assessed, the tenderers will be asked to submit a Best and Final Offer (BAFO).
The award of contract will be based on the Most Economically Advantageous Tender received, in accordance with the detailed award criteria and weightings set out above. 
A failure to answer question(s) may leave the contracting authority with insufficient information on which to base a thorough evaluation and in turn may result in loss of marks in respect of the relevant Award Criterion. Therefore, please ensure you complete ALL sections of this questionnaire.


	
APPENDIX A: PASS/FAIL CRITERIA



	A1. APPLICANT SUMMARY                                                                                                                                       Weighting: Pass/Fail only                                                                                                                                          Pass requirement: Applicants must complete this section

	Organisation Name
	

	Contact Name
	

	Address

	

	Telephone
	

	Email
	

	Legal Status (if any) (e.g. Company, Partnership, Sole Trader, etc.)
	



	
Below is a requirement of each Applicant

	Requirement
	Yes / No

	The Applicant must submit a signed Tenderers statement.as per Appendix 3 of the RFT
	Choose an item.
	The Applicant must submit a Signed Declaration as to Personal Circumstances. as per Article 45 of Directive 2004/18/EC & Regulation 53 of SI329); Appendix 4
	Choose an item.




	A2/A3/A4. FINANCIAL/ TAX COMPLIANCE / INSURANCE                                                            Weighting: Pass/Fail only                                                                                                                                          Pass requirement: Applicants must confirm that the meet the following minimum rules



	A2. Financial Summary

	Requirement
	Yes / No

	Average Annual Turnover for the last 3 Years > €500,000 and can provide evidence of this if required.
	Choose an item.


	A3. Tax Compliance

	Requirement
	Yes / No

	The Candidate holds a current and valid Tax Clearance Certificate(s) from the Revenue Commissioners or in the case of a Candidate outside of the Republic of Ireland hold or can provide an equivalent statement from the relevant taxation authority.
	
Choose an item.



	A4. Insurances

	Requirement
	Yes / No

	That the Candidate holds, or will hold should they be successful, the following insurances. Teagasc reserves the right to amend the requirements before a Contract is issued.
	

	Employer’s Liability - €13 million limit for any one claim or series of claims arising out of a single occurrence
	Choose an item.
	Public Liability - €6.5 million limit for any one claim or series of claims arising out of a single occurrence
	Choose an item.
	Product Liability - €6.5 million limit for any one claim or series of claims arising out of a single occurrence
	Choose an item.


Documentary evidence of economic and financial standing is not required at this stage of the Competition. Instead Candidates are asked to declare that they meet the minimum standards required by the Contracting Authority and will be in a position to produce the necessary documentation (e.g. bank statements, audited accounts, proof of insurance, etc.) if prior to any award of contract.






Technical & Professional Ability
	A5. Accreditation
	Yes / No

	A certificate confirming an accreditation (e.g. accredited partnership) exists between the Instrument source manufacturer and the Tenderer for the proposed solution, confirming the Tenderer’s ability as authorised provider of the solution to the Contracting Authority. 
Only required if Tenderer is not the manufacturer.

	Choose an item.	Insert  comments or reference to attached document/appendix in response

	A6. Health & Safety

	Confirmation of Industrial Health and Safety Act requirements shall be provided for each item of proposed equipment. 

The equipment shall comply with all applicable EU Directives and bear CE marking where required.


	Choose an item.	Insert  comments or reference to attached document/appendix in response




	A7 Previous Contracts                                                              Weighting: Pass/Fail only                                                                                                                                               

	Applicants MUST provide acceptable evidence of having successfully carried out at least 2 previous contracts of a similar nature and scale over the past 5 years, carried out in the public or private sectors by providing a description of the contracts.
Where sub-contractors were used please indicate.
Note: Teagasc reserves the right to contact the referees on a confidential basis without reference back to the Tenderer.

	PREVIOUS EXPERIENCE (CONTRACT ONE)

	Title of Project 
	

	Client Name
	

	Client Contact Details
	Contact Name
	

	
	Contact E-mail Address
	

	
	Contact Telephone Number
	

	Annual Value
	

	Start Date
	
	End Date
	

	Please describe this contract in full to include the various modules that were delivered.

	Insert, expanding this table as necessary.

	Please outline the extent to which this contract is similar in nature and scale to the Contracting Authority’s current requirements.

	Insert, expanding this table as necessary.



	PREVIOUS EXPERIENCE (CONTRACT TWO)

	Title of Project 
	

	Client Name
	

	Client Contact Details
	Contact Name
	

	
	Contact E-mail Address
	

	
	Contact Telephone Number
	

	Annual Value
	

	Start Date
	
	End Date
	

	Please describe this contract in full to include the various modules that were delivered.

	Insert, expanding this table as necessary.

	Please outline the extent to which this contract is similar in nature and scale to the Contracting Authority’s current requirements.

	Insert, expanding this table as necessary.





















	
APPENDIX B: WEIGHTED CRITERIA



4. Requirement & Specification
All tenderers MUST confirm specification, and additional functionality should be identified in the comments section to facilitate scoring under paragraph 3.3 Award Criteria of the RFT.
Technical Specification
This is the minimum specification required. All tenderers MUST meet or exceed this minimum specification to progress through the award criteria to cost evaluation. 
Additional functionality should be identified in the comments section to facilitate scoring under the award criteria.
Notes
· Where specifications include reference to manufacturer or brand names this is a result of difficulties in specifying the product required. In these instances, the phrase “or equivalent” is inferred. 
· Compliance with all the standards as regards health and safety, quality assurance and analytical protocols is expected.

It is acknowledged that each Tender’s product line may differ from these specifications. As such, each seller is free to propose variances from these specifications. Alternative proposals favourable to the Contracting Authority may be suggested. It is required, however, that, whenever a variance from these specifications occurs, the proposed item MUST meet or exceed the specified characteristics or level of performance.
The Tenderer should clearly identify any optional enhancements, additional functionality or innovative features that exceed the minimum requirements. Such enhancements may be considered by the evaluation panel where they provide demonstrable additional value to Teagasc.

	Completing Responses Below:
Tenderers MUST complete the tables of requirements as follows. One initial only MUST be entered in the YNP column for each row:
YNP column:	 
	· Y:	Yes. Tenderer is confirming that his solution completely meets the requirement.
· N:	No. Tenderer is confirming that his solution does not meet the requirement.
· P:	Tenderer accepts that his solution only partially meets the requirement. Tenderer MUST explain the position. 


Note that “Y” indicates full compliance with Teagasc requirements. 

Please feel free to add suggestions as Further Information, where you can provide an alternative or improved idea to the stated requirement. It is acknowledged that each Tender’s product line may differ from these specifications.  As such, each seller is free to propose variances from these specifications, unless it is stated no variance will be accepted. Alternative proposals favourable to the Contracting Authority may be suggested. It is required, however, that, whenever a variance from these specifications occurs, the proposed item MUST meet or exceed the specified characteristics or level of performance.

All tenderers MUST respond in detail to each requirement, outlining whether and how their equipment can meet this requirement.  A response MUST be given to each requirement and MUST be completed.  Responses MUST be inserted into the relevant section.  Please ensure that all required information is included in your response. Neutral comments such as “Yes”  “No” will not be accepted as stating compliance

Note that the responses to these tables of requirements will form part of the contract between Teagasc and any selected Tenderer.



	State the Make and Model of Proposed Instrument
	Insert Comment



	B1. Quality/Technical Merit
Weighting: 35% (Maximum 3,500 points) / (Minimum Points Required 2,100):     


	General/Functional Technical Requirements

	Ref
	Requirement
	Y/N/P
	Comments

	1. 
	The Carbon Dioxide Analyser MUST be able to measure air CO2 and H2O concentrations at a frequency of 10Hz, using ‘closed-’ or ‘enclosed-path’ technology and include all ancillary components to integrate to existing Eddy Covariance towers.  

Please confirm and detail model, accuracy, precision, drifts, power consumption and calibration requirements of the sensor.
	Choose an item.	Insert Comment

	2. 
	The Carbon Dioxide Analyser MUST be compliant with the requirements to be included in an ICOS Integrated Carbon Observation System (ICOS) Associated station.

Please confirm and describe how the proposed Eddy Covariance (EC) system meets the sensor and variable requirements needed to achieve this certification.
	Choose an item.	Insert Comment

	3. 
	The Methane Analyser MUST be able to measure air methane (CH4) concentrations at a frequency of 10Hz and include all ancillary components to integrate to existing Eddy Covariance towers.  

Please confirm and detail model, accuracy, precision, drifts, power consumption and calibration requirements of the sensor.
	Choose an item.	Insert Comment

	4. 
	The Automated Soil Flux Chamber system MUST consist of a minimum of eight soil chambers that are capable of automatically opening and closing onto a gas-tight collar that has been pre-inserted into the soil to a minimum depth of 5cm, with the OPTION of a larger number of chambers per system.
	Choose an item.	Insert Comment

	5. 
	The Automated Soil Flux Chamber system MUST contain vents to minimise in-chamber pressure differentials.
	Choose an item.	Insert Comment

	6. 
	The Automated Soil Flux Chamber system MUST have associated soil temperature and moisture probes for each chamber include all ancillary components to integrate to existing Soil Flux measurement equipment such as Multiplexers and GHG analysers.
	Choose an item.	Insert Comment

	Interaction of Devices, Functionality & Flexibility, Data Processing and Storage Functionality & Flexibility, Data Processing and Storage

	7. 
	The software MUST enable both remote access to data and calculation of fluxes on-real-time, including data visualization, transfer, download and alert set-up in TEAGASC office devices. 

Please confirm and provide details of the hardware/software requirements for this purpose.
	Choose an item.	Insert Comment

	8. 
	The Carbon Dioxide and Methane Analysers software and data outputs MUST be compatible with Teagasc's existing data post-processing workflow using EddyPro® software, or an equivalent solution that enables full interoperability without additional data conversion or loss of functionality. Please confirm and provide details.
	Choose an item.	Insert Comment

	9. 
	The proposed Eddy Covariance (EC) system MUST support remote access, data management and automated flux calculations. The system MUST be capable of integrating with Teagasc's existing EC monitoring infrastructure and exporting data in a format compatible with Teagasc's existing data processing workflow (including .ghg files or an equivalent format that enables full interoperability).

Tenderers shall describe how the proposed solution will achieve this integration and identify any additional software, licences or data conversion processes required.

	Choose an item.	Insert Comment

	10. 
	All software updates and upgrades relevant to the operation, security and functionality of the equipment during the warranty period SHALL be included in the quoted price.
Following the expiry of the warranty period, Tenderers shall clearly describe their policy regarding software updates and upgrades, including any associated licence, subscription or upgrade costs.
Tenderers shall indicate any applicable costs in Appendix 2 – Pricing Schedule.
	Choose an item.	Insert Comment

	Performance Requirements

	11. 
	The equipment SHOULD require as low maintenance and low consumption power supply as possible. Tenderers MUST fully describe all power and maintenance requirements, including details of cleaning and calibration for all components, including accessories. 

Please confirm and detail.
	Choose an item.	Insert Comment

	12. 
	The system MUST enable full traceability to ensure accuracy and quality of results.
	Choose an item.	Insert Comment

	Quality Control & Validation Requirements

	13. 
	The tenderer MUST supply the required calibration kits for correct maintenance of sensors.  

Please confirm and detail the sensor calibration procedures.
	Choose an item.	Insert Comment

	14. 
	All goods supplied in accordance with the Contract MUST be new and of good construction, sound materially, of adequate strength and free of defects in design materials and workmanship. All the hardware will be designed and manufactured so as to be safe and without risk to health when properly used.

Please confirm & provide details.
	Choose an item.	Insert Comment

	15. 
	If the Goods and Services comply with any Irish Standards Institution, European Union, International Standards Organisation or other applicable standard.

Tenderers MUST confirm and provide a copy of the standard.
	Choose an item.	Insert Comment

	16. 
	The Tenderer SHOULD provide names of other research facilities where this equipment is being used for measuring soil and ecosystem GHG fluxes.  

Please confirm and detail.
	Choose an item.	Insert Comment

	17. 
	Describe any additional functionality, innovative features or future expansion capability offered by your proposed solution which exceeds the minimum specification.
	
	Insert Comment




	B2. Warranty, After Sales Service & Technical Support
Weighting: 20% 

	Training Proposal

	1

	The tenderer SHOULD be able to provide on-site inspection after installation of equipment, to demonstrate the correct operation of all proposed equipment to the satisfaction of a nominated TEAGASC employee if required. 

Please confirm and detail costs (if any) in Appendix 2.  
	Choose an item.	Insert Comment

	2
	Relevant trouble-shooting, calibration and maintenance manuals MUST also be provided with the instrument in both hard & soft copies. 

Please confirm.
	Choose an item.	Insert Comment

	3
	Upon request, the tenderer SHOULD be able to provide on-site post-installation technical training for at least 2 persons, including use of software, troubleshooting and calibration.
 
Please confirm and detail training extent and costs (if any) in Appendix 2.
	Choose an item.	Insert Comment

	4
	If available, the tenderer SHOULD provide information about on-line resources (MOOC, webinars, and guideline videos) or off-site training events organised by the tenderer and available for the equipment users.

Please provide details.
	Choose an item.	Insert Comment

	Warranty, Replacement & Spare Parts Proposal

	5
	At least one year’s warranty MUST be included as part of the quoted price, to include all hardware, call outs, travel and parts. Please detail specific inclusions and exclusions of warranty. Warranty services MUST be free of invoicing charges for labour, parts and/or consumables. 

Please confirm and detail.
	Choose an item.	Insert Comment

	6
	The Tenderer SHOULD be able to provide extended warranties on main parts/sensible equipment with low associated cost. 

Please state the details of any extended warranty and any associated costs. Detail specific inclusions and exclusions of extended warranty.
Please
	Choose an item.	Insert Comment

	7
	Immediately following the expiry of warranty, a Service Level Arrangement (to include remote diagnostics of faults, repair of equipment in case of breakdown on all parts, call-out charges and labour costs) SHOULD be offered to TEAGASC for annual review and renewal for Year 2 and Year 3. 
Please give details of Service Level Arrangement Options.  Please detail associated costs in Appendix 2 – Pricing Schedule
	Choose an item.	Insert Comment

	8
	A list of checks carried out at each Service SHOULD be provided, along with any information about which (if any) parts are routinely replaced. 
Please confirm and detail.
	Choose an item.	Insert Comment

	9
	The Tenderer SHOULD state how long after purchase, replacement parts will be available.

Please provide details.
	Choose an item.	Insert Comment

	10
	The Tenderer SHOULD provide a full and comprehensive list of all spare parts and consumables outlining which items are routinely stocked with current pricing. 

Please complete in Appendix 2 Additional Pricing Requests.
	Choose an item.	Insert Comment

	11
	The Tenderer SHOULD specify the availability, lead-time and warranty for replacement parts.  

Please detail.
	Choose an item.	Insert Comment

	Repair, Breakdown & Customer Support Proposal

	12
	The tenderer MUST have dedicated service engineering specialists at their disposal and fully qualified service personnel who can quickly respond to service, troubleshooting and repair calls. This response time should be no more than 24 hours via phone call, email or remote service. 

Please confirm and provide details of response times.
	Choose an item.	Insert Comment

	13
	The tenderer MUST provide information on remote diagnostic / telecom based service support.  

Please confirm and detail how the tenderer addresses these situations.
	Choose an item.	Insert Comment

	14
	The Tenderer MUST provide typical lead time for servicing and repairs (including travel and subsistence) charged outside a maintenance contract.  Please confirm and detail.
Please provides details of price per day (if any) for service and repairs in Appendix 2 – Pricing Schedule.
	Choose an item.	Insert Comment

	15
	The Tenderer SHOULD provide details of expected system component lifespan.  
	Choose an item.	Insert Comment

	16
	Please outline the company customer service plan and escalation policy e.g. in the event of a full system failure and/ or system cannot be repaired on-site. 
Give details of replacement policy and timeline.
	Choose an item.	Insert Comment



	B3. Method Statement
Weighting: 10% 

	Lead Time & Delivery

	1
	Tenderers shall state their proposed lead time from receipt of Purchase Order to delivery, installation and commissioning. Teagasc's preferred delivery timeframe is within 6 weeks. Shorter lead times may be viewed more favourably during evaluation.

Delivery MUST include all shipping charges, insurance, customs duties and all aspects as outlined in Delivered Duty Paid (DDP) incoterms. Delivery MUST be DDP to:
TEAGASC,
Johnstown Castle,
Wexford,
Ireland,
Y35 TC97.
Please confirm and detail.
	Choose an item.	Insert Comment

	2
	The Equipment MUST be packaged and delivered with like for like equipment for example Carbon Dioxide Analysers with Carbon Dioxide Analysers and Automated Soil Flux Chambers with Automated Soil Flux Chambers to facilitate distribution on site.  
	Choose an item.	Insert Comment

	3
	Please provide details of the logistics/supply chain to the point of customer delivery, i.e. where the goods will come from, how the goods will be transported and what borders the goods will cross. If relevant, please provide details of any cross-docking facilities and or warehousing.

Please confirm and detail.

	Choose an item.	Insert Comment

	4
	The tenderer MUST provide details of actions that have been taken to ensure the future timely supply and delivery of goods and services, including ongoing supply of replacement/spare parts and consumables. 

Please confirm and detail.
	Choose an item.	Insert Comment

	5
	The tenderer MUST provide details of their contingency plans (alternative sources/routes of supply) for any delays in delivery should they arise. 

Please confirm and detail.
	Choose an item.	Insert Comment

	6
	The tenderer MUST provide details of the effects of any regulation change to the purchase of these goods should they arise. What mitigation plan is proposed to address changes in regulation should they arise? 

Please confirm and detail.
	Choose an item.	Insert Comment

	Commissioning, Validation & Documentation

	7
	The supplier MUST provide pre- install advice and recommendations for installation to customer. 

Please provide details.
	Choose an item.	Insert Comment

	9
	Tenderers MUST submit the following documentation with their tender submissions:
· Hardware and software manuals in hard/soft copy
· Technical specification document
· Maintenance instructions
· Installation qualification documentation
· Basic troubleshooting
· Statement of warranty
· Factory acceptance testing
· Calibration documentation
· Warranty period information
Please confirm and detail.
	Choose an item.	Insert Comment

	10
	All operators’ manuals and documentation MUST be supplied in soft copy in the English language. 

Please confirm.
	Choose an item.	Insert Comment



	B4. Sustainability & Environmental
Weighting: 5% 

	1

	All Tenderers must provide details of the companies Environmental & Sustainability Policy.
	Choose an item.	Insert Comment

	2
	Please provide a detailed description of Power consumption and any energy efficient features of the tendered equipment.
	Choose an item.	Insert Comment

	3
	Tenderers SHOULD dispose of all Packaging & Waste after installation and commissioning has been completed.

Please confirm and detail 
	Choose an item.	Insert Comment

	4
	Please outline your Waste Management Plan/Policy
	Choose an item.	Insert Comment

	5
	Do you operate a formal environmental management system (EMS), if so, please provide copies of certification?

Please confirm and detail.
	Choose an item.	Insert Comment

	6
	 Please outline any initiatives you have introduced to promote a greener supply chain such as

· Lower Carbon Footprint
· Lower consumption of plastic
· Reduce Waste
· Use more Green Energy
· Maximise Green Efficiencies
Please confirm and detail.

	Choose an item.	Insert Comment





Notes

· Where specifications include reference to manufacturer or brand names this is a result of difficulties in specifying the product required. In these instances, the phrase “or equivalent” is inferred. 
· Compliance with all the standards as regards health and safety, quality assurance and analytical protocols is expected.
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