## Asset list
BMS Asset list
Sites - BMS Panel & Locations | System Type | Year Manufacturer | Model | Description
Earl Of Rosse Panel
Controller 1-0 | Cylon | 2016 | UC32.NET | Network Controller
Controller 1-1 | Cylon |  | UC16PG Kci | IO Controller
Controller 1-2 | Cylon |  | UC16PG Kci | IO Controller
Controller 1-3 | Cylon | 2007 | UC32.16 | IO Controller
Controller 1-4 | Cylon |  | UC16PGR | IO Controller
Controller 1-5 | Cylon |  | UC16PG Kci | IO Controller
Controller 1-6 | Cylon |  | UC16PGR | IO Controller
Controller 1-7 | Cylon |  | UC16PG Kci | IO Controller
Controller 1-8 | Cylon |  | UC16PGR | IO Controller
Controller 1-9 | Cylon |  | UC16PGR | IO Controller
Controller 1-10 | Cylon |  | UC16PGR | IO Controller
Controller 1-11 | Cylon | 2007 | UC32.24 | IO Controller
Controller 1-12 | Cylon |  | UC16PGR | IO Controller
Controller 1-13 | Cylon | 2007 | UC32.8 | IO Controller
Controller 1-14 | Cylon |  | UC16PGR | IO Controller
Controller 1-15 | Cylon | 2007 | UC32.24 | IO Controller
Controller 1-16 | Cylon | 2007 | UC32.12 | IO Controller
Controller 1-17 | Cylon |  | UC8PGR | IO Controller
Controller 1-18 | Cylon |  | UCU8 | IO Controller
Controller 1-20 | Cylon | 2016 | UC32.12 | IO Controller
Controller 1-21 | Cylon |  | PG32.16 | IO Controller
Controller 1-22 | Cylon |  | PG32.16 | IO Controller
2 Stud Resource B17
Controller 2-0 | Cylon | 2011 | UC32.Net | Network Controller
Controller 2-1 | Cylon |  | UC16PGR | IO Controller
Controller 2-2 | Cylon |  | UC16PG Kci | IO Controller
Controller 2-3 | Cylon |  | UC16PGR | IO Controller
Controller 2-4 | Cylon | 2007 | UC32.12 | IO Controller
Controller 2-5 | Cylon |  | UC16PG Kci | IO Controller
Controller 2-6 | Cylon | 2016 | UC32.16 | IO Controller
Controller 2-7 | Cylon |  | UC16PG Kci | IO Controller
Controller 2-8 |  |  | Spare
Controller 2-9 | Cylon | 2007 | UC32.24 | IO Controller
Controller 2-10 | Cylon | 2007 | UC32.24 | IO Controller
Controller 2-11 | Cylon |  | UC16PG-R | IO Controller
Controller 2-12 | Cylon | 2016 | UC32.16 | IO Controller
Earl Of Rosse Panel
Controller 3-0 | Cylon | 2011 | UC32.Net | Network Controller
Controller 3-1 | Cylon |  | UC32.24 | IO Controller
Controller 3-2 | Cylon |  | UC16PG Kci | IO Controller
4 New Trades
Controller 4-0 | Cylon |  | UC32.Net | .Net Controller
Controller 4-1 | Cylon |  | UC32.24 | Controller
Controller 4-2 | Cylon |  | UC32.16 | Controller
Controller 4-3 | Cylon |  | UC32.24 | Controller
5 HTL MCC 1st Floor
Controller 5-0 | Cylon | 2011 | UC32.Net | Network Controller
Controller 5-1 | Cylon | 2016 | UC32.16 | IO Controller
Controller 5-2 | Cylon |  | UC32.16 | IO Controller
Controller 5-3 | Cylon |  | UC32.24 | IO Controller
HTL MCC ROOF
Controller 6-0 | Cylon | 2011 | UC32.Net | Network Controller
Controller 6-1 | Cylon |  | UC16PGR | IO Controller
Controller 6-2 | Cylon |  | UC16PGR | IO Controller
Controller 6-3 | Cylon | 2016 | UC32.16 | IO Controller
Controller 6-4 | Cylon |  | UC16PGR | IO Controller
Controller 6-5 | Cylon |  | UC16PGR | IO Controller
Controller 6-6 | Cylon |  | UC16PGR | IO Controller
Controller 6-7 | Cylon | 2007 | UC32.16 | IO Controller
Controller 6-8 | Cylon |  | UC16IP | IO Controller
Controller 6-9 | Cylon |  | UC16PGR | IO Controller
Controller 6-10 | Cylon |  | UC16PGR | IO Controller
Controller 6-11 | Cylon | 2007 | UC32.12 | IO Controller
Controller 6-12 | Cylon | 2007 | UC32.8 | IO Controller
Admin Comms Panel
Controller 7-0 | Cylon | 2017 | UC32.Net | Network Controller
Controller 7-1 | Cylon |  | UC24PGR | IO Controller
Controller 7-2 | Cylon |  | UC24PGR | IO Controller
Controller 7-3 | Cylon |  | UC24PGR | IO Controller
Controller 7-4 | Cylon |  | UC24PGR | IO Controller
Plastics Boiler House
Controller 8-0 | Cylon | 2017 | UC32.Net | Network Controller
Controller 8-1 | Cylon |  | UC24PGR | IO Controller
Controller 8-2 | Cylon |  | UC32.12 | IO Controller
Controller 8-3 | Cylon |  | UC32.12 | IO Controller
Controller 8-4 | Cylon | 2007 | UC32.8 | IO Controller
Post Grad Boiler House (East Campus)
Controller 9-0 | Cylon | 2011 | UC32.Net | Network Controller
Controller 9-1 | Cylon |  | UC24PGR | IO Controller
Nurses Building Boiler HSE (East Campus)
Controller 10-0 | Cylon | 2017 | UC32.Net | Network Controller
Controller 10-1 | Cylon |  | UC24PGR | IO Controller
Controller 10-2 | Cylon |  | UC24PGR | IO Controller
Controller 10-3 | Cylon |  | UC16PG-R | IO Controller
Controller 10-4 | Cylon |  | UC16PG-R | IO Controller
Controller 10-5 | Cylon |  | UC16PG-R | IO Controller
Controller 10-6 | Cylon |  | UC16PG-R | IO Controller
Controller 10-7 | Cylon |  | UC16PG-R | IO Controller
Controller 10-8 | Cylon |  | UC24PGR | IO Controller
Controller 10-9 | Cylon |  | UC12 PG-R | IO Controller
Controller 10-10 | Cylon | 2007 | UC32.8 | IO Controller
Innovation Boiler House (East Campus)
Controller 11-0 | Cylon | 2011 | UC32.Net | Network Controller
Controller 11-1 | Cylon |  | UC24PGR | IO Controller
Controller 11-2 | Cylon |  | UC24PGR | IO Controller
Controller 11-3 | Cylon | 2007 | UC32.8 | IO Controller
1st floor E2327
Controller 12-0 | Cylon | 2011 | UC32.Net | Network Controller
Controller 12-1 | Cylon |  | UC16PG-R | IO Controller
Controller 12-2 | Cylon |  | UC16PG-R | IO Controller
Controller 12-3 | Cylon |  | UC16PG-R | IO Controller
Controller 12-4 | Cylon |  | UC16PG-R | IO Controller
Controller 12-5 | Cylon |  | UC12PG | IO Controller
Controller 12-6 | Cylon | 2007 | UC32.16 | IO Controller
Roof Business Studies
Controller 13-0 | Cylon | 2016 | UC32.Net | Network Controller
Controller 13-1 | Cylon | 2007 | UC32.24 | IO Controller
Controller 13-2 | Cylon | 2007 | UC32.24 | IO Controller
Controller 13-3 | Cylon | 2007 | UC32.24 | IO Controller
Controller 13-4 | Cylon | 2007 | UC32.16
Controller 13-5 | Cylon |  | UC32.24
Controller 13-6 | Cylon |  | UC32.24 | IO Controller
Controller 13-7 | Cylon |  | UC32.24
Controller 13-8 | Cylon |  | UC32.24
Controller 13-17 | Cylon | 2007 | UC32.8 | IO Controller
Controller 13-18 | Cylon | 2007 | Uc32.8 | IO Controller
Science Lab Panel
Controller 14-0 | Cylon | 2011 | UC32.Net | Network Controller
Controller 14-1 | Cylon | 2007 | UC32.24 | IO Controller
Controller 14-2 | Cylon | 2007 | UC32.24 | IO Controller
Controller 14-3 | Cylon | 2007 | UC32.24 | IO Controller
Controller 14-4 | Cylon | 2007 | UC32.24 | IO Controller
Controller 14-5 | Cylon | 2007 | UC32.24 | IO Controller
Controller 14-6 | Cylon | 2007 | UC32.16 | IO Controller
Controller 14-7 | Cylon | 2007 | UC32.12 | IO Controller
Controller 14-8 | Cylon | 2016 | UC32.24 | IO Controller
Controller 14-9 | Cylon | 2016 | UC32.24 | IO Controller
Post Grad Boiler House (East Campus)
Controller 15-0 | Cylon | 2008 | UC32.Net | Network Controller
Controller 15-1 | Cylon | 2016 | UC32.24 | IO Controller
Controller 15-2 | Cylon | 2016 | UC32.24 | IO Controller
Controller 15-3 | Cylon | 2016 | UC32.24 | IO Controller
Controller 15-4 | Cylon | 2016 | UC32.24 | IO Controller
Controller 15-5 | Cylon | 2007 | UC32.16 | IO Controller
Controller 15-6 | Cylon |  | UC32.16 | IO Controller
Controller 15-7 | Cylon | 2007 | UC32.16 DI | IO Controller
Controller 15-8 | Cylon | 2007 | UC32.12 | IO Controller
Controller 15-9 | Cylon | 2016 | UC32.12 | IO Controller
Arena Basement Plantroom
Controller 16-0 | Cylon | 2011 | UC32.Net | Network Controller
Controller 16-1 | Cylon | 2007 | UC32.24 | IO Controller
Controller 16-2 | Cylon | 2007 | UC32.24 | IO Controller
Controller 16-3 | Cylon | 2007 | UC32.24 | IO Controller
Controller 16-4 | Cylon | 2016 | UC32.24 | IO Controller
Controller 16-5 | Cylon | 2007 | UC32.24 | IO Controller
Controller 16-6 | Cylon | 2007 | UC32.12 | IO Controller
Controller 16-7 | Cylon | 2016 | UC32.12 | IO Controller
Arena Roof Panel
Controller 17-0 | Cylon | 2011 | UC32.Net | Network Controller
Controller 17-1 | Cylon | 2007 | UC32.24 | IO Controller
Controller 17-2 | Cylon | 2007 | UC32.24 | IO Controller
Controller 17-3 | Cylon | 2007 | UC32.16 | IO Controller
Controller 17-4 | Cylon | 2007 | UC32.16 | IO Controller
Controller 17-5 | Cylon | 2007 | UC32.16 | IO Controller
Controller 17-6 | Cylon | 2007 | UC32.24 | IO Controller
Controller 17-7 | Cylon | 2007 | UC32.24 | IO Controller
Controller 17-8 | Cylon | 2007 | UC32.24 | IO Controller
Controller 17-9 | Cylon | 2007 | UC32.12 | IO Controller
Controller 17-10 | Cylon | 2007 | UC32.12 | IO Controller
Controller 17-17 | Cylon | 2007 | UC32.12 | IO Controller
Controller 17-18 | Cylon | 2007 | UC32.12 | IO Controller
Controller 17-19 | Cylon | 2007 | UC32.12 | IO Controller
Controller 17-20 | Cylon | 2007 | UC32.12 | IO Controller
Controller 17-21 | Cylon | 2007 | UC32.12 | IO Controller
Controller 17-22 | Cylon | 2007 | UC32.12 | IO Controller
New Engineering Boiler House
Controller 18-0 | Cylon | 2011 | UC32.Net | Network Controller
Controller 18-1 | Cylon | 2007 | UC32.24 | IO Controller
Controller 18-2 | Cylon | 2007 | UC32.24 | IO Controller
Controller 18-3 | Cylon | 2007 | UC32.24 | IO Controller
Controller 18-4 | Cylon | 2007 | UC32.24 | IO Controller
Controller 18-5 | Cylon | 2007 | UC32.24 | IO Controller
Controller 18-6 | Cylon | 2007 | UC32.24 | IO Controller
Controller 18-7 | Cylon | 2007 | UC32.24 | IO Controller
Controller 18-8 | Cylon | 2007 | UC32.24 | IO Controller
Controller 18-9 | Cylon | 2007 | UC32.24 | IO Controller
Controller 18-10 | Cylon | 2007 | UC32.24 | IO Controller
Controller 18-11 | Cylon | 2007 | UC32.24 | IO Controller
Controller 18-12 | Cylon | 2007 | UC32.16 | IO Controller
Controller 18-13 | Cylon | 2007 | UC32.16 | IO Controller
Controller 18-14 | Cylon | 2007 | UC32.16 | IO Controller
Controller 18-15 | Cylon | 2016 | UC32.12 | IO Controller
Controller 18-17 | Cylon |  | UC8 -PG | IO Controller
Controller 18-18 | Cylon |  | UC8 -PG | IO Controller
Controller 18-19 | Cylon |  | UC8 -PG | IO Controller
New Engineering First floor Comms
Controller 19-0 | Cylon | 2008 | UC32.Net | Network Controller
Controller 19-1 | Cylon | 2007 | UC32.24 | IO Controller
Controller 19-2 | Cylon | 2007 | UC32.24 | IO Controller
Controller 19-3 | Cylon | 2007 | UC32.24 | IO Controller
Controller 19-4 | Cylon | 2007 | UC32.24 | IO Controller
Controller 19-5 | Cylon | 2007 | UC32.24 | IO Controller
Controller 19-6 | Cylon | 2007 | UC32.24 | IO Controller
Controller 19-7 | Cylon | 2007 | UC32.24 | IO Controller
Controller 19-8 | Cylon | 2007 | UC32.24 | IO Controller
Controller 19-9 | Cylon | 2007 | UC32.24 | IO Controller
Controller 19-10 | Cylon | 2007 | UC32.24 | IO Controller
Controller 19-11 | Cylon | 2007 | UC32.16 | IO Controller
New Engineering Ground floor Panel
Controller 20-0 | Cylon | 2008 | UC32.Net | Network Controller
Controller 20-1 | Cylon | 2007 | UC32.24 | IO Controller
Controller 20-2 | Cylon | 2007 | UC32.24 | IO Controller
Controller 20-3 | Cylon | 2007 | UC32.24 | IO Controller
Controller 20-4 | Cylon | 2007 | UC32.24 | IO Controller
Controller 20-5 | Cylon | 2007 | UC32.24 | IO Controller
Controller 20-6 | Cylon | 2007 | UC32.24 | IO Controller
Controller 20-7 | Cylon | 2007 | UC32.24 | IO Controller
Controller 20-8 | Cylon | 2007 | UC32.24 | IO Controller
Controller 20-9 | Cylon | 2007 | UC32.24 | IO Controller
MV - Dublin Road
Controller 22-0 | Cylon | 2017 | UC32.Net.Lite.Mod | Network Controller
Controller 22-1 | Cylon | 2016 | UC32.12 | IO Controller
Controller 22-2 | Cylon | 2016 | UC32.12 | IO Controller
Controller 22-3 | Cylon | 2016 | UC32.12 | IO Controller
Controller 22-4 | Cylon | 2016 | UC32.8 | IO Controller
Student Union 1st Floor
Controller 23-0 | Cylon | 2017 | UC32.Net.Lite.Mod | Network Controller
Controller 23-1 | Cylon | 2016 | UC32.24 | IO Controller
Controller 23-2 | Cylon | 2016 | UC32.12 | IO Controller
Controller 23-3 | Cylon | 2016 | UC32.12 | IO Controller
Controller 23-4 | Cylon | 2016 | UC32.16 | IO Controller
Arts E1195 Service Ducts
Controller 24-0 | Cylon |  | UC32.Net | Network Controller
Controller 24-1 | Cylon |  | UC32.24 | IO Controller
Music panel 1St Floor Engineering
Controller 25-0 | Cylon | 2017 | UC32.Net | Network Controller
Controller 25-1 | Cylon |  | UC32.24 | IO Controller
New Trades 1st Floor Panel
Controller 26-0 | Cylon | 2017 | UC32.Net | Network Controller
Controller 26-1 | Cylon | 2016 | UC32.24 | IO Controller
Controller 26-2 | Cylon | 2016 | UC32.16 | IO Controller
Controller 26-3 | Cylon | 2016 | UC32.16 | IO Controller
Controller 26-4 | Cylon |  | UC32.16DI | IO Controller
Controller 26-5 | Cylon |  | UC32.16DI | IO Controller
New Mirc Building Panel
Controller 27-0 | Cylon | 2017 | UC32.Net | Network Controller
Controller 27-1 | Cylon | 2016 | UC32.24 | IO Controller
Controller 27-2 | Cylon |  | UC32.12 | IO Controller
Controller 27-3 | Cylon |  | UC32.24 | IO Controller
Controller 27-4 | Cylon |  | UC32.8 | IO Controller
APT
Controller 28-0 | Cylon | 2017 | UC32.Net | Network Controller
Controller 28-1 | Cylon | 2016 | UC32.16 | IO Controller
Controller 28-2 | Cylon | 2016 | UC32.16 | IO Controller
Controller 28-3 | Cylon | 2016 | UC32.16 | IO Controller
Controller 28-4 | Cylon | 2016 | UC32.16 | IO Controller
Controller 28-5 | Cylon | 2016 | UC32.16 | IO Controller
Controller 28-6 | Cylon | 2016 | UC32.16 | IO Controller
Controller 28-7 | Cylon | 2016 | UC32.16 | IO Controller
Controller 28-8 | Cylon | 2016 | UC32.16 | IO Controller
Controller 28-9 | Cylon | 2016 | UC32.16 | IO Controller
Controller 28-10 | Cylon | 2016 | UC32.16 | IO Controller
Controller 28-11 | Cylon | 2016 | UC32.16 | IO Controller
Controller 28-12 | Cylon | 2016 | UC32.16 | IO Controller
Controller 28-13 | Cylon | 2007 | UC32.24 | IO Controller
APT
Controller 29-0 | Cylon | 2017 | UC32.Net | Network Controller
Communication equipment
Description | System Type | Year Manufacturer | Model | Location
BMS - PC | Dell |  |  | Estates Office
BMS - PC | Dell |  |  | Laptop
AHU Controller | NA |  |  | Business studies
AHU Controller | NA |  |  | Business studies
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | IT Lab Facilities Building
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | IT Lab Facilities Building
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | IT Lab Facilities Building
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | IT Lab Facilities Building
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | Comms Room Arena basement
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | Room F2712 1st floor - Hotel & Catering
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | Class Room D14
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | Comms Room B19
Hub | Ewon |  | Cosy 131 | Comms Room B19
Fibre Hub | Contemporary Controls |  | EISK4 Fibre | Post Grad - Room
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | Post Grad - Room
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | New Engineering - Comms Room Rack
Cat 5 - 5 Port Hub | Contemporary Controls |  | 5 Port Cat | New Engineering - Comms Room Panel
Cat 5 - 5 Port Hub | Contemporary Controls |  | 5 Port Cat | New Engineering - Ground Floor Panel
Fibre Hub | Contemporary Controls |  | EISK4 Fibre | Innovation
Fibre Hub | Contemporary Controls |  | EISK4 Fibre | Nurses (J1035)
Fibre Hub | Contemporary Controls |  | EISK4 Fibre | Poly tech Labs (Auburn)
Fibre Hub | Contemporary Controls |  | EISK4 Fibre | MV - Dublin Road
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | Student Union
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | 1st floor Comms Engineering Building
Fibre Hub | Contemporary Controls |  | EISK8 Fibre | 1st Floor Music Panel Engineering