## Network
IT LAB Facilities Building
|  | Hub 1-1- Cat5 | Patch 6 | [5 empty] | Earl of Rosse - Theatre | [7 empty] | Kitchen Office (Core B) |  |  |  | C1165 Clearers Cant. (AHU 11 MLT) |  |  |  | C1143 Staff Canteen (AHU 1 Rest) |  |  |  | C1143 Staff Canteen (AHU 2) |  |  |  | C1143 Staff Rest (AHU 7) |  |  |  | Roof Plantroom (AHU 10) |  |  |  | D15 next to HR (AHU 6) |  |  |  | D1 Caretakers Office (AHU 9) |  |  | Facing B22 (Admin) |  |  |  | 1st Floor MPH (Gym AHU) |  |  |  | MPH "" Students Union |  |  |  | MPH Basement (MPH Hall) |  |  |  | MPH Basement (MPH Hall) |  |  |  | MPH Boilerhouse (MPH ) |  |  |  | Kitchen Roof (Kitchen) |  |  |  | Kitchen Roof (Kitchen) |  |  |  | MPH DWS Room (DHWS) |  |  |  | MPH DWS Room (DHWS) |  |  |  | Not Servicing / Not On-Line |  |  | MPH DWS Room (Marketing) |  |  |  | MPH Basement (MPH Hall) |  |  | Roof Plantroom (AHU 10)
|  |  |  | To Controller 12 | [5 empty] | 1 | [5 empty] | RS485 |  | 1--1 |  | RS485 |  | 1--2 |  | RS485 |  | 1--3 |  | RS485 |  | 1--4 |  | RS485 |  | 1--5 |  | RS485 |  | 1--6 |  | RS485 |  | 1--7 |  | RS485 |  | 1--8 | RS485 |  | 1--9 |  | RS485 |  | 1--10 |  | RS485 |  | 1--11 |  | RS485 |  | 1--12 |  | RS485 |  | 1--13 |  | RS485 |  | 1--14 |  | RS485 |  | 1--15 |  | RS485 |  | 1--16 |  | RS485 |  | 1--17 |  | RS485 |  | 1--18 |  | RS485 |  | 1--19 | RS485 |  | 1--20 |  | RS485 |  | 1--21 | RS485 |  | 1--22
192.168.1.36
|  | Hub 1-2- Cat5 | Link to 2-1
[10 empty] | 3 | [5 empty] | RS485 | 3rd Floor Rad
[9 empty] | 192.168.1.3 | [8 empty] | 3-2
|  | Hub 1-3- Cat5 | Patch 8
|  |  |  | To Controller 1 |  |  |  |  | Class Room D14
Facilities Office | [9 empty] | Hub 7-1- Cat5 |  | Cat Direct to 4 | [13 empty] | Science Labs
|  | Hub 1-4- Cat5 | PC In office (Patch 1) | [23 empty] | 14 |  | 14-1 | 14-2 | 14-3 | 14-4 | 14-5 | 14-6 | 14-7
192.168.1.13
[10 empty] | Hub 7-2- Cat5 |  | Cat Direct to 2
|  | Hub 1-5- Cat5 | Patch 7
To Controller 3
[10 empty] | Hub 7-3- Cat5 |  | Wiznet (Emer)
|  | Hub 1-6- Cat5 | Spare | [13 empty] | Stud Resource B17 |  |  |  | Main Boiler House |  |  |  | Core A |  |  |  | 14-1: Link Boiler House; 14-5: AHU4 NTL |  | Lang Lab C2359 1st Floor (AHU 7) |  |  |  | Ahu3 NTL |  |  |  | AHU12 Bldg Office |  |  | AHU13-14 Library |  |  |  | Library Boiler House |  |  |  | LPHW Pumps |  |  |  | Link Metering
Remote PC | [17 empty] | 2 |  | RS485 |  | 2--1 |  | RS485 |  | 2--2 |  | RS485 | 14-2: 2--3; 14-4: RS485; 14-6: 2--4 | RS485 |  | 2--5 |  | RS485 |  | 2--6 |  | RS485 |  | 2--7 | RS485 |  | 2--9 |  | RS485 |  | 2--10 |  | RS485 |  | 2--11 |  | RS485 |  | 2--12
[10 empty] | Hub 7-4- Cat5 |  | Spare |  |  |  |  | 192.168.1.2 | bar: 14-1 to 14-3; 14-5 to 14-7
|  | Hub 1-7- Fibre | Fibre 1-9,10 Hub 12-8
Controller 18,19,20,21
|  | Hub 1-8- Fibre | Fibre 1-11,12 Hub 5-5
Controller 16,17
New Trades
[57 empty] | 4 |  | 4-1 | 4-2 | 4-3 | [8 empty] | Nurses J1025
|  | Hub 2-1- Cat5 | Link to 1-2 | [6 empty] | Hub 7-5- Fibre |  | Hub 2-8 | [43 empty] | 192.168.1.24 | [14 empty] | Hub 16-1- Cat5 |  | Spare
Comms Room RTE - Post Grad Building
[46 empty] | Hub 11-1- Cat5 | Patch 432 | [29 empty] | Nurses Building J1035
|  | Hub 2-2- Cat5 | Link to 3-1 | [67 empty] | Hub 16-2- Cat5 |  | Spare |  |  |  |  | 10 |  | 10-1 | 10-2 | 10-3 | 10-4 | 10-5 | 10-6 | 10-7 | 10-8 | 10-9 | 10-10
192.168.1.10
[46 empty] | Hub 11-2- Cat5 | HRU
|  | Hub 2-3- Cat5 | Patch 3 CCTV CommS1 | [67 empty] | Hub 16-3- Cat5 |  | Plant Room
[46 empty] | Hub 11-3- Cat5 | Link to Hub 10-1
|  | Hub 2-4- Cat5 | Patch 4 CCTV CommS2 | [5 empty] | 1stFloor Room -F2712 | [61 empty] | Hub 16-4- Cat5 |  | Spare
[10 empty] | Hub 6-1- Cat5 |  | Direct to MCC 1st Floor
[46 empty] | Hub 11-4- Cat5 | Spare
|  | Hub 2-5- Cat5 | Spare | [12 empty] | 1St floor F2678 Plantroom | [54 empty] | Hub 16-5- Fibre |  | Hub 11-5
[10 empty] | Hub 6-2- Cat5 |  | Direct to MCC Roof |  |  |  |  | 5 |  | 5-1 | 5-2 | 5-3
[16 empty] | 192.168.`1.5 | [29 empty] | Hub 11-5- Fibre | Hub 16-5
|  | Hub 2-6- Cat5 | Spare
[10 empty] | Hub 6-3- Cat5 |  | Spare |  |  |  | Roof Plantroom inside hatch | [15 empty] | RS485 | Meters
[17 empty] | 6 |  | 6-1 | 6-2 | 6-3 | 6-4 | 6-5 | 6-6 | 6-7 | 6-8 | 6-9 | 6-10 | 6-12 |  |  |  |  | 6-11
|  | Hub 2-7- Fibre | Fibre 1-13,14 Hub 6-5 | [12 empty] | 192.168.1.6 | [20 empty] | Comms Room RTE - Post Grad Building
|  |  |  | Controller 5,6 | [5 empty] | Hub 6-4- Cat5 |  | Spare | [25 empty] | Hub 10-1- Cat5 |  | Link to Hub 11-2
|  | Hub 2-8- Fibre | Fibre 2-9,10 Hub 7-5
|  |  |  | Controller 2,4 | [5 empty] | Hub 6-5- Fibre |  | Fibre 7 From 2-7 | [25 empty] | Hub 10-2- Cat5 |  | Spare | [13 empty] | Trade Centre (Post Grad - Boilerhouse)
[55 empty] | 9 |  | 9-1
192.168.1.8
[38 empty] | Hub 10-3- Cat5 |  | Plant Room
|  | Hub 3-1- Cat5 | Link to 2-2
Engineering -- 1st floor E2327
[10 empty] | 12 |  | 12-1 | 12-2 | 12-3 | 12-4 | 12-5 | 12-6 | [20 empty] | Hub 10-4- Cat5 |  | Spare
|  | Hub 3-2- Cat5 | Link to 4-1 | [5 empty] | 192.168.1.12
[38 empty] | Hub 10-5- Cat5 |  | Plant Room
|  | Hub 3-3- Cat5 | Spare | [5 empty] | Comms Room B19 | [11 empty] | Admin Comms Panel A1014 | bar: 12-1 to 12-2
[10 empty] | Hub 8-1- Cat5 |  | 12-1: Cat Direct C7 |  |  |  |  | 7 |  | 7-1 | 7-2 | 7-3 | 7-4 | [26 empty] | Post Grad - Boilerhouse
[21 empty] | 192.168.1.7 | [16 empty] | Hub 10-6- Cat5 |  | Spare | [14 empty] | 15 |  | 15-1 | 15-2 | 15-3 | 15-4 | 15-5 | 15-6 | 15-7 | 15-8 | 15-9
|  | Hub 3-4- Cat5 | Patch 9 Emer. Light | [50 empty] | 192.168.1.14
[10 empty] | Hub 8-2- Cat5 |  | Cat Direct to C8 | [57 empty] | Innovation Centre K107
[38 empty] | Hub 10-7- Fibre |  | Hub 15-5 | [30 empty] | Hub 15-1- Cat5 |  | Spare
|  | Hub 3-5- Cat5 | Spare | [73 empty] | Innovation Boiler House
[10 empty] | Hub 8-3- Cat5 |  | Wiznet (Emer) | [65 empty] | 11 |  | 11-1 | 11-2 | 11-3
[21 empty] | Plastics Boiler House | [16 empty] | Hub 10-8- Fibre |  | Spare | [30 empty] | Hub 15-2- Cat5 |  | Spare |  |  |  | 192.168.1.21
|  | Hub 3-6- Cat5 | Spare | [18 empty] | 8 |  | 8-1 | 8-2 | 8-3 | 8-4
[10 empty] | Hub 8-4- Cat5 |  | Cat Direct to C13 | [8 empty] | 192.168.1.8
[71 empty] | Hub 15-3- Cat5 |  | Plant Room
|  | Hub 3-7- Fibre | Fibre 1-21,22 Hub ?-??
|  |  |  | Controller 22 | [5 empty] | Hub 8-5- Cat5 |  | Spare
[71 empty] | Hub 15-4- Cat5 |  | Spare
|  | Hub 3-8- Fibre | CCTV Fibre 1-7,8 | [49 empty] | Comms Room 1st Floor Student Union (S2681) | bar: 15-1
[10 empty] | Hub 8-6- Cat5 |  | Hub 9-1 Ewon | [41 empty] | Hub 19-1- Cat5 |  | Spare | bar: 15-1
[71 empty] | Hub 15-5- Fibre |  | Hub 10-7 | bar: 15-1
[10 empty] | Hub 8-7- Fibre |  | Hub 4-7 | [41 empty] | Hub 19-2- Cat5 |  | Spare | bar: 15-1
|  | Hub 4-1- Cat5 | Link to 3-2 | bar: 15-1
[25 empty] | Businesss Studies on Roof | [15 empty] | Ground Floor Admin (Q109) | [5 empty] | Ground Floor Students Union | [9 empty] | 15-4: Students Union - Medical Center
[10 empty] | Hub 8-8- Fibre |  | To Hub 10-10 | [13 empty] | 13 |  | 13-1 | 13-2 | 13-3 | 13-4 | 13-131 | 13-132 | [20 empty] | Hub 19-3- Cat5 |  | Spare |  |  |  |  | 23 |  | 23-1 | 23-2 | 23-3 | 23-4
|  | Hub 4-2- Cat5 | Link to 19-1 | [10 empty] | Controller 4,9,10,11,15 | [10 empty] | 192.168.1.15 | [15 empty] | Patch Panel | [5 empty] | Patch Panel | [12 empty] | 192.168.1.37
[54 empty] | Hub 19-4- Cat5 |  | To Net 23
|  | Hub 4-3- Cat5 | Spare | [6 empty] | Hub 9-1- Cat5 Ewon |  | To Hub 8-6
[54 empty] | Hub 19-5- Cat5 |  | Spare
|  | Hub 4-4- Cat5 | Spare | [6 empty] | Hub 9-2- Cat5 Ewon |  | Spare
[54 empty] | Hub 19-6- Cat5 |  | Spare
|  | Hub 4-5- Cat6 | Spare | [6 empty] | Hub 9-3- Cat5 Ewon |  | Spare
[54 empty] | Hub 19-7- Fibre |  | Ground Floor SU
|  | Hub 4-6- Cat6 | Spare | [6 empty] | Hub 9-4 - Cat5 Ewon- Wide |  | Spare
192.168.1.75
[54 empty] | Hub 19-8- Fibre |  | Spare
|  | Hub 4-7- Fibre | Fibre 2-1,2 Hub 8-7
Controller 7,8,9,10,11,13,14,15
|  | Hub 4-8- Fibre | Via 2 Patches Hub 19-7 | [5 empty] | Sport Arena Basement Comms Room (Behind MCC2)
|  |  |  | Controller 23 | [5 empty] | Hub 5-1- Cat5 |  | Patch 3 CCTV
[10 empty] | Hub 5-2- Cat5 |  | Patch 16 Direct to MCC |  |  |  | Basement Arena Plantroom MCC2 | [11 empty] | 13-4: Basement Arena OLD Plantroom MCC1
|  | Hub 20-1- Cat5 | Link to 4-2 | [13 empty] | 16 |  | 16--2 | 16--3 | 16--4 | 16--5 | 16--6 | 16--7 | 16--17 | 16--135 | 16--136 | 13-2: RS485; 13-131: 16--1
192.168.1.31 | bar: 13-1; 13-4 to 13-132
[10 empty] | Hub 5-3- Cat5 |  | Patch 17 Direct to MCC
|  | Hub 20-2- Cat5 | Spare | [12 empty] | Roof Arena Plantroom MCC1 | [11 empty] | 13-131: Aerobics FCU 01-02 |  |  |  |  | Main Gym FCU 03-05 | [5 empty] | Main Gym FCU 06-07 |  |  |  |  | Spinning FCU 07 | [5 empty] | Elite Gym FCU 09 - 11 | [5 empty] | Sports Science FCU 12 - 13
[17 empty] | 17 |  | 17--1 | 17--2 | 17--3 | 17--4 | 17--5 | 17--6 | 17--7 | 17--8 | 17--9 | 13-1: 17--10; 13-3: RS485; 13-132: 17--17 |  |  | RS485 |  |  | 17--18 |  |  | RS485 |  |  | 17--19 |  | RS485 |  |  | 17--20 |  |  | RS485 |  |  | 17--21 |  |  | RS485 |  |  | 17--22
[10 empty] | Hub 5-4- Cat5 |  | Spare |  |  |  | 192.168.1.32 | bar: 13-1 to 13-2; 13-131 to 13-132
|  | Hub 20-3- Cat5 | Spare
[10 empty] | Hub 5-5- Fibre |  | Fibre 6 From 1-8
|  | Hub 20-4- Cat5 | Spare
|  | Hub 20-5- Cat6 | Spare | [44 empty] | New Engineering - Ground Floor | [6 empty] | New Engineering - Ground Floor
[8 empty] | New Engineering - Comms Room U211 (Rack area) | [6 empty] | New Engineering - Comms Room U211 (Rack area) | [7 empty] | New Engineering - Comms Room U211 (Panel) | [25 empty] | Hub 14-1- Cat5 |  | To C 19 |  |  |  |  | 20 |  | 19-1 | 19-2 | 19-3 | 19-4 | 19-5 | 19-6 | 19-7 | 19-8 | 19-9
[9 empty] | Hub 20-1- Cat5 |  | Hub 12-1 |  |  |  |  | Hub 12-1- Cat5 |  | Hub 23-1 | [5 empty] | Hub 13-1- Cat5 |  | To | [28 empty] | 192.168.1.23
|  | Hub 20-6- Cat6 | Spare
[49 empty] | Hub 14-2- Cat5 |  | Comms Panel
[9 empty] | Hub 20-2- Cat5 |  | Spare |  |  |  |  | Hub 12-2- Cat5 |  | Spare | [5 empty] | Hub 13-2- Cat5 |  | From Rack
|  | Hub 20-7- Fibre | Fibre 2-7,2-8 Hub 21-7
[49 empty] | Hub 14-3- Cat5 |  | To C 19
|  |  |  | Controller 24 |  |  |  |  | Hub 20-3- Cat5 |  | Spare |  |  |  |  | Hub 12-3- Cat5 |  | To Local panel | [5 empty] | Hub 13-3- Cat5 |  | Gnd Floor Panel
|  | Hub 20-8- Fibre | Spare
[49 empty] | Hub 14-4- Cat5 |  | Spare
[9 empty] | Hub 20-4- Cat5 |  | Spare |  |  |  |  | Hub 12-4- Cat5 |  | Spare | [5 empty] | Hub 13-4- Cat5 |  | To C 19
[49 empty] | Hub 14-5- Cat5 |  | Spare
[9 empty] | Hub 20-5- Cat5 |  | Spare |  |  |  |  | Hub 12-5- Cat5 |  | Spare | [5 empty] | Hub 13-5- Cat5 |  | Spare
Link Boiler House
[31 empty] | New Engineering - Comms Room U211 | [38 empty] | New Engineering - BoilerHouse | [19 empty] | BoilerHouse (Buffer Tank)
[6 empty] | Patch Panel |  |  | Hub 20-6- Cat5 |  | Spare |  |  |  |  | Hub 12-6- Cat5 |  | Spare | [13 empty] | 19 |  | 19-1 | 19-2 | 19-3 | 19-4 | 19-5 | 19-6 | 19-7 | 19-8 | 19-9 | 19-10 | 19-11 | [26 empty] | 18 |  | 18-1 | 18-2 | 18-3 | 18-4 | 18-5 | 18-6 | 18-7 | 18-8 | 18-9 | 18-10 | 18-11 | 18-12 | 18-13 | 18-14 | 18-15 |  | RS485 |  | 18-18 | 18-19
[31 empty] | 192.168.1.22 | [38 empty] | 192.168.1.21
[9 empty] | Hub 20-7- Fibre |  | to New Music Panel |  |  |  |  | Hub 12-7- Fibre |  | To Auburn | [73 empty] | New Engineering - Unknown
[90 empty] | RS485 |  |  | 18-17
[9 empty] | Hub 20-8- Fibre |  | Spare |  |  |  |  | Hub 12-8- Fibre |  | From Hub 1-7 |  |  |  | Poly Tech Labs (Auburn Building)
[23 empty] | Hub 17-1- Cat5 |  | C21
[23 empty] | Hub 17-2- Cat5 |  | Spare
[28 empty] | Poly Tech Labs (Auburn Building) | [19 empty] | New Engineering - New Music Panel
[5 empty] | Art Block - Back of IT comms room in Riser | [23 empty] | 21 |  | 21-1 | [17 empty] | Hub 21-1- Cat5 |  | Spare
[23 empty] | Hub 17-3- Cat5 |  | Spare |  |  | 192.168.1.34 | [27 empty] | Poly Tech Labs (Auburn Building)
[57 empty] | 25 |  | 25-1
[49 empty] | Hub 21-2- Cat5 |  | Spare |  |  |  |  | 192.168.1.34
[23 empty] | Hub 17-4- Cat5 |  | Spare
Art Block - Back of IT comms room in Riser
[6 empty] | Hub 21-1- Cat5 | Spare | [41 empty] | Hub 21-3- Cat5 |  | Spare
[23 empty] | Hub 17-5- Fibre |  | Hub 12-7
[6 empty] | Hub 21-2- Cat5 | Direct to MCC | [41 empty] | Hub 21-4- Cat5 |  | Spare
MV Panel
[10 empty] | Hub 18-1- Cat5 |  | C22
[6 empty] | Hub 21-3- Cat5 | Spare | [41 empty] | Hub 21-5- Cat5 |  | Spare
[10 empty] | Hub 18-2- Cat5 |  | Spare
[6 empty] | Hub 21-4- Cat5 | Spare | [41 empty] | Hub 21-6- Cat5 |  | Spare
[10 empty] | Hub 18-3- Cat5 |  | Spare
[6 empty] | Hub 21-5- Cat5 | Spare | [12 empty] | MV Sub Station | [28 empty] | Hub 21-7- Fibre |  | To Hub 20-7
[21 empty] | 22 |  | 22-1 | 22-2 | 22-3 | 22-4
[10 empty] | Hub 18-4- Cat5 |  | Spare | [7 empty] | 192.168.1.35
[6 empty] | Hub 21-6- Cat5 | Spare | [41 empty] | Hub 21-8- Fibre |  | Spare
[10 empty] | Hub 18-5- Cat5 |  | Spare
[6 empty] | Hub 21-7- Fibre | From Hub 20-7
[10 empty] | Hub 18-6- Cat5 |  | Spare
[6 empty] | Hub 21-8- Fibre | Spare
[10 empty] | Hub 18-7- Fibre |  | From Hub 3-7 Via Link
[10 empty] | Hub 18-8- Fibre |  | Spare
Arts Block - Basement riser
[10 empty] | 24 |  | 24-1
192.168.1.38
[39 empty] | Number |  | IP number |  | Location |  |  |  | Number |  | IP number |  | Location |  |  |  |  | Number |  | IP number |  | Location |  |  |  |  | Number |  | IP number |  | Location
[39 empty] | Controller 1 |  | 192.168.1.36 |  | Earl of Ross |  |  |  | Controller 9 |  | 192.168.1.9 |  | Post Grad Boilerhouse (East Campus) |  |  |  |  | Controller 17 |  | 192.168.1.32 |  | Arena Roof Plantroom |  |  |  |  | Controller 23 |  | 192.168.1.37 |  | Medical Center in Student Union
[39 empty] | Controller 2 |  | 192.168.1.2 |  | Student Resource B17 |  |  |  | Controller 10 |  | 192.168.1.10 |  | Nurses Building (East Campus) |  |  |  |  | Controller 18 |  | 192.168.1.21 |  | New Engineering Boilerhouse |  |  |  |  | Controller 24 |  | 192.168.1.38 |  | Arts Block Basement riser
[39 empty] | Controller 3 |  | 192.168.1.3 |  | Earl of Ross |  |  |  | Controller 11 |  | 192.168.1.11 |  | Innovation (East Campus) |  |  |  |  | Controller 19 |  | 192.168.1.22 |  | New Engineering 1st Floor Comms |  |  |  |  | Controller 25 |  | 192.168.1.39 |  | New Engineering - Music
[39 empty] | Controller 4 |  | 192.168.1.24 |  | New Trades Boilerhouse |  |  |  | Controller 12 |  | 192.168.1.12 |  | Engineering - 1st Floor E2327 |  |  |  |  | Controller 20 |  | 192.168.1.23 |  | New Engineering Gnd Floor |  |  |  |  | Controller 26 |  | 192.168.1.40 |  | New Trades 1st Floor
[39 empty] | Controller 5 |  | 192.168.1.5 |  | HTC-MCC 1st Floor |  |  |  | Controller 13 |  | 192.168.1.15 |  | Business Studies - Roof |  |  |  |  | Controller 21 |  | 192.168.1.34 |  | Poly Tech Labs - Auburn Building |  |  |  |  | Controller 27 |  | 192.168.1.41 |  | New Mirc Building
[39 empty] | Controller 6 |  | 192.168.1.6 |  | HTC-MCC Roof |  |  |  | Controller 14 |  | 192.168.1.13 |  | Science Lab Panel |  |  |  |  | Controller 22 |  | 192.168.1.35 |  | MV Sub Station |  |  |  |  | Controller 28 |  | 192.168.1.42 |  | APT Building
[39 empty] | Controller 7 |  | 192.168.1.7 |  | Admin Comms Panel A1014 |  |  |  | Controller 15 |  | 192.168.1.14 |  | Post Grad Boilerhouse (East Campus) |  |  |  |  | Ewon |  | 192.168.1.75 |  | Comms Room B19 |  |  |  |  | Controller 29 |  | 192.168.1.43 |  | APT Building
[39 empty] | Controller 8 |  | 192.168.1.8 |  | Plastics Boilerhouse |  |  |  | Controller 16 |  | 192.168.1.31 |  | Arena Basement Plantroom |  |  |  |  | PC |  | 192.168.1.76 |  | Office