## Sheet1
Proposed Renovation & Extensions to Existing Dwelling
& Shop into Tea Room & new Shop at Glenmore Co. Kilkenny
for
Kilkenny County Council
Pricing Document
Architect
Michael Tobin MRIAI,
Haggard,
Glenmore,
Co. Kilkenny.
July 2026
Notes To Pricing Document
This Pricing Document is issued with the following guidelines
1 | This Document is issued for guidance & can be used as a checklist or cross reference for works
to be carried out by the Contractor.
2 | The Quantities are bulk quantities & are not calculated in accordance with any recognised method
of measurement but broadly follow ARM4 & The National Standard Building Elements.
3 | Quantities are measured gross & do not take into account any factors such as bulking, laps or waste.
Deductions are not made for opes due to windows or doors.
4 | The Drawings & Specifications issued by the Architect represent the scope of works and these take
precedence over the Pricing Document. However all Tender Documents should be considered as
complimentary of one another to determine the full scope of works
5 | The Pricing Document needs to be completed fully by extending rates to the appropriate work items
& the rates will form the basis of valuing variations for works of a similar nature
6 | The Contractor is to satisfy himself with the scope of works as detailed on the Drawings & Specifications
& the scope of these works is to be incorporated into the rates in the Pricing Document.
7 | The Pricing Document will be used in calculating the value of interim payments and variations as called
up for in the conditions of contract.
8 | Preliminaries are included as a lump sum in the Pricing Document but the successful Contractor will be
required to provide a breakdown of Preliminaries into Fixed & Time related costs.
9 | The Pricing Document is provided in electronic format. Responsibility in calculation rests with the
Contractor. A comp checked hard copy should be produced on request by the Consultant.
| Contents | [6 empty] | Page No.
General Building Works
| Demolitions/Alterations | [6 empty] | 1
| Substructures | [6 empty] | 7
| External Walls | [6 empty] | 10
| Internal Walls, Partitions | [6 empty] | 11
| Stairs, Ramps | [6 empty] | 12
| 1st Floor Structure | [6 empty] | 13
| Roof Structure | [6 empty] | 14
| Roof Completions | [6 empty] | 18
| External Wall Completions | [6 empty] | 19
| Internal Wall Completions | [6 empty] | 20
| External Wall Finishes | [6 empty] | 21
| Internal Wall Finishes | [6 empty] | 22
| Ceiling Finishes | [6 empty] | 23
| Floor Finishes/Stair Finishes | [6 empty] | 24
| Roof Finishes | [6 empty] | 25
| Mechanical Installation | [6 empty] | 28
| Electrical Installation | [6 empty] | 29
| Building Fittings | [6 empty] | 30
External Works
| Prepared Site | [6 empty] | 31
| Site Enclosures | [6 empty] | 32
| Paths, Pavings | [6 empty] | 35
| Site Services | [6 empty] | 36
| Main Summary | [6 empty] | 37
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Demolitions/Alterations
(see existing floor plans & elevations)
A | remove existing rear door & frame to rear yard |  |  |  |  | 1 | no |  | 0
B | form new door ope in existing external wall for
access to new wheelchair employee changing room
| incl forming heads etc & all making good |  |  |  |  | 1 | no |  | 0
C | ditto giving external access from proposed tea room
| to shared right-of-way |  |  |  |  | 1 | no |  | 0
D | close up part of existing door ope in external wall
from proposed tea room into yard & form new
| window ope - size 0.85m x 1.5m |  |  |  |  | 1 | no |  | 0
E | form ope in existing 500mm thick walls at centre of
proposed tea room incl all making good - approx
5m long x 4.5m from fdns to roof level, incl for
| temporary support to existing roof |  |  |  |  | 1 | no |  | 0
F | e.o. above for 254 x 146 Ubs incl steel plates over
| new opes (2no opes) as per arch section B-B | [5 empty] | item |  | 0
G | concrete bearing pads to above |  |  |  |  | 2 | no |  | 0
H | e.o. concrete bearing pads for casting into existing
| wall structure |  |  |  |  | 2 | no |  | 0
I | demolish existing walls at north east corner of
proposed tea room - approx 3m long x 3.5m high from
foundation to existing roof level to facilitate access
to WCs & proposed kitchen, forming 2no opes with
precast concrete heads & blockwork over built up to
existing eaves, all as per proposed ground floor plan
| & arch section B-B, incl for all making good | [5 empty] | item |  | 0
|  |  | Page 1 | to collection |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Demolitions/Alterations (cont.)
A | e.o. last for temporary support to existing roof at
| eaves | [5 empty] | item |  | 0
B | concrete bearing pads to support precast concrete
| lintels |  |  |  |  | 2 | no |  | 0
C | e.o. above for casting into existing structure |  |  |  |  | 2 | no |  | 0
D | form ope in existing 500mm thick internal wall
between proposed kitchen & shop - 3m wide x 2.5m
high (see proposed ground floor plan & arch section
| A-A), incl for all making good | [5 empty] | item |  | 0
E | e.o. above for 254 x 146 UB lintel as per arch section
| A-A, incl for intumescent paint to UB | [5 empty] | item |  | 0
F | concrete bearing pads to above |  |  |  |  | 2 | no |  | 0
G | e.o. concrete bearing pads for casting into existing
| wall structure |  |  |  |  | 2 | no |  | 0
H | form ope in existing 750mm thick existing internal
wall between proposed tea room & shop - 2.2m
wide x 2.3m high, incl for precast concrete lintels
| & all making good (see proposed ground floor plan) | [5 empty] | item |  | 0
I | concrete bearing pads to above |  |  |  |  | 2 | no |  | 0
J | e.o. concrete bearing pads for casting into existing
| wall structure |  |  |  |  | 2 | no |  | 0
K | forming opes in existing external walls for & incl
| passive wall vents |  |  |  |  | 2 | no |  | 0
|  |  | Page 2 | to collection |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Demolitions/Alterations (cont.)
A | form new window ope in external wall to front
elevation - 0.75m wide x 1.1m high, incl for precast
| concrete lintels & all making good | [5 empty] | item |  | 0
B | alter existing front door opening to proposed shop
incl part breaking out existing masonry & part
blocking up in cavity wall to allow for new double
door entrance, incl for all making good to existing
| render etc (see proposed front elevation) | [5 empty] | item |  | 0
C | e.o. above for removing existing door, attached
| window & shutter | [5 empty] | item |  | 0
D | demolish existing 500mm thick wall between existg.
living room & sitting room, include for temporary
support to existing roof - approx dims 5m long x 4.5m
high to underside of roof (see existing ground & 1st
| floor plans), incl for all making good | [5 empty] | item |  | 0
E | demolish single storey rear extension complete to
rear of existing takeaway including grubbing up
existing fdns & floor, taking care not to damage
existing remaining structure & all making good -
| approx area on plan 7.8m x 2.7m | [5 empty] | item |  | 0
F | e.o. above for carefully removing existing pitched
roof up to remaining ridge line including removal
| of existing concrete barge | [5 empty] | item |  | 0
G | demolish existing internal partitions/walls forming
existing wc & utility + existing kitchen area
| (see existing ground floor plan) | [5 empty] | item |  | 0
H | ditto at 1st floor level around existing stairway,
forming existing bathroom & bed 2 (see existg. 1st
| floor plan) | [5 empty] | item |  | 0
|  |  | Page 3 | to collection |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Demolitions/Alterations (cont.)
A | demolish existing structural ceiling over front part
of proposed tea rooms, include for all making good,
| approx dims - 7.5m x 5m |  |  |  |  | 38 | m2 |  | 0
B | remove existing plasterboard from sloped ceiling
over rear part of proposed tea rooms, include for
| all making good, approx dims - 7.5m x 3.5m |  |  |  |  | 26 | m2 |  | 0
C | ditto to ceiling over existing takeaway, approx dims -
| 7.5m x 5m |  |  |  |  | 38 | m2 |  | 0
D | block up existing doorway in 500mm thick wall
between takeaway & prep kitchen including plaster
| to both sides & all making good | [5 empty] | item |  | 0
E | re-form existing door ope from kitchen/dining in to
existing yard to new window ope in external wall,
include all making good (see proposed north
| elevation) | [5 empty] | item |  | 0
F | remove existing stairs & balustrading | [5 empty] | item |  | 0
G | remove existing internal doors frames & architraves |  |  |  |  | 8 | no |  | 0
H | remove existing skirtings | [5 empty] | item |  | 0
I | remove timber flooring to existing living room - see
| existing ground floor plan - prepare for new flooring |  |  |  |  | 18 | m2 |  | 0
J | remove ceramic floor tiles from existing takeaway &
prepare for new flooring - see existing ground floor
| plan |  |  |  |  | 35 | m2 |  | 0
|  |  | Page 4 | to collection |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Demolitions/Alterations (cont.)
A | remove existing vinyl flooring & carpets | [5 empty] | item |  | 0
B | remove existing floor boarding to proposed store
| area & prepare for new flooring |  |  |  |  | 34 | m2 |  | 0
C | strip out & remove existing mech/plumbing &
| electrical fittings, fixtures & wiring | [5 empty] | item |  | 0
D | remove existing fixtures & fittings from existing
| takeaway & kitchen areas | [5 empty] | item |  | 0
E | carefully remove existing fireplace on internal wall
| and re-fit on external wall, close up ope & made good | [5 empty] | item |  | 0
F | remove existing tiled fireplace on external wall to
tea room, form new chimney breast & re-line existg.
| flue with stainless steel flue liner for new stove | [5 empty] | item |  | 0
G | cut out in existing slated roof for new rooflight,
include for all making good to existing structure
| & slates | [5 empty] | item |  | 0
H | remove external extraction duct from eastern
| elevation, close up opes & make good | [5 empty] | item |  | 0
I | relocate existing esb meter box to gable side of shop | [5 empty] | item |  | 0
J | remove existing gutters & downpipes | [5 empty] | item |  | 0
K | remove existing front door & frame to living area | [5 empty] | item |  | 0
L | remove existing yard door & frame | [5 empty] | item |  | 0
|  |  | Page 5 | to collection |  |  |  |  | 0
Collection
| Page 1 | [7 empty] | 0
| Page 2 | [7 empty] | 0
| Page 3 | [7 empty] | 0
| Page 4 | [7 empty] | 0
| Page 5 | [7 empty] | 0
| Total Demolitions/Alterations |  |  | to summary |  |  |  |  | 0
Page 6
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Substructures
A | excavate for foundations & remove off site |  |  |  |  | 21 | m3 |  | 0
B | concrete blinding to foundation bases |  |  |  |  | 1 | m3 |  | 0
C | A393 mesh to foundations |  |  |  |  | 21 | m2 |  | 0
D | 35N concrete to foundations |  |  |  |  | 9 | m3 |  | 0
E | tie new foundations to existing by drilling existing
& inserting 4no 20mm bars including tying to rebar
| in new foundations |  |  |  |  | 4 | no |  | 0
F | 450mm rising block walls (3 course high) incl base
| to block pier in tea room |  |  |  |  | 6 | m2 |  | 0
G | 100mm rising block walls |  |  |  |  | 10 | m2 |  | 0
H | DPCs | [5 empty] | item |  | 0
I | e.o. for thermal blocks at dpc level |  |  |  |  | 22 | m |  | 0
J | hardcore backfill to foundations |  |  |  |  | 4 | m3 |  | 0
K | concrete floor (all-in) including powerfloat finish,
25N concrete slab 125mm thick, A142 mesh on plastic
sheeting on 200m thin R polyiso insulation on radon
barrier on 50mm sand blinding on minimum 200mm
| hardcore fill |  |  |  |  | 42 | m2 |  | 0
L | e.o. for dressing radon barrier to toe of concrete
| retaining wall as per arch section A-A |  |  |  |  | 16 | m2 |  | 0
|  |  | Page 7 | to collection |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Substructures (cont.)
A | make good to existing floors where tying in with
| new at doorways etc | [5 empty] | item |  | 0
B | line backfilling with radon barrier & seal to existing
conc floor slab at foundation to block pier in tea
room, include for 100mm insulation cold bridging
| barrier (see section A-A) | [5 empty] | item |  | 0
|  |  | Page 8 | to collection |  |  |  |  | 0
Collection
| Page 7 | [7 empty] | 0
| Page 8 | [7 empty] | 0
| Total Substructures |  |  | to summary |  |  |  |  | 0
Page 9
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
External Walls
A | blockwork in 350mm cavity walls |  |  |  |  | 55 | m2 |  | 0
B | blockwork in 100mm block wall forming cavity with
| new concrete retaining wall |  |  |  |  | 50 | m2 |  | 0
C | tie new blockwork into existing with steel ties |  |  |  |  | 15 | m |  | 0
D | 60mm thin-R pir cavity insulation |  |  |  |  | 105 | m2 |  | 0
E | U.B. supporting cavity wall over wall between
| proposed wc & kitchen | [5 empty] | item |  | 0
F | concrete bearing pads to above |  |  |  |  | 2 | no |  | 0
G | precast concrete window cills incl concrete backing
| & associated dpc (8no) |  |  |  |  | 8 | m |  | 0
H | precast conc lintels to cavity wall opes over windows
| & doors incl associated dpc (9no) |  |  |  |  | 9 | m |  | 0
I | forming door thresholds |  |  |  |  | 2 | m |  | 0
J | closing cavity's including dpc & insulation slips etc | [5 empty] | item |  | 0
K | passive wall vents in new cavity walls |  |  |  |  | 2 | no |  | 0
L | propriety fire stopping of cavity at junction of cavity
| wall & flat roofs (see sections A-A & B-B) |  |  |  |  | 35 | m |  | 0
M | e.o. blockwork for thermalite blocks at junction of
| block walls & concrete retaining wall incl dpc | [5 empty] | item |  | 0
|  |  | Page 10 | Total External Walls to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Internal Walls
A | 100mm blockwork |  |  |  |  | 55 | m2 |  | 0
B | 215mm blockwork built upon existing masonry walls |  |  |  |  | 19 | m2 |  | 0
C | ditto at ground floor level |  |  |  |  | 5 | m2 |  | 0
C | e.o. above for tying into existing masonry,
| horizontally with stainless steel ties |  |  |  |  | 8 | m |  | 0
D | blockwork in 1m x 0.5m x 2.5m high block pier
forming 2no opes at centre of tea room,
| (see proposed ground floor plan) | [5 empty] | item |  | 0
E | internal stud partitions including sound insulation,
slab + skim each side all as per architects spec to 1st
| floor |  |  |  |  | 24 | m2 |  | 0
C | e.o. above for being 1hr forming ducting etc |  |  |  |  | 11 | m2 |  | 0
E | non-structural stud partition wall to square of
pitched roof space to store incl slab + skim on one
| side (see 1st floor plan & section A-A) |  |  |  |  | 11 | m2 |  | 0
F | e.o. above blockwork for 2no course of thermalite
blockwork above steelwork incl minimum 300mm
deep insulation to prevent cold bridging all as per
| arch section B-B | [5 empty] | item |  | 0
|  |  | Page 11 | Total Internal Walls to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Stairs
A | white/red deal stairs as per architects drawings
| & spec page 21 | [5 empty] | item |  | 0
.
|  |  | Page 12 | Total Stairs to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
1st Floor Structure
A | 220mm x 38mm timber joists to new extension |  |  |  |  | 75 | m |  | 0
B | ditto in bridging to above |  |  |  |  | 20 | m |  | 0
C | metal hangars & straps | [5 empty] | item |  | 0
D | rockwool sound insulation fitted between 1st floor
| joists -200mm thick |  |  |  |  | 23 | m2 |  | 0
E | ditto between existing joists to store area |  |  |  |  | 30 | m2 |  | 0
F | 20mm timber flooring with t&g joints |  |  |  |  | 26 | m2 |  | 0
G | ditto to proposed store area fixed to existing joists |  |  |  |  | 30 | m2 |  | 0
|  |  | Page 13 | 1st Floor Structure to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Roof Structure
A | 220mm x 38mm ceiling joists over proposed front of
| tea room & under existing roof structure |  |  |  |  | 90 | m |  | 0
B | ditto in bridging to above |  |  |  |  | 15 | m |  | 0
C | 170mm x 38mm ceiling joists over proposed rear of
| tea room & under existing roof structure |  |  |  |  | 60 | m |  | 0
D | ditto in bridging to above |  |  |  |  | 8 | m |  | 0
E | metal hangars/straps to pitched roofs | [5 empty] | item |  | 0
F | new wall plate to support existing rafters fixed to
| 215mm leaf of cavity wall (see section B-B) |  |  |  |  | 8 | m |  | 0
G | 254 x 102 x 25 UB to support existing roof purlins &
built into floor structure below (see 1st floor plan,
| sections A-A & B-B) |  |  |  |  | 0.3 | t |  | 0
H | 254 x 146 x 43 UB at ridge level supporting existing
rafters at the front & new flat roof joists at rear
| (see dwgs as above) |  |  |  |  | 0.4 | t |  | 0
I | 100 x 100 x 10 steel sq section supporting above
| fixed to UB in floor below incl angle cleats etc. |  |  |  |  | 0.1 | t |  | 0
J | concrete bearing pads to above |  |  |  |  | 6 | no |  | 0
K | 100 x 100 grade C24 timber posts supporting existing
| timber purlins fixed to Ubs in floor below (2no) |  |  |  |  | 3 | m |  | 0
|  |  | Page 14 | to collection |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Roof Structure (cont.)
A | 220mm isover metac 034 (or equal) insulation
| between joists & 220mm over joists |  |  |  |  | 64 | m2 |  | 0
B | vapour barrier to above ceilings |  |  |  |  | 64 | m2 |  | 0
C | 75mm pir insulation between existing rafters over
| proposed store |  |  |  |  | 24 | m2 |  | 0
D | vapour control barrier stapled to underside of above
| rafters |  |  |  |  | 24 | m2 |  | 0
E | e.o. above for attic access | [5 empty] | item |  | 0
F | e.o. above existing roof structure for constructing
light shafts down to new ceiling level for 2no
| existing & 1no new rooflights (see section B-B) |  |  |  |  | 3 | no |  | 0
G | 220mm x 44mm roof joists to flat roofs |  |  |  |  | 200 | m |  | 0
H | ditto in bridging to above |  |  |  |  | 50 | m |  | 0
I | timber firrings to to 2 storey flat roof (see sect A-A) |  |  |  |  | 160 | m |  | 0
J | ditto (rise of 450mm in 9m - see arch section B-B)
| to single storey flat roof |  |  |  |  | 40 | m |  | 0
K | 18mm t&g OSB roof decking |  |  |  |  | 70 | m2 |  | 0
L | 100mm x 50mm wall plate under flat roof joists |  |  |  |  | 35 | m |  | 0
M | e.o. above for connecting new flat roof joists
| to existing rafters | [5 empty] | item |  | 0
|  |  | Page 15 | to collection |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Roof Structure (Cont.)
A | metac insulation 200mm thick between flat roof
| joists |  |  |  |  | 70 | m2 |  | 0
B | vapour barrier stapled to underside of joists & sealed
| to masonry walls at eaves |  |  |  |  | 70 | m2 |  | 0
C | 178 x 102 x 19 UB supporting flat roof joists at approx
| mid-span (see section A-A) |  |  |  |  | 0.2 | t |  | 0
D | concrete bearing pads to above |  |  |  |  | 2 | no |  | 0
E | 200mm x 50mm timber grounds fitted into web of
| ridge level UB (see section A-A) |  |  |  |  | 8 | m |  | 0
F | metal hangars/straps to flat roofs | [5 empty] | item |  | 0
G | timber grounds for fascia/soffits to flat roofs |  |  |  |  | 25 | m |  | 0
|  |  | Page 16 | to collection |  |  |  |  | 0
Collection
| Page 14 | [7 empty] | 0
| Page 15 | [7 empty] | 0
| Page 16 | [7 empty] | 0
| Total Roof Structure |  |  | to summary |  |  |  |  | 0
Page 17
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Roof Completions
A | protect existing rooflights during construction | [5 empty] | item |  | 0
C | rooflight to flat roof over changing room to facilitate
| wheelchair employee as per arch spec. |  |  |  |  | 1 | no |  | 0
D | new rooflight to existing pitched roof over tea room
in prepared ope incl all making good to existing
| slates as per arch spec. (see proposed 1st floor plan) |  |  |  |  | 1 | no |  | 0
E | fall arrest system to 2 storey flat roof as per arch
| spec page 23 | [7 empty] | 0
F | existing chimney pots to be lead capped dressed
over existing chimney capping, repair cracks in
| plaster. |  |  |  |  | 3 | no |  | 0
|  |  | Page 18 | Total Roof Completions to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
External Wall Completions
triple glazed white upvc windows as per architects
elevation drawings & spec.
A | - | 1.1m x 0.9m |  |  |  | 1 | no |  | 0
B | - | 0.8m x 0.9m |  |  |  | 1 | no |  | 0
C | - | 0.85m x 1.5m with satan glass |  |  |  | 1 | no |  | 0
D | - | 0.8m x 1.3m |  |  |  | 1 | no |  | 0
E | ditto in timber - 0.75m x 1.1m |  |  |  |  | 1 | no |  | 0
F | new timber french door as per proposed front
elevation incl frame, ironmongery, painting etc
| as arch spec . |  |  |  |  | 1 | no |  | 0
G | ditto in double doors to tea room/shop, double
| glazed incl timber shutters to sides |  |  |  |  | 1 | no |  | 0
H | hardwood timber over above door ope as per arch
| elevation & spec to match side shutters | [5 empty] | item |  | 0
I | new hardwood door & frame to replace existing
| yard door on west elevation as per arch spec. |  |  |  |  | 1 | no |  | 0
J | ditto from tea room to shared right-of-way |  |  |  |  | 1 | no |  | 0
K | ditto giving access from shared right-of-way to stairs
| & kitchen area |  |  |  |  | 1 | no |  | 0
L | forming door thresholds |  |  |  |  | 7 | m |  | 0
|  |  | Page 19 | External Walls Completions to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Internal Walls Completions
internal flush doors & frames (1hr) incl arch,
ironmongery, painting etc as per architects spec
A | - | between kitchen & stairs - 1.3m x 2.1m |  |  |  | 1 | no |  | 0
B | - | between kitchen & tea rooms - 1m x 2.1m |  |  |  | 1 | no |  | 0
C | - | between stairs & staff change - 1m x 2.1m |  |  |  | 1 | no |  | 0
ditto (1/2 hr)
D | - | to WCs - 1m x 2.1m |  |  |  | 3 | no |  | 0
E | - | between wheelchair access wc & tea
|  | room - 1.2m x 2.1m |  |  |  | 1 | no |  | 0
F | window boards as per arch spec |  |  |  |  | 8 | m |  | 0
G | air tightness tape to windows & doors | [5 empty] | item |  | 0
|  |  | Page 20 | Total Internal Walls Completions to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
External Wall Finishes
A | external insulation with acrylic render finish as per
| arch spec & drawings on existing gables |  |  |  |  | 61 | m2 |  | 0
B | protect existing roughcast render to front elevation
| & make good where necessary | [5 empty] | item |  | 0
C | sand/cement render as per arch spec to new
| extension blockwork |  |  |  |  | 105 | m2 |  | 0
D | 2no coats masonry paint to above |  |  |  |  | 126 | m2 |  | 0
E | ditto to roughcast render to front elevation |  |  |  |  | 47 | m2 |  | 0
E | ditto to existing chimney stacks |  |  |  |  | 3 | no |  | 0
F | e.o. for replastering front elevation to existing
takeaway in roughcast render to match existing
| (incl for removing existing paint) |  |  |  |  | 23 | m2 |  | 0
|  |  | Page 21 | Total External Wall finishes to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Internal Walls Finishes
A | dryline inside face of external front wall with insul.
| plasterboard, t&j all as per arch spec page 23 |  |  |  |  | 48 | m2 |  | 0
B | hardwall plaster to new blockwork |  |  |  |  | 253 | m2 |  | 0
C | ditto to new block pier in centre of tea room |  |  |  |  | 10 | m2 |  | 0
D | boxing out, slab + t&j to UB supporting flat roof at
| mid span - max girth 0.75m (see section A-A) |  |  |  |  | 8 | m |  | 0
E | ceramic wall tiling as per arch spec over WHBs in
| WCs |  |  |  |  | 6 | m2 |  | 0
F | whiterock wall lining (or equal) to kitchen walls as
| per arch spec |  |  |  |  | 47 | m2 |  | 0
G | painting walls, new & existing (making good to
| existing where necessary) as per arch spec |  |  |  |  | 300 | m2 |  | 0
H | timber wainscoting to tea room as per arch detailed
| drawing section B-B incl skirting & painting |  |  |  |  | 44 | m2 |  | 0
I | timber wall liners to window & door opes in tea room
& shop approx 500mm wide incl painting
| as per arch spec |  |  |  |  | 40 | m |  | 0
J | architrave to above as per arch spec incl painting |  |  |  |  | 62 | m |  | 0
K | wallpaper to tea room from wainscoting to ceiling
| as per arch spec page 27 |  |  |  |  | 88 | m2 |  | 0
|  |  | Page 22 | Total Internal Wall Finishes to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Ceiling Finishes
A | insulated plasterboard, t&j to sloping ceiling in store
| as per arch spec (min 80mm of pir insul) |  |  |  |  | 24 | m2 |  | 0
B | 92mm insulated plasterboard, t&j to 1st floor
| ceilings/underside of flat roofs |  |  |  |  | 70 | m2 |  | 0
C | 15mm fireline board, t&j to ground floor ceiling of
| shop/kitchen area |  |  |  |  | 70 | m2 |  | 0
D | 15mm plasterboard, t&j to tea room ceiling |  |  |  |  | 64 | m2 |  | 0
E | e.o. above for slab & skim to rooflight lightshafts |  |  |  |  | 3 | no |  | 0
F | painting above ceilings as per arch spec |  |  |  |  | 228 | m2 |  | 0
|  |  | Page 23 | Total Ceiling Finishes to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Floor/Stair Finishes
A | ceramic tiling as per arch spec to shop & tea room
| incl levelling compound as required to existing floor |  |  |  |  | 95 | m2 |  | 0
B | vinyl flooring as per arch spec to WCs, Kitchen,
| store & staff changing incl levelling compound |  |  |  |  | 61 | m2 |  | 0
C | ditto to stairs landing/hall |  |  |  |  | 6 | m2 |  | 0
D | ditto to steps - 12no (threads/risers) |  |  |  |  | 5 | m2 |  | 0
E | stair nosings 1.2m long |  |  |  |  | 14 | no |  | 0
F | vinyl skirtings as per arch spec |  |  |  |  | 50 | m |  | 0
G | timber skirtings as per arch spec |  |  |  |  | 90 | m |  | 0
H | painting to timber skirting |  |  |  |  | 90 | m |  | 0
|  |  | Page 24 | Total Floor Finishes to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Roof Finishes
A | paralon roof membrane on insulation, vapour
barrier etc all as per architects spec on timber
| deck (measured separately) - see arch spec page 22 |  |  |  |  | 80 | m2 |  | 0
B | membrane/flashings forming skirtings & upstands
| to above at perimeter |  |  |  |  | 54 | m |  | 0
C | lead flashing between existing pitched rear roof
| over tea room & two storey extension |  |  |  |  | 6 | m |  | 0
E | e.o. for tying in flat roof to two storey extension
with underside of existing ridge to pitched roof
| incl lead flashing |  |  |  |  | 9 | m |  | 0
F | protect remaining retained slates to pitched roofs
| during construction & replace damaged slates | [5 empty] | item |  | 0
G | upvc fascia/soffit boarding to new extensions,
include for 10mm ventilation slot with mesh to cross
| ventilate cold roofs |  |  |  |  | 35 | m |  | 0
H | repair leaks to existing slated roof | [5 empty] | item |  | 0
I | upvc gutters to flat roofs & to existing rear pitched
| roof over tea room as per arch dwgs |  |  |  |  | 31 | m |  | 0
J | upvc downpipes to above including associated
| fittings |  |  |  |  | 15 | m |  | 0
K | cast aluminium half round gutters & associated
fittings as per arch spec & dwgs to front elevation
| of existing building |  |  |  |  | 16 | m |  | 0
|  |  | Page 25 | to collection |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Roof Finishes (Cont.)
A | cast aluminium downpipes incl associated fittings
| to above |  |  |  |  | 6 | m |  | 0
B | new lead flashings to 2no existing chimney stacks
| where new flat roof abuts existing pitched roof | [5 empty] | item |  | 0
C | cap existing chimney pots with lead & cover top of
| stacks with sheet lead to protect against |  |  |  | further
| rain ingress |  |  |  |  | 3 | no |  | 0
D | forming opes in new flat roof structure & membrane
| for service pipes/ducts etc |  |  |  |  | 6 | no |  | 0
F | dressing roof membrane around steel posts for fall
| arrest system | [5 empty] | item |  | 0
|  |  | Page 26 | to collection |  |  |  |  | 0
Collection
| Page 25 | [7 empty] | 0
| Page 26 | [7 empty] | 0
| Total Roof Finishes |  |  | to summary |  |  |  |  | 0
Page 27
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Mechanical Installation
A | mechanical Installation as per architects M & E
drawings & spec including mech extraction fans for
| WCs, kitchen extraction grill & associated ducting | [5 empty] | item |  | 0
B | builders work incl firestopping in connection with
| mech. installation as per above documents | [5 empty] | item |  | 0
C | pipe casings, slabbed skimmed & painted |  |  |  |  | 20 | m |  | 0
D | photo voltaic panels with supporting framework on
| flat roof as per architects dwgs & spec | [5 empty] | item |  | 0
|  |  | Page 28 | Total Mechanical Installation to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Electrical Installation
A | electrical Installation as per architects M & E
| drawings & spec | [5 empty] | item |  | 0
B | builders work incl firestopping in connection with
| elec. installation as per above documents | [5 empty] | item |  | 0
C | fire extinguishers as per architect fire safety dwgs | [5 empty] | item |  | 0
|  |  | Page 29 | Total Electrical Installation to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Building Fittings
A | heavy duty build in-situ shelving to store incl
50mm x 75mm posts sitting on spreader beams at
900mm centres with 50mm x 75mm horizontal
supports - shelving made up of white deal (prepared)
boards 20mm thick - 3no shelves (see proposed 1st
| floor plan & section A-A) | [5 empty] | item |  | 0
B | counter to shop (see proposed ground floor plan)
| as per architects spec. page 21 | [5 empty] | item |  | 0
C | shelving to shop as per spec page 21 & ground floor
| plan | [5 empty] | item |  | 0
D | tea room chairs as per arch spec page 21 |  |  |  |  | 50 | no |  | 0
E | tea room tables as per arch spec page 21 |  |  |  |  | 25 | no |  | 0
F | commercial fitted kitchen incl stainless steel
worktops & all associated fittings/fixtures &
| appliances as per architects spec & dwgs. | [5 empty] | item |  | 0
G | tea room/shop sign painted white on timber
background (3m x 0.4m) as per architects elevation
| & spec. | [5 empty] | item |  | 0
H | sanitary ware as per architects spec.
| - | WCs |  |  |  | 3 | no |  | 0
| - | WHBs |  |  |  | 3 | no |  | 0
| - | doc m pack sanitary fit-out complete to
|  | accessible wc as per architects spec. |  |  |  | 1 | no |  | 0
|  |  | Page 30 | Total Building Fittings to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Prepared Site
A | remove existing trees/shrubs from rear yard, cutting
back trees to stumps & applying tree herbicide to
| cut trunk | [5 empty] | item |  | 0
B | knock down & remove existing shed/remaining
| walls to rear yard | [5 empty] | item |  | 0
C | excavate to reduced level in rear yard in preparation
| for building extensions & new concrete yard |  |  |  |  | 35 | m3 |  | 0
D | protect existing small garden walls to front during
construction & remove existing wall on entrance
| side | [5 empty] | item |  | 0
E | remove existing pavement to front in preparation
| for new | [5 empty] | item |  | 0
F | ditto to right-of-ways at both sides of building | [5 empty] | item |  | 0
G | remove existing fence panels to rear yard | [5 empty] | item |  | 0
H | remove any existing loose rock off site | [5 empty] | item |  | 0
I | existing loose material from rock face to be removed
to facilitate end drainage from proposed retaining
| wall | [5 empty] | item |  | 0
J | excavate in right-of-ways either side of building
| in preparation for new pavement, dispose off site |  |  |  |  | 25 | m3 |  | 0
K | remove part existing drainage incl existing grease
| trap in preparation for new as per arch dwgs | [7 empty] | 0
|  |  | Page 31 | Total Prepared Site to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Site Enclosures (concrete retaining wall)
(see structural eng. dwg & arch sections A-A & B-B)
A | excavate for foundations & remove off site |  |  |  |  | 25 | m3 |  | 0
B | concrete blinding to foundation bases |  |  |  |  | 2 | m3 |  | 0
D | 35N concrete to 400mm deep retaining wall base |  |  |  |  | 15 | m3 |  | 0
E | ditto in 300mm th wall |  |  |  |  | 17 | m3 |  | 0
F | formwork to sides of base 400mm deep |  |  |  |  | 32 | m |  | 0
G | formwork to wall 3.4m high |  |  |  |  | 112 | m2 |  | 0
H | forming wall kicker |  |  |  |  | 16 | m |  | 0
I | waterbar |  |  |  |  | 16 | m |  | 0
J | forming weepholes in wall at 1.5m centres |  |  |  |  | 10 | no |  | 0
H | vertical expansion joint as per eng dwg |  |  |  |  | 4 | m |  | 0
K | trowelling top of retaining wall 300mm wide |  |  |  |  | 16 | m |  | 0
L | A393 mesh in 2no layers to base |  |  |  |  | 80 | m2 |  | 0
M | ditto to wall |  |  |  |  | 110 | m2 |  | 0
N | reinforcement as per eng schedule |  |  |  |  | 1 | tn |  | 0
|  |  | Page 32 | to collection |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Site Enclosures (Cont.)
A | tanking to retaining wall & foundation base with
flexible tanking slurry & drainage mat to inner side
| of wall & base all as per eng details |  |  |  |  | 110 | m |  | 0
B | french drain as per eng dwg |  |  |  |  | 16 | m |  | 0
C | hardcore backfill between proposed retaining wall
| & existing rock wall face |  |  |  |  | 20 | m3 |  | 0
D | stepped dpc cavity tray to new cavity wall above new
| concrete retaining wall as arch section A-A |  |  |  |  | 6 | m |  | 0
D | lead flashing/capping to top of retaining wall tied
in with tanking, stepped dpc cavity tray to wall cavity
& flat roof coverings as appropriate (see arch
| sections A-A & B-B) |  |  |  |  | 16 | m |  | 0
E | ditto lead cover flashing |  |  |  |  | 16 | m |  | 0
|  |  | Page 33 | to collection |  |  |  |  | 0
Collection
| Page 32 | [7 empty] | 0
| Page 33 | [7 empty] | 0
| Total Site Enclosures |  |  | to summary |  |  |  |  | 0
Page 34
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Paths, Pavings
A | 200mm conc slab on compacted blinding & 100mm
| hardcore forming small conc yard at rear |  |  |  |  | 3 | m2 |  | 0
B | ditto to right-of-ways at both sides of building
| as per arch site layout drawing |  |  |  |  | 65 | m2 |  | 0
C | 200mm conc pavement to front of building with
exposed pebble aggregate on compacted blinding &
| 100mm hardcore as per arch site layout drawing |  |  |  |  | 55 | m2 |  | 0
D | e.o. above for forming access ramp as per proposed
| architects ground floor plan |  |  |  |  | 9 | m2 |  | 0
E | e.o. above paving for concrete steps as required at
| door opes (3no single & 1no double) | [5 empty] | item |  | 0
F | stainless steel bicycle racks as per architect spec |  |  |  |  | 4 | no |  | 0
G | stainless steel rubbish bin as per architects spec |  |  |  |  | 1 | no |  | 0
|  |  | Page 35 | Total Paths, Pavings to summary |  |  |  |  | 0
REF | WORKS |  |  |  |  | QUANTS | UNIT | RATE | EXTN.
Site Services
A | surface water drainage including excavating &
backfilling, 110mm dia. pvc pipe bedded on lean mix
concrete & making good existing surface finishes.
(see architects proposed ground floor plan & site
| layout for surface water & foul drainage layouts) |  |  |  |  | 25 | m |  | 0
C | ditto, foul drainage |  |  |  |  | 30 | m |  | 0
D | AJs |  |  |  |  | 6 | no |  | 0
E | B.I.G. |  |  |  |  | 4 | no |  | 0
F | grease trap as per architects spec. |  |  |  |  | 1 | no |  | 0
H | connect into existing foul drain incl all making good
| to right-of-ways on both sides of building |  |  |  |  | 2 | no |  | 0
I | allow for forming trench/backfilling under new conc
| floor to kitchen for new gas supply pipe |  |  |  |  | 13 | m |  | 0
J | connect to existing water services incl associated
| builders work | [5 empty] | item |  | 0
K | ditto, electrical services incl tel. etc. | [5 empty] | item |  | 0
L | e.o. for 110 dia waste from bathrooms to run above
| floor slab level. (see arch note on ground floor plan) | [5 empty] | item |  | 0
M | 50 dia waste from kitchen to grease trap
| (see arch note on ground floor plan) | [5 empty] | item |  | 0
|  |  | Page 36 | Total Site Services to summary |  |  |  |  | 0
|  |  | MAIN SUMMARY |  |  | Page No.
| Prelims | [7 empty] | 0
General Building Works
| Demolitions/Alterations |  |  |  |  | 6 |  |  | 0
| Substructures |  |  |  |  | 9 |  |  | 0
| External Walls |  |  |  |  | 10 |  |  | 0
| Internal Walls |  |  |  |  | 11 |  |  | 0
| Stairs |  |  |  |  | 12 |  |  | 0
| 1st Floor Structure |  |  |  |  | 13 |  |  | 0
| Roof Structure |  |  |  |  | 17 |  |  | 0
| Roof Completions |  |  |  |  | 18 |  |  | 0
| External Walls Completions |  |  |  |  | 19 |  |  | 0
| Internal Walls Completions |  |  |  |  | 20 |  |  | 0
| Total External Wall Finishes |  |  |  |  | 21 |  |  | 0
| Internal Walls Finishes |  |  |  |  | 22 |  |  | 0
| Ceiling Finishes |  |  |  |  | 23 |  |  | 0
| Floor Finishes/Stair Finishes |  |  |  |  | 24 |  |  | 0
| Roof Finishes |  |  |  |  | 27 |  |  | 0
| Mechanical Installation |  |  |  |  | 28 |  |  | 0
| Electrical Installation |  |  |  |  | 29 |  |  | 0
| Building Fittings |  |  |  |  | 30 |  |  | 0
Page 37
|  |  | MAIN SUMMARY (Cont.) |  |  | Page No.
External Works
| Prepared Site |  |  |  |  | 31 |  |  | 0
| Site Enclosures |  |  |  |  | 34 |  |  | 0
| Paths, Pavings |  |  |  |  | 35 |  |  | 0
| Site Services |  |  |  |  | 36 |  |  | 0
|  | Total (to Form of Tender) | [6 empty] | 0
Main Contractor:
Signature:
Date:
Page 38