Rural Development and Tourism

Cavan County Council

Comhairle Chontae an Chabháin

Preliminary Safety & Health Plan

for

Con Smith Park Biodiversity & Park Enhancement Work

### Job No: 0608

### Date: August 2026

DESIGN PROCESS SAFETY AND HEALTH PLAN

Con Smith Park Biodiversity & Park Enhancement Work

Contents

| Section |  |  | Title |
| --- | --- | --- | --- |
| 1.0 |  |  | Introduction |
| 2.0 |  |  | Description of Project |
|  | 2.1 |  | Project Title |
|  | 2.2 |  | Project Location |
|  | 2.3 |  | Scope of Project/works |
|  | 2.4 |  | Existing Safety File |
|  | 2.5 |  | Project Schedule |
|  |  | 2.5.1 | Intended Commencement date of project |
|  |  | 2.5.2 | Programme details of each phase of project |
|  |  | 2.5.3 | Intended timescale of the project |
|  |  | 2.5.4 | Restrictions on Working Hours |
|  |  | 2.5.5 | Restrictions on Plant and Equipment |
|  |  | 2.5.6 | Restrictions on Materials |
|  |  | 2.5.7 | Restrictions on Access |
|  | 2.6 |  | Drawings and Specification |
|  | 2.7 |  | Existing Environment |
|  |  | 2.7.1 | Relevant Adjoining Land Uses |
|  |  | 2.7.2 | Known Existing Services |
| 3.0 |  |  | General Statement of Principles and Objectives for the Project |
| 4.0 |  |  | Contractual Arrangements |
| 5.0 |  |  | Information on Other Work Activities |
| 6.0 |  |  | Requirement for Notification |
| 7.0 |  |  | Arrangements for communication between Designers and PSCS |
|  |  | 7.1 | Pre-start Meeting |
|  |  | 7.2 | Arrangements for liaison between Duty Holders |
|  |  | 7.3 | Issue of Directions |
| 8.0 |  |  | Safety File |
| 9.0 |  |  | Plan Review |
| 10.0 |  |  | Design Process Risk Assessment |
|  |  | 10.1 | General Design Process Risk Assessment |
|  |  | 10.2 | Temporary Works Design |
|  |  | 10.3 | Permanent Works Design |
| 11.0 |  |  | Site Rules |
| Table A |  |  | Particular Risks – Scheduled |
| Table B |  |  | Particular Risks - Unscheduled and Non-Exhaustive List |
| Appendix |  | 1 | Emergency Contact Numbers |
| Appendix |  | 2 | General Principles of Prevention |
| Appendix |  | 3 | Requirement to be applied to construction as regards the general principles of prevention |
| 12.0 13.0 14.0 |  |  | Location map Existing services Photos |

1.0	Introduction

1.0 Introduction

This Design Process Safety and Health Plan has been prepared by the Project Supervisor Design Process (PSDP) in accordance with Regulation 12 (1) (a) of S.I 291 of 2013, The Safety, Health and Welfare at Work (Construction) Regulations 2013.

It also takes cognisance of the Construction Industry Federation's: "Construction Sector C-19 Pandemic Standard Operating Procedures Coronavirus COVID-19 Public Health Advice Version 1"

(Users should refer to CIF website to ensure latest version).

The primary function of the Design Process Safety and Health Plan is to identify any anticipated risks associated with the project/works.  The plan identifies hazards which have been established during the design process, it gives an indication but does not offer an explicit or holistic account of the hazards associated with the construction stage.  All foreseeable risks should be designed out, as far as is reasonably practicable, at design stage.

The Design Process Safety and Health Plan will be made available to the Project Supervisor for the Construction Stage (PSCS).  It is a requirement that the successful tenderer will fulfil the duties of the Project Supervisor

Construction Stage under the Safety, Health and Welfare at Work (Construction) Regulations, 2013.

It shall be the duty of the appointed PSCS to further develop this Design Process Safety and Health Plan during the construction stage.  The PSCS shall develop, implement and monitor the controls deployed to mitigate the risks associated with the hazards identified in this plan.  Having regard to the progression of works, additional hazards may be identified during construction.  It is therefore the responsibility of the PSCS to include measures necessary to control any additional hazards that may arise.

2.0	Description of Project

| 2.1 | Project Title: |
| --- | --- |
| Con Smith Park Biodiversity & Park Enhancement Work |  |
| 2.2 | Project Location: |
| Con Smith Park, Cavan, Co. Cavan |  |
| 2.3 | Scope of Project/works: |
| This is a public park on the edge of Cavan Town on the R212. The proposed works include the following: - Mobilisation - Pedestrian Management - Vegetation removal - Installation of Drainage - Surfacing - Reinstatement - Seeding - Demobilisation from site. Waste material, which may be generated as a result of constructing the scheme, will be disposed off site in accordance with the relevant Waste Management Legislation. |  |
| 2.4 | Existing Safety File |
| None |  |
| 2.5 | Project Schedule: |
| 3 weeks duration |  |
| 2.5.1 | Intended commencement date of project: |
| Contractor must commence works before end October 2026 . |  |
| 2.5.2 Programme details of each phase of the project |  |
| Description |  |
| The scope of the works required is summarised briefly as follows: - Mobilisation - Pedestrian Management - Vegetation removal - Installation of Drainage - Surfacing - Reinstatement. - Topsoiling &Seeding - Demobilisation from site. |  |
| 2.5.3 Intended timescale of the project |  |
| 3 weeks |  |
| 2.5.4 Restrictions on Access |  |
| N/A |  |

2.6	Drawings and Specification

Include the following:

| - Tender documents: | attached |
| --- | --- |
| - Scheme Extent drawing: | attached |
| - Location Map | Attached |
| - Survey Reports: | n/a |
| - Temporary works design specifications: |  |

2.7	Existing Environment

2.7.1 Relevant Adjoining Land Uses

Urban Area: Urban Roads, River, Residential, Educational and Agricultural fields.

2.7.2 Known Existing Services

| Electric Supply: | Yes |
| --- | --- |
| Water Supply: | Yes |
| Telephone Supply: | Yes |
| Gas | No |
| Sewage: | Yes |
| Broadband: | Yes |

The PSCS will make all arrangements that existing services in the vicinity of the site are not interfered with during the works. Where works interfere with existing services, PSCS will notify the service provider of the proposed works, before commencing site operations.

3.0	General Statement of Principles and Objectives for the Project

The Corporate Safety Statement sets out the principles and objectives for managing safety, health and welfare within Cavan County Council.

Cavan County Council will manage the project to ensure that it is executed safely in accordance with the Corporate Safety Statement, with relevant statutory provisions and with all the provisions and contents of this plan.

4.0	Contractual Arrangements

| Client: |  |  |
| --- | --- | --- |
| Name: | Address: | Contact Number: |
| Cavan County Council | Courthouse, Cavan, Co. Cavan | 049 4378300 |
| Project Supervisor Design Process: |  |  |
| Name: | Address: | Contact Number: |
| Cavan County Council | Courthouse, Cavan, Co. Cavan | 049 4378300 |
| Health and Safety Co-ordinator |  |  |
| Name: | Address: | Contact Number: |
| Cavan County Council | Courthouse, Cavan, Co. Cavan | 049 4378300 |
| Designers |  |  |
| Name: | Address: | Contact Number: |
| Cavan County Council | Courthouse, Cavan, Co. Cavan | 049 4378300 |
| Project Supervisor for the Construction Stage: |  |  |
| Name: | Address: | Contact Number: |
| Safety and Health Coordinator for Construction Stage |  |  |
| Name: | Address: | Contact Number: |
| Not Known |  |  |
| Principal Contractor |  |  |
| Name: | Address: | Contact Number: |
| Not Known |  |  |

Details of the contractual arrangements must be kept up-to-date. Any changes in the appointed PSDP and/or PSCS must be formally made in writing and acknowledged by the new appointee in writing.

List others involved in the project here

Design Team and Consultants (Give details where applicable)

| Civil Engineers: |  |  |
| --- | --- | --- |
| Name: | Address: | Contact Number: |
| n/a |  |  |
| Structural Engineers: |  |  |
| Name: | Address: | Contact Number: |
| n/a |  |  |
| Geotechnical Engineers: |  |  |
| Name: | Address: | Contact Number: |
| n/a |  |  |
| Others (includes Temporary Designers): |  |  |
| Name: | Address: | Contact Number: |
| n/a |  |  |

Sub- Contractors

| Sub- Contractors |  |  |
| --- | --- | --- |
| Name: | Address: | Contact Number: |
| Not Known |  |  |
| Sub- Contractors |  |  |
| Name: | Address: | Contact Number: |
| Not Known |  |  |
| Sub- Contractors |  |  |
| Name: | Address: | Contact Number: |
| Not Known |  |  |

5.0	Information on Other Work Activities

Table 1 – Other Activities (Non – Exhaustive)

| Reference | Description of “Other Activity” | Persons Affected | Communication necessary – yes / no | Details of method of communication |
| --- | --- | --- | --- | --- |
| 1 | Local Residents | Deliveries, post, school runs..etc | yes | PSCS to liaise with residents prior to commencement of works. |
| 2 | Landowners | Farmers, deliveries to the farm | yes | PSCS to liaise with landowners prior to commencement of works. |
| 3 | Local Schools | General Public | Yes | PSCS to liaise with schools prior to commencement of works. |
| 4 | Deliveries | General public | Yes | PSCS to liaise with residents prior to commencement of works |
| Other |  |  |  |  |

6.0	Requirement for Notification

If work is due to last longer than 30 working days, or 500 person days notification in writing will be sent to the H.S.A. (Health and Safety Authority) using the Form AF2 by the Project Supervisor Construction Stage prior to work commencing on site.

7.0	Arrangements for communication between Designers and PSCS

Arrangements shall be put in place to facilitate the provisions of any design assumptions or matters relating to safety, health and welfare as identified by the design process.

7.1	Pre-start Meeting

A pre-start meeting to be held prior to the commencement of the construction stage.  The purpose of the meeting is to ensure that the PSCS/Contractor/Designer is made aware, understands and agrees with the safety arrangements as detailed in this plan.

The agenda shall include the following (non-exhaustive):

- The provision of information regarding suggested control measures as identified in the Design Process Risk Assessment.

- Traffic Management Plan (TMP) if applicable.

- Exchange of contact details of PSDP and PSCS.

- Schedule of consultation/communication meetings (where applicable).

Minutes from the pre-start meeting must be recorded and filed in the Safety File/Folder.

7.2	Arrangements for liaison between Duty Holders

Meeting will be arranged for liaison between the PSCS, contractor/s, designer/s and the PSDP to consider the following:

- Safety and Health implications and co-ordination of design elements for both permanent and temporary works (RT1 and RT2 certificates, Forms as applicable).

- Arrangements for completion of safety inspections.

- Arrangements on the format and return date of information for inclusion in the Safety File.

- Procedures for dealing with unforeseen eventualities during project execution resulting in a substantial design change which might affect particular risks, contract time scales and other resources or safety and health implications.

Minutes from the liaison meeting must be recorded and filed on the Safety Folder/ File.

7.3	Issue of Directions

In order for the PSDP to comply with statutory requirements, the PSDP has the right under Regulation 14 (1) of the Construction Regulations 2013 to issue directions to:

- Designers

- PSCS

- Any other relevant duty holder where appropriate

.

Where any directions issued fail to be complied with the PSDP shall:

- Confirm the directions in writing including a time-frame for execution

And / or

- Where the relevant duty holder fails to carry out any direction confirmed in writing the PSDP will notify in writing:

  - The H.S.A

  - The Client

  - The Designer

  - PSCS

Copies of any direction or correspondence related to any direction given will be retained in this Design Process Safety and Health Plan.

8.0	Safety File

The Safety File shall be prepared and held by the P.S.C.S.  The Safety File shall be kept where applicable by the Client – Cavan County Council. All contractor information relating to the Safety File is to be returned in a timely manner for submission to the PSDP.

9.0	Plan Review

This Design Process Safety and Health Plan will be reviewed and updated, as necessary.  This plan shall be kept for a period of 5 years after the date of preparation in accordance with Regulation 12(1)(c) of the Construction Regulations.

10.0	Design Responsibility

10.1 Design Process Risk Assessment

General

The design process risk assessment is completed by the Health and Safety Co-ordinator for the Design Process. The PSDP is responsible for identifying hazards that present themselves at the design process of the project. It should be noted that as construction work develops additional hazards may be identified; such hazards cannot be anticipated by the PSDP at the design process of the works.

The Design Process Risk Assessment is completed following a visual survey of the proposed works by the Health and Safety Co-ordinator on behalf of the PSDP.

The assessment is divided into two sections Table A refers to the particular risks as detailed in Schedule 1 of the Safety, Health and Welfare at Work (Construction) Regulations 2013.  Since Schedule 1 is a non exhaustible list of particular risks, Table B details risks that are not specified in Schedule 1, however present a particular risk.

The risks identified in Table A and B in the Design Risk Assessments informs the PSCS of what risks are expected prior to the commencement of the construction stage.  The control measures as detailed in the Construction Stage Safety and Health Plan must be a true reflection of the controls implemented during construction work.  This is the responsibility of the PSCS.

Conclusions drawn with regards to the General Principles of Prevention are detailed in the “Control Measures” column of the Design Process Risk Assessment. Requirements to be applied to construction as regards the general principles of Prevention shall be the responsibility of the PSCS and Available in Appendix 3

10.4 Construction Stage Risk Assessment

Categories of Risk Assessment

The PSCS for the works will complete an envisaged Health and Safety Plan and risk assessments based on the hazards identified in this preliminary design health and safety Plan for Cavan County Council.

The PSCS developed Health and Safety Plan will remain on site for the duration of the works. Cavan County Council will monitor the works as part of its ongoing monitoring regime

Design Process Risk Assessment

Table A	Particular Risks – Scheduled

|  | Particular Risk (Scheduled) | Applicable |  |  | Hazard Description | Control Measures using the General Principles of Prevention |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A |  |  |
|  | Risk of falling from a height: Where the risk associated with working at a height is likely to be aggravated by the presence of another significant hazard e.g. working near an open drain |  |  |  | Falling from road level into watercourse | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
|  | Risk of burial or engulfment: Where the risk associated with working in an excavation is aggravated by the presence of another significant underground service or where there is a risk of undermining existing foundations e.g. working in trench greater than 1.25m in depth |  |  |  | Burial due to EXCAVATION | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
|  | Risks from chemical or biological substances: Where certain materials or substances are used a particular risk in relation to chemical or biological substance may exist |  |  |  | Cement based materials such as concrete and mortar for installation concrete saddle | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. Safety, Health and Welfare at Work Act ( Chemical Agents ) Regulations 1993 (Part II & Part V). Safety, Health and Welfare at Work Act ( Chemical Agents ) Regulations 1994 Safety, Health and Welfare at Work Act ( Biological Agents ) Regulations 1994 including amendments. CONTROL MEASURES TO INCLUDE: - PPE SUCH AS GLOVES / GOGGLES. - CLEANING FACILITIES WITH FRESH CLEAN WATER TO BE PROVIDED IN WELFARE UNIT/SECURITY CABIN. - EMERGENCY PROCEDURE TO DEAL WITH SPLASH TO EYES |
|  | Working near high voltage power lines: any voltage exceeding 1000volts AC or 1500 volts DC |  |  |  | Overhead lines and underground lines | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. ESB Code of Practice for working near overhead lines services and all other applicable guidance |

|  | Particular Risk (Scheduled) | Applicable |  |  | Hazard Description | Control Measures using the General Principles of Prevention |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Yes | No | N/A |  |  |
| 5. | Risk of Drowning |  |  |  | Open drain/watercourse | Refer to Principles of Prevention (Appendix2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
| 6. | Presence of Underground Watermains |  |  |  |  | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013 |

Table B	Particular Risks – Non-scheduled and Non-Exhaustive List (identified at the design process)

|  | Particular Risk (Non-scheduled) | Hazard Description | Control Measures using the General Principles of Prevention |
| --- | --- | --- | --- |
|  | Work carried out in close proximity to Live traffic | Vehicular traffic through the live roadworks zone. | Guidance for the Control and Management of Traffic at Road Works Second Edition 2010 chapter 8 levels 1-4. (Update Pending). Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
|  | Excavating in close proximity to underground electrical cables or underground gas mains | Overhead lines | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013 |
|  | Presence of steep slopes or embankments | Embankments, excavations, | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
|  | Conflict between moving equipment, site machinery and movement of public vehicles, pedestrians, cyclists etc whilst accessing or exiting the site in particular vehicles or trailers extending onto the live carriageway while entering/leaving site | Plant and Machinery | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. Guidance for the Control and Management of Traffic at Road Works Second Edition 2010 chapter 8 levels 1-4. |
|  | Work involving the use of lifting gear | Lifting gear failure causing load to fall on someone | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
|  | Control and maintenance of site plant and equipment | Injury due to errant vehicle or faulty equipment | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. All excavators to comply with European standard EN 474-1: 2013 which explicitly rules out the use of semi –automatic quick hitches. |
|  | Objects falling from a height e.g. debris falling from plant/machinery | Branches from trees Material falling from lorries | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
|  | Control of Noise or Vibration | Loss of hearing | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
|  | Control of Unauthorised Access to Works | INJURIES TO CHILDREN ESPECIALLY. | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
| 10. | Cutting and breaking of existing road surface | CONTACT WITH FLYING DEBRIS / DUST / VIBRATION INJURY. | Refer to Principles of Prevention Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
| 11. | Presence of physical barriers | COLLISION WITH POLES/ TREES/ RESTRICTED MOVEMENT. | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
| 12. | Presence of containers of fuel for plant and machinery | Explosion. | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. Safety, Health and Welfare at Work Act (Chemical Agents ) Regulations. |
| 13. | Hot bitumen/macadam & high friction surfacing materials | Explosion, burns and splashes | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. Safety, Health and Welfare at Work Act (Chemical Agents) Regulations. |
| 14 | Removing tree/hedges | Tree or branch falling on someone | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
| 15 | Presence of Agricultural Activities | Injury by animals and escape of animals onto road or works area | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. |
| 16 | Presence of elevated areas | Injury by falling from a height. | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. INJURIES FROM FALLING FROM A HEIGHT. |
| 17 | Live traffic travelling on a temporary surface | Loss of control due to reduced surface friction on temporary surface | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. EXISTING SURFACE COULD BE PLANED AND |
| 18 | Access/Egress | Slip, trips and falls | Refer to Principles of Prevention (Appendix 2). Refer to the Safety Health and Welfare at Work Act (Construction) Regulations 2013. Signage will be in place to inform people of the site perimeter with additional signage erected at the entry point to inform people of the PPE requirements and the dangers present. |

The information contained in this Design Process Safety and Health Plan has been prepared prior to the commencement of the work on site.  It does not take account of any matters or information which may come to light after that time.  This document together with all documents outlined herein will be passed to the Project Supervisor for the Construction Stage (PSCS) for development of the Construction Stage Safety and Health Plan.

Signed for and on behalf of Cavan County Council

Signed:  ________________________________________Date: ______________

(Health and Safety Co-ordinator)

11.0	Site Rules

These are generic rules for the general guidance of the all persons involved in the project/works and must be developed by the PSDP/Designer/Health and Safety Coordinator for Design Process/PSCS/Contractor/Health and Safety Coordinator for Construction Stage to become Site Specific Rules for the project in hand.

Specific site rules must consider the risks identified in the Design Process Risk Assessment and the construction stage risk assessment e.g. if a 360 excavator is to be used during construction, the following shall be included in the site rules for the construction stage:

Only trained personnel shall operate the 360 excavator. The operator shall have his CSCS card or equivalent available at all times for inspection. The following Statutory forms shall also be made available for inspection: GA1, GA2, GA 3 ,AF2,  AF3 and  AF4 where relevant

- All site visitors, personnel and contractors are required to comply with the Site Health & Safety policy and the specific Construction Stage Health & Safety Plan.

- The PSCS shall ensure that all subcontractors are assessed with regard to their level of competence and availability of resources.

- All risks identified in the Design Process Health & Safety Plan and in the Health, Safety and Welfare (Construction) Regulations 2013 are to be individually identified and addressed by the PSCS.

- SSWP, Method Statements and Safety Statements should be reviewed and revised as necessary on an ongoing basis to take into account any new issues, which arise during the course of any revision. Revisions, which could affect SHW matters, should be raised at site meetings.

- All site personnel and Health & Safety personnel should be advised on an ongoing basis of any revisions to the Health & Safety Plan by the PSCS/Health and Safety Coordinator for Construction Stage.

- Standard and proof of adequate training of personnel on site should be included in the Health & Safety Plan prepared by the PSCS/Health and Safety Coordinator for Construction Stage.

- Eating and drinking should not be allowed in designated working areas.

- The PSCS/Health and Safety Coordinator for Construction Stage should ensure that all excavations are supported in accordance with the requirements of the 2013 Regulations and all other applicable guidance

- The PSCS/Health and Safety Coordinator for Construction Stage must ensure that all relevant Health & Safety Regulations are adhered to at all times.

Appendix 1

Emergency Contact Numbers

| Emergency Details |  |
| --- | --- |
| First Aider (s): | To be inserted by PSCS |
| Local A&E/Hospital: | Cavan General Hospital (049) 4376000 Our Ladies General Hospital, Navan (046) 9021210 Ambulances Services (046) 9023333 |
| Local Doctors: | Virginia Dr. G Igor (049) 8546222 Cavan Dr.J Sullivan (049) 4361700 Cavan Dr.Hume (049) 4362266 Bailieborough Dr. Cronin (042) 9665487 Bailieborough Dr. Halligan (042) 9665566 Ballyjamesduff Dr. MJ O'Malley (049) 8544595 Belturbet Health Centre (049) 9522288 Swanlinbar Dr.K Deering (049) 9521584 Stradone Health Centre (049) 4330722 Killeshandra Health Centre (049) 4334544 Ballyconnell Dr.G Burke (049) 9522642 Kingscourt surgery (042) 9667487 Cootehill Medical centre (049) 5555055 Doctor-on-call 1850 777 911 |
| Local Gardai: Tel : 999/112 | Virginia (049) 8547002 Cavan (049) 4331300 Mullagh (046) 9242002 Ballyjamesduff (049) 8544102 Shercock (042) 9669102 Bailieborough (042) 9665102 Ballyconnell (042) 9526102 Belturbet (049) 9522122 Cootehill (049) 5552105 Swanlinbar (049) 9521242 |
| Local Fire Station Tel: 999/112 Telecom | Cavan Fire Station (087) 9920746 Bailieborough Fire Station (042) 9666388 Ballyjamesduff Fire Station (087) 9212429 Virginia Fire Station (086) 8116037 Ballyconnell Fire Station (087) 9972501 Belturbet Fire Station (087) 2777532 Killeshandra Fire Station (049) 4334448 Emergency Line 1850 372 999 1902 then press 2 - Dial before you dig |

AED's (Defibrillators) are located:

- Cavan County Council: Johnston Library, Farnham Street, Cavan H12 A3T1

- Kingspan Breffni: Creighan, Cavan, Ireland

Appendix 2

General Principles of Prevention

Schedule 3 of the Safety, Health and Welfare at Work Act, 2005

General Principles of Prevention

- The avoidance of risks.

- The evaluation of unavoidable risk.

- The combating risks at source.

- The adaptation of work to the individual.

- The adaptation of the place of work to technical progress.

- The replacement of dangerous articles, substances or systems of work by less dangerous/ non – dangerous items.

- The development of an adequate prevention policy.

- The giving to collective protective measures over individual protective measures.

- The giving of appropriate training and instructions to employees.

Appendix 3

Requirements to be applied to construction as regards the General Principles of Prevention

Schedule 2 to the Construction Regulations 2013

Requirements to be applied to construction as regards the general principles of prevention

- Keeping the construction site in good order and in a satisfactory state of cleanliness;

- Choosing the location of workstations bearing in mind how access to these workplaces is obtained and determining routes or areas for the passage and movement of equipment;

- The conditions under which various materials are handled;

- Technical maintenance, pre-commissioning checks and regular checks on installations and equipment with a view to correcting any faults which might affect the safety and health of persons at work;

- Co-operation between employers and self-employed persons; the demarcation and laying-out of areas for the storage of various materials, in particular where dangerous materials or substances are concerned;

- The conditions under which the dangerous materials used are removed;

- The storage and disposal or removal of waste and debris;

- The adaption, based on progress made with the site, of the actual period to be allocated for the various types of work or work stages;

- Co-operation between employers and self-employed persons.

- Interaction with industrial activities at the place within which or in the vicinity of which the construction site is located.

SECTION 12.0 - Location Maps

Con Smith Park

SECTION 13.0 - Existing Services

Please see services drawings provided in 02.Service Drawings

SECTION 14.0 - Photographs