## Summary Totals
PRICING DOCUMENT (VOLUME C)
Project: Solar PV design, supply, installation and all associated works for 4no. Buildings at Sport Ireland Campus, Snugborough Road
Section | Total Amount (€)
1. Preliminaries | 0
2. Design Stage | 0
3. National Indoor Arena | 0
4. Sport HQ | 0
5. Pavilion | 0
6. Campus Conference Centre | 0
SUB-TOTAL (Excl. VAT) | 0 | Note: This is the lump sum amount that should be input to the Form of Tender
VAT (Standard Rate)
VAT (Reduced Rate)
TOTAL TENDER SUM (Incl. VAT) | 0
I/We having read the Conditions of Contract and Tender Documents and having examined the documents referred to therein and inspected the site of the works do hereby offer to execute and complete in accordance with the Conditions of Contract, the whole of the works described, all to the entire satisfaction of the Engineers, for the above sum, and to enter into a contract accordingly:
I/We agree to carry out and complete the whole of the works in accordance with the provisions of the Tender Documentation.
Tenderer Name: | ________________________________________________
Signed: | ________________________________________________
Date: | ________________________________________________

## 1. Preliminaries
Item | Description | Total (€)
1 | Insurances
2 | PSCS & Health and Safety & RAMS
3 | Electronic Leak Detection (Spark Testing) - As per section 4.2 of Volume A, Tender Brief
4 | Production of Preliminary programme
5 | Compliance Certification
6 | O&M Manuals including Hard & Soft Copies of all Documentation
7 | Site Visits
8 | Waste Management
9 | Provision of Record Documents and Drawings as specified
10 | Completion of work in accordance with Phasing Requirements of the project, including out of hours premium works required, in accordance with the Works Requirements.
11 | Extended Warranties as specified
12 | Sundries (State Items)
Total Preliminaries

## 2. Design Stage
Item | Description | Qty | Total (€)
1 | Design of PV Array for each building as indicated in the specification | 4
2 | Design of mounting system for PV panels for each building as indicated in the specification | 4
3 | Design of appropriate inverters for the proposed PV array for each building as indicated in the specification | 4
4 | Production of detailed working Layout drawings and schematics, as developed from the Design Intent Documents and to inform and produce coordinated construction drawings four weeks after being appointed. | 4
5 | Builders Work drawings from Design Intent Documents | 4
6 | Any other works necessary to complete this section of the works | 1
Total Design Stage

## 4. Sport HQ
Item | Solar PV Services Installation | Total (€)
1 | Supply & installation of Solar PV panels.
2 | Supply & installation of PV panel supports, ballast mounting system and all other associated equipment
3 | Supply & installation of containment to include hangars, fixings, etc.
4 | Supply & installation of DC cables. (Cca rated Minimum)
5 | Supply & installation of DC isolators.
6 | Supply & installation of Inverters & associated equipment to include hangars, fixings, etc.
7 | Supply & Installation of Mains decouping relay
8 | Supply & Installation of Fire safety isolation switch
9 | Supply and installation of a permanent slip-resistant walkway membrane system. Inclusive of all surface preparation, layout planning from roof access points to solar arrays, and continuous hot-air welding to the primary roof membrane.
10 | Testing and commissioning, to include all testing reports and commissioning certificates
11 | Crainage and off-loading of panels and equipment in a staged basis as required
12 | Supply and installation of warning labels at entrance and distribution boards
13 | Complete tie in of PV System to BMS. PV System also to be remote accessible via web
14 | Training of Client in operation of PV System
15 | Builders Works: Forming openings as required, drilling, coring, etc.
16 | Builders Works: Covering of openings as required, reinstatement and decoration to match existing condition
17 | Builders Works: Fire sealing of openings as required; new openings and re-instatement of altered existing fireproofing, including certification, tagging & signage
18 | Costs for completing the NC7 application to include the ESB Application Fee
19 | Any other works necessary to complete this section of the works (state items).
Total Solar PV Services Installation
Item | Electrical Services | Total (€)
1 | Survey of existing site services
2 | Supply & Installation of containment for PV installation
3 | Supply & installation of AC cables (minimum Cca rated)
4 | Supply & installation of breakers for the PV incomer
5 | Complete tie in of PV installations to existing infrastructure
6 | Production of coordinated construction drawings showing containment routing
7 | Any other works necessary to complete this section of the works (state items).
Total Electrical Services
| Total Sport HQ: | 0

## 3. National Indoor Arena
Item | Solar PV Services Installation | Total (€)
1 | Supply & installation of Solar PV panels.
2 | Supply & installation of PV panel supports, ballast mounting system and all other associated equipment
3 | Supply & installation of containment to include hangars, fixings, etc.
4 | Supply & installation of DC cables. (Cca rated Minimum)
5 | Supply & installation of DC isolators.
6 | Supply & installation of Inverters & associated equipment to include hangars, fixings, etc.
7 | Supply & Installation of Mains decouping relay
8 | Supply & installation of a compliant Export Limiting Controller
9 | Supply & Installation of Fire safety isolation switch
10 | Testing and commissioning, to include all testing reports and commissioning certificates
11 | Supply and installation of a permanent slip-resistant walkway membrane system. Inclusive of all surface preparation, layout planning from roof access points to solar arrays, and continuous hot-air welding to the primary roof membrane.
12 | Crainage and off-loading of panels and equipment in a staged basis as required
13 | Supply and installation of warning labels at entrance and distribution boards
14 | Complete tie in of PV System to BMS. PV System also to be remote accessible via web
15 | Training of Client in operation of PV System
16 | Builders Works: Forming openings as required, drilling, coring, etc.
17 | Builders Works: Covering of openings as required, reinstatement and decoration to match existing condition
18 | Builders Works: Fire sealing of openings as required; new openings and re-instatement of altered existing fireproofing, including certification, tagging & signage
19 | Costs for completing the NC8 application to include the ESB Application Fee
20 | Any other works necessary to complete this section of the works (state items).
Total Solar PV Services Installation
Item | Electrical Services | Total (€)
1 | Survey of existing site services
2 | Supply & Installation of containment for PV installation
3 | Supply & installation of AC cables (minimum Cca rated)
4 | Supply & installation of breakers for the PV incomer
5 | Complete tie in of PV installations to existing infrastructure
6 | Production of coordinated construction drawings showing containment routing
7 | Any other works necessary to complete this section of the works (state items).
Total Electrical Services
| Total National Indoor Arena: | 0

## 5. Pavilion
Item | Solar PV Services Installation | Total (€)
1 | Supply & installation of Solar PV panels.
2 | Supply & installation of LFP Battery Modules
3 | Supply & installation of PV panel supports, seam clamp mounting system and all other associated equipment
4 | Supply & installation of containment to include hangars, fixings, etc.
5 | Supply & installation of DC cables. (Cca rated Minimum)
6 | Supply & installation of DC isolators.
7 | Supply & installation of hybrid Inverter & associated equipment to include hangars, fixings, etc.
8 | Supply & Installation of Mains decouping relay
9 | Supply & Installation of Fire safety isolation switch
10 | Supply & Installation of BESS fire suppression and thermal management system
11 | Testing and commissioning, to include all testing reports and commissioning certificates
12 | Crainage and off-loading of panels and equipment in a staged basis as required
13 | Supply and installation of warning labels at entrance and distribution boards
14 | Complete tie in of PV System to BMS. PV System also to be remote accessible via web
15 | Training of Client in operation of PV System
16 | Builders Works: Forming openings as required, drilling, coring, etc.
17 | Builders Works: Covering of openings as required, reinstatement and decoration to match existing condition
18 | Builders Works: Fire sealing of openings as required; new openings and re-instatement of altered existing fireproofing, including certification, tagging & signage
19 | Costs for completing the NC7 application to include the ESB Application Fee
20 | Any other works necessary to complete this section of the works (state items).
Total Solar PV Services Installation
Item | Electrical Services | Total (€)
1 | Survey of existing site services
2 | Supply & Installation of containment for PV installation
3 | Supply & installation of AC cables (minimum Cca rated)
4 | Supply & installation of breakers for the PV incomer
5 | Complete tie in of PV installations to existing infrastructure
6 | Production of coordinated construction drawings showing containment routing
7 | Any other works necessary to complete this section of the works (state items).
Total Electrical Services
| Total Pavilion: | 0

## 6. Campus Conference Centre
Item | Solar PV Services Installation | Total (€)
1 | Supply & installation of Solar PV panels.
2 | Supply & installation of PV panel supports, ballast mounting system and all other associated equipment
3 | Supply & installation of containment to include hangars, fixings, etc.
4 | Supply & installation of DC cables. (Cca rated Minimum)
5 | Supply & installation of DC isolators.
6 | Supply & installation of Inverters & associated equipment to include hangars, fixings, etc.
7 | Supply & Installation of Mains decouping relay
8 | Supply & Installation of Fire safety isolation switch
9 | Supply and installation of a permanent slip-resistant walkway membrane system. Inclusive of all surface preparation, layout planning from roof access points to solar arrays, and continuous hot-air welding to the primary roof membrane.
10 | Testing and commissioning, to include all testing reports and commissioning certificates
11 | Crainage and off-loading of panels and equipment in a staged basis as required
12 | Supply and installation of warning labels at entrance and distribution boards
13 | Complete tie in of PV System to BMS. PV System also to be remote accessible via web
14 | Training of Client in operation of PV System
15 | Builders Works: Forming openings as required, drilling, coring, etc.
16 | Builders Works: Covering of openings as required, reinstatement and decoration to match existing condition
17 | Builders Works: Fire sealing of openings as required; new openings and re-instatement of altered existing fireproofing, including certification, tagging & signage
18 | Costs for completing the NC7 application to include the ESB Application Fee
19 | Any other works necessary to complete this section of the works (state items).
Total Solar PV Services Installation
Item | Electrical Services | Total (€)
1 | Survey of existing site services
2 | Supply & Installation of containment for PV installation
3 | Supply & installation of AC cables (minimum Cca rated)
4 | Supply & installation of breakers for the PV incomer
5 | Complete tie in of PV installations to existing infrastructure
6 | Production of coordinated construction drawings showing containment routing
7 | Any other works necessary to complete this section of the works (state items).
Total Electrical Services
| Total Campus Conference Centre: | 0

## Schedule of Rates
NOTE: Where extra work is required and authorised by the Engineers, it shall be carried out at your Pricing Document rates as agreed at the time of negotiations of this tender, but if applicable rates cannot be deduced, then the following rates shall apply.
Resource Description | Rate per Hour (€)
Out of Hours Rate for Electrical Shutdowns and Connections
Qualified Electrician (RECI/Safe Electric)
Apprentice Electrician
Contracts Manager
Foreman
Chargehand
Percentage Mark-up on Materials | %
Schedule of Rates for Contingent Roof Repairs (Volume A, Section 4.2.1): The rates provided below shall be fully inclusive of all labour, materials, plant, overheads, and profit. These rates will not form part of the main contract lump sum award but will be used exclusively to value any pre-existing roof defects identified during the Pre-Installation Spark Test under a Clause 4 Change Order, should the Employer elect to instruct the Contractor to carry out the repairs.
Description of Contingent Work | Unit | Total (€)
Flat Roof Repair: Supply and patch/seal pre-existing punctures or defects in flat roof membrane (inclusive of cleaning, priming, and matching membrane material). | Per m2
Curved Roof Repair: Supply and seal pre-existing defects or seams on the curved metal roof structure using approved specialist sealant/flashing. | Per m2
Roofing Technician Labour: Hourly rate for an approved roofing specialist technician to carry out localised patch repairs (only applicable where Items above cannot be applied). | Per Hour