| APPENDIX 1: TENDER RESPONSE DOCUMENT ATU Request for tender for a Benchtop XYZ programmable low volume liquid dispensing platform that is suitable for Lateral Flow Assay (LFA) development and biosensor fabrication also, a guillotine cutter and laminator for LFA assembly and research purposes |  |
| --- | --- |
| Tender deadline Tuesday 8th September 2026 17:00 |  |
| Company Name |  |
| Contact Name |  |
| Contact Email Address |  |
| Phone Number |  |
| Postal Address |  |

- Contents

1	Instruction for Completion	1

2	Tenderer Information	2

2.1	Summary of Requirements	2

2.2	General Contact Information	2

3	Response to the Selection Criteria	3

3.1	Tenderer’s Statement	3

3.2	Declaration of Bona Fides – Pass/Fail Criteria	4

3.3	Declaration re Statutory Obligations – Pass/Fail Criteria	6

3.4	Financial Information – Pass/Fail Criteria	7

3.5	Previous Experience - Pass/Fail Criteria	9

3.6	Health & Safety Pass/Fail Criteria	11

3.7	Quality Assurance – Pass/Fail Criteria (If applicable)	12

3.8	Sub-Contracting	12

4	Response to the Award Criteria	14

4.1	Response to Qualitative Award Criteria	14

4.2	Response to Ultimate Cost Criterion E - Form of Tender	22

5	Checklist	25

# Instruction for Completion

All Responses in this Tender Response Document are subject to the rules, conditions and stipulations as set out in the RFT Document.

This document MUST be used for the submission of tenders.  Tenderers must follow the instructions contained in this document in relation to attachments, word limits, etc.

Tenderers should ensure they have read the Request for Tender before they attempt to complete this Tender Response Document.

If you consider that the Tender Response Document is missing any sections which would prevent you from preparing a comprehensive response, please contact the Contracting Authority as soon as possible.

Where there is a discrepancy between the contents / instructions in this document and the Request for Tender, the Request for Tender will take precedence.

Tenderers must follow the instructions contained in this document in relation to attachments, format for submission, etc.

In the event that suppliers are co-operating to deliver the service, a separate Tender Response Document will be required for each co-operating party with a statement identifying the lead party and explicitly defining the roles and responsibilities of each entity.

# Tenderer Information

## Summary of Requirements

Atlantic Technological University invites tender for the supply of a high-precision, automated XYZ motion and fluid dispensing benchtop system with both contact and non-contact dispensing options on a single platform. A guillotine cutter and laminator must be provided by the same provider as the system will be utilized for research, development, and low-to-moderate batch production throughput of lateral flow assays, and research & development of other biosensor applications

## General Contact Information

| Tenderer Summary |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass Requirement: Tenderers must complete this Section |  |  |  |  |  |  |
| Organisation Name: |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |
| Telephone (Office): |  |  |  |  |  |  |
| Telephone (Mobile): |  |  |  |  |  |  |
| Email: |  |  |  |  |  |  |
| Website: |  |  |  |  |  |  |
| VAT Registration Number: |  |  |  |  |  |  |
| Date of Establishment: |  |  |  |  |  |  |
| Legal Status (Company, Sole Trader, etc.): |  |  |  |  |  |  |
| Is the Tenderer a Small and Medium Enterprise (SME)? | Yes |  |  |  | No |  |
| SMEs are enterprises which employ fewer than 250 persons, and which have an annual turnover not exceeding €50 million, and/or an annual balance sheet total not exceeding €43 million |  |  |  |  |  |  |
| Is the tenderer a consortium / group of Economic Operators? | Yes |  |  |  | No |  |
| If yes, please provide the following information |  |  |  |  |  |  |
| Name |  | Legal Status |  | Element to be Delivered |  |  |
| Each member must submit a separate Tender Response Document |  |  |  |  |  |  |

# Response to the Selection Criteria

## Tenderer’s Statement

Tenderers shall complete and return the following form of Tenderers’ Statement printed on the Tenderers’ headed notepaper and signed by the Tenderer. Tenderers are asked to scan the signed document and return it with their tender submission via the electronic post-box.

TENDERERS’ STATEMENT

TO:  Atlantic Technological University (the “Contracting Authority”)

RE:    CFT 8808753 ATU Request for tender for a Benchtop XYZ programmable low volume liquid dispensing platform that is suitable for Lateral Flow Assay (LFA) development and biosensor fabrication also, a guillotine cutter and laminator for LFA assembly and research purposes

Having examined your Request for Tenders (the “RFT”) including the Instructions to Tenderers, the Selection and Award Criteria, the Requirements and Specifications, and the Terms and Conditions of the Services Contract, we hereby agree and declare the following:

| 1. |  | We understand the nature and extent of the Services to be delivered as described at Section 5.1 of this document. |  |
| --- | --- | --- | --- |
| 2. |  | We accept all of the Terms and Conditions of the RFT, the Goods Contract and the Confidentiality Agreement and agree if awarded a Contract to execute the Goods Contract at Appendix 3 and the Confidentiality Agreement at Appendix 1 of the Contract document. |  |
| 3. |  | We accept all the Selection and Award Criteria as set out in Sections 4 and 5of the RFT. |  |
| 4. |  | We agree to provide the Contracting Authority with the goods in accordance with the RFT and our Tender. |  |
| 5. |  | We agree that, if awarded any Contract, we shall, in the performance of such Contract, comply with all applicable obligations in the field of environmental, social and labour law. |  |
| 6. |  | We confirm that we have complied with all requirements as set out in the RFT. |  |
| 7. |  | We confirm that the prices quoted in our Tender will be the maximum prices allowed during the term of the contract. |  |
| 8. |  | We shall, if awarded any Contract under the RFT, have in place on the Effective Date of the Contract all insurances (if any) as required by section 4 of the RFT. |  |
| 9. |  | We confirm that all Data Subjects whose Personal Data is provided in our Tender have consented to the processing of such Personal Data by us, the Contracting Authority, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of our participation in this Competition or that we otherwise have a legal basis for providing such Personal Data to the Contracting Authority for the purposes of our participation in this Competition and that we will provide evidence of such consent and / or legal basis to the Contracting Authority upon request. |  |
| SIGNED (Authorised Signatory) |  | Company |
| Print name |  | Address |
| Date |  |  |

## Declaration of Bona Fides – Pass/Fail Criteria

| Declaration of Bona Fides & Statutory Obligations (Under Public Sector Directive 2014/24/EU - Article 57) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass requirement: Tenderers must complete, sign and date this Declaration. The Contracting Authority reserves the right at its discretion to exclude a non-compliant tenderer under each heading. This must be completed by each group member. |  |  |  |  |  |
| Economic Operators will be excluded from the procurement process if, within the past five (5) years, there is evidence of a conviction relating to a specific criminal offence listed below (see 1.1) or if they have been the subject of a binding legal decision which found a breach of legal obligations to pay tax or social security contributions (see 1.2) (except where this is disproportionate e.g. where only minor amounts are involved). |  |  |  |  |  |
| 1.1 | Has the Economic Operator or a member of their proposed consortium, (if applicable), Director, or Partner or any other person who has powers of representation, decision or control, been convicted of any of the following offences? |  | Yes | No |  |
|  |  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |  |
| 1.1a | participation in a criminal organisation, as defined in Article 2 of Council Framework decision 2008/841/JHA; |  |  |  |  |
| 1.1b | corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in Irish Law or the jurisdiction in which the Economic Operator is established; |  |  |  |  |
| 1.1c | fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests; |  |  |  |  |
| 1.1d | the subject of a conviction for terrorist offences or offences linked to terrorist activities or for inciting or aiding or abetting or attempting to commit an offence; |  |  |  |  |
| 1.1e | the subject of a conviction for money laundering or terrorist financing; |  |  |  |  |
| 1.1f | the subject of a conviction of child labour and other forms of trafficking in human beings; |  |  |  |  |
| 1.2 | Non-payment of taxes or social security obligations Has it been established by a judicial or administrative decision having final and binding effect in accordance with Irish law or the legal provisions of the country in which the Economic Operator is established (if outside Ireland), that the Economic Operator is in breach of obligations related to the payment of tax and social security contributions? If the response to 1.2 above is in the affirmative, please provide further information on the decision and the amounts involved. |  |  |  |  |
| An Economic Operator who answers ‘Yes’ in any of the situations set out in paragraphs 2.1.a to 2.1.i will be excluded. |  |  |  |  |  |
| 2.1 | Please indicate if any of the following situations have applied, within the past three (3) years, or currently apply, to your organisation. The Economic Operator: |  | Yes | No |  |
|  |  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |  |
| 2.1a | has, in the performance of any public contract, failed to comply with applicable obligations in the field of environmental, social and labour law applying at the place where the works were carried out or the services provided, as established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Annex X of Directive 2014/24/EU; |  |  |  |  |
| 2.1b | is bankrupt or the subject of insolvency or winding-up proceedings, its assets are being administered by a liquidator or by the court, or has entered into an arrangement with creditors, suspended its business activities or is in any analogous situation arising from a similar procedure under national laws and regulations; |  |  |  |  |
| 2.1c | is guilty of grave professional misconduct which renders its integrity questionable; |  |  |  |  |
| 2.1d | has entered into agreements with other Economic Operators aimed at distorting competition; |  |  |  |  |
| 2.1e | has a conflict of interest within the meaning of Article 24 of 2014/24/EU that cannot be effectively remedied by other, less intrusive, measures; |  |  |  |  |
| 2.1f | confirms that it has had prior involvement in the preparation of the procurement procedure which has resulted in a distortion of competition, as referred to in Article 41 of 2014/24/EU, that cannot be remedied by other, less intrusive, measures; |  |  |  |  |
| 2.1g | has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions. |  |  |  |  |
| 2.1h | - is guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria; or - has withheld such information or is not able to submit supporting documents required under Article 59 of Directive 2014/24/EU; or |  |  |  |  |
| 2.1i | has undertaken to: - unduly influence the decision-making process of the contracting entity, or - obtain confidential information that may confer upon the tenderer undue advantages in the procurement procedure; or - negligently provide misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  |  |  |  |
| Article 5K Declaration EU Regulation 2022/576 on restrictive measures in the Context of Russian Actions in the Ukraine |  |  |  |  |  |
| A. | In the light of Russian actions in the Ukraine, the European Council adopted a new regulation – EU Regulation 2022/576, aimed at restricting participation in economic activity by economic operators from the Russian Federation. Article 5K of the Regulation prohibits the award or continuation of contracts falling within the scope of the Public Procurement Directives to persons or undertakings related to the Russian Federation. To comply with EU Regulation 2022/576, the Contracting Authority is seeking a declaration from economic operators to this effect. |  |  |  |  |
| B. | I declare that none of the exclusions specified in EU Regulation 2022/576 apply to any party associated with this application. |  | Yes |  | No |
| Name of Economic Operator: |  |  |  |  |  |
| Authorised Signatory: |  |  |  |  |  |
| Name in Block Capitals: |  |  |  |  |  |
| Position: |  |  |  |  |  |

## Declaration re Statutory Obligations – Pass/Fail Criteria

| Declaration on Statutory Obligations |  |  |  |  |
| --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass requirement: Tenderers must complete, sign and date this Declaration. The Contracting Authority reserves the right at its discretion to exclude a non-compliant tenderer under each heading. This must be completed by each group member. |  |  |  |  |
| We confirm that we are fully compliant with the following legislation, or equivalent legislation in our country of establishment / operation: |  |  | Yes | No |
| (i) | Employment Equality Acts 1998-2011 |  |  |  |
| (ii) | Equal Status Acts 2000-2011 |  |  |  |
| (iii) | National Minimum Wage Act 2000 as amended |  |  |  |
| (iv) | Organisation of Working Time Act 1997 as amended |  |  |  |
| (v) | Safety, Health and Welfare at Work Act 2005 and Safety, Health and Welfare at Work (General Application) Regulations 2007 |  |  |  |
| (vi) | Disability Act 2005 |  |  |  |
| (vii) | General Data Protection Regulation 2016/679 |  |  |  |
| (viii) | We have procedures in place to ensure that our subcontractors, if any are used for this contract, apply the same standards. |  |  |  |
| This Declaration is made for the benefit of the Contracting Authority I certify that the information provided in this declaration is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in this Declaration will lead to my organisation being excluded from participation in this and future tenders and I am signing on behalf of: |  |  |  |  |
| Name of Economic Operator: |  |  |  |  |
| Authorised Signatory: |  |  |  |  |
| Name in Block Capitals: |  |  |  |  |
| Position: |  |  |  |  |

## Financial Information – Pass/Fail Criteria

| Tax Compliance |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Option 1: I confirm and declare being tax compliant. The Contracting Authority can verify your tax clearance status through Revenue’s online facility at http://www.revenue.ie/en/online/tax-clearance.html To this end, please confirm: |  |  |  | Yes |  |  |  |
|  |  |  |  | No |  |  |  |
| Tenderer Name: |  |  |  |  |  |  |  |
| Tax Reference Number (PPSN): |  |  |  |  |  |  |  |
| Access Number: |  |  |  |  |  |  |  |
| Option 2: I confirm that I hold a current valid Tax Clearance Certificate (generally relates to Non-Residents) To this end, please confirm: |  |  |  | Yes |  |  |  |
|  |  |  |  | No |  |  |  |
| Registration Number: |  |  |  |  |  |  |  |
| Certificate Number: |  |  |  |  |  |  |  |
| Option 3: I confirm that I have applied for Tax Clearance status or a Tax Clearance Certificate which will be made available on request |  |  |  | Yes |  |  |  |
|  |  |  |  | No |  |  |  |
| Financial Capacity |  |  |  |  |  |  |  |
| I confirm that our turnover exceeded €188,000 per annum in the last three financial years or pro-rata if more recently established firms are tendering – however the firm must have been in existence for at least 6 months. Evidence of the foregoing will be required within 7 days of request prior to the award of any contract. |  |  |  |  |  |  |  |
| Financial Year |  | 2025 |  | 2024 |  |  | 2023 |
| Turnover |  | € |  | € |  |  | € |
| Month of financial year end |  |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the tender list being finalised: (evidence of turnover for the past three financial years by way of auditor’s letter or audited accounts) |  |  |  | Yes |  |  |  |
|  |  |  |  | No |  |  |  |
| I confirm that I will supply evidence of financial standing, by way of auditor’s letter ensuring the tenderer party has the financial capacity to pay its debts identified on the current statement of assets and liabilities as being the debts as they fall due. |  |  |  | Yes |  |  |  |
|  |  |  |  | No |  |  |  |
| Insurances |  |  |  |  |  |  |  |
| I confirm that we have the following insurances in place: |  |  |  |  |  |  |  |
| Insurance Type |  | Level in place | Details of Excess |  | Expiry Date |  |  |
| Employer Liability |  | € |  |  |  |  |  |
| Public Liability |  | € |  |  |  |  |  |
| Product Liability |  | € |  |  |  |  |  |
| I confirm that the insurance cover includes an ‘Indemnity to Principal’ clause |  |  | Yes |  |  |  |  |
|  |  |  | No |  |  |  |  |
| I confirm that the Republic of Ireland is included in the territorial and jurisdictional limits of the insurance cover |  |  | Yes |  |  |  |  |
|  |  |  | No |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the award decision being made: Evidence of insurances in place or Letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  | Yes |  |  |  |  |
|  |  |  | No |  |  |  |  |
| I confirm that if successful, where the levels required under the contract or framework are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place promptly. |  |  | Yes |  |  |  |  |
|  |  |  | No |  |  |  |  |
| Please note that the Contracting Authority will seek to verify self-declarations regarding financial capacity prior to next stage of the competition. |  |  |  |  |  |  |  |
| Signed: |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |

## Previous Experience - Pass/Fail Criteria

Previous Experience

Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should refer to instances within the last five (5) years which demonstrate that they have successfully delivered similar equipment on two (2) occasions. The contracts referenced for consideration should provide comprehensive information to enable the Contracting Authority to determine their comparability to the requirements of this contract.

All fields should be completed in full. In the event that the information requested on the value of contracts or identity of clients is considered confidential, tenderers must ensure that they provide sufficient information to allow the Contracting Authority to judge the similarity of these contracts to the services required.

| CLIENT NO. 1 |  |  |  |
| --- | --- | --- | --- |
| Company Name: |  |  |  |
| Contact name: |  |  |  |
| Contact role: |  |  |  |
| Contact Tel. number |  |  |  |
| Contact email address: |  |  |  |
| COMPREHENSIVE DESCRIPTION OF CONTRACT DELIVERED INCLUDING: |  |  |  |
| Duration of contract including start and completion dates (If completed) |  |  |  |
| Role of the Tenderer in this contract E.g., is your firm the sole provider of the Services, is the contract subcontracted? |  |  |  |
| Description and scope of the services provided by the Tenderer |  |  |  |
| Describe the relevance of this example to the current requirement |  |  |  |
| Current Contract Status – on-going, complete |  |  |  |
| APPROX. VALUE (€) |  | DATE(S) DELIVERED |  |

| CLIENT NO. 2 |  |  |  |
| --- | --- | --- | --- |
| Company Name: |  |  |  |
| Contact name: |  |  |  |
| Contact role: |  |  |  |
| Contact Tel. number |  |  |  |
| Contact email address: |  |  |  |
| COMPREHENSIVE DESCRIPTION OF CONTRACT DELIVERED INCLUDING: |  |  |  |
| Duration of contract including start and completion dates (If completed) |  |  |  |
| Role of the Tenderer in this contract E.g., is your firm the sole provider of the Services, is the contract subcontracted? |  |  |  |
| Description and scope of the services provided by the Tenderer |  |  |  |
| Describe the relevance of this example to the current requirement |  |  |  |
| Current Contract Status – on-going, complete |  |  |  |
| APPROX. VALUE (€) |  | DATE(S) DELIVERED |  |

## Health & Safety Pass/Fail Criteria

| Health & Safety |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must demonstrate compliance with all the relevant Health & Safety legislation. The Contracting Authority reserves the right to seek further information to verify compliance. |  |  |  |  |  |  |  |  |
| Do you comply with the Safety Health & Welfare at Work Act 2005? |  | Yes |  |  |  | No |  |  |
| Manager responsible for Health & Safety: |  |  |  |  |  |  |  |  |
| Health & Safety management |  | Externally Certified |  |  |  | In-house |  |  |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |
| I confirm that evidence of compliance will be provided promptly on request. | Yes |  |  |  | No |  |  |  |

## Quality Assurance – Pass/Fail Criteria

| Quality Assurance |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should provide information on the measures in place to ensure the delivery of a quality service, for example by way of an externally certified system, or an equivalent in-house quality control process or system. |  |  |  |  |  |  |  |  |
| Do you operate a Quality Management System? |  | Yes |  |  |  | No |  |  |
| Manager responsible for Quality: |  |  |  |  |  |  |  |  |
| Quality management |  | Externally Certified |  |  |  | In-house |  |  |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |
| I confirm that evidence of compliance will be provided promptly on request. | Yes |  |  |  | No |  |  |  |

## Sub-Contracting

ATU understands that there may be elements of the contract which may need to be subcontracted or outsourced by suppliers.  Please indicate if you propose to use any sub-contractors for the delivery of any element of this contract.  [In this instance, sub-contractors will be an organisation/institution(s) which you may propose to subcontract for elements of the system or service delivery.]

| Do you propose to use any sub-contractors? |  |
| --- | --- |
| Envisaged Scope of the services to be carried out by the sub-contractor |  |
| % of contract which will be sub-contracted | % |
| Name(s) and contact details of other members of grouping. | Company Name: Company Address: Contact Name: Contact Telephone: Contact Email: |
| Role of lead member of the grouping |  |
| Role of other members of grouping |  |

In the event that suppliers are co-operating to deliver the service, a separate Tender Response Document with sections 2.2, 3.2 and 3.3 completed must be provided separately by all proposed subcontractor(s) / co-operating party and returned with their tender submission.   A statement identifying the lead party and explicitly defining the roles and responsibilities of each entity must also be included.

# Response to the Award Criteria

Only tenderers who have been deemed ‘eligible’ based on the information provided at Sections 2 and 3   will have their responses evaluated under award criteria.

Responses must be specific and bespoke to the question asked, with particular reference to their understanding of the requirements specified as set out in the RFT Document.

## Response to Qualitative Award Criteria

| Criterion A | Weighting | Maximum Marks | Minimum Qualifying Mark (60%) |
| --- | --- | --- | --- |
| Quality and Technical Merit of the Proposed Solution | 40% | 4,000 | 2,400 |
| This criterion refers to the totality of general technical and functionality features and characteristics and the suitability of the proposed solution. Tenderers are required to complete the table below. The response must include confirmation of compliance and detail on the technical and functional requirements of the proposed solution. Tenderers must enter their response in the space provided in the table below. Brochures and/or literature may be provided in support of your response but will not be evaluated. This criterion will be evaluated as a whole. Note: Mandatory Requirement; Failure to demonstrate that a Mandatory requirement can be met will result in the tenderer being excluded from further evaluation. Detail must be included – a mere affirmation will not suffice.. Desirable Requirement; Greater marks will be achieved by tenderers that can meet or exceed the desirable requirements. Detail must be included – a mere affirmation will not suffice.. |

| CRITERION A: Quality and Technical Merit General Functional Requirements, Quality Control and Validation Requirements, Software and Hardware Requirements, Safety features. |  |  |  |
| --- | --- | --- | --- |
| REF. | REQUIREMENT | COMPLIANT (YES/NO) | RESPONSE (LIMITED TO 150 WORDS IN EACH CELL) |

| A1 | General requirements: The equipment must be fit for research purposes and of robust construction and free from defects. The dispensing system must be new and not an ex-demo model. It must be user friendly. Please state name of manufacturer and model. The tenderer MUST state when the model was introduced and when the system is likely to be superseded and the expected lifetime of the equipment proposed. If the model supplied is superseded within one (1) year of commissioning the tenderer MUST undertake to replace or upgrade the supplied system with the new model at no extra cost to ATU | Compliant (Yes / No) | Insert Response |
| --- | --- | --- | --- |
| A2 | Axes of Motion: The dispensing platform must have fully programmable, automated, X, Y, and Z axes. | Compliant (Yes / No) | Insert Response |
| A3 | Dispense Technology Integration: The platform architecture must be fully integrated to accept andcontrol the following three distinct fluid delivery methods: - Contact Dispensing: For uniform continuous lines. - Non-Contact Jetting: Drop-on-demand dispensing capable of generating discrete droplets, which can be deposited as individual droplets or combined to form continuous lines through controlled droplet overlap - Non-Contact Aerosol/Spray: Quantitative, aerosol-based, non-contact dispensing used for controlled coating and deposition of reagents | Compliant (Yes / No) | Insert Response |
| A4 | Substrate Fixturing: The dispensing platform must be equipped with an integrated Vacuum/Magnetic Nest to secure membranes firmly during high-speed printing cycles | Compliant (Yes / No) | Insert Response |
| A5 | Size: It must be a compact benchtop system for standard laboratory environments. | Compliant (Yes / No |  |
| A6 | Dispense Area: Dispensing platform must feature a continuous, uninterrupted dispensing area to accommodate standard diagnostic membranes with backing cards. The dispensing area should be approximately 450 mm x 70 mm or larger. |  |  |
| A7 | Channel Capacity and Control: Should have multiple (>4) independently programmed dispensing channels, with simultaneous dispensing | Compliant (Yes / No) | Insert Response |
| A8 | Dispense Mode Flexibility: The system fluid must be capable of executing both continuous line striping and discrete micro-drop/spot arraying on the same substrate batch | Compliant (Yes / No) | Insert Response |
| A9 | Quantitative dispensing and control: Must have full operator control over Line width: Capable of dispensing lines with widths of less than 0.75 mm and greater than 2 mm. Line volume: The system must have a dynamic dispensing range suitable for lateral flow and biosensor manufacture. Dispensed drop volume: Must be capable of dispensing single droplets with a volume ≤ 5 nL Positioning accuracy of <50 microns on X, Y and Z axis | Compliant (Yes / No) | Insert Response |
| A10 | Data Storage: Should have internal memory capacity to store, categorize, and quickly recall multiple user-defined programs and calibration routines. | Compliant (Yes / No) | Insert Response |
| A11 | Capabilities: System should be capable of transitioning between R&D and batch production through to high volume dispensing on the same technology |  |  |
| A12 | The equipment and all its accessories offered MUST be CE marked and comply with current international directives and relevant guidelines. |  |  |
| A13 | The Tenderer MUST include copies of any relevant testing or compliance certificates for the equipment. |  |  |
| A14 | Guillotine cutter and laminator ancillary equipment must be new and not ex-demo. |  |  |
| A15 | Must be capable of quantitative precision dispensing with coefficient of variation <5% |  |  |

| Criterion B | Weighting | Maximum Marks | Minimum Qualifying Mark (60%) |
| --- | --- | --- | --- |
| After Sales Support, Technical Support, Training and Warranty - Customer Support, Repair, Maintenance & Breakdown Requirements - Warranty - Training Proposal | 15% | 1,500 | 900 |
| This criterion refers to the totality of the after sales service, technical support and warranty of the proposed solution. Tenderers are required to complete the table below. The response must include confirmation of compliance. Tenderers must enter their response in the space provided in the table below. Brochures and/or literature may be provided in support of your response but will not be evaluated. This criterion will be evaluated as a whole. Note: Mandatory Requirement; Failure to demonstrate that the Mandatory requirement can be met will result in the tenderer being excluded from further evaluation. Detail must be included – a mere affirmation will not suffice.. Desirable Requirement; Greater marks will be achieved by tenderers that can meet or exceed the desirable requirements. Detail must be included – a mere affirmation will not suffice.. |

| Criterion B After Sales Support, Technical Support, Training and Warranty |  |  |  |
| --- | --- | --- | --- |
| REF. | REQUIREMENT | COMPLIANT (YES/NO) | RESPONSE (LIMITED TO 150 WORDS IN EACH CELL) |

| B1 | Training options should be provided. | Compliant (Yes / No) | Insert Response |
| --- | --- | --- | --- |
| B2 | The tenderer MUST provide a description of the provision of after sales technical support, annual service/maintenance requirements, emergency call-out response times. Please provide details of guaranteed response times in event of equipment breakdown during the warranty period both in relation to phone support and arrival on site by service engineer. Please confirm and detail including any changes in service response times after the warranty expires. | Compliant (Yes / No) | Insert Response |
| B3 | A minimum of one year warranty must be offered. Please confirm and provide detail of warranty cover. | Compliant (Yes / No) | Insert |
| B4 | The tenderer MUST provide confirmation of the availability of service and replacement parts for at least 5 years after commissioning. Tenderers MUST also provide details of the location where spare parts are held in stock, along with maximum availability, and lead times. | Compliant (Yes / No) | Insert Response |

| Criterion C | Weighting | Maximum Marks | Minimum Qualifying Mark (60%) |
| --- | --- | --- | --- |
| Method Statement - Lead Time & Delivery/Completion Plan - Commissioning & Performance Validation | 10% | 1,000 | 600 |
| This criterion refers to the totality of the proposal for lead time and delivery, installation, commissioning and validation of the equipment. Tenderers are required to complete the table below. The response must include confirmation of compliance. Tenderers must enter their response in the space provided in the table below. Brochures and/or literature may be provided in support of your response but will not be evaluated. This criterion will be evaluated as a whole. Note: Mandatory Requirement; Failure to demonstrate that the Mandatory requirement can be met will result in the tenderer being excluded from further evaluation. Detail must be included – a mere affirmation will not suffice.. Desirable Requirement; Greater marks will be achieved by tenderers that can meet or exceed the desirable requirements. Detail must be included – a mere affirmation will not suffice.. B1; Lead time and delivery plan MUST be provided including the lead time in weeks from receipt of purchase order to delivery. Delivery must include all Shipping Charges, insurance, customs duties, and all aspects as outlined in DDP (Delivery Duty Paid) incoterms. The system MUST be delivered to: ATU, Dublin Road, Galway; Compliant (Yes / No); Insert Response. B2; Details of installation (commissioning and performance validation, where appropriate) MUST be provided.; Compliant (Yes / No); Insert Response. B3; The supplier MUST provide suitable installation instructions. All documentation MUST be supplied in English and include the following: - Operator/Equipment manual for the unit - Technical specification documentation. - Cleaning instructions. - Installation qualification documentation. - Basic Troubleshooting - EN Electrical Safety Certification - Factory Acceptance Testing; Compliant (Yes / No); Insert Response. |

| Criterion D | Weighting | Maximum Marks | Minimum Qualifying Mark (60%) |
| --- | --- | --- | --- |
| Environmental and sustainability considerations | 10% | 1000 | 600 |

This criterion refers to the totality of environmental and sustainability proposals for the proposed solution.  Tenderers are required to complete the table below.  The response must include confirmation of compliance.

Tenderers must enter their response in the space provided in the table below.  Brochures and/or literature may be provided in support of your response but will not be evaluated.

This criterion will be evaluated as a whole.

Note:

| Mandatory Requirement | Failure to demonstrate that the Mandatory requirement can be met will result in the tenderer being excluded from further evaluation. Detail must be included – a mere affirmation will not suffice. |
| --- | --- |
| Desirable Requirement | Greater marks will be achieved by tenderers that can meet or exceed the desirable requirements. Detail must be included – a mere affirmation will not suffice. |

| Criterion D Environmental and Sustainability |  |  |  |
| --- | --- | --- | --- |
| REF. | REQUIREMENT | COMPLIANT (YES/NO) | RESPONSE (LIMITED TO 150 WORDS IN EACH CELL) |

| D1 | The equipment Should be efficient and economical in its power consumption. Please supply power consumption information. | Compliant (Yes / No) | Insert Response |
| --- | --- | --- | --- |
| D2 | Please outline how environmental impact will be considered and reduced in the supply, delivery and packaging of the equipment. Please confirm and provide detail on how you propose to achieve this. | Compliant (Yes / No) | Insert Response |
| D3 | ATU would like to recycle this equipment at end of life. Please confirm if this is an option for this equipment. | Compliant (Yes / No) | Insert Response |
| D4 | ATU’s policy is to reduce environmental impact in all activities. Please provide details of any environmentally friendly features of the equipment. Please provide details of your organisation’s policy for Environmental & Sustainability practices. | Compliant (Yes / No) | Insert Response |

## Response to Ultimate Cost Criterion E - Form of Tender

| Criterion E | Weighting | Maximum Marks | Minimum Qualifying Mark n/a |
| --- | --- | --- | --- |
| Ultimate Cost (Total Cost of Ownership) Including - Capital cost - Supply and all delivery costs including freight and insurance - Commissioning, calibration(where applicable) - Training costs | 25% | 2500 | n/a |

Please complete separate document excel sheet - Appendix 2 Pricing Schedule document.

I/We confirm that I/we:

- Have priced our tender on the basis of all rates being inclusive of all out-of-pocket expenses (i.e. mileage, subsistence, phone, postage, etc.) and account / contract management related costs,

- Will keep this offer for the contract open for acceptance by you for a period of 6 months from the date of deadline for submission of tenders,

- Agree that you are not bound to accept the most economically advantageous or any tender you may receive,

- Have read and thoroughly examined the RFT,

- Fully understand the RFT and the Client’s requirements,

- Undertake to treat the details of the RFT, its tender and any subsequent agreements as private and confidential,

- Acknowledge that acceptance by the Contracting Authority of this tender will not constitute a binding and enforceable agreement and that a legally enforceable agreement will not exist until and unless the contract is awarded between the Contracting Authority and the tenderer,

- Have availed of all offers for additional information or have otherwise satisfied myself/ourselves as to conditions that may in any manner affect the performance of the contract,

- Have included all elements necessary for the performance of the specified requirements, which are either expressly stated in the RFT or contained in any supplementary information, or which could reasonably be inferred therefrom,

- Have found no errors, omissions, conflicts or ambiguities in the RFT except those which I/We have brought to the attention of the Contracting Authority before the latest date for submitting queries,

- Have included for compliance with all statutory requirements applicable in Ireland and those applicable in any country where parts of the contract may be performed that are in force 7 days prior to the deadline for receipt of tenders,

- Will not, if awarded a contract employ labour in a manner that is discriminatory in relation to gender, civil/family status, sexual orientation, religion, age, disability, race, or membership of the traveller community.

- Agree that as a condition of award, it shall be our sole responsibility to fulfil the obligations under the Contract, notwithstanding any changes in circulars, laws, regulations, taxation, duties or other factors which might arise following the withdrawal of the United Kingdom from membership of the EU.

| Signed: |  |
| --- | --- |
| Name (in Capital Letters): |  |
| On behalf of: |  |
| Address: |  |
| Telephone: |  |
| Email: |  |
| Date: |  |

# Checklist

| Section | Element | Section Complete/ Evidence Supplied | Self - Declaration |
| --- | --- | --- | --- |
| 2.1 | Tenderer Information |  |  |
| 3.1 | Tenderer’s Statement Note: this is to be provided on tenderers headed notepaper. |  |  |
| 3.2 | Declaration of Bona Fides |  |  |
| 3.3 | Declaration re Statutory Obligations |  |  |
| 3.4 | European Single Procurement Document (ESPD) |  |  |
| 3.5 | Financial Information |  |  |
|  | Tax Compliance |  |  |
|  | Turnover |  |  |
|  | Insurance Cover |  |  |
| 3.6 | Previous Experience |  |  |
| 4 | Sub-Contracting |  |  |
| 5.1 | Response to Qualitative Award Criteria |  |  |
| 5.2 | Response to Total Cost Criterion – Appendix 2 Pricing Schedule Completed. |  |  |