Appendix 1.

CCTV

Service & Maintenance Agreement.

Carrickmacross Town Centre

CCTV System

***********************

Document Change History.

| Issue | Date | Description |
| --- | --- | --- |
| 1 | June 2026 | First publication |
| 2 |  |  |
| 3 |  |  |

Definitions.

Customer

Monaghan County Council, hereafter referred to as “The Customer”.

Maintenance Company

XXX CCTV Contractor  has been engaged to service and maintain the  CCTV system at Carrickmacross Town Centre, hereafter referred to as “The Company”.

The System.

The CCTV system installed at Carrickmacross Town Centre consisting of;

- 1 x CCTV Server,

- 18 x IP Cameras

- 1 x 24” Monitor.

- 1 x Laptop.

- Switches,

- Power Supplies,

- UPS

- Cabling.

- Wireless Transmission System.

Scope of Service & Maintenance Agreement.

- The Company will provide the necessary resources, including spare parts, to ensure that the CCTV system is fully functional and meets with the operational requirements of Monaghan County Council,  at all times.

- The Company must comply with its obligations under the Data Protection Acts and ensure the safe custody of all data/ documentation in the company’s possession relating to the customer’s installation and operation.

- The Company should ensure that all of its representatives who have access to the customer’s equipment and/or data have been vetted in accordance with Garda Vetting Requirements.

- The company must notify the Monaghan County Council in advance of all scheduled service & maintenance visits.

This agreement provides for;

- The maintenance (incl. cleaning) and fault repair of all parts and components of the CCTV system, ie;

- Cameras, lenses, IR components, housings, lens covers and cabling.

- Camera brackets, conduits and protective covers.

- Power supplies to cameras & recorder.

- Weatherproof interface boxes as installed.

- Server, Monitor, Switches, Laptop, UPS, Server Cabinet.

- Wireless transmission equipment (except equipment installed on Garda mast).

- Exclusions to this Agreement:

- Damage to the system equipment through human error or negligence.

- Vandalism to the system.

- Replacement of parts outside of the agreed warranty period.

- This maintenance agreement is subject to the following;

- This service and maintenance agreement will be valid for a period of 5 years commencing on date of signing of the agreement and ending on XXXXX.

- The CCTV system is to be maintained to IS-EN- 50132-Part 7 Standard at all times.

- This agreement will consist of two scheduled service visits per year during the months of XXXX & XXXXX, during which the CCTV system will be fully checked and serviced as per attached Check List at Appendix No. 1.

- The Company will complete a service report following each service visit and provide a copy to the Customer. The Company will be required to put in place a Service Folder (Ring Binder) in which to place the service reports.  The folder will be stored in the CCTV comms cabinet in Monaghan County Councils Server room at Market House, Carrickmacross.

- The service report should list any issues arising with the system, set out the service actions undertaken and should also list any relevant comments regarding the system.

- No remedial works will be undertaken unless fully approved by the Customer in advance.  A PO is required from the Customer before any such works will be undertaken.

- All equipment installed as part of the CCTV system is guaranteed under warranty for a period of XXX years commencing on the date the system was commissioned ie; XXXXXXXX.

- The costs associated with the service and maintenance agreement are as set out in the original tender submitted by the Company.  These costs are as follows;

| Service Level Agreement – Year 1 – to | € incl. vat |
| --- | --- |
| Service Level Agreement – Year 2 – to | € incl. vat |
| Service Level Agreement – Year 3 – to | € incl. vat |
| Service Level Agreement – Year 4 – to | € incl. vat |
| Service Level Agreement – Year 5 – to | € incl. vat |

Emergency Call-outs.

- The Customer will report any faults with the CCTV system directly to the Company via phone to the following number - xxxxxx

- The Company will attend on site to all fault notifications within 24 hours from the time the notification is made by the Customer.

- The Company will complete a maintenance report following each emergency call out and will provide the Customer with a copy.

- No remedial works will be undertaken unless fully approved by the Customer in advance.

- The report will detail the maintenance works undertaken and any observations/ comments regarding the performance of the system.

It is agreed that emergency callouts will be charged at the rates as set out in quotation submitted at tender stage ie;

| Standard Call out. | Cost | Cost Inc. Vat |
| --- | --- | --- |
| Labour Rate per hour | € | € |
| Emergency call out between 8am- 8pm | € | € |
| Labour Rate per hour | € | € |
| Emergency call out between 8pm – 8am | € | € |
| Labour Rate per hour | € | € |

| Data Access Request (Downloading of Data). | Cost ex. Vat |
| --- | --- |
| Cost per hour | € |
| Out of hours cost | € |

Payment & Service Call Structure

Payment will be invoiced on the basis of 50% for 1st annual service visit & 50% for 2nd annual service visit.  Payment will be made on receipt of Company invoice and fully completed service report in line with the terms of this Agreement.  Invoices and Service reports to be forwarded to an email address which the Contracting Authority will nominate for such correspondence.

Service visits are to be undertaken during the months of April and October each year with the 1st service being undertaken in October 2026.

Documentation.

The following documentation is required to be placed in the Service Folder which will be retained with the Server in the Comms Cabinet at Market House, Carrickmacross;

- CCTV system “as fitted” specification*

- Copy of Maintenance Agreement

- Copy of Maintenance Report Forms as completed.

- Installed equipment manuals.

- Copy of Data Processing Agreement.

It is the responsibility of the Company to provide the folder(s) and to insert the above documentation in the folder(s).

Renewal of Agreement.

This Agreement shall remain in force for a period of 5 years from the date of signing of the agreement and thereafter from year to year subject to agreement on fees between the parties unless either party terminates the Agreement by giving one month’s notice in writing to the other party.

Any proposal to increase charges due for the supply of the services subject to this agreement shall be given to the Customer in writing a minimum of 60 days prior to such proposed charges taking effect.

Signed for and on behalf of Monaghan County Council (The Customer).

....................................………………….…….………....................................................

(						) Block Capitals

Position: ...........................................………….

Dated: ...........................................………….

Signed for and on behalf of XXXXXXX (The Company).

....................................………………….…….……….....................................................

(						) Block Capitals

Position: ...........................................………….

Dated: ...........................................…………

Appendix 1.

Carrickmacross Town Centre - CCTV Service Sheet/Checklist.

| Checks to be Carried Out. | Checked Yes/No. | Comments. |
| --- | --- | --- |
| Check that image quality from each camera is to identification standard as per specification. |  |  |
| Check that all cameras, lenses, housings have been cleaned and all cameras have a clear field of view. |  |  |
| Check for sound physical fixings of all equipment including loosening/corrosion of brackets. |  |  |
| Check all glands and seals on external equipment and confirm no ingress of water into equipment. |  |  |
| Check all cables and confirm no damage or wear. |  |  |
| Check Server and confirm that all cameras are available in Live and Recorded modes. |  |  |
| Check Server and confirm a minimum of 30 days storage. |  |  |
| Check Server and confirm if “Software Updates” are required or have been installed. |  |  |
| Check power supplies, switches, UPS and confirm that all are operating satisfactorily. |  |  |
| Check Monitor and confirm that it is operating as per specification. |  |  |
| Check Wireless Transmission System and confirm that all links are operating as per specification. |  |  |
| Confirm that system is operating as specified and in accordance with Customer “Operational Requirements.” |  |  |
| Confirm if equipment has been left disconnected/ non-functional. |  |  |
| Confirm if re-visit is required and why. |  |  |
| Confirm if system has been left in full operating order. |  |  |

Engineers Signature__________________________

Customers Signature__________________________

Date: ___________________________