OPEN PROCEDURE

CALL FOR TENDER FOR A CONTRACT (CFT).

| Scope of Contract |  |
| --- | --- |
| Supply and Install IP CCTV system and wireless transmission system in Carrickmacross Town Centre for Monaghan County Council. |  |
| Key Dates. |  |
| Issue Date. | 12th August 2026 |
| Closing Date for Queries. | 26 th August 2026 @4pm |
| Closing Date for Tender Submissions. | 02 nd September 2026@3pm |
| Contact for Queries. | Messaging facility on www.etenders.gov.ie |
| Format for submission of tenders. | Via www.etenders.gov.ie only. |
| Please note that information relating to this Request for Tender, including clarifications and changes, will be published on the Irish Government Procurement Opportunities Portal www.etenders.gov.ie. Registration is free of charge and there is no charge for documents. Please note that the Contracting Authority accepts no responsibility for information relayed (or not relayed) via third parties. |  |

CONTENTS

1	ABOUT THE CONTRACTING AUTHORITY	4

1.1	The Contracting Authority	4

1.2	Small and Medium Enterprise Participation	4

2	OVERVIEW OF THE REQUIREMENT	Error! Bookmark not defined.

2.1	High Level Scope	5

2.2	Anticipated Timeline	5

2.3	Termination of Contract	27

2.4	Compliance with the Terms and Conditions	27

2.5	Award to Runner Up	27

3	DETAILED SPECIFICATION OF REQUIREMENTS	Error! Bookmark not defined.

3.1	Specification	Error! Bookmark not defined.

3.2	Details of Options	27

3.3	Duration	27

3.4	Indicative budget	27

3.5	Contract Management	27

4	SELECTION CRITERIA	29

4.1	Use of the European Single Procurement Document	29

4.2	Relying on the Standing of Other Entities	29

4.3	General, Legal and Financial Requirements	29

4.4	Technical Capacity Requirements	31

5	AWARD CRITERIA	33

5.1	Methodology for Calculating the Cost Score	37

5.2	Methodology for Calculating Scoring of Qualitative Criteria	38

5.3	Post Tender Clarification	38

5.4	Verification Meetings	39

5.5	Clarification of Abnormally Low Tenders	39

5.6	Right to Confirm Suitability	39

6	INSTRUCTIONS FOR TENDERERS	40

6.1	Submission of Tenders	40

6.2	Closing date for Tenders	40

6.3	Queries	40

6.4	Extension of Tender Period	40

6.5	Tender Validity Period	41

6.6	Discrepancies between Documents	41

6.7	Formatting of Tenderers / Amendment of Tender Documentation	41

6.8	Collusive Tendering	41

6.9	Confidentiality	41

6.10	Clarification of Tenders	42

6.11	Correction of Errors	42

6.12	Change in the Composition of a Tenderer	42

6.13	Interference and Inducement to Purchase	42

6.14	Conflict of Interest	43

6.15	Publicity	43

6.16	Right Not to Award	43

6.17	Notification of Tender Evaluations	43

6.18	Award Notices	43

6.19	Policy on Personal Debriefings	44

6.20	Copyright	44

6.21	Brand Names, etc.	44

6.22	Environmental Aspects	44

6.23	Knowledge and Skills Transfer	44

6.24	Currency and Payment	44

6.25	Irish Legislation and Law	44

6.26	Anti-Competitive Conduct	45

6.27	Accessibility / Dignity at Work	45

6.28	Withholding Tax	45

6.29	Freedom of Information	45

6.30	Late Payment	45

6.31	Data Protection	46

6.32	Changes in Legislation	46

# ABOUT THE CONTRACTING AUTHORITY

## The Contracting Authority

Monaghan County Council, herein after referred to as the Contracting Authority, is the authority responsible for this procurement.

Further information is available at our corporate website www.monaghan.ie

## Small and Medium Enterprise Participation

It is the policy of the Contracting Authority to promote participation by Small and Medium Enterprises (SMEs) on a fair and equal basis.

SMEs are encouraged to explore the possibilities of forming relationships with other SMEs or with larger enterprises to meet the financial, economic or technical capacity requirements of the competition, if required.

Tenderers may include individuals, partnerships, limited companies, groupings or any combination of the foregoing with or without legal personality. However, a grouping if successful will be required to establish legal personality to enter the contract.

Tenderers are reminded that they may rely on the resources of other entities to establish the requirements on condition that they can prove to the satisfaction of the Contracting Authority that they will have these resources at their disposal when necessary.

If the tender is from a consortium / joint venture, Tenderers must ensure that all the relevant information is provided and where necessary, provide the information requested separately for each party.  Relevant information relates to where a tenderer is relying on the resources to qualify (e.g. turnover, personnel, previous experience) and/or to deliver the contract.   The consortium must appoint a single point of contact who will assume overall responsibility for delivery, and who is authorised to sign the contract on behalf of all consortia members. The Contracting Authority will not act as an arbitrator between members of consortia.

# SCOPE OF REQUIREMENT

## High Level Scope

The Contracting Authority proposes to engage in a competitive process for the award of a contract as specified hereunder.

Monaghan County Council requires the services of a Security Company licensed by the Private Security Authority (PSA) to install an IP CCTV system in Carrickmacross Town Centre, Co. Monaghan.

The system will comprise of a total of 18 cameras, Multi-Sensor, Bullet and Dome types, installed at 15 locations throughout Carrickmacross Town Centre.

All cameras, with the exception of camera 18 which will be hard wired, will be linked by means of a wireless transmission network to a CCTV Server installed at the Market House building in Carrickmacross Town Centre.

Cameras will be installed on a combination of new camera poles, existing public lighting poles and buildings.

The installation of new camera poles, power supplies and associated civil works is being undertaken by others.

Civil and electrical contractors will liaise with the CCTV contractor during the CCTV installation works.

Cat5 or Cat6 cables will be in place at all camera locations.

Supply and installation of interface boxes for PoE switches and data cabling between the PoE switch and cameras on buildings to be undertaken by the CCTV contractor.

Termination of all data cabling by the CCTV contractor.

Monaghan County Council reserves the right to proceed with some or all of the CCTV locations.

Project Management.

Monaghan County Council has appointed J&N Security Consultants Ltd to;

- Develop the CCTV system design.

- Oversee the installation of CCTV equipment.

- Carry out testing of installed systems prior to sign off and hand-over.

- Act as PSDP for the project.

Scope of Works.

The requirement is for the supply, installation and commissioning of the following;

| Description | Qty |
| --- | --- |
| Avigilon Video Server NVR6 48TB, 2U rack mount, Windows 10OS, High Definition Stream Management (HDSM) functionality or equivalent unit. | 1 |
| Avigilon H5A 3MP 4 lens Multisensor camera, 360-degree fov or equivalent unit. IR ring not required. | 2 |
| Avigilon H5A 3MP 3 lens Multisensor camera, 270-degree fov or equivalent unit. IR ring not required. | 7 |
| Avigilon H6SL 3MP Day/Night Dome, 3.4mm – 10.5mm lens, integrated IR or equivalent unit. | 1 |
| Avigilon H6SL 3MP Bullet camera 3.4mm – 10.5mm lens, integrated IR or equivalent unit. | 8 |
| Avigilon standard license or equivalent. | 18 |
| Pole mount brackets | 6 |
| Avigilon workstation i7 16GB Ram, 512GB HD or equivalent unit. | 1 |
| 24" Monitor (with Server). | 1 |
| Rack Mount UPS 2000VA min. | 1 |
| Ubiquity Transmission equipment or equivalent | 1 |
| 4 port managed gigabit POE switch – at locations 7 and 19 to 31 | 15 |
| 8 port managed gigabit POE switch – with server | 2 |
| Server Cabinet - 600mm (W) x 1000mm (D) 24U free standing | 1 |
| Labour. | 1 |
| Training. | 1 |

All equipment purchased/supplied should be energy efficient.

Camera Locations Carrickmacross.

| Location No. | Camera No’s | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 1 | 1 & 2 | On new 8m CCTV Pole in corner of lane at rear of Courthouse. | 2 x IP Bullet Cameras. | View of area at rear of Courthouse View of lane in direction of Monaghan Street. |

| Location No. | Camera No. | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 2 | 3 | On existing Light Pole outside Carrickmacross Post Office. | 1 x 3 Lens Multisensor Camera. | View of Main St. Monaghan St. & towards car park at front of Courthouse |

| Location No. | Camera No. | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 3 | 4 | On existing light pole outside Deery’s Lounge Bar on Main St. | 1 x 3 Lens Multisensor Camera | View of Main St. in both directions. View of Bridewell Lane. |

| Location No. | Camera No. | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 4 | 5 | On existing light pole outside No. 58 Main St. | 1 x 4 Lens Multisensor Camera. | View of Main St. in both directions. View of Chapel Lane & Parnell St. |

| Location No. | Camera No. | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 5 | 6 | On existing light pole outside Vincent de Paul Shop on Main Street. | 1 x IP Bullet Camera. | View of Ivy Lane. |

| Location No. | Camera No. | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 6 | 7 | On existing light pole outside Church View Florists on Main St. | 1 x IP Bullet Camera. | View of Main St./O’Neill St. Junction. |

| Location No. | Camera No. | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 7 | 8 | On existing light pole on outside of footpath at Mr. B’s Bar on Main St. | 1 x 3 Lens Multisensor Camera | View of Main St. |

| Location No. | Camera No. | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 8 | 9 | On new 8m CCTV pole in corner adjacent to pedestrian ramp in Howells Lane/Fiddlers Car Park | 1 x 3 Lens Multisensor Camera | View of Howells Lane in direction of Main St. Overview of Fiddlers Car Park. View of Ramp. |

| Location No. | Camera No’s | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 9 | 10, 11 | On front wall of Carrickmacross Credit Union Building on O’Neill St. | 2 x IP Bullet Cameras. | View of O’Neill St. in both directions. |

| Location No. | Camera No’s | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 10 | 12, 13 | On new 8m CCTV pole opposite school entrance gate in Mc’Cartan’s Tce. | 2 x IP Bullet Cameras. | View of Mc’Cartan’s Tce. on both directions. |

| Location No. | Camera No. | Camera Installation Position | Camera Type | Camera Target Area | GPS |
| --- | --- | --- | --- | --- | --- |
| 11 | 14 | On existing light pole on outside Crafty Cleaners on Main St. | 1 x 3 Lens Multisensor Camera | View of Castle St. View of Main St. in the direction of the Garda Station. View of junction of Main St. & Farney St. | 53.974555 -6.718823 |

| Location No. | Camera No. | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 12 | 15 | On new 8m CCTV pole in green area adjacent to Kingscourt Road junction. | 1 x 3 Lens Multisensor Camera | View up Castle St. plus overview of junction. |

| Location No. | Camera No. | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 13 | 16 | On new 8m CCTV pole in green area adjacent to Cloughvalley Park | 1 x 3 Lens Multisensor Camera | View of Park. View of Rockdaniel Rd. |

| Location No. | Camera No. | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 14 | 17 | On new 8m CCTV pole outside Phoenix Centre at junction of Chapel Lane/Church Grove/ Cloughvalley | 1 x 4 Lens Multisensor Camera | View of all adjoining roads |

| Location No. | Camera No. | Camera Installation Position | Camera Type | Camera Target Area |
| --- | --- | --- | --- | --- |
| 15 | 18 | In server room at Market House, Market Square. | 1 x indoor dome camera | View of CCTV Comms Cabinet |

Note: It should be noted that the requirement is for Avigilon Unity 8 CCTV video software ‘or equivalent’ irrespective of the CCTV server type being proposed.

Other requirements:

- CCTV contractor to be appointed as PSCS.

- Fully described Traffic Management Plan required.

- Attendance at site meetings as required in progressing installation.

- Provide for height access for all aspects of the installation.

- Remove all waste from site on a daily basis and bring to a licensed waste site.

# Site Information.

Location information has been provided as part of the tender documentation.  Contractors should familiarise themselves with all aspects of the tender requirements prior to making a tender submission.  Monaghan County Council will facilitate a site visit if requested.

Requests should be submitted through the messaging facility on www.etenders.gov.ie.

Consequential Builders & Electrical Works.

The CCTV Contractor is required to include any required builders works.  Possible works that may arise at the Market House, Main Street, Carrickmacross are as follows;

- Any alteration to existing fire stopping to be reinstated, including where new opes have been formed.

- Painting of any conduits installed to match existing interior/exterior colours.

- Forming new opes for cable runs.

- Provide protection for floor coverings, walls and ceilings in the vicinity of any works.

- Provide measures to prevent access by unauthorised persons to the works area.

- Removal from site of all waste material associated with the project.

Electrical Works/Cabling.

All required civil works and installation of power supplies to accommodate all CCTV requirements is being undertaken by others.  Cat5 or Cat6 cable will be available at all CCTV camera pole locations ie.; in mini pillars beside CCTV poles. CCTV contractor to supply and install Cat5 or Cat6 cabling and Interface Boxes to be mounted adjacent to camera positions on buildings.  The electrical contractor will liaise with the CCTV Contractor as necessary.

Monaghan County Council will provide a broadband connection to the Server to facilitate remote access to the system.

Data Processing.

The successful tenderer will be required to maintain and manage the processing of data from the Community CCTV System ie; deal with all Data Access Requests received and approved by Monaghan County Council.  A data processing agreement will be put in place in accordance with Section 80 of the Data Protection Act.  The Processor must provide sufficient guarantees and assurances that it will implement the appropriate technical and organisational measures required to comply with GDPR and to protect the rights and freedoms of data subjects. See draft Data Processing Agreement included with Tender documentation.

The CCTV systems will record digital images. The cameras will operate and record 24 hours a day, seven days a week. The image quality will allow identification of individuals in the camera’s area of coverage. The images shall not be retained for longer than is considered necessary for the purposes for which they are processed. Therefore, unless the images are required to investigate an incident or crime, they will not be retained beyond a maximum of 28 days.  After 28 days, the footage will be automatically over-written.  Monitoring of the system will only take place to deter those having criminal intent, assist in the prevention and detection of crime and to investigate security incidents to secure evidence, should such incidents occur and to facilitate the identification, apprehension and prosecution of offenders in relation to crime and public order.

Wireless Receivers/Transmitters

A system is required that will provide images displaying a high level of signal quality in terms of latency, signal level, interference, noise, bandwidth and image quality.  It is a requirement that a high level of link resilience can be achieved.  Point to point transmission devices are required.

The CCTV system will consist of 18 cameras installed at 15 locations throughout Carrickmacross Town Centre.  The system will utilise a wireless transmission network. Accordingly, following a line of sight survey of all locations, there will be a requirement to install a number of wireless transmission units on the mast at Carrickmacross Garda Station in order to relay the feed from 11 of the 15 locations to the CCTV server installed at the Council owned Market House building at Main Street, Carrickmacross.  Locations 1 and 2 will transmit direct to Market House, location 3 will transmit to Market House via location 2 and location 15 at Market House will be hardwired.

Approval for the installation of equipment on the Garda mast in Carrickmacross has been received from An Garda Siochana (AGS) subject to a favourable loading analysis being first undertaken.  It should be noted that the loading analysis and installation of equipment on the Garda mast will be undertaken by a Company contracted by AGS.

It is the responsibility of the Contractor to satisfy themselves in terms of the wireless transmission system required.  All transmission equipment to be IP66 rated.  Cat5 or Cat6 cabling will be in place at each CCTV location for transmission equipment to link to the PoE switch.  Cat6 cabling, brackets and transmission equipment for the Garda mast to be supplied by the CCTV contractor.

The Contractor shall include for the following;

- Height access for the installation of the wireless transmission equipment.

- Completion of a wireless transmission survey to determine lines of sight.

- As part of the O&M documentation, provide an as-built drawing and Excel spreadsheet setting out the installed transmission system configuration.

- A fully described plan of the proposed transmission network must be submitted with the tender proposal.

# Radio Link Licensing.

If licensed links are proposed, the successful Contractor will be responsible for acquiring the transmission licenses.  Licence fees and conditions, if applicable, should be stated in the tender proposal.  Annual charges, if any, should be identified and detailed by the Contractor.

Documentary evidence of securing all necessary frequency allocations and licenses from the Commission for Communications Regulation (ComReg), Abbey Court, Irish Life Centre, Lower Abbey Street, Dublin 1, must be provided.

The successful Contractor is responsible for the surveying, installation and commissioning of all radio links and is also responsible for ensuring compliance with all License conditions and safety regulations.

Testing/Setup.

Prior to the handover, the CCTV contractor shall carry out pre-commissioning tests in conjunction with the Consultants engaged on behalf of Monaghan County Council.  At this stage, all final adjustments to the equipment will be made.

Training.

The CCTV contractor will provide training for personnel nominated by Monaghan County Council (MCC) and An Garda Siochana (AGS).  Training will be undertaken at times agreed between the CCTV contractor, MCC and AGS.

One hard copy and one soft copy (PDF format) of training manuals for the operation of the CCTV System will be supplied to both MCC and AGS.

O&M Manuals.

The contractor, on completion of the system install and as part of the Safety File being submitted, will provide one hard copy and one soft copy (PDF format) of all operation & maintenance manuals for all equipment used in this project, to Monaghan County Council.  Full as built details relating to all aspects of the CCTV system install and transmission system install, must be provided.

Warranty.

The successful contractor will be required to guarantee that all CCTV products will be covered under manufacturer’s warranty.

The successful contractor will be required to guarantee all works and other equipment against defects due to unsatisfactory design, defective parts, faulty installation or poor quality workmanship for a period of 36 months after the acceptance and successful commissioning of the equipment.

Health and Safety.

- The contracted CCTV Company or its nominee will be appointed as Project Supervisor Construction Stage (PSCS) under the Safety, Health and Welfare at Work (Construction) Regulations 2013.

- PSDP for the project is Mr. Noel O’Connell, J&N Security Consultants Ltd.

- The appointed CCTV Contractor will be provided with a preliminary H&S Plan.

- The Contractor will be required to comply with all current Health and Safety legislation. The Contractor will be responsible for providing all equipment necessary to enable safe installation at height of all equipment and cabling.

- The Contractor will be responsible for provision of all health and safety related signage, lighting, security, fencing, traffic management equipment etc. to ensure the safety of all persons involved with, on or in, the location of the works during the course of construction.

- The Contractor must take due care to comply with all standard safety requirements including those relating to traffic movement on public roads. The requirements of the Road Traffic Acts shall be fully complied with at all times.

- The Contractor is responsible for the management of traffic in accordance with Chapter 8 of the Road Signs Manual and the Guidelines for the Control and Management of Traffic at Road works.

- The Contractor is to ensure there is proper disposal of all surplus/waste material generated by or as a result of this contract. Waste materials are to be removed from the site on a daily basis, and disposed of by a licenced waste contractor.

The successful contractor, upon appointment, shall submit the following H&S documentation to info@jandnsecurityconsultants.ie

- Construction Stage H&S Plan,

- Programme of works.

- Method statement.

- Signed Service and Maintenance Agreement (See Appendix 1)

- Signed Data Processing Agreement (See Appendix 2)

Contractor Appointment.

The appointment of the successful CCTV contractor will be subject to the submission and satisfactory review of the following documentation;

- Confirmation of Insurance cover.

- Current PSA Licence re CCTV Installation.

- A Construction Stage H&S Plan specifying the risks associated with the performance of this contract.

- Nomination and details of the person(s) or body corporate proposed to perform the role of Project Supervisor for the Construction Stage (PSCS) for the Project will be provided by the contractor. Details must be sufficient to confirm that the person(s) is/are suitably qualified, trained and experienced and are competent to carry out the duties of PSCS. (Note – a form of appointment for PSCS will be issued.)

- Details of the contractors proposed On-Site Project Manager and evidence to confirm that the Project Manager is suitably qualified, trained and experienced is required – copy of CV to be forwarded.

- Confirmation of financial standing ensuring the tendering party has the financial capacity to pay its debts identified on the current statement of assets and liabilities as being the debts as they fall due.

Note: This documentation is not required with the tender submission. The successful contractor should be in a position to submit all the above documentation within 7 days of request. Failure to do so will result in the next most suitable contractor being consulted.

Service Level Agreement (SLA) – CCTV System.

Monaghan County Council will enter into a Service Level Agreement with the successful Contractor to ensure the system is maintained in full operational order. The Service Level Agreement will be awarded for a period of 5 years with an option to extend on a yearly basis and may become effective from the time of commission of the system. (See Draft SLA at Appendix 1).

Proposed Service Level Agreement costs should be set out in the Tender Response Document.  A dedicated Service Level Agreement will be put in place in due course.

Attendance on site within 24 hours of a fault being notified to the appointed contractor is a requirement of the S&M contract.

Compliance with Standards.

The CCTV system must conform to the current technical standard IS-EN-50132 - Part 7 and certification to that effect must be provided by the successful Contractor on completion of the install.

The CCTV system must also comply with requirements for CCTV Installations PSA PSA2006_12 as published by The Private Security Authority including any upgrade to that specification contained within this scope of works document.

Any electrical works for the CCTV system must comply with ETCI National Rules for Electrical Installations ET101:2008 4th edition and ESB Networks National Code of Practice for Customer Interface 4th edition 2008.

Certification.

The winning CCTV Contractor shall provide the following certification for the project -;

- Certification that any fire stopping undertaken is compliant with standards/ regulations.

- CCTV System – Commissioning Certificate including test results.

## Anticipated Timeline

The following indicative timeline is envisaged for this procurement:

| Issue CFT | 17th July 2026 |
| --- | --- |
| Closing date for Queries | 3rd August 2026 |
| Closing date for Receipt of Tenders | 10th August 2026 |
| Clarification meetings (if anticipated) |  |
| Award decision | August 2026 |
| Contract Commencement | September 2026 |

The dates provided above are estimates at the time of publication of the Call for Tender.   The Contracting Authority will endeavour to run the process to this timetable, but this cannot be guaranteed.

## Termination of Contract

The Contracting Authority reserves the right at its sole discretion to terminate any contract where, due to matters outside its control, including but not limited to, increased costs arising from any changes in the Customs Union, which render the commercial arrangement uncompetitive.

## Compliance with the Terms and Conditions

Award of contract will be subject to the successful tenderer agreeing to the Contract Terms and Conditions as appended at the relevant Appendix.

Tenderers are required to review these terms and conditions and indicate their acceptance thereof as part of their tender submission. Any reservation with regard to these terms should be submitted as a query in accordance with the procedure described in the Instructions to Tenderers (Section 6) of this document.

## Award to Runner Up

If for any reason, it is not possible to award the contract to the designated successful tenderer emerging from this competitive process, or if having awarded a contract, the successful tenderer fails to deliver the contract in accordance with the terms and conditions, the Contracting Authority reserves the right to award the contract to the next highest scoring tenderer based on the terms advertised at any time during the tender validity period. This shall be without prejudice to the right of the Contracting Authority to cancel this competitive process and/or initiate a new contract award procedure at its sole discretion.

## Details of Options

N/A

## Duration

The contract will be for a period of five years.

## Indicative budget

N/A.

## Contract Management

The Contracting Authority requires tenderers to nominate a dedicated contract manager who will act as the main point of contact for the duration of the contract.  This person shall have the authority to deal with all matters in relation to contracts and be responsible for the satisfactory delivery of the services required.  The duties of the contract manager will include the following:

- Overall responsibility for a good working relationship with the Contracting Authority;

- Provide regular reports on performance as agreed with the Contracting Authority;

- Meet as and when required to review and examine performance;

- Meet with building managers of Number 1 Dublin Street and the Market House in advance of works;

- Deal with disputes, complaints or concerns that cannot be adequately resolved;

- Proactively discuss with the Contracting Authority ways of improving efficiency regarding service delivery in general and providing suggestions for improvement and cost savings.

NOTE: Tenderers will note that contract management activities will be non-billable.

# SELECTION CRITERIA

The Contracting Authority is using the open procedure for the award of this contract, therefore, while all interested parties may submit a tender, only those demonstrating that they have the required level of financial and technical capacity will have their tender considered. In order to demonstrate a tenderers’ qualifications, tenderers are required to provide the information set out below in the Tender Response Document (TRD) which is based on a self-declaration model, however tenderers are required to provide the minimum information required.

## Use of the European Single Procurement Document

In accordance with Directive 2014/24/EU, tenderers may have compiled a European Single Procurement Document (ESPD), either electronically via the eESPD on eTenders or as a separate uploaded attachment with the tender response, which will be accepted as evidence of compliance with Section 1.1 of the TRD on condition that all information self-declared will be provided promptly on request at any time prior to an award decision.

## Relying on the Standing of Other Entities

Small and Medium Enterprises (SMEs) are encouraged to explore the possibilities of forming relationships with other SMEs or with larger enterprises to meet the financial, economic or technical capacity requirements of the competition, if required.

Tenderers are reminded that they may rely on the resources of other entities to establish the requirements on condition that they can prove to the satisfaction of the Contracting Authority that they will have these resources at their disposal when necessary.

If the tender is from a consortium / joint venture Tenderers must ensure that all the relevant information is provided and where necessary, provide the information requested separately for each party. The consortium must appoint a single point of contact who will assume overall responsibility for delivery, and who is authorised to sign the contract on behalf of all consortia members. The Contracting Authority will not act as an arbitrator between members of consortia.

## General, Legal and Financial Requirements

Tenderers are required to provide information on the following in the Tender Response Document.   The criteria and rules outlined below are assessed on a pass/fail basis.  Failure to comply with the requirements will result in your tender being considered inadmissible.

| General Information |  |
| --- | --- |
| Provide contact and general information on the tendering organisation - company name, address and contact details for individual responsible for this tender and company overview as well as information on sub-contractors and consortium members if applicable. |  |
| Declarations |  |
| - Complete the Declaration of Bona Fides as per Art. 57 of Directive 2014/24/EU as implemented by SI 2814 of May 2016 as contained in the Tender Response Document. - Complete the Declaration regarding compliance with relevant statutory obligations as contained in the Tender Response Document. Where tenderers are established and operating outside of Ireland compliance with equivalent legislation as applicable in the country of establishment / operation is required. |  |
| Financial |  |
| Tax | Confirmation that the tenderer / all parties associated with the tenderer are fully tax compliant in accordance with the rules of the Irish Revenue Commissioners and in their country of establishment. |
| Turnover | Confirmation that the tendering party turnover exceeded €250,000.00 during one of the last three years or pro-rata if more recently established firms are tendering – however the firm must have been in existence for at least 6 months. |
| Insurance | Confirmation of the following insurances being in place: - Employer’s Liability - €13 million - Public Liability - €6.5 million - Product Liability - €6.5 million - Cyber Liability Insurance – €2 million |

## Technical Capacity Requirements

Tenderers are required to provide information on the following in the Tender Response Document.   The criteria and rules outlined below are assessed on a pass/fail basis.  Failure to comply with the requirements will result in your tender being considered inadmissible.

| Personnel and Skills |  |
| --- | --- |
| Tenderers must provide information which demonstrates access to the minimum number of skilled personnel as indicated below and outlined in the TRD. |  |
| Skillset Required | Minimum Number |
| Person qualified to carry out the role of PSCS. A copy of CV is required. Person qualified to carry out the role of On-Site Project Manager. A copy of CV is required. Person qualified to carry out the “Fire Stopping” role as per Section 2.1 of this document. Certification Required. | 1 1 1 |
| Technical Equipment and Resources |  |
| Technical Equipment & Resource Required | Minimum Requirement |
| Current PSA Licence re CCTV Installation IS-EN-50132 – Part 7. ETO National Rules for Electrical Installations ET-101:2008 4th Edition ESB National Code of Practice for Customer Interface 4th edition 2008. A fully described plan of the proposed transmission network. Company organisation chart | Submit copy of Licence Certification Certification Certification Submit with tender. Submit with tender. |

Previous Contracts / Experience

Tenderers must provide information clearly demonstrating successful delivery of 2 previous contracts completed in the past 5 years which demonstrate experience involving the installation of an IP CCTV and wireless transmission systems in a city/town centre environment. - Wireless Transmission Systems. - Installation of Server based IP CCTV Systems.

Health & Safety Management System

Tenderers must provide information which demonstrates operation of health & safety systems and procedures in line with all relevant Safety Health & Welfare at Work legislation. Please complete the TRD. Evidence of compliance will be required as condition of contract award.

Quality Assurance Management System

Tenderers must provide information which demonstrates a commitment to quality assurance and provide details of quality assurance policies and systems and whether 3rd party certified. Please complete the TRD.

Environmental Management System

Tenderers must provide information which demonstrates operation of an appropriate environmental management system whether 3rd party certified or in-house. Please complete the TRD.

# AWARD CRITERIA

Only tenders which meet the Selection Criteria and are confirmed as valid and responsive to the specifications set out in this document will be evaluated against the award criteria. Tenderers should ensure that they have submitted sufficient relevant information to allow their tenders to be assessed under each of the award criteria set out below.

The contract will be awarded on the basis of the most economically advantageous compliant tender taking into account the following award criteria and weightings.

Please note that the maximum marks available is 1,000.

| Cost Criterion A1 | Weighting | Maximum Marks | Minimum Marks Required |
| --- | --- | --- | --- |
|  | 60% | 600 | N/A |

| Title | Cost for Installation |
| --- | --- |
| Description | Costing Sheet Below |

| Description | Qty | Cost | Warranty Period |
| --- | --- | --- | --- |
| Avigilon Video Server NVR6 48TB, 2U rack mount, Windows 10OS, High-Definition Stream Management (HDSM) functionality or equivalent unit. | 1 | € |  |
| Avigilon H5A 3MP 4 lens Multisensor camera, 360-degree fov or equivalent unit. IR ring not required. | 2 | € |  |
| Avigilon H5A 3MP 3 lens Multisensor camera, 270-degree fov or equivalent unit. IR ring not required. | 7 | € |  |
| Avigilon H6SL 3MP Day/Night Dome, 3.4mm – 10.5mm lens, integrated IR or equivalent unit. | 1 | € |  |
| Avigilon H6SL 3MP Bullet camera 3.4mm – 10.5mm lens, integrated IR or equivalent unit. | 8 | € |  |
| Avigilon standard license or equivalent. | 18 | € |  |
| Pole mount brackets | 13 | € |  |
| Avigilon Remote Monitoring Workstation with dual monitor output or equivalent unit. | 1 | € |  |
| 24" Monitor (with Server). | 1 | € |  |
| Rack Mount UPS 2000VA min. | 1 | € |  |
| Ubiquity Transmission equipment or equivalent | 1 | € |  |
| 4 port managed gigabit POE switch – each CCTV location | 14 | € |  |
| 8 port managed gigabit POE switch – 1 with server & 1 at Garda Station | 2 | € |  |
| Server Cabinet - 600mm (W) x 1000mm (D), 24U free standing - at Market House. | 1 | € |  |
| Switch Cabinet - 9U wall mount - at Garda Station. | 1 | € |  |
| Dell Inspiron 15 Laptop with Intel® Core i5-1335U Processor, Windows 11, Intel® Iris® Xe Graphics, 15.6", FHD 1920x1080 display, 16 GB RAM, 512GB SSD or equivalent unit. | 1 | € |  |
| Labour. | 1 | € |  |
| Training. | 1 | € |  |

| H&S and TM costs | 1 | € |  |
| --- | --- | --- | --- |
| Additional items - provide separate list & costings if necessary | - | € |  |
| COST CRITERION A1 - TOTAL | € EX VAT @ ______% |  |  |

| Cost Criterion A2 |  | Weighting | Maximum Marks | Minimum Marks – 50% |
| --- | --- | --- | --- | --- |
|  |  | 10% | 100 | N/A |
| Title | Service Level Agreement |  |  |  |
| Description | Costings Table below |  |  |  |

| Service Level Agreement – Year 1 | € Ex VAT @ ______% |
| --- | --- |
| Service Level Agreement – Year 2 | € Ex VAT @ ______% |
| Service Level Agreement – Year 3 | € EX VAT @ ______% |
| Service Level Agreement – Year 4 | € Ex VAT @ ______% |
| Service Level Agreement – Year 5 | € Ex VAT @ ______% |
| COST CRITERION A2 - TOTAL | € EX VAT @ ______% |

| Standard Call Out Charge | € Ex VAT @ ______% |
| --- | --- |
| Labour Rate per Hour | € Ex VAT @ ______% |
| Emergency Call out between 8pm & 8am | € EX VAT @ ______% |
| Labour rate per Hour (Emergency Call out) | € EX VAT @ ______% |

| Criterion A | Weighting | Maximum Marks | Minimum Marks |
| --- | --- | --- | --- |
| Cost Criterion A3 Call Out Charges | 10% | 100 | N/A |

| Standard Call Out Charge | € Ex VAT ______% |
| --- | --- |
| Labour Rate per Hour | € Ex VAT ______% |
| Emergency Call out between 8pm & 8am | € EX VAT ______% |
| Labour rate per Hour (Emergency Call out) | € EX VAT ______% |
| TOTAL COST CRITERION A3 | € EX VAT |

| TOTAL | € |
| --- | --- |
| Criterion A1 + A2 + A3 COST CRITERION Weighting 80% Maximum Marks = 800 |  |

| Criterion B | Weighting | Maximum Marks | Minimum Marks |
| --- | --- | --- | --- |
| Methodology Proposed | 20% | 200 | N/A |
| Instructions | Tenderers are required to detail their approach and methodology to delivering the requirements as outlined in the Scope of Requirements. Issues for consideration may include but are not necessarily limited to: - Tenderers understanding of the requirements of the Client - Tenderers overall approach to the provision of the service - Project plan for delivering the installation including timelines for delivery and installation and training, call out response times. |  |  |

| Economic Operators Response |  |
| --- | --- |

NOTE:	Tenderers should ensure in their tenders that they provide detailed information in respect of all aspects of the contract award criteria as stated above.  This will enable the awarding authority to assess fully the extent of their offers.

## Methodology for Calculating the Cost Score

The following formula will be applied to the cost score:

The lowest cost tender that also meets all the minimum requirements of the qualitative award criteria will receive the maximum score achievable under this criterion.  The scores of the other valid tenders will be calculated using the following formula:

| Lowest Cost from a Bona Fide Tender | A |
| --- | --- |
| Cost for the tender being evaluated | B |
| Maximum Points available for Cost | C |
| Formula employed | A x C B |

## Methodology for Calculating Scoring of Qualitative Criteria

| Score | Meaning | Interpretation |
| --- | --- | --- |
| 90 – 100% | Outstanding | A very comprehensive response demonstrating extensive understanding offering full assurance to client – fully supported with no reservations. |
| 80 – 89% | Excellent | An excellent response demonstrating excellent understanding offering assurance to client – strongly supported. |
| 70 – 79% | Very good | A very good response demonstrating very good understanding offering assurance to client – fully supported. |
| 60 – 69% | Good | A good response demonstrating good understanding offering assurance to client – well supported. |
| 50 – 59% | Acceptable | An acceptable response demonstrating a minimum understanding offering assurance to client - satisfactorily supported. |
| Less than 50% is unacceptable and considered ineligible from further consideration |  |  |
| 25 – 49% | Mediocre | Response demonstrates limited understanding with insufficient or no detail and a risk of non-delivery. This is unacceptable and classified as inadmissible. |
| 1 – 24% | Poor | Response demonstrates very limited understanding of the requirements and has fundamental flaws and lacks credibility with a significant risk of non-delivery. This is unacceptable and classified as inadmissible. |
| 0% | No response | Response completely fails to address the criterion under consideration. This is unacceptable and classified as inadmissible. |

Marks in the score ranges outlined above can be awarded where responses so merit additional marks.

Note: where there is a tie-break, the economic operator with the highest quality score will be awarded the quotation.  In a case where the overall qualitative scores are identical the economic operator with the highest score on the highest weighted qualitative criterion will be awarded the quotation.

All information regarding the evaluation process or potential outcomes shall remain confidential until after the conclusion of the quotation process.

## Post Tender Clarification

At the discretion of the Contracting Authority, tenderers may be invited, in writing, to clarify certain aspects of their tender, particularly where information or documentation to be submitted appears to be incomplete or erroneous. However, all such requests will be made in full compliance with the principles of equal treatment and transparency and avoid any distortion of competition.

## Verification Meetings

Award of contract may be subject to attendance at a verification meeting. It would be essential that the key personnel assigned to this contract should be available and present at this meeting.  If required, tenderers will be notified of the date, time, agenda and format for such meetings as soon as possible.

A visit to the Tenderer’s premises may be required to clarify any questions or queries regarding the tender offer.

## Clarification of Abnormally Low Tenders

If the Contracting Authority considers the tender submission to be commercially unsustainable or otherwise problematic in light of the tendered price or any other financial matter (including proposed indicative hours), the tenderer shall be invited to provide clarification to the Contracting Authority in respect of all elements of the tender submission that the Contracting Authority deems relevant. Any failure to satisfactorily comply with such a request, or to satisfactorily address the Contracting Authority’s concerns, may, at the discretion of the Contracting Authority, result in the elimination of the tender in question on the basis of it being considered abnormally low.

## Right to Confirm Suitability

Tenderers should note that the Contracting Authority reserves the right to confirm that the financial and technical capacity of the tenderer is valid and unchanged prior to the award of any contract.

# INSTRUCTIONS FOR TENDERERS

## Submission of Tenders

The Contracting Authority is using the Tender Postbox facility and tenders must be submitted electronically via the eTenders postbox facility on www.etenders.gov.ie only.  Only Tenders submitted to the electronic postbox will be accepted.  Tenders submitted by any other means (including but not limited to by email, fax, post or hand delivery) will not be accepted.

Tenderers must ensure that they give themselves sufficient time to upload and submit all required tender documentation before the Tender Deadline.  Tenderers should consider the fact that upload speeds vary.

To submit a document to the electronic postbox, please note that tenderers must click “Submit Response”.  After submitting tenderers can still modify and re-send their response up until the response deadline.  Tenderers should be aware that the ‘Submit Response’ button will be disabled automatically upon the expiration of the response deadline.

Tenderers not familiar with uploading on eTenders should ensure they familiarise themselves with the process prior to the submission deadline.

## Closing date for Tenders

| The closing date for tender submission | as specified on the title page |
| --- | --- |

It is the responsibility of the tenderer to ensure that their tender is complete and is uploaded / submitted by the designated deadline.

## Queries

| The closing date for submitting queries | as specified on the title page |
| --- | --- |

All queries regarding this tender should be through the messaging facility on www.etenders.gov.ie, including any omissions which would prevent tenderers from submitting a comprehensive tender.  Please submit queries as soon as possible and before the query closing date.  The Contracting Authority is not obliged to respond to questions received after this date.

In circulating responses, queries will be edited to avoid disclosing the identity of the querist and will be circulated to all parties who have expressed an interest in the procurement on the eTenders website.

## Extension of Tender Period

The Contracting Authority reserves the right, at its sole discretion, to extend the closing date for receipt of tenders by giving notice in writing (by post or electronic means) to all parties who have expressed an interest in the notice via eTenders no later than six days before the original closing date.

## Tender Validity Period

To allow sufficient time for Tender assessment a Tender Validity period of 180 days is required, this period commencing on the closing date by which the Tenders are to be returned.

## Discrepancies between Documents

A pdf version of the Request for Tender has been made available on eTenders.  This document will be considered as the primary source document in this procurement process, word versions of documents where they are provided are being made available to assist tenderers in responding to the tender competition.  Where there is a discrepancy between a pdf version and a word version, the pdf version will take precedence. Tenderers are requested to notify the Contracting Authority immediately of any anomaly. Where applicable the Contracting Authority will issue amended versions.

## Formatting of Tenderers / Amendment of Tender Documentation

Tenderers must ensure they use the Tender Response Document (TRD) when preparing their submission.

Tenderers are prohibited from amending any text or content of forms or declarations or templates provided as part of this tender competition in their tender responses.  Where amendments have been identified, the Contracting Authority may at its discretion eliminate the tenderer from further consideration. Likewise, failure to use the template documentation provided particularly in relation to costing / pricing may result in tenders being eliminated.

## Collusive Tendering

If any Tendering Party is found to have, at any time, offered to give or to have agreed to offer or give to any person, any bribe, gift, gratuity, commission or consideration of any kind as an inducement or reward for taking or forbearing to take any action in relation to the obtaining of its Tenders, or for showing or forbearing to show any favour or disfavour to any person in relation to its Tenders, the bid submitted by such Tendering Party shall be automatically disqualified and the circumstances surrounding such action shall be referred to the appropriate authority.

## Confidentiality

After the official opening of Tenders, information relating to the examination, clarification, evaluation and comparison of Tenders and recommendations will not be disclosed to tenderers or other persons not officially concerned with such process until the award decision with the successful Tenderer has been announced and in conformity with national laws.

Tenderers shall treat the details of all documents supplied to them in connection with this contract as private and confidential and shall not disclose the contents to a third party without the permission of the Contracting Authority.

Any effort by the Tenderer to influence the Contracting Authority or their staff in the process of examination, clarification, evaluation and comparison of Tenders and in decisions concerning the award of the contract may result in the rejection of that Tender.

## Clarification of Tenders

The Contracting Authority is entitled, but not obliged, to seek clarification of tenders, including pricing breakdowns in the course of the evaluation process. No change in the price or substance of the Tender shall be sought, offered or permitted. To assist in finalising the tender evaluation, selected tenderers may be invited to attend clarification meetings with the Contracting Authority.

Tenderers will be responsible for any costs incurred by them in the event that they are required to attend clarification or other meetings or make a presentation of their proposals.

## Correction of Errors

Detailed pricing of all tenders will be examined for errors that might alter the tender pricing as determined from the figures on the Form of Tender and electronic versions of the tender (if applicable). In general, the following approach will be applied to manifest errors - where there is a discrepancy between the unit price and the total amount derived from the multiplication of the unit price and the quantity, the unit price as quoted will normally govern.

The amount stated in the tender form will be adjusted by the Contracting Authority in accordance with the above procedure and, with the agreement of the tenderer, shall be considered as binding upon the tenderer. Without prejudice to the above, a tenderer not accepting the correction of their tender as outlined may have their tender rejected.

Where the Total Quote function has been activated on eTenders and a discrepancy arises between the amount in the Total Quote box and the tender submission, the amount in the tender submission shall take precedence.

Once the tender submission deadline has expired, no new information can be introduced. This includes cost elements.

## Change in the Composition of a Tenderer

Where a change in composition of a tenderer arises, this must be notified in writing to the Contracting Authority and formally approved by them.  Where the original party to the tender was critical to the tenderer meeting some or all selection criteria, any replacement party must meet or exceed the same selection criteria standard.

The Contracting Authority reserves the right, but is not obliged, to disqualify any Tenderer that makes any change to its composition after submission of a Tender.

## Interference and Inducement to Purchase

Any effort by the tenderer to unduly influence the Contracting Authority, relevant agency personnel or any other relevant persons or bodies in the process of examination, clarification, evaluation and comparison of tenders and in decisions concerning the Award of Contract shall have their tender rejected. The presumptions (including as to any gift, consideration or advantage) and other provisions under the Criminal Justice Act 2018, and all other measures for the time being governing the subject-matter in any applicable jurisdiction, shall be applicable.

## Conflict of Interest

Any conflict of interest involving a tenderer (or tenderers in the event of a consortium bid) must be fully disclosed to the Contracting Authority.  Any registrable interest involving the tenderer and the Contracting Authority or employees of the Contracting Authority or their relatives must be fully disclosed in the tender submission or should be communicated to the Contracting Authority immediately upon such information becoming known to the tenderer, in the event of this information only coming to their notice after the submission of a bid and prior to the award of the contract.  Failure to disclose a conflict of interest may disqualify a tenderer or invalidate an award of contract, depending on when the conflict of interest comes to light.

## Publicity

Tenderers shall not undertake (or permit to be undertaken) at any time, whether at this stage or after the award of the contract, any publicity activity with any section of the media in relation to this tender/agreement other than with the prior written consent of the Contracting Authority.  Such consent shall extend to the content of any publicity.  For the purposes of this paragraph, the word “media” includes (but is not limited to) radio, television, newspapers, trade and specialist press, the Internet and email accessible by the public at large and the representatives of such media.

The Contracting Authority will have the right to publicise or otherwise disclose to any third-party information regarding this process and the agreement.

## Right Not to Award

The Contracting Authority does not bind itself to accept the Most Economically Advantageous Tender or any tender. It also reserves the right to accept or reject in whole or in part any or all tenders received, and, in particular, to source the requirement with more than one provider.

The invitation to tender is issued in good faith; however, the Contracting Authority at its sole discretion shall not be obliged to award a contract or proceed to further stages in the procurement process and reserves the right to cancel the procurement process.

## Notification of Tender Evaluations

All information regarding the evaluation process or potential outcomes shall remain confidential until after the conclusion of the tender process.

All tenderers will be informed of the outcome of their tenders following tender evaluation and any necessary clarifications.

Potential outcomes can be:

- Award of Contract

- Letter of Regret

- Decision not to proceed with the Award of Contract

## Award Notices

Following the award of the contract, an award notice will be dispatched to eTenders announcing the results of the competition.

## Policy on Personal Debriefings

Based on the provision of the information to unsuccessful tenderers as outlined above and due to resourcing constraints, the Contracting Authority will not be offering individual debriefing meetings to unsuccessful bidders.

## Copyright

The Contracting Authority will have copyright ownership of any material developed for use by the Contracting Authority under the terms of this tender. The service provider may have a non-exclusive license to use such material but only for its own purposes (to be agreed with the successful tenderer).

## Brand Names, etc.

Please note in relation to this tender document; where reference is made to a particular make, source, process, trademark, type or patent, that this is not to be regarded as a de facto requirement.  In all such cases it should be understood that the reference in question is accompanied by the words "or equivalent”.

## Environmental Aspects

The Contracting Authority is committed to the principles of environmental management in its activities, and it encourages the implementation of sustainability principles in its procurement practices. Tenderers/contractors should make all reasonable efforts to minimise adverse environmental impact in the methods of service delivery and in materials used.

## Knowledge and Skills Transfer

It will be a condition of the contract that opportunities for the transfer of skills and/or knowledge from the Tender/Tender’s staff to the Contracting Authority staff will be availed of during the course of contracts under the framework agreement.

## Currency and Payment

The currency in which all prices and rates shall be tendered, and which payments under the contract will be paid, shall be Euro (€). All prices and rates quoted should be exclusive of VAT, with the applicable rate of VAT clearly indicated.

A schedule of payments will be agreed with the successful tenderer and invoices shall be submitted in accordance with the terms agreed with the Contracting Authority.

## Irish Legislation and Law

Tenderers should be aware that national legislation applies in other matters such as Employment, Working Hours, Official Secrets, Data Protection and Health and Safety. Tenderers must have regard to statutory terms relating to minimum pay and to legally binding industrial or sectoral agreements in the Contracting Authority tenders and in delivering contracts awarded to them. The contract(s) awarded on foot of this tender process will be governed by Irish law.

## Anti-Competitive Conduct

Tenderers should take notice of the Competition Act 2002 (as amended, the “2002 Act”), which makes it a criminal offence for tenderers to collude on prices or any other aspects relating to this procurement competition.

## Accessibility / Dignity at Work

The successful tenderer(s) shall comply with all relevant legislation relating to dignity at work. As a public body and employer, the Contracting Authority is committed to a policy of equality of opportunity for all personnel.

In line with the Disability Act 2005, accessibility requirements should be clearly stated in request for tenders / quotations where applicable. Under Section 27 of the Act the Contracting Authority is required to ensure that both the goods supplied, and services provided to it are accessible to persons with disabilities.

## Withholding Tax

Where applicable, payments shall be subject to Irish ‘Professional Services Withholding Tax’ at the prevailing rate (currently at 20%) as laid down by the Revenue Commissioners in Ireland. Non-residents may be able to reclaim such deducted Tax from the Office of the Revenue Commissioners in Ireland, International Claims Section located currently at Government Buildings, Nenagh, Co. Tipperary, Ireland (Tel: +353 (0) 67 63400).

## Freedom of Information

All responses to this Request for Tender will be treated in confidence and no information contained therein will be communicated to any third party without the written permission of the tenderer except insofar as is specifically required for the consideration and evaluation of the response or as may be required under law, including the Freedom of Information Act 2014, EU and Irish Government Procurement Procedures, or in response to questions, debates or other parliamentary procedures in or of the Oireachtas (the Irish Parliament).

Tenderers are asked to consider if any of the information supplied by them in response to this request for tenders should not be disclosed because of its sensitivity. However, any blanket or all-encompassing request for exemption from disclosure is not acceptable; tenderers must identify explicitly any such information and give relevant reasons for considering it to be economically sensitive or confidential in nature. If this is the case, tenderers should specify the information that is sensitive and the reasons for its sensitivity. The Contracting Authority cannot guarantee that any information provided by tenderers, either in response to this tender or in the course of any contract awarded as a result thereof, will not be released pursuant to the Contracting Authority’s obligations under law, including the Freedom of Information Act 2014, or to those under EU and Irish Government Procurement rules. The Contracting Authority accepts no liability whatsoever in respect of any information provided which is subsequently released, or in respect of any consequential damage suffered as a result of such disclosure.

## Late Payment

The Contracting Authority operates in accordance with EU Directive 2011/7/EU on combating Late Payment in commercial Transactions transposed into national legislation as S.I. 580 of 2012 and amended by S.I. No. 281 of 2016.

## Data Protection

“Data Protection Laws” means all applicable national and EU data protection laws, regulations and guidelines including but not limited to Regulation (EU) 2016/679 on the protection of natural persons with regard to the processing of personal data and on the free movement of such data, and repealing Directive 95/46/EC (the “General Data Protection Regulation”), the Data Protection Act, 2018 and any guidelines and codes of practice issued by the Data Protection Commission or other supervisory authority for data protection in Ireland from time to time.

The Contracting Authority will be a Controller (where Controller has the meaning given under the Data Protection Laws) in respect of any Personal Data (where Personal Data has the meaning given under the Data Protection Laws) required to be provided by the Tenderer in response to this Request for Tender.

The Tenderer, as Controller in respect of any Personal Data provided by it in its Tender, is required to confirm by way of statement in the “Declarations” section of the accompanying Tender Response Document that all Data Subjects (where Data Subject has the meaning given under the Data Protection Laws) whose Personal Data is provided by the Tenderer have consented to the processing of such Personal Data by the Tenderer, the Contracting Authority, the Evaluation Team and the supplier of the eTenders website, for the purposes of the participation of the Tenderer in this Competition or that the Tenderer otherwise has a legal basis for providing such Personal Data to the Contracting Authority for the purposes of its participation in this Competition.

## Changes in Legislation

As a condition of award, it shall be the sole responsibility of the tenderer (in the event of success in this competition) to fulfil the obligations under the Contract, notwithstanding any changes in circulars, laws, regulations, taxation, duties or other factors which might arise following the withdrawal of the United Kingdom from membership of the EU.

Appendix 1.

CCTV

Service & Maintenance Agreement.

Carrickmacross Town Centre

CCTV System

***********************

Document Change History.

| Issue | Date | Description |
| --- | --- | --- |
| 1 | June 2026 | First publication |
| 2 |  |  |
| 3 |  |  |

Definitions.

Customer

Monaghan County Council, hereafter referred to as “The Customer”.

Maintenance Company

XXX CCTV Contractor  has been engaged to service and maintain the  CCTV system at Carrickmacross Town Centre, hereafter referred to as “The Company”.

The System.

The CCTV system installed at Carrickmacross Town Centre consisting of;

- 1 x CCTV Server,

- 18 x IP Cameras

- 1 x 24” Monitor.

- 1 x Laptop.

- Switches,

- Power Supplies,

- UPS

- Cabling.

- Wireless Transmission System.

Scope of Service & Maintenance Agreement.

- The Company will provide the necessary resources, including spare parts, to ensure that the CCTV system is fully functional and meets with the operational requirements of Monaghan County Council,  at all times.

- The Company must comply with its obligations under the Data Protection Acts and ensure the safe custody of all data/ documentation in the company’s possession relating to the customer’s installation and operation.

- The Company should ensure that all of its representatives who have access to the customer’s equipment and/or data have been vetted in accordance with Garda Vetting Requirements.

- The company must notify the Monaghan County Council in advance of all scheduled service & maintenance visits.

This agreement provides for;

- The maintenance (incl. cleaning) and fault repair of all parts and components of the CCTV system, ie;

- Cameras, lenses, IR components, housings, lens covers and cabling.

- Camera brackets, conduits and protective covers.

- Power supplies to cameras & recorder.

- Weatherproof interface boxes as installed.

- Server, Monitor, Switches, Laptop, UPS, Server Cabinet.

- Wireless transmission equipment (except equipment installed on Garda mast).

- Exclusions to this Agreement:

- Damage to the system equipment through human error or negligence.

- Vandalism to the system.

- Replacement of parts outside of the agreed warranty period.

- This maintenance agreement is subject to the following;

- This service and maintenance agreement will be valid for a period of 5 years commencing on date of signing of the agreement and ending on XXXXX.

- The CCTV system is to be maintained to IS-EN- 50132-Part 7 Standard at all times.

- This agreement will consist of two scheduled service visits per year during the months of XXXX & XXXXX, during which the CCTV system will be fully checked and serviced as per attached Check List at Appendix No. 1.

- The Company will complete a service report following each service visit and provide a copy to the Customer. The Company will be required to put in place a Service Folder (Ring Binder) in which to place the service reports.  The folder will be stored in the CCTV comms cabinet in Monaghan County Councils Server room at Market House, Carrickmacross.

- The service report should list any issues arising with the system, set out the service actions undertaken and should also list any relevant comments regarding the system.

- No remedial works will be undertaken unless fully approved by the Customer in advance.  A PO is required from the Customer before any such works will be undertaken.

- All equipment installed as part of the CCTV system is guaranteed under warranty for a period of XXX years commencing on the date the system was commissioned ie; XXXXXXXX.

- The costs associated with the service and maintenance agreement are as set out in the original tender submitted by the Company.  These costs are as follows;

| Service Level Agreement – Year 1 – to | € incl. vat |
| --- | --- |
| Service Level Agreement – Year 2 – to | € incl. vat |
| Service Level Agreement – Year 3 – to | € incl. vat |
| Service Level Agreement – Year 4 – to | € incl. vat |
| Service Level Agreement – Year 5 – to | € incl. vat |

Emergency Call-outs.

- The Customer will report any faults with the CCTV system directly to the Company via phone to the following number - xxxxxx

- The Company will attend on site to all fault notifications within 24 hours from the time the notification is made by the Customer.

- The Company will complete a maintenance report following each emergency call out and will provide the Customer with a copy.

- No remedial works will be undertaken unless fully approved by the Customer in advance.

- The report will detail the maintenance works undertaken and any observations/ comments regarding the performance of the system.

It is agreed that emergency callouts will be charged at the rates as set out in quotation submitted at tender stage ie;

| Standard Call out. | Cost | Cost Inc. Vat |
| --- | --- | --- |
| Labour Rate per hour | € | € |
| Emergency call out between 8am- 8pm | € | € |
| Labour Rate per hour | € | € |
| Emergency call out between 8pm – 8am | € | € |
| Labour Rate per hour | € | € |

| Data Access Request (Downloading of Data). | Cost ex. Vat |
| --- | --- |
| Cost per hour | € |
| Out of hours cost | € |

Payment & Service Call Structure

Payment will be invoiced on the basis of 50% for 1st annual service visit & 50% for 2nd annual service visit.  Payment will be made on receipt of Company invoice and fully completed service report in line with the terms of this Agreement.  Invoices and Service reports to be forwarded to an email address which the Contracting Authority will nominate for such correspondence.

Service visits are to be undertaken during the months of April and October each year with the 1st service being undertaken in October 2026.

Documentation.

The following documentation is required to be placed in the Service Folder which will be retained with the Server in the Comms Cabinet at Market House, Carrickmacross;

- CCTV system “as fitted” specification*

- Copy of Maintenance Agreement

- Copy of Maintenance Report Forms as completed.

- Installed equipment manuals.

- Copy of Data Processing Agreement.

It is the responsibility of the Company to provide the folder(s) and to insert the above documentation in the folder(s).

Renewal of Agreement.

This Agreement shall remain in force for a period of 5 years from the date of signing of the agreement and thereafter from year to year subject to agreement on fees between the parties unless either party terminates the Agreement by giving one month’s notice in writing to the other party.

Any proposal to increase charges due for the supply of the services subject to this agreement shall be given to the Customer in writing a minimum of 60 days prior to such proposed charges taking effect.

Signed for and on behalf of Monaghan County Council (The Customer).

....................................………………….…….………....................................................

(						) Block Capitals

Position: ...........................................………….

Dated: ...........................................………….

Signed for and on behalf of XXXXXXX (The Company).

....................................………………….…….……….....................................................

(						) Block Capitals

Position: ...........................................………….

Dated: ...........................................…………

Appendix 1.

Carrickmacross Town Centre - CCTV Service Sheet/Checklist.

| Checks to be Carried Out. | Checked Yes/No. | Comments. |
| --- | --- | --- |
| Check that image quality from each camera is to identification standard as per specification. |  |  |
| Check that all cameras, lenses, housings have been cleaned and all cameras have a clear field of view. |  |  |
| Check for sound physical fixings of all equipment including loosening/corrosion of brackets. |  |  |
| Check all glands and seals on external equipment and confirm no ingress of water into equipment. |  |  |
| Check all cables and confirm no damage or wear. |  |  |
| Check Server and confirm that all cameras are available in Live and Recorded modes. |  |  |
| Check Server and confirm a minimum of 30 days storage. |  |  |
| Check Server and confirm if “Software Updates” are required or have been installed. |  |  |
| Check power supplies, switches, UPS and confirm that all are operating satisfactorily. |  |  |
| Check Monitor and confirm that it is operating as per specification. |  |  |
| Check Wireless Transmission System and confirm that all links are operating as per specification. |  |  |
| Confirm that system is operating as specified and in accordance with Customer “Operational Requirements.” |  |  |
| Confirm if equipment has been left disconnected/ non-functional. |  |  |
| Confirm if re-visit is required and why. |  |  |
| Confirm if system has been left in full operating order. |  |  |

Engineers Signature__________________________

Customers Signature__________________________

Date: ___________________________

Appendix 2 – Data Processing Agreement.

Carrickmacross Town Centre CCTV System.

Declaration

As a data controller, Monaghan County Council are legally obliged to ensure there is a written agreement in place with any third party (processor or sub-processor) engaged by the Council or third-party processor to provide a service on its behalf.

Article 28(1) of the GDPR states that “processing by a processor shall be governed by a contract” and a processor or sub-processor should only be used if they can provide “sufficient guarantees” (in particular in terms of its expert knowledge, resources and reliability) and agree to implement appropriate technical and organisational measures to ensure the processing of personal data complies with the GDPR and Data Protection Act 2018 and protects the privacy rights of individuals.

For further information on how Monaghan County Council protects the privacy rights of individuals visit our privacy notice at: https://monaghan.ie/privacy-notice/

Please complete either Section A or Section B of this form as appropriate.

If you are unsure of the appropriate section to complete, please contact Data Protection at dataprotectionofficer@monaghancoco.ie

Section A.

I/We declare that no processing of personal data will take place under the terms and for the duration of this contract. If this should change at any stage during the lifetime of the contract, we will notify Monaghan County Council without delay.

| NAME |  |
| --- | --- |
| POSITION |  |
| ORGANISATION |  |
| DATE |  |

Section B.

I/We declare that processing of personal data will be undertaken to fulfill our obligations under the terms of this contract. As a data processor I/We agree to comply with the Council’s requirements to meet the Council’s legal obligations as a data controller under Data Protection legislation.

We understand our obligations as a data processor and agree to complete the checklist below and submit relevant documents where applicable.

| NAME |  |
| --- | --- |
| POSITION |  |
| ORGANISATION |  |
| DATE |  |

To assist the council in meeting its data protection obligations, you must complete the checklist below and inform the council if any of the following scenarios apply, submitting the appropriate documents where applicable.

- if you intend to use sub-processors,

- if you have identified high-risk processing and the requirement for a Data Protection Impact Assessment (DPIA),

- if you are transferring data to a country outside the EEA region.

See terminology definitions (Appendix A) to assist in the completion of the checklist.

If you are unsure of the appropriate responses, please contact

dataprotectionofficer@monaghancoco.ie

| CHECKLIST |  |
| --- | --- |
| DOCUMENT | YES – NO - NA |
| Has a Data Processing Agreement been completed? | Y ☐ N ☐ N/A ☐ |
| Will a sub-processor be used? | Y ☐ N ☐ N/A ☐ |
| If applicable, have sub-processor details been submitted? Is a DPA in place? | Y ☐ N ☐ N/A ☐ |
| HIGH RISK PROCESSING | YES – NO - NA |
| Where applicable, has a DPIA (Data Processing Impact Assessment) been completed / Risk Information submitted? | Y ☐ N ☐ N/A ☐ |
| INTERNATIONAL TRANSFERS | YES – NO - NA |
| Will personal data be transferred outside of the EEA? | Y ☐ N ☐ N/A ☐ |
| Where applicable, has a Transfer Impact Assessment been completed? | Y ☐ N ☐ N/A ☐ |
| Where applicable, have standard contractual clauses been completed? | Y ☐ N ☐ N/A ☐ |

For office use only (to be completed by the DP unit)

|  | Where applicable, has a DPIA been submitted and reviewed? | Y ☐ N ☐ N/A ☐ |
| --- | --- | --- |
|  | Where applicable, has a processor DPA been submitted & reviewed? | Y ☐ N ☐ N/A ☐ |
|  | Where applicable, has a sub-processor DPA been submitted & reviewed? | Y ☐ N ☐ N/A ☐ |
|  | Where applicable, has a Transfer Impact Assessment been submitted and reviewed? | Y ☐ N ☐ N/A ☐ |
|  | Where applicable, has the appropriate data transfer mechanism been submitted and reviewed? | Y ☐ N ☐ N/A ☐ |

Appendix A - Definitions

- Data Processer:

A ‘processor’ refers to a person, company, or other body which processes personal data on behalf of a controller. They don’t decide how or why processing takes place but instead carry out processing on the orders of a controller.

- Sub-processing:

Sub-processors perform data processing on behalf of the processor. Data processors should have a data processing agreement with any sub-processors they use. The processor shouldn’t engage sub-processors without the prior consent of the controller.

- Data Processing Agreement (DPA):

A Data Processing Agreement (DPA) is a legally binding document to be entered into between the controller and the processor in writing or electronic form. It regulates the scope and purpose of processing, as well as the relationship between the controller and the processor. The contract is important so that both parties understand their responsibilities and liabilities.

- Data Protection Impact Assessment (DPIA):

Under the GDPR, a DPIA is mandatory where data processing “is likely to result in a high risk to the rights and freedoms of natural persons”.  A DPIA identifies and assesses the risk(s) associated with the processing activity.

- European Economic Area (EEA):

The EEA refers to the European Economic Area and is currently comprised of 27 EU countries and the three EFTA countries of Iceland, Liechtenstein, and Norway. Any country outside of the EEA is referred to as a ‘third country’.

- International Transfers:

This refers to the transfer of data outside of the European Economic Area to countries where GDPR does not apply. These countries are described as ‘third countries’.  In the absence of GDPR a specific transfer mechanism may be in place with certain countries to safeguard the personal data e.g., binding corporate rules, adequacy, standard contractual clauses.

- Transfer Impact Assessment (TIA):

The term TIA refers to a written analysis/risk assessment, conducted by a controller or a processor, to assess the impact that a transfer of personal data to a country outside of the EEA may have on the privacy afforded to the transferred data.

- Standard Contractual Clauses (SCCs):

Standard contractual clauses (SCCs) are standardised and pre-approved model data protection clauses that allow controllers and processors to comply with their obligations under EU data protection law and can be incorporated into contracts between the Data Controller.

_________________________________________________