## PartP1
Part 1 - Preliminaries
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 100 - Preliminaries
Temporary Accommodation
A | Erection of stores and workshops for the Contractor | 1 | item |  | 0 | 1/1/A | 201
B | Erection of offices and messes for the Contractor | 1 | item |  | 0 | 1/1/B | 202
C | Servicing of stores and workshops for the Contractor | 1 | item |  | 0 | 1/1/C | 203
D | Servicing of offices and messes for the Contractor | 1 | item |  | 0 | 1/1/D | 204
E | Dismantling of stores and workshops for the contractor | 1 | item |  | 0 | 1/1/E | 205
F | Dismantling of offices and messes for the Contractor | 1 | item |  | 0 | 1/1/F | 206
Traffic Safety and Management
G | Traffic safety and management | 1 | item |  | 0 | 1/1/G | 210
H | Taking measures for or construction, maintenance, | 1 | item |  | 0 | 1/1/H | 211
removal of contraflow arrangements in accordance with
Appendix 1/17
I | Removing from store and installing temporary vertical | 1 | item |  | 0 | 1/1/I | 212
safety barriers in accordance with Appendix 1/17
J | Taking up or down and removing from site temporary | 1 | item |  | 0 | 1/1/J | 213
vertical safety barriers in accordance with Appendix
1/17
Progress Photographs
K | Set of progress photographs taken weekly for the | 20 | nr |  | 0 | 1/1/K | 227
duration of the works, at project start and at project
completion, to be provided in digital format (a minimum
of 10 megapixels) to Employers Representative within
five working days after being carried out on the first
working day of each month and at weekly intervals until
completion, in accordance with Appendix 1/22 of the
Works Requirements
L | Additional aerial progress photographs taken weekly for | 20 | nr |  | 0 | 1/1/L | 639
the duration of the works, at project start and at project
completion, to be provided in digital format (a minimum
of 10 megapixels) to Employers Representative within
five working days after being carried out on the first
working day of each month and at weekly intervals until
completion, in accordance with Appendix 1/22 of the
Works Requirements
Road Sweeping and Cleaning
M | Road sweeping and cleaning, to provided for the | 1 | item |  | 0 | 1/1/M | 230
duration of the works until Substantial Completion
Emergency Services
N | Provide for Emergency Services | 1 | item |  | 0 | 1/1/N | 231
D870 |  | Page: 1 / 1 |  | To Collection | 0
Part 1 - Preliminaries
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Facilities for Local Authority, Public or Private
Utility Undertakers and Other Contractors
A | Facilities for Local Authority, Public or Private Utility | 1 | item |  | 0 | 1/2/A | 232
Undertakers and other Contractor, Department of
Agriculture, Food and the Marine
B | Facilities for Local Authority, Public or Private Utility | 1 | item |  | 0 | 1/2/B | 233
Undertakers and other Contractor, ESB
C | Facilities for Local Authority, Public or Private Utility | 1 | item |  | 0 | 1/2/C | 234
Undertakers and other Contractor, Network Gas
D | Facilities for Local Authority, Public or Private Utility | 1 | item |  | 0 | 1/2/D | 235
Undertakers and other Contractor, Irish Water
E | Facilities for Local Authority, Public or Private Utility | 1 | item |  | 0 | 1/2/E | 236
Undertakers and other Contractor, Eir
F | Facilities for all other Local Authority, Public or Private | 1 | item |  | 0 | 1/2/F | 238
Utility Undertakers and other Contractors not listed
Property Condition Surveys
G | Property condition surveys at locations indicated by red | 1 | item |  | 0 | 1/2/G | 239
boundary line in accordance with drawings D870-
OCSC-01-XX-DR-C-00001- and Appendix 1/7
Project Supervisor for the Construction Stage
H | Acceptance of the appointment as Project Supervisor | 1 | item |  | 0 | 1/2/H | 240
for the Construction Stage
Safety File
I | Safety File | 1 | item |  | 0 | 1/2/I | 241
As Built Records
J | As Built Records | 1 | item |  | 0 | 1/2/J | 242
D870 |  | Page: 1 / 2 |  | To Collection | 0
Part 1 - Preliminaries
| Description |  |  |  | Amount | BQIndex | InputNo
| Series 100 - Preliminaries |  |  |  | 0
D870 |  | Page: 1 / 3 |  | To Summary | 0

## PartP2
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 200 Site Clearance
Site Clearance
A | General site clearance | 0.4 | ha |  | 0 | 2/1/A | 108
Take Up or Down and Set Aside for Reuse or
Remove to Store or Tip off Site
B | Take up or down and remove to tip off site "Vehicle | 400 | m |  | 0 | 2/1/B | 645
Bridge parapet 1.2metre high"
C | Take up or down and remove to tip off site "Public | 7 | nr |  | 0 | 2/1/C | 646
Lighting Columns 9 metre high"
D | Take up or down and tip off site "Vehicle Restraint | 25 | m |  | 0 | 2/1/D | 641
System"
E | Take up or down and tip off site "Stop Sign" | 1 | nr |  | 0 | 2/1/E | 648
F | Take up or down and set aside for reuse Pair of Steel | 1 | nr |  | 0 | 2/1/F | 647
gates 9metre width including posts, fixtures, fittings and
all associated works.
D870 |  | Page: 2 / 1 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 300 Fencing and Environmental Noise
Barriers
Remove from Store and Re-erect Fencing, Gates
and Stiles
A | Remove from store and re-erect steel double gates, 9 m | 1 | nr |  | 0 | 2/2/A | 644
wide, including posts, fixtures, fittings and all associated
works.
D870 |  | Page: 2 / 2 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 400 Road Restraint Systems (Vehicle and
Pedestrian)
Safety Barrier System
A | Safety barrier, containment N2 Working width class W2 | 375 | m |  | 0 | 2/3/A | 566
level bridge parapet, 1.250 m high, straight or curved
exceeding 120 metre radius, to be installed as per
drawing D870-OCSC-XX-XX-DR-C-0102
B | Safety barrier, containment N2 Working width class W2, | 25 | m |  | 0 | 2/3/B | 567
straight or curved exceeding 120 metres radius, to be
installed as per drawing D870-OCSC-XX-XX-DR-C-
0102
Transitions
C | Transitions between safety barriers N2W2 and parapet, | 2 | nr |  | 0 | 2/3/C | 477
8 metre length, straight or curved exceeding 120 metres
radius, to be installed as per drawing D870-OCSC-XX-
XX-DR-C-0102
Terminals
D | Terminal, 7metre in length, class T110, to be installed | 2 | nr |  | 0 | 2/3/D | 445
as per drawings D870-OCSC-XX-XX-DR-C-0102
D870 |  | Page: 2 / 3 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 500 Drainage and Service Ducts
Drains, Sewers, Piped Culverts and Service Ducts
(Excluding Filter Drains, Narrow Filter Drains & Fin
Drains)
A | 75mm internal diameter uPVc road gully connection | 8 | m |  | 0 | 2/4/A | 451
pipe in trench to bridge deck
B | 2 x 110mm internal diameter service duct (Public | 14 | m |  | 0 | 2/4/B | 249
Lighting), depths to invert not exceeding 2 metres
average, depth to invert 1 metre in trench under Non-
Trafficked Areas in accordance with drawing D870-
OCSC-XX-XX-DR-C-0104
Connections
C | Connection from 75mm uPVC Pipe to existing road gully | 4 | nr |  | 0 | 2/4/C | 252
D | Connection to existing PL ducting 100mm internal | 7 | nr |  | 0 | 2/4/D | 600
diameter Depth not exceeding 2 metres
D870 |  | Page: 2 / 4 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 600 Earthworks
Excavation
A | Excavation of non-compliant material in cutting and | 150 | m3 |  | 0 | 2/5/A | 120
other excavations 0 metres to 3 metres in depth. non-
compliant material is classified as Category C (Soils
suitable for disposal to a Non Hazardous Licenced
Landfill) in accordance with Waste Acceptance Criteria
(WAC) set out in Directive 1999/31/EC (The Landfill
Directive) and the Council Decision of 19 December
2002, or such legislation as is current at award of
Contract.
Excavation in Hard Material
B | Extra over excavation for excavation in hard material in | 150 | m3 |  | 0 | 2/5/B | 128
cutting and other excavation
C | Depostion of Fill |  |  |  |  | 2/5/C | 563
Disposal of Material
D | Disposal of non-compliant material | 150 | m3 |  | 0 | 2/5/D | 124
D870 |  | Page: 2 / 5 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 700 Pavements
Pavement
A | AC20 DENSE BIN 40/60 DES binder course 50mm | 1277 | m2 |  | 0 | 2/6/A | 359
thick, in accordance with Work Requirements TII-CC-
SPW-00900 CL 3.1.4
B | HRA 30/14F SURF 40/60 DES surface course 40mm | 1650 | m2 |  | 0 | 2/6/B | 146
thick in carriageway, hard shoulder and hard strip, in
accordance with Works Requirements TII-CC-SPW-
00900 CL. 4.1.3
C | HRA 30/14F SURF 40/60 DES surface course 40mm - | 320 | m2 |  | 0 | 2/6/C | 492
75mm max thick in carriageway, hard shoulder and
hard strip, in accordance with Works Requirements TII-
CC-SPW-00900 CL. 4.1.3
D | Flexible Asphalt material in carriageway expation joint | 4 | m2 |  | 0 | 2/6/D | 605
115mm thick, in accordance with Works Requirements
TII-CC-SPW-00900 CL. 4.1.3 and drawing D870-
OCSC-XX-XX-DR-C-0104
E | Protective layer 20mm, sand asphalt in accordance with | 1585 | m2 |  | 0 | 2/6/E | 493
I.S.E.N. 13108-4 In carriageway hard shoulder and hard
strip
Regulating Course
F | AC20 DENSE BIN 40/60 DES TO IS EN regulating | 136 | t |  | 0 | 2/6/F | 356
course 25mm-40mm thick in carriageway, hard
shoulder and hard strip
Surface Treatment
G | High friction surfacing dark gray, PSV not less than 65 | 125 | m2 |  | 0 | 2/6/G | 650
thickness 6mm.
Bond Coat
H | Tack Coat | 3472 | m2 |  | 0 | 2/6/H | 150
Cold Milling
I | Cold milling (Planing) of existing carriageway surface to | 1970 | m2 |  | 0 | 2/6/I | 521
a depth exceeding 50mm but not exceeding 100mm
D870 |  | Page: 2 / 6 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 1200 Traffic Signs and Road Markings
Traffic Signs
A | Permanent retroreflective Stop Sign as RUS027 size | 1 | nr |  | 0 | 2/7/A | 652
450mm of Traffic Signs Manual and 1200 series
drawings on one 2.5m x 76mm high galvanised tubular
steel pole
Road Markings
B | Intermittent warning centre line 100mm with 1m | 230 | m |  | 0 | 2/7/B | 314
spacing, in white thermoplastic screed with applied
glass beads 100mm as per RRM 002D of Traffic Signs
Manual and 1200 series drawings
D870 |  | Page: 2 / 7 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 1300 Road Lighting Columns and Brackets
Road Lighting Columns, Brackets and Wall
Mountings
A | Luminaire Type Philips BGP293 DX70 Lumistreet Gen2 | 7 | nr |  | 0 | 2/8/A | 630
Medium_14500_80LED_5.2S_CLO_L90_730.ies on
aluminium road lighting column 6 metre high with 2
metre outreach , flange base plate chemically anchored
in accordance with drawing D870-OCSC-XX-XX-DR-C-
0104
D870 |  | Page: 2 / 8 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 1400 Electrical Work for Road Lighting
Traffic Signs
Cabling
A | Cable, public lighting cable, 6SQ 3 core PVC/SWA/PVC | 200 | m |  | 0 | 2/9/A | 337
in carriageways, footways and bridge decks and paved
areas
Cable Joints and Terminations
B | Cable Joint, 6SQ, 3 core PVC/SWA/PVC | 7 | nr |  | 0 | 2/9/B | 330
C | Cable terminations, 6SQ , 3 core PVC/SWA/PVC | 7 | nr |  | 0 | 2/9/C | 331
Feeder Pillars
D | Micro-Pillar including vault,cover and frame to ESB | 1 | nr |  | 0 | 2/9/D | 333
requirements and standards
Earth Electrodes
E | Earth Electrodes | 1 | nr |  | 0 | 2/9/E | 335
D870 |  | Page: 2 / 9 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 1700 Structural Concrete
In Situ Concrete
A | In situ concrete mix reference C40/50 in Corbel | 2 | m3 |  | 0 | 2/10/A | 579
B | In situ concrete removal of defective concrete to a min | 1 | m3 |  | 0 | 2/10/B | 607
25mm behind the reinforcement, as per Drawing D870-
OCSC-XX-XX-DR-C-0104
Surface Finish of Concrete - Formwork
C | Formwork Class F2 vertical more than 300 mm wide, to | 13 | m2 |  | 0 | 2/10/C | 582
corbel
D | Formwork Class F2 horizontal more than 300 mm wide, | 6 | m2 |  | 0 | 2/10/D | 589
to corbel
Steel Reinforcement for Structures
E | Bar reinforcement stainless steel S10 nominal size | 0.2 | t |  | 0 | 2/10/E | 584
16mm and under not exceeding 12 metres in length in
corbel
F | Dowels, vertical stainless steel S10 bar reinforcement | 35 | nr |  | 0 | 2/10/F | 613
U-Bars drilled and fixed into existing paraper edge
beam at 175mm C/C min embedment 250mm in
accordance with drawing D870-OCSC-XX-XX-DR-C-
0104
D870 |  | Page: 2 / 10 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 2000 Waterproofing for Structures
Waterproofing
A | Spray Applied waterproofing membrane (Road) to give | 57 | m2 |  | 0 | 2/11/A | 570
a minimum dry film thickness of 2mm in accordance
with manufacturer's specification, applied to buried
concrete less than 300mm wide at any inclination more
than 30° up to and including 90° to the horizontal as
shown on drawing C1033-OCSC-XX-XX-DR-C-0712
and works specifications
B | Spray Applied waterproofing membrane (Road) to give | 1570 | m2 |  | 0 | 2/11/B | 571
a minimum dry film thickness of 2mm in accordance
with manufacturer's specification, applied to buried
concrete more than 300 mm wide horizontal or at any
inclination up to and including 30 degrees to the
horizontal as shown on drawing C1033-OCSC-XX-XX-
DR-C-0712 and works specifications
C | 1 coat waterproof membrane primer (Road) applied to | 57 | m2 |  | 0 | 2/11/C | 572
buried concrete less than 300mm wide at any
inclination more than 30° up to and including 90° to the
horizontal as shown on drawing C1033-OCSC-XX-XX-
DR-C-0712 and works specifications
D | 1 coat waterproof membrane primer (Road) applied to | 1570 | m2 |  | 0 | 2/11/D | 573
buried concrete more than 300 mm wide horizontal or at
any inclination up to and including 30 degrees to the
horizontal as shown on drawing C1033-OCSC-XX-XX-
DR-C-0712 and works specifications
E | Waterproofing with proprietary waterproofing system, | 1824 | m2 |  | 0 | 2/11/E | 574
more than 300 mm wide horizontal or at any inclination
up to and including 30 degrees to the horizontal
F | Waterproofing with proprietary waterproofing system, | 357 | m2 |  | 0 | 2/11/F | 575
more than 300 mm wide vertical or at any inclination up
to and including 90 degrees to the vertical
D870 |  | Page: 2 / 11 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 2300 Bridge Expansion Joints and Sealing of
Gaps
Bridge Deck Expansion Joints
A | Joint filler, type 2 asphaltic plug joint, 12 metres lenght, | 10 | m3 |  | 0 | 2/12/A | 604
0.02 metre gap width, 500mm wide x 115mm depth
road width 7metres flexible asphaltic material with
bridging plate in accordance with drawing D870-OCSC-
XX-XX-DR-C-0104
D870 |  | Page: 2 / 12 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 2500 Special Structures
Special Structures
A | Special structures designed by the Contractor, public | 1 | item |  | 0 | 2/13/A | 610
lighting comprising 7 nr new 6 metres poles 2 metre
outreach, in accordance with 100 series drawings
B | Special structures designed by the Contractor, public | 1 | item |  | 0 | 2/13/B | 617
lighting cabling comprising approximately 200m of
3x6SQ SWA
C | Special structures designed by the Contractor, 110mm | 1 | item |  | 0 | 2/13/C | 618
internal diameter ducting for public lighting (trafficked
and non-trafficked)
D870 |  | Page: 2 / 13 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Series 5500 Structural Concrete Repair
Structural Concrete Repair Temporary Works
Establishment
A | Site and temporary works establishment to "Soffit", | 1 | item |  | 0 | 2/14/A | 614
temporary works containment platform.
B | Site and temporary works establishment to "Piers", | 1 | item |  | 0 | 2/14/B | 626
temporary works containment platform.
C | Site and temporary works establishment to "Parapets", | 1 | item |  | 0 | 2/14/C | 622
temporary works containment platform.
D | Site and temporary works establishment, debris | 1 | item |  | 0 | 2/14/D | 627
containment area.
E | Site and temporary works establishment, works | 1 | item |  | 0 | 2/14/E | 620
adjacent to watercourse.
Structural Concrete Repair
F | In situ concrete repair comprising 30mm thick sprayed | 76 | m2 |  | 0 | 2/14/F | 634
gunite or similar approved spray applied structural
waterproofing render in accordance with the
manufacturer's specification, to reinforced concrete
column base surfaces more than 300mm wide, vertical
or at any inclination up to and including 90 degrees to
the vertical, as shown on drawings and Works
Specifications.
G | In situ concrete repair comprising 30mm thick sprayed | 34 | m2 |  | 0 | 2/14/G | 637
gunite or similar approved spray applied structural
waterproofing render in accordance with the
manufacturer's specification, to reinforced concrete
column top surfaces more than 300mm wide, vertical or
at any inclination up to and including 90 degrees to the
vertical, as shown on drawings and Works
Specifications.
H | In situ concrete repair comprising 30mm thick sprayed | 142 | m2 |  | 0 | 2/14/H | 636
gunite or similar approved spray applied structural
waterproofing render in accordance with the
manufacturer's specification, to reinforced concrete
crosshead surfaces more than 300mm wide, vertical or
at any inclination up to and including 90 degrees to the
vertical, as shown on drawings and Works
Specifications.
I | In situ concrete repair comprising 30mm thick sprayed | 48 | m2 |  | 0 | 2/14/I | 638
gunite or similar approved spray applied structural
waterproofing render in accordance with the
manufacturer's specification, to reinforced concrete
beam at base surfaces more than 300mm wide, vertical
or at any inclination up to and including 90 degrees to
the vertical, as shown on drawings and Works
Specifications.
J | In situ concrete repair "Parapet" 50mm thick Class R4 | 4 | m2 |  | 0 | 2/14/J | 635
repair mortar in accordance with drawing D870-OCSC-
XX-XX-DR-C-0104
D870 |  | Page: 2 / 14 |  | To Collection | 0
Part 2 - Roadworks General
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
Structural Concrete Repair (Cont'd)
A | In situ concrete repair including application of protective | 760 | m2 |  | 0 | 2/15/A | 633
paint system, primer 2–3 coat system, color RAL 7023
"Concrete Grey" in accordance with appendix 17/4
D870 |  | Page: 2 / 15 |  | To Collection | 0
Part 2 - Roadworks General
| Description |  |  |  | Amount | BQIndex | InputNo
| Series 200 Site Clearance |  |  |  | 0
| Series 300 Fencing and Environmental Noise Barriers |  |  |  | 0
| Series 400 Road Restraint Systems (Vehicle and Pedestrian) |  |  |  | 0
| Series 500 Drainage and Service Ducts |  |  |  | 0
| Series 600 Earthworks |  |  |  | 0
| Series 700 Pavements |  |  |  | 0
| Series 1200 Traffic Signs and Road Markings |  |  |  | 0
| Series 1300 Road Lighting Columns and Brackets |  |  |  | 0
| Series 1400 Electrical Work for Road Lighting Traffic Signs |  |  |  | 0
| Series 1700 Structural Concrete |  |  |  | 0
| Series 2000 Waterproofing for Structures |  |  |  | 0
| Series 2300 Bridge Expansion Joints and Sealing of Gaps |  |  |  | 0
| Series 2500 Special Structures |  |  |  | 0
| Series 5500 Structural Concrete Repair |  |  |  | 0
D870 |  | Page: 2 / 16 |  | To Summary | 0

## Summary
Bill | Description |  | Amount | BQIndex | InputNo
1 | Part 1 - Preliminaries |  | 0
2 | Part 2 - Roadworks General |  | 0
D870 |  | Page: S/1 | 0