Building Maintenance Contract

Brief

Rev A

TU Dublin Estates

Prepared by DG

1	Introduction

Technological University Dublin (TU Dublin), as the Contracting Authority, invites tenders for the provision of a comprehensive Building Maintenance Contract to service all its buildings and campus locations.

TU Dublin comprises three primary campuses:

- Blanchardstown

- City Campus (including Grangegorman, Bolton Street, Aungier Street, and associated buildings)

- Tallaght

Collectively, TU Dublin spans approximately 70 hectares and encompasses 226,000 m² of building space, of which 61,500 m² are Public Private Partnership (PPP) facilities.

The University serves a student population of approximately 28,000, supported by 3,500 staff, and accommodates a significant number of daily visitors.

All buildings are occupied from 8am to 10pm, Monday to Friday from late August to mid-June. The buildings are also open occasionally to facilitate special events during the week, evenings, weekends, and during the summer months. The technical, administrative and maintenance support staff are on campus all year-round providing administrative, catering, cleaning, repair, maintenance, goods deliveries, waste removal services, etc.

It is therefore essential that the maintenance locations are treated as a ‘live’ environment where many diverse activities take place daily on relatively confined conditions.  During any maintenance activities, existing operations must be maintained, and all client personnel and property must be protected from these activities.

2	Scope

The work covered by this contract will typically involve building maintenance and minor refurbishment of works associated with the buildings and estates on each campus.

Maintenance and work may include but not limited to the following:

- Painting & Decorating, e.g. offices, lecture theatre, meeting room, circulation spaces, etc.

- Erection/demolition (block, stud, suspend ceilings, stairs) - Ceiling, walls and floor works.

- Fixtures and fittings incl bespoke items – Sanitary, shelving, doors, ironmongery, windows, blinds, glazing etc.

- Fire prevention– inspection and rectification of defects to doors, Ironmongery, door seals, fire stopping etc. incl door replacement.

- Roofing repairs/replacement works - soffit/facia, flashings, flat and pitched roofing, gutter clearance etc.

- Key cutting and lock repair.

- Fencing, roadways, kerbs, line marking, cobble lock/Brick, pavers, underground services (storm, water).

- Fall arrest annual re-certification and repairs.

- Supply of all general building maintenance and repair materials.

- Weekly reporting to TU Dublin Estates.

- Identification of the maintenance needs, planning, controlling and managing the maintenance regime in compliance with best industry practice and statutory requirements This includes the provision of all necessary technical, management and professional expertise, functions and procedures to form a complete operation and maintenance regime.

- Comprehensive Annual Report detailing works done, fully completed certificates and test sheets at the end of each year’s contract.

- Assisting with the identification and tracking of reactive and planned preventative maintenance tasks.

- Any other requests deemed appropriate to the expertise of the successful Service Provider by TU Dublin Estates.

It is envisaged that these elements of work will be undertaken under this service; this list is neither exhaustive nor representative of the order of importance.

The contractor will be required to undertake minor tasks & repairs together with other remedial works identified by the Estates Office. Such maintenance activities will be instructed to the Contractor by the Estates Office and managed using the CAFM system (helpdesk). It will be the responsibility of the Contractor to ensure that Task Orders are completed and closed off when the associated work has been completed.

The contractor shall undertake works instructed under Task Orders within a reasonable timeframe having regard to their criticality in terms of health and safety and operational need. It is expected that all CAFM system (helpdesk) requests will be completed within five or ten working days unless works raise specific circumstance requirements or further investigations. Any work exceeding these timelines will result in financial penalties, e.g. +1-week 10% reduction, +2 weeks 20% reduction.

The contractor will always try where it is possible to combine jobs to individual sites. The estates office understands that this may not always be possible due to emergencies or urgent call outs. One-man jobs will be billed as such unless evidence is provided to support expense.

3	Working Constraints

(1)	Deliveries to campus will be scheduled to reduce interference with campus traffic and pedestrians/students.

(2)	Every effort will be made to carry out loading and unloading operations on the site itself, but when this is not possible and vehicles must remain on the road, then every effort will be made to ensure traffic and pedestrians can pass safely. At all times when vehicles are accessing or egressing the site a flag man will be posted.

(3)	Dust levels will be kept to a minimum with appropriate dust proof screens to be erected to prevent nuisance caused by dust to adjacent occupants. Any dust emissions from the area of work need to be immediately sealed to prevent further nuisance and the affected area cleaned. This is particularly pertinent in live occupied areas and where IT exists and in laboratory spaces. Tack mats should be employed at works entrance points and provide cleanliness as you go process during work.

(4)	During work, storage of materials will be restricted to the site area, and the storage of material will be in a planned manner such as not to cause a hazard or impede safe access and egress.

(5)	All works will be restricted to the designated site area and compound area, if required.

(6)	All demolitions shall be carried out in such a manner as to cause minimum disturbance and interference with the running of the existing university. In particular, all necessary measures should be taken to reduce noise and airborne dust within site areas.

(7)	All works will be agreed with the Estates Department and method statements drawn up where applicable.

a.	A method statement to be agreed with the Manager for all works on the campus, detailing how the Contractor plans to safely carry out the works, to be issued and agreed in advance of all such works.

b.	Contractor to outline, in advance of the work commencing and for agreement with the Estates Department, how they plan to contain dust, restrict noise, plans for deliveries/loading/unloading, details of storage and compound set-up.

4	Working Hours

University opening times are listed below;

| Term Time - 2022 (1 Sep - 19 Jun) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Hours | Mon - Thu | Fri | Sat | Sun |
| Blanchardstown | 78 | 07:30 - 22:00 | 07:30 - 22:00 | 08:00 - 17:00 | Closed |
| City Campus | 80 | 08:00 - 22:00 | 08:00 - 22:00 | 08:00 - 18:00 | Closed |
| Tallaght | 81 | 07:00 - 22:00 | 07:00 - 18:00 | 08:00 - 18:00 | Closed |
| Non-Term Time - 2022 (20 Jun – 31 Aug) |  |  |  |  |  |
|  |  | Mon - Thu | Fri | Sat | Sun |
| Blanchardstown | 70 | 08:00 - 22:00 | 08:00 - 22:00 | Closed | Closed |
| City Campus | 50 | 08:00 - 18:00 | 08:00 - 18:00 | Closed | Closed |
| Tallaght | 50 | 08:00 - 18:00 | 08:00 - 18:00 | Closed | Closed |

Work outside of these hours will be for urgent or emergency work only or as agreed with the estates representative.

The Contractor shall outline in advance of the works commencing and how plans to deal with noisy and/or disruption works without affecting the convenience of the occupants.

5	Subletting or Subcontracting

In exceptional circumstances and only with the University’s prior written agreement and then only with the Service Provider’s insurance extending to cover such eventuality can any portion of the services under this contract be sublet or subcontracted.

Under any such approved subletting or subcontracting, the other entity will be obliged to sign an undertaking to comply with all obligations under this Agreement. Any attempted subletting or subcontracting not complied with in the manner prescribed herein shall be null and void.

6	Building Control (Amendment) Regulation.

The Specialist shall fully comply with Building Control (Amendment) Regulations, S.I. 9 2014 and all Inspections and Certification as required under these regulations shall be carried by the Specialist. Such Inspection and Certification will be completed, as described in and defined by the Code of Practice for Inspecting and Certifying Buildings and Works Building Control Regulations 2014.

Ancillary Certificates have been developed by the CIF and agreed by the RIAI, ACEI, Engineers Ireland and SCSI, to be used by Specialists who have been assigned to construct, supervise and certify their works and shall be completed and submitted to the estates office as required.

7	Format

Please note that appendices have been provided for previous works and CV’s, these must be used and alternative submissions will not be accepted or assessed in these areas.

8	Qualitative Criteria

| REF | SELECTION CRITERIA | MINIMUM RULE / ELIMINATOR | WEIGHTING % |
| --- | --- | --- | --- |
| A | Operational Continuity & Campus Integration | Building maintenance within a university setting often requires balancing high-traffic operational needs with the necessity for remedial works. Please detail your methodology for managing maintenance tasks in 'live' environments (e.g., teaching spaces, libraries, or labs) to ensure minimal disruption to staff and students. Include how you manage communication with building users and how your team adapts to the university's specific academic calendar and examination periods. | 15 |
| B | Response Protocols & Priority Management | Given the diverse nature of university infrastructure—ranging from heritage buildings to modern, high-tech research facilities—maintenance priorities can shift rapidly. Describe your approach to triaging maintenance requests. Specifically, how do you differentiate and manage emergency, urgent, and routine reactive tasks, and how will you ensure your response times align with our defined Key Performance Indicators (KPIs) while maintaining transparency through our facilities management software. | 20 |
| C | Sustainability and Energy Stewardship | Aligned with Irish public sector requirements for climate action, our university is committed to reducing its carbon footprint. Explain how your maintenance practices directly contribute to energy efficiency and environmental sustainability. Provide examples of how your team identifies and implements energy-saving measures during routine maintenance, and how you report on waste management and material sourcing in accordance with circular economy principle. | 10 |
| E | Quality Control and Quality Assurance | Please detail your organization’s internal Quality Control (QC) and Quality Assurance (QA) procedures for reactive and planned maintenance tasks. Your response should specifically address: - How your staff capture and log standardised evidence of both 'before' and 'after' states for completed works. - Your experience and technical capability to integrate this data and job completion reporting seamlessly with the University's existing CAFM/FM system [QFM]. - The internal auditing or sign-off process you employ to ensure data quality and task resolution before a job is marked as complete. | 20 |
| F | Costs |  | 35 |
|  | Total |  | 100% |

Scoring Matrix

Quality criterion will be evaluated based on the following scoring matrix:

| Score Band | Grade | Meaning |
| --- | --- | --- |
| 88-100 | Excellent | An excellent response with very few weaknesses. Fully meets requirements and provides comprehensive, detailed and convincing assurances that the Applicant will deliver on the Contracting Authority’s requirements to an excellent standard – strongly supported. |
| 76-87 | Very Good | A very good response that demonstrates real understanding of the requirements and demonstrates assurance that the Tenderer will deliver on the Contracting Authority’s requirements to a very good standard – fully supported. |
| 64-75 | Good | A good response that demonstrates real understanding of the requirements and demonstrates assurance that the Tenderer will deliver on the Contracting Authority’s requirements to a good standard – well-supported. |
| 52-63 | Satisfactory | A satisfactory response which demonstrates a reasonable understanding of the requirements and gives reasonable assurance of delivery of the Contracting Authority’s requirements to an adequate standard but does not provide sufficiently convincing assurance to award a higher mark -satisfactorily supported. |
| 40-51 | Average | A response where reservations exist. This may be because, for example, insufficient detail is provided, and/or the response is inadequate or lacks credibility with a risk of non-delivery. |
| Less than 40% | Unacceptable | Response completely fails to address criterion under consideration with a risk of non-delivery. |