Sligo Training Centre

Tender for Architect led Design Team

Date: 24/07/2026

Background & Introduction

MSLETB Training Centre is located at Manorhamilton Road, Ballytivnan, Sligo.

The Training Centre provides a wide range of Further Education and Training programmes including apprenticeship, traineeship and specialist skills programmes. The building is approximately 45 years old and has been extended on a number of occasions over its lifetime. The existing roof is now at the end of its serviceable life and is suffering from widespread water ingress affecting the operation of the facility.

The purpose of this brief is to procure an Architectural Led Design Team to develop the project from inception through design, statutory approvals, tender documentation, construction, commissioning and defects stage.

The successful Design Team shall provide a full multidisciplinary service.

The Design Team shall consist of:

- Architect (Design Team Leader)

- Civil / Structural Engineer (included within Architect's fee)

- Mechanical & Electrical Engineer (included within Architect's fee)

- Quantity Surveyor

- PSDP

The Architect shall include the Civil/Structural and Mechanical & Electrical Engineering services within their submitted fee.

A mandatory site visit shall be undertaken before submission of tenders.

Please Note:

The Architect is to include for the services of an M&E Engineer and Civil/Structural Engineer in their fee. The reason for this is the Contracting Authority believes the scope of service for both the M&E and Civil Structural Engineer to be small in the overall scheme of the project.

A site visit is mandatory as this is to ensure all consultants wishing to take part in this competition are fully aware of the scope of works which include demolition electrical, mechanical and construction work. To arrange a visit to site by prior arrangement with Orla Reilly (OrlaReilly@msletb.ie) or Jacinta Kelly (jacintakelly@msletb.ie)

Briefing Document

Existing Building

The existing roof covers approximately 3,928m² over the main training facility.

The roof presently contains:

- HVAC condenser units

- Extract ventilation systems

- Rooflights

- Automatic Opening Vents (AOVs)

- Various mechanical and electrical services

Many of these installations have become redundant whilst others require relocation during construction.

Project Scope

Project Background

Consultant investigations have identified significant deterioration throughout the roofing system including:

- Widespread Membrane Failure

- Saturated Insulation

- Failed Joints and Flashings

- Defective Rainwater Drainage

- Repeated Patch Repairs

- Extensive Water Ingress

- Poor Thermal Performance

- Unsafe Roof Access Arrangements

- Inadequate Edge Protection

- Deteriorated Rooflights

- Deterioration Around Roof Penetrations.

The existing roof has reached the stage whereby reactive maintenance is no longer considered a viable long-term solution.

Design Team Scope of Services

The successful Design Team shall provide a complete service including but not limited to:

- Full survey of the existing building

- Review all existing Consultant Reports

- Undertake any additional surveys required

- Develop the project through Department stages

- Obtain all statutory approvals

- Prepare Stage Reports

- Prepare tender documentation for site surveys

- Prepare tender documentation for all works contractors

- Manage the entire procurement process for both site surveys and works contractors

- Contract Administration

- Site inspections

- Chair site meetings

- Monthly Client Reports

- Payment Certification

- Practical Completion

- Defects Administration

- Comply with all TGD’s

- Allow for workshops with SOLAS & MSLETB in the design team stage and all stakeholders required.

Scope of Works

The project shall include but shall not be limited to:

Roof Replacement

- Remove the existing roof covering in its entirety

- Remove all saturated insulation

- Remove existing vapour control layers where required

- Inspect existing metal deck

- Inspect structural steelwork

- Repair or replace defective structural elements

- Install new insulated roofing system

- Provide minimum U-Value in accordance with current Building Regulations

- Carry out condensation risk analysis

- Provide minimum 30-year durability statement

- Provide minimum 20-year insurance backed guarantee

- Independent testing and certification

Rooflights

Review and re-design the replacement rooflight system, including but not limited to:

- Assessment of the existing rooflights.

- Specification and design of replacement thermally efficient rooflights.

- Design of new kerbs, flashings and weathering details.

- Coordination with the proposed roof build-up and waterproofing system.

- Compliance with all applicable statutory and technical guidance requirements.

Drainage

Review and re-design the complete roof drainage system including:

- Outlets

- Falls

- Gutters

- Rainwater Pipes

- Overflow Provision

- Discharge Arrangements

The completed roof shall eliminate ponding.

Mechanical & Electrical

The Design Team shall:

- Review every item of roof mounted plant

- Identify redundant equipment

- Remove redundant equipment

- Coordinate relocation of retained services

- Review all roof penetrations

- Design new supports where required

- Ensure continuity of building services during construction

The Design Team shall liaise with MSLETB to ensure disruption is minimised.

Health & Safety

The project shall include:

- Permanent Roof Access

- Compliant Guardrail System

- Edge Protection

- Safe Maintenance Routes

- Safe Access To All Roof Plant

- Compliance with Current Legislation

The existing internal ladder and rooflight access arrangement shall not be retained.

Operational Requirements

The Training Centre shall remain operational throughout construction.

The Design Team shall prepare:

- Construction Management Plan

- Phasing Plan

- Temporary Weather Protection Strategy

- Traffic Management Plan

- Health & Safety Plan

Works shall be programmed to minimise disruption to teaching activities.

Sustainability

The Design Team shall consider future installation of:

- Photovoltaic Panels

- Renewable Technologies

- Future Decarbonisation Works

The roof structure and specification shall accommodate future loading requirements where reasonably practicable.

Deliverables

The Design Team shall provide:

- Surveys

- Design Reports

- Stage Reports

- Planning documentation (if required)

- Tender Drawings

- Specifications

- Bills of Quantities

- Cost Plans

- Tender Assessment

- Construction Inspection Reports

- Payment Certificates

- Final Certification

- Defects Reports

- Health & Safety File

Programme

Tenderers shall submit a detailed programme showing:

- Design

- Surveys

- Workshops

- Statutory approvals

- Tender period

- Construction

- Defects Period

Budget

The anticipated construction budget is to be confirmed by MSLETB following approval of funding.

The Design Team shall design the project within the approved budget and continuously monitor costs throughout the design process.

Sligo Training Centre Location: