| University Hospital Waterford MEDICAL GAS RESILIENCE PROGRAM |  |
| --- | --- |

| Project No. | Document Title | Rev | Prepared by: | Issue Date: | Checked by: |
| --- | --- | --- | --- | --- | --- |
| 1560-3 | Pricing document | 01 | LH | 30.07.26 | DC |

| Ref. | General Elements | Item Qty | Rate € | Total € |
| --- | --- | --- | --- | --- |
| 0.1 | To complete project management, preliminaries, site establishment, etc, for the completion of the contract. | ITEM |  |  |
| 0.2 | To compliance with Health & Safety Regulations. | ITEM |  |  |
| 0.3 | To compliance with contract conditions. | ITEM |  |  |
| 0.4 | To provision of all labour, scaffolding, hoisting of equipment etc., associated with completion of the contract. | ITEM |  |  |
| 0.5 | Provide for all labour, materials, plant and all items which are not specifically allowed for in this section of the works but which can be reasonably inferred from a site inspection and the works requirements as being necessary for the execution and completion of the works. | ITEM |  |  |
| 0.6 | Allowance for out of hours works to comply with phasing sequence and the working day length outlined in the Form of Tender. | ITIEM |  |  |
| 0.7 | To complete provision of as-installed documentation including Operations and Maintenance manuals, installation drawings, etc in a digital format as per specification. | ITEM |  |  |
| 0.8 | Provide test certification for all relevant equipment from independent registered Pharmaceutical QC. | ITEM |  |  |
|  | Sub-Total |  |  |  |

| Ref. | VACUUM PLANT | Item Qty | Rate € | Total € |
| --- | --- | --- | --- | --- |
| 1.0 | To strip out end of life VAC plant and all associated fittings and brackets and fit new vac plant to match existing plant in size. | 1NR |  |  |
| 1.1 | Test and commission new VAC plant as per equipment schedules in accordance with HTM 02-01. | 1NR |  |  |
| 1.2 | Remove and dispose of old vac plant. | ITEM |  |  |
|  | Sub-Total |  |  |  |

| Ref. | AGSS PLANT (Gen Theatre, ICU, E.D., Delivery Suite, MRI /CT, ) | Item Qty | Rate € | Total € |
| --- | --- | --- | --- | --- |
| 2.0 | Strip out 6 No AGSS plants and replace with HTM 02-01 compliant Duplex systems duty standby. | 7NR |  |  |
| 2.1 | Test, commissioning and validation to HTM 02-01 | ITEM |  |  |
| 2.2 | Remove and dispose of old Plants. | ITEM |  |  |
|  | Sub-Total |  |  |  |

| Ref. | MA-7 Manifold | Item Qty | Rate € | Total € |
| --- | --- | --- | --- | --- |
| 3.0 | To strip out end of life MA-7 manifold plant and all associated fittings and brackets. | 1NR |  |  |
| 3.1 | To supply, install, new MA-7 manifold plant, all associated fittings and brackets, as per the specification and schedules (Main 5x5 + ESM 2x2 ). | 1NR |  |  |
| 3.2 | To Tie into existing systems | ITEM |  |  |
| 3.3 | Test, commissioning and validation to HTM 02-01 | ITEM |  |  |
| 3.4 | Remove and dispose of old Manifold. | ITEM |  |  |
|  | Sub-Total |  |  |  |

| Ref. | O2 Manifold (St. Theresa’s -UHW) | Item Qty | Rate € | Total € |
| --- | --- | --- | --- | --- |
| 4.0 | To strip out end of life O2 manifold plant and all associated fittings and brackets. | 1NR |  |  |
| 4.1 | To supply, install, new O2 manifold plant, all associated fittings and brackets, as per the specification and schedules (Main 2x2 + esm 1x1). | 1NR |  |  |
| 4.1 | To Tie into existing systems | 1NR |  |  |
| 4.2 | Test, commissioning and validation to HTM 02-01 | ITEM |  |  |
| 4.3 | Remove and dispose of old Manifold. | ITEM |  |  |
|  | Sub-Total |  |  |  |

| Ref. | Patient Wards -Terminal Units | Item Qty | Rate € | Total € |
| --- | --- | --- | --- | --- |
| 5.0 | Supply & install Terminal Units in following areas Medical 6 (36 no. Unit) Delivery Theatre/ Recovery (12 no. units) Post Natal (52 no. units) Medical 1 (48 no. units) Medical 2 (58 no. Units) Acute Dialysis (8 no. units) Medical 3 (50 no. Units) Medical 5/Stroke Unit (42 no. Units) | NR |  |  |
| 5.1 | Test, commissioning and validation to HTM 02-01 | ITEM |  |  |
| 5.2 | Remove and dispose of old Plants. | ITEM |  |  |
|  | Sub-Total |  |  |  |

| 9.0 9.1 9.2 9.3 9.4 | Sub Total for Mechanical Services Preliminaries Contingency Vat Bond |  |  |  |
| --- | --- | --- | --- | --- |
|  | Total Tender Sum |  |  |  |