Tender Response Document (Open Procedure)

| Title of competition: | Single party frameworks for the provision of Mobile Calibration, Asset Management & Maintenance Management Software for a Regulated Manufacturing Environment. |
| --- | --- |
| Contracting Authority: | Kildare Wicklow ETB |
| eTenders/OJEU Ref: | CFT: 8827344 |
| Closing Date for Submissions: | Monday, 21st September 2026 at 12:00 noon Irish standard time |
| Organisation Name: |  |
| Contact Name: |  |
| Contact Email: |  |

- Contents

1	Instruction for Completion	1

2	Response to the Selection Criteria	2

2.1	General Information	2

2.2	Financial Information – Pass/Fail Criteria	4

2.3	Declaration Bona Fides & Statutory Obligations – Pass/Fail Criteria	6

2.4	Previous Experience - Pass/Fail Criteria	10

2.5	Personnel & Skills– Pass/Fail Criteria	13

2.6	Quality Assurance – Pass/Fail Criteria (If applicable)	14

2.7	Environmental Management Systems – Pass/Fail Criteria (If applicable)	15

2.8	Delivery Confirmation (Pass/Fail):	15

3	Mandatory & General Requirements	16

3.1	Mandatory Requirements (General)	16

3.2	Optional Requirements (General)	17

4	Response to the Award Criteria	19

4.1	Award Criterion A - Fit for Purpose of the proposed Software Solution	19

4.2	Award Criterion B - Contract Manager and Support/ Maintenance	20

4.3	Award Criterion C - Sustainability, Innovation and Added Value	21

4.4	Award Criterion D – Ultimate Cost	22

4.5	Form of Tender – Ultimate Cost (Criterion D)	23

# Instruction for Completion

This document MUST be used for the submission of tenders.

Tenderers should ensure they have read the Request for Tender before they attempt to complete this Tender Response Document.

If you consider that the Tender Response Document is missing any sections which would prevent you from preparing a comprehensive response, please contact the Contracting Authority as soon as possible.

Where there is a discrepancy between the contents / instructions in this document and the Request for Tender, the Request for Tender will take precedence.

Tenderers must follow the instructions contained in this document in relation to attachments, format for submission, etc.

Where tenderers are relying on other parties to meet the selection criteria, those parties must be available to deliver elements of the contract.

# Response to the Selection Criteria

## General Information

| Tenderer Summary |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass Requirement: Tenderers must complete this Section |  |  |  |  |  |  |  |  |  |
| Organisation Name: |  |  |  |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |
| Telephone (Office): |  |  |  |  |  |  |  |  |  |
| Telephone (Mobile): |  |  |  |  |  |  |  |  |  |
| Email: |  |  |  |  |  |  |  |  |  |
| Website: |  |  |  |  |  |  |  |  |  |
| Companies Registration Number (or equivalent based on country of establishment) |  |  | Country of Establishment if outside Ireland |  |  |  |  |  |  |
| VAT Registration Number: |  |  |  |  |  |  |  |  |  |
| Date of Establishment: |  |  |  |  |  |  |  |  |  |
| Legal Status (Company, Sole Trader, etc.): |  |  |  |  |  |  |  |  |  |
| Is the Tenderer a Small and Medium Enterprise (SME)? |  |  |  |  | Yes | ☐ |  | No | ☐ |
| SMEs are enterprises which employ fewer than 250 persons, and which have an annual turnover not exceeding €50 million, and/or an annual balance sheet total not exceeding €43 million |  |  |  |  |  |  |  |  |  |
| Is the tenderer a consortium / group of Economic Operators? |  |  |  |  | Yes | ☐ |  | No | ☐ |
| If yes, please provide the following information |  |  |  |  |  |  |  |  |  |
| Name |  | Legal Status |  | Element to be Delivered |  |  |  |  |  |

## Financial Information – Pass/Fail Criteria

| Tax Compliance |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Option 1: I confirm and declare being tax compliant. The Contracting Authority can verify your tax clearance status through Revenue’s online facility at http://www.revenue.ie/en/online/tax-clearance.html To this end, please confirm: |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| Tenderer Name: |  |  |  |  |  |  |  |  |  |
| Tax Reference Number (PPSN): |  |  |  |  |  |  |  |  |  |
| Access Number: |  |  |  |  |  |  |  |  |  |
| Option 2: I confirm that I hold a current valid Tax Clearance Certificate (generally relates to Non-Residents) To this end, please confirm: |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| Registration Number: |  |  |  |  |  |  |  |  |  |
| Certificate Number: |  |  |  |  |  |  |  |  |  |
| Option 3: I confirm that I have applied for Tax Clearance status or a Tax Clearance Certificate which will be made available on request |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| Financial Capacity |  |  |  |  |  |  |  |  |  |
| I confirm that our turnover exceeded € 100,000 per annum in one of the last three financial years. If turnover figures for 2025 are unavailable, please use 2024, 2023 and 2022. |  |  |  |  |  |  |  |  |  |
| Financial Year |  | 2025 |  |  | 2024 | 2023 |  |  |  |
| Turnover |  | € |  |  | € | € |  |  |  |
| Month of financial year end |  |  |  |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the tender list being finalised: (Evidence of turnover for the past three financial years) |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| I confirm that I will supply evidence of financial standing, by way of auditor’s letter, ensuring the tenderer party has the financial capacity to pay its debts identified on the current statement of assets and liabilities as being the debts as they fall due. |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| Insurances |  |  |  |  |  |  |  |  |  |
| I confirm that we have the following insurances in place: |  |  |  |  |  |  |  |  |  |
| Insurance Type |  |  | Level in place | Details of Excess |  |  | Expiry Date |  |  |
| Employer Liability |  |  | € |  |  |  |  |  |  |
| Public Liability |  |  | € |  |  |  |  |  |  |
| Professional Indemnity |  |  | € |  |  |  |  |  |  |
| Cyber Liability |  |  | € |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the award decision being made: Evidence of insurances in place or Letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| I confirm that if successful, where the levels required under the contract or framework are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place promptly. |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| Please note that the Contracting Authority will seek to verify self-declarations regarding financial capacity prior to next stage of the competition. |  |  |  |  |  |  |  |  |  |
| Signed: |  |  |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |

## Declaration Bona Fides & Statutory Obligations – Pass/Fail Criteria

| Declaration of Bona Fides & Statutory Obligations (Under Public Sector Directive 2014/24/EU - Article 57) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass requirement: Tenderers must complete, sign and date this Declaration. The Contracting Authority reserves the right at its discretion to exclude a non-compliant tenderer under each heading. This must be completed by each group member. |  |  |  |  |
| Economic Operators will be excluded from the procurement process if, within the past five (5) years, there is evidence of a conviction relating to a specific criminal offence listed below (see 1.1) or if they have been the subject of a binding legal decision which found a breach of legal obligations to pay tax or social security contributions (see 1.2) (except where this is disproportionate e.g. where only minor amounts are involved). |  |  |  |  |
| 1.1 | Has the Economic Operator or a member of their proposed consortium, (if applicable), Director, or Partner or any other person who has powers of representation, decision or control, been convicted of any of the following offences? |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
|  |  |  | Yes | No |
| 1.1a | participation in a criminal organisation, as defined in Article 2 of Council Framework decision 2008/841/JHA; |  | ☐ | ☐ |
| 1.1b | corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in Irish Law or the jurisdiction in which the Economic Operator is established; |  | ☐ | ☐ |
| 1.1c | fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests; |  | ☐ | ☐ |
| 1.1d | the subject of a conviction for terrorist offences or offences linked to terrorist activities or for inciting or aiding or abetting or attempting to commit an offence; |  | ☐ | ☐ |
| 1.1e | the subject of a conviction for money laundering or terrorist financing; |  | ☐ | ☐ |
| 1.1f | the subject of a conviction of child labour and other forms of trafficking in human beings; |  | ☐ | ☐ |
| 1.2 | Non-payment of taxes or social security obligations Has it been established by a judicial or administrative decision having final and binding effect in accordance with Irish law or the legal provisions of the country in which the Economic Operator is established (if outside Ireland), that the Economic Operator is in breach of obligations related to the payment of tax and social security contributions? If the response to 1.2 above is in the affirmative, please provide further information on the decision and the amounts involved. |  | ☐ | ☐ |
| An Economic Operator who answers ‘Yes’ in any of the situations set out in paragraphs 2.1.a to 2.1.i will be excluded. |  |  |  |  |
| 2.1 | Please indicate if any of the following situations have applied, within the past three (3) years, or currently apply, to your organisation. The Economic Operator: |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
|  |  |  | Yes | No |
| 2.1a | has, in the performance of any public contract, failed to comply with applicable obligations in the field of environmental, social and labour law applying at the place where the works were carried out or the services provided, as established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Annex X of Directive 2014/24/EU; |  | ☐ | ☐ |
| 2.1b | is bankrupt or the subject of insolvency or winding-up proceedings, its assets are being administered by a liquidator or by the court, or has entered into an arrangement with creditors, suspended its business activities or is in any analogous situation arising from a similar procedure under national laws and regulations; |  | ☐ | ☐ |
| 2.1c | is guilty of grave professional misconduct which renders its integrity questionable; |  | ☐ | ☐ |
| 2.1d | has entered into agreements with other Economic Operators aimed at distorting competition; |  | ☐ | ☐ |
| 2.1e | has a conflict of interest within the meaning of Article 24 of 2014/24/EU that cannot be effectively remedied by other, less intrusive, measures; |  | ☐ | ☐ |
| 2.1f | confirms that it has had prior involvement in the preparation of the procurement procedure which has resulted in a distortion of competition, as referred to in Article 41 of 2014/24/EU, that cannot be remedied by other, less intrusive, measures; |  | ☐ | ☐ |
| 2.1g | has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions. |  | ☐ | ☐ |
| 2.1h | - is guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria; or - has withheld such information or is not able to submit supporting documents required under Article 59 of Directive 2014/24/EU; or |  | ☐ | ☐ |
| 2.1i | has undertaken to: - unduly influence the decision-making process of the contracting entity, or - obtain confidential information that may confer upon the tenderer undue advantages in the procurement procedure; or - negligently provide misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  | ☐ | ☐ |
| Declaration re Statutory Obligations |  |  |  |  |
| We confirm that we are fully compliant with the following legislation, or equivalent legislation in our country of establishment / operation: |  |  | Yes | No |
| (i) | Employment Equality Acts 1998-2011 |  | ☐ | ☐ |
| (ii) | Equal Status Acts 2000-2011 |  | ☐ | ☐ |
| (iii) | National Minimum Wage Act 2000 as amended |  | ☐ | ☐ |
| (iv) | Organisation of Working Time Act 1997 as amended |  | ☐ | ☐ |
| (v) | Safety, Health and Welfare at Work Act 2005 and Safety, Health and Welfare at Work (General Application) Regulations 2007 |  | ☐ | ☐ |
| (vi) | Disability Act 2005 |  | ☐ | ☐ |
| (vii) | General Data Protection Regulation 2016/679 |  | ☐ | ☐ |
| (viii) | We have procedures in place to ensure that our subcontractors, if any are used for this contract, apply the same standards. |  | ☐ | ☐ |
| Article 5K Declaration EU Regulation 2022/576 on restrictive measures in the Context of Russian Actions in the Ukraine |  |  |  |  |
| A. | In the light of Russian actions in the Ukraine, the European Council adopted a new regulation – EU Regulation 2022/576, aimed at restricting participation in economic activity by economic operators from the Russian Federation. Article 5K of the Regulation prohibits the award or continuation of contracts falling within the scope of the Public Procurement Directives to persons or undertakings related to the Russian Federation. To comply with EU Regulation 2022/576, the Contracting Authority is seeking a declaration from economic operators to this effect. |  |  |  |
| B. | I declare that none of the exclusions specified in EU Regulation 2022/576 apply to any party associated with this tender. |  | Yes | No |
|  |  |  | ☐ | ☐ |
| This Declaration is made for the benefit of the Contracting Authority I certify that the information provided in this declaration is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in this Declaration will lead to my organisation being excluded from participation in this and future tenders and I am signing on behalf of: |  |  |  |  |
| Name of Economic Operator: |  |  |  |  |
| Authorised Signatory: |  |  |  |  |
| Name in Block Capitals: |  |  |  |  |
| Position: |  |  |  |  |

## Previous Experience - Pass/Fail Criteria

Previous Experience

Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should refer to instances within the last Five years which demonstrate that they have successfully delivered services of a comparable nature and scale on two (2) occasions. The contracts referenced for consideration should provide comprehensive information to enable the Contracting Authority to determine their comparability to the requirements of this contract.

The contracts listed should be chosen to demonstrate the firm’s skills, efficiency, experience and reliability in the relevant areas of expertise. In completing the table for each reference project, Tenderers must provide sufficient information to allow the Contracting Authority to evaluate whether all of the requirements at above have been met and whether the services have been successfully delivered. Note #1: All fields in the TRD should be completed in full. In the event that the information requested on the value of contracts or identity of clients is considered confidential, tenderers must ensure that they provide sufficient information to allow the Contracting Authority to judge the similarity of these contracts to the services required. Note #2: Tenderers will note that they are to provide contact details for referees for each reference project. The Contracting Authority has the right to contact the referees to verify the information being provided, without further reference to the Tenderer. It is the responsibility of Tenderers to satisfy themselves that the nominated contact person is in a position to provide a reference if contacted by the Contracting Authority. Tenderers should note that the Contracting Authority may at its discretion contact all referees or referees for the successful Tenderers only. Note #3: Tenderers must note that this is a pass/fail criterion, and the Contracting Authority may deem a tender inadmissible based on the feedback received from the referees indicated in the submission, where applicable. Note #4: Any reference contracts presented must have been substantially delivered by the Tendering party.

| Reference Contract #1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Client Name: |  |  |  |  |
| Contact Name: |  |  |  |  |
| Contact email: |  |  |  |  |
| Delivery Date: | From |  | To |  |
| Contract Value: | € |  | Period value refers to |  |
| Detailed Description: |  |  |  |  |
| Response: |  |  |  |  |
| Taking account of the features of the contract / scope of the framework agreement, please provide information in relation to the following, demonstrating comparability with the contract / framework being awarded under this procurement. Mere affirmation will not be sufficient. |  |  |  |  |
| Onboarding of the Software solution: |  |  |  |  |
| Response: |  |  |  |  |
| How was support and updates to software were provided: |  |  |  |  |
| Response: |  |  |  |  |
| Training and upskilling provided: |  |  |  |  |
| Response: |  |  |  |  |
| Any other relevant information: |  |  |  |  |
| Response: |  |  |  |  |

| Reference Contract #2 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Client Name: |  |  |  |  |
| Contact Name: |  |  |  |  |
| Contact email: |  |  |  |  |
| Delivery Date: | From |  | To |  |
| Contract Value: | € |  | Period value refers to |  |
| Detailed Description: |  |  |  |  |
| Response: |  |  |  |  |
| Taking account of the features of the contract / scope of the framework agreement, please provide information in relation to the following, demonstrating comparability with the contract / framework being awarded under this procurement. Mere affirmation will not be sufficient. |  |  |  |  |
| Onboarding of the Software solution: |  |  |  |  |
| Response: |  |  |  |  |
| How was support and updates to software were provided: |  |  |  |  |
| Response: |  |  |  |  |
| Training and upskilling provided: |  |  |  |  |
| Response: |  |  |  |  |
| Any other relevant information: |  |  |  |  |
| Response: |  |  |  |  |

## Personnel & Skills– Pass/Fail Criteria

| Personnel & Skills |  |  |  |
| --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must demonstrate access to at least the minimum numbers of skilled personnel stated. Please note that the skills outlined may reside in the same person. |  |  |  |
| Skillset | Number of Full Time Equivalents (FTE) | Number of FTEs provided by 3rd Parties | Minimum Number Required |
| Contract Manager |  |  | 1 |
| Development Engineer |  |  | 1 |
| Support Engineer |  |  | 1 |
| Trainer |  |  | 1 |
| Technical Support |  |  | 1 |
| Total |  |  | N/A |

Tenderers are reminded that they may rely on the resources of other entities on condition that they are fully described, and that tenderers can prove that they will have these resources at their disposal when required.

Please note: The roles identified above may be provided by the same person/ resource.

Please attach an organisation chart, clearly identifying all relevant departments, divisions, and 3rd parties, if applicable.

## Quality Assurance – Pass/Fail Criteria (If applicable)

| Quality Assurance |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should provide information on the measures in place to ensure the delivery of a quality service, for example by way of an externally certified system, or an equivalent in-house quality control process or system. |  |  |  |  |  |  |  |  |
| Do you operate a Quality Management System? |  | Yes |  | ☐ |  | No |  | ☐ |
| Manager responsible for Quality: |  |  |  |  |  |  |  |  |
| Quality management |  | Externally Certified |  | ☐ |  | In-house |  | ☐ |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |
| I confirm that evidence of compliance will be provided promptly on request. |  |  | Yes |  | ☐ |  | No | ☐ |
| If an in-house system, please provide scope of system and details of its operation – maximum 500 words. |  |  |  |  |  |  |  |  |

## Environmental Management Systems – Pass/Fail Criteria (If applicable)

| Environmental Management Systems |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must demonstrate compliance with all the relevant Environmental legislation and guidelines. The Contracting Authority reserves the right to seek further information to verify compliance. |  |  |  |  |  |  |  |  |  |
| Do you comply with all relevant Environmental legislation? |  |  |  | Yes | ☐ | No |  |  | ☐ |
| Manager responsible for Environmental Systems: |  |  |  |  |  |  |  |  |  |
| Environmental management |  |  | Externally Certified |  | ☐ | In-house |  |  | ☐ |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |  |
| I confirm that evidence of compliance will be provided promptly on request. |  |  |  | Yes | ☐ |  | No | ☐ |  |
| If an in-house system, please provide scope of system and details of its operation – maximum 500 words. |  |  |  |  |  |  |  |  |  |

2.8	Delivery Confirmation (Pass/Fail):
Tenderers must confirm that all goods proposed under this Tender can be delivered, installed and commissioned (where applicable) no later than 31 December 2026. Failure to provide this confirmation, or an inability to meet this delivery requirement, will result in the Tender being deemed non-compliant.

☐   Confirmed
 ☐   Not Confirmed

# Mandatory & General Requirements

Tenderers are required to populate the table below, confirming their proposed solution meets all of the listed mandatory requirements. If required, tenderers can provide a comment if needed, to explain how their proposed solution meets the relevant requirement.

## Mandatory Requirements (General)

| MR G | DETAILS |  |
| --- | --- | --- |
| MRG 1 | General Conditions | Yes |
| MRG 1.1 | The solution must be a cloud-based SaaS platform built to GAMP5 guidelines, fully compliant with 21 CFR Part 11 for electronic records and electronic signatures, and capable of generating ISO 17025 compliant certificates. | ☐ |
| Comment: |  |  |
| MRG 1.2 | The system must provide a fully traceable, tamper-proof audit trail that records all actions, changes, and approvals with user, date, time, and reason. | ☐ |
| Comment: |  |  |
| MRG 1.3 | The solution must include a native mobile application (available on both iOS and Android) that allows users to perform, record, and complete calibration and maintenance tasks directly on the device. | ☐ |
| Comment: |  |  |
| MRG 1.4 | The mobile application must support full offline functionality — users must be able to complete all tasks with no internet connection, with automatic synchronisation upon reconnection | ☐ |
| Comment: |  |  |
| MRG 1.5 | The mobile app must include built-in QR code scanning using the device camera to instantly identify assets, retrieve full instrument details, procedures, tolerances, and assigned tasks. | ☐ |
| Comment: |  |  |
| MRG 1.6 | The mobile solution must support guided data entry for as-found and as-left results, instant flagging of out-of-tolerance results, and the ability to attach comments and photos directly in the app. | ☐ |
| Comment: |  |  |
| MRG 1.7 | The system must allow new asset commissioning and registration directly from the mobile app in the field. | ☐ |
| Comment: |  |  |
| MRG 1.8 | The solution must support bulk task assignment to users. | ☐ |
| Comment: |  |  |
| MRG 1.9 | The solution must allow for deployment of workorders to a range of documenting calibrator hardware. | ☐ |
| Comment: |  |  |
| MRG 1.10 | The solution must allow creation of ISO 17025 compliant or equivalent tasks. | ☐ |
| Comment: |  |  |
| MRG 1.11 | The solution must be able to provide reporting with a digital signature option (cf 21 Part 11) | ☐ |
| Comment: |  |  |
| MRG 1.12 | The solution must allow for an element of configuration/ localisation to the KWETB specific requirements. | ☐ |
| Comment: |  |  |

## Optional Requirements (General)

| ORG | DETAILS |
| --- | --- |
| ORG 1 | General Conditions |
| ORG 1.1 | Demonstrated cost savings and efficiency gains for customers in regulated environments (e.g. reduced running costs, elimination of paper records). |
| Comment: |  |
| ORG 1.2 | Intuitive, simple user interface for mobile users with guided data entry. |
| Comment: |  |
| ORG 1.3 | Ability to commission new assets directly from the mobile app. |
| Comment: |  |
| ORG 1.4 | Bulk task assignment and real-time visibility of workload. |
| Comment: |  |
| ORG 1.5 | Ability to provide Data importing/ migration from other digital repositories |
| Comment: |  |
| ORG 1.6 | Ability to integrated with industry grade MES systems (SAP Hanna or equivalent) |
| Comment: |  |
| ORG 1.7 | Ability to convert paper-based records to digital records within the platform. |
| Comment: |  |
| ORG 1.8 | Ability to interact/data transfer with other digital hardware such as digitised labels and digitised tools. |
| Comment: |  |

# Response to the Award Criteria

## Award Criterion A - Fit for Purpose of the proposed Software Solution

| Criterion A | Weighting | Maximum Marks | Minimum Marks 50% |
| --- | --- | --- | --- |
|  | 30% | 3,000 | 1,500 |
| Title | Fit for Purpose of the proposed software solution |  |  |
| Description | Tenderers are required to provide detailed specification of the proposed solution which meets all of the mandatory requirements outlined and also provide details how the requirements details in Appendix 1 of the Request for tender document. This response may be supported by details explanation on how these requirements will be addressed/ met by means of functional characteristics and workflows. |  |  |
| Tenderer’s Response |  |  |  |
| Please use this free text page(s) (i.e. do not type in the box) for your response. |  |  |  |

## Award Criterion B - Contract Manager and Support/ Maintenance

| Criterion B | Weighting | Maximum Marks | Minimum Marks 50% |
| --- | --- | --- | --- |
|  | 20% | 2,000 | 1,000 |
| Title | Contract Management, Support and Training. |  |  |
| Description | Tenderers are required to provide details of the proposed contract manager by means of a detailed CV, outlining the experience and expertise of the proposed resource and also addressing how all requirements of Appendix 1 of the Request for Tender document (RFT). Tender should also provide details of how the software solution will be supported. Finally, tenderers must detail the proposed training solution. |  |  |
| Tenderer’s Response |  |  |  |
| Please use this free text page(s) (i.e. do not type in the box) for your response. |  |  |  |

## Award Criterion C - Sustainability, Innovation and Added Value

| Criterion C | Weighting | Maximum Marks | Minimum Marks 50% |
| --- | --- | --- | --- |
|  | 10% | 1,000 | 500 |
| Title | Sustainability, Innovation and Added Value |  |  |
| Description | With reference to Appendix 1 of the Request for Tender document (RFT). Tenderers must outline their proposals for integrating sustainable considerations into the service. Proposals must be pertinent to the subject matter, and appropriate. Finally, tenderers must provide details of how innovation or value add might be applied over the term of the contract without any additional cost to the Contracting Authority. |  |  |
| Tenderer’s Response |  |  |  |
| Please use this free text page(s) (i.e. do not type in the box) for your response. |  |  |  |

## Award Criterion D – Ultimate Cost

| Criterion D | Weighting | Maximum Marks | Minimum Marks 50% |
| --- | --- | --- | --- |
|  | 40% | 4,000 | N/A |
| Title | Ultimate Cost |  |  |
| Description | Tenderers are required to populate Tables A, B and C contained within the Form of Tender included at Section 4.5 on the following page. |  |  |
| Tenderer’s Response |  |  |  |
| Please populate the form of tender on the following page. |  |  |  |

## Form of Tender – Ultimate Cost (Criterion D)

| To: | Kildare Wicklow ETB |
| --- | --- |
| From: |  |
| Subject: | Single party frameworks for the supply, delivery and maintenance (via warranty) of Automation requirements (hardware and related software required for operation) to Kildare and Wicklow ETB. |

I/We have examined the tender documentation and hereby offer to provide the services in accordance with the details contained within the Request for Tender (RFT) document.

Tenderers are required to populate the two tables below as follows:

Table A – Ultimate Cost for the purpose of evaluations and initial Contract.

Tenderers are required to provide a unit cost for each item listed. This unit cost (a) needs to be multiplied by the quantity of licences (b) to arrive at a sub total cost. All sub total costs must be added together to arrive at an Ultimate Cost for the purpose of evaluation.

Table B – Rate Card

As stated in the RFT, KWETB from time to time may wish to engage with the successful tenderer, to offer for example advise or guidance on development of a new project. For budgeting purposes tenderers are required to populate the rate card for each role provided and any other roles that they might consider relevant. The rate are daily, half day and hourly. These rates will be used to budget for any specific requirements over the duration of the Framework.

TABLE A – Ultimate Cost for the purpose of evaluations (2 years)

| ITEM |  | UNIT Cost (2 years) | Discount Offered | Unit Cost less % discount (a) | Licences required (b) | SUBTOTAL COST (Ex. VAT) (a x b) | VAT RATE Applied |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Platform software solution licence | € | % | € | 10 | € | % |
| 2 | Mobile Platform Solution Licence | € | % | € | 10 | € | % |
| Ultimate Cost (For the purpose of Evaluation) |  |  |  |  |  | € | % |

When a requirement goes beyond a total quantity of licences of more than 50, KWETB reserve the right to request a volume discount on the cost per licence provided above. This will be dealt with on a case-by-case basis.

TABLE B – Rate Card 1 – Personnel

| Role |  | Daily Rate (8 hrs) | Half Day Rate (4 hrs) | Hourly Rate | VAT RATE Applied |
| --- | --- | --- | --- | --- | --- |
| 1 | Development support | € | € | € | % |
| 2 | Training | € | € | € | % |
| 3 | System Configuration | € | € | € | % |
| 4 | Data Import or cleansing services | € | € | € | % |
| 5 | Integrations | € | € | € | % |
| 6 | General Consultancy | € | € | € | % |
| 7 | Analytics services | € | € | € | % |

When a requirement goes beyond a project days total of more than ten (10) days, KWETB reserve the right to request a volume discount on the daily rates provided above. This will be dealt with on a case-by-case basis.

Table C - RATE CARD 2 – Licences Costing Models

| Licence |  | 1 Year | 2 Years | 4 Years | VAT RATE Applied |
| --- | --- | --- | --- | --- | --- |
| 1 | Platform software solution licence (Single per licence) | € | € | € | % |
| 2 | Mobile Platform Solution Licence (Single per licence) | € | € | € | % |

Please note: Figures above must be inclusive of all relevant discounts. If discounts are based on licence volumes, please provide separately the licence levels where the relevant discounts apply.

I/We confirm that I/we:

- Will keep this offer for the contract open for acceptance by you for a period of 12 months from the date of deadline for submission of tenders,

- Agree that you are not bound to accept the most economically advantageous or any tender you may receive,

- Agree that the rates stated are maximum prices for the duration of the contract.

- Have read and thoroughly examined the RFT,

- Fully understand the RFT and the Client’s requirements,

- Undertake to treat the details of the RFT, its tender and any subsequent agreements as private and confidential,

- Acknowledge that acceptance by the Contracting Authority of this tender will not constitute a binding and enforceable agreement and that a legally enforceable agreement will not exist until and unless the contract is awarded between the Contracting Authority and the tenderer,

- Have availed of all offers for additional information or have otherwise satisfied myself/ourselves as to conditions that may in any manner affect the performance of the contract,

- Have included all elements necessary for the performance of the specified requirements, which are either expressly stated in the RFT or contained in any supplementary information, or which could reasonably be inferred therefrom,

- Have found no errors, omissions, conflicts or ambiguities in the RFT except those which I/We have brought to the attention of the Contracting Authority before the latest date for submitting queries,

- Have included for compliance with all statutory requirements applicable in Ireland and those applicable in any country where parts of the contract may be performed that are in force 7 days prior to the deadline for receipt of tenders,

- Will not, if awarded a contract employ labour in a manner that is discriminatory in relation to gender, civil/family status, sexual orientation, religion, age, disability, race, or membership of the traveller community.

- Agree that as a condition of award, it shall be our sole responsibility to fulfil the obligations under the Contract, notwithstanding any changes in circulars, laws, regulations, taxation, duties or other factors which might arise following the withdrawal of the United Kingdom from membership of the EU.

| Signed: |  |
| --- | --- |
| Name (in Capital Letters): |  |
| On behalf of: |  |
| Address: |  |
| Telephone (Office): |  |
| Telephone (Mobile): |  |
| Email: |  |
| Date: |  |