Tender Response Document (Open Procedure)

| Title of competition: | Single party frameworks for the design, manufacture, testing, supply, delivery, installation and commissioning of custom bespoke electrical control and automation panels for use within educational facilities to Kildare and Wicklow ETB. |
| --- | --- |
| Contracting Authority: | Kildare Wicklow ETB |
| eTenders/OJEU Ref: | CFT: 8827533 |
| Closing Date for Submissions: | Monday, 21st September 2026 at 12:00 noon Irish standard time |
| Organisation Name: |  |
| Contact Name: |  |
| Contact Email: |  |

- Contents

1	Instruction for Completion	1

2	Response to the Selection Criteria	2

2.1	General Information	2

2.2	Financial Information – Pass/Fail Criteria	4

2.3	Declaration Bona Fides & Statutory Obligations – Pass/Fail Criteria	6

2.4	Previous Experience - Pass/Fail Criteria	10

2.5	Personnel & Skills– Pass/Fail Criteria	12

2.6	Quality Assurance – Pass/Fail Criteria (If applicable)	13

2.7	Environmental Management Systems – Pass/Fail Criteria (If applicable)	14

3	Mandatory & General Requirements – Lot 1	15

3.1	Mandatory Requirements (General)	15

4	Response to the Award Criteria	18

4.1	Award Criterion A - Fit for Purpose of the proposed Equipment	18

4.2	Award Criterion B - Contract Manager and Support/ Maintenance	19

4.3	Award Criterion C - Sustainability, Innovation and Added Value	20

4.4	Award Criterion D – Ultimate Cost	21

4.5	Form of Tender – Ultimate Cost (Criterion D)	22

# Instruction for Completion

This document MUST be used for the submission of tenders.

Tenderers should ensure they have read the Request for Tender before they attempt to complete this Tender Response Document.

If you consider that the Tender Response Document is missing any sections which would prevent you from preparing a comprehensive response, please contact the Contracting Authority as soon as possible.

Where there is a discrepancy between the contents / instructions in this document and the Request for Tender, the Request for Tender will take precedence.

Tenderers must follow the instructions contained in this document in relation to attachments, format for submission, etc.

Where tenderers are relying on other parties to meet the selection criteria, those parties must be available to deliver elements of the contract.

# Response to the Selection Criteria

## General Information

| Tenderer Summary |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass Requirement: Tenderers must complete this Section |  |  |  |  |  |  |  |  |  |
| Organisation Name: |  |  |  |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |  |  |  |
| Telephone (Office): |  |  |  |  |  |  |  |  |  |
| Telephone (Mobile): |  |  |  |  |  |  |  |  |  |
| Email: |  |  |  |  |  |  |  |  |  |
| Website: |  |  |  |  |  |  |  |  |  |
| Companies Registration Number (or equivalent based on country of establishment) |  |  | Country of Establishment if outside Ireland |  |  |  |  |  |  |
| VAT Registration Number: |  |  |  |  |  |  |  |  |  |
| Date of Establishment: |  |  |  |  |  |  |  |  |  |
| Legal Status (Company, Sole Trader, etc.): |  |  |  |  |  |  |  |  |  |
| Is the Tenderer a Small and Medium Enterprise (SME)? |  |  |  |  | Yes | ☐ |  | No | ☐ |
| SMEs are enterprises which employ fewer than 250 persons, and which have an annual turnover not exceeding €50 million, and/or an annual balance sheet total not exceeding €43 million |  |  |  |  |  |  |  |  |  |
| Is the tenderer a consortium / group of Economic Operators? |  |  |  |  | Yes | ☐ |  | No | ☐ |
| If yes, please provide the following information |  |  |  |  |  |  |  |  |  |
| Name |  | Legal Status |  | Element to be Delivered |  |  |  |  |  |

## Financial Information – Pass/Fail Criteria

| Tax Compliance |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Option 1: I confirm and declare being tax compliant. The Contracting Authority can verify your tax clearance status through Revenue’s online facility at http://www.revenue.ie/en/online/tax-clearance.html To this end, please confirm: |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| Tenderer Name: |  |  |  |  |  |  |  |  |  |
| Tax Reference Number (PPSN): |  |  |  |  |  |  |  |  |  |
| Access Number: |  |  |  |  |  |  |  |  |  |
| Option 2: I confirm that I hold a current valid Tax Clearance Certificate (generally relates to Non-Residents) To this end, please confirm: |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| Registration Number: |  |  |  |  |  |  |  |  |  |
| Certificate Number: |  |  |  |  |  |  |  |  |  |
| Option 3: I confirm that I have applied for Tax Clearance status or a Tax Clearance Certificate which will be made available on request |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| Financial Capacity |  |  |  |  |  |  |  |  |  |
| I confirm that our turnover exceeded € 200,000 per annum in one of the last three financial years. If turnover figures for 2025 are unavailable, please use 2024, 2023 and 2022. |  |  |  |  |  |  |  |  |  |
| Financial Year |  | 2025 |  |  | 2024 | 2023 |  |  |  |
| Turnover |  | € |  |  | € | € |  |  |  |
| Month of financial year end |  |  |  |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the tender list being finalised: (Evidence of turnover for the past three financial years) |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| I confirm that I will supply evidence of financial standing, by way of auditor’s letter, ensuring the tenderer party has the financial capacity to pay its debts identified on the current statement of assets and liabilities as being the debts as they fall due. |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| Insurances |  |  |  |  |  |  |  |  |  |
| I confirm that we have the following insurances in place: |  |  |  |  |  |  |  |  |  |
| Insurance Type |  |  | Level in place | Details of Excess |  |  | Expiry Date |  |  |
| Employer Liability |  |  | € |  |  |  |  |  |  |
| Public Liability |  |  | € |  |  |  |  |  |  |
| Product Liability |  |  | € |  |  |  |  |  |  |
| Professional Indemnity |  |  | € |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request at any time prior to the award decision being made: Evidence of insurances in place or Letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| I confirm that if successful, where the levels required under the contract or framework are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place promptly. |  |  |  |  |  |  |  | Yes | No |
|  |  |  |  |  |  |  |  | ☐ | ☐ |
| Please note that the Contracting Authority will seek to verify self-declarations regarding financial capacity prior to next stage of the competition. |  |  |  |  |  |  |  |  |  |
| Signed: |  |  |  |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |

## Declaration Bona Fides & Statutory Obligations – Pass/Fail Criteria

| Declaration of Bona Fides & Statutory Obligations (Under Public Sector Directive 2014/24/EU - Article 57) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Pass requirement: Tenderers must complete, sign and date this Declaration. The Contracting Authority reserves the right at its discretion to exclude a non-compliant tenderer under each heading. This must be completed by each group member. |  |  |  |  |
| Economic Operators will be excluded from the procurement process if, within the past five (5) years, there is evidence of a conviction relating to a specific criminal offence listed below (see 1.1) or if they have been the subject of a binding legal decision which found a breach of legal obligations to pay tax or social security contributions (see 1.2) (except where this is disproportionate e.g. where only minor amounts are involved). |  |  |  |  |
| 1.1 | Has the Economic Operator or a member of their proposed consortium, (if applicable), Director, or Partner or any other person who has powers of representation, decision or control, been convicted of any of the following offences? |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
|  |  |  | Yes | No |
| 1.1a | participation in a criminal organisation, as defined in Article 2 of Council Framework decision 2008/841/JHA; |  | ☐ | ☐ |
| 1.1b | corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in Irish Law or the jurisdiction in which the Economic Operator is established; |  | ☐ | ☐ |
| 1.1c | fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests; |  | ☐ | ☐ |
| 1.1d | the subject of a conviction for terrorist offences or offences linked to terrorist activities or for inciting or aiding or abetting or attempting to commit an offence; |  | ☐ | ☐ |
| 1.1e | the subject of a conviction for money laundering or terrorist financing; |  | ☐ | ☐ |
| 1.1f | the subject of a conviction of child labour and other forms of trafficking in human beings; |  | ☐ | ☐ |
| 1.2 | Non-payment of taxes or social security obligations Has it been established by a judicial or administrative decision having final and binding effect in accordance with Irish law or the legal provisions of the country in which the Economic Operator is established (if outside Ireland), that the Economic Operator is in breach of obligations related to the payment of tax and social security contributions? If the response to 1.2 above is in the affirmative, please provide further information on the decision and the amounts involved. |  | ☐ | ☐ |
| An Economic Operator who answers ‘Yes’ in any of the situations set out in paragraphs 2.1.a to 2.1.i will be excluded. |  |  |  |  |
| 2.1 | Please indicate if any of the following situations have applied, within the past three (3) years, or currently apply, to your organisation. The Economic Operator: |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
|  |  |  | Yes | No |
| 2.1a | has, in the performance of any public contract, failed to comply with applicable obligations in the field of environmental, social and labour law applying at the place where the works were carried out or the services provided, as established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Annex X of Directive 2014/24/EU; |  | ☐ | ☐ |
| 2.1b | is bankrupt or the subject of insolvency or winding-up proceedings, its assets are being administered by a liquidator or by the court, or has entered into an arrangement with creditors, suspended its business activities or is in any analogous situation arising from a similar procedure under national laws and regulations; |  | ☐ | ☐ |
| 2.1c | is guilty of grave professional misconduct which renders its integrity questionable; |  | ☐ | ☐ |
| 2.1d | has entered into agreements with other Economic Operators aimed at distorting competition; |  | ☐ | ☐ |
| 2.1e | has a conflict of interest within the meaning of Article 24 of 2014/24/EU that cannot be effectively remedied by other, less intrusive, measures; |  | ☐ | ☐ |
| 2.1f | confirms that it has had prior involvement in the preparation of the procurement procedure which has resulted in a distortion of competition, as referred to in Article 41 of 2014/24/EU, that cannot be remedied by other, less intrusive, measures; |  | ☐ | ☐ |
| 2.1g | has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions. |  | ☐ | ☐ |
| 2.1h | - is guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria; or - has withheld such information or is not able to submit supporting documents required under Article 59 of Directive 2014/24/EU; or |  | ☐ | ☐ |
| 2.1i | has undertaken to: - unduly influence the decision-making process of the contracting entity, or - obtain confidential information that may confer upon the tenderer undue advantages in the procurement procedure; or - negligently provide misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  | ☐ | ☐ |
| Declaration re Statutory Obligations |  |  |  |  |
| We confirm that we are fully compliant with the following legislation, or equivalent legislation in our country of establishment / operation: |  |  | Yes | No |
| (i) | Employment Equality Acts 1998-2011 |  | ☐ | ☐ |
| (ii) | Equal Status Acts 2000-2011 |  | ☐ | ☐ |
| (iii) | National Minimum Wage Act 2000 as amended |  | ☐ | ☐ |
| (iv) | Organisation of Working Time Act 1997 as amended |  | ☐ | ☐ |
| (v) | Safety, Health and Welfare at Work Act 2005 and Safety, Health and Welfare at Work (General Application) Regulations 2007 |  | ☐ | ☐ |
| (vi) | Disability Act 2005 |  | ☐ | ☐ |
| (vii) | General Data Protection Regulation 2016/679 |  | ☐ | ☐ |
| (viii) | We have procedures in place to ensure that our subcontractors, if any are used for this contract, apply the same standards. |  | ☐ | ☐ |
| Article 5K Declaration EU Regulation 2022/576 on restrictive measures in the Context of Russian Actions in the Ukraine |  |  |  |  |
| A. | In the light of Russian actions in the Ukraine, the European Council adopted a new regulation – EU Regulation 2022/576, aimed at restricting participation in economic activity by economic operators from the Russian Federation. Article 5K of the Regulation prohibits the award or continuation of contracts falling within the scope of the Public Procurement Directives to persons or undertakings related to the Russian Federation. To comply with EU Regulation 2022/576, the Contracting Authority is seeking a declaration from economic operators to this effect. |  |  |  |
| B. | I declare that none of the exclusions specified in EU Regulation 2022/576 apply to any party associated with this tender. |  | Yes | No |
|  |  |  | ☐ | ☐ |
| This Declaration is made for the benefit of the Contracting Authority I certify that the information provided in this declaration is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in this Declaration will lead to my organisation being excluded from participation in this and future tenders and I am signing on behalf of: |  |  |  |  |
| Name of Economic Operator: |  |  |  |  |
| Authorised Signatory: |  |  |  |  |
| Name in Block Capitals: |  |  |  |  |
| Position: |  |  |  |  |

## Previous Experience - Pass/Fail Criteria

Previous Experience

Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should refer to instances within the last Five years which demonstrate that they have successfully delivered services of a comparable nature and scale on two (2) occasions. The contracts referenced for consideration should provide comprehensive information to enable the Contracting Authority to determine their comparability to the requirements of this contract.

The contracts listed should be chosen to demonstrate the firm’s skills, efficiency, experience and reliability in the relevant areas of expertise. In completing the table for each reference project, Tenderers must provide sufficient information to allow the Contracting Authority to evaluate whether all of the requirements at above have been met and whether the services have been successfully delivered. Note #1: All fields in the TRD should be completed in full. In the event that the information requested on the value of contracts or identity of clients is considered confidential, tenderers must ensure that they provide sufficient information to allow the Contracting Authority to judge the similarity of these contracts to the services required. Note #2: Tenderers will note that they are to provide contact details for referees for each reference project. The Contracting Authority has the right to contact the referees to verify the information being provided, without further reference to the Tenderer. It is the responsibility of Tenderers to satisfy themselves that the nominated contact person is in a position to provide a reference if contacted by the Contracting Authority. Tenderers should note that the Contracting Authority may at its discretion contact all referees or referees for the successful Tenderers only. Note #3: Tenderers must note that this is a pass/fail criterion, and the Contracting Authority may deem a tender inadmissible based on the feedback received from the referees indicated in the submission, where applicable. Note #4: Any reference contracts presented must have been substantially delivered by the Tendering party.

| Reference Contract #1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Client Name: |  |  |  |  |
| Contact Name: |  |  |  |  |
| Contact email: |  |  |  |  |
| Delivery Date: | From |  | To |  |
| Contract Value: | € |  | Period value refers to |  |
| Detailed Description: |  |  |  |  |
| Response: |  |  |  |  |
| Taking account of the features of the contract / scope of the framework agreement, please provide information in relation to the following, demonstrating comparability with the contract / framework being awarded under this procurement. Mere affirmation will not be sufficient. |  |  |  |  |
| Design engagement: |  |  |  |  |
| Response: |  |  |  |  |
| Manufacturing process: |  |  |  |  |
| Response: |  |  |  |  |
| How was reactive and proactive maintenance conducted: |  |  |  |  |
| Response: |  |  |  |  |
| Training and upskilling provided: |  |  |  |  |
| Response: |  |  |  |  |
| Any other relevant information: |  |  |  |  |
| Response: |  |  |  |  |

| Reference Contract #2 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Client Name: |  |  |  |  |
| Contact Name: |  |  |  |  |
| Contact email: |  |  |  |  |
| Delivery Date: | From |  | To |  |
| Contract Value: | € |  | Period value refers to |  |
| Detailed Description: |  |  |  |  |
| Response: |  |  |  |  |
| Taking account of the features of the contract / scope of the framework agreement, please provide information in relation to the following, demonstrating comparability with the contract / framework being awarded under this procurement. Mere affirmation will not be sufficient. |  |  |  |  |
| Design engagement: |  |  |  |  |
| Response: |  |  |  |  |
| Manufacturing process: |  |  |  |  |
| Response: |  |  |  |  |
| How was reactive and proactive maintenance conducted: |  |  |  |  |
| Response: |  |  |  |  |
| Training and upskilling provided: |  |  |  |  |
| Response: |  |  |  |  |
| Any other relevant information: |  |  |  |  |
| Response: |  |  |  |  |

## Personnel & Skills– Pass/Fail Criteria

| Personnel & Skills |  |  |  |
| --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must demonstrate access to at least the minimum numbers of skilled personnel stated. Please note that the skills outlined may reside in the same person. |  |  |  |
| Skillset | Number of Full Time Equivalents (FTE) | Number of FTEs provided by 3rd Parties | Minimum Number Required |
| Contract Manager |  |  | 1 |
| Dedicated Hazardous Area Manager. |  |  | 1 |
| Design engineers |  |  | 1 |
| Manufacturing personnel |  |  | 1 |
| Electronic engineers |  |  | 1 |
| Testing personnel |  |  | 1 |
| Installation/ Commissioning personnel |  |  | 1 |
| Training personnel |  |  | 1 |
| Technical Support |  |  | 1 |
| Total |  |  | N/A |

Tenderers are reminded that they may rely on the resources of other entities on condition that they are fully described, and that tenderers can prove that they will have these resources at their disposal when required.

Please attach an organisation chart, clearly identifying all relevant departments, divisions, and 3rd parties, if applicable.

## Quality Assurance – Pass/Fail Criteria (If applicable)

| Quality Assurance |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers should provide information on the measures in place to ensure the delivery of a quality service, for example by way of an externally certified system, or an equivalent in-house quality control process or system. |  |  |  |  |  |  |  |  |
| Do you operate a Quality Management System? |  | Yes |  | ☐ |  | No |  | ☐ |
| Manager responsible for Quality: |  |  |  |  |  |  |  |  |
| Quality management |  | Externally Certified |  | ☐ |  | In-house |  | ☐ |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |
| I confirm that evidence of compliance will be provided promptly on request. |  |  | Yes |  | ☐ |  | No | ☐ |
| If an in-house system, please provide scope of system and details of its operation – maximum 500 words. |  |  |  |  |  |  |  |  |

## Environmental Management Systems – Pass/Fail Criteria (If applicable)

| Environmental Management Systems |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Weighting: Pass/Fail Minimum requirement to remain eligible in the competition: Tenderers must demonstrate compliance with all the relevant Environmental legislation and guidelines. The Contracting Authority reserves the right to seek further information to verify compliance. |  |  |  |  |  |  |  |  |  |
| Do you comply with all relevant Environmental legislation? |  |  |  | Yes | ☐ | No |  |  | ☐ |
| Manager responsible for Environmental Systems: |  |  |  |  |  |  |  |  |  |
| Environmental management |  |  | Externally Certified |  | ☐ | In-house |  |  | ☐ |
| If externally certified, please provide the following information: |  |  |  |  |  |  |  |  |  |
| Name of Certification Body: |  |  |  |  |  |  |  |  |  |
| Date of most recent certification: |  |  |  |  |  |  |  |  |  |
| Scope of Certification: |  |  |  |  |  |  |  |  |  |
| I confirm that evidence of compliance will be provided promptly on request. |  |  |  | Yes | ☐ |  | No | ☐ |  |
| If an in-house system, please provide scope of system and details of its operation – maximum 500 words. |  |  |  |  |  |  |  |  |  |

2.8	Delivery Confirmation (Pass/Fail):
Tenderers must confirm that all goods proposed under this Tender can be delivered, installed and commissioned (where applicable) no later than 31 December 2026. Failure to provide this confirmation, or an inability to meet this delivery requirement, will result in the Tender being deemed non-compliant.

☐   Confirmed
 ☐   Not Confirmed

# Mandatory & General Requirements

Tenderers are required to populate the table below, confirming their proposed solution meets all of the listed mandatory requirements. If required, tenderers can provide a comment if needed, to explain how their proposed solution meets the relevant requirement.

## Mandatory Requirements (General)

| MR G | DETAILS |  |
| --- | --- | --- |
| MRG 1 | General Conditions | Yes |
| MRG 1.1 | Electrical panels/electrical enclosures shall be fully bespoke and incorporate the provided programmable logic controllers (PLCs), instrumentation, and industrial automation components | ☐ |
| Comment: |  |  |
| MRG 1.2 | All Electrical panels/electrical enclosures must be portable and designed ready for mounting on aluminium profile systems (e.g. standard industrial aluminium extrusion / profile frameworks). | ☐ |
| Comment: |  |  |
| MRG 1.3 | All Electrical panels/electrical enclosures must be designed to be tamper-proof, and inherently safe for use in a learning environment, preventing unauthorised access or interference by learners while still allowing controlled educational interaction. | ☐ |
| Comment: |  |  |
| MRG 1.4 | The design must enable the Electrical panels/electrical enclosures to function as practical teaching tools for demonstrating electrical and automation principles to students. | ☐ |
| Comment: |  |  |
| MRG 1.5 | Electrical panels/electrical enclosures shall support industrial digital communication technologies, both wired and wireless, including industrial Ethernet, fieldbus protocols, and secure wireless solutions for automation and control systems. | ☐ |
| Comment: |  |  |
| MRG 1.6 | Electrical panels/electrical enclosures must be supplied complete with all necessary mounting hardware, documentation and labelling suitable for educational use | ☐ |
| Comment: |  |  |
| MRG 1.7 | Control devices placed within Electrical panels/electrical enclosures must be Eaton/CEAG or approved equivalent, strictly CE marked for the designated environment. | ☐ |
| Comment: |  |  |
| MRG 1.8 | All bespoke Electrical panels/electrical enclosures need to be fully certified, to the correct standard such as CE-marked Ex-d (flameproof) and Ex-e (increased safety) junction boxes and terminal enclosures. | ☐ |
| Comment: |  |  |
| MRG 1.9 | All Electrical panels/electrical enclosures assemblies must comply with mandatory European safety standards and directives, including the Low Voltage Directive (LVD) 2014/35/EU and EMC Directive 2014/30/EU. | ☐ |
| Comment: |  |  |
| MRG 1.10 | All premium Electrical panels/electrical enclosures and circuit protection must be CE-marked —such as ABB or approved equivalent (including MCBs, RCCBs, contactors, and isolators). | ☐ |
| Comment: |  |  |
| MRG 2 | Safety Requirements | Yes |
| MRG 2.1 | Electrical panels/electrical enclosures must incorporate safety features built exclusively using CE-marked component | ☐ |
| Comment: |  |  |
| MRG 2.2 | Viewing Doors: Must be Transparent (Rittal or approved equivalent). | ☐ |
| Comment: |  |  |
| MRG 2.3 | Stop buttons: Heavy-duty Emergency Stop pushbuttons (Eaton/CEAG or approved equivalent, compliant with EN ISO 13850 | ☐ |
| Comment: |  |  |
| MRG 2.4 | Electrical panels/electrical enclosures must have Interior schematic mimic diagrams for visual circuit trace. | ☐ |
| Comment: |  |  |
| MRG 2.5 | Shrouded, touch-safe (minimum IP2X rated) test points to facilitate safe hands-on learning and electrical measurements. | ☐ |
| Comment: |  |  |

## Optional Requirements (General)

| ORG | Optional Requirements (General) |  |
| --- | --- | --- |
| ORG 1.1 | KWETB have preference for Certified Assembly Partners for Explosion-Protected Products | ☐ |
| Comment: |  |  |
| ORG 1.2 | Modular design allowing easy reconfiguration of multiple Electrical panels/electrical enclosures for teaching exercises. | ☐ |
| Comment: |  |  |
| ORG 1.3 | Integrated data logging or remote monitoring capability for classroom demonstration. | ☐ |
| Comment: |  |  |
| ORG 1.4 | Extended warranty or enhanced local support packages beyond the minimum requirement. | ☐ |
| Comment: |  |  |

## Mandatory Compliance Requirements

### Non-ATEX Panels

| MCR 1 | Non-ATEX Panels | YES |
| --- | --- | --- |
| MCR 1.1 | Safety, Health and Welfare at Work (General Application) Regulations 2007 (S.I. No. 299 of 2007), Part 3 – Electricity. | ☐ |
| Comment: |  |  |
| MCR 1.2 | Low Voltage Directive 2014/35/EU (transposed by S.I. No. 345 of 2016) and EMC Directive 2014/30/EU. | ☐ |
| Comment: |  |  |
| MCR 1.3 | I.S. EN IEC 61439-1 and I.S. EN IEC 61439-2 (Low-voltage switchgear and control gear assemblies). | ☐ |
| Comment: |  |  |
| MCR 1.4 | I.S. EN 60204-1:2018 + A1:2025 where the panel forms the electrical equipment of a machine or teaching system. | ☐ |
| Comment: |  |  |
| MCR 1.5 | I.S. 10101:2020 (as amended) – National Rules for Electrical Installations – for installation works. | ☐ |
| Comment: |  |  |

### ATEX Panels

| MCR 2 | ATEX Panels | YES |
| --- | --- | --- |
| MCR 2.1 | ATEX Directive 2014/34/EU (transposed into Irish law as S.I. No. 230 of 2017). | ☐ |
| Comment: |  |  |
| MCR 2.2 | EN/IEC 60079 series standards (Explosive atmospheres). | ☐ |
| Comment: |  |  |
| MCR 2.3 | Correct selection and marking for Zone, Equipment Category / EPL, gas/dust group and temperature class. | ☐ |
| Comment: |  |  |
| MCR 2.4 | Full ATEX certification (EU Type Examination Certificate or equivalent from a Notified Body where required). | ☐ |
| Comment: |  |  |
| MCR 2.5 | Evidence of competent personnel with appropriate hazardous-area training and qualifications. | ☐ |
| Comment: |  |  |

# Response to the Award Criteria

## Award Criterion A - Fit for Purpose of the proposed Equipment

| Criterion A | Weighting | Maximum Marks | Minimum Marks 50% |
| --- | --- | --- | --- |
|  | 25% | 2,500 | 1,250 |
| Title | Fit for Purpose of the proposed Solution |  |  |
| Description | Tenderers are required to provide details of the procedures in place to meet the specific requirements of this competition, from design to commissioning, as detailed in Appendix 1 of the Request for Tender. This response may be supported by workflows, images etc. |  |  |
| Tenderer’s Response |  |  |  |
| Please use this free text page(s) (i.e. do not type in the box) for your response. |  |  |  |

## Award Criterion B - Contract Manager and Support/ Maintenance

| Criterion B | Weighting | Maximum Marks | Minimum Marks 50% |
| --- | --- | --- | --- |
|  | 15% | 1,500 | 750 |
| Title | Contract Manager and Support/ Maintenance |  |  |
| Description | Tenderers are required to provide details of the proposed contract manager by means of a detailed CV, outlining the experience and expertise of the proposed resource and also addressing how all requirements of Appendix 1. Tender should also provide details of how reactive and proactive maintenance requirements would be facilitated. Finally, tenderers must provide a sample Service Level agreement as detailed in Appendix 1 of the RFT. |  |  |
| Tenderer’s Response |  |  |  |
| Please use this free text page(s) (i.e. do not type in the box) for your response. |  |  |  |

## Award Criterion C - Resource Allocation

| Criterion C | Weighting | Maximum Marks | Minimum Marks 50% |
| --- | --- | --- | --- |
|  | 15% | 1,500 | 750 |
| Title | Resource Allocation |  |  |
| Description | Tenderers are required to provide details of the proposed resources who will assist in providing the specific requirements of this competition. The team may include but not limited to: - Dedicated Hazardous Area Manager. - Design engineers - Manufacturing personnel - Electronic engineers - Testing personnel - Installation/ Commissioning personnel - Training personnel Detailed CV, outlining the experience and expertise of the proposed resources should be provided as part of the response, using the template provided. Please note: the same role can be provided for by the same person. |  |  |
| Tenderer’s Response |  |  |  |
| Please use this free text page(s) (i.e. do not type in the box) for your response. |  |  |  |

| BIOGRAPHICAL SUMMARY - COMPLETE FOR EACH NOMINATED INSTRUCTOR |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Name |  |  |  |  |  |  |  |
| Position in Company |  |  |  |  |  |  |  |
| Role |  |  |  |  |  |  |  |
| No. of Years’ experience? |  |  |  |  |  |  |  |
| Details of Current Role |  |  |  |  |  |  |  |
| RELEVANT EDUCATIONAL/PROFESSIONAL QUALIFICATION |  |  |  |  |  |  |  |
| Description |  |  | QQI Level (or equiv.) |  |  | Year Obtained | Accreditation Body |
| RELEVANT EXPERIENCE (to be role identified above). |  |  |  |  |  |  |  |
| Employer | Dates | Position |  |  | Details |  |  |
| Additional Narrative (Further Relevant Experience, Specialist Knowledge Etc.) |  |  |  |  |  |  |  |
| Please enter your response here: |  |  |  |  |  |  |  |

## Award Criterion D - Sustainability, Innovation and Added Value

| Criterion D | Weighting | Maximum Marks | Minimum Marks 50% |
| --- | --- | --- | --- |
|  | 5% | 500 | 250 |
| Title | Sustainability, Innovation and Added Value |  |  |
| Description | With reference to Appendix 1 of the tender documents, Tenderers must outline their proposals for integrating sustainable considerations into the service. Proposals must be pertinent to the subject matter, and appropriate. Finally, tenderers must provide details of how innovation or value add might be applied over the term of the contract without any additional cost to the Contracting Authority. |  |  |
| Tenderer’s Response |  |  |  |
| Please use this free text page(s) (i.e. do not type in the box) for your response. |  |  |  |

## Award Criterion E – Ultimate Cost

| Criterion E | Weighting | Maximum Marks | Minimum Marks 50% |
| --- | --- | --- | --- |
|  | 40% | 4,000 | N/A |
| Title | Ultimate Cost – For the purpose of evaluation |  |  |
| Description | Tenderers are required to populate the following four tables: - Table A: Detailed Specific Panel - Table B: Cost for the Development - Table C: Total Cost for the purpose of Evaluation - Table D Rate Card contained within the Form of Tender (Section 4.6) on the next page. |  |  |
| Tenderer’s Response |  |  |  |
| Please populate the form of tender on the following page. |  |  |  |

## Form of Tender – Ultimate Cost (Criterion E)

| To: | Kildare Wicklow ETB |
| --- | --- |
| From: |  |
| Subject: | Single party frameworks for the design, manufacture, testing, supply, delivery, installation and commissioning of custom bespoke electrical control and automation panels for use within educational facilities at to Kildare and Wicklow ETB. |

I/We have examined the tender documentation and hereby offer to provide the services in accordance with the details contained within the Request for Tender (RFT) document.

For the purpose of evaluation of financial proposals, a number of tables need to be completed.

Table A: Detailed Specific Panel

Tenderers are required to provide a cost for the required panel, detailed in Appendix 2.

The response must include a line-by-line breakdown of costs for the panels, detailing how the final figure was arrived at, inclusive of any relevant discounts.

Table B: Cost for the Development

To understand the cost of all further requirements, tenderers are required to populate the cells coloured in green with specific rates for each of the requirements presented (Design, Manufacture, Testing, Delivery, Installation / Commissioning and Training). These rates must match the rates proposed in Table C – Rate Card.

The variable here, the number of days is prepopulated by the Contracting Authority, for the purpose of evaluations, with an understanding that the actual commitment of the specific element may be more or less depending on the future requirement(s).

Table C: Total Cost for the purpose of Evaluation

Here tenderers must populate the subtotal from Tables A and B. These figures are then added together to arrive at a Total Cost for the purpose of evaluations.

Table D Rate Card

Tenderers are required to provide the hourly, half day and daily rates for each of the team roles presented.

TABLE A – Detailed Specific Panel – (Appendix 1)

| ITEM |  | UNIT Cost (inclusive any relevant discounts) | Quantity | SUBTOTAL COST (Ex. VAT) | VAT RATE Applied |
| --- | --- | --- | --- | --- | --- |
| 1 | Required Eclectic Panel/ enclosure – Appendix 2. | € | 12 | € | % |
|  |  |  |  | € | % |
| Sub Total 1 |  |  |  | € | % |

TABLE B – Additional Equipment

| ROLE |  | Day Rate (Ex. VAT) (A) | Proposed Days (B) | Subtotal (A X B) | Vat Rate Applied |
| --- | --- | --- | --- | --- | --- |
| TRAINING 2 |  |  |  |  |  |
| 1 | Design | € | 3 | € | % |
| 2 | Manufacture | € | 3 | € | % |
| 3 | Testing | € | 2 | € | % |
| 4 | Deliver | € | 1 | € | % |
| 5 | Installation / Commissioning | € | 1 | € | % |
| 6 | Training | € | 2 | € | % |
| SUB TOTAL – Table 2: |  |  |  | € | % |

*Materials not included.

Table C – Total Cost for the purpose of Evaluation

Tenderers are required to populate the subtotals created, from Tables A and B. These figures are then added together to arrive at a Total cost for the purpose of evaluations.

| REQUIREMENT | SUB TOTAL | Vat Rate Applied |
| --- | --- | --- |
| Sub Total – Table 1 | € | % |
| Sub Total - Table 2 | € | % |
| Ultimate Cost (For the purpose of Evaluation: | € | % |

Table D: Rate Cards

| Requirement | Hourly Rate | Half Day rate | Full day rate | VAT Rate (if applicable) |
| --- | --- | --- | --- | --- |
| Dedicated Hazardous Area Manager | € | € | € | % |
| Design engineers | € | € | € | % |
| Manufacturing personnel | € | € | € | % |
| Electronic engineers | € | € | € | % |
| Testing personnel | € | € | € | % |
| Installation/ Commissioning personnel | € | € | € | % |
| Training personnel | € | € | € | % |

I/We confirm that I/we:

- Will keep this offer for the contract open for acceptance by you for a period of 12 months from the date of deadline for submission of tenders,

- Agree that you are not bound to accept the most economically advantageous or any tender you may receive,

- Agree that the rates stated are maximum prices for the duration of the contract.

- Have read and thoroughly examined the RFT,

- Fully understand the RFT and the Client’s requirements,

- Undertake to treat the details of the RFT, its tender and any subsequent agreements as private and confidential,

- Acknowledge that acceptance by the Contracting Authority of this tender will not constitute a binding and enforceable agreement and that a legally enforceable agreement will not exist until and unless the contract is awarded between the Contracting Authority and the tenderer,

- Have availed of all offers for additional information or have otherwise satisfied myself/ourselves as to conditions that may in any manner affect the performance of the contract,

- Have included all elements necessary for the performance of the specified requirements, which are either expressly stated in the RFT or contained in any supplementary information or which could reasonably be inferred therefrom,

- Have found no errors, omissions, conflicts or ambiguities in the RFT except those which I/We have brought to the attention of the Contracting Authority before the latest date for submitting queries,

- Have included for compliance with all statutory requirements applicable in Ireland and those applicable in any country where parts of the contract may be performed that are in force 7 days prior to the deadline for receipt of tenders,

- Will not, if awarded a contract employ labour in a manner that is discriminatory in relation to gender, civil/family status, sexual orientation, religion, age, disability, race, or membership of the traveller community.

- Agree that as a condition of award, it shall be our sole responsibility to fulfil the obligations under the Contract, notwithstanding any changes in circulars, laws, regulations, taxation, duties or other factors which might arise following the withdrawal of the United Kingdom from membership of the EU.

| Signed: |  |
| --- | --- |
| Name (in Capital Letters): |  |
| On behalf of: |  |
| Address: |  |
| Telephone (Office): |  |
| Telephone (Mobile): |  |
| Email: |  |
| Date: |  |