# CFT 8836467

## Tenderers Questions Answered

Tenderers are to supply and install street lighting and CCTV system.

There is an adequate electrical supply available close to the play area to connect to.

There is adequate availability of 5G coverage from various service providers in the vicinity of the site.