| TENDER RESPONSE DOCUMENT |  |
| --- | --- |
| Open Procedure Tender deadline 12 NOON on 10th September 2026 |  |
| Establishment of a Single Supplier for; | Supply and Delivery of a Microgravity Measurement System, for University College Cork (UCC) TENDER REFERENCE: UCC-2026-28 |
| Procedure | Open Procedure |
| Name of Tenderer |  |
| Contact |  |
| Email |  |
| Phone |  |
| Address and Post Code: |  |

Contents

INSTRUCTIONS FOR COMPLETION	3

SECTION 1 – LEGAL COMPLIANCE	4

1.1	DECLARATION RE PERSONAL SITUATION (Appendix 4. RFT doc)	5

1.2	DECLARATION RE STATUTORY OBLIGATIONS	8

SECTION 2 – SELECTION CRITERIA	9

2.1	General Information Relating to the Tenderer	9

2.2	Economic and Financial Standing	11

2.3	Technical and Professional Ability	13

2.3.1 Relevant Company Experience	13

2.3.2 Technical Resources	16

2.3.3 Regulatory Compliance	16

2.3.4 Quality Assurance	18

2.3.5 Health & Safety	19

2.3.6 Tenders Statement	20

SECTION 3   RELATING TO TECHNICAL SPECIFICATION	22

Notes for Completion of the Tender Response Document	22

APPENDIX 1: Technical Specification & Tenderer Response Document	24

3.5	Specification Required & Tenderer Response	30

3.6	Authorised Signatory	77

SECTION 4    TENDERER RESPONSE CHECKLIST	78

4.0 Tenderer Response Checklist.	78

# INSTRUCTIONS FOR COMPLETION

Tenderers must ensure they complete this document in full.

Where there is a discrepancy between the contents / instructions in this document and the Request for Tender, the Request for Tender will take precedence.  Please ensure you contact the Contracting Authority and they may decide to issue an updated Tender Response Document.

This document covers the selection and award criteria as relating to the Open Procedure.

Tenderers must complete all sections.  However, tenderers must note they must meet and pass all the rules contained in the selection criteria, in order to be considered eligible for assessment, against the award criteria.

# SECTION 1 – LEGAL COMPLIANCE

Legal Compliance

Tenderers are required to complete the Declaration of Personal Circumstances as per Art. 57 of Directive 2014/24/EU as implemented by SI 284 of May 2016.

Compliance with Relevant Statutory Obligations

Tenderers are required to complete the Declaration regarding their compliance with relevant statutory obligations. Where tenderers are established and operating outside of Ireland compliance with equivalent legislation as applicable in the country of establishment / operation is required.

General Information relating to the Tenderer

Please provide contact and general information on the tendering organisation - company name, address and contact details for individual responsible for this tender and company overview as well as information on sub-contractors and consortium members if applicable.

| I confirm that I have completed the art. 57 declaration contained in this section, and I acknowledge that any changes in the circumstances confirmed in this declaration will be notified immediately to the contracting authority. | Yes |  | No |  |
| --- | --- | --- | --- | --- |
| I confirm that I am opting to respond to the selection criteria by employing a completed European Single Procurement Document. | Yes |  | No |  |

  - DECLARATION RE PERSONAL SITUATION (Appendix 4. RFT doc)

| DECLARATION RE PERSONAL CIRCUMSTANCES AS PER ART. 57 OF DIRECTIVE 2014/24/EU Economic Operators will be excluded from the procurement process if, within the past five (5) years, there is evidence of a conviction relating to a specific criminal offence listed below (see 1.1) or if they have been the subject of a binding legal decision which found a breach of legal obligations to pay tax or social security contributions (see 1.2) (except where this is disproportionate e.g. where only minor amounts are involved). |  |  |  |
| --- | --- | --- | --- |
| - Has the Economic Operator or a member of their proposed consortium, (if applicable), Director, or Partner or any other person who has powers of representation, decision or control, been convicted of any of the following offences? |  | YES | NO |
|  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
| 1.1.a | participation in a criminal organisation, as defined in Article 2 of Council Framework decision 2008/841/JHA; |  |  |
| 1.1.b | corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in Irish Law or the jurisdiction in which the Economic Operator is established; |  |  |
| 1.1.c | fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests; |  |  |
| 1.1.d | the subject of a conviction for terrorist offences or offences linked to terrorist activities or for inciting or aiding or abetting or attempting to commit an offence; |  |  |
| 1.1.e | the subject of a conviction for money laundering or terrorist financing; |  |  |
| 1.1.f | the subject of a conviction of child labour and other forms of trafficking in human beings; |  |  |
| Non-payment of taxes or social security obligations - Has it been established by a judicial or administrative decision having final and binding effect in accordance with Irish law or the legal provisions of the country in which the Economic Operator is established (if outside Ireland), that the Economic Operator is in breach of obligations related to the payment of tax and social security contributions? Note: If the response to 1.2 above is in the affirmative, please provide further information on the decision and the amounts involved |  |  |  |

| 2.1 Please indicate if any of the following situations have applied, within the past three (3) years, or currently apply, to your organisation. |  | YES | NO |
| --- | --- | --- | --- |
|  |  | Please indicate your answer by marking ‘X’ in the relevant box |  |
| 2.1.a | has, in the performance of any public contract, failed to comply with applicable obligations in the field of environmental, social and labour law applying at the place where the works were carried out or the services provided, as established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Annex X of Directive 2014/24/EU; |  |  |
| 2.1.b | is bankrupt or the subject of insolvency or winding-up proceedings, its assets are being administered by a liquidator or by the court, or has entered into an arrangement with creditors, suspended its business activities or is in any analogous situation arising from a similar procedure under national laws and regulations; |  |  |
| 2.1.c | is guilty of grave professional misconduct which renders its integrity questionable; |  |  |
| 2.1.d | has entered into agreements with other economic operators aimed at distorting competition; |  |  |
| 2.1.e | has a conflict of interest within the meaning of Article 24 of 2014/24/EU that cannot be effectively remedied by other, less intrusive, measures; |  |  |
| 2.1.f | confirms that it has had prior involvement in the preparation of the procurement procedure which has resulted in a distortion of competition, as referred to in Article 41 of 2014/24/EU, that cannot be remedied by other, less intrusive, measures; |  |  |
| 2.1.g | has shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions. |  |  |
| 2.1.h | - is guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the selection criteria; or |  |  |
|  | - has withheld such information or is not able to submit supporting documents required under Article 59 of Directive 2014/24/EU; or |  |  |
| 2.1.i | has undertaken to: - unduly influence the decision-making process of the contracting entity, obtain confidential information that may confer upon the Tenderer undue advantages in the procurement procedure; or - negligently provide misleading information that may have a material influence on decisions concerning exclusion, selection or award. |  |  |

  - DECLARATION RE STATUTORY OBLIGATIONS

| DECLARATION RE STATUTORY OBLIGATIONS |  |  |  |  |
| --- | --- | --- | --- | --- |
| We confirm that we are fully compliant with the following legislation, or equivalent legislation in our country of establishment/operation: |  |  | YES | NO |
|  | Employment Equality Acts 1998-2011 |  |  |  |
|  | Equal Status Acts 2000-2011 |  |  |  |
|  | National Minimum Wage Act 2000 as amended |  |  |  |
|  | Organisation of Working Time Act 1997 as amended |  |  |  |
|  | Safety, Health and Welfare at Work Act 2005 and Safety, Health and Welfare at Work (General Application) Regulations 2007 |  |  |  |
|  | Disability Act 2005 |  |  |  |
|  | We have procedures in place to ensure that our subcontractors, if any are used for this contract, apply the same standards. |  |  |  |
| This Declaration is made for the benefit of the Contracting Authority I certify that the information provided in the Declaration re Personal Circumstances and the Declaration re Statutory Obligations is accurate and complete to the best of my knowledge and belief. I understand that the provision of inaccurate or misleading information in these Declarations will lead to my organisation being excluded from participation in this and future tenders and I am signing on behalf of: |  |  |  |  |
| Name of Economic Operator |  |  |  |  |
| Authorised Signatory |  |  |  |  |
| Signature |  |  |  |  |

# SECTION 2 – SELECTION CRITERIA

  - General Information Relating to the Tenderer

| Tendering Party Name: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Contact Person: |  |  |  |  |  |  |
| Position: |  |  |  |  |  |  |
| Address: |  |  |  |  |  |  |
| Phone: |  |  |  |  |  |  |
| Email: |  |  |  |  |  |  |
| Website: |  |  |  |  |  |  |
| Date of Establishment, if applicable |  | VAT Registration No: |  |  |  |  |
| Legal Structure – partnership, limited company, etc. |  | Please confirm if you are an SME (Small and Medium Enterprise) as defined in Commission Recommendation 2003/361/EC |  |  |  |  |
|  |  | Yes |  |  | No |  |
| Definition as per 2003/361/EC The category of micro, small and medium-sized enterprises (SMEs) is made up of enterprises which employ fewer than 250 persons and which have an annual turnover not exceeding EUR 50 million, and/or an annual balance sheet total not exceeding EUR 43 million. |  |  |  |  |  |  |
| Name of other parties forming part of the tender submission: |  |  |  |  |  |  |
| Name: | Proposed Role |  |  | Confirmation Relevant information provided for each party |  |  |
| Member #1 |  |  |  |  |  |  |
| Member #2 |  |  |  |  |  |  |
| Member #3 |  |  |  |  |  |  |

In submitting a tender please ensure confirm Acceptance of the following Terms and Conditions

| Confirmation of Acceptance of Contract Terms & Conditions (Appendix 5 within the RFT) | Yes |  | No |  |
| --- | --- | --- | --- | --- |

  - Economic and Financial Standing

| FINANCIAL CAPACITY INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Irish Tax Clearance |  |  |  |  |  |  |  |  |  |  | Please confirm YES/NO |  |
| I confirm and declare being tax compliant. The Contracting Authority can verify your tax clearance status through Ireland’s Revenue online facility at http://www.revenue.ie/en/online/tax-clearance.html To this end, please confirm: |  |  |  |  |  |  |  |  |  |  | Yes |  |
|  |  |  |  |  |  |  |  |  |  |  | No |  |
| Tenderer Name: |  |  |  |  |  |  |  |  |  |  |  |  |
| Tenderer PPSN/ Tax Reference Number: |  |  |  |  |  |  |  |  |  |  |  |  |
| Access Number: |  |  |  |  |  |  |  |  |  |  |  |  |
| OR I confirm that I hold a current valid paper Irish Tax Clearance Certificate (generally relates to Non-Residents) |  |  |  |  |  |  |  |  |  |  |  |  |
| Registration Number: |  |  |  |  |  |  | Certificate Number: |  |  |  |  |  |
| OR I confirm that I have applied for Tax Clearance status or a Tax Clearance Certificate which will be made available on request |  |  |  |  |  |  |  |  |  |  | Yes |  |
|  |  |  |  |  |  |  |  |  |  |  | No |  |
| Turnover |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that we have the following turnover to be considered for the contract. |  |  |  |  |  |  |  |  |  |  |  |  |
| Turnover Requirement: |  |  |  |  | At least €275,000 each of the previous 3 financial years |  |  |  |  |  |  |  |
| Financial Year |  |  |  | 2025 |  |  | 2024 |  | 2023 |  |  |  |
| Month for Financial Year End (e.g. July) |  |  |  |  |  |  |  |  |  |  |  |  |
| Turnover € |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that I will provide copies of audited financial statements/accounts promptly on request. NOTE #1: In the case of sole traders or partnerships this condition may be satisfied by a letter of confirmation from a senior partner. |  |  |  |  |  |  |  |  |  |  | Yes |  |
|  |  |  |  |  |  |  |  |  |  |  | No |  |
| Provision of the most recent three years of audited financial statements / accounts. |  |  |  |  |  |  |  |  |  |  |  |  |
| Financial Year |  | 2025 |  |  |  | 2024 |  |  |  | 2023 |  |  |
| I confirm that I will provide evidence of turnover promptly on request. |  |  |  |  |  | Yes |  |  |  | No |  |  |
| Insurances Note – UCC reserves the right to determine whether the insurance evidence provided is sufficient to demonstrate compliance. Where certificates or broker letters do not clearly set out all required information – including limits, basis of cover, excesses, business description or indemnity to principal wording – the tender may be deemed non-compliant. UCC also reserves the right to request copies of relevant policy endorsements (e.g., indemnity to principal, additional insured wording) to verify compliance. |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that we have the following insurances in place |  |  |  |  |  |  |  |  |  |  |  |  |
| Insurance Type |  |  | Level in Place |  |  |  | Details of Any Excess |  | Expiry Date |  |  |  |
| Employers Liability Required Level: €13 Million (on an each and every occurrence basis) - Euro or foreign currency equivalent |  |  | € |  |  |  |  |  |  |  |  |  |
| Public Liability Required Level: €2.6 Million (on an each and every occurrence basis) - Euro or foreign currency equivalent |  |  | € |  |  |  |  |  |  |  |  |  |
| Product Liability Required Level: €2.6 Million (on an aggregate basis) – Euro or foreign currency equivalent |  |  | € |  |  |  |  |  |  |  |  |  |
| Professional Indemnity Required Level: €1 Million (each and every claim or in the annual aggregate) - Euro or foreign currency equivalent [Note- For claims made basis- Tenderers must confirm; i) the retroactive date; ii) that the min level of cover will be maintained for at least 6 years following completion of the contract] |  |  | € |  |  |  |  |  |  |  |  |  |
| AND |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that if successful, where the levels required under the contract are higher than those currently in our possession, I will be in a position to put the required forms and levels of insurances required in place. |  |  |  |  |  |  |  |  |  |  |  |  |
| AND |  |  |  |  |  |  |  |  |  |  |  |  |
| I confirm that I will provide the following promptly on request: - evidence of insurances in place or - letter from Insurance Broker confirming that the required levels could be put in place if successful |  |  |  |  |  |  |  |  |  |  |  |  |
| Requirements for ALL insurance certificates: - Full legal name of insured entity and any subsidiaries involved in the contract. - Business description, confirming the policy covers the activities associated with the UCC contract. - Reference to the tender (e.g., “Tender Ref #– University College Cork”). - Policy details, including: - Policy type and number - Insurer name - Start and expiry dates - Limits of indemnity, specifying whether limits apply per occurrence or in the aggregate - Basis of cover (e.g., occurrence or claims made; retroactive date if claims made) - Excess / Deductible / SIR – explicit euro or foreign currency equivalent amounts must be stated - Territorial limits and jurisdiction - Confirmation of any contract specific requirements, including: - Indemnity to Principal / Specific Indemnity to UCC |  |  |  |  |  |  |  |  |  |  |  |  |

  - Technical and Professional Ability

### 2.3.1 Relevant Company Experience

Minimum Level Required: Tenderers must demonstrate successful delivery of three (3) previous comparable projects / contracts involving the suite or part thereof below, which have been delivered in the last 5 years.

Microgravity Measurement System

– Please demonstrate expertise & track record in the installation and implementation of a similar system or part thereof.

The Tenderer MUST provide the relevant reference sites of where at least (3) similar systems have been installed.

| Reference contract #1 |  |
| --- | --- |
| Client Name |  |
| Contact Name |  |
| Contact email address |  |
| Contract Value |  |
| Delivery Date(s) |  |
| Detailed contract description |  |
| Outline how this contract is comparable with the subject matter of the contract being tendered. Mere affirmation is not sufficient. |  |
| Reference contract #2 |  |
| Client Name |  |
| Contact Name |  |
| Contact email address |  |
| Contract Value |  |
| Delivery Date(s) |  |
| Detailed contract description |  |
| Outline how this contract is comparable with the subject matter of the contract being tendered. Mere affirmation is not sufficient. |  |

| Reference contract #3 |  |
| --- | --- |
| Client Name |  |
| Contact Name |  |
| Contact email address |  |
| Contract Value |  |
| Delivery Date(s) |  |
| Detailed contract description |  |
| Outline how this contract is comparable with the subject matter of the contract being tendered. Mere affirmation is not sufficient. |  |

- Relevant Company Experience

### 2.3.2 Technical Resources

Tenderers must demonstrate they have at their disposal effective and efficient manpower, skills and technical resources available to them to support the delivery, installation & delivery of the goods.

Please complete the form below to demonstrate that the tenderer has at their disposal effective and efficient manpower, skills and technical resources available to them to support the supply, installation & delivery of the goods. Please include details of the names of staff and third parties.

Tenderer’s response

### 2.3.3 Regulatory Compliance

Supply and Delivery of a Microgravity Measurement System, University College Cork (UCC) must comply with all Irish and European relevant regulatory requirements – including but not limited to the following. - Must be clearly CE marked. If supplying through the UK, please state location of awarding body of the CE marking. As in light of Brexit all UK suppliers, must provide evidence that the CE mark has been certified through an EU Notified Body. (if applicable). - Electrically Safety Class rated

Tenderer’s response

| ### 2.3.4 Quality Assurance Tenderers must demonstrate that they have adequate measures in place to ensure the delivery of a quality service. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Quality Assurance Systems |  |  |  |  |  |
| Do you operate a quality management system? | Yes |  | No |  |  |
| Name of Manager responsible for Quality |  |  |  |  |  |
| If so, is it 3rd party certified or in-house? | 3rd Party Certified |  |  |  |  |
|  | In-House |  |  |  |  |
| If 3rd party certified, please provide the following information: | Date of most recent certification |  |  |  |  |
|  | Scope of Certification |  |  |  |  |
|  | Name of Certification Body |  |  |  |  |
|  | Evidence will be provided on request |  | Yes |  |  |
|  |  |  | No |  |  |
| If in-house, please provide summary of system: |  |  |  |  |  |
| Tenderers must demonstrate a commitment to quality in the delivery of their services either through evidence of an in-house quality assurance system or via third-party certification directly related to the required services. | Please comment |  |  |  |  |
| ### 2.3.5 Health & Safety |  |  |  |  |  |
| Provide a copy of your organization Health & Safety Policy and Statement |  |  |  |  |  |
| Tenderer’s Response |  |  |  |  |  |

### 2.3.6 Tenders Statement

Appendix 3 – Tenderers Statement (Appendix 3. RFT doc)

[Tenderers shall complete and return the following form of Tenderers’ Statement printed on the Tenderers’ headed notepaper and signed by the Tenderer.]

#### TENDERERS’ STATEMENT

TO: University College Cork. (the “Contracting Authority”)

RE: Request-for-Tenders under Open Procedure for the Supply and Delivery of a Microgravity Measurement System, University College Cork (UCC)

Tender Reference: UCC-2026-28

Having examined your Request for Tenders (the “RFT”) including the Instructions to Tenderers, the Selection and Award Criteria, the Requirements and Specifications, and the Terms and Conditions of the Goods Contract, we hereby agree and declare the following:

- We understand the nature and extent of the Goods required to be delivered as described in Appendix 1 to the RFT.

- We accept all of the Terms and Conditions of the RFT, the Goods Contract, and the Confidentiality Agreement and agree if awarded a Goods Contract, to execute the Goods Contract in Appendix 6 to the RFT and the Confidentiality Agreement at Appendix 7 to the RFT.

- We accept all the Selection and Award Criteria as set out in the RFT.

- We agree to supply the Contracting Authority with the Goods in accordance with the RFT and our Tender.

- We agree that, if awarded any Goods Contract we shall, in the performance of such contract, comply with all applicable obligations in the field of environmental, social and labour law.

- We confirm that we have complied with all requirements as set out in the RFT.

- We confirm that all prices quoted in our Tender will remain valid for the period of time commencing from the Tender Deadline, specified at paragraph 2.10.3 of the RFT.

- We shall, if awarded any Goods Contract under the RFT, have in place on the Effective Date of the Goods Contract all insurances (if any) as required by paragraph 2.21.1 of the RFT.

- We confirm that all Data Subjects whose Personal Data is provided in our Tender have consented to the processing of such Personal Data by us, the Contracting Authority, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of our participation in this Competition or that we otherwise have a legal basis for providing such Personal Data to the Contracting Authority for the purposes of our participation in this Competition and that we will provide evidence of such consent and / or legal basis to the Contracting Authority upon request.

#### SIGNED	COMPANY

#### (Authorised Signatory)

#### PRINT NAME	Address

#### Date

# SECTION 3   RELATING TO TECHNICAL SPECIFICATION

Tenderers MUST complete this Tender Response Document (TRD), including Appendix 1. Technical Specification

# Notes for Completion of the Tender Response Document

Note 1: Only tenders which meet the Selection Criteria and are confirmed as valid and responsive to the specifications set out in this document will be evaluated against the award criteria.

Note 2: Tenderers should ensure that they have submitted sufficient relevant information to allow their tenders to be assessed under each of the award criteria set out in the Technical Specification table below.

Note 3: The contract will be awarded on the basis of the most economically advantageous compliant tender

Note 4: Tenderers should ensure in their tenders that they provide detailed information in respect of all aspects of the contract award criteria as stated above.  This will enable the awarding authority to assess fully the extent of their offers.

Note 5: Overall minimum requirements for award criteria: Tender submissions must achieve the minimum score as listed in the Award Criteria table in the RFT.

If a tender fails to achieve the minimum score for any of the selection criteria, the proposal is eliminated and not evaluated on the award criteria, Total Cost of Ownership. No minimum score is applicable to ‘Cost’.

Note 6: Budget Available

Supply and Delivery of a

Microgravity Measurement System, for University College Cork (UCC)

- Please note that the budget available is NO Greater than €137,500 EX VAT. This is to include all Costs (Capital Costs and associated Costs) covered within the total Ultimate Cost in Appendix 2.

Note: The Contracting Authority reserves the right to exclude submissions from tenderers which exceed the maximum budget available as stated above.

Note:

UCC reserves the right to buy additional options available with this equipment, at a later stage should the budget become available. This may include OEM accessories and/or consumables specifically required for use with the equipment.  This option will be available for the lifetime of the equipment.

Please refer to the Appendix 2 to complete details of current consumables available relevant to this equipment requirement.

Tenders are asked to complete their responses to Award Criteria A, B, C, D, E & F in the section below.

Tenderers MUST provide all information relating to the instrument and the associated consumables in the response boxes below. Responses will be scored accordingly by the Technical Evaluation team as set out in the Award Criteria in the RFT document. Yes/No answers will not suffice in most cases.

# APPENDIX 1: Technical Specification & Tenderer Response Document

Appendix 1 Requirements

| Product Description | QTY |
| --- | --- |
| Microgravity Measurement System | 1 |

The tender MUST supply all related items to this tender, listed in the product description in a single delivery.

| Contracting Authority: | University College Cork (UCC) |
| --- | --- |
| Proposed: | Tenderers to state models. Please type here |

Request-for-Tenders under Open Procedure for the Supply and Delivery of a

Microgravity Measurement System,

University College Cork (UCC)

Tender reference: UCC-2026-28

Introduction

University College Cork (UCC)

University College Cork (UCC) is an award-winning institution with a history of independent thinking stretching back over 170 years. UCC is proud to be ranked in the top 2% of universities in the world. This beautiful university opened its gates to just 115 students in 1849. They now have a student population of over 26,000.

Dating back to 1845, UCC is recognised as one of Ireland's leading centres for engineering education and research. Its degree programmes are internationally recognised under the Washington Accord and are fully accredited by Engineers Ireland, ensuring graduates meet internationally recognised professional standards. Over many decades, the Department has produced graduates who have progressed to senior positions across the engineering profession, industry and public sector, both in Ireland and internationally.

The Department has modernised its curriculum to reflect the evolving needs of the profession, with an increased focus on environmental engineering, sustainability and digital technologies. Teaching combines academic learning with practical laboratory and field-based experience, ensuring students develop the technical competencies expected by industry. Maintaining modern, reliable and industry-relevant equipment is therefore essential to support high-quality teaching, research and practical training, enabling the Department to continue preparing graduates to meet the challenges of the modern civil and environmental engineering sector.

Funding Acknowledgement:

This item is to be purchased through Taighde Éireann/Research Ireland funding.

UCC reserves the right to buy additional options available with this equipment at a later stage should the budget become available. This may include OEM accessories and/or consumables specifically required for use with the equipment.  This option will be available for the lifetime of the equipment.

Please refer to the RFT document for details regarding additional drawdown requirements.

Budget Available

Please note that the budget available for this total requirement is no greater than €137,630 ex VAT.

Note: The Contracting Authority reserves the right to exclude submissions from tenderers which exceed the maximum budget available as stated above.

Summary of Requirements

Tenders are sought for the Supply and Delivery of a

Microgravity Measurement System,

University College Cork (UCC):

Tender Equipment Summary Requirement

The procurement is for commercial gravimetry instruments to support the establishment of a Quantum Gravimetry Laboratory at University College Cork. The required instruments include:

- A portable field relative gravimeter for high-precision gravity measurements, microgravity surveys, underground engineering applications, geotechnical and environmental investigations, instrument comparison, teaching, and research training.

- A vertical gravity gradient tripod compatible with the field gravimeter, to enable gravity gradient measurements. This is particularly useful in tunnels, underground spaces, and shallow anomaly investigations where the regional gravity field is difficult to assess.

The equipment will be supplied and maintained at the following site:

- Office 3.22,

- Kane Building,

- University College Cork.

Requirements & Specification

Tenderers MUST provide all information relating to the instrument and the associated consumables in the response table comment boxes below. Responses will be scored accordingly by the Technical Evaluation team as set out in the Award Criteria in the RFT document.

Please ensure all cost submissions are kept separate and included in the Excel file entitled: Appendix 2 – Pricing Schedule.

Please refer to the Appendix 2 to complete details of current consumables available relevant to this equipment requirement.

UCC will consider tenders offering new equipment. The equipment must be functional as new and be delivered with a full mechanical and electrical warranty.

Technical Specification

This is the minimum specification required. All tenderers must meet or exceed this minimum specification to progress through the award criteria to cost evaluation.

Additional functionality should be identified in the comments section to facilitate scoring under the award criteria.

Programme Requirements

  - Tenderers MUST note that contractors do not have exclusive access and will be required to work around and accommodate other suppliers and contractors who will be active in the building and laboratories simultaneously.

  - UCC working hours are Monday to Friday from 9.00 am to 5.00 pm (Business Hours). Access to the site outside the Business Hours shall at all times be arranged through the appointed representative in UCC if essential and where it can be facilitated.  The delivery location is Office 3.22, Kane Building, University College Cork, College Road Cork, Ireland.

Note: Working outside Business Hours may be required to comply with work programmes. Where this becomes necessary as a result of changes to the start dates set out above, all reasonable efforts will be made to accommodate same.

  - Contractors are responsible for security of their own equipment, materials, etc.

Prior to any deliveries, the successful tenderer(s) (and/or relevant sub-contractors, etc.) will be required to meet the representatives from UCC to clarify the requirements for Health & Safety, site access, services etc. to ensure compliance with standard operating procedures, and other regulatory/ statutory requirements as appropriate.

##### Specification Required & Tenderer Response

| Product Description | QTY | Tendering (Y/N) |
| --- | --- | --- |
| Microgravity Measurement System | 1 |  |

Instructions for completion:

3.5.1	Tenderers MUST provide all information relating to the instruments and the associated       consumables in the blue response boxes below.

3.5.2	Please ensure all cost submissions are kept separate and included in the Excel file entitled:          Appendix 2 – Pricing Schedule.

3.5.3	NOTE: where the Tenderer is supplying published numerical data in answer to the tender questions, citing the source of that data would be required (i.e. data sheet, third party published results etc.).

##### 3.5.4 Technical Specifications Table

| UCC-2026-28 RFT for the Supply and Delivery of a Microgravity Measurement System, University College Cork (UCC) |  |
| --- | --- |
| Proposed System: (Tenderers please state model type here) |  |
| REQUIREMENT |  |
| - Technical Merit (Equipment Specifications) |  |
| Technical Merit will be assessed under the performance parameters and functional requirements as described in the technical specifications. |  |
| Provide clear details of the system’s technical specifications. |  |
| REF. | General/Functional Requirements |
|  | The Tenderer MUST supply one new (N), complete and fully operational portable relative microgravity measurement system suitable for high-precision field and laboratory gravity surveys. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. Responses MUST state if the system is New (N). Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The solution MUST be self-contained and capable of use by a single trained operator. Equivalent or superior systems that satisfy all functional and performance requirements will be considered. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST state the manufacturer, model, country of manufacture and full specifications of the proposed system. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The portable relative microgravity measurement system MUST include the gravity meter with integrated sensor, electronics, internal power, display, data storage and positioning capability. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The portable relative microgravity measurement system MUST include a stable field tripod or levelling base suitable for repeated station-to-station measurements. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The portable relative microgravity measurement system MUST include at least two rechargeable field batteries, battery holders where applicable, a battery charger and an external mains power supply. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The portable relative microgravity measurement system MUST include a rugged external tablet/controller with integrated GPS and wireless connectivity, where required to access all system functions. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The portable relative microgravity measurement system MUST include all acquisition, quality-control, calibration, mapping and data-transfer software required for normal operation. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The portable relative microgravity measurement system MUST include USB/data cables, transport case, field carrying bag or backpack, shoulder strap, plug adaptors and essential spare parts. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The portable relative microgravity measurement system MUST include user manuals, quick-start documentation, factory calibration/verification certificates, commissioning and operator training. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The complete system SHOULD fit within a normal laboratory storage and charging area of approximately 1.5 m x 1.0 m x 2.0 m (L x W x H). No permanent floor fixing, specialist lifting equipment, dedicated ventilation, water supply, compressed gas or other fixed laboratory service SHOULD be required. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The system MUST be designed for practical single-operator field surveying. One trained operator MUST be able to carry, deploy, level, configure, record, review and relocate the instrument between stations without additional personnel under normal conditions. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The gravity meter MUST be capable of fully autonomous operation without a continuously connected external computer. An on-board display and controls MUST permit survey setup, levelling, measurement, review and storage of readings. Optional remote operation from a rugged tablet MAY be provided in addition. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The instrument MUST be compact and portable. The instrument-only dimensions SHOULD not exceed approximately 0.50 m x 0.50 m x 0.50 m, and the operational weight including batteries SHOULD not exceed 30 kg. Tenderers MUST state the dimensions and weight of the meter, tripod, tablet/controller and each transport case. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The system MUST operate reliably over at least -10°C to +40°C and under normal indoor room-temperature conditions. Tenderers MUST state the full specified operating and storage temperature ranges and identify any cold-weather or high-temperature accessories required. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Performance |  |
|  | The proposed system MUST provide a displayed gravity-reading resolution of 1 microGal (0.001 mGal) or better. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed system MUST achieve a reading standard deviation or repeatability of 5 microGal or better under stable operating conditions. Tenderers MUST describe the test conditions, measurement duration and statistical definition used for the stated performance. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed system MUST have a gravity measurement range of at least 8,000 mGal without requiring mechanical resetting or re-ranging, so that it can be used for local microgravity, regional and geodetic surveys. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed system MUST have a residual drift of no more than 20 microGal/day after application of the manufacturer-recommended drift correction. Tenderers MUST also state the typical uncompensated drift and the recommended field drift-calibration procedure. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed system MUST provide automatic two-axis tilt measurement and real-time tilt compensation over a range of at least +/-200 arcseconds. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The operator MUST be able to view levelling guidance and recorded X/Y tilt values during or immediately after a measurement. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed system MUST provide automatic or user-selectable corrections for, at minimum, Earth tide, instrument tilt, temperature and sensor drift. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The system SHOULD additionally provide configurable noisy-sample and seismic-noise filtering while retaining access to unfiltered or raw measurement information. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed system MUST support user-selectable digital data acquisition and output at rates up to at least 10 Hz. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Raw or minimally processed time-series samples, together with the processed station reading, MUST be available for export to support vibration-response and data-quality research. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The proposed system MUST operate from rechargeable batteries for at least one full field working day (minimum 8 hours at approximately 25°C) without connection to mains power. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Batteries SHOULD be field replaceable and the system SHOULD permit battery exchange without loss of stored data or survey configuration. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Hardware/Software Requirements |  |
|  | Where any function requires an external computer or tablet, the supplied software MUST be compatible with Windows 10 or later and MUST be provided pre-installed and configured on the supplied controller. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The gravity meter itself MUST remain capable of autonomous measurement if the external controller is unavailable. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The system software MUST generate and export both processed and raw data in documented, non-proprietary or openly readable ASCII formats, including at least .csv, .txt or delimited ASCII. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The data structure MUST preserve timestamps, station identifiers, gravity values, uncertainty/standard-deviation information, tilt, temperature, applied corrections and GPS metadata where available. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The system MUST include all drivers, licences and software required for instrument setup, acquisition, remote control where applicable, data transfer, quality control, calibration and routine post-processing. Tenderers MUST identify the supported operating systems, licence type, number of included installations and any optional software modules. Please confirm and detail. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The system software MUST minimise security vulnerabilities and the need for frequent disruptive upgrades. Normal acquisition and data export MUST be possible offline, without mandatory cloud accounts, vendor remote access or permanent internet connectivity. Tenderers MUST describe any network, administrator-rights or antivirus exclusions required. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | System software SHOULD be user friendly. Please provide details describing any future possible software or firmware upgrades and provision for these. Please indicate any associated upgrade options price, as an optional to purchase, in Appendix 2 – Pricing Schedule. If any options to purchase are available, these are optional to purchase by the Contracting Authority at any time up to 12 months from contract signing and will not form part of the Cost evaluation. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Software updates to the system, which become available during the life of the contract, MUST be provided free of charge during the warranty period. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | All software licenses required for the contracted functionality MUST be included with the system and remain valid for the operational life of the equipment. The core measurement, data-transfer and export functions MUST not depend on a mandatory annual subscription. Any optional subscription service MUST be clearly identified and priced only in Appendix 2. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Minimum Host Computer Specifications: Tenderers MUST specify the minimum and recommended host-computer specifications for all supplied software, including operating system, processor, memory, storage, screen resolution, USB, Wi-Fi, Bluetooth and GPS requirements. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Quality and Health & Safety |  |
| QC & Validation Requirements & Health & Safety |  |
|  | All equipment supplied under the contract MUST be new, unused, of current production, of sound material and workmanship, robust, free from design or manufacturing defects, and safe when correctly transported, installed, operated and maintained. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The gravity meter, levelling base or tripod, batteries, charger, tablet/controller, cables and transport cases MUST be suitable for repeated indoor and outdoor deployment. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The instrument SHOULD have a rugged enclosure, protected connectors, secure battery compartments, stable support, no exposed sharp edges, and handles or cases that allow safe handling of the operational components by one trained person. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST state the enclosure or ingress-protection rating (or equivalent environmental qualification). Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST state the expected service life. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST state the routine maintenance requirements. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST state any operating limitations relating to rain, dust, condensation, shock, vibration, wind or temperature. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Compliance with all applicable Irish and European Union health and safety legislation, product-safety requirements, quality-assurance procedures and manufacturer protocols is MANDATORY. The complete supplied system, including the instrument, batteries, charger or mains power supply, tablet/controller and wireless components, MUST be lawfully placed on the EU market and CE marked where applicable. A valid EU Declaration of Conformity, identifying the manufacturer, responsible economic operator, product model and applicable legislation, MUST be provided before delivery. Tenderers MUST disclose any component, accessory or intended mode of operation that is outside the scope of the declaration, together with the technical and safety basis for that exclusion. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Goods and Services MUST comply with all necessary standards, i.e. Irish Standards Institution, European Union, CE, International Standards Organisation or other applicable standard the Tenderer MUST, on the request of the buyer, provide a copy of the standard free of charge. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If there are manufacturing defects known to the tenderer, they MUST identify such defects and state their policy regarding the repair of known defects. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The equipment operation MUST be FAT (Factory Acceptance Test) validated prior to shipment to UCC to ensure it meets performance specifications. Validation certificates MUST be provided prior to shipment to UCC. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The supplier shall conduct performance validation of the equipment following delivery to demonstrate that it operates in accordance with the specified performance requirements under intended operating conditions. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST advise if there are any hazards associated with the operation or maintenance of this instrument (e.g. Laser safety, manual handing, chemicals, gases etc.). Please detail and confirm. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer SHOULD, as part of the submission, include copies of any relevant testing or compliance certificates for the equipment. Please confirm compliance and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer MUST provide safety information for all rechargeable batteries and chargers, including applicable transport and test documentation for lithium batteries (for example UN 38.3/IATA compliance where relevant). Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Battery packs MUST include protection against overcharge, over-discharge, short circuit and overheating, and replacement batteries MUST remain available. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Warranty/Spare Parts, After-Sales and Training Support |  |
| Warranty & Customer Support |  |
|  | A minimum warranty of one (1) year MUST be supplied with the complete Microgravity Measurement System and MUST be included as part of the quoted price, to include all hardware, software, spare parts, labour, call outs (72 hour), visit, travel and parts. The warranty MUST cover defects in materials and workmanship. Note: Longer Warranty period is preferable. Please state warranty period provided. Detail specific inclusions and exclusions of warranty. Preventative Maintenance MUST be provided for one year if necessary. Please confirm and detail and outline breakdown in Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | If UCC decide to extend the warranty period, Tenderers are asked to outline cost of any additional warranty. The Tenderer MUST state the details of any extended warranty and details of any associated costs. Detail specific inclusions and exclusions of extended warranty with respect to: the Microgravity Measurement System Years 2, 3 & 4 Please detail specific inclusions and exclusions in the extended warranty options outlined in the Appendix 2 pricing schedule. Note: Pricing MUST only be included in the Further Options – Optional to Purchase, Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. If any options to purchase are available, these are optional to purchase by the Contracting Authority and will not form part of the Cost evaluation. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The Tenderer MUST advise of: - any items/part of the system that require routine replacement during the normal lifetime of the instrument, - the timeframe in which they require replacing and - if such items will be supplied with the instrument or as part of the warranty. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide a description of the arrangements and lead times for guaranteed responses times in the event of equipment breakdown under warranty both in relation to phone support, online/remote support, the provision of technical support, annual service/ maintenance, emergency call-out response, and spare parts. Please detail lead time for arrival on site by a fully trained service engineer during the warranty period (s) and post-warranty. This response time SHOULD be no more than 24 hours via phone call or remote service, and within two (2) working days for onsite repair. Please confirm and detail information on remote diagnostic / Telecom-based service support. Please confirm detailing response times. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Outside of Warranty Period: The Tenderer MUST provide typical prices and lead time for servicing and repairs (including travel, subsistence and price per day) charged outside a warranty/ maintenance contract. Detail specific inclusions and exclusions outside of warranty period. Please confirm and detail. Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. If any options to purchase are available, these are optional to purchase by the Contracting Authority at any time up to 12 months from contract signing and will not form part of the Cost evaluation. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Please outline the company’s Customer Support Proposal and escalation policy. Tenderers MUST describe what process is in place for escalating a call-out, if a breakdown cannot be resolved on the first visit. Please confirm and detail outlining costs, as an optional to purchase, in the Appendix 2 – Pricing Schedule. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. If any options to purchase are available, these are optional to purchase by the Contracting Authority at any time up to 12 months from contract signing and will not form part of the Cost evaluation. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Replacement and Spare Parts & Equipment Consumables |  |
|  | Please indicate the lead-time for parts during the warranty period(s) and post-warranty, with and without service contract options. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | In event of equipment breakdown, the tenderer MUST state the availability and guaranteed minimum response time for spare and replacement parts. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Availability of all spare parts SHOULD be maintained ten (10) years after the warranty period. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Please indicate the availability and lead time of spare part stock centres, with maximum lead-time for any part. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Critical spares MUST be held at a location no more than 48 hours delivery time from UCC. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Recommended spares lists: If applicable, SHOULD be provided by Tenderer. E.g. typical consumables, high-turnover parts. The tenderer MUST supply, where information is available, to the buyer a schedule of spare parts showing in tabular form or, otherwise, the following information on OEM parts: - Names and address of all OEM suppliers - Part Name - Part Description - OEM Supplier Part Number. This MUST include typical consumables and high turnover parts. Prices provided for consumable items/parts MUST be valid for a minimum of one (1) year. Please detail in Appendix 2, Pricing Schedule- Consumables & Spare Parts tab. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. This is for information only and will not form part of the Cost evaluation. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Sufficient consumable parts MUST be supplied for the initial training. These consumable parts MUST be provided free of charge. Prices provided for consumable items/parts MUST be valid for a minimum of one (1) year. Please confirm and detail outlining costs in the Appendix 2 – Pricing Schedule- Additional Pricing Request tab. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Training and Technical Support Proposal |  |
|  | The tenderer MUST specifically outline the level and duration of application support offered with the instrument where “application support” refers to the expert technical support (on-line or on-site) available from the manufacturer for using the instrument in novel research applications. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Following the delivery of the Microgravity Measurement System, the tenderer MUST provide on-site or online training for a minimum for up to three (3) UCC personnel by fully qualified personnel. The operator training for the UCC personnel MUST cover safe handling, start-up and stabilisation, levelling, field measurement, survey setup, data download, quality control, routine calibration, battery management, transport and basic troubleshooting. Training MUST be completed within three (3) Weeks, or earlier, of delivery. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST provide a summary of scheduled maintenance and calibration required to keep instrument working to the full specification as per manufactures recommendations. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Relevant training and maintenance manuals in English MUST be provided in soft copy with the system. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST describe technical training, covering routine maintenance, troubleshooting, and calibration procedures. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST confirm provision of initial operator training. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST describe any advanced training materials available. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers SHOULD describe advanced training programs or certifications for in-depth system servicing or measurement expertise. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers SHOULD provide access to online support resources, including FAQs, software tutorials, and troubleshooting guides. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers SHOULD describe ongoing technical support availability, including hours, remote diagnostics, and escalation procedures. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Delivery Plan |  |
| Lead Time & Delivery |  |
|  | The Microgravity Measurement System SHOULD be delivered within six (6) weeks of receipt of Purchase Order. Please state the exact number of weeks for delivery. A range of weeks is not acceptable. (Note that shorter delivery time is highly desirable and will be scored favourably). - Tenderers MUST provide full details of lead times for the delivery of equipment including installation, commissioning & validation (if applicable), from receipt of the purchase order. - Tenderers MUST provide the facility requirements to UCC a minimum of four (4) weeks in advance of the equipment delivery. - Tenderers MUST provide advance notice, four (4) weeks of any requirements for tool unloading, number of containers and weight of each. Height, length and width of containers/ crates to be provided as well. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST specify the total shipping footprint, packaged dimensions, gross shipping weight and all access-clearance requirements from the point of delivery to the intended UCC storage/commissioning area. The packaged system SHOULD be transportable through standard building doors and corridors. As a guide, the principal shipping package SHOULD not exceed approximately 1.00 m x 1.00 m x 0.8 m and 30 kg. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Delivery MUST include all shipping charges, insurance, customs clearance and all aspects as outlined in DAP (Delivery At Place) incoterms. Delivery MUST be to UCC: Office 3.22, Kane Building, University College Cork, College Road Cork, Ireland Advance notice MUST be given, two (2) weeks of any requirements for tool unloading, number of containers and weight of each. Height, length and width of containers/crates MUST also be provided. Note: Pricing MUST only be included in the Appendix 2 Pricing Schedule. No pricing is to be included in this Appendix 1 document. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide details of the logistics/supply chain to the point of customer delivery, i.e. where the goods will come from, how the goods will be transported and what borders the goods will cross. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide details of actions that have been taken to ensure the future timely supply and delivery of goods and services, including ongoing supply of replacement/spare parts and consumables. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | The tenderer MUST provide details of their contingency plans for any changes in the delivery programme (alternative sources/routes of supply) for any delays in delivery should they arise. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Installation Commissioning, Calibration & Validation |  |
|  | The supply of all electrical items MUST be in full accordance with, but not limited to, European standards / regulations and all relevant amendments. Please provide electrical requirements for operation and approximate power consumption. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Tenderers MUST specify the total footprint and the access clearance requirements for transportation, including packaging from point of delivery to the laboratory. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| Documentation |  |
|  | A maintenance manual for the system MUST be provided to include the following: - Cleaning requirements service - Maintenance requirements. - Equipment’s risk assessment and user safety instructions. - Manuals MUST be supplied in English language. Manuals MUST be provided in hard and softcopy where possible. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | Training materials and complete English-language user and service documentation MUST be supplied electronically and in hard copy where available. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
|  | A Technical Specification for the Unit MUST be provided covering all major components of the system. The specification MUST be supplied in the English language and at least as soft copy. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Energy & Environmental |  |
| Energy & Environmental Considerations |  |
| E1 | Please outline your company’s commitment to the sustainable life cycle of the tendered equipment in a manner that minimises adverse environmental impacts. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E2 | Energy & Environmental Requirements: The Contracting Authority requires the equipment provided to be as energy and economically efficient as possible. The Microgravity Measurement System equipment SHOULD have low running costs allowing the equipment to be as energy & economically efficient as possible. Please provide details on any “warm-up” times required for the equipment to operate to specification. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E3 | Tenderers SHOULD provide details of any takeback arrangements they may offer when the equipment reaches end of life and how that may be availed of. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E4 | Tenderers SHOULD indicate typical Energy Consumption during operational time while the equipment is in use. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E5 | Where possible, use of a standby mode/reduced power mode of operation when the system is not in use. The tenderer SHOULD specify the stand-by energy consumption. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E6 | It is DESIRABLE that all Tender requirement is delivered using environmentally friendly Packaging Materials; packaging, tape, labels and stretch wraps. Ideally, this packaging SHOULD avoid any single use plastic and be recovered or at a minimum reusable. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E7 | Tenderers SHOULD provide details of expected lifetime of the equipment required. Tenderers must state how long the model of equipment has been on the market and indicate the expected working life of the proposed models and longevity of equipment, etc. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| E8 | The tenderer MUST confirm no room environmental control is required for the normal operation of the Microgravity Measurement System and that it can perform regular room temperature and humidity conditions. Please confirm and detail. |
|  | Confirm (Yes / No) |
|  | Insert Comment |
| - Ultimate Cost. (Refer to Appendix 2: Pricing Schedule for Completion) |  |

Notes to Tenderer

Risk and Title Any equipment provided in this contract shall be with an unencumbered title and the Contracting Authority reserves the right to use any successfully contracted equipment for any purpose including commercial purposes as it may require

TAXATION – RCT Relevant Contracts Tax (RCT) is a withholding tax system that operates in the construction sector. Where a principal contractor in that sector makes a “relevant payment” to a subcontractor, RCT must be operated. Please be advised that University College Cork (“UCC”) is a principal contractor for RCT purposes. If the equipment provided to UCC are deemed to fall within the scope of RCT, then UCC will be obliged to withhold this tax and pay it over to Irish Revenue. There are three withholding tax rates in the new electronic RCT system: 0%, 20% & 35%. In general, the 35% rate will be applied to subcontractors who are not known to Irish Revenue and to subcontractors where Irish Revenue consider that these subcontractors have compliance issues which have not been addressed. Please note that this is a complex area and it will not always be obvious from the outset as to whether a particular contract might fall within the scope of RCT. This will be dependent on the circumstances relating to each specific contract awarded. In some instances, contracts relating to the supply and installation of equipment may fall within the scope of RCT. For more information on RCT, please see links to the Irish Revenue website below: - RCT for subcontractors - RCT for non-resident subcontractors

  - Authorised Signatory

This form must be completed and signed by an authorised officer of the tenderer’s organisation.

- This offer will remain open for acceptance by you for a period of 180 days from the date of deadline for submission of tenders.

- I/ We acknowledge that you are not obliged to accept the lowest or any offer.

- I/We undertake to deliver the products/services in accordance with the terms and conditions of the tender specification.  The Goods supplied MUST comply with the express terms of the Contract and all implied conditions, warranties and terms contained in the Sale of Goods Act of the Republic of Ireland, as applicable to the Contract and as amended by any related statutes, and any statutory re-enactment(s) or modification(s) thereof.

- I/We undertake to maintain full confidentiality with regard to all aspects of this tender process.

| Signed: |  | Position: |  |
| --- | --- | --- | --- |
| Print Name: |  | Phone No: |  |
| Company Name: |  | Date: |  |
| Address: |  |  |  |
| Email: |  |  |  |

# SECTION 4    TENDERER RESPONSE CHECKLIST

| # 4.0 Tenderer Response Checklist. |  |  |  |  |
| --- | --- | --- | --- | --- |
| I confirm that I have completed the Declaration re Statutory Obligations | Yes |  | No |  |
| I confirm that I have completed the Response to Selection Criteria in this document. | Yes |  | No |  |
| I confirm that I have completed the responses to the Award Criteria as per Section 3 of this document. | Yes |  | No |  |
| I confirm that I have completed the responses to the Technical Specification Section 3 (Appendix 1) of the TRD document. | Yes |  | No |  |
| I confirm that I have completed Appendix 2 - Pricing Schedule (attached in Excel) | Yes |  | No |  |
| I confirm that I have completed the Tenders Statement, Appendix 3 in TRD | Yes |  | No |  |
| I confirm that I have completed the Financial Statements Schedules A, B, C, D & E of Appendix 3A in RFT. | Yes |  | No |  |
| I confirm that I have completed the Declaration to Personal Circumstances, Appendix 4 in RFT. | Yes |  | No |  |

| Note Re File Uploads to eTenders |  | Please tick ü |  | Please tick ü |
| --- | --- | --- | --- | --- |
| Please ensure that files are named and zipped before uploading. This is to allow the encryption process to only encrypt the overall file name, and the filenames inside the zip will maintain their original title. | YES |  | NO |  |

Document end.