Marine Institute, Rinville, Oranmore, Co. Galway

REF: MI-CFT26-030

Request for Tenders for the provision of Annual Preventative Maintenance and Technical support for a LC-MS/MS Equipment Marine Institute, Rinville, Oranmore, Co. Galway

Tender procedure:  Open procedure

Tender Deadline: 10:00am Wednesday 30th September 2026

Contents
__________________________________________________

Part 1:		Introduction

Part 2:		Instructions to Tenderers

Part 3:		Selection and Award Criteria

Appendix 1:	Requirements and Specifications

Appendix 2:	Pricing Schedule

Appendix 3:	Tenderer’s Statement

Appendix 4:	Declaration as to Personal Circumstances of Tenderer

Appendix 5:	Draft Services Contract

Part 1:  Introduction

__________________________________________________

The Marine Institute is Ireland’s scientific agency responsible for supporting the sustainable development of the state’s maritime area and resources. We do this through conducting applied research and providing scientific knowledge, advice and services to government, industry and other stakeholders and users.

The Institute was set up under the 1991 Marine Institute Act with the following general functions:

“to undertake, to co-ordinate, to promote and to assist in marine research and development and to provide such services related to marine research and development, that in the opinion of the Institute will promote economic development and create employment and protect the environment.” – Marine Institute Act, 1991

General information on the Marine Institute is also available at www.marine.ie

Marine Environment & Food Safety Services (MEFSS) focuses on ensuring consumer protection through seafood safety monitoring/testing services; providing monitoring services in support of protection of marine environmental legislation/obligations; and providing advisory services in support of sustainable development and management of the marine environment. This work is delivered via three core functions: Monitoring, Advice and Technical Support, and Research.

The Chemistry Unit - Residue of MEFSS carry out the analysis of analyses of veterinary residues under the National Residues Risk Based Control Plan for Aquaculture to comply with Eu legislation to monitor certain substances and residues thereof in live animals and animal products. The MI are the National Reference Laboratory (NRL) for certain residue and operate within the EU network of NRLs which is led by the EU Reference Lab. The LCMSMS system which will be supported by the preventative maintenance and service contract is used primarily to carry out screening and confirmatory analyses of veterinary residues under the National Residues Risk Based Control Plan for Aquaculture The equipment is also used for other applications including the analysis of environmental contaminants in marine matrices as well as to support applied research carried out by the Marine Institute

  - The Marine Institute invites tenders (“Tenders”) to this request for tenders (“RFT”) from economic operators (“Tenderers”) for the provision of the services as described in Appendix 1 to this RFT (the” Services”).

  - In summary, the Services comprise: Annual preventative maintenance and technical support for Thermo Fisher LC-MS.MS system to cover all travel, labour and parts for instruments detailed in Appendix 1

  - Not used

  - This public procurement competition (the “Competition”) will be conducted in accordance with the open procedure under the European Union (Award of Public Authority Contracts) Regulations 2016 (Statutory Instrument 284 of 2016) (the “Regulations”).  Any contract that may result from this Competition (the “Services Contract”) will be issued for a term of Five (05) years (“the Term”).

  - The Marine Institute reserves the right to extend the Term for a period or periods of up to Twelve (12) months with a maximum of two (02) such extension or extensions on the same terms and conditions, subject to the Marine Institute’s obligations at law

  - “Not used”

1.7	Marine Institute policy seeks to encourage participation on a fair and equal basis by Small and Medium Enterprises (“SME” s) in this Competition.  SME’s that believe the scope of this Competition is beyond their technical or business capacity are encouraged, subject to paragraph 2.5, to explore the possibilities of forming relationships with other SMEs or with larger enterprises.  Through such relationships they can participate and contribute to the successful implementation of any Services Contract that may result from this Competition and therefore increase their social and economic benefits.

Larger enterprises are also encouraged, subject to paragraph 2.5, to consider the practical ways that SMEs can be included in the proposals to maximise the social and economic benefits of any Services Contracts that may result from this Competition.

Part 2: Instructions to Tenderers

2.1	IMPORTANT NOTICES

2.1.1	While every effort has been made to provide comprehensive and accurate information in all notices and documents prepared for the purposes of this Competition, the Marine Institute does not accept any liability or provide any express or implied warranty in respect of any such information.  Tenderers must form their own conclusions about the solution needed to meet the requirements set out in the RFT and may wish to consult their legal advisers.

2.1.2	The Marine Institute does not bind itself to accept the lowest priced or any Tender.  This RFT does not constitute an offer or commitment to enter into a Services Contract.

No contractual rights in relation to the Marine Institute will exist unless and until a formal written Services Contract has been executed by or on behalf of the Marine Institute.

Any notification of preferred bidder status by the Marine Institute shall not give rise to any enforceable rights by the Tenderer.

The Marine Institute may cancel this Competition at any time prior to a formal written Services Contract being executed by or on behalf of the Marine Institute.

The award of a Services Contract does not confer exclusivity on the successful Tenderer.

2.1.3	This RFT supersedes and replaces any and all previous documentation, communications and correspondence between the Marine Institute and Tenderers, and Tenderers should place no reliance on such previous documentation and correspondence.

2.1.4	In this clause 2.1.4, “Data Protection Laws” means all applicable national and EU data protections laws, regulations and guidelines including but not limited to Regulation (EU) 2016/679 on the protection of natural persons with regard to the processing of personal data and on the free movement of such data, and repealing Directive 95/46/EC (the “General Data Protection Regulation”), and any guidelines and codes of practice issued by the Office of the Data Protection Commission or other supervisory authority for data protection in Ireland from time to time.

The Marine Institute will be a Data Controller (where Data Controller has the meaning given under the Data Protection Laws) in respect of any Personal Data (where Personal Data has the meaning given under the Data Protection Laws) required to be provided by the Tenderer in response to this RFT.

The Tenderer, as Data Controller in respect of any Personal Data provided by it in its Tender, is required to confirm in the statement required under paragraph 2.4 below that all Data Subjects (where Data Subject has the meaning given under the Data Protection Laws) whose Personal Data is provided by the Tenderer have consented to the processing of such Personal Data by the Tenderer, the Marine Institute, the Evaluation Team and the supplier of the etenders.gove.ie website, for the purposes of the participation of the Tenderer in this Competition or that the Tenderer otherwise has a legal basis for providing such Personal Data to the Marine Institute for the purposes of its participation in this Competition.

2.2 	COMPLIANT TENDERS

2.2.1	If a Tenderer fails to comply in any respect with the requirements of this paragraph 2.2.1, the Marine Institute reserves the right to reject the Tenderers Tender as noncompliant or, without prejudice to this right and subject to its obligations at law, to take any other action it considers appropriate including but not limited to:

- Seeking written clarification from the Tenderer;

- Seeking further information from the Tenderer; or

- Waiving a requirement, which in the Marine Institute’s view, is non-material or procedural.

Tenders are required:

- To complete and submit with their Tender the electronic version of the European Single Procurement Document (“eESPD”).  Tenderers may submit an eESPD which has already been used in a previous procurement procedure PROVIDED THAT they confirm that: (i) the information contained in it continues to be correct and (ii) that they satisfy the Selection Criteria for this Competition as set out at part 3.2 below;

- To submit all documentation which this RFT requires to be submitted with their Tender;

- To follow the format of this RFT and respond to each element in the order as set out in the RFT;

- To conform to and comply with all instructions and requirements set out in this RFT;

- To submit the statement required under paragraph 2.4 below; and

- Not to alter or edit this RFT in any way.

2.2.2	Without prejudice to the generality of paragraphs 2.2.1, failure to comply with paragraph 2.6.1, 2.6.2 or 2.6.3 below will render the Tender non-compliant and it will be rejected.

2.3	SERVICES CONTRACT

2.3.1	Tenderers should note the terms and conditions of the Services Contract at Appendix 5 to this RFT.

2.3.2	Tenderers are required to confirm their acceptance of the terms and conditions of the services contract by signing the Tenderer’s Statement at Appendix 3.  Tenderers may not amend the Services Contract

2.4	ACCEPTANCE OF RFT REQUIREMENTS

Each Tenderer is required to accept the provisions of this RFT.  ALL TENDERS MUST RETURN, with their Tender, a scanned signed copy of the Tenderer’s Statement, as set out in Appendix 3.

2.5	CONSORTIA AND PRIME/SUBCONTRACTORS

Where a group of undertakings (in whatever form and regardless of the legal relationship between them) come together to submit a Tender in response to this RFT, the Marine Institute will deal with all matters relating to this Competition through a single nominated entity authorised to represent all members of the group of undertakings. The Tenderer must provide details of all members of the group of undertakings and their role in the Tender and clearly set out the contact details including name, title, telephone number, postal address, facsimile number and e-mail address of the nominated entity authorised to represent the Tenderer and to whom all communications shall be directed and accepted until this Competition has been completed or terminated.  Correspondence from any other person will NOT be accepted, acknowledged or responded to.

Prior to and as a condition of award of any Services Contract, the successful Tenderer shall be required to designate a single entity who will carry overall responsibility for the Services Contract (the “Prime Contractor”), irrespective of whether or not tasks are to be performed by a subcontractor or other consortium member (the “Subcontractor”).

2.6	TENDER SUBMISSION REQUIREMENTS

2.6.1	Tenders must be submitted via the electronic postbox available of www.etenders.gov.ie

Only Tenders submitted to the electronic postbox will be accepted.  Tenders submitted by any other means (including but not limited to by email, fax, post or hand deliver) will NOT be accepted.

Tenderers must ensure that they give themselves sufficient time to upload and submit all required tender documentation before the Tender Deadline (as defined in paragraph 2.6.2).  Tenderers should take into account the fact that upload speeds vary.  There is a maximum of 4GB for the total (combined) documents sent to the electronic postbox.

In order to submit a document to the electronic postbox, please note that you must click “Submit Response”.  After submitting you can still modify and re-send your response up until response deadline.  Tenderers should be aware that the “Submit Response” button will be disabled automatically upon the expiration of the response deadline.

2.6.2	Tenders must be received not later than 10:00am on Wednesday 30th September 2026 (the “Tender Deadline”).  Tenders that are received late WILL NOT be considered in this Competition

2.6.3	Tenders must be submitted in English,

2.6.4	Subject to paragraph 2.14 and 2.18, each Tenderer is limited to submitting one Tender in its own capacity and Tender as part of a consortium/group of undertakings under this RFT.

2.6.5	All Tenders submitted in soft copy must be compiled such that they can be read immediately using Word, PDF or Excel. The Marine Institute is not responsible for corruption in electronic documents.  Tenderers must ensure electronic documents are not corrupt.

2.7	QUERIES AND CLARIFICATIONS

2.7.1	All queries relating to any aspect of this Competition or of this RFT must be directed to the messaging facility on www.etenders.gov.ie .  Queries will be accepted no later than 10 working days before the deadline for tender submissions for EU tenders unless otherwise published by the Marine Institute. For the avoidance of doubt, Tenderers may not contact the Marine Institute directly regarding any aspect of this Competition.

2.7.2	All responses to queries will be issued by the Marine Institute via the messaging facility on www.etenders.gov.ie.  Where appropriate, queries may be amalgamated.  Tenderers should note that the Marine Institute will not respond to individual Tenderers privately.

2.7.3	The Marine Institute reserves the right to issue or seek written clarifications.

2.7.4	The Marine Institute reserves the right up to 5 working days before the closing date of the Tender Deadline, to update or amend the information contained in this document.  The Marine Institute may notify tenderers of an extension to the Tender Deadline up to one working day before the closing date. Participating Tenderers will be informed of any such amendments or extension through the eTenders website.

2.7.5	Tenderers should ensure that they register their interest in this Competition, by clicking on the “Accept” button on www.etenders.gov.ie , in order to receive all responses to queries and other updates in relation to this Competition.

2.8 	TENDERING COSTS

2.8.1	All costs and expenses incurred by Tenderers relating to their participation in this Competition including, but not being limited to, site visits, field trials, demonstrations and/or presentations shall be borne by and are a matter for discharge by the Tenderers exclusively.

2.9	CONFIDENTALITY

2.9.1	All documentation, data, statistics, drawings, information, patterns, samples or material disclosed or furnished by the Marine Institute to Tenderers during the course of this Competition:

(a)	are furnished for the sole purpose of replying to this RFT only;

(b)	may not be used, communicated, reproduced or published for any other purpose without the prior written permission of the Marine Institute

(c)	shall be treated as confidential by the Tenderer and by any third parties (including subcontractors) engaged or consulted by the Tenderer; and

(d)	must be returned immediately to the Marine Institute upon cancellation or completion of this Competition if so requested by the Marine Institute.

2.10	PRICING

2.10.1	All Tenderers must complete the Pricing Schedule at Appendix 2 to this RFT.

2.10.2	All prices quoted must be all-inclusive (i.e. including but not being limited to shipping, packaging, delivery, ancillary costs and all other costs/expenses), be expressed in Euro only and exclusive of VAT.  The VAT rate(s) where applicable should be indicated separately. Please see A1 in Appendix 1

2.10.3	Tenderers must confirm that all prices quoted in the Tender will remain valid for 120 days for EU Tender commencing from the Tender Deadline. NOTE: This validity period may be extended by agreement between the Marine Institute and awarded / participating tenderers.

2.10.4	Any currency variations occurring over the term of the Services Contract shall be borne by the Tenderer.

2.10.5	Payments for Services provided pursuant to this RFT shall be subject to and made in accordance with the Services Contract at Appendix 5 to this RFT.

2.10.6	Not Used

2.11	ENVIRONMENTAL, SOCIAL AND LABOUR LAW

2.11.1	In the performance of any Services Contract awarded, the successful Tenderers and their Subcontractors (if any), shall be required to comply with all applicable obligations in the field of environmental, social and labour law that apply at the place where the services are provided, that have established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Schedule 7 of the Regulations.

2.11.2	Tenderers shall be required to include an undertaking to comply fully with the provisions of Council Directive 2001/23/EC of 12 March 2001 on the approximation of the laws of the Member States relating to the safeguarding of employees’ rights in the event of transfers of undertakings, business or parts of undertakings or business and as implemented in Irish law by Statutory Instrument No.131 of 2003, the European Communities (Protection of Employees on Transfer of Undertakings) Regulations 2003 and to indemnify the Marine Institute for any claim arising or loss or costs incurred as a result of its failure or incapacity to fulfil its obligations under the said Directive and Statutory Instrument.

2.11.3	The Protection of Employees (Temporary Agency Work) Act 2012 (the “2012 Act”) provides that an Agency Worker (as defined in the 2012 Act) is entitled to the same basic working and employment conditions as those which apply to employees recruited directly by the Hirer (as defined in the 2012 Act) to do the same or a similar job.  Where the provision of the Services will involve the provision to the Marine Institute of Agency Workers (within the meaning of the 2012 Act), Tenderers should ensure that they consider their obligations under the 2012 Act when pricing their Tender.  The Marine Institute shall have no liability for any increase in salaries that may be payable as a result of the application of the 2012 Act to the provision of the Services.

2.12	PUBLICITY

No publicity regarding this Competition or any Services Contract pursuant to this Competition is permitted unless and until the Marine Institute has given its prior written consent to the relevant communication.

2.13 	REGISTRABLE INTEREST

Any Registrable interest involving any Tenderer or Subcontractor and the Marine Institute, members of the Government, members of the Oireachtas, or employees and officers of the Marine Institute and their relatives must be fully disclosed in the Tender or, in the event of this information only coming to the notice of the Tenderer or Subcontractor after the submission of a Tender, just be communicated to the Marine Institute immediately upon such information becoming known to the Tenderer or Subcontractor.

The terms “Registrable Interest” and “Relative” shall be interpreted as per Section 2 of the Ethics in Public Office Acts 1995 and 2001, copies of which are available at www.irishstatutebook.ie.  The Marine Institute will, at its absolute discretion, decide on the appropriate course of action, which may in appropriate circumstances include eliminating a Tenderer from this Competition or terminating any Services Contract entered into by a Tenderer.

2.14	ANTI-COMPETITIVE CONDUCT

Tenderers’ attention is drawn to the Competition Act 2002 (as amended, the “2002 Act”).  The 2002 Act makes it a criminal offence for Tenderers to collude on prices or terms in a public procurement competition.

2.15	INDUSTRY TERMS USED IN THIS RFT

Where reference is made to a particular item, source, process, trademark, or type in this RFT then all such references are to be given the meaning generally understood in the relevant industry and operational environment.

2.16 	FREEDOM OF INFORMATION

2.16.1	Tenderers should be aware that, under the Freedom of Information Act 2014 and the European Communities (Access to Information on the Environment) Regulations 2007 to 2014, information provided by them during this Competition may be liable to be disclosed.

2.16.2	Tenderers are asked to consider if any of the information supplied by them in their Tender should not be disclosed because of its confidentiality or commercial sensitivity.  If Tenderers consider that certain information is not to be disclosed because of its confidentiality or commercial sensitivity, Tenderers must, when providing such information, clearly identify the specific sections of their Tender containing such information and specify the reasons for its confidentiality or commercial sensitivity.  For the avoidance of doubt Tenderers may not assert confidentiality or commercial sensitivity over the entire Tender but must clearly identify the specific section containing such information.  If Tenderers do not identify information as confidential or commercially sensitive, it is liable to be released in response to a request under the above legislation without further notice to or consultation with the tenderer.  The Marine Institute will, where possible, consult with Tenderers about confidential or commercially sensitive information so identified before making its decision on a request received.  The Marine Institute accepts no liability whatsoever in respect of any information provided which is subsequently released (irrespective of notification) or in respect of any consequential damage suffered as a result of such obligations.

2.17	TAX CLEARANCE

It will be a condition of any Services Contract pursuant to this Competition that the successful Tenderer(s) shall, for the term of such contract(s), comply with all applicable EU and domestic tax laws.  Tenderers are referred to www.revenue.ie for further information.  Prior to the award of any Services Contract arising out of this Competition the successful Tenderer shall be required to supply its Tax Clearance Access Number and Tax Reference Number to facilitate online verification of their tax status by the Marine Institute. By supplying these numbers, the successful Tenderer acknowledges and agrees that the Marine Institute has the permission of the successful Tenderer to verify its tax cleared position online.

2.18 	CONFLICTS OF INTEREST

Any conflict of interest or potential conflict of interest on the part of a Tenderer, Subcontractor or individual employee(s) or agent(s) of a Tenderer or Subcontractor(s) must be fully disclosed to the Marine Institute as soon as the conflict or potential conflict is or becomes apparent.  Tenderers are required to declare that the preparation of their Tender was carried out independently.  In the event of any actual or potential conflict of interest, the Marine Institute may invite Tenderers to propose means by which the conflict of interest might be removed and in circumstances where there are links between Tenderers, the Marine Institute may seek further information to confirm the Tenders have been prepared independently.  The Marine Institute will, at its absolute discretion, decide on the appropriate course of action, which may in appropriate circumstances include eliminating a Tenderer from this Competition or any Mini-Competition or terminating any Framework Agreement or Services Contract entered into by a Tenderer.

2.19	WITHDRAWAL FROM THIS COMPETITION

Tenderers are required to notify the Marine Institute immediately via the e-tenders website, if at any stage they decide to withdraw from this Competition.

2.20 	SITE VISIT

2.20.1 	Not used

2.20.2	Not used

2.21	INSURANCE

2.21.1	The successful Tenderer shall be required to hold for the term of the Services Contract the following insurances:

| Type of Insurance Indemnity Limit |  |
| --- | --- |
| Employers’s Liability | €13 million |
| Public Liability | €6.5million |
| Product Liability | €6.5million |

2.21.2	By signing the Tenderer’s Statement at Appendix 3, Tenderers confirm that, if awarded a Services Contract under this Competition, (i) they will, from the Effective Date of the Services Contract (as defined in the Services Contract), obtain and hold the types and levels of insurance as specified at paragraph 2.21.1, (ii) the territorial limits and jurisdiction of its insurance policies include Ireland and (iii) they are not aware of any exclusions, restrictions, conditions or warranties or, in the case of policies with an aggregate limit of indemnity, any outstanding claims, which could have a material adverse impact on the level of coverage specified above.  A formal confirmation from the Tenderer’s insurance company or broker to this effect will be requested from the successful Tenderer(s) prior to the award of (and shall be a condition of) any Services Contract.

2.21.3	The successful Tenderer will during the term of the Services be required to:

(a)	immediately advise the Marine Institute of any material change to its insured status;

(b)	produce proof of current premiums paid upon request;

(c)	produce valid certificates of insurance upon request.

Part 3: 	Selection and Award Criteria

__________________________________________________

3.1	COMPLIANT TENDERS

3.1	Only those Tenderers who have: -

(a)	Submitted compliant Tenders pursuant to paragraph 2.2 above, and

(b)	Declared by way of eESPD that either:

(i)	no mandatory grounds for exclusion of the Tenderer pursuant to Regulation 57 of the Regulations apply to them, or

(ii)	in circumstances where any mandatory exclusion grounds apply to the Tenderer (and where the Tenderer is not precluded from doing so under Regulation 57 (17) of the Regulations), that it can provide evidence to the effect that measures taken by it are sufficient to demonstrate its reliability despite the existence of any such relevant exclusion ground, and

(c)	Declared by way eESPD that they satisfy the selection criteria for this Competition as set out in part 3.2 below (the “Selection Criteria”), will be evaluated in accordance with the Award Criteria at part 3.3 below.

However, please note that the Marine Institute also reserves the right to exclude from evaluation a Tenderer to whom a discretionary ground for exclusion pursuant to Regulation 57 of the Regulations applies.

Tenderers should note that where a Tenderer is relying on the capacity of other entities (for example, Subcontractors) for the purposes of fulfilling any of the Selection Criteria in part 3.2 below it must ensure that each such entity:

- completes and submits a separate eESPD in respect of each such entity,

and

- when requested by the Marine Institute, submit proof, to the satisfaction of the Marine Institute, that each such entity will place the necessary resources at the disposal of the Tenderer.

The Marine Institute may decide to examine Tenders before verifying the absence of exclusion grounds in Regulation 57 of the Regulations (the “Exclusion Grounds”) and the fulfilment of the Selection Criteria.

However, notwithstanding anything to the contrary in this part 3.1, the Marine Institute reserves the right to ask Tenderers at any moment during the Competition to submit any or all of the following for the purposes of verification of the status of the Tenderer (including the Prime Contractor and any Subcontractor):

- A Declaration in the form attached at Appendix 4;

- Evidence to the effect that measures taken by the entity concerned are sufficient to demonstrate its reliability despite the existence of a relevant Exclusion Ground; and

- In the case of the Prime Contractor and any Subcontractor on whose capacity the Prime Contractor relies, all or any of the supporting documents specified at paragraph 3.2 below

If a Tenderer does not, upon request by the Marine Institute, provide evidence which is considered by the Marine Institute as sufficient to demonstrate (i) its fulfilment of the Selection Criteria (or any one of them) in accordance with this RFT and (ii) the absence of Exclusion Ground, it shall be excluded from further participation in this Competition.

If a Tenderer does not, upon request by the Marine Institute, provide evidence which is considered by the Marine Institute as sufficient to demonstrate (i) the fulfilment by any Subcontractor on whose capacity the Prime Contractor relies of the Selection Criteria (or any one of them) in accordance with this RFT and (ii) the absence of Exclusion Grounds in respect of any Subcontractor, or the reliability of any Subcontractor despite the existence of a relevant Exclusion Ground, it shall be excluded from further participation in this Competition unless it replaces the Subcontractor with one which meets all relevant requirements of this RFT.

3.2	SELECTION CRITERIA

3.2	Tenderers will either pass OR fail each of the Selection Criteria in this part 3.2.  A Tenderer who fails a selection criterion will be excluded from participating in this Competition.

3.2.A 	Economic and Financial Standing

Tenderers must declare by way of eESPD that they satisfy the financial and economic standing requirements(s) set out below and that they are able, upon request and without delay, to provide the supporting documentation specified below to the Marine Institute in each case.

- Audited accounts for the last three financial years

- Annual Turnover of at least €210,000 for each of the last 2 years

NOTE: evidence of the above is not required at submission stage. Tenderers are only required to provide the supporting documentation specified above if expressly requested by the Marine Institute.  Such a request is at the discretion of the Marine Institute. Where the Tenderer is unable, for a valid reason, to provide the specified requested documentation, the Tenderer must inform the Marine Institute of the valid reason as to why the documentation cannot be supplied and, if the Marine Institute considers the reason given to be valid, provide such other suitable alternative documentation to prove, to the satisfaction of the Marine Institute, their economic and financial capacity.

3.2.B 	Technical and Professional Ability

Tenderers must declare by way of eESPD that they satisfy the technical and professional requirement(s) set out below and that they are able, upon request and without delay, to provide the supporting documentation specified below to the Marine Institute in each case.

|  | Technical and Professional Ability | Weighting |
| --- | --- | --- |
| 1 | The Marine Institute have an estimated contract commencement date of the 9th February 2027. This is a PASS/FAIL requirement. Please confirm the tenderer’s ability to meet this requirement. | Pass/Fail |
| 2 | The Service Provider MUST be able to tender for ALL the equipment in that Lot (Ref Appendix 1- Table 1). This is a PASS/FAIL requirement. Please confirm the tenderer’s ability to meet this requirement. | Pass/Fail |
| 3 | Access to parts and software. Confirmation that only genuine Waters and PEAK parts, components and software are being proposed in your solution. This is a PASS/FAIL requirement. Please confirm the tenderer’s ability to meet this requirement. | Pass/Fail |
|  | Technical Support and Preventative Maintenance. Confirmation that ALL technical requirements listed in Appendix 1 can be met by your proposed solution. This is a PASS/FAIL requirement. Please confirm the tenderer’s ability to meet this requirement. | Pass/Fail |
| 4 | Due to the nature of this hyphenated technique (LC-MS/MS) it is a requirement that the successful service provider will provide technical support services and perform a full preventative maintenance annually for both liquid chromatography and mass spectrometry system themselves and not subcontract any part of this aspect of the service except for exceptional circumstances and by agreement in advance with the laboratory e.g. repair of a computer. Servicing of the supporting nitrogen generator and perform a full preventative maintenance is also required annually as part of this contract. This aspect may be subcontracted. This is a PASS/FAIL requirement. Please confirm the tenderer’s ability to meet this requirement. | Pass/Fail |
| 5 | Third Party or Refurbished Equipment/Equipment Parts MUST NOT be used during the service/repair of any laboratory equipment. Only ‘Manufacturers Own Brand’ New Parts MUST be used. This is a PASS/FAIL requirement. Please confirm the tenderer’s ability to meet this requirement. | Pass/Fail |
| 6 | A summary outlining a record of similar contracts provided within the last three years, together with a record of customers to whom we can refer MUST be provided. This record of references MUST include ALL Irish Public Sector organisations who were customers in the previous five years including Marine Institute. This is a PASS/FAIL requirement. Please confirm the tenderer’s ability to meet this requirement. | Pass/Fail |

Tenderers must provide the supporting documentation specified above without delay when requested by the Marine Institute.

3.3	AWARDS CRITERIA

3.3.1	The Services Contract will be awarded on the basis of the most economically advantageous tender(s) as identified in accordance with the tender criteria.

IMPORTANT NOTICE – Tenderers should read and complete Appendix 1 when responding to this section of the CFT.  A total of 60 marks will be awarded in this phase.  Please note respondents may only proceed to Financial Evaluation if they:

Obtain 60% or more of the total available marks in this section; AND

Obtain 50% or more of the marks available for each individual criterion listed below.

If fewer marks than specified above are obtained, tenders will be eliminated.

| No | Contract Management and Service Delivery | Maximum Score | Minimum Score required |
| --- | --- | --- | --- |
|  | Technical Merit |  |  |
| A1- A21 | - Service Contract (A1 – A8) (20) - Preventative Maintenance (A9 - A12) (10) - Response Times (A13 - A15) (20) - Account Management (A16 - A19) (5) - Sustainability (A20 – A21) (5) | 60 | 30 |
|  | MAXIMUM POINTS | 60 | 36 |

Financial Evaluation:

If tenderers achieve sufficient scores in the criteria above, they will then be evaluated based on cost.

| No | Criteria | Maximum Score |
| --- | --- | --- |
| A22 | Cost Please complete Appendix 2 Pricing Schedule. | 40 |
|  | Total | 40 |

3.3.2	Subject to paragraphs 2.1 (important Notices) and 3.5 (Standstill Period) of this RFT, award of the Services Contract to the highest ranked Tenderer (as determined by paragraph 3.3.1) will be conditional upon:

- The Tenderer submitting the following evidence in respect of the Tenderer (including the Prime Contractor and any Subcontractors, as applicable in accordance with paragraph 3.1 above) to the extent not already provided, within seven (07) days of request by the Marine Institute:

- a Declaration in the form attached at Appendix 4;

- if applicable, evidence to the effect that measures taken by the entity concerned are sufficient to demonstrate its reliability despite the existence of a relevant Exclusion Ground; (iii)all or any of the supporting documents specified at paragraph 3.2; and

- The evidence specified at paragraph 3.3.2(a) above demonstrating that each entity concerned meets the Selection Criteria and the compliance requirements specified at paragraph 3.1(b) and (c) above.

3.4	PRESENTATION OF PROPOSALS

Not Used.

3.5	STANDSTILL PERIOD

3.5.1	In circumstances where the European Communities (Public Authorities’ Contracts) (Review Procedures) Regulations 2010 (Statutory instrument 130 of 2010), as amended by the European Communities (Public Authorities’ Contracts) (Review Procedures) (Amendment) Regulations 2015 (Statutory instrument 192 of 2015) and the European Communities (Public Authorities’ Contracts (Review Procedures) (Amendment) Regulation 2017 (Statutory instrument 327 of 2017) apply, no contract can or will be executed or take effect until at least fourteen (14) calendar days after the day on which the Tenderers have been sent a notice informing them of the result of this Competition (“Standstill Period”) if such notice is sent by electronic means.  The Standstill Period shall be sixteen (16) calendar days if such notice is sent by other means.  The preferred bidder will be notified of the decision of the Marine Institute and of the expiry date of the Standstill Period,

3.5.2	Tenderers should note that the Marine Institute may, when notifying Tenderers of the results of this Competition include the scores obtained by the Tenderer concerned and the scores obtained by the preferred bidder in respect of each award criterion assessed by the Marine Institute.

3.6	RETURN OF SIGNED CONTRACTS

3.6.1	The successful Tenderer must sign and return the Services Contract to the Marine Institute.  A signed Services Contract returned by the successful Tenderer is not binding on the Marine Institute until the Marine Institute has signed the Services Contract in accordance with paragraph 2.1.2 above.

3.6.2	Please note that the successful tenderer will be offered the contract through the etenders system. It is a requirement that the successful tenderer accept or decline the award on the platform. The etenders system will notify the successful tenderer when the offer has been made. Marine Institute staff may follow up to ensure this step is completed.

Appendix 1: Requirements and Specifications

_______________________________________________________________

Please See Separate Document outlining the list of equipment to be covered for preventative maintenance and technical support and requirements to be addressed as part of the tenderer`s response to this request for tenders for the provision of Annual Preventative Maintenance and Technical support for LC-MS/MS Equipment.

Appendix 2: Pricing Schedule

To: The Marine Institute

From (Name of Tenderer): ___________________________________________________________

I/We have reviewed the Invitation to Tender for the provision of Annual Preventative Maintenance and Technical support for LC-MS/MS Equipment and do hereby offer to provide the services

set out therein, as may be required by the Marine Institute, in exchange for the following fee

which is inclusive of all costs, overheads and expenses:

Table 1a. Technical support and Preventative Maintenance

|  | Total fixed cost € (exec VAT) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Year 1 | Year 2 | Year 3 | Year 4 | Year 5 |
| Technical support and Preventative Maintenance |  |  |  |  |  |
| Total (5yr) contract cost |  |  |  |  |  |
| Extension 12 months (Year 6) Optional |  |  |  |  |  |
| Extension 12 months (Year 7) Optional |  |  |  |  |  |
| Maximum Total (5yr + 2-year optional extension) contract cost |  |  |  |  |  |

# Fee is to be quoted in Euro (€), excluding VAT but inclusive of all incidentals and travel expenses.

- If awarded this contract, the Tenderer accepts the terms of the MI-CFT26-030 Contract

- The Tenderer agrees to keep this offer open for acceptance by the Marine Institute for a period of 120 days from the deadline date for receipt of Tenders. NOTE: This validity period may be extended by agreement between the Marine Institute and awarded / participating tenderers.

- The Tenderer has read and confirms its acceptance of the Instructions to Tenders.

- The Tenderer agrees to treat the details of this offer, together with any subsequent correspondence or contract, as private and confidential.

- The Tenderer acknowledges that the Marine Institute shall not be responsible for any costs incurred by in the preparation of its Tender or any associated work effort, howsoever arising.

- The Tenderer acknowledges that the essence of the public procurement process is that the Marine Institute shall receive bona fide competitive tenders from all Tenderers. In recognition of this principle, the Tenderer certifies that this is a bona fide tender, intended to be competitive, and that it has not fixed or adjusted the amount of the tender by or under or in accordance with any agreement or arrangement with any other Tenderer. The Tenderer is aware of the prohibitions contained in Article 101 of the Treaty on the Functioning of the European Union (TFEU) and the Competition Act 2002.

Appendix 3:  Tenderers’ Statement

Tenderers shall complete and return the following form of Tenderers’ Statement printed on

the Tenderers’ headed notepaper (where applicable) and signed by the Tenderer.

TENDERERS’ STATEMENT

TO: Marine Institute

RE: Request for Tenders for the provision of Annual Preventative Maintenance and Technical support for LC-MS/MS Equipment

Having examined your Request for Tenders (the “RFT”) including the instructions to Tenderers, the Selection and Award Criteria, the Requirements and Specifications and the Terms and Conditions of the Services Contract we hereby agree and declare the following:

- We understand the nature and extent of the Services required to be delivered as described in Requirements and Specifications at Appendix 1 to the RFT.

- We accept all of the Terms and Conditions of the RFT, the Services Contract and the Confidentiality Agreement included at Clause 25 of the Services Contract and agree if awarded a Services Contract to execute the Services Contract at Appendix 5 to the RFT.

- We accept all the Selection and Award Criteria as set out in Part 3 of the RFT.

- We agree to provide the Marine Institute with the Services in accordance with the RFT and out Tender.

- We agree that, if awarded any Services Contract, we shall, in the performance of such contract, comply with all applicable obligations in the field of environmental, social and labour law.

- We confirm that we have complied with all requirements as set out at Part 2 of the RFT.

- We confirm that all prices quoted in our Tender will remain valid for the period of time commencing from the Tender Deadline, as specified at paragraph 2.10.3 of the RFT.

- We shall, if awarded any Services Contract under the RFT, have in place on the Effective Date of the Services Contract all insurances (if any) as required by paragraph 2.21.1 of the RFT.

- We confirm that all Data Subjects whose Personal Data is provided in our Tender have consented to the processing of such Personal Data by us, the Marine Institute, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of our participation in this Competition or that we otherwise have a legal basis for providing such Personal Data to the Marine Institute for the purposes of our participation in this Competition and that we will provide evidence of such consent and/or legal basis to the Marine Institute upon request.

SIGNED		__________________________

(Authorised Signatory)

Print name	__________________________

Company	__________________________

Address	_____________________________________________________________________

Date		__________________________

Appendix 4: Declaration as to Personal Circumstances of Tenderer

Re: Request for Tenders for the Provision of Preventative Maintenance and Technical support for LC-MS/MS equipment.

NAME:		[Click here and insert name] ADDRESS:	[Click here and insert address]

I, [Click here and insert name of Declarant], having been duly authorised by [Click here and insert name of entity] sincerely declare that [Click here and insert name of entity] itself or any person who has is a member of the administrative, management or supervisory body of [Click here and insert name of entity] or has powers of representation, decision or control in [Click here and insert name of entity]:

- Has never been the subject of a conviction for participation in a criminal organisation, as defined in Article 2 of Council Framework Decision 2008/841/JHA.

- Has never been the subject of a conviction for corruption, as defined in Article 3 of the Convention on the fight against corruption involving official of the European Communities or official of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in the national law of the Marine Institute or [Click here and insert name of entity].

- Has never been the subject of a conviction for fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests.

- Has never been the subject of a conviction for terrorist offences or offences lined to terrorist activities, as defined in Articles 1 and 3 of Council Framework Decision 2002/475/JHA respectively, or for inciting or aiding or abetting or attempting to commit an offence, as referred to in Article 4 of that Framework Decision.

- Has never been the subject of a conviction for money laundering or terrorist financing, as defined in Article 1 of Directive 2005/60/EC of the European Parliament and of the Council.

- Has never been the subject of a conviction for child labour and other forms of trafficking in human beings as defined in Article 2 of Directive 2011/36/EU of the European Parliament and of the Council.

- Is not in breach and has not breached its obligations relating to the payment of taxes or social security contributions.

- That the preparation of the tender was carried out independently.

- Has, in the performance of all public contracts, complied with applicable obligations in the field of environmental, social and labour law that apply at the place where the works are carried out or the services provided, that have been established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Schedule 7 of the European Union (Award of Public Authority Contracts) Regulations 216 (Statutory Instrument 284 of 2016).

- Is not bankrupt or the subject of insolvency or winding-up proceedings, its assets are not being administered by a liquidator or by the court, it is not in an arrangement with creditors, its business activities are not suspended nor is it in any analogous situation arising from a similar procedure under national laws and regulations.

- Is not guilty of grave professional misconduct.

- Has not entered into agreements with other economic operators aimed at distorting competition.

- Is not aware of any conflict of interest due to its participation in the Competition.

- Has not had any prior involvement in the preparation of the Competition

- Has not shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions.

- Is not guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the Selection Criteria for this Competition and did not withhold such information and did not fail or is not able to submit supporting documents in respect of this Competition as required under Regulation 59 of the European Union (Award of Public Authority Contracts) Regulations 2016 (Statutory Instrument 284 of 2016).

- Has not undertaken to unduly influence the decision-making process of the Marine Institute in respect of the Competition or obtain confidential information that may confer upon it undue advantages in respect of the Competition; or negligently provided misleading information that may have a material influence on decisions concerning exclusion, selection or award.

I understand and acknowledge that the provision of inaccurate or misleading information in this declaration may lead to my business/firm/company/partnership being excluded from participation in this or future tenders, and I make this solemn declaration conscientiously believing the same to be true and by virtue of the Statutory Declarations Act, 1938.  This declaration is made for the benefit of the Marine Institute.

________________________________		_______________________________

Signature of Declarant				Name of Declarant in print or block capitals

Appendix 5:  Services Contract

__________________________________________________________________________________

See additional document