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Request for Tender
Supply of 100% Renewable Electricity
	PROCUREMENT OBJECTIVE
The Port of Waterford electrical supply is classed as a large energy user (LEU) and with a DG8 tariff group connection, with the following characteristics: 
•  Voltage Level: Connected directly to the 38 kV electrical network. [1]
•  Looped Topology: The 38 kV circuit feeds in a loop configuration, offering higher reliability and dual-path supply security compared to a single "tailed" (spur) line.
•  Maximum Demand (MD): Billed under specific Distribution Use of System (DUoS) high-voltage maximum demand tariffs requiring specialized interval or half-hourly metering




	Document control
	Details

	Contracting Authority
	Port of Waterford Company

	RFT reference
	Tender for Main Electricity Supply

	Issue date
	02.09.2026

	Procedure
	Open Procedure

	Tender deadline
	02.10.2026 @ 16:00

	Contract commencement
	01/11/2026

	Contract term
	2 years 

	Submission method
	eTenders electronic tenderbox only
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[bookmark: _Toc239103643]1. Invitation and procurement information
Port of Waterford Company (the Contracting Authority) invites tenders from suitably qualified and licensed electricity suppliers for the supply of 100% renewable electricity and associated services to its designated electricity account(s).
The successful Tenderer will be required to accommodate the Port’s variable and high-peak demand profile, regenerative operation, import and export energy flows, and future electricity demand growth while providing transparent pricing, auditable renewable electricity evidence, accurate settlement and responsive account management.
This RFT should be read with all schedules, appendices, clarifications and supporting consumption data issued through eTenders. Tenderers are responsible for reviewing the complete procurement pack before submitting a response.
[bookmark: _Toc239103644]2. Background and objectives
Port of Waterford operates port, logistics and industrial infrastructure with electricity demand influenced by operational activity, cargo handling, workshops, warehousing and other site loads. The Contracting Authority requires a supply arrangement that is commercially competitive, reliable, flexible and aligned with its decarbonisation objectives.
[bookmark: _Toc239103645]2.1 Procurement objectives
Secure a compliant supply of 100% renewable electricity for the full contract term.
Obtain transparent and comparable pricing for the Port’s actual import/export profile.
Ensure the supplier can accommodate high peaks and a current MIC of 750 kVA.
Ensure correct treatment of regenerative energy and backfeed/export facilitated by the DG8 connection.
Provide auditable Guarantees of Origin and robust Scope 2/carbon reporting.
Support future operational growth and electrification without avoidable commercial restrictions.
[bookmark: _Toc239103646]3. Instructions to Tenderers
[bookmark: _Toc239103647]3.1 Important notices and reservations
Information is provided in good faith, but Tenderers must form their own conclusions and verify assumptions relevant to their Tender.
This RFT is not an offer or commitment. No contractual rights arise until a written Contract is executed by authorised representatives of both parties.
Preferred bidder status does not create enforceable rights.
The Contracting Authority is not bound to accept the lowest-priced or any Tender and may cancel the Competition before execution of the Contract, subject to its legal obligations.
The Contract will not confer exclusivity unless expressly stated.
This RFT and formal clarifications supersede prior procurement communications relating to the Competition.
[bookmark: _Toc239103648]3.2 Communications and clarifications
All communications must be sent through the eTenders messaging facility. No approach may be made to other personnel or advisers in connection with the Competition.
Queries must be submitted by the clarification deadline. The Contracting Authority may decline to answer late queries.
Responses and amendments will be issued through eTenders and, where appropriate, queries may be anonymised or amalgamated. No material information will be given privately to one Tenderer.
Tenderers must register their interest and monitor eTenders for messages, amendments and deadline changes.
The Contracting Authority may seek clarification, but cannot use clarification to permit a material amendment, replacement Tender or remedy of a material omission contrary to procurement law.
[bookmark: _Toc239103649]3.3 Tender submission
	Requirement
	Instruction

	Method
	Submit only through the eTenders electronic tenderbox. Submissions by email, post, hand delivery or other means will not be accepted.

	Deadline
	02.10.2026 @ 16:00. Late Tenders will not be considered.

	Language
	English.

	Formats
	Searchable PDF for narrative documents and editable Excel/Word for schedules where requested. Tenderers are responsible for readable, virus-free and uncorrupted files.

	Tender structure
	Follow Appendix A and the sequence of this RFT. Do not alter mandatory templates except to enter responses.

	One Tender
	One Tender per Tenderer, subject to the rules on consortium participation and related undertakings.

	Tender validity
	31 days from the Tender Deadline.

	Costs
	Tenderers bear all costs of preparing and submitting their Tender.



[bookmark: _Toc239103650]3.4 Compliant Tenders
A Tender must include every mandatory document and comply with the submission requirements. The Contracting Authority may reject a non-compliant Tender or, subject to law, seek clarification or waive a requirement that is genuinely non-material or procedural. Failure to submit a mandatory declaration, mandatory pricing schedule, or a response to a pass/fail requirement may result in rejection.
[bookmark: _Toc239103651]3.5 Confidentiality, FOI and AIE
Procurement information supplied by the Contracting Authority may be used only for preparing a Tender and must be protected by the Tenderer and its advisers, consortium members and subcontractors. Tenderers should identify specific information claimed to be confidential or commercially sensitive and explain the basis of the claim. Blanket claims over an entire Tender will not be accepted. Information may be disclosed where required under the Freedom of Information Act 2014, the European Communities (Access to Information on the Environment) Regulations 2007 to 2018, procurement transparency obligations, audit requirements or other law. The Contracting Authority will determine disclosure obligations and cannot guarantee that information marked confidential will be withheld.
[bookmark: _Toc239103652]3.6 Data protection
Each Tenderer must have a lawful basis for providing personal data in its Tender and must give relevant privacy information to affected individuals. Personal data will be processed for conducting the Competition, evaluating Tenders, verifying information, awarding and managing the Contract, meeting transparency and audit obligations and defending legal claims. The successful Tenderer must comply with applicable data protection law and any data-processing provisions in the Contract.
[bookmark: _Toc239103653]3.7 Conflicts, registrable interests and anti-collusion
Tenderers must disclose actual, potential or perceived conflicts of interest as soon as they arise and propose effective mitigation.
Tenderers must confirm that their Tender was prepared independently and that they have not engaged in collusive or anti-competitive conduct.
Registrable interests involving the Tenderer, its consortium members or subcontractors and relevant public office holders or Contracting Authority personnel must be disclosed.
A Tenderer must not offer gifts, inducements or improper advantages in connection with the Competition.
The Contracting Authority may investigate links between Tenderers and may exclude a Tenderer where a conflict or anti-competitive arrangement cannot be satisfactorily addressed, subject to law.
[bookmark: _Toc239103654]3.8 Subcontracting and reliance on other entities
The Tender must identify consortium members, proposed material subcontractors and any entity whose capacities are relied upon to meet selection criteria. The Tenderer must demonstrate that relied-upon resources will be available for the Contract. The successful Tenderer remains responsible for all subcontracted performance. Changes to material subcontractors require prior written approval and must comply with procurement law and the Contract.
[bookmark: _Toc239103655]3.9 Pricing rules
Complete Appendix B in euro, exclusive of VAT, stating VAT separately.
State every supplier-controlled charge and every pass-through charge, including the unit, rate, index, adjustment mechanism and timing.
Do not rely on undisclosed assumptions, fees, margins, tolerances, take-or-pay provisions or minimum volume commitments.
Tendered pricing must remain valid for the Tender validity period. Contract price changes are permitted only where expressly provided by the RFT and Contract.
Where regulated charges change, the Tenderer must show whether they are passed through at cost, and provide verifiable supporting information.
All alternative proposals must be clearly separated from the compliant base Tender and will be considered only if the RFT expressly permits them.
[bookmark: _Toc239103656]3.10 Applicable law and policy requirements
The successful Tenderer and its subcontractors must comply with all applicable environmental, social and labour law, tax law, licensing requirements, sanctions, anti-corruption law, competition law, health and safety law and energy-market rules. It will be a condition of award and Contract performance that the successful Tenderer remains appropriately tax compliant and licensed to supply electricity in Ireland.
[bookmark: _Toc239103657]3.11 IPI, foreign subsidies and restrictive measures
Tenderers must comply with applicable EU restrictive measures and sanctions, including those affecting participation in public contracts. Where applicable by subject matter and threshold, Tenderers must also comply with Regulation (EU) 2022/1031 on the International Procurement Instrument and Regulation (EU) 2022/2560 on foreign subsidies distorting the internal market, including any notification or declaration obligations. The Contracting Authority may request information necessary to verify compliance.
[bookmark: _Toc239103658]4. Scope of contract
The contract will include electricity supply, billing, account management, metering-data support, renewable certification, import/export settlement support and related reporting for the meter point(s) identified in Appendix B.
[bookmark: _Toc239103659]4.1 Core services
Supply electricity to the designated meter point(s) in accordance with applicable market, licensing and network requirements.
Provide fixed, flexible or hybrid purchasing options where offered, with all assumptions clearly stated.
Provide electronic invoices supported by sufficient interval, tariff, network-charge and adjustment detail.
Provide access to consumption, demand and export data in a downloadable format.
Provide a named account manager and documented escalation route.
Provide renewable electricity certification and annual evidence suitable for independent audit.
[bookmark: _Toc239103660]5. Operational load profile
	KEY SITE CHARACTERISTICS
The Port’s electricity profile is high-peak and regenerative. The site has a 750 kVA MIC and can backfeed electricity to the grid through its DG8 connection. Bidders must price and explain their proposal on this basis.



An existing Maximum Import Capacity (MIC) of 750 kVA connected to the electricity distribution system.
Significant variation in electricity demand throughout the day and across operational periods.
High peak-demand events associated with port, vessel, cargo-handling, refrigeration, workshop, warehousing and related operational activities.
A regenerative electricity supply arrangement incorporating onsite generation and/or regenerative electrical loads.
The ability to backfeed and export electricity to the electricity grid, facilitated by the existing DG8 connection. 
Periods during which regenerative or onsite generation output may reduce imported electricity demand and may result in surplus electricity being exported to the grid.
Bidirectional electricity flows which require appropriate metering, data validation, settlement, billing and reporting arrangements.
Potential future demand growth arising from increased operational throughput, decarbonisation, shore power, electric vehicle charging, battery storage, refrigeration or other electrification initiatives.
Bid Prices will be calculated and scored on basis of annual consumption breakdown data as per Table/Appendix A.
[bookmark: _Toc239103661]5.1 Mandatory bidder response on load profile
Confirm the proposed supply contract can accommodate a 750 kVA MIC and the available half-hourly demand profile.
Confirm experience supplying high-peak industrial or infrastructure customers.
Explain how regenerative load, backfeed and export through a DG8 connection will be treated commercially and operationally.
Set out the proposed method for import and export data validation, settlement, invoicing and reconciliation.
Identify all assumptions, exclusions, volume tolerances, imbalance provisions and charges relevant to variable import/export volumes.
Describe options for maximum-demand monitoring, MIC optimisation and demand-side management.
Explain how material future load growth would be incorporated into the contract.

[bookmark: _Toc239103662]6. Mandatory 100% renewable electricity requirements
The supply of 100% renewable electricity is a mandatory pass/fail requirement. A tender that cannot meet this requirement for the full contract term may be excluded from further evaluation, subject to the procurement rules and the final evaluation methodology stated in this RFT.
	Mandatory requirement
	Minimum evidence required

	100% renewable supply
	Unambiguous contractual commitment covering 100% of electricity supplied under the contract.

	Guarantees of Origin
	Evidence that renewable attributes will be supported by valid Guarantees of Origin for the volume claimed.

	No double counting
	Description of controls used to ensure certificates are retired/cancelled for the Contracting Authority and not reused.

	Annual reconciliation
	Annual statement reconciling supplied consumption with the renewable certificates allocated and retired.

	Traceability
	Generation technology, country of origin and reporting methodology for the renewable portfolio.

	Audit trail
	Records and sample reports suitable for review by the Contracting Authority or its auditor.

	Carbon reporting
	Location-based and market-based Scope 2 information, with methodology and source data clearly identified.

	Import/export accounting
	Explanation of how renewable claims and carbon reporting will be managed where the site both imports and exports electricity.



[bookmark: _Toc239103663]6.1 Renewable electricity response
Provide a sample renewable electricity certificate or annual customer statement.
State the proposed renewable generation technology mix.
State the expected proportion sourced from generation located in Ireland, where known.
Confirm the timing for certificate allocation, retirement and annual reporting.
Describe any direct PPA, sleeved PPA or other additional renewable procurement option available.
Identify any premium, administrative charge or minimum-volume condition associated with renewable supply.
[bookmark: _Toc239103664]7. Technical and service requirements
	Area
	Requirement

	Metering and data
	Support interval import/export data, maximum-demand analysis, downloadable reports and investigation of anomalies.

	Billing
	Provide itemised invoices showing energy, network, capacity, levies, taxes, adjustments, credits and export-related entries as applicable.

	Account management
	Named account manager, escalation contacts and periodic account reviews.

	Issue resolution
	Documented process for billing, metering, settlement and supply queries, with proposed service levels.

	Forecasting
	Explain requirements for forecasts, nominations, volume tolerances and notification of material load changes.

	Business continuity
	Describe customer support and continuity arrangements relevant to the supply service.

	Growth support
	Ability to accommodate operational growth and future electrification, subject to network and connection constraints.

	Reporting
	Monthly usage/cost reporting and annual renewable/carbon reporting in accessible electronic formats.



[bookmark: _Toc239103665]8. Pricing and commercial response
Tenderers must complete Appendix A without altering the requested structure. All prices must clearly distinguish supplier-controlled charges from pass-through network charges, levies, taxes and other regulated amounts.
[bookmark: _Toc239103666]8.1 Required pricing options
	Option
	Bidder response

	A
	24-month fixed-price renewable supply



[bookmark: _Toc239103667]8.2 Commercial disclosures
All Charges for which the contracting authority will be liable for are to be stated on Appendix A, with relevant charge units and unit rates. These may include; 
Unit energy price and pricing formula.
Standing, administration and account-management charges.
Treatment of network charges, capacity charges, levies, taxes and pass-through changes.
Renewable electricity premium, if any.
Volume tolerance, take-or-pay, imbalance, swing or reforecasting provisions.
Export price, index, floor, fee, settlement interval and payment/credit timing.
Termination, change-of-law, credit-support and security requirements.
Treatment of a material increase or decrease in annual consumption or peak demand.
[bookmark: _Toc239103668]9. Tenderer response requirements
1. Executive summary and confirmation of compliance.
Company profile and evidence of authority/licensing to supply electricity in Ireland.
Completed compliance schedule and pricing schedule.
Technical response addressing the 750 kVA MIC, high peaks, regenerative load and DG8-enabled backfeed.
100% renewable electricity proposal and supporting evidence.
Details of import/export settlement and export remuneration arrangements.
Account-management and reporting proposal.
Relevant references for comparable industrial, infrastructure or bidirectional energy customers.
Proposed contract and all qualifications or departures.
Signed Tenderer Declaration in Appendix D.
[bookmark: _Toc239103669]10. Evaluation methodology
The final score, minimum thresholds and pass/fail rules must be confirmed by the Contracting Authority before publication. The following draft methodology is recommended for completion by the procurement team.
Mandatory Criteria
	Criteria
	Recommended weighting
	Minimum requirement

	Mandatory compliance, with 100% renewable supply (Per Section 5 & 6 above)
	Pass/Fail
	Pass

	Confirmation of capability to service load characteristics (per Appendix B)
	Pass/Fail
	Pass



Evaluation Criteria
	Criteria
	Recommended weighting
	Minimum requirement

	Commercial pricing and whole-life cost [80 marks]
	80%
	

	Renewable traceability, certification and carbon reporting [20 marks]
	20%
	Must achieve 40% of available marks



Price evaluation formula: (Lowest compliant evaluated tender price/Tenderer’s evaluated tender price) x 80. Quality scoring methodology: [Insert approved scoring scale and narrative descriptors]. The Contracting Authority may seek clarifications in accordance with the rules of the competition but is not obliged to permit a tenderer to remedy a material omission.
[bookmark: _Toc239103670]11. Procurement timetable and conditions
	Stage
	Date

	RFT issued
	02/09/2026

	Deadline for clarification questions
	16/09/2026

	Final clarification responses
	17/09/26

	Tender submission deadline
	02/10/26 

	Evaluation and clarification period
	07/10/2026

	Standstill period, if applicable
	21/10-01/11/26 (14 days)

	Award notification
	26/10/2026

	Contract commencement
	02/11/2026



[bookmark: _Toc239103671]11.1 Tender conditions
All communications shall be conducted through the eTenders messaging facility unless otherwise stated.
Tenderers bear their own costs of preparing and submitting a tender.
The Contracting Authority is not bound to accept the lowest-priced or any tender.
Tender validity period: 180 days.
Tenders must remain confidential and must not contain misleading claims regarding renewable electricity.
Any conflict of interest, subcontracting arrangement or material qualification must be disclosed.
The Contracting Authority may verify references and renewable evidence supplied by the preferred tenderer.
The final contract will comprise the agreed contract, this RFT, clarifications, the successful tender and any expressly agreed departures, in the stated order of precedence.


[bookmark: _Toc239103672]Appendix A - Pricing schedule

	2026
	Main Electrical Supply at Belview Port
	
	
	

	
	
	
	
	

	Supply Details
	
	
	
	

	Client Name
	Port Of Waterford 
	
	DLAF D
	1.038

	
	
	
	DLAF N
	1.032

	Number of Sites
	1
	
	DLAF Total
	1.036

	
	
	
	
	

	MPRN:
	10000078725
	MIC:
	750
	



	Consumption Breakdown
	12 months to 31/05/2026
	Tender Response

	 
	 
	kWh
	 Total

	Summer
	Day
	549,414
	 

	Summer
	Eve/Weekend
	145,710
	 

	Summer
	Night
	339,210
	 

	Winter
	Day
	198,846
	 

	Winter
	Peak
	28,052
	 

	Winter
	Eve/Weekend
	75,998
	 

	Winter
	Night
	150,488
	 

	Total Consumption kWh
	Annual
	1,487,718
	 

	 
	 
	 
	 



The total tender price will be calculated on the basis of the kWh outlined above from the usage date for 12 months up to 31/05/2026. 

	Supply Rates
	Category
	Rate /kWh (fixed rate for 24 months)
	 

	Summer
	Day
	€
	 

	Summer
	Eve/Weekend
	€
	 

	Summer
	Night
	€
	 

	Winter
	Day
	€
	 

	Winter
	Peak
	€
	 

	Winter
	Eve/Weekend
	€
	 

	Winter
	Night
	€
	 

	100% Green Energy 
	 
	€
	 

	 
	 
	 
	 

	 
	 
	 
	 

	Standing Charges
	Per
	Rate
	 

	Standing Charge
	Day
	€
	 

	Capacity Charge
	MIC
	€
	 

	DUoS Day
	kWh (exc Night)
	€
	 

	DUoS Night
	kWh (Night)
	€
	 

	TUoS Network Capacity Charge
	MIC @ 80%
	€
	 

	TUoS Network Transfer Charge
	kWh (Total) @ DLAF Total
	€
	 

	TUoS System Services Charge
	kWh (Total) @ DLAF Total
	€
	 

	TUoS DSM
	kWh (exc Night) @ DLAF D
	€
	 

	
	
	
	

	SEMO Capacity (Est)
	kWh (exc Night)
	€
	 

	SEMO Imperfections Charge
	kWh (Total) @ DLAF Total
	€
	 

	SEMO Market Operator Charge
	kWh (Total) @ DLAF Total
	€
	 

	Capacity Socialisation Charge
	kWh (exc Night)
	€
	 

	Currency Adjustment Charge
	kWh (exc Night)
	€
	 

	Electricity Tax
	kWh (Total)
	€
	 

	PSO
	MIC
	€
	 

	 
	 
	 
	 






[bookmark: _Toc239103673]Appendix B - Technical data schedule
	Data item
	Contracting Authority information

	Site / MPRN
	10000078725

	Supply voltage
	38,000V

	Maximum Import Capacity
	750 kVA

	Maximum Export Capacity
	0

	Connection/export arrangement
	DG8 connection facilitating backfeed to the electricity grid

	Metering configuration
	MCC 10

	Annual imported electricity
	1,487,718 KWH

	Annual exported electricity
	RST  50Hz

	Maximum recorded demand
	624 kW/kVA – October 2024

	Onsite/regenerative source
	Backfeed from Crane Electrical Motors

	Data period supplied to bidders
	12 months to June 2026

	Forecast demand growth
	4% per annum 



[bookmark: _Toc239103674]Bidder technical confirmation
☐  We have reviewed the interval import, demand and export information supplied.
☐  Our proposal accommodates the 750 kVA MIC.
☐  Our proposal accommodates regenerative operation and DG8-facilitated grid backfeed.
☐  All import/export settlement assumptions and charges are disclosed.
☐  All load-volume tolerances and reforecasting obligations are disclosed.


[bookmark: _Toc239103675]Appendix C - 100% renewable electricity declaration
The Tenderer declares that, if awarded the contract, 100% of the electricity supplied under the contract will be supported by valid renewable electricity attributes in accordance with the contractual requirements and the evidence described in its tender.
	Declaration item
	Tenderer response

	Renewable commitment confirmed
	Yes / No

	Certificate mechanism
	

	Certificate issuer / registry
	

	Generation technology mix
	

	Expected Irish-origin proportion
	

	Allocation and retirement timetable
	

	Controls against double counting
	

	Annual reconciliation report attached
	Yes / No

	Scope 2 reporting method
	

	Import/export accounting method
	



Authorised signatory: ____________________________________________
Position: ____________________________________________
Signature: ____________________________________________
Date: ____________________________________________


[bookmark: _Toc239103676]Appendix D – Tenderers’ Statement
[Tenderers shall complete and return the following form of Tenderers’ Statement printed on the Tenderers’ headed notepaper and signed by the Tenderer.] 

TENDERERS’ STATEMENT

TO:  Port of Waterford (the “Contracting Authority”)
RE: Request for Tenders for the Supply of Electricity

Having examined your Request for Tenders (the “RFT”) including the Instructions to Tenderers, the Selection and Award Criteria, the Requirements and Specifications, and the Terms and Conditions of the Contract, we hereby agree and declare the following:
	1.
	We understand the nature and extent of the Services required to be delivered as described in Requirements and Specifications at Appendix 1 to the RFT.

	2.
	We accept all of the Terms and Conditions of the RFT, the Services Contract, and the Confidentiality Agreement and agree, if awarded a Services Contract, to execute the Services Contract at Appendix 6 to the RFT and the Confidentiality Agreement at Appendix 7 to the RFT.

	3.
	We accept all the Selection and Award Criteria as set out in Part 3 of the RFT.

	4.
	We agree to supply the Contracting Authority with the Services in accordance with the RFT and our Tender.

	5.
	We agree that, if awarded any Contract we shall, in the performance of such contract, comply with all applicable obligations in the field of environmental, social and labour law.

	6.
	We confirm that we have complied with all requirements as set out at Part 2 of the RFT.

	7.
	We confirm that all prices quoted in our Tender will remain valid for the period of time, commencing from the Tender Deadline, specified at paragraph 2.10.3 of the RFT.

	8.
	We shall, if awarded any Contract under the RFT, have in place on the Effective Date of the Contract all insurances (if any) as required by paragraph 2.21.1 of the RFT.

	9.
	We confirm that all Data Subjects whose Personal Data is provided in our Tender have consented to the processing of such Personal Data by us, the Contracting Authority, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of our participation in this Competition or that we otherwise have a legal basis for providing such Personal Data to the Contracting Authority for the purposes of our participation in this Competition and that we will provide evidence of such consent and / or legal basis to the Contracting Authority upon request.

	10.
	We do not come within the category of prohibited economic operators identified in Regulation (EU) No 833/2014 of 31 July 2014 (as amended by EU Regulation 2025/576 or any subsequent amendments to same).

	11.
	The origin of goods connected to our Tender are not subject to the prohibitions set out in Regulation (EU) No 833/2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same).

	12.
	The Subcontractor on whose capacity we rely as part of our Tender (where the value of the subcontract exceeds 10% of the value of the Services Contract) does not come within the category of prohibited economic operators identified in Regulation (EU) No 833/2014 of 31 July 2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same). 




	SIGNED



(Authorised Signatory)
	Company


	Print name
	Address

	Date
	
























[bookmark: _Toc239103677]Appendix 4: Declaration as to Personal Circumstances of Tenderer
Re: Request for Tenders for the Provision of Electricity 
NAME:   	[Click here and insert name]
ADDRESS: 	[Click here and insert address]
I, [Click here and insert name of Declarant], of [Click here and insert name of entity] do solemnly declare and sincerely declare that: 
1. I am a [insert role of Declarant] of [Click here and insert name of entity] and am authorized by [Click here and insert name of entity]  to make this declaration which relates to a tender (“the Tender”) submitted by [Click here and insert name of entity]  in response to an RFT dated titled [insert description of competition] published by [insert name of contracting authority] (“the Contracting Authority”).

2. Neither [Click here and insert name of entity] nor any person who is a member of the administrative, management of supervisory body of [Click here and insert name of entity] nor any person who has powers of representation, decision or control in [Click here and insert name of entity] has: 
(a) ever been the subject of a conviction for participation in a criminal organisation, as defined in Article 2 of Council Framework Decision 2008/841/JHA.
(b) ever been the subject of a conviction for corruption, as defined in Article 3 of the Convention on the fight against corruption involving officials of the European Communities or officials of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in the national law of the Contracting Authority or the law of the state in [Click here and insert name of entity] is established.
(c) ever been the subject of a conviction for fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests.
(d) ever been the subject of a conviction for terrorist offences or offences linked to terrorist activities, as defined in Articles 1 and 3 of Council Framework Decision 2002/475/JHA respectively, or for inciting or aiding or abetting or attempting to commit an offence, as referred to in Article 4 of that Framework Decision.
(e) ever been the subject of a conviction for money laundering or terrorist financing, as defined in Article 1 of Directive 2005/60/EC of the European Parliament and of the Council.
(f) ever been the subject of a conviction for child labour and other forms of trafficking in human beings as defined in Article 2 of Directive 2011/36/EU of the European Parliament and of the Council.
3. [Click here and insert name of entity]

(a) Is not in breach and has not breached its obligations relating to the payment of taxes or social security contributions.
(b) Has carried out the preparation of the Tender independently.

4. [Click here and insert name of entity]

(a) Has, in the performance of all public contracts, complied with applicable obligations in the field of environmental, social and labour law that apply at the place where the works are carried out or the services provided, that have been established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Schedule 7 of the European Union (Award of Public Authority Contracts) Regulations 2016 (Statutory Instrument 284 of 2016).
(b) Is not bankrupt or the subject of insolvency or winding-up proceedings, its assets are not being administered by a liquidator or by the court, it is not in an arrangement with creditors, its business activities are not suspended nor is it in any analogous situation arising from a similar procedure under national laws and regulations.
(c) Is not guilty of grave professional misconduct.
(d) Has not entered into agreements with other economic operators aimed at distorting competition.
(e) Is not aware of any conflict of interest due to its participation in the Competition;
(f) Has not had any prior involvement in the preparation of the Competition.
(g) Has not shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions.
(h) Is not guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the Selection Criteria for this Competition and did not withhold such information and did not fail or is not able to submit supporting documents in respect of this Competition as required under Regulation 59 of the European Union (Award of Public Authority Contracts) Regulations 2016 (Statutory Instrument 284 of 2016).
(i) Has not undertaken to unduly influence the decision-making process of the Contracting Authority in respect of the Competition or obtain confidential information that may confer upon it undue advantages in respect of the Competition; or negligently provided misleading information that may have a material influence on decisions concerning exclusion, selection or award.
5. [Click here and insert name of entity] does not come within the category of prohibited economic operators identified in Regulation (EU) No 833/2014 of 31 July 2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same);
6. The origin of Services connected to the Tender, in any, are not subject to the prohibitions set out in Regulation (EU) No 833/2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same);
7. Any subcontractor, supplier or other entity on whose capacity [Click here and insert name of entity] relied as part of the Tender does not come within the category of prohibited economic operators identified in Regulation (EU) No 833/2014 of 31 July 2014 (as amended by EU Regulation 2022/576 or any subsequent amendments to same).
I understand and acknowledge that the provision of inaccurate or misleading information in this declaration may lead to my business/firm/company/partnership being excluded from participation in this or future tenders, and I make this solemn declaration conscientiously believing the same to be true and by virtue of the Statutory Declarations Act, 1938. This declaration is made for the benefit of the Contracting Authority. 

	

________________________
Signature of Declarant
	
________________________
Name of Declarant in print or block capitals

	Declared before me by ___________________________________ who is personally known to me
(or who is identified to me by ______________________________who is personally known to me)
at ____________________________  this ___________ day of _______________ 20__

________________________________
(signed)
Practising Solicitor/Commissioner for Oaths
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