## Bill PART 1 - PRELIMINARIES
PART 1 - PRELIMINARIES
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
CC-RMP-00100 PRELIMINARIES
TEMPORARY ACCOMMODATION
1 | Erection of Principal Offices for the Employer's Representative | 1 | item |  |  | 1/1/1 | 7
2 | Erection of Offices and Messes for the Contractor | 1 | item |  |  | 1/1/2 | 9
3 | Erection of Stores and Workshops for the Contractor | 1 | item |  |  | 1/1/3 | 10
4 | Servicing of Principal Offices for the Employer's Representative until 3 months following substantial completion of the Works | 1 | item |  |  | 1/1/4 | 8
5 | Servicing of Offices and Messes for the Contractor until completion of the Works | 1 | item |  |  | 1/1/5 | 11
6 | Servicing of Stores and Workshops for the Contractor until completion of the Works | 1 | item |  |  | 1/1/6 | 12
7 | Dismantling of Principal Offices for the Employer's Representative 3 months after substantial completion of the Works | 1 | item |  |  | 1/1/7 | 13
8 | Dismantling of Offices and Messes for the Contractor upon completion of the Works | 1 | item |  |  | 1/1/8 | 14
9 | Dismantling of Stores and Workshops for the Contractor upon completion of the Works | 1 | item |  |  | 1/1/9 | 15
TRAFFIC SAFETY AND MANAGEMENT
10 | Traffic safety and management | 1 | item |  |  | 1/1/10 | 769
11 | VMS Hire and Placement | 1 | item |  |  | 1/1/11 | 1358
TEMPORARY DIVERSION FOR TRAFFIC
12 | Taking measures for the construction of temporary diversions for traffic at locations proposed by the Contractor | 1 | item |  |  | 1/1/12 | 771
13 | Maintenance of measures for or construction of temporary diversions for traffic at locations proposed by the Contractor | 1 | item |  |  | 1/1/13 | 772
14 | Removal of measures for or construction of temporary diversions for traffic at locations proposed by the Contractor | 1 | item |  |  | 1/1/14 | 773
RECOVERY VEHICLES FOR BREAKDOWNS
15 | Recovery Vehicles for Breakdowns as per Appendix 1/20 | 1 | item |  |  | 1/1/15 | 1262
PROGRESS PHOTOGRAPHS
16 | Set of ground based progress photographic records in accordance with the specification appendix 1/22. | 12 | no |  |  | 1/1/16 | 21
P24-112 |  | Page: 1 / 1 |  | To Collection | 0
PART 1 - PRELIMINARIES
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
CC-RMP-00100 PRELIMINARIES (Cont'd)
PROGRESS PHOTOGRAPHS (Cont'd)
17 | Set of aerial photographic records in accordance with the specification appendix 1/22. | 12 | no |  |  | 1/2/17 | 758
18 | Set of aerial video records in accordance with the specification appendix 1/22. | 12 | no |  |  | 1/2/18 | 1263
ROAD SWEEPING AND CLEANING
19 | Road sweeping and cleaning | 1 | item |  |  | 1/2/19 | 23
FACILITIES FOR LOCAL AUTHORITY, PUBLIC OR PRIVATE UTILITY UNDERTAKERS AND OTHER CONTRACTORS
20 | Facilities for the ESB | 1 | item |  |  | 1/2/20 | 760
21 | Facilities for EIR | 1 | item |  |  | 1/2/21 | 761
22 | Facilities for Wexford County Council | 1 | item |  |  | 1/2/22 | 762
23 | Facilities for Kilkenny County Council | 1 | item |  |  | 1/2/23 | 763
24 | Facilities for Gas Networks Ireland | 1 | item |  |  | 1/2/24 | 1200
25 | Facilities for Irish Water | 1 | item |  |  | 1/2/25 | 1201
26 | Facilities for Aurora Telecom | 1 | item |  |  | 1/2/26 | 1199
PROJECT SUPERVISOR FOR THE CONSTRUCTION STAGE
27 | Acceptance of Appointment as Project Supervisor for the Construction Stage | 1 | item |  |  | 1/2/27 | 27
SAFETY FILE
28 | Safety File | 1 | item |  |  | 1/2/28 | 29
AS BUILT RECORDS
29 | As Built Records | 1 | item |  |  | 1/2/29 | 25
CONSTRUCTION ENVIRONMENTAL MANAGEMENT PLAN
30 | Preparation and implementation of Construction Environmental Management Plan. | 1 | item |  |  | 1/2/30 | 776
ROAD SAFETY AUDITS OF TEMPORARY TRAFFIC MANAGEMENT PLANS
31 | Stage 2 Road Safety Audit of Temporary Traffic Management Plans | 1 | item |  |  | 1/2/31 | 19
32 | Stage 3 Road Safety Audit of Temporary Traffic Management Plans | 1 | item |  |  | 1/2/32 | 774
P24-112 |  | Page: 1 / 2 |  | To Collection | 0
PART 1 - PRELIMINARIES
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
CC-RMP-00100 PRELIMINARIES (Cont'd)
PROPERTY CONDITION SURVEYS
33 | Condition Surveys as per Appendix 1/72 | 1 | item |  |  | 1/3/33 | 923
WATERCOURSE MANAGEMENT
34 | Watercourse Management as per Appendix 1/71 | 1 | item |  |  | 1/3/34 | 925
ENVIRONMENTAL MANAGEMENT
35 | Environmental Management as per Appendix 1/71 | 1 | item |  |  | 1/3/35 | 927
BAT MITIGATION
36 | Bat Mitigation as per Appendix 1/71 | 1 | item |  |  | 1/3/36 | 1329
INVASIVE SPECIES SURVEY
37 | Pre-construction Invasive Species survey as per Appendix 1/71 | 1 | item |  |  | 1/3/37 | 1331
WATER QUALITY MEASURES AND WATER QUALITY MONITORING PROGRAMME
38 | Water quality measures and water quality monitoring programme as per Appendix 1/71 | 1 | item |  |  | 1/3/38 | 1333
SUPPLY AND INSTALLATION OF BAT BRICK ROOSTS
39 | Bat Brick Roosts as per Appendix 1/71 at Mountelliott Tunnel | 2 | no |  |  | 1/3/39 | 1335
P24-112 |  | Page: 1 / 3 |  | To Collection | 0
PART 1 - PRELIMINARIES
| Description |  |  |  | Amount | BQIndex | InputNo
| Page: 1 / 1 |  |  |  | 0
| Page: 1 / 2 |  |  |  | 0
| Page: 1 / 3 |  |  |  | 0
P24-112 |  | Page: 1 / 4 |  | To Summary | 0

## Bill PART 2 - ROADWORKS
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL
CC-RMP-00200 SITE CLEARANCE
SITE CLEARANCE
1 | General site clearance | 2.9 | ha |  |  | 2/1/1 | 61
TAKE UP OR DOWN AND SET ASIDE FOR REUSE OR REMOVE TO STORE OR TIP OFF SITE
2 | Take up or down and remove to tip off site Metal gate | 3 | no |  |  | 2/1/2 | 799
3 | Take up or down and set aside for reuse Metal gate | 2 | no |  |  | 2/1/3 | 1203
TREE FELLING
4 | Tree Felling | 25 | no |  |  | 2/1/4 | 947
P24-112 |  | Page: 2 / 1 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-00300 FENCING AND ENVIRONMENTAL NOISE BARRIERS
FENCING, GATES AND STILES
5 | Timber post and rail fence in accordance with CC-SCD- 00301. With Chainlink mesh. 1.4m Height | 586 | m |  |  | 2/2/5 | 37
6 | Concrete Footing to timber post and rail fence. | 47 | no |  |  | 2/2/6 | 802
7 | 2.4m High Lockable Palisade Security Gates with pedestrian access and designed by Contractor, To Be Fitted Between Abutments On Existing R700 Bridge With Palisade Details As Per Drawing P24112-FT-FN-L4- DR-CE-0004. | 1 | no |  |  | 2/2/7 | 279
8 | Steel Single Field Gate Type 2 to CC-SCD-00309. (4000x1255mm) | 3 | no |  |  | 2/2/8 | 286
REMOVE FROM STORE AND RE-ERECT FENCING, GATES AND STILES
9 | Remove from store and re-erect Metal gates | 2 | no |  |  | 2/2/9 | 1206
P24-112 |  | Page: 2 / 2 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-00500 DRAINAGE AND SERVICE DUCTS
DRAINS, SEWERS, PIPED CULVERTS AND SERVICE DUCTS (EXCLUDING FILTER DRAINS, NARROW FILTER DRAINS & FIN DRAINS)
10 | Drains 225mm internal diameter Depths to invert not exceeding 2 metres average depth 1.85 metres Drainage - Surface Water Drains - Trench and Bedding Details - (CC-SCD-00521) Type S Construction to trench | 79 | m |  |  | 2/3/10 | 1056
11 | Adjustment rate on the last item for each 25mm of difference in excess of 150mm from average depth of 1.85 metres | XXXX | item |  | XXXX | 2/3/11 | 1314
12 | Drains 225mm internal diameter Depths to invert exceeding 2 metres but not exceeding 4 metres average depth 3 metres Drainage - Surface Water Drains - Trench and Bedding Details - (CC-SCD-00521) Type S Construction to trench | 31 | m |  |  | 2/3/12 | 1085
13 | Adjustment rate on the last item for each 25mm of difference in excess of 150mm from average depth of 3 metres | XXXX | item |  | XXXX | 2/3/13 | 1318
14 | Drains 300mm internal diameter Depths to invert not exceeding 2 metres average depth 1.85 metres Drainage - Surface Water Drains - Trench and Bedding Details - (CC-SCD-00521) Type S Construction to trench | 73 | m |  |  | 2/3/14 | 292
15 | Adjustment rate on the last item for each 25mm of difference in excess of 150mm from average depth of 1.85 metres | XXXX | item |  | XXXX | 2/3/15 | 1319
16 | Drains 300mm internal diameter Depths to invert exceeding 2 metres but not exceeding 4 metres average depth 3 metres Drainage - Surface Water Drains - Trench and Bedding Details - (CC-SCD-00521) Type S Construction to trench | 12 | m |  |  | 2/3/16 | 1087
17 | Adjustment rate on the last item for each 25mm of difference in excess of 150mm from average depth of 3 metres | XXXX | item |  | XXXX | 2/3/17 | 1320
18 | Drains 375mm internal diameter Depths to invert not exceeding 2 metres average depth 1.85 metres Drainage - Surface Water Drains - Trench and Bedding Details - (CC-SCD-00521) Type Z Construction to trench | 7 | m |  |  | 2/3/18 | 1055
19 | Adjustment rate on the last item for each 25mm of difference in excess of 150mm from average depth of 1.85 metre | XXXX | item |  | XXXX | 2/3/19 | 1321
P24-112 |  | Page: 2 / 3 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-00500 DRAINAGE AND SERVICE DUCTS (Cont'd)
FILTER DRAINS
20 | Filter Drains 225mm internal diameter Depths to invert exceeding 2 metres but not exceeding 4 metres average depth 3 metres Drainage - Filter Drains Trench and Bedding Details - (CC-SCD-00520 ) TYPE H | 43 | m |  |  | 2/4/20 | 1086
21 | Adjustment rate on the last item for each 25mm of difference in excess of 150mm from average depth of 3 metre | XXXX | item |  | XXXX | 2/4/21 | 1322
22 | Filter Drains 225 mm internal diameter Depths to invert not exceeding 2 metres average depth 1.85 metres Drainage - Filter Drains Trench and Bedding Details - (CC-SCD-00520) TYPE H | 697 | m |  |  | 2/4/22 | 1052
23 | Adjustment rate on the last item for each 25mm of difference in excess of 150mm from average depth of 1.85 metres | XXXX | item |  | XXXX | 2/4/23 | 1325
24 | Filter Drains 300 mm internal diameter Depths to invert not exceeding 2 metres average depth 1.85 metres Drainage - Filter Drains Trench and Bedding Details - (CC-SCD-00520) TYPE H | 135 | m |  |  | 2/4/24 | 1053
25 | Adjustment rate on the last item for each 25mm of difference in excess of 150mm from average depth of 1.85 metre | XXXX | item |  | XXXX | 2/4/25 | 1336
26 | Filter Drains 375 mm internal diameter Depths to invert not exceeding 2 metres average depth 1.85 metres Drainage - Filter Drains Trench and Bedding Details - (CC-SCD-00520) TYPE H | 23 | m |  |  | 2/4/26 | 1054
27 | Adjustment rate on the last item for each 25mm of difference in excess of 150mm from average depth of 1 .85 metres | XXXX | item |  | XXXX | 2/4/27 | 1327
FIN DRAINS AND NARROW FILTER DRAINS
28 | Narrow filter drains Drainage - Edge of Pavement Drains - Installation of Narrow Filter Drains - (CC-SCD- 00540 Type 8 ) Depth not exceeding 1.5 metres | 957 | m |  |  | 2/4/28 | 213
CHAMBERS AND GULLIES
29 | 300x300mm duct access chamber with D400 Grade Rectangular Cover for tunnel lights in accordance with Detail on Drawing P24112-FT-LT-L4-DR-CE-0006 | 68 | no |  |  | 2/4/29 | 1078
30 | 300x300mm duct access chamber with D400 Grade Rectangular Cover for future CCTV Installations in accordance with Detail on Drawing P24112-FT-LT-L4- DR-CE-0006 | 8 | no |  |  | 2/4/30 | 1079
P24-112 |  | Page: 2 / 4 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-00500 DRAINAGE AND SERVICE DUCTS (Cont'd)
CHAMBERS AND GULLIES (Cont'd)
31 | Comms Chamber Type 1 to CC-SCD-01515 with D400 Grade Rectangular Cover | 2 | no |  |  | 2/5/31 | 1140
32 | Comms Chamber Type 2 to CC-SCD-01517 with D400 Grade Rectangular Cover | 17 | no |  |  | 2/5/32 | 1141
33 | Chamber Drainage - Chamber Type F (Precast Catchpit) - (CC-SCD-00509), Cover Grade D400 Depth not exceeding 1 metre | 9 | no |  |  | 2/5/33 | 293
34 | Chamber Drainage - Chamber Type F (Precast Catchpit) (CC-SCD-00509) Cover Grade D400 Depths to invert exceeding 1 metre but not exceeding 2 metres | 14 | no |  |  | 2/5/34 | 1089
35 | Chamber Drainage - Chamber Type G (Precast Catchpit) (CC-SCD-00509) Cover Grade D400 Depths to invert exceeding 1 metre but not exceeding 2 metres | 1 | no |  |  | 2/5/35 | 1306
36 | Chamber Drainage - Chamber Type G (Precast Catchpit) (CC-SCD-00509) Cover Grade D400 Depths to invert exceeding 2 metre but not exceeding 3 metres | 2 | no |  |  | 2/5/36 | 1091
37 | Chamber Rodding Eye in accordance with Drawing no. P24112-FT-DR-L4-DR-CE-0004 | 43 | no |  |  | 2/5/37 | 295
38 | Cable Chamber, 600x600mm Internal Dimensions with D400 Grade Rectangular Cover in accordance with P24112-FT-LT-L4-DR-CE-0005 | 6 | no |  |  | 2/5/38 | 278
HEADWALLS AND REVETMENTS
39 | Headwalls in accordance with CC-SCD-00553 for Pipe exceeding 100 mm but not exceeding 300mm internal diameter | 1 | no |  |  | 2/5/39 | 219
40 | Headwalls in accordance with CC-SCD-00553 for Pipe exceeding 300 mm but not exceeding 600mm internal diameter | 1 | no |  |  | 2/5/40 | 1139
41 | Stone revetments to drainage ditch in accordance with Detail on Drawing P24112-FT-DR-L4-DR-CE-0004 | 1 | no |  |  | 2/5/41 | 1138
EXCAVATION IN HARD MATERIAL
42 | Extra over excavation for excavation in hard material in drainage, Trenches | 15 | m3 |  |  | 2/5/42 | 1050
43 | Extra over excavation for excavation in hard material in drainage, Chambers | 5 | m3 |  |  | 2/5/43 | 1051
SERVICE DUCTS
44 | Galvanised steel conduit, 30mm dia., complete with all fixings and accessories, to tunnel lights. | 125 | m |  |  | 2/5/44 | 1243
P24-112 |  | Page: 2 / 5 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-00500 DRAINAGE AND SERVICE DUCTS (Cont'd)
SERVICE DUCTS (Cont'd)
45 | Service ducts Two number 100mm internal diameter UPVC Ducts with Depths to invert not exceeding 1.5 metres and average depth 0.5 metres Ducts in accordacne with CC-SCD-01510 | 422 | m |  |  | 2/6/45 | 1074
46 | Service ducts Four number 100mm internal diameter UPVC Ducts with Depths to invert not exceeding 1.5 metres average depth 0.5 metres. Concrete Surround 300mm Thk x 800mm Wide to ducts through tunnel as per Detail on P24112-FT-ST03-L4-DR-SE-0006 | 700 | m |  |  | 2/6/46 | 1164
47 | Service ducts Four number 100mm internal diameter UPVC Ducts with Depths to invert not exceeding 1.5 metres and average depth 0.5 metres Ducts in accordacne with CC-SCD-01510 | 57 | m |  |  | 2/6/47 | 1075
P24-112 |  | Page: 2 / 6 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-00600 EARTHWORKS
EXCAVATION
48 | Excavation of non-compliant material, in cutting and other excavation | 3317 | m3 |  |  | 2/7/48 | 1094
49 | Excavation of compliant material excluding class 5A removal of surcharge | 2500 | m3 |  |  | 2/7/49 | 955
EXCAVATION IN HARD MATERIAL
50 | Extra over excavation for excavation in hard material in cuttings and other excavation. | 2630 | m3 |  |  | 2/7/50 | 840
TESTING OF PROPOSED FORMATION
51 | Plate Bearing Tests on Sub Formation | 15 | no |  |  | 2/7/51 | 833
DISPOSAL OF MATERIAL
52 | Disposal of compliant excavated material excluding class 5A. | 2500 | m3 |  |  | 2/7/52 | 1163
53 | Disposal of non-compliant excavated material. | 3317 | m3 |  |  | 2/7/53 | 837
IMPORTED FILL
54 | Imported compliant material Class 1, embankments and other areas of fill | 2604 | m3 |  |  | 2/7/54 | 834
55 | Imported topsoil Class 5B, landscape areas and screening mounds. | 201 | m3 |  |  | 2/7/55 | 835
56 | Imported compliant material Class 6F2, for capping. | 1119 | m3 |  |  | 2/7/56 | 288
57 | Imported compliant material Class 6B or 6C, for band drain area below embankment. | 1250 | m3 |  |  | 2/7/57 | 962
58 | Imported compliant material Class 6A or 6C, for band drain area below embankment. | 1250 | m3 |  |  | 2/7/58 | 963
59 | Imported compliant material Class 1, for surcharge of band drain area above embankment. | 2500 | m3 |  |  | 2/7/59 | 961
60 | Import Washed Round Drainage Stone, 20 to 40mm, for verges in tunnel | 164 | m3 |  |  | 2/7/60 | 1100
COMPACTION OF FILL
61 | Compaction of compliant material Class 1, embankments and other areas of fill | 2604 | m3 |  |  | 2/7/61 | 210
62 | Compaction of compliant material Class 6F2, for capping. | 1119 | m3 |  |  | 2/7/62 | 290
63 | Compaction of compliant material Class 6B or 6C, for band drain area below embankment. | 1250 | m3 |  |  | 2/7/63 | 966
P24-112 |  | Page: 2 / 7 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-00600 EARTHWORKS (Cont'd)
COMPACTION OF FILL (Cont'd)
64 | Compaction of compliant material Class 6A or 6C, for band drain area below embankment. | 1250 | m3 |  |  | 2/8/64 | 965
65 | Compaction of compliant material Class 1, for surcharge of band drain area above embankment. | 2500 | m3 |  |  | 2/8/65 | 964
GEOTEXTILES
66 | Geotextile, separation layer as per specification appendix 6/5. | 5133 | m2 |  |  | 2/8/66 | 821
67 | Geotextiles, Basal Reinforcement in ground improvement area, Huesker® Stabilenka 800 or equivalent approved. | 1031 | m2 |  |  | 2/8/67 | 1041
GROUND IMPROVEMENT
68 | Establishment of Prefabricated Vertical Drain Plant at Location of Temporary Gravel Access Route as indicated on drawing P24112-FT-HEW-L4-DR-GE-0002. | 1 | item |  |  | 2/8/68 | 939
69 | Prefabricated Vertical Drains, 100mm wide, exceeding 5m in length but not exceeding 10m in Length | 8300 | m |  |  | 2/8/69 | 940
SOFT SPOTS AND OTHER VOIDS
70 | Excavation of soft spots and other voids below cuttings or under embankments | 10 | m3 |  |  | 2/8/70 | 826
71 | Filling of soft spots and other voids below cuttings or under embankments with 6N material | 10 | m3 |  |  | 2/8/71 | 827
INSTRUMENTATION AND MONITORING - INSTRUMENTATION
72 | Installation and Monitoring of Piezometers in accordance with Appendix 6/12 | 1 | no |  |  | 2/8/72 | 942
73 | Installation and Monitoring of Settlement Plate in accordance with Appendix 6/12 | 6 | no |  |  | 2/8/73 | 943
74 | Installation and Monitoring of Surface Settlement Points in accordance with Appendix 6/12 | 20 | no |  |  | 2/8/74 | 944
75 | Installation and Monitoring of Structure Survey Monitoring Points in accordance with Appendix 6/12 | 10 | no |  |  | 2/8/75 | 945
GROUND ANCHORAGES & SOIL NAILS - GROUND ANCHORAGE & SOIL NAIL PLANT
76 | Establishment of rock bolting plant at site | 1 | item |  |  | 2/8/76 | 390
P24-112 |  | Page: 2 / 8 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-00600 EARTHWORKS (Cont'd)
GROUND ANCHORAGES & SOIL NAILS
77 | Rock bolts, 51mm Dia. Type 2 High Yield Hollow rock bolt, Dywidag DYWI Drill Hollow Bar R51-800 or similar approved, hot dip galvanised, not exceeding 5 meters in length. Galvanized and Painted Head Plate/Fixings. Start of Tunnel - along the cliff face - Trial anchorages/nails ¦ | 5 | m |  |  | 2/9/77 | 392
78 | Rock bolts, 51mm Dia. Type 2 High Yield Hollow rock bolt, Dywidag DYWI Drill Hollow Bar R51-800 or similar approved, hot dip galvanised, not exceeding 5 meters in length. Galvanized and Painted Head Plate/Fixings. Start of Tunnel - along the cliff face - Trial anchorages/nails ¦ | 5 | m |  |  | 2/9/78 | 394
79 | Rock bolts, 51mm Dia. Type 2 High Yield Hollow rock bolt, Dywidag DYWI Drill Hollow Bar R51-800 or similar approved, hot dip galvanised, exceeding 5 meters not exceeding 10 meters length. Galvanized and Painted Head Plate/Fixings. Ramp - along the cliff face - Trial anchorages/nails ¦ | 5 | m |  |  | 2/9/79 | 395
80 | Rock bolts, 51mm Dia. Type 2 High Yield Hollow rock bolt, Dywidag DYWI Drill Hollow Bar R51-800 or similar approved, hot dip galvanised, not exceeding 5 meters in length. Galvanized and Painted Head Plate/Fixings. End of Tunnel - along the cliff face - Main anchorages/nails ¦ | 935 | m |  |  | 2/9/80 | 393
81 | Rock bolts, 51mm Dia. Type 2 High Yield Hollow rock bolt, Dywidag DYWI Drill Hollow Bar R51-800 or similar approved, hot dip galvanised, exceeding 5 meters not exceeding 10 meters length. Galvanized and Painted Head Plate/Fixings. End of Tunnel - along the cliff face - Main anchorages/nails ¦ | 1200 | m |  |  | 2/9/81 | 396
82 | Rock bolts, 51mm Dia. Type 2 High Yield Hollow rock bolt, Dywidag DYWI Drill Hollow Bar R51-800 or similar approved, hot dip galvanised, exceeding 5 meters not exceeding 10 meters length. Galvanized and Painted Head Plate/Fixings. Ramp - along the cliff face - Main anchorages/nails ¦ | 450 | m |  |  | 2/9/82 | 397
P24-112 |  | Page: 2 / 9 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-00600 EARTHWORKS (Cont'd)
RAKING DRAIN
83 | Rock Face Raking Drain, 60mm Dia. in accordance with SED/600/411 on Drawing P24112-FT-HEW-ZZ-DR-GE- 0603 exceeding 5m in length but not exceeding 10m in length. | 80 | m |  |  | 2/10/83 | 1357
ROCKFALL PROTECTION NETTING
84 | Scaling of exposed face at start of tunnel | 470 | m2 |  |  | 2/10/84 | 1096
85 | Scaling of exposed face at end of tunnel | 570 | m2 |  |  | 2/10/85 | 1097
86 | Scaling of exposed face at ramp | 180 | m2 |  |  | 2/10/86 | 1098
87 | Dentition of weathered rock | 5 | m2 |  |  | 2/10/87 | 1099
88 | Provision of DYWIDAG Close-Knit System or its equivalent behind the rock bolts at start of tunnel | 470 | m |  |  | 2/10/88 | 398
89 | Provision of DYWIDAG Close-Knit System or its equivalent behind the rock bolts at end of tunnel | 570 | m |  |  | 2/10/89 | 1095
90 | Provision of DYWIDAG Close-Knit System or its equivalent behind the rock bolts at ramp | 180 | m |  |  | 2/10/90 | 400
TOPSOILING AND STORAGE OF TOPSOIL
91 | Topsoiling 200mm thick to surfaces sloping at 10° or less to the horizontal | 428 | m2 |  |  | 2/10/91 | 223
92 | Topsoiling 200mm thick to surfaces sloping at more than 10° to the horizontal | 577 | m2 |  |  | 2/10/92 | 224
GRASS SEEDING AND TURFING
93 | Grass seeding to surfaces sloping at 10° or less to the horizontal with seed mix as per Appendix 30/2. | 428 | m2 |  |  | 2/10/93 | 226
94 | Grass seeding to surfaces sloping at more than 10° to the horizontal with seed mix as per Appendix 30/2. | 577 | m2 |  |  | 2/10/94 | 227
COMPLETION OF FORMATION AND SUB- FORMATION
95 | Completion of sub-formation on compliant material | 5133 | m2 |  |  | 2/10/95 | 1210
96 | Completion of formation on compliant material | 5133 | m2 |  |  | 2/10/96 | 830
97 | Completion of formation on rock in cuttings | 391 | m2 |  |  | 2/10/97 | 831
P24-112 |  | Page: 2 / 10 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-00700 PAVEMENTS
SUB-BASE
98 | Sub-Base, Unbound Granular Mixture A (UGM A), 200mm thickness minimum, in Carriageway, hardshoulder and hardstrip for Woodview access road (Drawing ref. P24112-FT-AL-L4-DR-CE-0005) | 72 | m3 |  |  | 2/11/98 | 844
PAVEMENT
99 | Road Pavement, Binder Course, AC20 dense bin 40/60 des, 55mm thickness minimum, in carriageway, hardshoulder or hardstrip for Woodview access road (Drawing ref. P24112-FT-AL-L4-DR-CE-0005) | 360 | m2 |  |  | 2/11/99 | 846
100 | Road Pavement, Surface Course, SMA 14 Surf PMB, 40/60 des, 45mm thickness minimum, in carriageway, hardshoulder or hardstrip for Woodview access road (Drawing ref. P24112-FT-AL-L4-DR-CE-0005) | 360 | m2 |  |  | 2/11/100 | 847
101 | Sand Asphalt, waterproofing protection layer, HRA 0/2 F Surf, 20mm thickness minimum, in carriageway, hardshoulder or hardstrip | 37 | m2 |  |  | 2/11/101 | 931
REINSTATEMENT OF PAVED AREAS
102 | Reinstatement of paved area in accordance with CC- SCD-00705 and pavement Buildup as per Pavement Type A in App 7/1 | 16 | m2 |  |  | 2/11/102 | 1174
P24-112 |  | Page: 2 / 11 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-01100 KERBS, FOOTWAYS AND PAVED AREAS
KERBS, CHANNELS, EDGINGS, COMBINED DRAINAGE AND KERB BLOCKS AND LINEAR DRAINAGE CHANNEL SYSTEMS
103 | Slot Drains, ACO MultiDrain MD Channels M100D 10.0 Constant Depth or Similar Approved | 12 | m |  |  | 2/12/103 | 1057
104 | Slot Drains, ACO MultiDrain MD Channels M100D 20.0 Constant Depth or Similar Approved | 10 | m |  |  | 2/12/104 | 1058
105 | Slot Drains, ACO MultiDrain MD Channels M100D 30.0 Constant Depth or Similar Approved | 3 | m |  |  | 2/12/105 | 1059
FOOTWAYS AND PAVED AREAS
106 | Footways, Greenway, 25mm SMA 10 Surf 70/100 over 50mm AC20 dense bin 70/100 over 200mm UGM A Sub Base, Surfaces sloping at 10° or less to the horizontal. | 3227 | m2 |  |  | 2/12/106 | 193
107 | Footways, Temporary Gravel Access Road, 200mm UGM A, Surfaces sloping at 10° or less to the horizontal. | 1110 | m2 |  |  | 2/12/107 | 285
P24-112 |  | Page: 2 / 12 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-01200 TRAFFIC SIGNS AND ROAD MARKINGS
TRAFFIC SIGNS
108 | Permanent Traffic Signs, Retroflective, TSM ref. W145 Cyclists Dismount , 600mm mounted on 1no. steel pole 76.1mm dia. at Pedestrian Ramp | 2 | no |  |  | 2/13/108 | 1070
109 | Permanent Traffic Signs, Retroflective, TSM ref. W140 Pedestrians, 600mm mounted on 1no. steel pole 76.1mm dia. at Pedestrian Ramp | 1 | no |  |  | 2/13/109 | 1364
ROAD MARKINGS
110 | Road Markings, TSM ref. M111 - 1200mm High Pedestrian Symbol in thermoplastic material, white reflectorised | 8 | no |  |  | 2/13/110 | 230
111 | Road Markings,TSM ref. RRM 036 - 1200mm High x 750mm Wide Cycle Symbol in thermoplastic material, white reflectorised | 8 | no |  |  | 2/13/111 | 231
P24-112 |  | Page: 2 / 13 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-01300 ROAD LIGHTING COLUMNS AND BRACKETS
ROAD LIGHTING COLUMNS, BRACKETS AND WALL MOUNTINGS
112 | Tunnel Light Fitting Wall-Mounted at 1.5 m., with 300x300mm. ground duct access chamber subway lighting unit Kirium Wall lantern, 16 LED-2.7K-500mA- 27w-Frosted - Wide, 1.85klm with 3-hour emergency backup battery pack. | 68 | no |  |  | 2/14/112 | 187
113 | Galvanised steel road lighting column of 5m. nominal height with planted base and no bracket arm, mid- hinged raising and lowering type. including Double Pole Fused cutout unit in base of each lighting column, numbered with lantern type Signify MicroLuma BGP702 DM70 LED-HB-5.2S730, 3000K, 4 klm, 24 watts | 8 | no |  |  | 2/14/113 | 369
114 | Ground Recessed Uplighter, Ligman KIOS 11-K1-60657, 2,297 klm, 25 watt, T2 optic | 2 | no |  |  | 2/14/114 | 257
115 | Bridge lighting housing, DW Windsor Garda Anti-climb handrail light mounting channel, complete with fixings, end stops and accessories, fixed to top flange of Red Bridge. | 138 | m |  |  | 2/14/115 | 368
116 | Handrail Light, DW Windsor Garda Pro Assymetrical 300-4LED 4K 4Watt 0.49 klm to red bridge | 27 | no |  |  | 2/14/116 | 250
117 | Handrail Light DW Windsor Garda Pro Assym 300-4LED 4K 4Watt 0.49 klm to ramp | 34 | no |  |  | 2/14/117 | 256
P24-112 |  | Page: 2 / 14 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-01400 ELECTRICAL WORK FOR ROAD LIGHTING TRAFFIC SIGNS
118 | Lighting Testing, Electrical Testing as per Appendix 14/4 | 1 | item |  |  | 2/15/118 | 406
119 | Lighting Testing, Photometric Testing as per Appendix 14/4 | 1 | item |  |  | 2/15/119 | 407
CABLING
120 | NYCY cable, 2 x 6mm2, in carriageways, footways, bridge decks and paved areas | 250 | m |  |  | 2/15/120 | 373
121 | NYCY cable, 2 x 16mm2, in verges, embankments and cuttings | 900 | m |  |  | 2/15/121 | 374
122 | NYY cable, 5 x 2.5mm2, in carriageways, footways and bridge deck and paved areas | 40 | m |  |  | 2/15/122 | 375
123 | NYY cable, 3 x 2.5mm2, in verges, embankments and cuttings | 1020 | m |  |  | 2/15/123 | 376
CABLE JOINTS AND TERMINATIONS
124 | Cable termination 2 x 6mm2 NYCY cable in distribution pillars and lighting columns | 16 | no |  |  | 2/15/124 | 379
125 | Cable termination 2 x 16mm2 NYCY cable in distribution pillars. | 14 | no |  |  | 2/15/125 | 380
126 | Cable termination 5 x 2.5mm2 NYY cable in column fuse units and lanterns. | 16 | no |  |  | 2/15/126 | 381
127 | Cable termination 3 x 2.5mm2 NYY cable in tunnel wall and ground-recessed lanterns. | 140 | no |  |  | 2/15/127 | 382
128 | Cable termination Install and connect plug-in LV cable loom from drivers to each handrail light. | 61 | no |  |  | 2/15/128 | 384
FEEDER PILLARS
129 | Galvanised steel metered 2-door distribution pillar for single-phase distribution, including marine plywood baseboard and all internal electrical equipment and provision for ESB equipment. | 1 | no |  |  | 2/15/129 | 262
130 | Galvanised steel unmetered sub-distribution pillar for single-phase distribution, including marine plywood baseboard and all internal electrical equipment. | 5 | no |  |  | 2/15/130 | 263
131 | Galvanised steel unmetered sub-distribution pillar for single-phase distribution, including marine plywood baseboard and all internal electrical equipment, provision for future CCTV installation | 4 | no |  |  | 2/15/131 | 1081
P24-112 |  | Page: 2 / 15 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-01400 ELECTRICAL WORK FOR ROAD LIGHTING TRAFFIC SIGNS (Cont'd)
FEEDER PILLARS (Cont'd)
132 | Galvanised steel unmetered sub-distribution pillar for single-phase distribution, including marine plywood baseboard and all internal electrical equipment and provision for handrail light driver and all other equipment and accessories. | 1 | no |  |  | 2/16/132 | 371
P24-112 |  | Page: 2 / 16 |  | To Collection | 0
PART 2 - ROADWORKS
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
ROADWORKS GENERAL (Cont'd)
CC-RMP-01500 MOTORWAY COMMUNICATIONS
COMMUNICATIONS CABLING AND TRENCH FOR COMMUNICATIONS CABLE
133 | CCTV Pole Socket to accommodate 168mm dia. 8m pole in accordance with Public Lighting Column Sleeved Foundation detail on Drawing P24112-FT-LT-L4-DR-CE- 0005 with pipe extending to surface level and infilled with sand. | 4 | no |  |  | 2/17/133 | 1080
P24-112 |  | Page: 2 / 17 |  | To Collection | 0
PART 2 - ROADWORKS
| Description |  |  |  | Amount | BQIndex | InputNo
| Page: 2 / 1 |  |  |  | 0
| Page: 2 / 2 |  |  |  | 0
| Page: 2 / 3 |  |  |  | 0
| Page: 2 / 4 |  |  |  | 0
| Page: 2 / 5 |  |  |  | 0
| Page: 2 / 6 |  |  |  | 0
| Page: 2 / 7 |  |  |  | 0
| Page: 2 / 8 |  |  |  | 0
| Page: 2 / 9 |  |  |  | 0
| Page: 2 / 10 |  |  |  | 0
| Page: 2 / 11 |  |  |  | 0
| Page: 2 / 12 |  |  |  | 0
| Page: 2 / 13 |  |  |  | 0
| Page: 2 / 14 |  |  |  | 0
| Page: 2 / 15 |  |  |  | 0
| Page: 2 / 16 |  |  |  | 0
| Page: 2 / 17 |  |  |  | 0
P24-112 |  | Page: 2 / 18 |  | To Summary | 0

## Bill PART 3 - ST01 RED BRIDGE
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SPECIAL PRELIMINARIES
CC-RMP-00100 PRELIMINARIES
RED BRIDGE TEMPORARY WORKS STRUCTURES DESIGNED BY THE CONTRACTOR
1 | Erection of Red Bridge Temporary Works Structure designed by the Contractor in accordance with Appendix 1/11 | 1 | item |  |  | 3/1/1 | 1020
2 | Maintenance of Red Bridge Temporary Works Structure designed by the Contractor in accordance with Appendix 1/11, until completion of works | 1 | item |  |  | 3/1/2 | 1021
3 | Dismantling of Red Bridge Temporary Works Structure designed by the Contractor in accordance with Appendix 1/11, upon completion of the works | 1 | item |  |  | 3/1/3 | 1022
P24-112 |  | Page: 3 / 1 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE
CC-RMP-00200 SITE CLEARANCE
SITE CLEARANCE
4 | Partial demolition of individual structures, demolition of pier bracing steelwork as shown in drawing series P24112-FT-ST01-L4-DR-SE-0003 to P24112-FT-ST01-L4- DR-SE-0009. Allow for phased removal in conjunction with the installation of the new bracing steelwork. | 1 | item |  |  | 3/2/4 | 954
5 | Partial demolition of individual structures, concrete retaining wall behind the south abutment with dimensions 6m (wide) x 1.8m (height) x 1.0m (Thick). Refer also to Note No. 11 on Drawing P24112-FT-ST01- L4-DR-SE-0025. | 1 | item |  |  | 3/2/5 | 1040
P24-112 |  | Page: 3 / 2 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE (Cont'd)
CC-RMP-00500 DRAINAGE AND SERVICE DUCTS
DRAINAGE AND SERVICE DUCTS IN STRUCTURES (INCLUDING REINFORCED EARTH STRUCTURES AND ANCHORED EARTH STRUCTURES)
6 | Drainage, Substructures - End Supports. Include for back of wall drainage, headwalls, outfall pipe and openings through concrete wingwalls at both abutments. | 1 | item |  |  | 3/3/6 | 1107
7 | Service Ducts, Substructures - End Supports. Include for ducting, openings through concrete walls and two draw pits at both abutments. | 1 | item |  |  | 3/3/7 | 1110
P24-112 |  | Page: 3 / 3 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE (Cont'd)
CC-RMP-00600 EARTHWORKS
EXCAVATION
8 | Excavation of non-compliant material in structural foundations 0 metres to 3 metres in depth. | 72 | m3 |  |  | 3/4/8 | 881
DISPOSAL OF MATERIAL
9 | Disposal of non-compliant excavated material | 72 | m3 |  |  | 3/4/9 | 883
IMPORTED FILL
10 | Import compliant material Class 6N/6P fill above structural foundations | 40 | m3 |  |  | 3/4/10 | 1309
11 | Import compliant material Class 6N/6P fill to structures | 32 | m3 |  |  | 3/4/11 | 885
COMPACTION OF FILL
12 | Compaction of compliant material Class 6N/6P fill above structural foundations | 40 | m3 |  |  | 3/4/12 | 1310
13 | Compaction of compliant material Class 6N/6P fill to structures | 32 | m3 |  |  | 3/4/13 | 887
P24-112 |  | Page: 3 / 4 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE (Cont'd)
CC-RMP-01700 STRUCTURAL CONCRETE
IN SITU CONCRETE
14 | In situ concrete C40/50 with 50% GGBS for abutment walls and foundations | 17 | m3 |  |  | 3/5/14 | 319
15 | In situ concrete Blinding concrete 75mm or less in thickness | 2 | m3 |  |  | 3/5/15 | 877
SURFACE FINISH OF CONCRETE - FORMWORK
16 | Formwork 300mm wide or less at any inclination. Class F1. | 12 | m2 |  |  | 3/5/16 | 899
17 | Formwork 300mm wide or less at any inclination. Class F3. | 12 | m2 |  |  | 3/5/17 | 1111
18 | Formwork vertical more than 300mm wide. Class F1. | 60 | m2 |  |  | 3/5/18 | 900
STEEL REINFORCEMENT FOR STRUCTURES
19 | Bar reinforcement Nominal size of 16 mm and under | 2.3 | t |  |  | 3/5/19 | 902
20 | Installation of HILTI M24 dia anchors post-installed embedment depth of 220 mm, using mortar of type HIT-RE 500V4+ HAS-U | 42 | no |  |  | 3/5/20 | 903
P24-112 |  | Page: 3 / 5 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE (Cont'd)
CC-RMP-01800 STRUCTURAL STEELWORK
FABRICATION AND ERECTION OF STEELWORK
21 | Fabrication of Subsidiary Steelwork, rolled sections, grade S355 steel | 8.5 | t |  |  | 3/6/21 | 876
22 | Permanent erection of substructure pier bracing. Allow for phased installation in conjunction with the removal of the existing bracing steelwork. | 8.5 | t |  |  | 3/6/22 | 1112
P24-112 |  | Page: 3 / 6 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE (Cont'd)
CC-RMP-01900 PROTECTION OF STEELWORK AGAINST CORROSION
PROTECTIVE SYSTEM
23 | Corrosion protection system, Type II, to substructure steelworks | 220 | m2 |  |  | 3/7/23 | 910
P24-112 |  | Page: 3 / 7 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE (Cont'd)
CC-RMP-02000 WATERPROOFING FOR STRUCTURES
WATERPROOFING
24 | Two coats of epoxy resin waterproofing paint, more than 300mm wide horizontal or at any inclination up to and including 30deg to the horizontal. | 17 | m2 |  |  | 3/8/24 | 1114
25 | Two coats of epoxy resin waterproofing paint, more than 300mm wide at any inclination more than 30deg up to and including 90deg to the horizontal. | 60 | m2 |  |  | 3/8/25 | 1115
26 | Two coats of epoxy resin waterproofing paint, 300mm wide or less at any inclination. | 12 | m2 |  |  | 3/8/26 | 1116
P24-112 |  | Page: 3 / 8 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUPERSTRUCTURE
CC-RMP-00200 SITE CLEARANCE
SITE CLEARANCE
27 | Partial demolition of individual structures, demolition of track support steelwork as shown in drawing series P24112-FT-ST01-L4-DR-SE-0003 to P24112-FT-ST01-L4- DR-SE-0009. | 1 | item |  |  | 3/9/27 | 1106
28 | Partial demolition of individual structures, removal and replacement of existing channel sections P24112-FT- ST01-L4-DR-SE-0003 to P24112-FT-ST01-L4-DR-SE- 0009 | 1 | item |  |  | 3/9/28 | 1244
29 | Partial demolition of individual structures, demolition of existing handrails and supports as shown in drawing series P24112-FT-ST01-L4-DR-SE-0003 to P24112-FT- ST01-L4-DR-SE-0009. | 1 | item |  |  | 3/9/29 | 1245
TAKE UP OR DOWN AND SET ASIDE FOR REUSE OR REMOVE TO STORE OR TIP OFF SITE
30 | Take up or down and set aside for reuse, existing rail track. Rails to be reused in the barrier structure at the ends of the masonry lining within Mount Elliott Tunnelway. | 363 | m |  |  | 3/9/30 | 1105
P24-112 |  | Page: 3 / 9 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUPERSTRUCTURE (Cont'd)
CC-RMP-00500 DRAINAGE AND SERVICE DUCTS
DRAINAGE AND SERVICE DUCTS IN STRUCTURES
31 | Service Ducts, Superstructure. Galvanised steel conduit, 30 mm. diameter, complete with all fixings and accessories for connection to lighting fixtures. | 1 | item |  |  | 3/10/31 | 988
32 | Service Ducts, Superstructure. Include for four 100 mm Dia. UPVC ducts underslung below the bridge deck with required supports and connection to substructure ducting at abutments. | 1 | item |  |  | 3/10/32 | 1117
P24-112 |  | Page: 3 / 10 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUPERSTRUCTURE (Cont'd)
CC-RMP-01100 KERBS, FOOTWAYS AND PAVED AREAS
FOOTWAYS AND PAVED AREAS
33 | Footways to bridge deck comprising Glass Fibre Reinforced Polymer (GRP) planks with slip resistant finish. Krafton GRP Bridge Decking Plank 400.80 or similar approved. Include for EPDM Rubber between Steel Section and Plank, edge finishing angles and fixings to connect to deck. Surfaces sloping at 10° or less to the horizontal | 820 | m2 |  |  | 3/11/33 | 103
P24-112 |  | Page: 3 / 11 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUPERSTRUCTURE (Cont'd)
CC-RMP-01800 STRUCTURAL STEELWORK
VISUAL INSPECTION OF HISTORIC STEEL STRUCTURES
34 | Visual inspection of Historic Steel Structures in accordance with Appendix 18/2 | 1 | item |  |  | 3/12/34 | 1025
IN-SITU NON-DESTRUCTIVE TESTS
35 | Hardness test | 50 | no |  |  | 3/12/35 | 1027
36 | X-Ray Fluroscence (XRF) tests | 50 | no |  |  | 3/12/36 | 1202
37 | Ultrasonic tests | 10 | no |  |  | 3/12/37 | 1029
38 | Magnetic Particle Inspection | 10 | no |  |  | 3/12/38 | 1030
LABORATORY TESTING
39 | Metal samples for testing | 10 | no |  |  | 3/12/39 | 1032
40 | Paint Chip Samples for testing | 2 | no |  |  | 3/12/40 | 1355
41 | Tensile tests on material samples | 10 | no |  |  | 3/12/41 | 1033
42 | Hardness tests on material samples | 10 | no |  |  | 3/12/42 | 1034
43 | Chemical Composition tests on material samples | 10 | no |  |  | 3/12/43 | 1035
44 | Metallographic Examination on material samples | 10 | no |  |  | 3/12/44 | 1036
45 | Paint Chip Analysis on Paint Samples | 2 | no |  |  | 3/12/45 | 1354
FABRICATION AND ERECTION OF STEELWORK
46 | Fabrication of main members, rolled sections, grade S355 steel. | 23 | t |  |  | 3/12/46 | 305
47 | Fabrication of replacement diagonal bracings in truss span, Flats 4300 X 113 X 13.3mm, grade S355 steel. (10 Nr.) | 0.6 | t |  |  | 3/12/47 | 932
48 | Fabrication of replacement plan bracings, truss span, Flats 3000 X 115 X 16.5mm, grade S355 steel. (10 Nr.) | 0.5 | t |  |  | 3/12/48 | 933
49 | Fabrication of replacement plan bracings, swivel span, Flats 3000 X 75 X 10mm, grade S355 steel. (10 Nr.) | 0.2 | t |  |  | 3/12/49 | 1118
50 | Fabrication of replacement plan bracing connection plate, Flats 300 X 200 X 10mm, grade S355 steel. (20 Nr.) | 0.1 | t |  |  | 3/12/50 | 934
51 | Fabrication of web repair plates as per drawing P24112- FT-ST01-L4-DR-SE-0050, grade S355 steel. (10 Nr.) | 1 | t |  |  | 3/12/51 | 935
P24-112 |  | Page: 3 / 12 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUPERSTRUCTURE (Cont'd)
CC-RMP-01800 STRUCTURAL STEELWORK (Cont'd)
FABRICATION AND ERECTION OF STEELWORK (Cont'd)
52 | Fabrication of cross beam flange repair plates as per drawing P24112-FT-ST01-L4-DR-SE-0050, grade S355 steel. (10 Nr.) | 0.5 | t |  |  | 3/13/52 | 936
53 | Fabrication of truss top chord or bottom chord repair plates as per drawing P24112-FT-ST01-L4-DR-SE-0051, grade S355 steel. (10 Nr.) | 2 | t |  |  | 3/13/53 | 937
54 | Permanent erection of steel superstructure construction | 23 | t |  |  | 3/13/54 | 1119
55 | Permanent erection of of replacement of diagonal bracings in truss span. | 0.6 | t |  |  | 3/13/55 | 1120
56 | Permanent erection of of replacement of plan bracings. | 0.7 | t |  |  | 3/13/56 | 1121
57 | Permanent erection of of replacement of plan bracings connection plates. | 0.1 | t |  |  | 3/13/57 | 1122
58 | Permanent erection of web repair plates. | 1 | t |  |  | 3/13/58 | 1123
59 | Permanent erection of cross beam flange repair plates. | 0.5 | t |  |  | 3/13/59 | 1124
60 | Permanent erection of truss top cord or bottom cord repair plates. | 2 | t |  |  | 3/13/60 | 1125
MISCELLANEOUS METALWORK
61 | Rivet Replacement at locations identified by the Employer, with M16 Tension Control Bolts Class 10.9/10 to IS EN 14399-10. Bolts, nuts and washers to be hot- dip spun galvanised. | 25 | no |  |  | 3/13/61 | 1359
62 | Rivet Replacement at locations identified by the Employer, with M20 Tension Control Bolts Class 10.9/10 to IS EN 14399-10. Bolts, nuts and washers to be hot- dip spun galvanised. | 25 | no |  |  | 3/13/62 | 1360
63 | Miscellaneous metalwork, Contractor Designed clamping system for truss spans lighting. Detail 1 on Drg. P24112-FT-ST01-L4-DR-SE-0036. | 576 | no |  |  | 3/13/63 | 313
64 | Miscellaneous metalwork, Contractor Designed clamping system for mesh infill panels. Detail 4 on Drg. P24112-FT-ST01-L4-DR-SE-0036. | 576 | no |  |  | 3/13/64 | 314
P24-112 |  | Page: 3 / 13 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUPERSTRUCTURE (Cont'd)
CC-RMP-01900 PROTECTION OF STEELWORK AGAINST CORROSION
PROTECTIVE SYSTEM
65 | Corrosion protection system, Type II, to superstructure steelworks | 750 | m2 |  |  | 3/14/65 | 1127
MAINTENANCE & PAINTING OF STEELWORK
66 | Surface preparation, steelwork repair areas | 80 | m2 |  |  | 3/14/66 | 1062
67 | Corrosion protection system, Type II(M), to steelwork repair areas. | 80 | m2 |  |  | 3/14/67 | 1063
P24-112 |  | Page: 3 / 14 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUPERSTRUCTURE (Cont'd)
CC-RMP-02100 BRIDGE BEARINGS
BRIDGE DECK JACKING
68 | Bridge Deck Jacking for Truss Spans | 1 | item |  |  | 3/15/68 | 1247
BEARINGS
69 | Linear Rocker Bearings | 8 | no |  |  | 3/15/69 | 918
70 | Installation of Linear Rocker bearings | 8 | no |  |  | 3/15/70 | 919
REFURBISHMENT OF EXISTING BEARINGS
71 | Refurbishment of Existing Fixed Bearings | 8 | no |  |  | 3/15/71 | 1249
P24-112 |  | Page: 3 / 15 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUPERSTRUCTURE (Cont'd)
CC-RMP-02300 BRIDGE EXPANSION JOINTS AND SEALING OF GAPS
BRIDGE DECK EXPANSION JOINTS
72 | Bridge deck expansion joints, fabricated stainless steel joint, 4.5m long at Pier 1 and 5, with gap width of 75mm as shown on Drawing P24112-FT-ST01-L4-DR- SE-0033. | 2 | no |  |  | 3/16/72 | 1130
73 | Bridge deck expansion joints, fabricated stainless steel joint, 4.5m long at Pier 2 and 4 with gap width of 67mm as shown on Drawing P24112-FT-ST01-L4-DR-SE-0033. | 2 | no |  |  | 3/16/73 | 1131
74 | Bridge deck expansion joints, fabricated stainless steel joint, 4.5m long at Abutments with gap width of 50mm as shown on Drawing P24112-FT-ST01-L4-DR-SE-0028. | 2 | no |  |  | 3/16/74 | 1132
P24-112 |  | Page: 3 / 16 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
FINISHES
CC-RMP-00400 ROAD RESTRAINT SYSTEMS (VEHICLE AND PEDESTRIAN)
PEDESTRIAN PARAPETS, PEDESTRIAN GUARDRAILS AND HANDRAILS
75 | Pedestrian guardrails, 1450mm high galvanised steel guardrail to swivel span of steel bridge. Include for connections to steel deck. | 66 | m |  |  | 3/17/75 | 155
76 | Handrails, stainless steel handrail, DW Windsor or similar approved to accommodate bridge deck lighting. | 66 | m |  |  | 3/17/76 | 1268
77 | Pedestrian guardrails, 1450mm high galvanised steel guardrail to abutment walls. Include for connections to concrete wall. | 12 | m |  |  | 3/17/77 | 1136
78 | Pedestrian guardrails, 1855mm high Stainless Steel Mesh attached to existing steel bridge truss, Graepels Classic Woven Wire or Similar Approved. Include for stainless steel frame and connections to existing steel bridge truss. | 521 | m2 |  |  | 3/17/78 | 153
P24-112 |  | Page: 3 / 17 |  | To Collection | 0
PART 3 - ST01 RED BRIDGE
| Description |  |  |  | Amount | BQIndex | InputNo
| Page: 3 / 1 |  |  |  | 0
| Page: 3 / 2 |  |  |  | 0
| Page: 3 / 3 |  |  |  | 0
| Page: 3 / 4 |  |  |  | 0
| Page: 3 / 5 |  |  |  | 0
| Page: 3 / 6 |  |  |  | 0
| Page: 3 / 7 |  |  |  | 0
| Page: 3 / 8 |  |  |  | 0
| Page: 3 / 9 |  |  |  | 0
| Page: 3 / 10 |  |  |  | 0
| Page: 3 / 11 |  |  |  | 0
| Page: 3 / 12 |  |  |  | 0
| Page: 3 / 13 |  |  |  | 0
| Page: 3 / 14 |  |  |  | 0
| Page: 3 / 15 |  |  |  | 0
| Page: 3 / 16 |  |  |  | 0
| Page: 3 / 17 |  |  |  | 0
P24-112 |  | Page: 3 / 18 |  | To Summary | 0

## Bill PART 4 - ST02 MOUNT ELLIOT
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
PILING
CC-RMP-01600 PILING AND EMBEDDED RETAINING WALLS
PILING PLANT
1 | Establishment of piling plant for 600mm dia. Bored cast-in-place piles in preliminary piling | 1 | item |  |  | 4/1/1 | 851
2 | Establishment of piling plant for 600mm dia. bored cast-in-place piles in main piling | 1 | item |  |  | 4/1/2 | 104
3 | Moving piling plant for 600mm dia. bored cast-in-place piles in main piling | 6 | no |  |  | 4/1/3 | 105
CAST-IN-PLACE PILES
4 | Cast in place piles to pile shafts, Vertical 600mm dia. C32/40 GGBS concrete bored cast-in-place Pile shafts exceeding 10 m in length but not exceeding 15 m in length in preliminary piling | 15 | m |  |  | 4/1/4 | 801
5 | Cast in place piles to pile shafts, Vertical 600mm dia. C32/40 GGBS concrete bored cast-in-place Pile shafts exceeding 10 m in length but not exceeding 15 m in length in main piling | 90 | m |  |  | 4/1/5 | 106
REINFORCEMENT FOR CAST-IN-PLACE PILES
6 | Bar reinforcement Nominal size 16 millimetres and under Grade B500B Bars not exceeding 12 metres in length | 1.73 | t |  |  | 4/1/6 | 353
7 | Helical reinforcement Nominal size 16 millimetres and under Grade B500B Bars not exceeding 12 metres in length | 0.82 | t |  |  | 4/1/7 | 108
PROOF LOADING OF PILES
8 | Establishment of proof loading equipment 600mm dia. bored cast-in-place piles preliminary piles maintained vertical load | 1 | item |  |  | 4/1/8 | 120
9 | Establishment of proof loading equipment 600mm dia. bored cast-in-place piles main piles dynamic load vertical | 1 | item |  |  | 4/1/9 | 121
10 | Proof loading of piles 600mm dia. bored cast-in-place piles preliminary piles maintained load vertical | 1 | no |  |  | 4/1/10 | 122
11 | Integrity testing of piles, 600mm dia. bored cast-in- place main piles | 6 | no |  |  | 4/1/11 | 986
12 | Proof loading of piles 600mm dia. bored cast-in-place piles main piles dynamic load vertical | 1 | no |  |  | 4/1/12 | 123
P24-112 |  | Page: 4 / 1 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE
CC-RMP-00200 SITE CLEARANCE
TAKE UP OR DOWN AND SET ASIDE FOR REUSE OR REMOVE TO STORE OR TIP OFF SITE
13 | Take up or down and set aside for reuse Stonework | 6 | m3 |  |  | 4/2/13 | 798
14 | Take up or down and remove to tip off site Stonework | 14 | m3 |  |  | 4/2/14 | 854
P24-112 |  | Page: 4 / 2 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE (Cont'd)
CC-RMP-00500 DRAINAGE AND SERVICE DUCTS
DRAINAGE AND SERVICE DUCTS IN STRUCTURES
15 | Drainage of the two abutments - end supports as shown in drawings. Include for back of wall drainage, Rodding Eye, Manhole and outfall pipe | 1 | item |  |  | 4/3/15 | 957
P24-112 |  | Page: 4 / 3 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE (Cont'd)
CC-RMP-00600 EARTHWORKS
EXCAVATION
16 | Excavation of non-compliant material, in cutting and other excavation. | 120 | m3 |  |  | 4/4/16 | 165
DISPOSAL OF MATERIAL
17 | Disposal of non-compliant excavated material | 120 | m3 |  |  | 4/4/17 | 850
P24-112 |  | Page: 4 / 4 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE (Cont'd)
CC-RMP-01700 STRUCTURAL CONCRETE
IN SITU CONCRETE
18 | In situ concrete C40/50 GGBS | 32 | m3 |  |  | 4/5/18 | 749
SURFACE FINISH OF CONCRETE - FORMWORK
19 | Formwork Vertical more than 300mm wide F1 | 54 | m2 |  |  | 4/5/19 | 112
SURFACE FINISH OF CONCRETE - PATTERNED PROFILE FORMWORK
20 | Patterned and profile work Vertical Pattern profile finish | 65 | m2 |  |  | 4/5/20 | 118
STEEL REINFORCEMENT FOR STRUCTURES
21 | Bar reinforcement nominal size of 16 mm and under Grade B500B not exceeding 12 metres in length | 3.95 | t |  |  | 4/5/21 | 1254
22 | Bar reinforcement Nominal size of 20 mm and over Grade B500B not exceeding 12 metres in length | 1.27 | t |  |  | 4/5/22 | 1258
P24-112 |  | Page: 4 / 5 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE (Cont'd)
CC-RMP-02000 WATERPROOFING FOR STRUCTURES
WATERPROOFING
23 | Waterproofing surface impregnation of concrete, hydrophobic pore liner | 54 | m2 |  |  | 4/6/23 | 1259
24 | Waterproofing 2 coats Epoxy resin waterproof paint More than 300mm wide at any inclination more than 30° up to and including 90° to the horizontal | 54 | m2 |  |  | 4/6/24 | 202
P24-112 |  | Page: 4 / 6 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE (Cont'd)
CC-RMP-02400 BRICKWORK, BLOCKWORK AND STONEWORK
BLOCKWORK AND STONEWORK
25 | Copings, stonework of different sizes | 30 | m |  |  | 4/7/25 | 853
CLEANING AND REMOVAL OF VEGETATION AND DEBRIS FROM MASONRY OR CONCRETE
26 | Cleaning and removal of vegetation and debris from masonry or concrete vertical surfaces | 113 | m2 |  |  | 4/7/26 | 856
REPLACEMENT OF MISSING AND DEFECTIVE STONEWORK
27 | Removal and replacement of defective stonework in piers and abutments | 2 | m3 |  |  | 4/7/27 | 1282
28 | Removal and replacement of defective stonework in spandrel walls | 3 | m3 |  |  | 4/7/28 | 1283
MASONRY REPOINTING
29 | Masonry repointing of historic structures, granite stonework with NHL 2 Lime mortar, joint thickness 15- 40mm, finish and joint preparation in accordance with CC-SPW-02400 in walls | 57 | m2 |  |  | 4/7/29 | 757
P24-112 |  | Page: 4 / 7 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUBSTRUCTURE (Cont'd)
CC-RMP-02500 SPECIAL STRUCTURES
SPECIAL STRUCTURES DESIGNED BY THE CONTRACTOR
30 | Reinforced soil embankments on north and south approach to the structure | 1 | item |  |  | 4/8/30 | 1154
P24-112 |  | Page: 4 / 8 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUPERSTRUCTURE
CC-RMP-00500 DRAINAGE AND SERVICE DUCTS
DRAINAGE AND SERVICE DUCTS IN STRUCTURES (INCLUDING REINFORCED EARTH STRUCTURES AND ANCHORED EARTH STRUCTURES)
31 | Service Ducts Two number 100mm internal diameter Type C UPVC in each concrete verge on superstructure | 1 | item |  |  | 4/9/31 | 1179
P24-112 |  | Page: 4 / 9 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUPERSTRUCTURE (Cont'd)
CC-RMP-01100 KERBS, FOOTWAYS AND PAVED AREAS
KERBS, CHANNELS, EDGINGS, COMBINED DRAINAGE AND KERB BLOCKS AND LINEAR DRAINAGE CHANNEL SYSTEMS
32 | Kerbs Precast Kerbs - Precast Kerb Units (CC-SCD- 01109) - Type 1 Straight or curved exceeding 12 metres radius | 25 | m |  |  | 4/10/32 | 1182
FOOTWAYS AND PAVED AREAS
33 | Footways C40/50 concrete verge 75mm thick in No Fines C25/30 concrete infill 210mm thick surfaces sloping at 10° or less to the horizontal | 13 | m2 |  |  | 4/10/33 | 1186
P24-112 |  | Page: 4 / 10 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUPERSTRUCTURE (Cont'd)
CC-RMP-01700 STRUCTURAL CONCRETE
IN SITU CONCRETE
34 | In situ concrete C40/50 GGBS | 8 | m3 |  |  | 4/11/34 | 84
35 | In situ concrete bedding mortar below precast concrete slabs, 50mm thick, 40MPa compressive strength, EPIBEAR Bearing Mortar or similar approved. | 1 | m3 |  |  | 4/11/35 | 1191
PRECAST CONCRETE
36 | Precast concrete slab 7800mm x 2300mm x 350mm dp. C50/60 GGBS | 2 | no |  |  | 4/11/36 | 86
SURFACE FINISH OF CONCRETE - FORMWORK
37 | Formwork Vertical more than 300mm wide F3 | 23 | m2 |  |  | 4/11/37 | 113
38 | Formwork 300mm Wide or less and any inclination F4 | 8 | m2 |  |  | 4/11/38 | 358
STEEL REINFORCEMENT FOR STRUCTURES
39 | Bar reinforcement nominal size of 16 mm and under Grade B500B not exceeding 12 metres in length | 0.4 | t |  |  | 4/11/39 | 110
P24-112 |  | Page: 4 / 11 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
SUPERSTRUCTURE (Cont'd)
CC-RMP-02000 WATERPROOFING FOR STRUCTURES
WATERPROOFING
40 | Sprayed Applied Bridge Deck Waterproofing More than 300mm wide horizontal or at any inclination up to and including 30° to the horizontal | 35 | m2 |  |  | 4/12/40 | 1142
41 | Sprayed Applied Bridge Deck Waterproofing More than 300mm wide horizontal or at any inclination more than 30° to the horizontal up to and including 90° to the horizontal | 5 | m2 |  |  | 4/12/41 | 1143
42 | Sprayed Applied Bridge Deck Waterproofing 300mm wide or less at any inclination | 2 | m2 |  |  | 4/12/42 | 1144
43 | Waterproofing surface impregnation of concrete, hydrophobic pore liner | 4 | m2 |  |  | 4/12/43 | 1260
P24-112 |  | Page: 4 / 12 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
FINISHES
CC-RMP-00400 ROAD RESTRAINT SYSTEMS (VEHICLE AND PEDESTRIAN)
PEDESTRIAN PARAPETS, PEDESTRIAN GUARDRAILS AND HANDRAILS
44 | Pedestrian guardrails 1450mm high galvanised steel guardrail to abutment walls. Include for connections to concrete. | 25 | m |  |  | 4/13/44 | 89
P24-112 |  | Page: 4 / 13 |  | To Collection | 0
PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE
| Description |  |  |  | Amount | BQIndex | InputNo
| Page: 4 / 1 |  |  |  | 0
| Page: 4 / 2 |  |  |  | 0
| Page: 4 / 3 |  |  |  | 0
| Page: 4 / 4 |  |  |  | 0
| Page: 4 / 5 |  |  |  | 0
| Page: 4 / 6 |  |  |  | 0
| Page: 4 / 7 |  |  |  | 0
| Page: 4 / 8 |  |  |  | 0
| Page: 4 / 9 |  |  |  | 0
| Page: 4 / 10 |  |  |  | 0
| Page: 4 / 11 |  |  |  | 0
| Page: 4 / 12 |  |  |  | 0
| Page: 4 / 13 |  |  |  | 0
P24-112 |  | Page: 4 / 14 |  | To Summary | 0

## Bill PART 5 - ST03 MOUNT ELLIOT
PART 5 - ST03 MOUNT ELLIOTT TUNNEL
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION
CC-RMP-00100 PRELIMINARIES
OPERATIVES FOR THE EMPLOYER'S REPRESENTATIVE
1 | Operative for Employers Representative, including provision of MEWP or appropriate working platform to inspect rubble above arch barrels at ends of lined sections in tunnel. | 6 | day |  |  | 5/1/1 | 1103
P24-112 |  | Page: 5 / 1 |  | To Collection | 0
PART 5 - ST03 MOUNT ELLIOTT TUNNEL
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION (Cont'd)
CC-RMP-00200 SITE CLEARANCE
CLEANING OF MOUNT ELLIOTT TUNNEL
2 | Cleaning of Tunnel using Power Washing | 6600 | m2 |  |  | 5/2/2 | 1005
3 | Cleaning of Tunnel using Steam Cleaning or Mild Abrasive Cleaning | 2240 | m2 |  |  | 5/2/3 | 1006
4 | Structure Vegetation Clearance at entrance and above portals of tunnel | 628 | m2 |  |  | 5/2/4 | 1002
P24-112 |  | Page: 5 / 2 |  | To Collection | 0
PART 5 - ST03 MOUNT ELLIOTT TUNNEL
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION (Cont'd)
CC-RMP-01500 MOTORWAY COMMUNICATIONS
COMMUNICATIONS EQUIPMENT
5 | Communications Equipment, Tunnel Emergency Telephone System Designed by Contractor as outlined in the Works Specification, at two locations as indicated on Drawings P24112-FT-ST03-L4-DR-SE-0002 - 0004 | 1 | no |  |  | 5/3/5 | 1009
P24-112 |  | Page: 5 / 3 |  | To Collection | 0
PART 5 - ST03 MOUNT ELLIOTT TUNNEL
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION (Cont'd)
CC-RMP-01700 STRUCTURAL CONCRETE
STRUCTURAL CONCRETE REPAIRS
6 | Structurak Concrete Repairs to Concrete Walls of Lined Section of Tunnel , including breaking back of defective concrete (approx. max 100mm deep) using a Class R4 mortar and finish to match with existing | 3 | m2 |  |  | 5/4/6 | 993
IN SITU CONCRETE
7 | In situ concrete C32/40 for Foundations to Barrier at end of Masonry Lined Sections of Tunnel | 3 | m3 |  |  | 5/4/7 | 1015
P24-112 |  | Page: 5 / 4 |  | To Collection | 0
PART 5 - ST03 MOUNT ELLIOTT TUNNEL
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION (Cont'd)
CC-RMP-01800 STRUCTURAL STEELWORK
FABRICATION AND ERECTION OF STEELWORK
8 | Cutting and Erection of Reclaimed Rail Sections from Red Bridge for use as Barriers at End of Masonry Sections as per Elevation 4 on Drawing P24112-FT- ST03-L4-DR-SE-0007 and the Works Specification at the locations indicated on Drawings P24112-FT-ST03-L4- DR-SE-0002 - 0004 | 3.59 | t |  |  | 5/5/8 | 1018
P24-112 |  | Page: 5 / 5 |  | To Collection | 0
PART 5 - ST03 MOUNT ELLIOTT TUNNEL
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION (Cont'd)
CC-RMP-02400 BRICKWORK, BLOCKWORK AND STONEWORK
REPLACEMENT OF MISSING AND DEFECTIVE STONEWORK
9 | Removal and replacement of defective stonework in arch soffits and barrels, existing coping above Tunnel Entrance Portals | 5 | m3 |  |  | 5/6/9 | 1305
MASONRY REPOINTING
10 | Repointing brickwork clay bricks with NHL 3.5 Mortar, lamp black, typical joint thickness 15-30mm in arches | 116 | m2 |  |  | 5/6/10 | 190
11 | Repointing stonework with NHL 3.5 Mortar, lamp black, typical joint thickness 10-25mm in walls | 65 | m2 |  |  | 5/6/11 | 994
MASONRY STITCHING
12 | Masonry Stitching with 4.5mm Helifix Stainless Steel HeliBar or similar, Cracks not exceeding 2 metres in length, at every 4th course. Fixed using Helifix HeliBond grout or similar. | 16 | m |  |  | 5/6/12 | 996
P24-112 |  | Page: 5 / 6 |  | To Collection | 0
PART 5 - ST03 MOUNT ELLIOTT TUNNEL
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION (Cont'd)
CC-RMP-02500 SPECIAL STRUCTURES
SPECIAL STRUCTURES
13 | Special Structure, Tensile Fabric Duopitch Canopy Designed by Contractor in accordance with the Works Specifcation and Drawing P24112-FT-ST03-L4-DR-SE- 0008 at 2 locations as indicated in Drawings P24112-FT- ST03-L4-DR-SE-0002 and P24112-FT-ST03-L4-DR-SE- 0003 | 1 | item |  |  | 5/7/13 | 1012
P24-112 |  | Page: 5 / 7 |  | To Collection | 0
PART 5 - ST03 MOUNT ELLIOTT TUNNEL
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
FINISHES
CC-RMP-01200 TRAFFIC SIGNS AND ROAD MARKINGS
TRAFFIC SIGNS
14 | Permanent Direction / Travel to Exit Signs,Retroflective, 450 x 150mm, Fixed to Tunnel Wall in accordance with the Works Specifcation and Drawing P24112-FT-ST03- L4-DR-SE-0008 at locations as indicated in Drawings P24112-FT-ST03-L4-DR-SE-0002 - 0004 | 12 | no |  |  | 5/8/14 | 990
P24-112 |  | Page: 5 / 8 |  | To Collection | 0
PART 5 - ST03 MOUNT ELLIOTT TUNNEL
| Description |  |  |  | Amount | BQIndex | InputNo
| Page: 5 / 1 |  |  |  | 0
| Page: 5 / 2 |  |  |  | 0
| Page: 5 / 3 |  |  |  | 0
| Page: 5 / 4 |  |  |  | 0
| Page: 5 / 5 |  |  |  | 0
| Page: 5 / 6 |  |  |  | 0
| Page: 5 / 7 |  |  |  | 0
| Page: 5 / 8 |  |  |  | 0
P24-112 |  | Page: 5 / 9 |  | To Summary | 0

## Bill PART 6 - PEDESTRIAN RAMP
PART 6 - PEDESTRIAN RAMP
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION
CC-RMP-00500 DRAINAGE AND SERVICE DUCTS
DRAINAGE AND SERVICE DUCTS IN STRUCTURES
1 | Drainage of the three retaining walls as shown in drawings. Include for back of wall drainage, Rodding Eyes, Manholes and outfall pipe | 1 | item |  |  | 6/1/1 | 958
P24-112 |  | Page: 6 / 1 |  | To Collection | 0
PART 6 - PEDESTRIAN RAMP
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION (Cont'd)
CC-RMP-00600 EARTHWORKS
IMPORTED FILL
2 | Imported compliant material Class 6N Fill to structures | 282 | m3 |  |  | 6/2/2 | 141
COMPACTION OF FILL
3 | Compaction of compliant material Class 6N Fill to structures | 282 | m3 |  |  | 6/2/3 | 147
P24-112 |  | Page: 6 / 2 |  | To Collection | 0
PART 6 - PEDESTRIAN RAMP
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION (Cont'd)
CC-RMP-01700 STRUCTURAL CONCRETE
IN SITU CONCRETE
4 | In situ concrete Grade ST2 Blinding concrete 75mm or less in thickness | 6 | m3 |  |  | 6/3/4 | 126
5 | In situ concrete Grade ST4 to mass concrete infill | 46 | m3 |  |  | 6/3/5 | 871
6 | In situ concrete C40/50 GGBS | 99 | m3 |  |  | 6/3/6 | 127
SURFACE FINISH OF CONCRETE - FORMWORK
7 | Formwork Vertical more than 300mm wide F1 | 353 | m2 |  |  | 6/3/7 | 1286
8 | Formwork Vertical more than 300mm wide F3 | 45 | m2 |  |  | 6/3/8 | 1287
9 | Formwork Horizontal more than 300mm wide F1 | 79 | m2 |  |  | 6/3/9 | 1288
STEEL REINFORCEMENT FOR STRUCTURES
10 | Bar reinforcement nominal size of 16 mm and under Grade B500B not exceeding 12 metres in length | 6.53 | t |  |  | 6/3/10 | 356
11 | Dowels 1m x 20mm dia. min Stainless Steel | 16 | no |  |  | 6/3/11 | 872
P24-112 |  | Page: 6 / 3 |  | To Collection | 0
PART 6 - PEDESTRIAN RAMP
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION (Cont'd)
CC-RMP-02000 WATERPROOFING FOR STRUCTURES
WATERPROOFING
12 | Waterproofing Epoxy resin waterproofing more than 300mm wide at any inclination more than 30° up to and including 90° to the horizontal | 231 | m2 |  |  | 6/4/12 | 1298
13 | Waterproofing Epoxy resin waterproofing more than 300mm wide horizontal or at any inclination up to and including 30° to the horizontal | 79 | m2 |  |  | 6/4/13 | 1299
SURFACE IMPREGNATION AND COATINGS OF CONCRETE
14 | Surface impregnation of concrete hydrophobic pore liner | 93 | m2 |  |  | 6/4/14 | 1296
P24-112 |  | Page: 6 / 4 |  | To Collection | 0
PART 6 - PEDESTRIAN RAMP
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION (Cont'd)
CC-RMP-02300 BRIDGE EXPANSION JOINTS AND SEALING OF GAPS
SEALING OF GAPS
15 | Joint filler Closed cell polyethylene low load transfer 20mm thick | 18 | m2 |  |  | 6/5/15 | 1189
16 | Joint sealant Two-part grey polysulphide sealant | 54 | m |  |  | 6/5/16 | 1190
P24-112 |  | Page: 6 / 5 |  | To Collection | 0
PART 6 - PEDESTRIAN RAMP
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
MAIN CONSTRUCTION (Cont'd)
CC-RMP-02400 BRICKWORK, BLOCKWORK AND STONEWORK
BLOCKWORK AND STONEWORK
17 | Blockwork 440x215x100mm (7.5N) Solid Block. 10mm thick M6 mortar, Finish in accordance with CC-SPW- 02400 In facework to concrete below ground | 6 | m3 |  |  | 6/6/17 | 321
18 | Stonework Random rubble masonry colour to match adjacent rock cuttings, recessed pointing with M6 mortar In facework to concrete | 8 | m3 |  |  | 6/6/18 | 152
P24-112 |  | Page: 6 / 6 |  | To Collection | 0
PART 6 - PEDESTRIAN RAMP
Ref | Description | Qty | Unit | Rate | Amount | BQIndex | InputNo
FINISHES
CC-RMP-00400 ROAD RESTRAINT SYSTEMS (VEHICLE AND PEDESTRIAN)
PEDESTRIAN PARAPETS, PEDESTRIAN GUARDRAILS AND HANDRAILS
19 | Pedestrian guardrails, 1450mm high galvanised steel guardrail to retaining wall. Include for connections to concrete wall. | 95 | m |  |  | 6/7/19 | 324
20 | Handrails, stainless steel handrail at 1100mm, DW Windsor or similar approved to accommodate lighting | 95 | m |  |  | 6/7/20 | 1267
21 | Pedestrian guardrails Pedestrian Guardrail (CC-SCD- 00401) 1000mm in height at edge of R700 footway opposite ramp exit, straight or curved exceeding 50 metres radius | 12 | m |  |  | 6/7/21 | 1363
P24-112 |  | Page: 6 / 7 |  | To Collection | 0
PART 6 - PEDESTRIAN RAMP
| Description |  |  |  | Amount | BQIndex | InputNo
| Page: 6 / 1 |  |  |  | 0
| Page: 6 / 2 |  |  |  | 0
| Page: 6 / 3 |  |  |  | 0
| Page: 6 / 4 |  |  |  | 0
| Page: 6 / 5 |  |  |  | 0
| Page: 6 / 6 |  |  |  | 0
| Page: 6 / 7 |  |  |  | 0
P24-112 |  | Page: 6 / 8 |  | To Summary | 0

## Summary
Bill | Description |  | Amount | BQIndex | InputNo
1 | PART 1 - PRELIMINARIES |  | 0
2 | PART 2 - ROADWORKS |  | 0
3 | PART 3 - ST01 RED BRIDGE |  | 0
4 | PART 4 - ST02 MOUNT ELLIOTT LANE BRIDGE |  | 0
5 | PART 5 - ST03 MOUNT ELLIOTT TUNNEL |  | 0
6 | PART 6 - PEDESTRIAN RAMP |  | 0
P24-112 |  | Page: S/1 | 0