Clarifications with regard to: Request (Call) for Tenders dated 28/08/2026 for the provision of four Videoscopes
	[bookmark: _Hlk204761469]Clarifications 9th September 2026

	#     
	Question
	Answer

	1.
	Under M1 System Overview, the mandatory requirement states 'LED adjustable intensity'. Could the Contracting Authority please confirm whether this requirement relates solely to adjustable-intensity white LED illumination, or whether systems incorporating additional illumination technologies, such as Infra-Red (IR) capability, may also be proposed?



	This Mandatory Requirement has now been updated to confirm the Light Source requires “An adjustable level of illumination with a LED or similar light source.”

This change has been made to both the RFT and TRD documents.


	2.
	In addition to adjustable-intensity white LED illumination, where a tenderer can provide a videoscope solution with additional capability such as IR capability, can it be clarified whether such additional functionality may be included as part of the proposed solution.



	Tenderers can propose solutions that meet or exceed the requirements outlined in the RFT. 

For any Award Criterion that this functionality relates to, tenderers should outline the quality of this functionality under the relevant criterion.
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