Clontarf Hospial
Castle Avenue
Clontarf

Dublin 3

Tel: + 353 1 8332521
Fax: +353 1 8333181

www.ioh.ie

REQUEST FOR TENDER

The Incorporated Orthopaedic Hospital of Ireland, trading as Clontarf Hospital, is a 160 bedded rehabilitation voluntary post-acute hospital operating under Section 38 of the Health Act 2004. The hospital is primarily publicly funded and procures goods and services under public procurement rules and regulations. Value for money is a primary objective of the hospital’s procurement procedures.

The hospital is inviting quotations for the provision of  a Lighting installation & Emergency Lighting System Upgrade

| Service required: | Lighting installation for clinical areas and outdoor areas as per the file “260710-SEAI-Lighting-Upgrade-calculator-RFQ-issue” supplied (see desciption). And Emergency Lighting System Upgrade |
| --- | --- |
| Project Reference | Clontarf Hospital Lighting Replacement Project |
| Location | Clontarf Hospital Blackheath Park Clontarf Dublin 3 D03 AY95 |
| Term of Contract | Once Off |
| Closing Date for Submissions | 15th October, 2026 at 12:00 |
| Description of our Requirements: | To provide replacement lighting installation and emergency lighting for the works in the attached Request for Tender / Proposal. Note, the proposed fittings are a guide and all fittings are to be assessed for the suitability of replacements. Documents added in eTenders for Emergency Lighting System Upgrade Tenderers must ensure that all elements required to deliver a complete and fully operational installation are included. Attached specifications and detailed lighting calculator proposal. |
| Pricing should include | Total costs for the preparation and provision of the installation is to be broken down in to area by area cost as dictated by the spreadsheet attached. Total prices are required for 3 scenarios as follows - fitting replacements only inclusive of plant/store room controls as specified (main objective). - Fitting replacements with controls solution for offices. - Fitting replacements with all office controls and energy monitoring provided. - All quotes to include any consultancy, survey work, materials or other expenses as specified in the attached. - Additional Pricing Requirements: - Pricing must be submitted using the attached spreadsheet only - All prices must be exclusive of VAT - All costs must be included (labour, materials, access equipment, disposal, etc.) - Any assumptions must be clearly stated |
| Programme: | Tenderers must provide: - Proposed start date - Estimated duration of works - High-level programme for delivery The contractor must account for working within a live hospital environment. |
| Submission should include | - Full proposal for the provision of lighting replacements, emergency lighting and associated works based on an area by area pricing. - Scope of Works. - Submission Requirements: - Completed pricing schedule - Methodology / approach to the works - Programme (timeline and duration) - Confirmation of compliance with requirements NB: Omitting any of the above may render your response invalid |
| Award Criterea | Award will be made on the basis of the Most Economically Advantageous Tender (MEAT). The following criteria will apply: - Price: 70% - Technical approach / methodology: 30% |
| Clarifications | All queries must be submitted by 02nd October, 2026 at 12.00. Responses will be shared with all invited suppliers. |
| Enquiries: | Any queries relating to our requirements or request for a site visit (optional) can be sent via eTenders |
| Format of Submission: | Submissions can be sent via eTenders |
| Compliance Requirements: The successful tenderer will be required to provide: - Valid Tax Clearance Certificate - Public Liability and Employer’s Liability Insurance - Health and Safety documentation - Evidence of relevant experience The successful tenderer may also be required to sign a confidentiality agreement. This Request for Tender and the response will form part of our contract with the successful tenderer. Clontarf Hospital retains the right to cancel this procurement process at any stage. |  |