Inland Fisheries Ireland

LOT1 Thermal Imaging Equipment – Compliance to Specification

| Tenderer Organisation Name |  |
| --- | --- |
| Equipment Proposed (Make/Model/Variant) |  |

| Tender Ref | Specification/Requirement | Compliant Yes/No | Notes (please provide any additional information in support of the equipment offered) | IFI Use |
| --- | --- | --- | --- | --- |
| 1 | Device should be robust and rubber armoured and it should be ergonomically designed |  |  |  |
| 2 | Thermal Sensor 640 x 480 or above |  |  |  |
| 3 | Warranty of three years or greater |  |  |  |
| 4 | Design Type must be monocular |  |  |  |
| 5 | NETD of <15mk |  |  |  |
| 6 | Base magnification 2.5x |  |  |  |
| 7 | Detection range 1800m |  |  |  |
| 8 | Unit must not have a range finder |  |  |  |
| 9 | Wi-Fi with supporting App is required with the ability to connect to an Android device |  |  |  |
| 10 | Weight must be 800g or less |  |  |  |
| 11 | Multiple colour palettes |  |  |  |
| 12 | Device must a minimum of IPX7 rated |  |  |  |
| 13 | Detection range 1800m |  |  |  |
| 14 | Display is 1024 x 768 or above |  |  |  |
| 15 | Battery to last for a minimum of 6 hours or above |  |  |  |
| 16 | Frame rate of 50Hz |  |  |  |

| Please state the maximum delivery lead time in days from award of contract. |  |
| --- | --- |

| Signed: |  | Position in company: |  |
| --- | --- | --- | --- |
| Print Name: |  | Date: |  |