## Asset List
STEWARTS CARE – ASSET REGISTER – eTENDERS SUBMISSION
Consolidated asset schedule ¦ 393 records ¦ Prepared 30 September 2026
Asset ID | Site / Portfolio | Building / Area | Asset Description | Location | Manufacturer | Model / Type | Serial Number / Reference | Quantity | Asset Category | Service Frequency | Statutory Inspection Requirement | Condition / Status | Access Restrictions | Contractor Notes | Data Review Status
AST-0001 | Campus | SHP-Admin Building | Basement plant room HEX pump | Plant room | Grundfos | MGE112MC2-FF215-D1 | 6464 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0002 | Campus | SHP-Admin Building | Basement plant room Plate heat exchanger |  | Sandec | S22-K10-4B-TM-UQUID |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0003 | Campus | SHP Bungalows | 2 Port electrically Activated valve | B2 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0004 | Campus | SHP Bungalows | Boiler | B2 | De Dietrich | MCA35 |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0005 | Campus | SHP Bungalows | Boiler expansion vessel | B2 | Elbi | ERCE 35 ltr |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0006 | Campus | SHP Bungalows | Booster pump | B2 | Grundfos | MQ 3-35 B A O A 8V P |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0007 | Campus | SHP Bungalows | Central Heating Circulation pump | B2 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0008 | Campus | SHP Bungalows | Domestic hot water expansion vessel | B2 | Zilmet | 11-H-Hypro 22 ltr (type 24) |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0009 | Campus | SHP Bungalows | Domestic hot water calorifier | B2 | Hevac | Thermaflow TF300 |  | 1 | Hot Water Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0010 | Campus | SHP Bungalows | Domestic hot water de-stratification pump | B2 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0011 | Campus | SHP Bungalows | Gas detection system | B2 | Duomo | GS 100M |  | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0012 | Campus | SHP Bungalows | Pressurisation Pump | B2 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0013 | Campus | SHP Bungalows | Solar expansion vessel | B2 | Zilmet | 11 Solarplus 18 |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0014 | Campus | SHP Bungalows | solar pumping station and controller | B2 | Zilmet | 11 Solarplus 18 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0015 | Campus | SHP Bungalows | 2 port electrically activated valve | B3 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0016 | Campus | SHP Bungalows | Central Heating circulating pump | B3 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0017 | Campus | SHP Bungalows | Domestic hot water de-stratification pump | B3 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0018 | Campus | SHP Bungalows | Gas detection system | B3 | Duomo | GS100M | UK09099 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0019 | Campus | SHP Bungalows | Pressurisation pump | B3 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0020 | Campus | SHP Bungalows | Solar expansion vessel | B3 | Zilmet | 11-SOLARPLUS 18LTR |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0021 | Campus | SHP Bungalows | Solar pumping station and controller | B3 | Kingspan | SOLAR 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0022 | Campus | SHP Bungalows | 2 port electrically activated valve | B4 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0023 | Campus | SHP Bungalows | Boiler | B4 | De Dietrich | MCA 35 | 1108302016460 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0024 | Campus | SHP Bungalows | Central Heating circulating pump | B4 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0025 | Campus | SHP Bungalows | Domestic hot water de-stratification pump | B4 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0026 | Campus | SHP Bungalows | Gas detection system | B4 | Duomo | GS100M | UK09093 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0027 | Campus | SHP Bungalows | Pressurisation pump | B4 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0028 | Campus | SHP Bungalows | Solar expansion vessel | B4 | Zilmet | 11-SOLARPLUS 18LTR |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0029 | Campus | SHP Bungalows | Solar pumping station and controller | B4 | Kingspan | SOLAR 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0030 | Campus | SHP Bungalows | 2 port electrically activated valve | B5 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0031 | Campus | SHP Bungalows | Central Heating circulating pump | B5 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0032 | Campus | SHP Bungalows | Domestic hot water de-stratification pump | B5 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0033 | Campus | SHP Bungalows | Gas detection system | B5 | Duomo | GS100M | UK02576 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0034 | Campus | SHP Bungalows | Pressurisation pump | B5 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0035 | Campus | SHP Bungalows | Solar expansion vessel | B5 | Zilmet | 11-SOLARPLUS 18LTR |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0036 | Campus | SHP Bungalows | Solar pumping station and controller | B5 | Kingspan | SOLAR 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0037 | Campus | SHP Bungalows | 2 port electrically activated valve | B6 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0038 | Campus | SHP Bungalows | Central Heating circulating pump | B6 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0039 | Campus | SHP Bungalows | Domestic hot water de-stratification pump | B6 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0040 | Campus | SHP Bungalows | Gas detection system | B6 | Duomo | GS100M | UK02573 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0041 | Campus | SHP Bungalows | Pressurisation pump | B6 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0042 | Campus | SHP Bungalows | Solar expansion vessel | B6 | Zilmet | 11-SOLARPLUS 18LTR |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0043 | Campus | SHP Bungalows | Solar pumping station and controller | B6 | Kingspan | SOLAR 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0044 | Campus | SHP Bungalows | 2 port electrically activated valve | B7 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0045 | Campus | SHP Bungalows | Central Heating circulating pump | B7 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0046 | Campus | SHP Bungalows | Domestic hot water de-stratification pump | B7 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0047 | Campus | SHP Bungalows | Gas detection system | B7 | Duomo | GS100M | UK09070 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify | Review: duplicate reference
AST-0048 | Campus | SHP Bungalows | Pressurisation pump | B7 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0049 | Campus | SHP Bungalows | Solar expansion vessel | B7 | Zilmet | 11-SOLARPLUS 18LTR |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0050 | Campus | SHP Bungalows | Solar pumping station and controller | B7 | Kingspan | SOLAR 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0051 | Campus | SHP Bungalows | 2 port electrically activated valve | B8 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0052 | Campus | SHP Bungalows | Central Heating circulating pump | B8 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0053 | Campus | SHP Bungalows | Domestic hot water de-stratification pump | B8 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0054 | Campus | SHP Bungalows | Gas detection system | B8 | Duomo | GS100M | UK09070 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify | Review: duplicate reference
AST-0055 | Campus | SHP Bungalows | Pressurisation pump | B8 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0056 | Campus | SHP Bungalows | Solar expansion vessel | B8 | Zilmet | 11-SOLARPLUS 18LTR |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0057 | Campus | SHP Bungalows | Solar pumping station and controller | B8 | Kingspan | SOLAR 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0058 | Campus | SHP Bungalows | 2 port electrically activated valve | B9 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0059 | Campus | SHP Bungalows | Central Heating circulating pump | B9 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0060 | Campus | SHP Bungalows | Domestic hot water de-stratification pump | B9 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0061 | Campus | SHP Bungalows | Gas detection system | B9 | Duomo | GS100M | UK09071 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0062 | Campus | SHP Bungalows | Pressurisation pump | B9 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0063 | Campus | SHP Bungalows | Solar expansion vessel | B9 | Zilmet | 11-SOLARPLUS 18LTR |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0064 | Campus | SHP Bungalows | Solar pumping station and controller | B9 | Kingspan | SOLAR 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0065 | Campus | SHP Bungalows | 2 Port electrically Activated valve | B11 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0066 | Campus | SHP Bungalows | Central Heating Circulation pump | B11 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0067 | Campus | SHP Bungalows | Domestic hot water pump | B11 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0068 | Campus | SHP Bungalows | Gas detection system | B11 | Duomo | GS 100M |  | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0069 | Campus | SHP Bungalows | Pressurisation Pump | B11 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0070 | Campus | SHP Bungalows | Solar expansion vessel | B11 | Zilmet | 11 Solarplus 18 |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0071 | Campus | SHP Bungalows | Solar pumping station controller | B11 | Kingspan | Solar 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0072 | Campus | SHP Bungalows | 2 Port electrically Activated valve | B12 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0073 | Campus | SHP Bungalows | Central Heating Circulation pump | B12 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0074 | Campus | SHP Bungalows | Domestic hot water pump | B12 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0075 | Campus | SHP Bungalows | Gas detection system | B12 | Duomo | GS 100M |  | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0076 | Campus | SHP Bungalows | Pressurisation Pump | B12 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0077 | Campus | SHP Bungalows | Solar expansion vessel | B12 | Zilmet | 11 Solarplus 18 |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0078 | Campus | SHP Bungalows | Solar pumping station controller | B12 | Kingspan | Solar 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0079 | Campus | SHP Bungalows | 2 Port electrically Activated valve | B13 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0080 | Campus | SHP Bungalows | Central Heating Circulation pump | B13 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0081 | Campus | SHP Bungalows | Domestic hot water pump | B13 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0082 | Campus | SHP Bungalows | Gas detection system | B13 | Duomo | GS 100M |  | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0083 | Campus | SHP Bungalows | Pressurisation Pump | B13 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0084 | Campus | SHP Bungalows | Solar expansion vessel | B13 | Zilmet | 11 Solarplus 18 |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0085 | Campus | SHP Bungalows | Solar pumping station controller | B13 | Kingspan | Solar 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0086 | Campus | SHP Bungalows | Boiler | H17 Plant room | De Dietrich | MCA 65 |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0087 | Campus | SHP Bungalows | Boiler expansion vessel | H17 Plant room | Elbi | EHCE 50 lte | E10124279 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0088 | Campus | SHP Bungalows | Gas detection system | H17 Plant room | Duomo | GS 100M | Ud 09091 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0089 | Campus | SHP Bungalows | Natural gas meter | H17 Plant room | Eister | BK G4 M | 28889000 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0090 | Campus | SHP Bungalows | 2 Port electrically Activated valve | B18 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0091 | Campus | SHP Bungalows | Central Heating Circulation pump | B18 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0092 | Campus | SHP Bungalows | Domestic hot water pump | B18 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0093 | Campus | SHP Bungalows | Gas detection system | B18 | Duomo | GS 100M |  | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0094 | Campus | SHP Bungalows | Pressurisation Pump | B18 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0095 | Campus | SHP Bungalows | Solar expansion vessel | B18 | Zilmet | 11 Solarplus 18 |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0096 | Campus | SHP Bungalows | Solar pumping station controller | B18 | Kingspan | Solar 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0097 | Campus | SHP Bungalows | 2 Port electrically Activated valve | B20 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0098 | Campus | SHP Bungalows | Central Heating Circulation pump | B20 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0099 | Campus | SHP Bungalows | Domestic hot water de-stratification pump | B20 | Grundfos |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0100 | Campus | SHP Bungalows | Gas detection system | B20 | Duomo |  |  | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0101 | Campus | SHP Bungalows | Pressurisation Pump | B20 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0102 | Campus | SHP Bungalows | Solar expansion vessel | B20 | Zilmet | 11 Solarplus 18 |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0103 | Campus | SHP Bungalows | Solar pumping station and controller | B20 | Zilmet | Solar 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0104 | Campus | SHP Bungalows | 2 Port electrically Activated valve | B22 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0105 | Campus | SHP Bungalows | Central Heating Circulation pump | B22 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0106 | Campus | SHP Bungalows | Domestic hot water expansion vessel | B22 | Zilmet | 11-H-Hypro 22 ltr (type 24) |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0107 | Campus | SHP Bungalows | Domestic hot water de-stratification pump | B22 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0108 | Campus | SHP Bungalows | Gas detection system | B22 | Duomo | GS 100M |  | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0109 | Campus | SHP Bungalows | Pressurisation Pump | B22 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0110 | Campus | SHP Bungalows | Solar expansion vessel | B22 | Zilmet | 11 Solarplus 18 |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0111 | Campus | SHP Bungalows | solar pumping station and controller | B22 | Kingspan | Solar 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0112 | Campus | SHP Bungalows | 2 Port electrically Activated valve | B23 | Honeywell |  |  | 1 | Valves | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0113 | Campus | SHP Bungalows | Central Heating Circulation pump | B23 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0114 | Campus | SHP Bungalows | Domestic hot water de-stratification pump | B23 | Grundfos | UP15-14B |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0115 | Campus | SHP Bungalows | Gas detection system | B23 | Duomo | GS 100M |  | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0116 | Campus | SHP Bungalows | Pressurisation Pump | B23 |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0117 | Campus | SHP Bungalows | Solar expansion vessel | B23 | Zilmet | 11 Solarplus 18 |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0118 | Campus | SHP-DAC Building | Boiler 2 Primary Pump | Boiler plant room | Wilo | Top S30/7 | 200000100295 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0119 | Campus | SHP-DAC Building | Boiler expansion vessel 1 | Boiler plant room | Elbi | DSV-CE-150 | WH9367423 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0120 | Campus | SHP-DAC Building | Boiler expansion vessel 2 | Boiler plant room | Elbi | DSV-CE-150 | WH9637424 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0121 | Campus | SHP-DAC Building | Domestic Hot water expansion vessel | Boiler plant room | Zilmet | Ultra pro 50ltr | 31D | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0122 | Campus | SHP-DAC Building | Gas Detection System | Boiler plant room | Duomo | GS 100M | UO09100 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0123 | Campus | SHP-DAC Building | Pressurisation /Fill Unit | Boiler plant room | Wilo | SPU 125/PS-R1 | 60300001740 | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0124 | Campus | SHP-DAC Building | Solar expansion Vessel | Boiler plant room | Zilmet | 11A Solarplus 24ltr |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0125 | Campus | SHP-DAC Building | solar pumping station and controller | Boiler plant room | Kingspan | Solar 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0126 | Campus | SHP-DAC Building | Extract Fan |  | Vent Asia | SLP 315 | 4501 | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location
AST-0127 | Campus | SHP-DAC Building | Forced Draft fan |  | Vent Asia | MFQ400/4/1 | 11154 | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location
AST-0128 | Campus | SHP-DAC Building | Twin Pumps |  |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0129 | Campus | SHP-DAC Building | Boiler 1 | Boiler Plant Room | De Dietrich | C230-210 ECO 217KW | 1129202876440 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0130 | Campus | SHP-DAC Building | Boiler 1 condense pump | Boiler Plant Room | Wilo | ART NO 2D43466/11 W 01 | OOO11634/0034 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0131 | Campus | SHP-DAC Building | Boiler 1 Primary pump | Boiler Plant Room | Wilo | TOP- 530V7 | 20000100333 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0132 | Campus | SHP-DAC Building | Boiler 2 | Boiler Plant Room | De Dietrich | C230-210 ECO 217KW | 1129902877580 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0133 | Campus | SHP-DAC Building | Boiler 2 condense pump | Boiler Plant Room | Wilo | ART NO 2D43466/11 W 01 | OOO11634/0110 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0134 | Campus | SHP-Energy Centre | Admin building LTWH Pump A | Plant Room | Grundfos | MGE-1325C2-FF265-D1 | 2403 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0135 | Campus | SHP-Energy Centre | Admin building LTWH Pump B | Plant Room | Grundfos | MGE-1325C2-FF265-D1 | 2392 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0136 | Campus | SHP-Energy Centre | Boiler Fed water LTHW pump | Plant Room | Grundfos | UPS 40-180F | 96401979 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0137 | Campus | SHP-Energy Centre | Building Management system interface panel | Plant Room | Trend | IQEVIEW4 |  | 1 | Controls & Electrical | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0138 | Campus | SHP-Energy Centre | Carrais Building LTHW Pump A | Plant Room | Grundfos | MGE-1325C2-FF265-D1 | 2389 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0139 | Campus | SHP-Energy Centre | Carrais Building LTHW Pump B | Plant Room | Grundfos | MGE-1325C2-FF265-D1 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0140 | Campus | SHP-Energy Centre | Carrais Building LTHW Pump A & B | Plant Room | Grundfos | MGE-1325C2-FF265-D1 | 2405 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0141 | Campus | SHP-Energy Centre | CHP Dry Air Cooler/Heat Rejection | Plant Room | Vanspall | ABC0112B9C4/BT | 1205/D/2915 | 1 | CHP | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0142 | Campus | SHP-Energy Centre | CHP LTHW Secondary Pump | Plant Room | Grundfos | UPS-50-180F | 96402136 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0143 | Campus | SHP-Energy Centre | Combined Heat and power unit | Plant Room | Coganco | CGC-014CMA-D80-MG50 | 200267 | 1 | CHP | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0144 | Campus | SHP-Energy Centre | DHW Return pump | Plant Room | Grundfos | MGE905A3-FT100 D | 3788 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0145 | Campus | SHP-Energy Centre | LTHW Boiler A1 | Plant Room | Chappee | Araon Evo 2C700 | 922033041 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0146 | Campus | SHP-Energy Centre | LTHW Boiler A1 Burner | Plant Room | Riello | Rg 70/M | 2409005564 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0147 | Campus | SHP-Energy Centre | LTHW Chemical Dosing pump | Plant Room | Advantage | B130X2-KFCV | GD-1270P | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0148 | Campus | SHP-Energy Centre | LTHW Condensing fan MCC Panel | Plant Room | BMC |  |  | 1 | Controls & Electrical | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0149 | Campus | SHP-Energy Centre | Main Header UHW Pump | Plant Room | Grundfos | MG90lC2-24Ff165-01 | 87210292 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0150 | Campus | SHP-Energy Centre | New Energy Ctre Expansion Vessel | Plant Room | Lowara | Untra-Pro | 468 | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0151 | Campus | SHP-Energy Centre | New Energy Centre MCC Panel | Plant Room | Standard Controls |  |  | 1 | Controls & Electrical | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0152 | Campus | SHP-Energy Centre | New Energy Ctre MDB | Plant Room |  | B/0009/5244 | P59138 | 1 | Controls & Electrical | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer
AST-0153 | Campus | SHP-Energy Centre | New Energy Ctre pressurisation Unit | Plant Room | Eurofluid | Compac CP50-1-LPS | B/0009/5244 | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0154 | Campus | SHP-Energy Centre | Steam Boiler Skid Air Compressor | Plant Room | RAND | Startighter Two | RE07301499 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0155 | Campus | SHP-Energy Centre | DHW Flow T1-6623655 |  | Kamstrupp | 6623655 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0156 | Campus | SHP-Energy Centre | DHW Flow T1-6623656 |  | Kamstrupp | 6623656 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0157 | Campus | SHP-Energy Centre | DHW Flow T2-6415417 |  | Kamstrupp | 6415417 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0158 | Campus | SHP-Energy Centre | DHW Flow T2-6623567 |  | Kamstrupp | 6623567 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0159 | Campus | SHP-Energy Centre | DHW Flow T2-6623987 |  | Kamstrupp | 6623987 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0160 | Campus | SHP-Energy Centre | DHW Return -54 |  |  | 54 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, serial/reference
AST-0161 | Campus | SHP-Energy Centre | DHW Return 6415417 |  |  | 6415417 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, serial/reference
AST-0162 | Campus | SHP-Energy Centre | DHW return 6623656 |  | Kamstrupp | 6623656 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0163 | Campus | SHP-Energy Centre | DHW Return 6623657 |  | Kamstrupp | 6623657 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0164 | Campus | SHP-Energy Centre | DHW Return T1-6623657 |  | Kamstrupp | 6623567 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0165 | Campus | SHP-Energy Centre | DHW Return T1-6623987 |  | Kamstrupp | 6623987 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0166 | Campus | SHP-Energy Centre | DHW Return T2-6623655 |  | Kamstrupp | 6623655 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0167 | Campus | SHP-Energy Centre | DHW Return T2-6623656 |  | Kamstrupp | 6623656 |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0168 | Campus | SHP-Energy Centre | Heating Supply T1-6415417 |  | Kamstrupp | Multical 601 | 6415417-2009 | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location
AST-0169 | Campus | SHP-Energy Centre | Leisure Ctre T1 |  | Kamstrupp | Kamstrupp |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0170 | Campus | SHP-Energy Centre | Leisure Ctre T2 |  | Kamstrupp | Kamstrupp |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, serial/reference
AST-0171 | Campus | SHP-Energy Centre | Return Flow (FT-6613710) |  | Kamstrupp | Multical 601 | MWMN13065-NK | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location
AST-0172 | Campus | SHP-Energy Centre | Return Flow(FT-6623655) |  | Kamstrupp | Multical 601 | 6623655-2009 | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location
AST-0173 | Campus | SHP Horizon | Boiler | Horizon | Remeha | 120 | 66239878-2009 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0174 | Campus | SHP Horizon | Boiler expansion vessel | Horizon | Elbi | 80 lte | E9955695 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0175 | Campus | SHP Horizon | Domestic hot water expansion vessel | Horizon | Zilmet | 50 ltr |  | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0176 | Campus | SHP Horizon | Gas detection system | Horizon | Duomo | GS 100M | 9089 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0177 | Campus | SHP Horizon | Solar expansion vessel | Horizon | Zilmet | 1 1A Solarplus 24 lte | 104546 | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0178 | Campus | SHP Horizon | Solar pumping station & Controller | Horizon | Kingspan | Solar 2 |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0179 | Campus | SHP Horizon | Twin Pumps | Horizon |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0180 | Campus | SHP-Central Catering Unit- CPU | Domestic hot water de-stratification pump | Dry store | Global water solution | GC 130 FC122 130LTR | GCI 3003993 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0181 | Campus | SHP-Central Catering Unit- CPU | Solar expansion vessel | Dry store | Zilmet | 11A-SOLARPLUS 18Ltr | O9841 | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0182 | Campus | SHP-Central Catering Unit- CPU | Solar pumping station and controller | Dry store | Kingspan | SOLAR 2 | 69851 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0183 | Campus | SHP-CHP Leis Ctre | Boiler 1 | Boiler Plant Room | De Dietrich | C 310- 500 ECO | 1129103168470 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0184 | Campus | SHP-CHP Leis Ctre | Boiler 2 | Boiler Plant Room | De Dietrich | C 310- 500 ECO | 1129103165480 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0185 | Campus | SHP-CHP Leis Ctre | Expansion vessel 1 | Boiler Plant Room | Elbi | ERCE 500LTR | E10400194 | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0186 | Campus | SHP-CHP Leis Ctre | Expansion vessel 2 | Boiler Plant Room | Elbi | ERCE 500LTR | E10400193 | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0187 | Campus | SHP-CHP Leis Ctre | Gas detection system | Boiler Plant Room | Duomo | GS100M | UK 09100 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0188 | Campus | SHP-CHP Leis Ctre | pressurisation/fill unit | Boiler Plant Room | Wilo | SRU 125/P5-R1 | 60300001737 | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0189 | Campus | SHP-CHP Leis Ctre | pressurisation/fill unit expansion vessel | Boiler Plant Room | Wilo | XTP 8P 8LTR | 8/097/158150/1107/20 | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0190 | Campus | SHP-CHP Leis Ctre | pressurisation/fill unit pump | Boiler Plant Room | Wilo | WPG0M | WH9637423 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Core asset details complete
AST-0191 | Campus | SHP-CHP Leis Ctre | CHP Dry air cooler/heat rejection | External | Vanspall | ABOO11289CI/BT |  | 1 | CHP | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0192 | Campus | SHP-CHP Leis Ctre | Combined heat and power unit | external | Cogenco | CGC-0140MA-D90-NG50 |  | 1 | CHP | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm serial/reference
AST-0193 | Campus | SHP-CHP Leis Ctre | Twin pumps |  |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0194 | Rossecourt Resource Centre | 1st Floor Block B | Air Conditioning Indoor Unit | B1.14 Meeting Room | Mitsubishi |  | PEFY-P40VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0195 | Rossecourt Resource Centre | 1st Floor Block B | Air Conditioning Indoor Unit | B1.11 Office | Mitsubishi |  | PEFY-P63VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0196 | Rossecourt Resource Centre | 1st Floor Block B | Air Conditioning Indoor Unit | B1.10 Special Therapy | Mitsubishi |  | PLFY-P63VBM-E | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0197 | Rossecourt Resource Centre | 1st Floor Block B | Air Conditioning Indoor Unit | B1.05 Assessment Room | Mitsubishi |  | PLFY-P50VBM-E | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0198 | Rossecourt Resource Centre | 1st Floor Block B | Air Conditioning Indoor Unit | B1.02 Assessment Room | Mitsubishi |  | PLFY-P50VBM-E | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0199 | Rossecourt Resource Centre | 1st Floor Block B | Air Conditioning Indoor Unit | B1.12A Computer Room | Mitsubishi |  | PKA-RP60FAL | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0200 | Rossecourt Resource Centre | 1st Floor Block B | Air Conditioning Indoor Unit | B1.06 Physiotherapy Room 2 | Mitsubishi |  | PLFY-P63VBM-E | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0201 | Rossecourt Resource Centre | 2nd Floor Block B | Air Conditioning Indoor Unit | B2.13 Meeting Room | Mitsubishi |  | PEFY P40VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0202 | Rossecourt Resource Centre | 2nd Floor Block B | Air Conditioning Indoor Unit | Office B2.10 | Mitsubishi |  | PEFY-P63VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0203 | Rossecourt Resource Centre | 2nd Floor Block B | Air Conditioning Indoor Unit | B2.01 Multi Sensory Room | Mitsubishi |  | PLFY-P32VCME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0204 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | C2.17 C2.18 | Mitsubishi |  | PEFY-P40VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0205 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | C2.19 C2.22 | Mitsubishi |  | PEFY-P40VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0206 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | C2.23, C2.24, C2.25 | Mitsubishi |  | PEFY-P40VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0207 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | C2.26, C2.27,C2.28 | Mitsubishi |  | PEFY-P40VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0208 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | C2.29, C2.30, C2.31 | Mitsubishi |  | PEFY-P40VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0209 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | C2.32, C2.33, C2.34 | Mitsubishi |  | PEFY-P63VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0210 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | C2.25 Dental Surgery | Mitsubishi |  | PEFY-P40VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0211 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | C2.42, C2.44 | Mitsubishi |  | PEFY-P50VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0212 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | Waiting Room Office 2.46 | Mitsubishi |  | PEFY-P32VMME | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0213 | Rossecourt Resource Centre | Roof | Air Conditioning Outdoor Unit | Comms Room | Mitsubishi Mr.Slim |  | PUH-P60VGAA | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0214 | Rossecourt Resource Centre | Roof | Air Conditioning Outdoor Unit | 1st Floor Block B | Mitsubishi City Multy x 1 |  | VRF outdoor | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0215 | Rossecourt Resource Centre | Roof | Air Conditioning Outdoor Unit | 2nd Floor Block C | Mitsubishi City Multy x 2 |  | VRF outdoor | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0216 | Rossecourt Resource Centre | Roof | Air Conditioning Outdoor Unit | HSE offices | Mitsubishi Mr.Slim |  | PUHZ-P125VKA | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0217 | Rossecourt Resource Centre | Roof | Air Conditioning Outdoor Unit | HSE offices | Mitsubishi Mr.Slim |  | PUHZ-P125VKA | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0218 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | Class Room 6 | Panasonic 4 way 90 x 90 cassette |  | KIT-100PU2Z5 7.1Kw | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0219 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | Class Room 7 | Panasonic 4 way 90 x 90 cassette |  | KIT-100PU2Z5 7.1Kw | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0220 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | Class Room 8A | Panasonic 4 way 90 x 90 cassette |  | KIT-100PU2Z5 8.2Kw | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0221 | Rossecourt Resource Centre | 2nd Floor Block C | Air Conditioning Indoor Unit | Class Room 8B | Panasonic 4 way 90 x 90 cassette |  | KIT-100PU2Z5 8.2Kw | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0222 | Rossecourt Resource Centre | Roof | Air Conditioning Outdoor Unit | Class Room 6 | Panasonic inverter |  | U-100PZ2E5 | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0223 | Rossecourt Resource Centre | Roof | Air Conditioning Outdoor Unit | Class Room 7 | Panasonic inverter |  | U-100PZ2E5 | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0224 | Rossecourt Resource Centre | Roof | Air Conditioning Outdoor Unit | Class Room 8A | Panasonic inverter |  | U-100PZ2E5 | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0225 | Rossecourt Resource Centre | Roof | Air Conditioning Outdoor Unit | Class Room 8B | Panasonic inverter |  | U-100PZ2E5 | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0226 | Rossecourt Resource Centre | Roof | Air Handling Unit | Resturant | AHU-01 Interklima |  | MD-09 | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0227 | Rossecourt Resource Centre | Roof | Air Cooled Condensing Unit. | Roof | Dunham-Bush X 2 |  | ACCS269C | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0228 | Rossecourt Resource Centre | Roof | Air Handling Unit | Kitchen | AHU-02 Interklima |  | MD-05 | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0229 | Rossecourt Resource Centre | Roof | Air Handling Unit | Assembly Room | AHU-03 Interklima |  | MD-05 | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0230 | Rossecourt Resource Centre | Roof | Air Handling Unit | Offices | AHU-04 Interklima |  | MD-05 | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0231 | Rossecourt Resource Centre | Roof | Air Cooled Condensing Unit. | Roof | Dunham-Bush X 2 |  | ACCS269C | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0232 | Rossecourt Resource Centre | A 1006986 | Air Handling Unit | Roof | AHU-05 |  | Rossecourt | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0233 | Rossecourt Resource Centre | A 1006987 | Air Handling Unit | Roof | AHU-06 |  | Rossecourt | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0234 | Rossecourt Resource Centre | A 1006988 | Air Handling Unit | Roof | AHU-07 |  | Rossecourt | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0235 | Rossecourt Resource Centre | Roof | Circulation Shunt Pump | Water Tanks | Wilo |  | MHIE803N-1/E/3-2-2G | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0236 | Rossecourt Resource Centre | Roof | Circulation Shunt Pump | Water Tanks | Wilo |  | MHIE803N-1/E/3-2-2G | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0237 | Rossecourt Resource Centre | Boiler House | Shunt Pump | Boiler No.1 | Wilo |  | Top-S4014 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0238 | Rossecourt Resource Centre | Boiler House | Shunt Pump | Boiler No.2 | Wilo |  | Top-S4014 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0239 | Rossecourt Resource Centre | Boiler House | Radiator Circuit Pump | Rad Circuit No.1 | Wilo Stratus |  | D50/1-12 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0240 | Rossecourt Resource Centre | Boiler House | Radiator Circuit Pump | Rad Circuit No.1 | Wilo Stratus |  | D50/1-12 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0241 | Rossecourt Resource Centre | Boiler House | Radiator Circuit Pump | Rad Circuit No.2 | Wilo Stratus |  | D32/1-12 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0242 | Rossecourt Resource Centre | Boiler House | Radiator Circuit Pump | Rad Circuit No.2 | Wilo Stratus |  | D32/1-12 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0243 | Rossecourt Resource Centre | Boiler House | Radiator Circuit Pump | Rads 2nd Floor Block C | Wilo Stratus |  | D32/1-12 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0244 | Rossecourt Resource Centre | Boiler House | Radiator Circuit Pump | Rads 2nd Floor Block C | Wilo Stratus |  | D32/1-12 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0245 | Rossecourt Resource Centre | Boiler House | Constant Temperature Pump | AHU's | Wilo Stratus |  | D80/1-12 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0246 | Rossecourt Resource Centre | Boiler House | Constant Temperature Pump | AHU's | Wilo Stratus |  | D80/1-12 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0247 | Rossecourt Resource Centre | Boiler House | Constant Temperature Pump | Calorifier and air curtain | Wilo Stratus |  | D80/1-12 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0248 | Rossecourt Resource Centre | Boiler House | Constant Temperature Pump | Calorifier and air curtain | Wilo Stratus |  | D80/1-12 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0249 | Rossecourt Resource Centre | Boiler House | HWS Secondary Return Pump | HWS | Wilo |  | MHI 202-1/E/3-400-50-2 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0250 | Rossecourt Resource Centre | Boiler House | Pressurisation Unit 1 | LPHW | Wilo |  | SP151/25/PS | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0251 | Rossecourt Resource Centre | Boiler Room | Pressure Vessel | Boiler Room | Boss |  | 19711211 | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify | Review: Confirm model; duplicate reference
AST-0252 | Rossecourt Resource Centre | Boiler Room | Pressure Vessel | Boiler Room | Boss |  | 19711211 | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify | Review: Confirm model; duplicate reference
AST-0253 | Rossecourt Resource Centre | Boiler House/ Plant Rooms | Building Management System. | Boiler Room | Cylon |  |  | 1 | Controls & Electrical | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model, serial/reference
AST-0254 | Rossecourt Resource Centre | Boiler Room | Gas Leak Detect System | Boiler Room | Duomo |  | GS100M | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0255 | Rossecourt Resource Centre | Boiler Room | Gas Burner (TWO STAGE) | Boiler Room | Riello Burner |  | RS44MZ | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0256 | Rossecourt Resource Centre | Boiler Room | Boiler | Boiler Room | Baxi |  | R4/410 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0257 | Rossecourt Resource Centre | Boiler Room | Gas Burner (TWO STAGE) | Boiler Room | Riello Burner |  | RS44MZ | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0258 | Rossecourt Resource Centre | Boiler Room | Boiler | Boiler Room | Baxi |  | R4/410 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0259 | Rossecourt Resource Centre | Boiler Room | Water Heater | Bolier Room | Copper Craft |  | 1200 Ltr | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0260 | Central Processing Unit | CPU Roof | Air Handling Unit | CPU Kitchen Supply | EQGA |  | 2VK | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0261 | Central Processing Unit | CPU Roof | Extract Fan | CPU Extract | A.O. Smith |  | TAF-500-1 TAF-500-1 | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0262 | Central Processing Unit | CPU Roof | Extract Fan | CPU Extract | A.O. Smith |  | TAF-500-1 TAF-500-1 | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0263 | Waterstown Centre | Waterstown Centre | Air Handling Unit | Back Plant Room | EQGA |  | 2VK | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0264 | Waterstown Centre | Waterstown Centre | Boiler | Back Plant Room |  |  | R-60 | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm manufacturer, model; model/reference allocation
AST-0265 | Waterstown Centre | Waterstown Centre | Circulation Pump Set | Back Plant Room | Grundfos |  | Magna3 25-80 180 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0266 | Waterstown Centre | Waterstown Centre | DHW Expansion Vessel | Back Plant Room | Flamco Airfix |  | Airfix P 60/27 | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0267 | Waterstown Centre | Waterstown Centre | DHW Vessel | Back Plant Room | Coballes 500 Litres |  | 1050027 | 1 | Hot Water Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm model
AST-0268 | Waterstown Centre | Waterstown Centre | Gas Leak Detect System | Back Plant Room | Coster |  | RFG 651 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0269 | Technical Services | Technical Services Boiler Room | Circulation Pump Set | Ground Floor | Grundfos |  | UPSD 65-120 F | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0270 | Technical Services | Technical Services Boiler Room | Circulation Pump | Ground Floor | Grundfos |  | UPS 25-50 130 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0271 | Technical Services | Technical Services Boiler Room | Circulation Pump | Ground Floor | Wilo |  | TOP S50/10 | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0272 | Technical Services | Technical Services Boiler Room | 8 Litre Expansion Vessel | Ground Floor | Varem Extravarem LC |  | B43333914 | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0273 | Technical Services | Technical Services Boiler Room | 300 Litre Expansion Vessel | Ground Floor | Elbi |  | ERCE 300 | 1 | Pressure Vessels | To be confirmed | Review required | Not assessed | To be confirmed | Check whether reference belongs in Model / Type | Review: Confirm model; model/reference allocation
AST-0274 | Technical Services | Technical Services Boiler Room | Pressurisation Unit 1 | Ground Floor | Wilo |  | SP151/25/PS | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed | Duplicate serial/reference – verify; Check whether reference belongs in Model / Type | Review: Confirm model; duplicate reference; model/reference allocation
AST-0275 | Technical Services | Technical Services Boiler Room | 1 Bar Gas Governor | Ground Floor |  |  | 17286043 | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model
AST-0276 | Technical Services | Technical Services Boiler Room | Boiler | Ground Floor |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0277 | Kilcloon | Kilcloon | Extract fans washroom |  |  |  |  | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0278 | Kilcloon | Kilcloon | Extract fans Cafe- Extract 1 |  |  |  |  | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0279 | Kilcloon | Kilcloon | Extract fans Cafe- Extract 2 |  |  |  |  | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0280 | Kilcloon | Kilcloon | AHU toilets |  |  |  |  | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0281 | Kilcloon | Kilcloon | Air Handling Unit |  |  |  |  | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0282 | Kilcloon | Kilcloon | Gas Boiler 1 |  |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0283 | Kilcloon | Kilcloon | Gas Boiler 2 |  |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0284 | Kilcloon | Kilcloon | Gas Boiler 3 |  |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0285 | Kilcloon | Kilcloon | BMS |  |  |  |  | 1 | Controls & Electrical | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0286 | Kilcloon | Kilcloon | Gas Detector |  |  |  |  | 1 | Gas Systems | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0287 | Kilcloon | Kilcloon | Gas Blow Air Heater No.1 |  |  |  |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0288 | Kilcloon | Kilcloon | Gas Blow Air Heater No.2 |  |  |  |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0289 | Kilcloon | Kilcloon | Gas Blow Air Heater No.3 |  |  |  |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0290 | Kilcloon | Kilcloon | Gas Blow Air Heater No.4 |  |  |  |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0291 | Kilcloon | Kilcloon | Gas Boiler No.4 |  |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0292 | Kilcloon | Kilcloon | Gas Blow Air Heater No.6 |  |  |  |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0293 | Kilcloon | Kilcloon | Gas Blow Air Heater No.7 |  |  |  |  | 1 | Other Mechanical Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0294 | Kilcloon | Kilcloon | Cylinder Heating Pump set P04 A&B |  |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0295 | Kilcloon | Kilcloon | AHU 1 Heating Pump set P02 A&B |  |  |  |  | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0296 | Kilcloon | Kilcloon | AHU 2 Heating Pump set P03 A&B |  |  |  |  | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0297 | Kilcloon | Kilcloon | Radiators Heating Pump set P01 A&B |  |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0298 | Kilcloon | Kilcloon | Water Booster Pump set |  |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0299 | Kilcloon | Kilcloon | Cold Water booster set |  |  |  |  | 1 | Pumps | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm location, manufacturer, model, serial/reference
AST-0300 | Community Houses | Residential | Heat Pump | Abbey Park Orchard 78 |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0301 | Community Houses | Residential | Oil Boiler | Abbey Park View 27, |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0302 | Community Houses | Residential | Heat Pump | Aderrig Heights |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0303 | Community Houses | Residential | Oil Boiler | Aisling |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0304 | Community Houses | Residential | Boiler | Aylmer Road 76 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0305 | Community Houses | Residential | Boiler | Aylmer Road 78 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0306 | Community Houses | Residential | Oil Boiler | Balgaddy House |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0307 | Community Houses | Residential | Oil Boiler | Ballintogher |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0308 | Community Houses | Residential | Oil Boiler | Ballyboughal |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0309 | Community Houses | Residential | Heat Pump | Ballycullen |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0310 | Community Houses | Residential | Boiler | Barrington Court 120 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0311 | Community Houses | Residential | Boiler | Barrington Court 161 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0312 | Community Houses | Residential | Boiler | Beechpark – 123 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0313 | Community Houses | Residential | Boiler | Beechpark – 40 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0314 | Community Houses | Residential | Boiler | Brooklands |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0315 | Community Houses | Residential | Boiler | Buck House |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0316 | Community Houses | Residential | Boiler | Cannonbrook |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0317 | Community Houses | Residential | Oil Boiler | Castle Village Walk |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0318 | Community Houses | Residential | Oil Boiler | Celbridge Abbey |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0319 | Community Houses | Residential | Boiler | Dara Court |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0320 | Community Houses | Residential | Boiler | Deansrath |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0321 | Community Houses | Residential | Heat Pump | Deer Lodge |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0322 | Community Houses | Residential | Boiler | Dochas Lodge |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0323 | Community Houses | Residential | Boiler | Farmhouse |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0324 | Community Houses | Residential | Boiler | Ferrier - House |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0325 | Community Houses | Residential | Heat Pump | Fitzgeralds Close |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0326 | Community Houses | Residential | Heat Pump | Floraville Lodge No2 |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0327 | Community Houses | Residential | Boiler | Glen Easton Ave, 3 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0328 | Community Houses | Residential | Boiler | Glen Easton Crt, 5 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0329 | Community Houses | Residential | Boiler | Glen Easton Dr, 11 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0330 | Community Houses | Residential | Heat Pump | Gordon Park 73 |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0331 | Community Houses | Residential | Heat Pump | Gordon Park 74 |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0332 | Community Houses | Residential | Oil Boiler | Hollyville Terrace 2 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0333 | Community Houses | Residential | Boiler | Hollyville Terrace 3 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0334 | Community Houses | Residential | Heat Pump | Kilcronan Court |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0335 | Community Houses | Residential | Heat Pump | Kilmahuddrick |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0336 | Community Houses | Residential | Boiler | Lindisfarne |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0337 | Community Houses | Residential | Heat Pump | Lockhouse Meadow |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0338 | Community Houses | Residential | Boiler | Louisa Valley, 6 the Grove |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0339 | Community Houses | Residential | Boiler | Min-A-Cree |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0340 | Community Houses | Residential | Boiler | Oakcourt No 8 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0341 | Community Houses | Residential | Heat Pump | Palmersgate Apt 1 D |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0342 | Community Houses | Residential | Heat Pump | Palmersgate Apt 1 E |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0343 | Community Houses | Residential | Heat Pump | Palmersgate Apt 2 E |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0344 | Community Houses | Residential | Heat Pump | Palmersgate Apt 14 B |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0345 | Community Houses | Residential | Heat Pump | Palmerstown Heights, no 6 |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0346 | Community Houses | Residential | Oil Boiler | Rail Park, The Gables |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0347 | Community Houses | Residential | Boiler | Red Cow Cottage, No 2 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0348 | Community Houses | Residential | Boiler | Richmond House |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0349 | Community Houses | Residential | Boiler | Riverdale Park 20 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0350 | Community Houses | Residential | Boiler | Roseville Apts |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0351 | Community Houses | Residential | Boiler | Royal Meadows 119 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0352 | Community Houses | Residential | Boiler | Royal Meadows 130 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0353 | Community Houses | Residential | Heat Pump | Sallymills Apt 21 |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0354 | Community Houses | Residential | Heat Pump | Sallymills Apt 55 |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0355 | Community Houses | Residential | Heat Pump | San Guida Apt. 5 |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0356 | Community Houses | Residential | Oil Boiler | Silkenvale, no 1 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0357 | Community Houses | Residential | Heat Pump | Somerton Gate |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0358 | Community Houses | Residential | Boiler | St Andrews Green |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0359 | Community Houses | Residential | Boiler | St Cuthberts |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0360 | Community Houses | Residential | Boiler | Straffan -Teach Bohereen |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0361 | Community Houses | Residential | Boiler | Suncroft Park |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0362 | Community Houses | Residential | Oil Boiler | The Hill |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0363 | Community Houses | Residential | Boiler | The Paddocks Way |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0364 | Community Houses | Residential | Boiler | Westbury Drive |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0365 | Community Houses | Residential | Boiler | Westhaven |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0366 | Community Houses | Residential | Oil Boiler | Weston Court |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0367 | Community Houses | Residential | Boiler | Weston Way |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0368 | Community Houses | Residential | Boiler | Woodfarm Acres, No. 2&4 |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0369 | Community Hubs | Day Hub | Boiler | An Chora (lucan hub) |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0370 | Community Hubs | Day Hub | Heat Pump | Adelphi House Hub |  |  |  | 1 | Heat Pump | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0371 | Community Hubs | Day Hub | Boiler | Ascend Hub |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0372 | Community Hubs | Day Hub | A/C Units | Celbridge Hub |  |  |  | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0373 | Community Hubs | Day Hub | Boiler | Chapelizod Hub |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0374 | Community Hubs | Day Hub | Boiler | Clarkville Gateway Hub |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0375 | Community Hubs | Day Hub | A/C Units | Crumlin Hub |  |  |  | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0376 | Community Hubs | Day Hub | A/C Units | Distillery Road |  |  |  | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0377 | Community Hubs | Day Hub | Boiler | Dundrum Hub |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0378 | Community Hubs | Day Hub | A/C Units | Greenhills Hub |  |  |  | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0379 | Community Hubs | Day Hub | Boiler | Le Cheile Hub (Parish Centre) |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0380 | Community Hubs | Day Hub | Oil Boiler | Leixlip Hub |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0381 | Community Hubs | Day Hub | Boiler | Leopardstown Hub |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0382 | Community Hubs | Day Hub | Boiler | Liffey Hub |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0383 | Community Hubs | Day Hub | A/C Units | Lucan Hub NEW |  |  |  | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0384 | Community Hubs | Day Hub | A/C Units | Marlfield Row |  |  |  | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0385 | Community Hubs | Day Hub | Oil Boiler | Mill Lane Hub |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0386 | Community Hubs | Day Hub | A/C Units | Newcastle Hub |  |  |  | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0387 | Community Hubs | Day Hub | A/C Units | New Routes Hub |  |  |  | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0388 | Community Hubs | Day Hub | A/C Units | Ongar Hub |  |  |  | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0389 | Community Hubs | Day Hub | A/C Units | Rathfarnham Hub |  |  |  | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0390 | Community Hubs | Day Hub | A/C Units - Heat Recovery Unit | Santry Hub |  |  |  | 1 | Air Conditioning | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0391 | Community Hubs | Day Hub | Boiler | Sonas Hub |  |  |  | 1 | Heating Plant | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0392 | Community Hubs | Day Hub | Heat Recovery unit | The Lodge Hub (Orchard lodge) |  |  |  | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference
AST-0393 | Community Hubs | Day Hub | Heat Recovery unit | Vitality Hub (Unit 1B Rossecourt) |  |  |  | 1 | Ventilation | To be confirmed | Review required | Not assessed | To be confirmed |  | Review: Confirm manufacturer, model, serial/reference