Clarification document

| Reference | Item | Clarification |
| --- | --- | --- |
| Quantity | Variance in number of units stated in the tender notice (13) and that contained in the RFT and TRD (14) | Quantity required is 14 units |
| Ref A4 | Variation in certification standard stated in Appendix A (A4) of the RFT and the TRD | AMCA 240-22 is the certification required for this tender |
| Ref A1 | Variation in warranty - warranty of 3 years on the fan and 1 year or 500 cycles on the batteries. Criterion C states a minimum acceptable warranty of 12 months. | The minimum acceptable warranty is as outlined in Appendix A1 |
| Criterion C | Criterion looks for 1 year warranty but RFT looks for 1 and 3 years warranty for the batteries and fan respectively. | Full marks will be awarded for any unit submitted that complies with both warranties outlined in the RFT. |
| Ref B5 | Variation in flow rate and step back from opening. | The requirement is for 15,000 m³/h which is equal to 8,828.67 cfm. The step back is 14’ or 4.26m as per AMCA 240-22 |