## Instructions
NIR Analysis: Samples and instructions:
1. Equipment:
The instrument and calibration set proposed for the tender must be used for this sample analysis.
Please state the following
Instrument Model:
Calibration Set:
Is the Calibration Set provided by 3rd party?
If so, please state the provider and give detail:
2. Samples:
A total of 14 samples for the determination of % Fibre and of % Oil are provided as follows:
| SL Ref. No. | Category | Matrix | Description
| SL-Sample-01 | A_FEED_MAT | DAIRY | Lucerne pellets
| SL-Sample-02 | A_CFS | SHEEP | Lamb Grow + Finish 18% Cube
| SL-Sample-03 | A_FEED_MAT | ALL | Soya Bean Hulls
| SL-Sample-04 | A_CFS | CALF | Calf 18% Crunch
| SL-Sample-05 | A_CFS | SHEEP | Sheep Nuts
| SL-Sample-06 | A_CFS | PIG | Gilt Feed Pellets
| SL-Sample-07 | A_CFS | PIG | FV Silver Medal Pig Fattener
| SL-Sample-08 | A_CFS | POULTRY | WBCC Free Broiler Finisher
| SL-Sample-09 | A_FEED_MAT | ALL | Palm Kernel Expeller
| SL-Sample-10 | A_FEED_MAT | ALL | Soya Bean Hulls
| SL-Sample-11 | A_CFS | SHEEP | GV Ewe & Lamb 19% Coarse
| SL-Sample-12 | A_CFS | HORSE | Horse & Pony Nut
| SL-Sample-13 | A_CFS | HORSE | Horse Ration
| SL-Sample-14 | A_CFS | BEEF | Prime Beef 12% Cubes
CFS: Compound Feedstuff
FEED-MAT: Feed Material
3. Analysis Instructions:
All samples are ground to 1mm and must be analysed as received by NIR spectroscopy.
| Run 1: | Please analyse samples in duplicate in the same run as follows:
Mix the sample thoroughly before filling the sample cell ensuring homogeneity and take the reading (Replicate A).
A second reading (Replicate B) is done on a freshly filled cell (i.e. on a fresh aliquot of sample)
Review the results. Where the repeatability criteria, as outlined below, has not been met for a sample analysed in duplicate, the sample should be re-analysed at least once more, i.e. Replicate C, and if necessary, a fourth replicate, Replicate D should be run.
Note: All replicates are done on freshly filled cells
| Run 2: | Repeat the above analysis, on another day.
Evaluation of Test Results:
The difference between results for within run duplicate analyses should not exceed:
|  | - | 0.2% in absolute value for Crude Oil results
|  | - | 0.3% in absolute value for Crude Fibre results less than 10%
|  | - | 0.4% in absolute value for Crude Fibre results of 10% to 20%
|  | - | 0.5% in absolute value for Crude Fibre results greater than 20%
All results must be reported to 2 decimal places using Sheet 1 (Fibre) and Sheet 2 (Oil) of this Excel spreadsheet

## Sheet (Fibre)
Determination of % Crude Fibre
Equipment:
The instrument and calibration set proposed for the tender must be used for this sample analysis.
Results:
Results must be reported to 2 decimal places
(i) Run 1 Fibre: Results of analysis of samples in duplicate in the same run.
|  | Run 1 |  | If Repeatability criteria not met:
| Sample No. | Replicate A | Replicate B | Replicate C | Replicate D
SL-Sample-01-Fibre
SL-Sample-02-Fibre
SL-Sample-03-Fibre
SL-Sample-04-Fibre
SL-Sample-05-Fibre
SL-Sample-06-Fibre
SL-Sample-07-Fibre
SL-Sample-08-Fibre
SL-Sample-09-Fibre
SL-Sample-10-Fibre
SL-Sample-11-Fibre
SL-Sample-12-Fibre
SL-Sample-13-Fibre
SL-Sample-14-Fibre
(ii) Run 2 Fibre: Results of the analysis in duplicate in the same run on another day.
|  | Run 2 |  | If Repeatability criteria not met:
| Sample No. | Replicate A | Replicate B | Replicate C | Replicate D
SL-Sample-01-Fibre
SL-Sample-02-Fibre
SL-Sample-03-Fibre
SL-Sample-04-Fibre
SL-Sample-05-Fibre
SL-Sample-06-Fibre
SL-Sample-07-Fibre
SL-Sample-08-Fibre
SL-Sample-09-Fibre
SL-Sample-10-Fibre
SL-Sample-11-Fibre
SL-Sample-12-Fibre
SL-Sample-13-Fibre
SL-Sample-14-Fibre
Note: | NIR Fibre results will be assessed by comparison with results obtaind using the official method as documented in Commission Directive 152/2009 for Crude Fibre.

## Sheet 2 (Oil)
Determination of % Crude Oil
Equipment:
The instrument and calibration set proposed for the tender must be used for this sample analysis.
Results:
Results must be reported to 2 decimal places
(i) Run 1 Oil: Results of analysis of samples in duplicate in the same run.
|  | Run 1 |  | If Repeatability criteria not met:
| Sample No. | Replicate A | Replicate B | Replicate C | Replicate D
SL-Sample-01-Oil
SL-Sample-02-Oil
SL-Sample-03-Oil
SL-Sample-04-Oil
SL-Sample-05-Oil
SL-Sample-06-Oil
SL-Sample-07-Oil
SL-Sample-08-Oil
SL-Sample-09-Oil
SL-Sample-10-Oil
SL-Sample-11-Oil
SL-Sample-12-Oil
SL-Sample-13-Oil
SL-Sample-14-Oil
(ii) Run 2 Oil: Results of the analysis in duplicate in the same run on another day.
|  | Run 2 |  | If Repeatability criteria not met:
| Sample No. | Replicate A | Replicate B | Replicate C | Replicate D
SL-Sample-01-Oil
SL-Sample-02-Oil
SL-Sample-03-Oil
SL-Sample-04-Oil
SL-Sample-05-Oil
SL-Sample-06-Oil
SL-Sample-07-Oil
SL-Sample-08-Oil
SL-Sample-09-Oil
SL-Sample-10-Oil
SL-Sample-11-Oil
SL-Sample-12-Oil
SL-Sample-13-Oil
SL-Sample-14-Oil
Note: | NIR oil results will be assessed by comparison with results obtaind using the official method as documented in Commission Directive 152/2009 for Crude Oil (Procedure B).