Marine Institute, Rinville, Oranmore, Co. Galway

REF: MI-CFT26-042

Call for Tenders for the provision of Shipboard Acoustic Doppler Current Profiler (SADCP) Services

Tender procedure:  Open procedure

Tender Deadline: no later than 10:00am on Wednesday the 11th of November 2026

Contents
__________________________________________________

Part 1:		Introduction

Part 2:		Instructions to Tenderers

Part 3:		Selection and Award Criteria

Appendix 1:	Requirements and Specifications

Appendix 2:	Pricing Schedule

Appendix 3: 	Tender Statement

Appendix 4: 	Declaration of Personal Circumstances

Appendix 5:	Draft Services Contract

Part 1:  Introduction

__________________________________________________

The Marine Institute is Ireland’s scientific agency responsible for supporting the sustainable development of the state’s maritime area and resources. We do this through conducting applied research and providing scientific knowledge, advice and services to government, industry and other stakeholders and users.

The Institute was set up under the 1991 Marine Institute Act with the following general functions:

“to undertake, to co-ordinate, to promote and to assist in marine research and development and to provide such services related to marine research and development, that in the opinion of the Institute will promote economic development and create employment and protect the environment.” – Marine Institute Act, 1991

General information on the Marine Institute is also available at www.marine.ie

Ocean Climate and Information Systems (OCIS), a service area of the Marine Institute (MI), provides key services, both within and external to the Marine Institute, which includes research vessel and deep water ROV operation and management, oceanography and advanced seabed mapping. The Oceanographic and Climate Services section portfolio includes general coastal oceanography and open ocean applications, model validation in the exclusive economic zone, cooperation with fisheries and environmental scientists and the deployment of long-term lander equipment on and near the seabed.

As part of the oceanographic activities, OCIS operates Shipboard Acoustic Doppler Current Profiler (SADCP) systems to collect water-column current measurements during research vessel operations. The effective use of these systems requires ongoing monitoring of data acquisition and subsequent, quality control and processing, providing science ready data formats to GO-SHIP standards.

This ITT relates to the provision of specialist services for the monitoring, quality control and processing of Shipboard Acoustic Current Profiler (SADCP) data collected on Marine Institute vessels for a period of up to four years. The services will include routine monitoring of SADCP acquisition and quality control of the resulting datasets to support the delivery of reliable ocean current data.

  - The Marine Institute invites tenders (“Tenders”) to this request for tenders (“RFT”) from economic operators (“Tenderers”) for the provision of the services as described in Appendix 1 to this RFT (the Services”).

  - In summary, the Services comprise:

(a) Standard data collection maintenance and monitoring of SADCP system, software (including updates), real time data including technical support for onboard ADCP remote operations (Lot 1).

(b) Annual travel and attendance for SADCP system inspection, maintenance and knowledge transfer where required (Lot 1).

(c) processing of approximately six SADCP datasets i.e. (six cruises) to GO-SHIP standards (Lot 2).

  - “Not used”

This public procurement competition (the “Competition”) will be conducted in accordance with the open procedure under the European Union (Award of Public Authority Contracts) Regulations 2016 (Statutory Instrument 284 of 2016) (the “Regulations”). Any contract that may result from this Competition (the “Services Contract”) will be issued for an initial term of two (2) years, with an option for the Marine Institute to extend the contract for a further period of up to two (2) years, subject to the Marine Institute's requirements (the “Term”).

  - “Not used”

  - “Not used”

1.7	Marine Institute policy seeks to encourage participation on a fair and equal basis by Small and Medium Enterprises (“SME” s) in this Competition.  SME’s that believe the scope of this Competition is beyond their technical or business capacity are encouraged, subject to paragraph 2.5, to explore the possibilities of forming relationships with other SMEs or with larger enterprises.  Through such relationships they can participate and contribute to the successful implementation of any Services Contract that may result from this Competition and therefore increase their social and economic benefits.

Larger enterprises are also encouraged, subject to paragraph 2.5, to consider the practical ways that SMEs can be included in the proposals to maximise the social and economic benefits of any Services Contracts that may result from this Competition.

Part 2: Instructions to Tenderers

2.1	IMPORTANT NOTICES

2.1.1	While every effort has been made to provide comprehensive and accurate information in all notices and documents prepared for the purposes of this Competition, the Marine Institute does not accept any liability or provide any express or implied warranty in respect of any such information.  Tenderers must form their own conclusions about the solution needed to meet the requirements set out in the RFT and may wish to consult their legal advisers.

2.1.2	The Marine Institute does not bind itself to accept the lowest priced or any Tender.  This RFT does not constitute an offer or commitment to enter into a Services Contract.

No contractual rights in relation to the Marine Institute will exist unless and until a formal written Services Contract has been executed by or on behalf of the Marine Institute.

Any notification of preferred bidder status by the Marine Institute shall not give rise to any enforceable rights by the Tenderer.

The Marine Institute may cancel this Competition (or, for the avoidance of doubt, any individual Lot)] at any time prior to a formal written Services Contract being executed by or on behalf of the Marine Institute.

The award of a Services Contract does not confer exclusivity on the successful Tenderer.

2.1.3	This RFT supersedes and replaces any and all previous documentation, communications and correspondence between the Marine Institute and Tenderers, and Tenderers should place no reliance on such previous documentation and correspondence.

2.1.4	In this clause 2.1.4, “Data Protection Laws” means all applicable national and EU data protections laws, regulations and guidelines including but not limited to Regulation (EU) 2016/679 on the protection of natural persons with regard to the processing of personal data and on the free movement of such data, and repealing Directive 95/46/EC (the “General Data Protection Regulation”), and any guidelines and codes of practice issued by the Office of the Data Protection Commission or other supervisory authority for data protection in Ireland from time to time.

The Marine Institute will be a Data Controller (where Data Controller has the meaning given under the Data Protection Laws) in respect of any Personal Data (where Personal Data has the meaning given under the Data Protection Laws) required to be provided by the Tenderer in response to this RFT.

The Tenderer, as Data Controller in respect of any Personal Data provided by it in its Tender, is required to confirm in the statement required under paragraph 2.4 below that all Data Subjects (where Data Subject has the meaning given under the Data Protection Laws) whose Personal Data is provided by the Tenderer have consented to the processing of such Personal Data by the Tenderer, the Marine Institute, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of the participation of the Tenderer in this Competition or that the Tenderer otherwise has a legal basis for providing such Personal Data to the Marine Institute for the purposes of its participation in this Competition.

2.2 	COMPLIANT TENDERS

Tenderers must provide all information and evidence required under Appendix 1 (Requirements and Specifications) and Section 3 of this RFT.

2.2.1	If a Tenderer fails to comply in any respect with the requirements of this paragraph 2.2.1, the Marine Institute reserves the right to reject the Tenderers Tender as noncompliant or, without prejudice to this right and subject to its obligations at law, to take any other action it considers appropriate including but not limited to:

- Seeking written clarification from the Tenderer;

- Seeking further information from the Tenderer; or

- Waiving a requirement, which in the Marine Institute’s view, is non-material or procedural.

Tenders are required:

- To submit all documentation which this RFT requires to be submitted with their Tender;

- To follow the format of this RFT and respond to each element in the order as set out in the RFT;

- To conform to and comply with all instructions and requirements set out in this RFT;

2.2.2	Without prejudice to the generality of paragraphs 2.2.1, failure to comply with paragraphs 2.6.1, 2.6.2 or 2.6.3 below will render the Tender non-compliant and it will be rejected.

2.3	SERVICES CONTRACT

2.3.1	Tenderers should note the terms and conditions of the Services Contract at Appendix 3 to this RFT. Tenderers may not amend the Services Contract

2.3.2	Tenderers are required to confirm their acceptance of the terms and conditions of the services contract by signing the Pricing Schedule Appendix 2.

2.4	ACCEPTANCE OF RFT REQUIREMENTS

Each Tenderer is required to accept the provisions of this RFT.

2.5	CONSORTIA AND PRIME/SUBCONTRACTORS

Where a group of undertakings (in whatever form and regardless of the legal relationship between them) come together to submit a Tender in response to this RFT, the Marine Institute will deal with all matters relating to this Competition through a single nominated entity authorised to represent all members of the group of undertakings. The Tenderer must provide details of all members of the group of undertakings and their role in the Tender and clearly set out the contact details including name, title, telephone number, postal address, facsimile number and e-mail address of the nominated entity authorised to represent the Tenderer and to whom all communications shall be directed and accepted until this Competition has been completed or terminated.  Correspondence from any other person will NOT be accepted, acknowledged or responded to.

Prior to and as a condition of award of any Services Contract, the successful Tenderer shall be required to designate a single entity who will carry overall responsibility for the Services Contract (the “Prime Contractor”), irrespective of whether or not tasks are to be performed by a subcontractor or other consortium member (the “Subcontractor”).

2.6	TENDER SUBMISSION REQUIREMENTS

2.6.1	Tenders must be submitted via the electronic postbox available of www.etenders.gov.ie

Only Tenders submitted to the electronic postbox will be accepted.  Tenders submitted by any other means (including but not limited to by email, fax, post or hand deliver) will NOT be accepted.

Tenderers must ensure that they give themselves sufficient time to upload and submit all required tender documentation before the Tender Deadline (as defined in paragraph 2.6.2).  Tenderers should take into account the fact that upload speeds vary.  There is a maximum of 4GB for the total (combined) documents sent to the electronic postbox.

In order to submit a document to the electronic postbox, please note that you must click “Submit Response”.  After submitting you can still modify and re-send your response up until response deadline.  Tenderers should be aware that the “Submit Response” button will be disabled automatically upon the expiration of the response deadline.

2.6.2	Tenders must be received not later than 10:00am (Irish time) on Wednesday the 11th of November 2026 (the “Tender Deadline”).  Tenders that are received late WILL NOT be considered in this Competition

2.6.3	Tenders must be submitted in English,

2.6.4	Subject to paragraph 2.14 and 2.18, each Tenderer is limited to submitting one Tender in its own capacity and Tender as part of a consortium/group of undertakings under this RFT [for each Lot]

2.6.5	All Tenders submitted in soft copy must be compiled such that they can be read immediately using [Word or PDF or Excel where appropriate].  The Marine Institute is not responsible for corruption in electronic documents.  Tenderers must ensure electronic documents are not corrupt.

2.7	QUERIES AND CLARIFICATIONS

2.7.1	All queries relating to any aspect of this Competition or of this RFT must be directed to the messaging facility on www.etenders.gov.ie .  Queries will be accepted no later than five (05) working days before the deadline for tender submissions unless otherwise published by the Marine Institute. For the avoidance of doubt, Tenderers may not contact the Marine Institute directly regarding any aspect of this Competition.

2.7.2	All responses to queries will be issued by the Marine Institute via the messaging facility on www.etenders.gov.ie.  Where appropriate, queries may be amalgamated.  Tenderers should note that the Marine Institute will not respond to individual Tenderers privately.

2.7.3	The Marine Institute reserves the right to issue or seek written clarifications.

2.7.4	The Marine Institute reserves the right up to three (03) working days before the closing date of the Tender Deadline, to update or amend the information contained in this document.  The Marine Institute may notify tenderers of an extension to the Tender Deadline up to one working day before the closing date. Participating Tenderers will be informed of any such amendments or extension through the eTenders website.

2.7.5	Tenderers should ensure that they register their interest in this Competition, by clicking on the “Accept” button on www.etenders.gov.ie , in order to receive all responses to queries and other updates in relation to this Competition.

2.8 	TENDERING COSTS

2.8.1	All costs and expenses incurred by Tenderers relating to their participation in this Competition including, but not being limited to, site visits, field trials, demonstrations and/or presentations shall be borne by and are a matter for discharge by the Tenderers exclusively.

2.9	CONFIDENTIALITY

2.9.1	All documentation, data, statistics, drawings, information, patterns, samples or material disclosed or furnished by the Marine Institute to Tenderers during the course of this Competition:

(a)	are furnished for the sole purpose of replying to this RFT only;

(b)	may not be used, communicated, reproduced or published for any other purpose without the prior written permission of the Marine Institute

(c)	shall be treated as confidential by the Tenderer and by any third parties (including subcontractors) engaged or consulted by the Tenderer; and

(d)	must be returned immediately to the Marine Institute upon cancellation or completion of this Competition if so, requested by the Marine Institute.

2.10	PRICING

2.10.1	All Tenderers must complete the Pricing Schedule at Appendix 2 to this RFT.

2.10.2	All prices quoted must be all-inclusive (i.e. including but not being limited to shipping, packaging, delivery, ancillary costs and all other costs/expenses), be expressed in Euro only and exclusive of VAT.  The VAT rate(s) where applicable should be indicated separately.

2.10.3	Tenderers must confirm that all prices quoted in the Tender will remain valid for 120 days from the Tender Deadline. NOTE: This validity period may be extended by agreement between the Marine Institute and awarded / participating tenderers.

2.10.4	Any currency variations occurring over the term of the Services Contract shall be borne by the Tenderer.

2.10.5	Payments for Services provided pursuant to this RFT shall be subject to and made in accordance with the Services Contract at Appendix 3 to this RFT.

2.10.6	Not used

2.11	ENVIRONMENTAL, SOCIAL AND LABOUR LAW

2.11.1	In the performance of any Services Contract awarded, the successful Tenderers and their Subcontractors (if any), shall be required to comply with all applicable obligations in the field of environmental, social and labour law that apply at the place where the services are provided, that have established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Schedule 7 of the Regulations.

2.11.2	Tenderers shall be required to include an undertaking to comply fully with the provisions of Council Directive 2001/23/EC of 12 March 2001 on the approximation of the laws of the Member States relating to the safeguarding of employees’ rights in the event of transfers of undertakings, business or parts of undertakings or business and as implemented in Irish law by Statutory Instrument No.131 of 2003, the European Communities (Protection of Employees on Transfer of Undertakings) Regulations 2003 and to indemnify the Marine Institute for any claim arising or loss or costs incurred as a result of its failure or incapacity to fulfil its obligations under the said Directive and Statutory Instrument.

2.11.3	The Protection of Employees (Temporary Agency Work) Act 2012 (the “2012 Act”) provides that an Agency Worker (as defined in the 2012 Act) is entitled to the same basic working and employment conditions as those which apply to employees recruited directly by the Hirer (as defined in the 2012 Act) to do the same or a similar job.  Where the provision of the Services will involve the provision to the Marine Institute of Agency Workers (within the meaning of the 2012 Act), Tenderers should ensure that they consider their obligations under the 2012 Act when pricing their Tender.  The Marine Institute shall have no liability for any increase in salaries that may be payable as a result of the application of the 2012 Act to the provision of the Services.

2.12	PUBLICITY

No publicity regarding this Competition or any Services Contract pursuant to this Competition is permitted unless and until the Marine Institute has given its prior written consent to the relevant communication.

2.13 	REGISTRABLE INTEREST

Any Registrable interest involving any Tenderer or Subcontractor and the Marine Institute, members of the Government, members of the Oireachtas, or employees and officers of the Marine Institute and their relatives must be fully disclosed in the Tender or, in the event of this information only coming to the notice of the Tenderer or Subcontractor after the submission of a Tender, just be communicated to the Marine Institute immediately upon such information becoming known to the Tenderer or Subcontractor.

The terms “Registrable Interest” and “Relative” shall be interpreted as per Section 2 of the Ethics in Public Office Acts 1995 and 2001, copies of which are available at www.irishstatutebook.ie.  The Marine Institute will, at its absolute discretion, decide on the appropriate course of action, which may in appropriate circumstances include eliminating a Tenderer from this Competition or terminating any Services Contract entered into by a Tenderer.

2.14	ANTI-COMPETITIVE CONDUCT

Tenderers’ attention is drawn to the Competition Act 2002 (as amended, the “2002 Act”).  The 2002 Act makes it a criminal offence for Tenderers to collude on prices or terms in a public procurement competition.

2.15	INDUSTRY TERMS USED IN THIS RFT

Where reference is made to a particular item, source, process, trademark, or type in this RFT then all such references are to be given the meaning generally understood in the relevant industry and operational environment.

2.16 	FREEDOM OF INFORMATION

2.16.1	Tenderers should be aware that, under the Freedom of Information Act 2014 and the European Communities (Access to Information on the Environment) Regulations 2007 to 2014, information provided by them during this Competition may be liable to be disclosed.

2.16.2	Tenderers are asked to consider if any of the information supplied by them in their Tender should not be disclosed because of its confidentiality or commercial sensitivity.  If Tenderers consider that certain information is not to be disclosed because of its confidentiality or commercial sensitivity, Tenderers must, when providing such information, clearly identify the specific sections of their Tender containing such information and specify the reasons for its confidentiality or commercial sensitivity.  For the avoidance of doubt Tenderers may not assert confidentiality or commercial sensitivity over the entire Tender but must clearly identify the specific section containing such information.  If Tenderers do not identify information as confidential or commercially sensitive, it is liable to be released in response to a request under the above legislation without further notice to or consultation with the tenderer.  The Marine Institute will, where possible, consult with Tenderers about confidential or commercially sensitive information so identified before making its decision on a request received.  The Marine Institute accepts no liability whatsoever in respect of any information provided which is subsequently released (irrespective of notification) or in respect of any consequential damage suffered as a result of such obligations.

2.17	TAX CLEARANCE

It will be a condition of any Services Contract pursuant to this Competition that the successful Tenderer(s) shall, for the term of such contract(s), comply with all applicable EU and domestic tax laws.  Tenderers are referred to www.revenue.ie for further information.  Prior to the award of any Services Contract arising out of this Competition the successful Tenderer shall be required to supply its Tax Clearance Access Number and Tax Reference Number to facilitate online verification of their tax status by the Marine Institute. By supplying these numbers, the successful Tenderer acknowledges and agrees that the Marine Institute has the permission of the successful Tenderer to verify its tax cleared position online.

2.18 	CONFLICTS OF INTEREST

Any conflict of interest or potential conflict of interest on the part of a Tenderer, Subcontractor or individual employee(s) or agent(s) of a Tenderer or Subcontractor(s) must be fully disclosed to the Marine Institute as soon as the conflict or potential conflict is or becomes apparent.  Tenderers are required to declare that the preparation of their Tender was carried out independently.  In the event of any actual or potential conflict of interest, the Marine Institute may invite Tenderers to propose means by which the conflict of interest might be removed and in circumstances where there are links between Tenderers, the Marine Institute may seek further information to confirm the Tenders have been prepared independently.  The Marine Institute will, at its absolute discretion, decide on the appropriate course of action, which may in appropriate circumstances include eliminating a Tenderer from this Competition or terminating any Services Contract entered into by a Tenderer.

2.19	WITHDRAWAL FROM THIS COMPETITION

Tenderers are required to notify the Marine Institute immediately via the e-tenders website, if at any stage they decide to withdraw from this Competition.

2.20 	SITE VISIT

2.20.1 	 “Not used”

2.20.2	“Not used”

2.21	INSURANCE

2.21.1	The successful Tenderer shall be required to hold for the term of the Services Contract the following insurances:

| Type of Insurance Indemnity Limit |  |
| --- | --- |
| Employers Liability | €12.7 million for any one claim or series of claims arising out of a single occurrence |
| Public Liability | €6.5 million for any one claim or series of claims arising out of a single occurrence |
| Product Liability | €6.5 million for any one claim or series of claims arising out of a single occurrence |
| Professional Indemnity | €1.0 million for any one claim or series of claims arising out of a single occurrence |

2.21.2	By submitting a response to this competition, Tenderers confirm that, if awarded a Services Contract under this Competition, (i) they will, from the Effective Date of the Services Contract (as defined in the Services Contract), obtain and hold the types and levels of insurance as specified in the Selection Criteria, (ii) the territorial limits and jurisdiction of its insurance policies include Ireland and (iii) they are not aware of any exclusions, restrictions, conditions or warranties or, in the case of policies with an aggregate limit of indemnity, any outstanding claims, which could have a material adverse impact on the level of coverage specified above.  A formal confirmation from the Tenderer’s insurance company or broker to this effect will be requested from the successful Tenderer(s) prior to the award of (and shall be a condition of) any Services Contract.

2.21.3	The successful Tenderer will during the term of the Services be required to:

(a)	immediately advise the Marine Institute of any material change to its insured status;

(b)	produce proof of current premiums paid upon request;

(c)	produce valid certificates of insurance upon request.

Part 3: 	Selection and Award Criteria

__________________________________________________

3.1	COMPLIANT TENDERS

3.1	Only those Tenderers who have: -

(a)	Submitted compliant Tenders pursuant to paragraph 2.2 above, and

(b)	Meet all Pass/Fail Selection Criteria outlined below

If a Tenderer does not, upon request by the Marine Institute, provide evidence which is considered by the Marine Institute as sufficient to demonstrate (i) its fulfilment of the Selection Criteria (or any one of them) in accordance with this RFT, it shall be excluded from further participation in this Competition.

If a Tenderer does not, upon request by the Marine Institute, provide evidence which is considered by the Marine Institute as sufficient to demonstrate (i) the fulfilment by any Subcontractor on whose capacity the Prime Contractor relies of the Selection Criteria (or any one of them) in accordance with this RFT in respect of any Subcontractor, or the reliability of any Subcontractor, it shall be excluded from further participation in this Competition unless it replaces the Subcontractor with one which meets all relevant requirements of this RFT.

3.2	SELECTION CRITERIA

3.2	Tenderers will either pass OR fail each of the Selection Criteria in this part 3.2.  A Tenderer who fails a selection criterion will be excluded from participating in this Competition.

3.2.A 	Not Used

3.2.B 	Technical and Professional Ability

Tenderers must declare/provide evidence that they satisfy the technical and professional requirement(s) set out below and that they are able, upon request and without delay, to provide the supporting documentation specified below to the Marine Institute in each case.

| No | Criteria | Max Points |
| --- | --- | --- |
| 1 | Minimum five (5) years' experience providing SADCP or equivalent oceanographic instrumentation services. Tenderers must provide evidence demonstrating a minimum of five (5) years' relevant experience, including details of previous contracts or projects, the services provided, dates of delivery and client references where available. | Pass/Fail |
| 2 | Evidence of successful support of SADCP systems on a minimum of ten (10) vessels with comparable operational profiles. | Pass/Fail |
| 3 | Demonstrated experience with Teledyne RDI ADCP systems or equivalent technologies. | Pass/Fail |
| 4 | Availability of a minimum of two qualified field service engineers/scientists/technicians with the relevant expertise to provide SADCP technical support data processing, quality control and associated service activities. | Pass/Fail |
| 5 | Provision of global remote technical support and annual review on how the SADCP system is operating. | Pass/Fail |

Please Note: The Marine Institute review panel have the right to request further information and references (if not already provided) to support any claims made by the tenderer.

3.3	Awards Criteria

Tenderers should read Appendix 1 (Requirements and Specifications) in conjunction with this Section 3.3. Responses should address the relevant requirements, deliverables and evidence requirements set out in Appendix 1 and should be structured under the corresponding Award Criteria headings.

3.3.1	Lot 1 – SADCP Data Collection System Maintenance, Monitoring and Technical Support

The Services Contract will be awarded based on proven technical and professional ability, and the most economically advantageous tender(s) as identified in accordance with the tender criteria.

IMPORTANT NOTICE – Tenderers should read Appendix 1 when responding to this section of

the ITT.  A total of 60 marks will be awarded in this phase.  Please note respondent’s may

only proceed to Financial Evaluation if they:

Obtain 60% or more of the total available marks in this section AND

Obtain 50% or more of the marks available for each individual criterion listed below.

If fewer marks than specified above are obtained, tenders will be eliminated.

| Lot 1 – SADCP Data Collection System Maintenance, Monitoring and Technical Support |  |  |  |
| --- | --- | --- | --- |
| No. | Lot 1 Quality Criteria | Maximum Score Available | Minimum Score Required |
| 6 | Demonstrated Fleet Experience Tenderers must provide details of: - Number of vessels currently under SADCP remote support contracts. - Relevant vessel types served. - Geographic spread of operations. - Three comparable contracts completed within the last five years. Assessment will consider the scale of the fleet supported, relevance of vessel types, operational environment and evidence of successful delivery. | 20 (5) (5) (4) (6) | 12 |
| 7 | Technical Skills & Competency Tenderers must provide details of: - Personnel qualifications and certifications. - Experience with Teledyne RDI or equivalent ADCP systems. - Oceanographic instrumentation and SADCP data analyses expertise. - Data validation and quality control experience. Assessment will consider qualifications, experience, technical expertise and training arrangements. | 20 (7) (6) (3) (4) | 12 |
| 8 | Service Delivery Capability Tenderers must provide details of: - Service management arrangements. - Technical support team structure. - Remote support capability. - Geographic coverage and response arrangements. Assessment will consider resource availability, operational coverage and service resilience. | 10 (3) (3) (2) (2) | 6 |
| - 9 | Environmental Impact Give a brief outline of the organisation’s environmental standards or considerations/processes relevant to this contract. Please provide all relevant accreditation and certification to support your response. Corporate Social Responsibility Evidence of Corporate Social Responsibility Policy, if no policy is available, please provide details of what steps you will take to ensure the work is carried out in a socially responsible way. In line with the Government’s Climate Action Plan please provide a copy of your Environmental and Sustainability policy. If no policy is available, please provide details of what steps you will take ensure this work is carried out in an environmentally friendly and sustainable way. | 10 (4) (3) (3) | 6 |
|  | Maximum Marks Available | 60 | 36 (Overall, 60% Marks Required) |

Please Note: The Marine Institute review panel have the right to request further information and references (if not already provided) to support any claims made by the tenderer.

3.3.2 Lot 2 – SADCP Data Processing and Quality Control

The Services Contract will be awarded based on proven technical and professional ability, and the most economically advantageous tender(s) as identified in accordance with the tender criteria.

IMPORTANT NOTICE – Tenderers should read Appendix 1 when responding to this section of

the ITT.  A total of 60 marks will be awarded in this phase.  Please note respondent’s may

only proceed to Financial Evaluation if they:

Obtain 60% or more of the total available marks in this section AND

Obtain 50% or more of the marks available for each individual criterion listed below.

If fewer marks than specified above are obtained, tenders will be eliminated.

| Lot 2 – SADCP Data Processing and Quality Control |  |  |  |
| --- | --- | --- | --- |
| No. | Lot 2 - Quality Criteria | Maximum Score Available | Minimum Score Required |
| 5 | Demonstrated Data Processing Experience Tenderers must provide details of: - Experience processing and quality controlling SADCP or equivalent ADCP datasets. - Number and type of vessels or programmes supported. - Three comparable contracts completed within the last five years. Assessment will consider the relevance, scale and complexity of previous data processing and quality control activities. | 15 (6) (4) (5) | 9 |
| 6 | Technical Skills and Competency Tenderers must provide details of: - Personnel qualifications and experience in oceanographic data processing and quality control. - Experience with Teledyne RDI or equivalent ADCP systems. - Experience applying recognised ADCP data validation and quality control procedures. Assessment will consider qualifications, technical expertise and relevant experience. | 15 (6) (4) (5) | 9 |
| 3 | Data Quality Management Tenderers must provide details of: - Data processing workflow and quality control procedures. - Methods used for quality assurance, flagging and validation of ADCP datasets. - Procedures for identifying and resolving data quality issues. - Arrangements for maintaining processing documentation, metadata and audit trails. - Data delivery formats and reporting procedures. Assessment will consider robustness of quality management procedures, consistency with recognised standards and ability to deliver reliable scientific datasets. | 15 (3) (4) (3) (3) (2) | 9 |
| 7 | Data Standards and Scientific Outputs Tenderers must provide details of: - Experience working with international oceanographic data standards and best practices. - Experience submitting data to national or international marine data repositories. - Methods for documenting processing steps and quality control outcomes. Assessment will consider adherence to recognised standards, quality of documentation and suitability of outputs for scientific and operational use. | 5 (2) (2) (1) | 3 |
| 8 | Service Delivery Capability Tenderers must provide details of: - Data processing and quality control workflow arrangements. - Team structure and resource availability. - Data delivery, reporting and annual review arrangements. Assessment will consider resource availability, quality management procedures, service resilience and ability to deliver high-quality datasets within required timeframes. | 5 (3) (1) (1) | 3 |
| 9 | Environmental Impact Give a brief outline of the organisation’s environmental standards or considerations/processes relevant to this contract. Please provide all relevant accreditation and certification to support your response. Corporate Social Responsibility Evidence of Corporate Social Responsibility Policy, if no policy is available, please provide details of what steps you will take to ensure the work is carried out in a socially responsible way. In line with the Government’s Climate Action Plan please provide a copy of your Environmental and Sustainability policy. If no policy is available, please provide details of what steps you will take ensure this work is carried out in an environmentally friendly and sustainable way. | 5 (3) (1) 1 | 3 |
|  | Maximum Marks Available | 60 | 36 (Overall, 60% Marks Required) |

Please Note: The Marine Institute review panel have the right to request further information and references (if not already provided) to support any claims made by the tenderer.

3.3.3 Financial Evaluation (Lot 1 & Lot 2):

Only Tenderers who achieve the minimum required Quality Score of 36 out of 60 marks (60%) will proceed to the Financial Evaluation stage.

Cost will be evaluated separately for each Lot based on the total tendered price submitted in Appendix 2 – Pricing Schedule, excluding VAT.

If tenderers achieve sufficient scores in the criteria above, they will then be evaluated based on cost.

Methodology for Calculating Marks when evaluating Price Award Criterion

The calculation that will be used taken from Appendix 2 Total Evaluation Scenario to award marks for cost is as follows:

| Cost Score | (Lowest Tenderer's Total Cost (exc. VAT) ÷ Current Tenderer's Total Cost (exc. VAT)) × Available Marks |
| --- | --- |

| No | Cost Criteria | Maximum Points |
| --- | --- | --- |
| 10 | Cost Tenderers must complete Appendix 2 – Pricing Schedule. The lowest-priced qualifying Tender for each Lot will receive the maximum 40 marks. Other qualifying Tenders will receive proportionate marks using the formula below. | 40 |
|  | Total Overall Marks | 100 |

3.4	PRESENTATION OF PROPOSALS

“Not used”

3.5	STANDSTILL PERIOD

3.5.1	Not applicable

The tender will comprise two Lots, with one successful supplier appointed per Lot. The same supplier may be awarded both Lots.

- Lot 1: SADCP Data Collection System Maintenance, Monitoring and Technical Support.

- Lot 2: SADCP Data Processing and Quality Control.

The proposed contract duration is an initial two (2) years, from January 2027 to December 2028, with an option to extend for a further two (2) years, to December 2030.

3.6	RETURN OF SIGNED CONTRACTS

3.6.1	The successful Tenderer must sign and return the Services Contract to the Marine Institute.  A signed Services Contract returned by the successful Tenderer is not binding on the Marine Institute until the Marine Institute has signed the Services Contract in accordance with paragraph 2.1.2 above.

3.6.2	Please note that the successful tenderer will be officially offered the contract through the etenders system. It is a requirement that the successful tenderer accept or decline the award on the platform. The etenders system will notify the successful tenderer when the offer has been made. Marine Institute staff may follow up to ensure this step is completed.

Appendix 1: Requirements and Specifications

- Specification – Overview of Services

The Marine Institute is seeking the provision of specialist Shipboard Acoustic Doppler Current Profiler (SADCP) services of an initial period of two (2) years, with an option to extend for a further period of up to two (2) years. Service provision by the successful Tenderer(s) will commence in 01/2027 and terminate in 12/2030. Contract management will be led by the Marine Institute as the Contracting Authority. The Services are divided into two Lots. This specification applies to both Lot 1 and Lot 2, with the specific requirements for each Lot detailed separately below:

Lot 1 – SADCP Data Collection System Maintenance, Monitoring and Technical Support

Provision of ongoing monitoring, maintenance and technical support for Marine Institute SADCP systems and associated software, including remote support for vessel operations and annual on-site attendance for system inspection, maintenance and knowledge transfer, where required.

Lot 2 – SADCP Data Processing and Quality Control

Provision of specialist processing and quality control of SADCP data collected aboard Marine Institute research vessels. Approximately six (6) SADCP datasets are anticipated to require processing each year.

Tenderers should clearly identify the Lot(s) for which they are tendering. Full requirements for each Lot are set out below.

Tenderers should provide a clear methodology, organisation chart, named key personnel, escalation arrangements, response times and relevant examples demonstrating capability for the Lot(s) tendered. Tenderers should refer to the Tender Submission Checklist at Section 9.1 when preparing their Tender and should ensure that all requested information and supporting evidence relevant to the Lot(s) for which they are tendering is included in their submission. The checklist is provided as a guide only and does not replace the requirement to provide detailed responses under the relevant Selection Criteria and Award Criteria headings. Tenderers should clearly cross-reference supporting evidence against each criterion to assist evaluation.

- Lot 1 & Lot 2 – Technical and Professional Requirements (Pass/Fail Requirements)

Tenderers must meet the applicable minimum requirements (thresholds and supporting documentation) as set out in Section 3.2.B – Technical and Professional Ability, including, as applicable:

- A minimum of five (5) years' relevant experience providing SADCP or equivalent oceanographic instrumentation services

- Demonstrated experience supporting SADCP systems on vessels (minimum 10) with comparable operational profiles

- Relevant experience with Teledyne RDI, Nortek or equivalent ADCP technologies

- Availability of suitably qualified personnel (minimum of two) to undertake the Services, including vessel attendance where required

- Appropriate remote technical support capability for vessel operations

- Lot 1 – SADCP Data Collection Monitoring, Maintenance and Technical Support (maximum score of 60)

The successful Tenderer will provide ongoing SADCP data collection monitoring, maintenance and technical support for the Marine Institute’s Research Vessel SADCP system, associated software (including update support) and real-time acquisition. This will include remote support for onboard SADCP operations and an annual on-site attendance for system inspection, maintenance and knowledge transfer, where required. Tenderers must meet the applicable minimum requirements (thresholds and supporting documentation) as set out in Section 3.3 – Award Criteria.

  - SADCP System and Vessel Support

Services will include, as appropriate:

- Monitoring of SADCP system health, performance and real time-data acquisition;

- Remote diagnosis and support for operational or data acquisition issues;

- Advice and support in relation to system configuration, software (including update support) and data acquisition;

- Remote trouble shooting and technical support for onboard personnel.

Tenderers should describe their remote monitoring tools, support hours, incident management process, target response times, escalation procedures and examples of previous vessel support arrangements.

  - Technical Capability

The Services will require appropriate technical expertise in SADCP systems and oceanographic instrumentation, including experience with Teledyne RDI or equivalent ADCP technologies.

Technical support will include, as appropriate:

- system and software configuration support (including updates);

- remote diagnosis and troubleshooting;

- routine system inspection and maintenance;

- verification of system performance;

- technical guidance and knowledge transfer to relevant Marine Institute personnel.

Tenderers should provide CVs of key personnel, relevant qualifications/certifications, evidence of experience with Teledyne RDI or equivalent ADCP systems and examples of completed SADCP system installations, troubleshooting and performance verification activities.

  - Service Delivery

The successful Tenderer will be required to have appropriate service management, personnel and technical support arrangements in place for the duration of the contract.

This will include:

- appropriate technical resources to support the Services;

- remote monitoring and technical support capability;

- arrangements for responding to technical support requirements during vessel operation;

- one planned annual attendance for SADCP system inspection, routine maintenance, verification of system performance and knowledge transfer, where required.

Tenderers should state availability during cruises, contingency arrangements for staff absence, geographic coverage, communication arrangements and expected turnaround times for technical queries.

  - Lot 1 Deliverables

Following each annual attendance, a brief record of the work undertaken, any issues identified and any recommendations arising should be provided to the Marine Institute. Annual maintenance reports should include system status, issues identified, corrective actions taken, software/firmware updates applied, recommendations, and knowledge-transfer activities completed.

Tenderers should ensure that their response to Lot 1 also addresses the applicable Selection Criteria in Section 3.2.B and Award Criteria in Section 3.3, particularly those relating to demonstrated fleet experience, technical skills and competency, and service delivery capability.

- Lot 2 – SADCP Data Processing and Quality Control

The successful Tenderer will provide specialist processing and quality control of SADCP data collected aboard Marine Institute research vessels.

It is anticipated that approximately six (6) SADCP datasets, corresponding to approximately six research cruises, will require processing each year.

Processing and quality control will be undertaken in accordance with GO-SHIP standards, where applicable and agreed Marine Institute requirements. Services will include, as appropriate:

- Assessment of data quality;

- Application of appropriate navigation and heading corrections;

- Identification, editing and removal of erroneous or invalid data;

- Application of appropriate scientific processing and quality control procedures;

- generation of quality-controlled current velocity profiles.

Preparation of appropriate processing reports and metadata, and delivery of processed datasets in agreed formats suitable for scientific use. Tenderers should outline their proposed approach to SADCP data processing and quality control, including the methodologies, software and procedures to be used, and arrangements for quality assurance, validation, documentation, metadata and data delivery.

  - Lot 2 Deliverables

For each SADCP dataset submitted for processing, the anticipated outputs will comprise:

- A processed and quality-controlled SADCP dataset;

- Associated quality controlled document;

- A processing report outlining the processing undertaken and any data quality issues flagged;

- Associated metadata.

For tendering and pricing purposes, Tenderers should assume an estimated requirement of approximately six (6) SADCP datasets per year, equating to approximately twenty-four (24) datasets over the four-year contract period. Actual requirements may vary depending on Marine Institute operational activities. Tenderers should specify expected processing turnaround times, data formats, quality flagging conventions and report templates where available.

Tenderers should ensure that their response to Lot 2 also addresses the applicable Selection Criteria in Section 3.2.B and Award Criteria in Section 3.3, particularly those relating to technical skills and competency, data validation and quality control, and service delivery capability.

- Notification of Requirement

The Marine Institute will notify the Contractor and all other Contractors on the participating Framework panel of the requirements for services. Requirements will include those stated in the Invitation to Tender.

The Marine Institute will provide at least 3 business days for responses and will include in the notification closing time and date for responses. The Marine Institute will advise the contact person to whom responses should be sent.

- Submission of Responses

Responses may be made by e-mail transmission. The Contractor should not consider responses as having been received by the Marine Institute unless acknowledged by the Marine Institute by return email transmission.  For this reason, the Contractor should allow at least 3 hours before the closing time to allow for acknowledgement.

The cost proposal cannot exceed the cost specified in the response to Provision of Shipboards Acoustic Doppler Current Profiler (SADCP) Services MI-CFT26-042

- Award of Contracts

The Marine Institute will award contracts based on general suitability and lowest cost where the following are included in the evaluation criteria:

  - Technical and Professional Ability (60)

Tenderers who achieve the minimum score required are then evaluated based on cost.

  - Cost (40 points)

- Notification of Results

The Marine Institute will notify all Tenderers of the outcome of each competition:

  - The name of the successful Tenderer

  - The relative ranking of the proposal (e.g. 1st, 2nd, etc.) on the panel on the basis of the evaluation detailed above.

The Marine Institute will not reveal the proposed rates of unsuccessful bidders.

- Tender Response Requirements and Checklist

Tenderers must address each of the issues and requirements in this part of the RFT and submit

a detailed description in each case which demonstrates how these issues and requirements will

be dealt with/met and their approach to the proposed delivery of the Services.

A mere affirmative statement by the Tenderer that it can/will do so or a reiteration of the

tender requirements is NOT sufficient in this regard.

Tenderers should structure their response under the same headings as the award criteria (listed in the check list below) and explicitly cross-reference evidence against each sub-criterion to facilitate evaluation. For each reference project, provide client name, vessel/programme type, contract duration, scope of services and contact details for reference checks (where permitted).

All Tenders, please make sure you have all the necessary evidentiary documentation in the checklist below included in your response to this tender call for Lot 1 and/or Lot 2.

  - Tender Submission Checklist

| Tender Submissions Checklist |  |
| --- | --- |
| Lot 1 & Lot 2 Lot 1 – SADCP Data Collection System Maintenance, Monitoring and Technical Support Lot 2 – SADCP Data Processing and Quality Control | Information included in tender submission (Y/N) |
| Tenderers must provide evidence demonstrating a minimum of five (5) years' relevant experience, including details of previous contracts or projects, the services provided, dates of delivery and client references where available. |  |
| Evidence of successful support of SADCP systems on a minimum of ten (10) vessels with comparable operational profiles. |  |
| Demonstrated experience with Teledyne RDI ADCP systems or equivalent technologies. |  |
| Availability of a minimum of two qualified field service engineers/scientists/technicians with the relevant expertise to provide SADCP technical support data processing, quality control and associated service activities. |  |
| Provision of global remote technical support and annual review on how the SADCP system is operating. |  |
| Cost: Pricing Schedule in Appendix 2 submitted. |  |
| Lot 1 – SADCP Data Collection System Maintenance, Monitoring and Technical Support | Information included in tender submission (Y/N) |
| Demonstrated Fleet Experience Tenderers must provide details of: - Number of vessels currently under SADCP remote support contracts. - Relevant vessel types served. - Geographic spread of operations. - Three comparable contracts completed within the last five years. Assessment will consider the scale of the fleet supported, relevance of vessel types, operational environment and evidence of successful delivery. |  |
| Technical Skills & Competency Tenderers must provide details of: - Personnel qualifications and certifications. - Experience with Teledyne RDI or equivalent ADCP systems. - Oceanographic instrumentation and SADCP data analyses expertise. - Data validation and quality control experience. Assessment will consider qualifications, experience, technical expertise and training arrangements. |  |
| Service Delivery Capability Tenderers must provide details of: - Service management arrangements. - Technical support team structure. - Remote support capability. - Geographic coverage and response arrangements. Assessment will consider resource availability, operational coverage and service resilience. |  |
| Environmental Impact Give a brief outline of the organisation’s environmental standards or considerations/processes relevant to this contract. Please provide all relevant accreditation and certification to support your response. Corporate Social Responsibility Evidence of Corporate Social Responsibility Policy, if no policy is available, please provide details of what steps you will take to ensure the work is carried out in a socially responsible way. In line with the Government’s Climate Action Plan please provide a copy of your Environmental and Sustainability policy. If no policy is available, please provide details of what steps you will take ensure this work is carried out in an environmentally friendly and sustainable way. |  |
| Lot 2 – SADCP Data Processing and Quality Control | Information included in tender submission (Y/N) |
| Demonstrated Data Processing Experience Tenderers must provide details of: - Experience processing and quality controlling SADCP or equivalent ADCP datasets. - Number and type of vessels or programmes supported. - Three comparable contracts completed within the last five years. Assessment will consider the relevance, scale and complexity of previous data processing and quality control activities. |  |
| Technical Skills and Competency Tenderers must provide details of: - Personnel qualifications and experience in oceanographic data processing and quality control. - Experience with Teledyne RDI or equivalent ADCP systems. - Experience applying recognised ADCP data validation and quality control procedures. Assessment will consider qualifications, technical expertise and relevant experience. |  |
| Data Quality Management Tenderers must provide details of: - Data processing workflow and quality control procedures. - Methods used for quality assurance, flagging and validation of ADCP datasets. - Procedures for identifying and resolving data quality issues. - Arrangements for maintaining processing documentation, metadata and audit trails. - Data delivery formats and reporting procedures. Assessment will consider robustness of quality management procedures, consistency with recognised standards and ability to deliver reliable scientific datasets. |  |
| Data Standards and Scientific Outputs Tenderers must provide details of: - Experience working with international oceanographic data standards and best practices. - Experience submitting data to national or international marine data repositories. - Methods for documenting processing steps and quality control outcomes. Assessment will consider adherence to recognised standards, quality of documentation and suitability of outputs for scientific and operational use. |  |
| Service Delivery Capability Tenderers must provide details of: - Data processing and quality control workflow arrangements. - Team structure and resource availability. - Data delivery, reporting and annual review arrangements. Assessment will consider resource availability, quality management procedures, service resilience and ability to deliver high-quality datasets within required timeframes. |  |
| Environmental Impact Give a brief outline of the organisation’s environmental standards or considerations/processes relevant to this contract. Please provide all relevant accreditation and certification to support your response. Corporate Social Responsibility Evidence of Corporate Social Responsibility Policy, if no policy is available, please provide details of what steps you will take to ensure the work is carried out in a socially responsible way. In line with the Government’s Climate Action Plan please provide a copy of your Environmental and Sustainability policy. If no policy is available, please provide details of what steps you will take ensure this work is carried out in an environmentally friendly and sustainable way. |  |

Appendix 2: Pricing Schedule

For Lot 1 & Lot 2 Maximum Score Available of 40

To: The Marine Institute

From (Name of Tenderer): ___________________________________________________________

I/We have reviewed the MI-CFT26-042 Call for Tender for Provision of Shipboards Acoustic Doppler Current Profiler (SADCP) Services and do hereby offer to provide the services set out therein, as may be required by the Marine Institute, in exchange for the following fee which is inclusive of all costs, overheads and expenses:

| Fixed Cost (€) per Unit excl. VAT |  |  |  |  |
| --- | --- | --- | --- | --- |
| Lot 1 |  |  |  |  |
| Items | Year 1 | Year 2 | Year 3 | Year 4 |
| Standard Maintenance, Monitoring and Technical Support Services | € | € | € | € |
| Travel Expenses for SADCP System Checks, Maintenance and Mobilisation | € | € | € | € |
| LOT 1 TOTAL | € | € | € | € |
| Lot 2 |  |  |  |  |
| Items | Year 1 | Year 2 | Year 3 | Year 4 |
| SADCP Data Processing Services (up to 6 cruise datasets per annum) | € | € | € | € |
| LOT 2 TOTAL | € | € | € | € |

Please note: Where a tenderer uses a currency other than Euro (€), please include both the Euro (€) equivalent value and the price in the original currency in each pricing field/box. Price in Euros submitted at time of application will remain the same if the tenderer is successful.

Fee is to be quoted in Euro (€), excluding VAT and must include travel, subsistence and incidentals.

- If awarded this contract, the Tenderer accepts the terms of the [Shipboard Acoustic Doppler Current Profiler (SADCP) Services] MI-CFT26-042 Contract

- The Tenderer agrees to keep this offer open for acceptance by the Marine Institute for a period of 120 days from the deadline date for receipt of Tenders. NOTE: This validity period may be extended by agreement between the Marine Institute and awarded / participating tenderers.

- The Tenderer has read and confirms its acceptance of the Instructions to Tenders.

- The Tenderer agrees to treat the details of this offer, together with any subsequent correspondence or contract, as private and confidential.

- The Tenderer acknowledges that the Marine Institute shall not be responsible for any costs incurred in the preparation of its Tender or any associated work effort, howsoever arising.

- The Tenderer acknowledges that the essence of the public procurement process is that the Marine Institute shall receive bona fide competitive tenders from all Tenderers. In recognition of this principle, the Tenderer certifies that this is a bona fide tender, intended to be competitive, and that it has not fixed or adjusted the amount of the tender by or under or in accordance with any agreement or arrangement with any other Tenderer. The Tenderer is aware of the prohibitions contained in Article 101 of the Treaty on the Functioning of the European Union (TFEU) and the Competition Act 2002.

Dated this	 ________ day of _______________2026

Signature: 	_____________________________________

Print Name: 	_____________________________________

Address: 	_____________________________________

Contact No:	_____________________________________

Appendix 3:  Tenderer`s Statement

Tenderers shall complete and return the following form of Tenderers’ Statement printed on

the Tenderers’ headed notepaper (where applicable) and signed by the Tenderer.

TENDERERS’ STATEMENT

TO: Marine Institute

RE: MI-CFT26-042 Call for Tender for Provision of Shipboards Acoustic Doppler Current Profiler (SADCP) Services

Having examined your Request for Tenders (the “RFT”) including the instructions to Tenderers, the Selection and Award Criteria, the Requirements and Specifications and the Terms and Conditions of the Services Contract we hereby agree and declare the following:

- We understand the nature and extent of the Services required to be delivered as described in Requirements and Specifications at Appendix 1 to the RFT.

- We accept all of the Terms and Conditions of the RFT, the Services Contract and the Confidentiality Agreement included at Clause 25 of the Services Contract and agree if awarded a Services Contract to execute the Services Contract at Appendix 5 to the RFT.

- We accept all the Selection and Award Criteria as set out in Part 3 of the RFT.

- We agree to provide the Marine Institute with the Services in accordance with the RFT and out Tender.

- We agree that, if awarded any Services Contract, we shall, in the performance of such contract, comply with all applicable obligations in the field of environmental, social and labour law.

- We confirm that we have complied with all requirements as set out at Part 2 of the RFT.

- We confirm that all prices quoted in our Tender will remain valid for the period of time commencing from the Tender Deadline, as specified at paragraph 2.10.3 of the RFT.

- We shall, if awarded any Services Contract under the RFT, have in place on the Effective Date of the Services Contract all insurances (if any) as required by paragraph 2.21.1 of the RFT.

- We confirm that all Data Subjects whose Personal Data is provided in our Tender have consented to the processing of such Personal Data by us, the Marine Institute, the Evaluation Team and the supplier of the etenders.gov.ie website, for the purposes of our participation in this Competition or that we otherwise have a legal basis for providing such Personal Data to the Marine Institute for the purposes of our participation in this Competition and that we will provide evidence of such consent and/or legal basis to the Marine Institute upon request.

SIGNED		__________________________ (Authorised Signatory)

Print name	__________________________

Company	__________________________

Address	_____________________________________________________________________

Date		__________________________

Appendix 4: Declaration as to Personal Circumstances of Tenderer

Re: MI-CFT26-042 Call for Tender for Provision of Shipboards Acoustic Doppler Current Profiler (SADCP) Services

NAME:		[Click here and insert name] ADDRESS:	[Click here and insert address]

I, [Click here and insert name of Declarant], having been duly authorised by [Click here and insert name of entity] sincerely declare that [Click here and insert name of entity] itself or any person who has is a member of the administrative, management or supervisory body of [Click here and insert name of entity] or has powers of representation, decision or control in [Click here and insert name of entity]:

- Has never been the subject of a conviction for participation in a criminal organisation, as defined in Article 2 of Council Framework Decision 2008/841/JHA.

- Has never been the subject of a conviction for corruption, as defined in Article 3 of the Convention on the fight against corruption involving official of the European Communities or official of Member States of the European Union and Article 2(1) of Council Framework Decision 2003/568/JHA as well as corruption as defined in the national law of the Marine Institute or [Click here and insert name of entity].

- Has never been the subject of a conviction for fraud within the meaning of Article 1 of the Convention on the protection of the European Communities’ financial interests.

- Has never been the subject of a conviction for terrorist offences or offences lined to terrorist activities, as defined in Articles 1 and 3 of Council Framework Decision 2002/475/JHA respectively, or for inciting or aiding or abetting or attempting to commit an offence, as referred to in Article 4 of that Framework Decision.

- Has never been the subject of a conviction for money laundering or terrorist financing, as defined in Article 1 of Directive 2005/60/EC of the European Parliament and of the Council.

- Has never been the subject of a conviction for child labour and other forms of trafficking in human beings as defined in Article 2 of Directive 2011/36/EU of the European Parliament and of the Council.

- Is not in breach and has not breached its obligations relating to the payment of taxes or social security contributions.

- That the preparation of the tender was carried out independently.

- Has, in the performance of all public contracts, complied with applicable obligations in the field of environmental, social and labour law that apply at the place where the works are carried out or the services provided, that have been established by EU law, national law, collective agreements or by international, environmental, social and labour law listed in Schedule 7 of the European Union (Award of Public Authority Contracts) Regulations 216 (Statutory Instrument 284 of 2016).

- Is not bankrupt or the subject of insolvency or winding-up proceedings, its assets are not being administered by a liquidator or by the court, it is not in an arrangement with creditors, its business activities are not suspended nor is it in any analogous situation arising from a similar procedure under national laws and regulations.

- Is not guilty of grave professional misconduct.

- Has not entered into agreements with other economic operators aimed at distorting competition.

- Is not aware of any conflict of interest due to its participation in the Competition.

- Has not had any prior involvement in the preparation of the Competition

- Has not shown significant or persistent deficiencies in the performance of a substantive requirement under a prior public contract, a prior contract with a contracting entity, or a prior concession contract, which led to early termination of that prior contract, damages or other comparable sanctions.

- Is not guilty of serious misrepresentation in supplying the information required for the verification of the absence of grounds for exclusion or the fulfilment of the Selection Criteria for this Competition and did not withhold such information and did not fail or is not able to submit supporting documents in respect of this Competition as required under Regulation 59 of the European Union (Award of Public Authority Contracts) Regulations 2016 (Statutory Instrument 284 of 2016).

- Has not undertaken to unduly influence the decision-making process of the Marine Institute in respect of the Competition or obtain confidential information that may confer upon its undue advantages in respect of the Competition; or negligently provided misleading information that may have a material influence on decisions concerning exclusion, selection or award.

I understand and acknowledge that the provision of inaccurate or misleading information in this declaration may lead to my business/firm/company/partnership being excluded from participation in this or future tenders, and I make this solemn declaration conscientiously believing the same to be true and by virtue of the Statutory Declarations Act, 1938.  This declaration is made for the benefit of the Marine Institute.

________________________________		_______________________________

Signature of Declarant				Name of Declarant in print or block capitals

Appendix 5: Draft Services Contract

Please see additional document