## Instructions
General Information
Project Title | REFERENCE : BE3766F Request for Tenders to establish a Single Supplier Framework Agreement for the Supply and Delivery of Electrical Consumables for the Building & Estates Electrical Maintenance Team in University of Galway Tender Procedure: Open Procedure (OJEU)
Required Date | Friday 20th November 2026 at 14:00HRS
Please take note of the following:
1 | You MUST populate ALL YELLOW CELLS. If any pricing cell is left blank, the highest price tendered will be entered for evaluation purposes.
2 | All prices entered MUST be in € (Euro) and EX VAT.
3 | All prices entered MUST include delivery, all shipping charges, insurance, customs duties, commissioning and warranty as outlined in the tender documents.
4 | The quantities stated above are estimated and for comparison purposes only. They are not an indication or guarantee of the size of the orders that may be placed under this tender process. They are for guidance and comparison purposes only.
5 | University of Galway reserves the right to change and/or modify the specification of any item on the list and to omit and/or add to any item on the list.
6 | For the avoidance of doubt, the scope of this Framework covers all electrical consumable requirements for Buildings & Estates, including but not limited solely to those listed in this document.
7 | Total Price EX VAT will be calculated as follows: Notional Quantity × Price per Stock Unit = Total Price - EX VAT .
8 | The supplier shall note that all costs should exclude WEEE Charges or recycling charges. These will be dealt with separately at the time of purchase.
9 | The supplier shall ensure that all packaging is removed from site when a large order is placed.
10 | No order must be delivered unless approval is given by the Electrical Supervisor.
11 | Deliveries are to the Electrical Workshop only, or as otherwise agreed with the supplier.
12 | The supplier must complete a Data Sheet × 15 for the 15 products highlighted in Orange. Failure to do this will void the tender. The Data Sheet Template is included in the tender documents.
13 | DO NOT alter the Pricing Schedule in any way. If the schedule is altered in any way, the tender will be deemed inadmissible. Do not delete or amend any formulas in the worksheet.
14 | You must be able to supply at least 75% of the line items in the Pricing Schedule. If you are unable to supply 75% of the items, EPS reserves the right to deem your submission inadmissible.
15 | Price evaluation will be conducted using a selection of goods common to all admissible submissions, or by applying the highest tendered price where a price has not been entered.
16 | The Pricing Schedule MUST be returned in EXCEL format. DO NOT submit your Pricing Schedule in PDF. Any Pricing Schedules submitted in any other format than Excel may void your tender.
17 | Please sign the hereunder to confirm that you have read and understood the instructions for the Pricing Schedule. The Pricing tab must also be signed.
Company Name:
Signed:
Print name:
Position:

## Pricing
BE3766F
Request for Tenders to establish a Single Supplier Framework Agreement for the Supply and Delivery of Electrical Consumables for the Building & Estates Electrical Maintenance Team in University of Galway
Appendix 2 - Pricing Schedule
Marks Available : 6000
Please read and sign the Instructions tab before completing the Pricing tab
Ref | SPECIFICATION | NOTIONAL QUANTITIES | Quantity Description | PRICE PER SINGLE STOCK UNIT - EX VAT | TOTAL PRICE - EX VAT | MANUFACTURER STANDARD | MANUFACTURER | Warranty Details | Notes
ELECTRICAL CABLE & FLEX
1.01 | 3 X 1.5 sq NYM CABLE | 200 | m | 0 | 0
1.02 | 3 X 2.5 sq NYM CABLE | 200 | m | 0 | 0
1.03 | 3 x 4 sq NYM CABLE | 200 | m | 0 | 0
1.04 | 4 x 1.5 sq NYM CABLE | 200 | m | 0 | 0
1.05 | 5 x 1.5 sq NYM CABLE | 200 | m | 0 | 0
1.06 | 5 x 2.5 sq NYM CABLE | 200 | m | 0 | 0
1.07 | 3 x 1.5 sq SWA CABLE | 50 | m | 0 | 0
1.08 | 3 x 2.5 sq SWA CABLE | 50 | m | 0 | 0
1.09 | 3 x 6 sq SWA CABLE | 50 | m | 0 | 0
1.1 | 4 x 1.5 sq SWA CABLE | 50 | m | 0 | 0
1.11 | 4 x 2.5 sq SWA CABLE | 50 | m | 0 | 0
1.12 | 4 x 6 sq SWA CABLE | 50 | m | 0 | 0
1.13 | 4 x 16 sq SWA CABLE | 25 | m | 0 | 0
1.14 | 5 x 1.5 sq SWA CABLE | 50 | m | 0 | 0
1.15 | 5 x 2.5 sq SWA CABLE | 50 | m | 0 | 0
1.16 | 5 x 6 sq SWA CABLE | 50 | m | 0 | 0
1.17 | 5 x 10 sq SWA CABLE | 50 | m | 0 | 0
1.18 | 5 x 16 sq SWA CABLE | 30 | m | 0 | 0
1.19 | S.W.A. GLANDS TO SUIT CABLES BN20 S | 10 |  | 0 | 0
1.2 | S.W.A. GLANDS TO SUIT CABLES BN20 | 10 |  | 0 | 0
1.21 | S.W.A. GLANDS TO SUIT CABLES BN25 | 10 |  | 0 | 0
1.22 | S.W.A. GLANDS TO SUIT CABLES BN32 | 10 |  | 0 | 0
1.23 | 1.5 sq PVC CABLE | 50 | m | 0 | 0
1.24 | 2.5 sq PVC CABLE | 50 | m | 0 | 0
1.25 | 4 sq PVC CABLE | 50 | m | 0 | 0
1.26 | 6 sq PVC CABLE | 50 | m | 0 | 0
1.27 | 10 sq PVC CABLE | 50 | m | 0 | 0
1.28 | 3 x 1.5 sq PVC FLEX | 50 | m | 0 | 0
1.29 | 3 x 2.5 sq PVC FLEX | 50 | m | 0 | 0
1.3 | 3 x .75 sq PVC FLEX | 50 | m | 0 | 0
1.31 | 4 x 1.5 sq PVC FLEX | 50 | m | 0 | 0
1.32 | 4 x 2.5 sq PVC FLEX | 50 | m | 0 | 0
1.33 | 4 x .75 sq PVC FLEX | 50 | m | 0 | 0
1.34 | 3 x.75 PVC H/R FLEX | 25 | m | 0 | 0
1.35 | 3 x 1.5 PVC H/R FLEX | 25 | m | 0 | 0
1.36 | 3 x 2.5 PVC H/R FLEX | 25 | m | 0 | 0
1.37 | 1.5 sq TWIN & EARTH | 25 | m | 0 | 0
1.38 | 1.5 sq SINGLE PVC/PVC | 25 | m | 0 | 0
1.39 | 2.5sq TWIN & EARTH | 25 | m | 0 | 0
1.4 | 6 sq TWIN & EARTH | 25 | m | 0 | 0
1.41 | 6SQ FLEXIBLE CABLE BLUE | 25 | m | 0 | 0
1.42 | 10SQ FLEXIBLE CABLE BLUE | 25 | m | 0 | 0
1.43 | 16SQ FLEXIBLE CABLE BLUE | 25 | m | 0 | 0
1.44 | 6SQ FLEXIBLE CABLE BROWN | 25 | m | 0 | 0
1.45 | 10SQ FLEXIBLE CABLE BROWN | 25 | m | 0 | 0
1.46 | 16SQ FLEXIBLE CABLE BROWN | 25 | m | 0 | 0
1.47 | 6SQ FLEXIBLE CABLE EARTH | 25 | m | 0 | 0
1.48 | 10SQ FLEXIBLE CABLE EARTH | 25 | m | 0 | 0
1.49 | 6SQ BOOTLACE FERRERS (per 100) | 5 |  | 0 | 0
1.5 | 10SQ BOOTLACE FERRERS (per 100) | 5 |  | 0 | 0
1.51 | 16SQ BOOTLACE FERRERS (per 100) | 5 |  | 0 | 0
1.52 | CAT 5 CABLE 4 PAIR SCREANED-RJ 45 | 150 | m | 0 | 0
1.53 | 4 CORE ALARM CABLE | 50 | m | 0 | 0
1.54 | 4 CORE TELEPHONE CABLE | 50 | m | 0 | 0
STEEL CONTAINMENT SYSTEMS
1.55 | 100mm STEEL CABLE TRAY ( Length) | 15 |  | 0 | 0
1.56 | 200mm STEEL CABLE TRAY (Length) | 15 |  | 0 | 0
1.57 | 300mm STEEL CABLE TRAY (Length) | 15 |  | 0 | 0
1.58 | 100mm STEEL CABLE BASKET ( Length) | 15 |  | 0 | 0
1.59 | 200mm STEEL CABLE BASKET (Length) | 15 |  | 0 | 0
1.6 | 300mm STEEL CABLE BASKET ( Length) | 15 |  | 0 | 0
1.61 | 50X50mm STEEL TRUNKING WITH LID ( Length) | 20 |  | 0 | 0
1.62 | 50X100mm STEEL TRUNKING WITH LID ( Length) | 20 |  | 0 | 0
1.63 | 100X100mm STEEL TRUNKING WITH LID ( Length) | 20 |  | 0 | 0
STEEL CONDUIT and ACCESSORIES
1.64 | 20 mm STEEL CONDUIT ( Length) | 30 |  | 0 | 0
1.65 | 25 mm STEEL CONDUIT ( Length) | 20 |  | 0 | 0
1.66 | 20 mm ELBOWS | 10 |  | 0 | 0
1.67 | 25 mm ELBOWS | 10 |  | 0 | 0
1.68 | 20 mm TEES | 10 |  | 0 | 0
1.69 | 25 mm TEES | 10 |  | 0 | 0
1.7 | 20 mm THREADED LOCKRINGS | 10 |  | 0 | 0
1.71 | 25 mm THREADED LOCKRINGS | 10 |  | 0 | 0
1.72 | 20 mm COUPLINGS | 10 |  | 0 | 0
1.73 | 25 mm COUPLINGS | 10 |  | 0 | 0
1.74 | 20 mm MB BUSHINGS | 10 |  | 0 | 0
1.75 | 25 mm MB BUSHINGS | 10 |  | 0 | 0
1.76 | 20 mm NIPPLES | 10 |  | 0 | 0
1.77 | 20 mm S/B SADDLES | 10 |  | 0 | 0
1.78 | 20 mm TEE BOXES | 10 |  | 0 | 0
1.79 | 20 mm END BOXES | 10 |  | 0 | 0
1.8 | 20 mm S/T BOXES | 10 |  | 0 | 0
1.81 | 20 mm ANGLE BOXES | 10 |  | 0 | 0
1.82 | 20 mm LOCKRINGS | 10 |  | 0 | 0
1.83 | 20 mm LOCKNUTS | 10 |  | 0 | 0
1.84 | 20 mm DOME COVERS | 10 |  | 0 | 0
1.85 | 20 mm HOOKS | 10 |  | 0 | 0
1.86 | 20 mm HOOK PLATES | 10 |  | 0 | 0
1.87 | BOX LIDS | 10 |  | 0 | 0
1.88 | 3 x 3 x 2 KO BOXES | 10 |  | 0 | 0
1.89 | 4 x 4 x 2 KO BOXES | 10 |  | 0 | 0
ROUND PVC CONDUIT
1.9 | 20 mm ROUND PVC CONDUIT ( Length) | 20 |  | 0 | 0
1.91 | 20 mm STRAIGHT ADAPTORS | 10 |  | 0 | 0
1.92 | 20 mm ELBOWS | 10 |  | 0 | 0
1.93 | 20 mm TEES | 10 |  | 0 | 0
1.94 | 20 mm COUPLINGS | 10 |  | 0 | 0
1.95 | 20 mm TEE BOXES | 10 |  | 0 | 0
1.96 | 20 mm END BOXES | 10 |  | 0 | 0
1.97 | 20 mm S/T BOXES | 10 |  | 0 | 0
1.98 | 20 mm CROSS BOXES | 10 |  | 0 | 0
1.99 | 20 mm ROUND BOX LIDS | 10 |  | 0 | 0
2 | 16 x 16mm STICKY BACK TRUNKING | 10 |  | 0 | 0
2.01 | 16 x 25mm STICKY BACK TRUNKING | 10 |  | 0 | 0
FLEXIBLE CONDUIT
2.02 | 20 mm FLEXIBLE CONDUIT - 2X 3116 ( Length) | 20 |  | 0 | 0
2.03 | 25 mm FLEXIBLE CONDUIT - 2X 30120 ( Length) | 20 |  | 0 | 0
2.04 | 20 mm GLANDS TO SUIT ADAPTA FLEX - 2X 54116 | 10 |  | 0 | 0
2.05 | 25 mm GLANDS TO SUIT ADAPTA FLEX - 2X 54120 | 10 |  | 0 | 0
2.06 | 20 mm FLEXIBLE CONDUIT XF20 | 10 |  | 0 | 0
2.07 | 25 mm FLEXIBLE CONDUIT XF25 | 10 |  | 0 | 0
2.08 | 20 mm GLANDS TO SUIT ADAPTA FLEX XF20/M20/D | 10 |  | 0 | 0
2.09 | 25 mm GLANDS TO SUIT ADAPTA FLEX XF25/M25/D | 10 |  | 0 | 0
2.1 | KFM 20 | 10 |  | 0 | 0
2.11 | KFM 25 | 10 |  | 0 | 0
2.12 | KC20/M20/A | 10 |  | 0 | 0
2.13 | KC25/M25/A | 10 |  | 0 | 0
SOCKETS & SWITCHES
2.14 | 3 & 4 GANG GRID 3724 ZIC - K3704 | 10 |  | 0 | 0
2.15 | 6 GANG GRID 3706 ZIC | 10 |  | 0 | 0
2.16 | 20A 2 WAY SWITCH 4892 WHI | 10 |  | 0 | 0
2.17 | 20A 1 WAY SWITCH 4891 WHI | 10 |  | 0 | 0
2.18 | 20A INTER SWITCH 4893 WHI | 10 |  | 0 | 0
2.19 | 20A DP SWITCH 5212 ALM | 10 |  | 0 | 0
2.2 | 45A DP SWITCH 5230 ALM | 10 |  | 0 | 0
2.21 | 32A ISOL SWITCH 921E | 10 |  | 0 | 0
2.22 | 2 GANG BLANK PLATE 3329 - MCO | 10 |  | 0 | 0
2.23 | 1 GANG BLANK PLATE 3330 - MCO | 10 |  | 0 | 0
2.24 | 2 GANG BLANK PLATE 3369 - ALM | 10 |  | 0 | 0
2.25 | 1 GANG BLANK PLATE 3390 - ALM | 10 |  | 0 | 0
2.26 | 1 GANG PLATE 3431 MCO | 10 |  | 0 | 0
2.27 | 1 GANG PLATE 3491 ALM | 10 |  | 0 | 0
2.28 | 2 GANG PLATE 3432 MCO | 10 |  | 0 | 0
2.29 | 2 GANG PLATE 3492 ALM | 10 |  | 0 | 0
2.3 | 3 GANG PLATE 3433 MCO | 10 |  | 0 | 0
2.31 | 3 GANG PLATE 3493 ALM | 10 |  | 0 | 0
2.32 | 4 GANG PLATE 3434 MCO | 10 |  | 0 | 0
2.33 | 4 GANG PLATE 3494 ALM | 10 |  | 0 | 0
2.34 | 1 GANG BOX 2003 ALM | 10 |  | 0 | 0
2.35 | 1 & 2 GANG SWITCH BOX 891 ALM | 10 |  | 0 | 0
2.36 | 3 & 4 GANG SWITCH BOX ALM | 10 |  | 0 | 0
2.37 | No KOs SWITCH BOX 830 ALM | 10 |  | 0 | 0
2.38 | 2 GANG BOX No KOs 2002 ALM | 10 |  | 0 | 0
2.39 | 1 GANG x 25 mm KO BOX 861 | 10 |  | 0 | 0
2.4 | 2 GANG x 25 mm KO BOX 862 | 10 |  | 0 | 0
2.41 | FLEX OUTLET 971 MCO | 10 |  | 0 | 0
2.42 | FLEX OUTLET 978 MCO | 10 |  | 0 | 0
2.43 | FLEX OUTLET 5250 MCO | 10 |  | 0 | 0
2.44 | 13A FLEX OUTLET 932 ALM | 10 |  | 0 | 0
2.45 | 13A FLEX OUTLET 942 ALM | 10 |  | 0 | 0
2.46 | 13A FLEX OUTLET 972 ALM | 10 |  | 0 | 0
2.47 | 13A FLEX OUTLET 983 ALM | 10 |  | 0 | 0
2.48 | 13A FLEX OUTLET 986 ALM | 10 |  | 0 | 0
2.49 | 13A FLEX OUTLET 989 ALM | 10 |  | 0 | 0
2.5 | 13A FLEX OUTLET 5232 ALM | 10 |  | 0 | 0
2.51 | PLUG IN CEILING ROSE 4PIN 5009 | 10 |  | 0 | 0
2.52 | PLUG IN CEILING ROSE 3PIN 5001 | 10 |  | 0 | 0
2.53 | CONNECTOR STRIPS (SELECTION) 15 AMP | 10 |  | 0 | 0
2.54 | JT SINGLE PLASTIC BOXES (WHITE) 25 AMP | 10 |  | 0 | 0
2.55 | JT TWIN PLASTIC BOXES (WHITE) 25 AMP | 10 |  | 0 | 0
2.56 | TIE WRAPS (SELECTION) | 10 |  | 0 | 0
2.57 | COILS OF INSULATION TAPE | 10 |  | 0 | 0
2.58 | CONNECTOR STRIPS (SELECTION) 30 AMP | 10 |  | 0 | 0
2.59 | 4 MODULE METAL ENCLOSURE with DOOR Sm40.4 | 10 |  | 0 | 0
2.6 | SINGLE SOCKETS: 730065 WHITE | 10 |  | 0 | 0
2.61 | TWIN SOCKETS: 730075 WHITE | 10 |  | 0 | 0
2.62 | SWITCHED SOCKETS | 10 |  | 0 | 0
2.63 | SINGLE SOCKETS: 730060 SWITCHED | 10 |  | 0 | 0
2.64 | TWIN SOCKETS: 730070 SWITCHED | 10 |  | 0 | 0
2.65 | 13A spur outlets switched | 10 |  | 0 | 0
2.66 | 13A 3 pin Plug Tops domestic | 60 |  | 0 | 0
2.67 | Twin Sockets: Switched incl 2 outlet Type A USB | 30 |  | 0 | 0
2.68 | Twin Sockets: Switched incl 2 outlet Type A & C USB | 30 |  | 0 | 0
2.69 | 13A 1 GANG SOCKET 732 MCO | 10 |  | 0 | 0
2.7 | 13A 1 GANG SOCKET 2458 MCO | 10 |  | 0 | 0
2.71 | 13A 1 GANG SOCKET 2958 MCO | 10 |  | 0 | 0
2.72 | 13A 2 GANG SOCKET 733 MCO | 10 |  | 0 | 0
2.73 | 13A 2 GANG SOCKET 2448 MCO | 10 |  | 0 | 0
2.74 | 13A 2 GANG SOCKET 2948 MCO | 10 |  | 0 | 0
2.75 | 13A 2 GANG SOCKET K2747 WHITE | 40 |  | 0 | 0
2.76 | 13A 1 GANG SOCKET 848 ALM | 10 |  | 0 | 0
2.77 | 13A 1 GANG SOCKET 2477 ALM | 10 |  | 0 | 0
2.78 | 13A 1 GANG SOCKET 2977 ALM | 10 |  | 0 | 0
2.79 | 13A 2 GANG SOCKET 850 ALM | 10 |  | 0 | 0
2.8 | 13A 2 GANG SOCKET 2446 ALM | 10 |  | 0 | 0
2.81 | 13A 2 GANG SOCKET 2946 ALM | 20 |  | 0 | 0
2.82 | 13 AMP 2 GANG SOCKETS K781 WH1 | 10 |  | 0 | 0
2.83 | 2 GANG SOCKET PLATES ( to suit 4 x 2 trunking) | 10 |  | 0 | 0
2.84 | 1 GANG SOCKET PLATE (to suit 100X50mm galvanised trunking) | 10 |  | 0 | 0
2.85 | 20A DP Switch - Legrand 730010 or equivalent | 10 |  | 0 | 0
2.86 | 20 with Neon - Legrand 730012 or equivalent | 10 |  | 0 | 0
MCB's & FUSE UNITS
2.87 | 10A SP MCB Type B | 35 |  | 0 | 0
2.88 | 16A SP MCB Type B | 35 |  | 0 | 0
2.89 | 20A SP MCB Type B | 35 |  | 0 | 0
2.9 | 25A SP MCB Type B | 10 |  | 0 | 0
2.91 | 32A SP MCB Type B | 10 |  | 0 | 0
2.92 | 40A SP MCB Type B | 10 |  | 0 | 0
2.93 | 63A SP MCB Type B | 25 |  | 0 | 0
2.94 | 10A SP MCB Type C | 35 |  | 0 | 0
2.95 | 16A SP MCB Type C | 35 |  | 0 | 0
2.96 | 20A SP MCB Type C | 35 |  | 0 | 0
2.97 | 25A SP MCB Type C | 10 |  | 0 | 0
2.98 | 32A SP MCB Type C | 10 |  | 0 | 0
2.99 | 40A SP MCB Type C | 10 |  | 0 | 0
3 | 63A SP MCB Type C | 10 |  | 0 | 0
3.01 | 10A SP MCB Type D | 15 |  | 0 | 0
3.02 | 16A SP MCB Type D | 15 |  | 0 | 0
3.03 | 20A SP MCB Type D | 15 |  | 0 | 0
3.04 | 25A SP MCB Type D | 10 |  | 0 | 0
3.05 | 32A SP MCB Type D | 10 |  | 0 | 0
3.06 | 40A SP MCB Type D | 10 |  | 0 | 0
3.07 | 63A SP MCB Type D | 10 |  | 0 | 0
3.08 | 10A TP MCB Type B | 10 |  | 0 | 0
3.09 | 16A TP MCB Type B | 10 |  | 0 | 0
3.1 | 20A TP MCB Type B | 10 |  | 0 | 0
3.11 | 25A TP MCB Type B | 10 |  | 0 | 0
3.12 | 32A TP MCB Type B | 10 |  | 0 | 0
3.13 | 40A TP MCB Type B | 10 |  | 0 | 0
3.14 | 63A TP MCB Type B | 10 |  | 0 | 0
3.15 | 10A TP MCB Type C | 10 |  | 0 | 0
3.16 | 16A TP MCB Type C | 10 |  | 0 | 0
3.17 | 20A TP MCB Type C | 10 |  | 0 | 0
3.18 | 25A TP MCB Type C | 10 |  | 0 | 0
3.19 | 32A TP MCB Type C | 10 |  | 0 | 0
3.2 | 40A TP MCB Type C | 10 |  | 0 | 0
3.21 | 63A TP MCB Type C | 10 |  | 0 | 0
3.22 | 10A TP MCB Type D | 10 |  | 0 | 0
3.23 | 16A TP MCB Type D | 10 |  | 0 | 0
3.24 | 20A TP MCB Type D | 10 |  | 0 | 0
3.25 | 25A TP MCB Type D | 10 |  | 0 | 0
3.26 | 32A TP MCB Type D | 10 |  | 0 | 0
3.27 | 40A TP MCB Type D | 10 |  | 0 | 0
3.28 | 63A TP MCB Type D | 10 |  | 0 | 0
3.29 | 10A SP MCB Type B with Arc Fault Detection (AFDD) | 35 |  | 0 | 0
3.3 | 16A SP MCB Type B AFDD | 35 |  | 0 | 0
3.31 | 20A SP MCB Type B AFDD | 35 |  | 0 | 0
3.32 | 25A SP MCB Type B AFDD | 10 |  | 0 | 0
3.33 | 32A SP MCB Type B AFDD | 10 |  | 0 | 0
3.34 | 10A SP MCB Type C AFDD | 35 |  | 0 | 0
3.35 | 16A SP MCB Type C AFDD | 35 |  | 0 | 0
3.36 | 20A SP MCB Type C AFDD | 35 |  | 0 | 0
3.37 | 25A SP MCB Type C AFDD | 10 |  | 0 | 0
3.38 | 32A SP MCB Type C AFDD | 10 |  | 0 | 0
3.39 | 20A RCBO 30mA | 10 |  | 0 | 0
3.4 | 40A RCBO 30mA | 10 |  | 0 | 0
3.41 | 20A RCBO 30mA AFDD | 10 |  | 0 | 0
3.42 | 40A RCBO 30mA AFDD | 10 |  | 0 | 0
3.43 | HRC fuse holder 22x58 SP | 10 |  | 0 | 0
3.44 | HRC fuse holder 22x58 TP | 10 |  | 0 | 0
3.45 | NEOZ SWITCH FUSE SP 63A | 20 |  | 0 | 0
3.46 | NEOZ SWITCH FUSE TP 63A | 20 |  | 0 | 0
3.47 | 63A isolater (1 pole) | 10 |  | 0 | 0
3.48 | 63A isolater (3 pole) | 10 |  | 0 | 0
3.49 | 125A isolater (3 pole) | 10 |  | 0 | 0
3.5 | Single Phase Busbar (Pin Type) | 10 |  | 0 | 0
3.51 | Three Phase Busbar (Pin Type) | 10 |  | 0 | 0
EMERGENCY LIGHT FITTINGS
3.52 | Non maintained LED Bulkhead surface type | 50 |  | 0 | 0
3.53 | Non maintained LED Bulkhead flush type | 50 |  | 0 | 0
3.54 | MAINTAINED BULKHEAD LED | 10 |  | 0 | 0
3.55 | Exit Sign 3-IN-1 LED type Maintained | 50 |  | 0 | 0
3.56 | TWINSPOT LED (3 Year Guarantee) | 10 |  | 0 | 0
3.57 | MAINTAINED ONE SIDED EXIT (3 Year Guarantee) | 10 |  | 0 | 0
3.58 | MAINTAINED 2 SIDED EXIT (3 Year Guarantee) | 10 |  | 0 | 0
3.59 | FLUSH NON MAINTAINED BULKHEAD | 10 |  | 0 | 0
3.6 | 2D TYPE LED EMERGENCY FITTINGS | 10 |  | 0 | 0
3.61 | Pin spot LED emergency Light | 30 |  | 0 | 0
3.62 | NC 951- DISABLED PERSONS TOILET ALARM KIT | 10 |  | 0 | 0
VARIOUS BOXES
3.63 | CIRCULAR DRY LINING BOX - SINGLE BACK ENTRY | 10 |  | 0 | 0
3.64 | CIRCULAR DRY LINING BOX - DOUBLE BACK ENTRY | 10 |  | 0 | 0
3.65 | SINGLE GANG DRY LINING BOX - STANDARD | 10 |  | 0 | 0
3.66 | SINGLE GANG DRY LINING BOX - DEEP | 10 |  | 0 | 0
3.67 | TWIN GANG DRY LINING BOX - STANDARD | 10 |  | 0 | 0
3.68 | TWIN GANG DRY LINING BOX - DEEP | 10 |  | 0 | 0
TRUNKING SYSTEMS PLASTIC - Mita/Marco
3.69 | OUTSIDE ANGLE - FABRICATED TOAS 100/50 | 10 |  | 0 | 0
3.7 | OUTSIDE ANGLE 45 - FABRICATED TOAS 100/50AB - 100 x 50mm | 10 |  | 0 | 0
3.71 | INSIDE ANGLE - Clip on TIAS 100/50c - 100 x 50mm | 10 |  | 0 | 0
3.72 | INSIDE ANGLE - FABRICATED TIAS 100/50 - 100 x 50mm | 10 |  | 0 | 0
3.73 | INSIDE ANGLE 45 - FABRICATED TIAS 100/50AB - 100 x 50mm | 10 |  | 0 | 0
3.74 | FLAT ANGLE - Clip on TFAS 100/50c - 100 x 50mm | 10 |  | 0 | 0
3.75 | FLAT ANGLE - FABRICATED TFAS 100/50 - 100 x 50mm | 10 |  | 0 | 0
3.76 | FLAT ANGLE 45 - FABRICATED TFAS 100/50AB -100x50mm | 10 |  | 0 | 0
3.77 | FLAT CROSSOVER - FABRICATED TCUS 100/50 -100x50mm | 10 |  | 0 | 0
3.78 | M.T. MCFS50 DIVIDING FILLET | 10 |  | 0 | 0
3.79 | FLAT TEE - FABRICATED TFTS 100/50 | 10 |  | 0 | 0
3.8 | EDGE TEE(External Cover)-FABRICATED TTES 100/50 -100x50mm | 10 |  | 0 | 0
3.81 | EDGE TEE(Internal Cover)-Fabricated TTIS 100/50 -100x50mm | 10 |  | 0 | 0
3.82 | EXTERNAL COUPLER TCCS 100/50 - 100 x 50mm | 10 |  | 0 | 0
3.83 | INTERNAL COUPLER TICS 100/50 - 100 x 50mm | 10 |  | 0 | 0
3.84 | FLANGED COUPLER TCFS 100/50 - 100 x 50mm | 10 |  | 0 | 0
3.85 | CABLE RETAINER TCRS 100 - 100mm | 10 |  | 0 | 0
3.86 | END CAP TECS 100/50 -100 x 50mm | 10 |  | 0 | 0
3.87 | MTSPS1 - SINGLE GANG PLATE | 10 |  | 0 | 0
3.88 | MTSPS2 - TWIN GANG PLATE | 10 |  | 0 | 0
3.89 | TSSO3 - SINGLE GANG BOX | 10 |  | 0 | 0
3.9 | TSSO4 - TWIN GANG BOX | 10 |  | 0 | 0
SCREWS
3.91 | 4M x 12 SCREWS | 10 |  | 0 | 0
3.92 | 4M x 20 SCREWS | 10 |  | 0 | 0
3.93 | 4 x 25MM SCREWS | 10 |  | 0 | 0
3.94 | 4M x 30 SCREWS | 10 |  | 0 | 0
3.95 | 4M x 40 SCREWS | 10 |  | 0 | 0
3.96 | 4MM NUTS | 10 |  | 0 | 0
3.97 | 4MM WASHERS | 10 |  | 0 | 0
3.98 | M6 x 12 Gutter Bolts & Nuts | 50 |  | 0 | 0
SQUARE-LOK WOOD SCREWS
3.99 | no8 x 1.5inch | 10 |  | 0 | 0
4 | no8 x 1.25inch | 10 |  | 0 | 0
4.01 | no8 x 2inch | 10 |  | 0 | 0
4.02 | no8 x 1inch | 10 |  | 0 | 0
4.03 | no8 x 0.75inch | 10 |  | 0 | 0
4.04 | no6 x 1inch | 10 |  | 0 | 0
4.05 | no6 x 0.75inch | 10 |  | 0 | 0
CABLE & PIPE CLIPS
4.06 | Clips TC 2 x 4 | 50 |  | 0 | 0
4.07 | Clips TC 3 x 5 | 50 |  | 0 | 0
4.08 | Clips TC 5 x 8 | 50 |  | 0 | 0
4.09 | Clips TC 6x10 | 50 |  | 0 | 0
4.1 | Clips TC 7x14 | 50 |  | 0 | 0
4.11 | Clip TC 9x18 | 50 |  | 0 | 0
4.12 | Clips TC 3 – 5 | 50 |  | 0 | 0
4.13 | Clips TC 5 – 7 | 50 |  | 0 | 0
4.14 | Clips TC 7 – 10 | 50 |  | 0 | 0
4.15 | Clips TC 10 – 14 | 50 |  | 0 | 0
4.16 | Clips TC 14 – 20 | 50 |  | 0 | 0
4.17 | Clips TC 22 - 26 | 50 |  | 0 | 0
LAMPS
4.18 | Electronic Ballasts Dimmable/non Dimmable 1x80watt | 5 |  | 0 | 0
4.19 | Electronic Ballasts Dimmable/non Dimmable 2x58watt | 5 |  | 0 | 0
4.2 | Electronic Ballasts Dimmable/non Dimmable 1x58watt | 5 |  | 0 | 0
4.21 | Electronic Ballasts Dimmable/non Dimmable 2x49watt | 5 |  | 0 | 0
4.22 | Electronic Ballasts Dimmable/non Dimmable 1x49watt | 5 |  | 0 | 0
4.23 | Electronic Ballasts Dimmable/non Dimmable 2x36watt | 5 |  | 0 | 0
4.24 | Electronic Ballasts Dimmable/non Dimmable 4x18watt | 5 |  | 0 | 0
4.25 | Electronic Ballasts Dimmable/non Dimmable 4x14watt | 5 |  | 0 | 0
PL LAMPS
4.26 | 42W 2pin X 4pin | 10 |  | 0 | 0
4.27 | 32W 2pin X 4pin | 10 |  | 0 | 0
4.28 | 26W 2pin X 4pin | 10 |  | 0 | 0
4.29 | 18W 2pin X 4pin | 10 |  | 0 | 0
4.3 | 13W 2pin X 4pin | 10 |  | 0 | 0
4.31 | 28W 4pin X 2pin 2D | 10 |  | 0 | 0
4.32 | 16W 4pin X 2pin 2D | 10 |  | 0 | 0
T5 LAMPS
4.33 | 80W T5 lamp | 10 |  | 0 | 0
4.34 | 54W T5 lamp | 10 |  | 0 | 0
4.35 | 49W T5 lamp | 10 |  | 0 | 0
4.36 | 39W T5 lamp | 10 |  | 0 | 0
4.37 | 35W T5 lamp | 10 |  | 0 | 0
4.38 | 28W T5 lamp | 10 |  | 0 | 0
4.39 | 24W T5 lamp | 10 |  | 0 | 0
4.4 | 16W T5 lamp | 10 |  | 0 | 0
4.41 | 14W T5 lamp | 10 |  | 0 | 0
4.42 | 13W T5 lamp | 10 |  | 0 | 0
LAMPS Provision of Lamps only
4.43 | 18W T8 lamp | 10 |  | 0 | 0
4.44 | 36W T8 lamp | 10 |  | 0 | 0
4.45 | 54W T8 lamp | 10 |  | 0 | 0
4.46 | GU 10 LED lamps for down lighters 4 watt | 10 |  | 0 | 0
4.47 | GU 10 LED lamps for down lighters 7Watt | 10 |  | 0 | 0
4.48 | GU 10 LED lamps for down lighters 11 Watt | 10 |  | 0 | 0
4.49 | GU 5.3 LED lamps 4 Watt | 10 |  | 0 | 0
4.5 | GU 5.3 LED lamps 7 Watt | 10 |  | 0 | 0
4.51 | GU 5.3 LED lamps | 10 |  | 0 | 0
4.52 | 230 volt Down Lighters | 10 |  | 0 | 0
4.53 | 230 volt IP 44 Down Lighters | 10 |  | 0 | 0
4.54 | 230 volt IP 54 Down Lighters | 10 |  | 0 | 0
4.55 | 12v Down Lighters | 10 |  | 0 | 0
4.56 | Eaton LSC Plug in Lighting | 10 |  | 0 | 0
4.57 | 3pin LSC rewireable plug | 10 |  | 0 | 0
4.58 | 3pin LSC rewireable plug | 10 |  | 0 | 0
4.59 | Ceiling Pendant 3 terminal L/N/Loop | 10 |  | 0 | 0
LED Light Fittings approved by NUI Galway.
4.6 | 600 x 600 Colour 4000k Ansell or equivalent | 100 |  | 0 | 0
4.61 | 70WATT BULKHEAD LED | 10 |  | 0 | 0
4.62 | 30WATT LED FLOODLIGHT LED | 10 |  | 0 | 0
4.63 | 50WATT LED FLOODLIGHT | 10 |  | 0 | 0
4.64 | 70WATT LED FLOODLIGHT | 10 |  | 0 | 0
4.65 | 125WATT METAL HALIDE or LED Equivalent | 5 |  | 0 | 0
4.66 | OPPLE 57Watt waterproof 1500mm fitting 5200lm | 10 |  | 0 | 0
4.67 | 14Watt Slim LED Round (2D style) c/w sensor | 20 |  | 0 | 0
4.68 | 18Watt Slim LED Round (2D style) | 20 |  | 0 | 0
4.69 | 30Watt Slim LED Round (2D style) | 20 |  | 0 | 0
MISCELLANEOUS ELECTRICAL ITEMS
4.7 | Fahro Heaters 770watt | 10 |  | 0 | 0
4.71 | Fahro Heaters 1210 watt | 10 |  | 0 | 0
4.72 | Farho Heaters 1650watt | 10 |  | 0 | 0
4.73 | 3pin lead connectors (13A sockets) | 10 |  | 0 | 0
4.74 | Lighting Distribution Units - Eaton LDU12 or equivalent | 10 |  | 0 | 0
4.75 | Lighting Distribution Units - Eaton LDU8 or equivalent | 10 |  | 0 | 0
4.76 | Lighting Distribution Units - Eaton LDU6 or equivalent | 10 |  | 0 | 0
4.77 | 3 Pin LSC Ceiling Outlet - Eaton F8502 or equivalent | 50 |  | 0 | 0
4.78 | 4 Pin LSC Ceiling Outlet Eaton F8602 or equivalent | 50 |  | 0 | 0
4.79 | 3pin LSC rewireable plug - Eaton F8585 or equivalent | 50 |  | 0 | 0
4.8 | 4pin LSC rewireable plug - Eaton F8641 or equivalent | 50 |  | 0 | 0
4.81 | 24 hour flash timers | 16 |  | 0 | 0
4.82 | OBO Box square | 10 |  | 0 | 0
4.83 | OBO Box small rectangular | 10 |  | 0 | 0
4.84 | Ansell Panel Pods | 10 |  | 0 | 0
4.85 | LUXOMAT PIRS | 10 |  | 0 | 0
4.86 | Photoelectric Cell Kit UV Stabilised Polycarbonate IP65 Outdoor | 10 |  | 0 | 0
4.87 | Surface corridor PD4N-1C-K/C | 10 |  | 0 | 0
4.88 | Recessed corridor PD4N-1C-K/C | 10 |  | 0 | 0
4.89 | Surface PD3N-1C | 10 |  | 0 | 0
4.9 | Recessed PD3N-1C | 10 |  | 0 | 0
4.91 | 6mm drill bits for steel | 10 |  | 0 | 0
4.92 | 8mm drill bits for steel | 10 |  | 0 | 0
4.93 | 10 mm drill bits for steel | 10 |  | 0 | 0
4.94 | 12 mm drill bits for steel | 10 |  | 0 | 0
4.95 | 1.5V AA Batteries | 50 |  | 0 | 0
4.96 | 1.5V AAA Batteries | 50 |  | 0 | 0
4.97 | Safety Glasses with neck cord | 15 |  | 0 | 0
4.98 | 20mm holesaws + arbour+ bits for steel | 10 |  | 0 | 0
4.99 | Junior Hacksaw Blades | 10 |  | 0 | 0
5 | Senior Hacksaw Blades 32 tpi | 10 |  | 0 | 0
5.01 | SWA BW 20S Gland | 25 |  | 0 | 0
5.02 | SWA Shroud for BW 20s | 25 |  | 0 | 0
5.03 | Robus plastic cable glands with locknut 20mm | 50 |  | 0 | 0
5.04 | Robus plastic cable glands with locknut 25mm | 50 |  | 0 | 0
5.05 | SANGAMO TIME CLOCK 4PIN c/w ENCLOSURE Q555 | 10 |  | 0 | 0
5.06 | NC 951- DISABLED PERSONS TOILET ALARM KIT | 5 |  | 0 | 0
5.07 | 25A 2 POLE N/O MODULAR CONTRACTOR | 10 |  | 0 | 0
5.08 | 25A 2 POLE N/C MODULAR CONTRACTOR | 10 |  | 0 | 0
5.09 | 25A 4 POLE N/C MODULAR CONTRACTOR | 10 |  | 0 | 0
5.1 | 25A 4 POLE N/C MODULAR CONTRACTOR | 10 |  | 0 | 0
5.11 | 40A 4 POLE N/O MODULAR CONTRACTOR | 10 |  | 0 | 0
HEATERS
5.12 | 25 LT. WATER HEATER - Cistern Type | 5 |  | 0 | 0
5.13 | 25 LT. WATER HEATER - Mains Fed | 5 |  | 0 | 0
5.14 | P30/10 O/S WATER HEATER | 5 |  | 0 | 0
5.15 | P15/10 U/S WATER HEATER | 5 |  | 0 | 0
5.16 | UNDER SINK WATER HEATER | 5 |  | 0 | 0
5.17 | PANEL HEATER - 750 WATT | 5 |  | 0 | 0
5.18 | PANEL HEATER - 1250 WATT | 5 |  | 0 | 0
5.19 | PANEL HEATER - 1500 WATT | 5 |  | 0 | 0
5.2 | PANEL HEATER - 2000 WATT | 5 |  | 0 | 0
5.21 | PANEL HEATER c/w CLOCK TIMER - 750 WATT | 5 |  | 0 | 0
5.22 | PANEL HEATER c/w CLOCK TIMER - 1250 WATT | 5 |  | 0 | 0
5.23 | PANEL HEATER c/w CLOCK TIMER - 1500 WATT | 5 |  | 0 | 0
5.24 | PANEL HEATER c/w CLOCK TIMER - 2000 WATT | 5 |  | 0 | 0
5.25 | NIGHT STORAGE HEATER WM X 724 2.88KW | 5 |  | 0 | 0
5.26 | OIL-FIRED HEATER - 2500 WATT | 5 |  | 0 | 0
5.27 | OIL-FIRED HEATER - 2500 WATT with TIMER | 5 |  | 0 | 0
5.28 | FAN HEATER with THERMOSTATIC CONTROLS 2.4kw | 5 |  | 0 | 0
5.29 | AUTOMATIC HAND DRYER - WHITE - ATC Panther High Speed equivalent | 20 |  | 0 | 0
5.3 | AUTOMATIC HAND DRYER - STAINLESS STEEL - ATC Panther High Speed equivalent | 20 |  | 0 | 0
5.31 | Apt Immersion 24hr T/Switch | 5 |  | 0 | 0
5.32 | SUNVIC Frost Stat | 5 |  | 0 | 0
|  | Total | 0
Company Name:
Signed:
Print name:
Position: