## Cost Breakdown (No Values)
Service Category | Site | Asset / Outlet Reference | Service Description | Frequency | Estimated Quantity | Unit Description | Unit Rate (€) | Total (€)
Legionella Sampling & Analysis | NBC James Street |  | Sample collection and accredited Legionella laboratory analysis including travel, sample containers, delivery, result interpretation | TBC by IBTS - current LRA/control scheme |  | per collected and analysed sample
Hot Water Temperature Monitoring | NBC James Street |  | Hot outlet temperatures only; excludes separately priced calorifier flow/return and point-of-use heaters in the Additional Pricing sheet. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Cold Water Temperature Monitoring | NBC James Street |  | Cold outlet and designated cold-water temperatures only; do not duplicate tank condition checks and monitoring. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Sentinel Outlet Testing | NBC James Street |  | Sampling and/or temperature monitoring of nominated hot/cold sentinel outlet; confirm baseline details in published schedule | TBC by IBTS - current LRA/control scheme |  | per scheduled sentinel outlet monitoring event
Representative Outlet Testing | NBC James Street |  | Risk-based monitoring/sampling of nominated representative outlets distinct from additional laboratory analysis where separately billed | TBC by IBTS - current LRA/control scheme |  | per scheduled representative outlet monitoring event
TMV Inspection & Verification | NBC James Street |  | Full site TMV service: inspect, clean/descale/adjust/test and record pre/post blended temperatures; no replacement construction; where applicable. | TBC by IBTS - current LRA/control scheme |  | per TMV inspection/verification
Cold Water Storage Tank Inspection | NBC James Street |  | CWST inspection, incoming mains and stored-water temperature monitoring with photographic condition report, per scheduled tank visit. | TBC by IBTS - current LRA/control scheme |  | per tank inspection
Incident / Positive Result Response | NBC James Street |  | Provisional response and technical advice following positive sample or significant deviation; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per defined incident response
Advisory & Audit Support | NBC James Street |  | Additional specified advisory/audit support hours; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per hour
Annual Review & Reporting | NBC James Street |  | One signed, documented annual review of the site LRA and control scheme; review water-system changes, existing actions, temperature/sampling trends, asset/outlet register and effectiveness of controls, with a dated report and recommendations. Full Year 2 / Year 4 reassessments priced separately in dedicated worksheet; no double charging. | TBC by IBTS - current LRA/control scheme |  | per complete dated annual site LRA review and report
Legionella Sampling & Analysis | Stillorgan |  | Sample collection and accredited Legionella laboratory analysis including travel, sample containers, delivery, result interpretation | TBC by IBTS - current LRA/control scheme |  | per collected and analysed sample
Hot Water Temperature Monitoring | Stillorgan |  | Hot outlet temperatures only; excludes separately priced calorifier flow/return and point-of-use heaters in the Additional Pricing sheet. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Cold Water Temperature Monitoring | Stillorgan |  | Cold outlet and designated cold-water temperatures only; do not duplicate tank condition checks and monitoring. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Sentinel Outlet Testing | Stillorgan |  | Sampling and/or temperature monitoring of nominated hot/cold sentinel outlet; confirm baseline details in published schedule | TBC by IBTS - current LRA/control scheme |  | per scheduled sentinel outlet monitoring event
Representative Outlet Testing | Stillorgan |  | Risk-based monitoring/sampling of nominated representative outlets distinct from additional laboratory analysis where separately billed | TBC by IBTS - current LRA/control scheme |  | per scheduled representative outlet monitoring event
TMV Inspection & Verification | Stillorgan |  | Full site TMV service: inspect, clean/descale/adjust/test and record pre/post blended temperatures; no replacement construction; where applicable. | TBC by IBTS - current LRA/control scheme |  | per TMV inspection/verification
Cold Water Storage Tank Inspection | Stillorgan |  | CWST inspection, incoming mains and stored-water temperature monitoring with photographic condition report, per scheduled tank visit. | TBC by IBTS - current LRA/control scheme |  | per tank inspection
Incident / Positive Result Response | Stillorgan |  | Provisional response and technical advice following positive sample or significant deviation; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per defined incident response
Advisory & Audit Support | Stillorgan |  | Additional specified advisory/audit support hours; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per hour
Annual Review & Reporting | Stillorgan |  | One signed, documented annual review of the site LRA and control scheme; review water-system changes, existing actions, temperature/sampling trends, asset/outlet register and effectiveness of controls, with a dated report and recommendations. Full Year 2 / Year 4 reassessments priced separately in dedicated worksheet; no double charging. | TBC by IBTS - current LRA/control scheme |  | per complete dated annual site LRA review and report
Legionella Sampling & Analysis | St Finbarr’s Cork |  | Sample collection and accredited Legionella laboratory analysis including travel, sample containers, delivery, result interpretation | TBC by IBTS - current LRA/control scheme |  | per collected and analysed sample
Hot Water Temperature Monitoring | St Finbarr’s Cork |  | Hot outlet temperatures only; excludes separately priced calorifier flow/return and point-of-use heaters in the Additional Pricing sheet. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Cold Water Temperature Monitoring | St Finbarr’s Cork |  | Cold outlet and designated cold-water temperatures only; do not duplicate tank condition checks and monitoring. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Sentinel Outlet Testing | St Finbarr’s Cork |  | Sampling and/or temperature monitoring of nominated hot/cold sentinel outlet; confirm baseline details in published schedule | TBC by IBTS - current LRA/control scheme |  | per scheduled sentinel outlet monitoring event
Representative Outlet Testing | St Finbarr’s Cork |  | Risk-based monitoring/sampling of nominated representative outlets distinct from additional laboratory analysis where separately billed | TBC by IBTS - current LRA/control scheme |  | per scheduled representative outlet monitoring event
TMV Inspection & Verification | St Finbarr’s Cork |  | Full site TMV service: inspect, clean/descale/adjust/test and record pre/post blended temperatures; no replacement construction; where applicable. | TBC by IBTS - current LRA/control scheme |  | per TMV inspection/verification
Cold Water Storage Tank Inspection | St Finbarr’s Cork |  | CWST inspection, incoming mains and stored-water temperature monitoring with photographic condition report, per scheduled tank visit. | TBC by IBTS - current LRA/control scheme |  | per tank inspection
Incident / Positive Result Response | St Finbarr’s Cork |  | Provisional response and technical advice following positive sample or significant deviation; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per defined incident response
Advisory & Audit Support | St Finbarr’s Cork |  | Additional specified advisory/audit support hours; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per hour
Annual Review & Reporting | St Finbarr’s Cork |  | One signed, documented annual review of the site LRA and control scheme; review water-system changes, existing actions, temperature/sampling trends, asset/outlet register and effectiveness of controls, with a dated report and recommendations. Full Year 2 / Year 4 reassessments priced separately in dedicated worksheet; no double charging. | TBC by IBTS - current LRA/control scheme |  | per complete dated annual site LRA review and report
Legionella Sampling & Analysis | Raheen Limerick |  | Sample collection and accredited Legionella laboratory analysis including travel, sample containers, delivery, result interpretation | TBC by IBTS - current LRA/control scheme |  | per collected and analysed sample
Hot Water Temperature Monitoring | Raheen Limerick |  | Hot outlet temperatures only; excludes separately priced calorifier flow/return and point-of-use heaters in the Additional Pricing sheet. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Cold Water Temperature Monitoring | Raheen Limerick |  | Cold outlet and designated cold-water temperatures only; do not duplicate tank condition checks and monitoring. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Sentinel Outlet Testing | Raheen Limerick |  | Sampling and/or temperature monitoring of nominated hot/cold sentinel outlet; confirm baseline details in published schedule | TBC by IBTS - current LRA/control scheme |  | per scheduled sentinel outlet monitoring event
Representative Outlet Testing | Raheen Limerick |  | Risk-based monitoring/sampling of nominated representative outlets distinct from additional laboratory analysis where separately billed | TBC by IBTS - current LRA/control scheme |  | per scheduled representative outlet monitoring event
TMV Inspection & Verification | Raheen Limerick |  | Full site TMV service: inspect, clean/descale/adjust/test and record pre/post blended temperatures; no replacement construction; where applicable. | TBC by IBTS - current LRA/control scheme |  | per TMV inspection/verification
Cold Water Storage Tank Inspection | Raheen Limerick |  | CWST inspection, incoming mains and stored-water temperature monitoring with photographic condition report, per scheduled tank visit. | TBC by IBTS - current LRA/control scheme | 2 | per tank inspection
Incident / Positive Result Response | Raheen Limerick |  | Provisional response and technical advice following positive sample or significant deviation; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per defined incident response
Advisory & Audit Support | Raheen Limerick |  | Additional specified advisory/audit support hours; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per hour
Annual Review & Reporting | Raheen Limerick |  | One signed, documented annual review of the site LRA and control scheme; review water-system changes, existing actions, temperature/sampling trends, asset/outlet register and effectiveness of controls, with a dated report and recommendations. Full Year 2 / Year 4 reassessments priced separately in dedicated worksheet; no double charging. | TBC by IBTS - current LRA/control scheme |  | per complete dated annual site LRA review and report
Legionella Sampling & Analysis | D’Olier Street |  | Sample collection and accredited Legionella laboratory analysis including travel, sample containers, delivery, result interpretation | TBC by IBTS - current LRA/control scheme |  | per collected and analysed sample
Hot Water Temperature Monitoring | D’Olier Street |  | Hot outlet temperatures only; excludes separately priced calorifier flow/return and point-of-use heaters in the Additional Pricing sheet. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Cold Water Temperature Monitoring | D’Olier Street |  | Cold outlet and designated cold-water temperatures only; do not duplicate tank condition checks and monitoring. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Sentinel Outlet Testing | D’Olier Street |  | Sampling and/or temperature monitoring of nominated hot/cold sentinel outlet; confirm baseline details in published schedule | TBC by IBTS - current LRA/control scheme |  | per scheduled sentinel outlet monitoring event
Representative Outlet Testing | D’Olier Street |  | Risk-based monitoring/sampling of nominated representative outlets distinct from additional laboratory analysis where separately billed | TBC by IBTS - current LRA/control scheme |  | per scheduled representative outlet monitoring event
TMV Inspection & Verification | D’Olier Street |  | Full site TMV service: inspect, clean/descale/adjust/test and record pre/post blended temperatures; no replacement construction; where applicable. | TBC by IBTS - current LRA/control scheme |  | per TMV inspection/verification
Cold Water Storage Tank Inspection | D’Olier Street |  | CWST inspection, incoming mains and stored-water temperature monitoring with photographic condition report, per scheduled tank visit. | TBC by IBTS - current LRA/control scheme |  | per tank inspection
Incident / Positive Result Response | D’Olier Street |  | Provisional response and technical advice following positive sample or significant deviation; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per defined incident response
Advisory & Audit Support | D’Olier Street |  | Additional specified advisory/audit support hours; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per hour
Annual Review & Reporting | D’Olier Street |  | One signed, documented annual review of the site LRA and control scheme; review water-system changes, existing actions, temperature/sampling trends, asset/outlet register and effectiveness of controls, with a dated report and recommendations. Full Year 2 / Year 4 reassessments priced separately in dedicated worksheet; no double charging. | TBC by IBTS - current LRA/control scheme |  | per complete dated annual site LRA review and report
Legionella Sampling & Analysis | Kernanstown Carlow |  | Sample collection and accredited Legionella laboratory analysis including travel, sample containers, delivery, result interpretation | TBC by IBTS - current LRA/control scheme |  | per collected and analysed sample
Hot Water Temperature Monitoring | Kernanstown Carlow |  | Hot outlet temperatures only; excludes separately priced calorifier flow/return and point-of-use heaters in the Additional Pricing sheet. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Cold Water Temperature Monitoring | Kernanstown Carlow |  | Cold outlet and designated cold-water temperatures only; do not duplicate tank condition checks and monitoring. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Sentinel Outlet Testing | Kernanstown Carlow |  | Sampling and/or temperature monitoring of nominated hot/cold sentinel outlet; confirm baseline details in published schedule | TBC by IBTS - current LRA/control scheme |  | per scheduled sentinel outlet monitoring event
Representative Outlet Testing | Kernanstown Carlow |  | Risk-based monitoring/sampling of nominated representative outlets distinct from additional laboratory analysis where separately billed | TBC by IBTS - current LRA/control scheme |  | per scheduled representative outlet monitoring event
TMV Inspection & Verification | Kernanstown Carlow |  | Full site TMV service: inspect, clean/descale/adjust/test and record pre/post blended temperatures; no replacement construction; where applicable. | TBC by IBTS - current LRA/control scheme |  | per TMV inspection/verification
Cold Water Storage Tank Inspection | Kernanstown Carlow |  | CWST inspection, incoming mains and stored-water temperature monitoring with photographic condition report, per scheduled tank visit. | TBC by IBTS - current LRA/control scheme |  | per tank inspection
Incident / Positive Result Response | Kernanstown Carlow |  | Provisional response and technical advice following positive sample or significant deviation; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per defined incident response
Advisory & Audit Support | Kernanstown Carlow |  | Additional specified advisory/audit support hours; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per hour
Annual Review & Reporting | Kernanstown Carlow |  | One signed, documented annual review of the site LRA and control scheme; review water-system changes, existing actions, temperature/sampling trends, asset/outlet register and effectiveness of controls, with a dated report and recommendations. Full Year 2 / Year 4 reassessments priced separately in dedicated worksheet; no double charging. | TBC by IBTS - current LRA/control scheme |  | per complete dated annual site LRA review and report
Legionella Sampling & Analysis | Ardee |  | Sample collection and accredited Legionella laboratory analysis including travel, sample containers, delivery, result interpretation | TBC by IBTS - current LRA/control scheme |  | per collected and analysed sample
Hot Water Temperature Monitoring | Ardee |  | Hot outlet temperatures only; excludes separately priced calorifier flow/return and point-of-use heaters in the Additional Pricing sheet. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Cold Water Temperature Monitoring | Ardee |  | Cold outlet and designated cold-water temperatures only; do not duplicate tank condition checks and monitoring. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Sentinel Outlet Testing | Ardee |  | Sampling and/or temperature monitoring of nominated hot/cold sentinel outlet; confirm baseline details in published schedule | TBC by IBTS - current LRA/control scheme |  | per scheduled sentinel outlet monitoring event
Representative Outlet Testing | Ardee |  | Risk-based monitoring/sampling of nominated representative outlets distinct from additional laboratory analysis where separately billed | TBC by IBTS - current LRA/control scheme |  | per scheduled representative outlet monitoring event
TMV Inspection & Verification | Ardee |  | Full site TMV service: inspect, clean/descale/adjust/test and record pre/post blended temperatures; no replacement construction; where applicable. | TBC by IBTS - current LRA/control scheme |  | per TMV inspection/verification
Cold Water Storage Tank Inspection | Ardee |  | CWST inspection, incoming mains and stored-water temperature monitoring with photographic condition report, per scheduled tank visit. | TBC by IBTS - current LRA/control scheme |  | per tank inspection
Incident / Positive Result Response | Ardee |  | Provisional response and technical advice following positive sample or significant deviation; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per defined incident response
Advisory & Audit Support | Ardee |  | Additional specified advisory/audit support hours; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per hour
Annual Review & Reporting | Ardee |  | One signed, documented annual review of the site LRA and control scheme; review water-system changes, existing actions, temperature/sampling trends, asset/outlet register and effectiveness of controls, with a dated report and recommendations. Full Year 2 / Year 4 reassessments priced separately in dedicated worksheet; no double charging. | TBC by IBTS - current LRA/control scheme |  | per complete dated annual site LRA review and report
Legionella Sampling & Analysis | Beechtree Tuam |  | Sample collection and accredited Legionella laboratory analysis including travel, sample containers, delivery, result interpretation | TBC by IBTS - current LRA/control scheme |  | per collected and analysed sample
Hot Water Temperature Monitoring | Beechtree Tuam |  | Hot outlet temperatures only; excludes separately priced calorifier flow/return and point-of-use heaters in the Additional Pricing sheet. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Cold Water Temperature Monitoring | Beechtree Tuam |  | Cold outlet and designated cold-water temperatures only; do not duplicate tank condition checks and monitoring. | TBC by IBTS - current LRA/control scheme |  | per outlet or specified point/monitoring event
Sentinel Outlet Testing | Beechtree Tuam |  | Sampling and/or temperature monitoring of nominated hot/cold sentinel outlet; confirm baseline details in published schedule | TBC by IBTS - current LRA/control scheme |  | per scheduled sentinel outlet monitoring event
Representative Outlet Testing | Beechtree Tuam |  | Risk-based monitoring/sampling of nominated representative outlets distinct from additional laboratory analysis where separately billed | TBC by IBTS - current LRA/control scheme |  | per scheduled representative outlet monitoring event
TMV Inspection & Verification | Beechtree Tuam |  | Full site TMV service: inspect, clean/descale/adjust/test and record pre/post blended temperatures; no replacement construction; where applicable. | TBC by IBTS - current LRA/control scheme |  | per TMV inspection/verification
Cold Water Storage Tank Inspection | Beechtree Tuam |  | CWST inspection, incoming mains and stored-water temperature monitoring with photographic condition report, per scheduled tank visit. | TBC by IBTS - current LRA/control scheme |  | per tank inspection
Incident / Positive Result Response | Beechtree Tuam |  | Provisional response and technical advice following positive sample or significant deviation; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per defined incident response
Advisory & Audit Support | Beechtree Tuam |  | Additional specified advisory/audit support hours; if not evaluated set published quantity to zero | TBC by IBTS - current LRA/control scheme |  | per hour
Annual Review & Reporting | Beechtree Tuam |  | One signed, documented annual review of the site LRA and control scheme; review water-system changes, existing actions, temperature/sampling trends, asset/outlet register and effectiveness of controls, with a dated report and recommendations. Full Year 2 / Year 4 reassessments priced separately in dedicated worksheet; no double charging. | TBC by IBTS - current LRA/control scheme |  | per complete dated annual site LRA review and report

## Instructions
IBTS Legionella / Water Safety Cost Breakdown - 8 Sites
Source basis | Original 80 annual service rows retained. 48 additional routine service pricing lines, site-specific optional tank/system disinfection, and 16 planned full LRA reassessment prices.
Site coverage | National Blood Centre; Stillorgan; Cork; Limerick; D’Olier Street; Carlow; Ardee; Tuam. All eight locations are included in this tender.
Amounts | Euro exclusive of VAT. Include all travel, labour, laboratory analysis, sample transport, QA, reporting, calibrated equipment, overhead, mobilisation and routine contractual administration in quoted rates.
Pricing | Tenderers provide all applicable site/service unit rates in Cost Breakdown column H, and 16 separate mandatory full reassessment prices in LRA Reassessments column G (8 centres Year 2 + 8 centres Year 4). The common cost score is based on the MAXIMUM five-year evaluated cost: five annual service years plus both planned full LRA rounds. The initial three years and each optional one-year extension are shown separately in Contract Term Costs.
Overlaps | No duplicated charging: calorifier flow/return, local heaters, showerheads, calorifier drain/inspection, NBC closed loop analyses are separately priced in Additional Pricing; generic monitoring excludes these items. CWST inspection includes appropriate monitoring but optional cleaning/disinfection is separate.
Sustainability | Quality / Technical 70 marks, including 10 sustainability marks (10% of total score); cost 30 marks. Five-year maximum evaluation includes the Year 2 and conditional Year 4 planned LRA reassessments.
Optional fees | Additional repeat samples, additional laboratory analytes and out-of-hours response rates must be listed in Reactive & Optional Rates; only a defined common evaluation allowance may enter the evaluated cost.
Contract term | Initial contract term three (3) years; up to two (2) optional one-year extensions, at IBTS discretion and subject to Services RFT/Procurement approval. Year 2 reassessments are in the initial term; Year 4 reassessments arise only if the first extension is exercised. Both are evaluated for a common five-year bid comparison.

## Site Summary
Eight-Site Annual Routine Service Cost - LRA Reassessments Priced Separately
Ref | IBTS site (pricing template) | Annual evaluated cost ex VAT | Evaluation years | Initial 3-year recurring service ONLY ex VAT | Site notes
S1 | NBC James Street | #REF! | 3 | INCOMPLETE | Annual site rate includes original services plus separate 2027 ancillary tasks; no duplicate service charges; full LRAs in Years 2/4 separately.
S2 | Stillorgan | #REF! | 3 | INCOMPLETE | Annual site rate includes original services plus separate 2027 ancillary tasks; no duplicate service charges; full LRAs in Years 2/4 separately.
S3 | St Finbarr’s Cork | #REF! | 3 | INCOMPLETE | Annual site rate includes original services plus separate 2027 ancillary tasks; no duplicate service charges; full LRAs in Years 2/4 separately.
S4 | Raheen Limerick | #REF! | 3 | INCOMPLETE | Annual site rate includes original services plus separate 2027 ancillary tasks; no duplicate service charges; full LRAs in Years 2/4 separately.
S5 | D’Olier Street | #REF! | 3 | INCOMPLETE | Annual site rate includes original services plus separate 2027 ancillary tasks; no duplicate service charges; full LRAs in Years 2/4 separately.
S6 | Kernanstown Carlow | #REF! | 3 | INCOMPLETE | Annual site rate includes original services plus separate 2027 ancillary tasks; no duplicate service charges; full LRAs in Years 2/4 separately.
S7 | Ardee | #REF! | 3 | INCOMPLETE | Annual site rate includes original services plus separate 2027 ancillary tasks; no duplicate service charges; full LRAs in Years 2/4 separately.
S8 | Beechtree Tuam | #REF! | 3 | INCOMPLETE | Annual site rate includes original services plus separate 2027 ancillary tasks; no duplicate service charges; full LRAs in Years 2/4 separately.
| ROUTINE SERVICES ONLY (initial 3 years, excluding full LRA reassessments) | INCOMPLETE |  | INCOMPLETE

## Reactive & Optional Rates
Reactive, Repeat-Sample and Additional Water Safety Rates
Ref | Activity / charge | Scope / definition | Charging unit | Unit rate ex VAT | IBTS evaluation quantity | Evaluated total ex VAT | Included in evaluation? | Conditions / minimums | Tenderer comment
R1 | Urgent site attendance during normal hours | Defined high-priority water safety incident or system failure response | per attendance |  |  |  | No unless IBTS publishes a non-zero allowance
R2 | Out-of-hours / weekend emergency attendance | Emergency attendance beyond agreed routine contract allowance | per attendance |  |  |  | No unless IBTS publishes a non-zero allowance
R3 | Additional Legionella sampling and analysis | Extra sample with full accreditation, chain of custody and reporting | per collected and tested sample |  |  |  | No unless IBTS publishes a non-zero allowance
R4 | Repeat / confirmatory sampling and analysis | Re-test after positive/abnormal result | per collected and tested sample |  |  |  | No unless IBTS publishes a non-zero allowance
R5 | Other microbiological analyte (if specified) | Additional test, only if final URS includes it | per analysed sample |  |  |  | No unless IBTS publishes a non-zero allowance
R6 | Technical consultancy / water safety review | Additional expert review outside base included support | per hour |  |  |  | No unless IBTS publishes a non-zero allowance
R7 | Additional unscheduled full LRA reassessment (EXTRA only) | For a change/incident requiring a separately ordered LRA beyond the 16 planned reassessments (8 centres Year 2 + 8 centres conditional Year 4). Never use this rate to price the planned assessments. | per additional full site assessment |  |  |  | NO unless IBTS publishes a specific additional evaluation allowance
R8 | TMV extra visit / verification | Outside scheduled site attendance | per TMV |  |  |  | No unless IBTS publishes a non-zero allowance
R9 | Cold water tank additional inspection | Outside scheduled allowance | per tank inspection |  |  |  | No unless IBTS publishes a non-zero allowance
R10 | Other proposed service / surcharge | Describe transparently and quantify | state unit |  |  |  | No unless IBTS publishes a non-zero allowance
|  | Total evaluated optional/extra only if quantities are expressly published |  |  |  | 0

## Evaluation Summary
Legionella Evaluation Completeness - Base 3-Year Term and Maximum 5-Year Option
Metric | Value | Status / methodology | Owner
Number of site/service evaluation lines | 128 | 80 original site/service rows + 48 site-specific additional 2027 activity rows (8 x 6). | IBTS
Quantity inputs entered | 1 | Must equal 128. For confirmed non-applicable tasks IBTS must enter 0; missing incumbent counts remain blank until approval. | IBTS
Price rates entered for non-zero quantity lines | #REF! | Must equal count of lines where published quantity is positive | Tenderer
Published positive-quantity lines | #REF! | Reference count of lines where annual quantity >0 | IBTS
Annual evaluated cost ex VAT | #REF! | Site Summary includes original 80-row routine schedule plus 48 added incumbent activities; all 8 sites required. | Calculated
Base 3-year evaluated cost INCLUDING all Year 2 site LRAs | INCOMPLETE | Routine annual services x3 + eight mandatory Year 2 full LRAs; used for base-commitment visibility. | Calculated
Optional evaluated extra allowance ex VAT | 0 | ONLY where published and expressly included | IBTS
Cost evaluation readiness (annual quantities, rates, all 16 LRAs) | #REF! | Do not use draft sheet for award scoring while incomplete | IBTS
MAXIMUM 5-year evaluated contract cost (Cost Score / 30) | INCOMPLETE | 5 annual site-service years + Year 2 and Year 4 planned full LRAs; Year 4 is conditional on first extension. | Cost scoring
Optional Year 4 evaluated extension cost | INCOMPLETE | 1 annual service year + eight full site LRAs; only payable if first extension exercised. | Contract options
Optional Year 5 evaluated extension cost | INCOMPLETE | 1 annual service year, no scheduled full LRA; only payable if second extension exercised. | Contract options
Complete mandatory full LRA prices provided (required: 16) | 0 | Must equal 16 numeric site-and-occasion unit rates, including explicit numeric zero where genuinely included. | Tenderer
Full LRA reassessment count - Years 2 and 4 | 16 | Eight centres x two occasions; Year 4 conditional on extension. | IBTS
Review/reassessment scope confirmed |  | Eight annual site LRA reviews each active contract year and two separately priced full site reassessments. | IBTS / Procurement

## Clarifications
Tenderer Clarifications, Assumptions and Exceptions
Ref | Description / assumption / exclusion | Site / service | Pricing impact ex VAT | IBTS approval required? | Tenderer evidence / note
C1
C2
C3
C4
C5
C6
C7
C8
C9
C10
C11
C12

## LRA Reassessments
Mandatory Planned Full LRA Reassessments - 8 Centres x 2 Occasions = 16 Fixed Prices
Year 2: initial 3-year term. Year 4: conditional on first 1-year extension being exercised. Enter a price for EVERY centre/occasion. The Year 4 prices enter the maximum 5-year evaluated cost but are not committed unless the extension is exercised.
Ref | IBTS Site | Full Reassessment Deliverable | Contract Year | Term / Call-Off Status | Evaluation Quantity | Fixed Site / Occasion Price ex VAT | Evaluated Amount ex VAT | Assessment Scope / Exclusions | Tenderer Comment
RA-2-1 | National Blood Centre — James’s Street, Dublin 8 | Complete on-site Legionella risk assessment and signed updated LRA | 2 | Base 3-year term - mandatory | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-2-2 | Stillorgan Donor Clinic — 6 Old Dublin Road, Dublin | Complete on-site Legionella risk assessment and signed updated LRA | 2 | Base 3-year term - mandatory | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-2-3 | Cork Centre — St Finbarr’s Hospital, Block C, Cork | Complete on-site Legionella risk assessment and signed updated LRA | 2 | Base 3-year term - mandatory | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-2-4 | Limerick Centre — Carrig House, Raheen Business Park | Complete on-site Legionella risk assessment and signed updated LRA | 2 | Base 3-year term - mandatory | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-2-5 | D’Olier Street Donor Clinic — Lafayette House, Dublin 2 | Complete on-site Legionella risk assessment and signed updated LRA | 2 | Base 3-year term - mandatory | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-2-6 | Carlow Centre — Kernanstown, Carlow | Complete on-site Legionella risk assessment and signed updated LRA | 2 | Base 3-year term - mandatory | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-2-7 | Ardee Centre — John Street Business Park, Co. Louth | Complete on-site Legionella risk assessment and signed updated LRA | 2 | Base 3-year term - mandatory | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-2-8 | Tuam Centre — 2 Beechtree Business Park, Co. Galway | Complete on-site Legionella risk assessment and signed updated LRA | 2 | Base 3-year term - mandatory | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-4-1 | National Blood Centre — James’s Street, Dublin 8 | Complete on-site Legionella risk assessment and signed updated LRA | 4 | First optional extension - only if exercised | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-4-2 | Stillorgan Donor Clinic — 6 Old Dublin Road, Dublin | Complete on-site Legionella risk assessment and signed updated LRA | 4 | First optional extension - only if exercised | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-4-3 | Cork Centre — St Finbarr’s Hospital, Block C, Cork | Complete on-site Legionella risk assessment and signed updated LRA | 4 | First optional extension - only if exercised | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-4-4 | Limerick Centre — Carrig House, Raheen Business Park | Complete on-site Legionella risk assessment and signed updated LRA | 4 | First optional extension - only if exercised | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-4-5 | D’Olier Street Donor Clinic — Lafayette House, Dublin 2 | Complete on-site Legionella risk assessment and signed updated LRA | 4 | First optional extension - only if exercised | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-4-6 | Carlow Centre — Kernanstown, Carlow | Complete on-site Legionella risk assessment and signed updated LRA | 4 | First optional extension - only if exercised | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-4-7 | Ardee Centre — John Street Business Park, Co. Louth | Complete on-site Legionella risk assessment and signed updated LRA | 4 | First optional extension - only if exercised | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
RA-4-8 | Tuam Centre — 2 Beechtree Business Park, Co. Galway | Complete on-site Legionella risk assessment and signed updated LRA | 4 | First optional extension - only if exercised | 1 |  |  | Full water system/asset and outlet survey, schematic/control check, risk evaluation, signed site report and prioritised action plan; travel and specialist attendance included; physical remedial works excluded.
| YEAR 2 - INITIAL TERM: 8 SITE LRAs | [5 empty] | INCOMPLETE
| YEAR 4 - CONDITIONAL FIRST EXTENSION: 8 SITE LRAs | [5 empty] | INCOMPLETE
| MAXIMUM 5-YEAR TWO-OCCASION TOTAL | [5 empty] | INCOMPLETE

## Contract Term Costs
Maximum 5-Year Evaluated Cost - Initial 3 Years + 2 Optional Years, Full LRAs Included
COMMON EVALUATION: 5 recurring annual service periods + Year 2 full LRA + Year 4 full LRA. Year 4 and Year 5 extensions are optional call-offs; their prices are evaluated but only become payable if exercised.
IBTS site | Routine Annual incl annual LRA review ex VAT | Year 2 Full LRA ex VAT | Year 4 Full LRA ex VAT (conditional) | Initial Years 1-3 Total (3x annual + Y2 LRA) | Option Year 4 (annual + Y4 LRA) | Option Year 5 (annual) | MAXIMUM 5-YEAR Site Cost ex VAT | Charging note
NBC James Street | #REF! | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | Year 4 LRA payable only if option 1 exercised; Year 5 annual services payable only if option 2 exercised.
Stillorgan | #REF! | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | Year 4 LRA payable only if option 1 exercised; Year 5 annual services payable only if option 2 exercised.
St Finbarr’s Cork | #REF! | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | Year 4 LRA payable only if option 1 exercised; Year 5 annual services payable only if option 2 exercised.
Raheen Limerick | #REF! | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | Year 4 LRA payable only if option 1 exercised; Year 5 annual services payable only if option 2 exercised.
D’Olier Street | #REF! | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | Year 4 LRA payable only if option 1 exercised; Year 5 annual services payable only if option 2 exercised.
Kernanstown Carlow | #REF! | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | Year 4 LRA payable only if option 1 exercised; Year 5 annual services payable only if option 2 exercised.
Ardee | #REF! | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | Year 4 LRA payable only if option 1 exercised; Year 5 annual services payable only if option 2 exercised.
Beechtree Tuam | #REF! | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | Year 4 LRA payable only if option 1 exercised; Year 5 annual services payable only if option 2 exercised.
ALL EIGHT SITES - TOTAL | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE | INCOMPLETE

## Optional Tank Disinfection
OPTIONAL / REACTIVE CWST AND WATER-SYSTEM CLEANING — SEPARATE PER-CENTRE PRICES
Ref | Site | CWST capacity described in LRA source | CWST clean/disinfect ex VAT | System disinfection rate ex VAT | Charge basis | Include in cost evaluation? | Tenderer exclusions / details
OPT-1 | NBC James Street | As per LRA |  |  | Per instructed service; confirm tank quantity, system scope and appropriate safety controls | NO — unless a common non-zero allowance is published
OPT-2 | Stillorgan | As per LRA |  |  | Per instructed service; confirm tank quantity, system scope and appropriate safety controls | NO — unless a common non-zero allowance is published
OPT-3 | St Finbarr’s Cork | As per LRA |  |  | Per instructed service; confirm tank quantity, system scope and appropriate safety controls | NO — unless a common non-zero allowance is published
OPT-4 | Raheen Limerick | As per LRA |  |  | Per instructed service; confirm tank quantity, system scope and appropriate safety controls | NO — unless a common non-zero allowance is published
OPT-5 | D’Olier Street | As per LRA |  |  | Per instructed service; confirm tank quantity, system scope and appropriate safety controls | NO — unless a common non-zero allowance is published
OPT-6 | Kernanstown Carlow | As per LRA |  |  | Per instructed service; confirm tank quantity, system scope and appropriate safety controls | NO — unless a common non-zero allowance is published
OPT-7 | Ardee | As per LRA |  |  | Per instructed service; confirm tank quantity, system scope and appropriate safety controls | NO — unless a common non-zero allowance is published
OPT-8 | Beechtree Tuam | As per LRA |  |  | Per instructed service; confirm tank quantity, system scope and appropriate safety controls | NO — unless a common non-zero allowance is published