Limerick Therapy Hub Refurbishment Project

Tender Document – Building Works Refurbishment

# 1. Overview

Contractors are invited to submit a fixed-price tender for the building works outlined in this document.

# 2. Scope of Works

Construction Works

- Block up one door in small office off Reception

Electrical

- Audit, test and certify all existing data and power outlets

- Route cabling from the main Comms Room

- Additional electrical sockets in all rooms

- Additional storage heaters throughout

- Service existing storage heaters

- Install new outlets per workstation plan

- Label and test all terminations

- Align all heater timers

Plumbing

- Check all toilets, basins, kitchen sink and hot water systems

- Install water filter points in conference room and kitchen

- Remove sinks in Art & Craft Room and Workshop Room

Carpentry

- New kitchen cabinet doors

- Encasement for double-height fridge

- Partition/screen at entrance to separate open-plan kitchen area

Painting and Decorating

- Surface preparation including buffing, patch repairs, sanding and    filling

- Apply primer/sealer coats where required

- Apply two finish coats to all walls

- Prepare and paint doors and frames

Flooring

- Prepare subfloors in workshop area and storage unit

- Fill and level floors as required

- Supply and install Marmoleum flooring or an equivalent approved product of comparable quality, durability and performance, subject to Client approval.

# 3. Scope of Works Flexibility and Variations

The scope of works contained within this tender document is indicative and reflects the requirements identified at the time of issue. During the course of the project, additional works, alterations, omissions, modifications, or adjustments may be identified as necessary to meet operational requirements, statutory obligations, health and safety requirements, building regulations, budget constraints, or unforeseen site conditions.

Accordingly, the Client reserves the right to amend, expand, reduce, re-sequence, or reprioritise any element of the works during the tender, planning, and delivery stages. Tenderers shall acknowledge that the final scope may differ from that described herein.

Any material variation affecting cost, programme, or specification shall be subject to prior approval by the Client and shall only proceed where authorised and supported by available funding. No additional works shall be undertaken without written instruction from the Client.

The Contractor shall cooperate with the Client in assessing and pricing any approved variations and shall provide supporting cost information where requested.

Tenderers shall be deemed to have satisfied themselves as to the nature and extent of the works, access requirements, and existing site conditions prior to submitting a tender. Tenderers are responsible for reviewing all information provided and for identifying any matters that may affect the execution of the works.

#### 4 - Pricing Schedule

| Item | Description | Tender Price Excl. VAT (€) |
| --- | --- | --- |
| 1 | Construction Works |  |
| 2 | Electrical Works (including testing & certification) |  |
| 3 | Plumbing Works |  |
| 4 | Carpentry & Joinery Works |  |
| 5 | Painting & Decorating Works |  |
| 6 | Flooring Works |  |
| 7 | Preliminaries, Site Management & Waste Disposal |  |
| Total Tender Sum Excl. VAT |  |  |
| VAT |  |  |
| Total Tender Sum Incl. VAT |  |  |

The Tender Sum shall include all labour, materials, plant, equipment, supervision, testing, certification, waste disposal, overheads, profit and all other costs necessary to complete the Works in accordance with the Scope of Works.

# 5. Tender Submission

Tenderers shall state their proposed commencement date and anticipated duration for completion of the works. Tenderers should submit a completed pricing schedule, programme, confirmation of insurances, and details of relevant experience.

6. Mandatory Compliance Requirements

| Requirement | Included (✓/✗) |  |
| --- | --- | --- |
| Completed Pricing Schedule |  |  |
| Valid Tax Clearance Confirmation |  |  |
| Public Liability Insurance Certificate |  |  |
| Employers Liability Insurance Certificate (where applicable) |  |  |
| Company Details and Contact Information |  |  |  |
| Confirmation of Availability to Undertake Works |  |  |  |
| Details of Relevant Experience |  |  |  |
| Details of two comparable projects completed within the previous five years, including client contact details for reference purposes |  |  |  |
| Health & Safety Statement or Policy |  |  |  |
| Proposed Programme / Anticipated Completion Period |  |  |  |

Failure to provide mandatory documentation may result in the tender being deemed non-compliant.

# 7. Tender Evaluation Criteria and Scoring Matrix

## Stage 1: Compliance Assessment (Pass/Fail)

The following documents and information must be provided as part of the tender submission:

- Completed Pricing Schedule

- Tax Clearance Confirmation

- Public Liability Insurance

- Employers Liability Insurance (where applicable)

- Health & Safety Statement

- Relevant References

- Company Details

- Confirmation of Availability

Failure to provide the required information may result in the tender being deemed non-compliant and excluded from further evaluation.

## Stage 2: Quality and Price Evaluation

Compliant tenders will be evaluated on the basis of the Most Economically Advantageous Tender (MEAT).

### Evaluation Weightings

| Criterion | Weighting |
| --- | --- |
| Relevant Experience & Track Record | 25% |
| Methodology & Delivery Approach | 20% |
| Resources, Capacity & Availability | 10% |
| Health, Safety & Quality Assurance | 5% |
| Price / Value for Money | 40% |
| Total | 100% |

## Quality Scoring Matrix

The following scoring methodology will apply to all quality criteria.

| Score | Descriptor | Assessment |
| --- | --- | --- |
| 0 | Unacceptable | No response provided or wholly inadequate response |
| 1 | Poor | Significant concerns exist regarding delivery capability |
| 2 | Fair | Partially meets requirements with limited supporting evidence |
| 3 | Satisfactory | Meets requirements and demonstrates adequate capability |
| 4 | Good | Fully addresses requirements with strong supporting evidence |
| 5 | Excellent | Exceeds requirements and provides exceptional confidence in delivery |

## Quality Criteria

### Relevant Experience & Track Record (25%)

Assessment will consider:

- Experience delivering comparable refurbishment projects.

- Experience working in occupied buildings.

- Previous performance and references.

- Relevant project examples.

### Methodology & Delivery Approach (20%)

Assessment will consider:

- Understanding of project requirements.

- Proposed delivery methodology.

- Programme and sequencing.

- Management of disruption and site operations.

### Resources, Capacity & Availability (10%)

Assessment will consider:

- Proposed project team.

- Availability of key personnel.

- Resource allocation.

- Capacity to complete the works within the required timeframe.

### Health, Safety & Quality Assurance (5%)

Assessment will consider:

- Health and Safety arrangements.

- Quality control procedures.

- Compliance with applicable legislation.

- Relevant certifications and accreditations.

## Price Evaluation

The lowest priced compliant tender shall receive the maximum available score of 40 marks.

All other tenderers shall be scored using the following formula:

(Lowest Tender Price ÷ Tenderer's Price) × 40

### Example

| Tenderer | Tender Price | Price Score |
| --- | --- | --- |
| A | €50,000 | 40.00 |
| B | €55,000 | 36.36 |
| C | €60,000 | 33.33 |

## Overall Score

The final evaluation score shall be calculated by combining the Quality Score and the Price Score.

Quality Score + Price Score = Final Tender Score

The contract will normally be awarded to the tenderer achieving the highest overall score, subject to satisfactory reference checks, compliance verification and approval of the award recommendation.

The Client reserves the right to seek clarification of any aspect of a tender submission provided such clarification does not materially alter the tender submitted

8. Conflict of Interest Declaration

Tenderers shall declare any actual, potential or perceived conflict of interest arising in connection with this procurement.

## Appendix A - Schedule of Rates (For Variations Only)

| Description | Hourly Rate (€ Excl. VAT) |
| --- | --- |
| General Operative |  |
| Skilled Tradesperson |  |
| Electrician |  |
| Plumber |  |
| Carpenter |  |
| Painter / Decorator |  |
| Site Supervisor |  |

| Description | Percentage |
| --- | --- |
| Contractor Mark-up on Materials |  |

The Schedule of Rates is provided for the valuation of approved variations only and will not form part of the tender evaluation score.